## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3022-10_1_3_node_7 | 0.4 | n |  | TRUE
1 | bus_LV_3022-10_1_3_node_8 | 0.4 | n |  | TRUE
2 | bus_LV_3022-10_1_3_node_10 | 0.4 | n |  | TRUE
3 | bus_LV_3022-10_1_3_node_49 | 0.4 | n |  | TRUE
4 | bus_LV_3022-10_1_3_node_43 | 0.4 | n |  | TRUE
5 | bus_LV_3022-10_1_3_node_42 | 0.4 | n |  | TRUE
6 | bus_LV_3022-10_1_3_node_141 | 0.4 | n |  | TRUE
7 | bus_LV_3022-10_1_3_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_3022-10_1_3_node_41 | 0.4 | n |  | TRUE
9 | bus_LV_3022-10_1_3_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_3022-10_1_3_node_51 | 0.4 | n |  | TRUE
11 | bus_LV_3022-10_1_3_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_3022-10_1_3_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_3022-10_1_3_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_3022-10_1_3_node_81 | 0.4 | n |  | TRUE
15 | bus_LV_3022-10_1_3_node_142 | 0.4 | n |  | TRUE
16 | bus_LV_3022-10_1_3_node_82 | 0.4 | n |  | TRUE
17 | bus_LV_3022-10_1_3_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_3022-10_1_3_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_3022-10_1_3_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_3022-10_1_3_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_3022-10_1_3_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_3022-10_1_3_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_3022-10_1_3_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_3022-10_1_3_node_68 | 0.4 | n |  | TRUE
25 | bus_LV_3022-10_1_3_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_3022-10_1_3_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_3022-10_1_3_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_3022-10_1_3_node_44 | 0.4 | n |  | TRUE
29 | bus_LV_3022-10_1_3_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_3022-10_1_3_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_3022-10_1_3_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_3022-10_1_3_node_55 | 0.4 | n |  | TRUE
33 | bus_LV_3022-10_1_3_node_56 | 0.4 | n |  | TRUE
34 | bus_LV_3022-10_1_3_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_3022-10_1_3_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_3022-10_1_3_node_62 | 0.4 | n |  | TRUE
37 | bus_LV_3022-10_1_3_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_3022-10_1_3_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_3022-10_1_3_node_65 | 0.4 | n |  | TRUE
40 | bus_LV_3022-10_1_3_node_63 | 0.4 | n |  | TRUE
41 | bus_LV_3022-10_1_3_node_72 | 0.4 | n |  | TRUE
42 | bus_LV_3022-10_1_3_node_69 | 0.4 | n |  | TRUE
43 | bus_LV_3022-10_1_3_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_3022-10_1_3_node_66 | 0.4 | n |  | TRUE
45 | bus_LV_3022-10_1_3_node_67 | 0.4 | n |  | TRUE
46 | bus_LV_3022-10_1_3_node_94 | 0.4 | n |  | TRUE
47 | bus_LV_3022-10_1_3_node_119 | 0.4 | n |  | TRUE
48 | bus_LV_3022-10_1_3_node_73 | 0.4 | n |  | TRUE
49 | bus_LV_3022-10_1_3_node_70 | 0.4 | n |  | TRUE
50 | bus_LV_3022-10_1_3_node_95 | 0.4 | n |  | TRUE
51 | bus_LV_3022-10_1_3_node_93 | 0.4 | n |  | TRUE
52 | bus_LV_3022-10_1_3_node_120 | 0.4 | n |  | TRUE
53 | bus_LV_3022-10_1_3_node_74 | 0.4 | n |  | TRUE
54 | bus_LV_3022-10_1_3_node_77 | 0.4 | n |  | TRUE
55 | bus_LV_3022-10_1_3_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_3022-10_1_3_node_76 | 0.4 | n |  | TRUE
57 | bus_LV_3022-10_1_3_node_78 | 0.4 | n |  | TRUE
58 | bus_LV_3022-10_1_3_node_80 | 0.4 | n |  | TRUE
59 | bus_LV_3022-10_1_3_node_122 | 0.4 | n |  | TRUE
60 | bus_LV_3022-10_1_3_node_121 | 0.4 | n |  | TRUE
61 | bus_LV_3022-10_1_3_node_83 | 0.4 | n |  | TRUE
62 | bus_LV_3022-10_1_3_node_84 | 0.4 | n |  | TRUE
63 | bus_LV_3022-10_1_3_node_85 | 0.4 | n |  | TRUE
64 | bus_LV_3022-10_1_3_node_96 | 0.4 | n |  | TRUE
65 | bus_LV_3022-10_1_3_node_97 | 0.4 | n |  | TRUE
66 | bus_LV_3022-10_1_3_node_98 | 0.4 | n |  | TRUE
67 | bus_LV_3022-10_1_3_node_86 | 0.4 | n |  | TRUE
68 | bus_LV_3022-10_1_3_node_87 | 0.4 | n |  | TRUE
69 | bus_LV_3022-10_1_3_node_88 | 0.4 | n |  | TRUE
70 | bus_LV_3022-10_1_3_node_89 | 0.4 | n |  | TRUE
71 | bus_LV_3022-10_1_3_node_90 | 0.4 | n |  | TRUE
72 | bus_LV_3022-10_1_3_node_91 | 0.4 | n |  | TRUE
73 | bus_LV_3022-10_1_3_node_92 | 0.4 | n |  | TRUE
74 | bus_MV_41_3_node_113 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3022-10_1_3_load_7 | 0 | 0.0026999 | 0.00067666 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3022-10_1_3_load_8 | 1 | 0.0023993 | 0.00060132 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3022-10_1_3_load_49 | 3 | 0.0055382 | 0.001388 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3022-10_1_3_load_42 | 5 | 0.0019741 | 0.00049476 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3022-10_1_3_load_141 | 6 | 0.0026024 | 0.00065223 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3022-10_1_3_load_41 | 8 | 0.00034716 | 8.7006e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3022-10_1_3_load_51 | 10 | 0.0021313 | 0.00053415 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3022-10_1_3_load_30 | 11 | 0.0014842 | 0.00037199 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3022-10_1_3_load_32 | 13 | 0.0042159 | 0.0010566 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3022-10_1_3_load_81 | 14 | 0.0043611 | 0.001093 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3022-10_1_3_load_142 | 15 | 0.001029 | 0.00025789 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3022-10_1_3_load_34 | 17 | 0.00045205 | 0.0001133 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3022-10_1_3_load_35 | 18 | 0.00050197 | 0.00012581 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3022-10_1_3_load_68 | 24 | 0.0013675 | 0.00034272 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3022-10_1_3_load_47 | 25 | 0.00020863 | 5.2288e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3022-10_1_3_load_48 | 27 | 0.00089067 | 0.00022322 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3022-10_1_3_load_44 | 28 | 0.0020329 | 0.00050949 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3022-10_1_3_load_53 | 30 | 0.0013949 | 0.00034958 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3022-10_1_3_load_54 | 31 | 0.0012252 | 0.00030705 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3022-10_1_3_load_55 | 32 | 0.0034117 | 0.00085504 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3022-10_1_3_load_56 | 33 | 0.0016462 | 0.00041257 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3022-10_1_3_load_58 | 34 | 0.0017079 | 0.00042803 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3022-10_1_3_load_59 | 35 | 0.00074389 | 0.00018644 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3022-10_1_3_load_62 | 36 | 0.0063737 | 0.0015974 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3022-10_1_3_load_63 | 40 | 0.00085301 | 0.00021378 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3022-10_1_3_load_72 | 41 | 0.0018375 | 0.00046051 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3022-10_1_3_load_69 | 42 | 0.009039 | 0.0022654 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3022-10_1_3_load_66 | 44 | 0.0044523 | 0.0011159 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3022-10_1_3_load_67 | 45 | 0.0065203 | 0.0016341 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3022-10_1_3_load_119 | 47 | 0.0033071 | 0.00082885 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3022-10_1_3_load_70 | 49 | 0.0018967 | 0.00047535 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3022-10_1_3_load_95 | 50 | 0.0024115 | 0.00060438 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3022-10_1_3_load_93 | 51 | 0.001242 | 0.00031127 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3022-10_1_3_load_120 | 52 | 0.003314 | 0.00083057 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3022-10_1_3_load_77 | 54 | 0.0026695 | 0.00066904 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3022-10_1_3_load_75 | 55 | 0.0055059 | 0.0013799 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3022-10_1_3_load_78 | 57 | 0.0017151 | 0.00042986 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3022-10_1_3_load_80 | 58 | 0.0028703 | 0.00071936 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3022-10_1_3_load_122 | 59 | 0.005582 | 0.001399 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3022-10_1_3_load_121 | 60 | 0.0030582 | 0.00076645 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3022-10_1_3_load_83 | 61 | 0.0047539 | 0.0011914 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3022-10_1_3_load_84 | 62 | 0.0042808 | 0.0010729 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3022-10_1_3_load_85 | 63 | 0.0033545 | 0.00084072 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3022-10_1_3_load_96 | 64 | 0.003294 | 0.00082556 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3022-10_1_3_load_97 | 65 | 0.0075509 | 0.0018924 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3022-10_1_3_load_98 | 66 | 0.0035523 | 0.00089028 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3022-10_1_3_load_86 | 67 | 0.0011886 | 0.00029789 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3022-10_1_3_load_87 | 68 | 0.0007322 | 0.00018351 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3022-10_1_3_load_88 | 69 | 0.0012815 | 0.00032117 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3022-10_1_3_load_89 | 70 | 0.001157 | 0.00028998 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3022-10_1_3_load_90 | 71 | 0.0017011 | 0.00042633 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3022-10_1_3_load_91 | 72 | 0.0021156 | 0.00053022 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3022-10_1_3_load_92 | 73 | 0.0031796 | 0.00079688 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3022-10_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.19375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3022-10_1_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.23281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3022-10_1_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.43027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3022-10_1_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.14309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3022-10_1_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.11342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3022-10_1_3_line_5 | NAYY 4x150 SE | 3 | 9 | 0.036364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3022-10_1_3_line_6 | NAYY 4x150 SE | 4 | 6 | 0.13766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3022-10_1_3_line_7 | NAYY 4x150 SE | 4 | 7 | 0.038813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3022-10_1_3_line_8 | NAYY 4x150 SE | 5 | 8 | 0.24472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3022-10_1_3_line_9 | NAYY 4x150 SE | 7 | 15 | 0.08621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3022-10_1_3_line_10 | NAYY 4x150 SE | 7 | 12 | 0.031772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3022-10_1_3_line_11 | NAYY 4x150 SE | 8 | 23 | 0.10716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3022-10_1_3_line_12 | NAYY 4x150 SE | 9 | 10 | 0.17099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3022-10_1_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.077008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3022-10_1_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.23634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3022-10_1_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.012423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3022-10_1_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.1093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_3022-10_1_3_line_17 | NAYY 4x150 SE | 16 | 61 | 0.030762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_3022-10_1_3_line_18 | NAYY 4x150 SE | 16 | 62 | 0.01926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3022-10_1_3_line_19 | NAYY 4x150 SE | 16 | 63 | 0.021778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3022-10_1_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.12748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3022-10_1_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.03853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3022-10_1_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.030457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3022-10_1_3_line_23 | NAYY 4x150 SE | 19 | 21 | 0.24334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3022-10_1_3_line_24 | NAYY 4x150 SE | 19 | 22 | 0.13067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3022-10_1_3_line_25 | NAYY 4x150 SE | 20 | 23 | 0.01251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3022-10_1_3_line_26 | NAYY 4x150 SE | 21 | 24 | 0.13664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3022-10_1_3_line_27 | NAYY 4x150 SE | 22 | 25 | 0.10009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3022-10_1_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.26361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3022-10_1_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.0029614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3022-10_1_3_line_30 | NAYY 4x150 SE | 26 | 29 | 0.09954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3022-10_1_3_line_31 | NAYY 4x150 SE | 28 | 29 | 0.25514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3022-10_1_3_line_32 | NAYY 4x150 SE | 30 | 31 | 0.013796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3022-10_1_3_line_33 | NAYY 4x150 SE | 30 | 32 | 0.018214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3022-10_1_3_line_34 | NAYY 4x150 SE | 31 | 33 | 0.0061018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3022-10_1_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.012339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3022-10_1_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.023236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3022-10_1_3_line_37 | NAYY 4x150 SE | 35 | 37 | 0.018527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3022-10_1_3_line_38 | NAYY 4x150 SE | 36 | 37 | 0.028269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3022-10_1_3_line_39 | NAYY 4x150 SE | 37 | 38 | 0.008291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3022-10_1_3_line_40 | NAYY 4x150 SE | 38 | 39 | 0.11763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3022-10_1_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.023078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3022-10_1_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.029213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3022-10_1_3_line_43 | NAYY 4x150 SE | 39 | 42 | 0.019812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3022-10_1_3_line_44 | NAYY 4x150 SE | 40 | 43 | 0.052112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3022-10_1_3_line_45 | NAYY 4x150 SE | 41 | 48 | 0.025015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3022-10_1_3_line_46 | NAYY 4x150 SE | 42 | 49 | 0.026788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3022-10_1_3_line_47 | NAYY 4x150 SE | 43 | 44 | 0.028338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3022-10_1_3_line_48 | NAYY 4x150 SE | 43 | 45 | 0.044689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3022-10_1_3_line_49 | NAYY 4x150 SE | 44 | 46 | 0.0088516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3022-10_1_3_line_50 | NAYY 4x150 SE | 45 | 47 | 0.01186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3022-10_1_3_line_51 | NAYY 4x150 SE | 46 | 50 | 0.019228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3022-10_1_3_line_52 | NAYY 4x150 SE | 46 | 51 | 0.024603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3022-10_1_3_line_53 | NAYY 4x150 SE | 47 | 52 | 0.005806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3022-10_1_3_line_54 | NAYY 4x150 SE | 48 | 53 | 0.011073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3022-10_1_3_line_55 | NAYY 4x150 SE | 50 | 64 | 0.0086632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3022-10_1_3_line_56 | NAYY 4x150 SE | 51 | 73 | 0.0056965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3022-10_1_3_line_57 | NAYY 4x150 SE | 52 | 60 | 0.022593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3022-10_1_3_line_58 | NAYY 4x150 SE | 53 | 54 | 0.097493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3022-10_1_3_line_59 | NAYY 4x150 SE | 53 | 55 | 0.013083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3022-10_1_3_line_60 | NAYY 4x150 SE | 55 | 56 | 0.035186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3022-10_1_3_line_61 | NAYY 4x150 SE | 56 | 57 | 0.022345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3022-10_1_3_line_62 | NAYY 4x150 SE | 57 | 58 | 0.047349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3022-10_1_3_line_63 | NAYY 4x150 SE | 59 | 60 | 0.022893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3022-10_1_3_line_64 | NAYY 4x150 SE | 61 | 64 | 0.0011222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3022-10_1_3_line_65 | NAYY 4x150 SE | 62 | 65 | 0.026958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3022-10_1_3_line_66 | NAYY 4x150 SE | 63 | 66 | 0.020184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3022-10_1_3_line_67 | NAYY 4x150 SE | 67 | 68 | 0.01521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3022-10_1_3_line_68 | NAYY 4x150 SE | 67 | 69 | 0.0023307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3022-10_1_3_line_69 | NAYY 4x150 SE | 68 | 70 | 0.00056225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3022-10_1_3_line_70 | NAYY 4x150 SE | 70 | 71 | 0.0044182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3022-10_1_3_line_71 | NAYY 4x150 SE | 71 | 72 | 0.019369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3022-10_1_3_line_72 | NAYY 4x150 SE | 72 | 73 | 0.0026556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3022-10_1_3_trafo_83 | 0.25 MVA 20/0.4 kV | 74 | 61 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33
0 | 2753237.7015 | 1249036.1284 | 2753233.8157 | 1249031.6476 | 2753231.3425 | 1248977.1417 | 2753221.8301 | 1248949.1241 | 2753221.6131 | 1248934.4375 | 2753213.2236 | 1248919.3727 | 2753165.2692 | 1248866.0235
1 | 2753032.4331 | 1248676.1 | 2753035.4369 | 1248687.6332 | 2753130.2329 | 1248824.2471 | 2753138.7626 | 1248836.5349 | 2753165.2692 | 1248866.0235
2 | 2753165.2692 | 1248866.0235 | 2753585.4089 | 1248773.227
3 | 2752996.3206 | 1248537.6223 | 2753022.5268 | 1248638.1185 | 2753032.4331 | 1248676.1
4 | 2753032.4331 | 1248676.1 | 2753023.4346 | 1248691.5939 | 2753022.4365 | 1248698.6417 | 2753024.8057 | 1248709.0018 | 2753026.0848 | 1248722.37 | 2753024.7023 | 1248728.7961 | 2753020.1725 | 1248739.1893 | 2753004.9164 | 1248757.0908 | 2752995.9323 | 1248770.572 | 2752994.1959 | 1248777.0359
5 | 2753603.95 | 1248742.0547 | 2753588.4363 | 1248766.0317 | 2753585.4089 | 1248773.227
6 | 2752996.3206 | 1248537.6223 | 2753002.2887 | 1248542.0473 | 2753011.3457 | 1248545.0617 | 2753030.0254 | 1248551.1275 | 2753044.7384 | 1248558.9482 | 2753063.8185 | 1248571.1526 | 2753085.3608 | 1248581.9304 | 2753099.7806 | 1248586.763 | 2753120.4153 | 1248596.4052
7 | 2752996.3206 | 1248537.6223 | 2752977.5769 | 1248503.6056
8 | 2752996.1134 | 1249003.8664 | 2752994.0813 | 1248999.002 | 2752992.3083 | 1248950.0642 | 2752999.0084 | 1248924.3788 | 2752999.9654 | 1248901.37 | 2753006.1581 | 1248881.8775 | 2753018.0092 | 1248868.5482 | 2753018.035 | 1248840.6439 | 2753016.1132 | 1248836.6571 | 2752998.8194 | 1248823.4758 | 2752994.2854 | 1248817.3639 | 2752992.3563 | 1248809.5621 | 2752991.0148 | 1248803.8775 | 2752993.6001 | 1248779.2536 | 2752994.1959 | 1248777.0359
9 | 2752973.8333 | 1248589.4591 | 2752976.0791 | 1248582.0765 | 2752977.5769 | 1248503.6056
10 | 2752961.3952 | 1248476.8733 | 2752963.8585 | 1248483.5989 | 2752967.4725 | 1248492.5787 | 2752977.5769 | 1248503.6056
11 | 2752965.8 | 1249067.8392 | 2752971.2701 | 1249066.3678 | 2752975.7312 | 1249066.2272 | 2752987.1497 | 1249067.2895 | 2752998.6063 | 1249066.8737 | 2753004.6747 | 1249063.5938 | 2753009.4634 | 1249058.6681 | 2753012.6906 | 1249055.1146 | 2753012.8743 | 1249045.9549 | 2753011.0988 | 1249030.7498 | 2753007.1737 | 1249019.7934 | 2752996.7068 | 1249005.287 | 2752996.1134 | 1249003.8664
12 | 2753603.95 | 1248742.0547 | 2753669.8339 | 1248794.1906 | 2753674.0043 | 1248798.5697 | 2753677.3119 | 1248812.9027 | 2753682.2057 | 1248819.3915 | 2753690.3635 | 1248821.2158 | 2753719.582 | 1248815.9126 | 2753727.401 | 1248811.5778 | 2753735.1033 | 1248803.5919
13 | 2752961.3952 | 1248476.8733 | 2752958.5475 | 1248469.526 | 2752954.9468 | 1248459.7347 | 2752951.9371 | 1248450.7595 | 2752947.3037 | 1248441.7534 | 2752943.648 | 1248434.3853 | 2752938.7585 | 1248427.3968 | 2752933.0509 | 1248420.7765 | 2752924.5531 | 1248412.4826 | 2752923.4456 | 1248411.1515
14 | 2752961.3952 | 1248476.8733 | 2752966.6165 | 1248475.9849 | 2752980.4967 | 1248475.6872 | 2752999.9833 | 1248480.3612 | 2753018.5393 | 1248486.5461 | 2753027.9284 | 1248489.8694 | 2753040.1209 | 1248495.2338 | 2753051.7641 | 1248496.4132 | 2753065.2235 | 1248495.4375 | 2753078.4695 | 1248494.245 | 2753089.3936 | 1248489.0442 | 2753092.2294 | 1248481.6436 | 2753090.6117 | 1248476.1187 | 2753084.0012 | 1248467.6064 | 2753071.8166 | 1248453.4558 | 2753061.7782 | 1248441.3405 | 2753053.1007 | 1248427.7255 | 2753055.3852 | 1248415.9285 | 2753062.325 | 1248402.9284 | 2753063.1868 | 1248401.2113
15 | 2753063.1868 | 1248401.2113 | 2753067.4392 | 1248392.7394 | 2753069.8476 | 1248391.046
16 | 2753173.9774 | 1248373.4721 | 2753168.8824 | 1248379.1126 | 2753165.0077 | 1248381.3925 | 2753160.4504 | 1248382.309 | 2753142.949 | 1248381.2114 | 2753129.1832 | 1248381.1669 | 2753108.4371 | 1248382.8217 | 2753087.2701 | 1248383.8094 | 2753077.082 | 1248385.9595 | 2753069.8476 | 1248391.046
17 | 2753173.9774 | 1248373.4721 | 2753163.402 | 1248360.2082 | 2753155.1384 | 1248349.1587
18 | 2753173.9774 | 1248373.4721 | 2753179.3374 | 1248367.2267 | 2753188.3599 | 1248361.0649 | 2753188.4628 | 1248361.0497
19 | 2753173.9774 | 1248373.4721 | 2753182.4869 | 1248381.0103 | 2753190.4166 | 1248387.7546
20 | 2752842.6432 | 1249071.0057 | 2752844.717 | 1249070.3965 | 2752856.9224 | 1249068.4871 | 2752865.6193 | 1249069.3233 | 2752877.7368 | 1249078.7226 | 2752881.5319 | 1249084.7708 | 2752890.901 | 1249090.8851 | 2752904.0579 | 1249103.0362 | 2752912.9776 | 1249110.7516 | 2752915.8408 | 1249117.4875 | 2752921.0672 | 1249119.6022 | 2752933.4092 | 1249104.2056 | 2752934.9768 | 1249096.187
21 | 2752817.2548 | 1249097.0255 | 2752824.9943 | 1249080.7981 | 2752830.1906 | 1249075.8829 | 2752838.3832 | 1249072.2572 | 2752842.6432 | 1249071.0057
22 | 2752957.4153 | 1249077.143 | 2752939.4911 | 1249088.4026 | 2752935.6289 | 1249092.8518 | 2752934.9768 | 1249096.187
23 | 2752827.1855 | 1248894.5736 | 2752818.6138 | 1248908.1992 | 2752816.1415 | 1248917.6335 | 2752816.904 | 1248935.2259 | 2752817.6708 | 1248944.7438 | 2752818.1653 | 1248949.0051 | 2752816.9082 | 1248950.5853 | 2752806.355 | 1248951.1138 | 2752800.2167 | 1248953.5914 | 2752793.4256 | 1248957.6536 | 2752787.0085 | 1248962.7376 | 2752789.3875 | 1248964.8232 | 2752785.4334 | 1248976.6439 | 2752788.5231 | 1248974.8996 | 2752793.1792 | 1248974.8195 | 2752796.1384 | 1248978.1323 | 2752801.9587 | 1248987.9808 | 2752807.3068 | 1249008.5164 | 2752813.6769 | 1249028.678 | 2752817.4089 | 1249049.183 | 2752818.3204 | 1249064.5103 | 2752817.0818 | 1249077.3797 | 2752816.8639 | 1249093.4342 | 2752817.2548 | 1249097.0255
24 | 2752726.1922 | 1249165.3676 | 2752751.5979 | 1249137.3059 | 2752763.1044 | 1249131.1409 | 2752776.1824 | 1249127.0294 | 2752791.9769 | 1249127.4369 | 2752805.309 | 1249128.9931 | 2752809.4285 | 1249126.5748 | 2752814.4497 | 1249120.2425 | 2752817.4135 | 1249115.4698 | 2752818.4218 | 1249107.7216 | 2752817.2548 | 1249097.0255
25 | 2752965.8 | 1249067.8392 | 2752957.4153 | 1249077.143
26 | 2752827.1855 | 1248894.5736 | 2752825.6559 | 1248890.8973 | 2752828.3364 | 1248873.3938 | 2752827.528 | 1248865.4875 | 2752821.0854 | 1248856.0345 | 2752813.811 | 1248841.633 | 2752808.9116 | 1248832.1085 | 2752800.5035 | 1248825.9191 | 2752794.2508 | 1248819.3516 | 2752787.6811 | 1248808.3828 | 2752784.2344 | 1248802.288 | 2752781.659 | 1248798.4401 | 2752773.3421 | 1248794.2773 | 2752766.7492 | 1248790.6484 | 2752765.1571 | 1248785.0018 | 2752764.0913 | 1248783.1939
27 | 2752726.1922 | 1249165.3676 | 2752771.735 | 1249143.9202 | 2752784.5078 | 1249143.4377 | 2752819.6767 | 1249154.8171
28 | 2752717.7599 | 1248549.1852 | 2752714.6811 | 1248554.3108 | 2752712.6031 | 1248562.5208 | 2752718.6717 | 1248570.674 | 2752722.6213 | 1248578.372 | 2752725.6976 | 1248588.5834 | 2752729.5302 | 1248600.8162 | 2752731.8405 | 1248609.6732 | 2752734.0947 | 1248615.7261 | 2752738.4781 | 1248621.8338 | 2752744.2225 | 1248627.3205 | 2752748.5346 | 1248636.4849 | 2752748.1992 | 1248644.2171 | 2752747.6535 | 1248655.1247 | 2752744.7711 | 1248663.1805 | 2752743.5097 | 1248670.4885 | 2752744.3999 | 1248677.5738 | 2752742.9444 | 1248687.1345 | 2752742.5449 | 1248697.6455 | 2752742.7425 | 1248705.5138 | 2752743.3024 | 1248714.8595 | 2752741.3232 | 1248718.9458 | 2752737.8521 | 1248724.0503 | 2752733.7189 | 1248728.7483 | 2752729.9072 | 1248736.5132 | 2752728.8371 | 1248741.6796 | 2752730.5379 | 1248748.3855 | 2752732.735 | 1248751.3783 | 2752739.7499 | 1248759.1555 | 2752744.4252 | 1248763.3133 | 2752749.1596 | 1248767.5282 | 2752754.9141 | 1248772.6148 | 2752760.9297 | 1248777.8304 | 2752764.0913 | 1248783.1939
29 | 2752822.4942 | 1249155.7288 | 2752819.6767 | 1249154.8171
30 | 2752717.7599 | 1248549.1852 | 2752724.0985 | 1248541.8858 | 2752731.4249 | 1248532.61 | 2752736.2547 | 1248521.4124 | 2752735.4133 | 1248512.7268 | 2752731.1703 | 1248490.6182 | 2752726.7257 | 1248460.5078 | 2752726.3426 | 1248456.3161
31 | 2752726.3426 | 1248456.3161 | 2752733.9632 | 1248463.4749 | 2752738.8641 | 1248473.2551 | 2752746.917 | 1248494.7056 | 2752755.7358 | 1248510.7706 | 2752756.9089 | 1248520.3657 | 2752756.9489 | 1248528.7749 | 2752758.5398 | 1248531.5408 | 2752770.3317 | 1248544.8242 | 2752780.3706 | 1248553.4246 | 2752786.0104 | 1248562.3786 | 2752787.606 | 1248571.4062 | 2752789.5714 | 1248585.1369 | 2752788.8718 | 1248594.6837 | 2752789.3852 | 1248596.4542 | 2752791.5798 | 1248598.9576 | 2752791.0411 | 1248618.9632 | 2752796.8576 | 1248638.9325 | 2752803.0138 | 1248647.4883 | 2752804.9808 | 1248654.1232 | 2752807.8708 | 1248679.4556 | 2752807.7338 | 1248687.5787
32 | 2752993.1736 | 1248299.3424 | 2753006.1107 | 1248304.1341
33 | 2752993.1736 | 1248299.3424 | 2752982.5235 | 1248295.3977 | 2752976.3217 | 1248292.4723
34 | 2753011.8326 | 1248306.2535 | 2753006.1107 | 1248304.1341
35 | 2753011.8326 | 1248306.2535 | 2753011.8326 | 1248306.2535 | 2753023.9571 | 1248303.963
36 | 2753023.9571 | 1248303.963 | 2753024.2625 | 1248303.9053 | 2753033.1606 | 1248296.7057 | 2753036.2015 | 1248285.6364
37 | 2753041.1091 | 1248267.7717 | 2753036.2015 | 1248285.6364
38 | 2753041.1091 | 1248267.7717 | 2753034.3708 | 1248264.1943 | 2753017.3866 | 1248252.4663
39 | 2753041.1091 | 1248267.7717 | 2753048.4512 | 1248271.665
40 | 2753099.2222 | 1248166.0621 | 2753089.7603 | 1248178.9859 | 2753069.3143 | 1248217.2507 | 2753048.4512 | 1248271.665
41 | 2753048.4512 | 1248271.665 | 2753064.5541 | 1248280.9897 | 2753068.8962 | 1248282.0507
42 | 2753099.2222 | 1248166.0621 | 2753106.3548 | 1248157.6047 | 2753118.0465 | 1248143.7234
43 | 2753099.2222 | 1248166.0621 | 2753098.1467 | 1248164.6996 | 2753086.7684 | 1248150.6541
44 | 2753119.5936 | 1248294.1013 | 2753103.4414 | 1248290.4918 | 2753068.8962 | 1248282.0507
45 | 2753134.1613 | 1248124.5907 | 2753118.0465 | 1248143.7234
46 | 2753086.7684 | 1248150.6541 | 2753069.906 | 1248129.8388
47 | 2753119.5936 | 1248294.1013 | 2753122.8702 | 1248301.5154 | 2753133.5269 | 1248318.7135
48 | 2753119.5936 | 1248294.1013 | 2753142.5701 | 1248290.0686 | 2753163.9004 | 1248288.9185
49 | 2753136.3081 | 1248327.1095 | 2753133.6561 | 1248318.922 | 2753133.5269 | 1248318.7135
50 | 2753175.208 | 1248292.4959 | 2753163.9004 | 1248288.9185
51 | 2753136.3081 | 1248327.1095 | 2753149.0694 | 1248341.4923
52 | 2753136.3081 | 1248327.1095 | 2753133.6027 | 1248329.4642 | 2753124.5057 | 1248332.0762 | 2753116.1901 | 1248329.8927 | 2753113.4495 | 1248328.7904
53 | 2753175.208 | 1248292.4959 | 2753180.7436 | 1248294.2472
54 | 2753144.3865 | 1248128.9146 | 2753134.1613 | 1248124.5907
55 | 2753149.0694 | 1248341.4923 | 2753151.2052 | 1248343.8995 | 2753154.4663 | 1248348.26
56 | 2753113.4495 | 1248328.7904 | 2753108.1645 | 1248326.6648
57 | 2753201.2721 | 1248303.395 | 2753190.4693 | 1248297.3241 | 2753180.7436 | 1248294.2472
58 | 2753144.3865 | 1248128.9146 | 2753153.9204 | 1248103.5695 | 2753155.2587 | 1248098.2767 | 2753156.5594 | 1248091.2257 | 2753162.5499 | 1248033.752
59 | 2753144.3865 | 1248128.9146 | 2753156.9939 | 1248132.4087
60 | 2753191.515 | 1248139.1419 | 2753161.0721 | 1248133.5389 | 2753156.9939 | 1248132.4087
61 | 2753191.515 | 1248139.1419 | 2753180.5468 | 1248149.5242 | 2753174.8105 | 1248153.9444
62 | 2753174.8105 | 1248153.9444 | 2753168.4115 | 1248158.8753 | 2753166.7179 | 1248164.7595 | 2753169.4096 | 1248171.4133 | 2753190.1652 | 1248187.0216
63 | 2753221.2295 | 1248314.6103 | 2753201.2721 | 1248303.395
64 | 2753155.1384 | 1248349.1587 | 2753154.4663 | 1248348.26
65 | 2753188.4628 | 1248361.0497 | 2753190.9161 | 1248360.6861 | 2753193.7045 | 1248360.9696 | 2753196.5486 | 1248362.311 | 2753212.5169 | 1248371.7126
66 | 2753190.4166 | 1248387.7546 | 2753205.1179 | 1248400.2582 | 2753205.7417 | 1248400.8854
67 | 2753067.9989 | 1248313.8169 | 2753082.6989 | 1248317.7222
68 | 2753065.7463 | 1248313.2185 | 2753067.9989 | 1248313.8169
69 | 2753082.6989 | 1248317.7222 | 2753083.2423 | 1248317.8665
70 | 2753083.2423 | 1248317.8665 | 2753085.8734 | 1248318.5655 | 2753087.4728 | 1248319.1294
71 | 2753105.7007 | 1248325.6738 | 2753103.3349 | 1248324.7223 | 2753087.4728 | 1248319.1294
72 | 2753105.7007 | 1248325.6738 | 2753108.1645 | 1248326.6648

## bus_geodata
| x | y | coords
0 | 2753237.7015 | 1249036.1284
1 | 2753165.2692 | 1248866.0235
2 | 2753032.4331 | 1248676.1
3 | 2753585.4089 | 1248773.227
4 | 2752996.3206 | 1248537.6223
5 | 2752994.1959 | 1248777.0359
6 | 2753120.4153 | 1248596.4052
7 | 2752977.5769 | 1248503.6056
8 | 2752996.1134 | 1249003.8664
9 | 2753603.95 | 1248742.0547
10 | 2753735.1033 | 1248803.5919
11 | 2752923.4456 | 1248411.1515
12 | 2752961.3952 | 1248476.8733
13 | 2753063.1868 | 1248401.2113
14 | 2753069.8476 | 1248391.046
15 | 2752973.8333 | 1248589.4591
16 | 2753173.9774 | 1248373.4721
17 | 2752842.6432 | 1249071.0057
18 | 2752934.9768 | 1249096.187
19 | 2752817.2548 | 1249097.0255
20 | 2752957.4153 | 1249077.143
21 | 2752827.1855 | 1248894.5736
22 | 2752726.1922 | 1249165.3676
23 | 2752965.8 | 1249067.8392
24 | 2752764.0913 | 1248783.1939
25 | 2752819.6767 | 1249154.8171
26 | 2752717.7599 | 1248549.1852
27 | 2752822.4942 | 1249155.7288
28 | 2752807.7338 | 1248687.5787
29 | 2752726.3426 | 1248456.3161
30 | 2752993.1736 | 1248299.3424
31 | 2753006.1107 | 1248304.1341
32 | 2752976.3217 | 1248292.4723
33 | 2753011.8326 | 1248306.2535
34 | 2753023.9571 | 1248303.963
35 | 2753036.2015 | 1248285.6364
36 | 2753017.3866 | 1248252.4663
37 | 2753041.1091 | 1248267.7717
38 | 2753048.4512 | 1248271.665
39 | 2753099.2222 | 1248166.0621
40 | 2753068.8962 | 1248282.0507
41 | 2753118.0465 | 1248143.7234
42 | 2753086.7684 | 1248150.6541
43 | 2753119.5936 | 1248294.1013
44 | 2753133.5269 | 1248318.7135
45 | 2753163.9004 | 1248288.9185
46 | 2753136.3081 | 1248327.1095
47 | 2753175.208 | 1248292.4959
48 | 2753134.1613 | 1248124.5907
49 | 2753069.906 | 1248129.8388
50 | 2753149.0694 | 1248341.4923
51 | 2753113.4495 | 1248328.7904
52 | 2753180.7436 | 1248294.2472
53 | 2753144.3865 | 1248128.9146
54 | 2753162.5499 | 1248033.752
55 | 2753156.9939 | 1248132.4087
56 | 2753191.515 | 1248139.1419
57 | 2753174.8105 | 1248153.9444
58 | 2753190.1652 | 1248187.0216
59 | 2753221.2295 | 1248314.6103
60 | 2753201.2721 | 1248303.395
61 | 2753155.1384 | 1248349.1587
62 | 2753188.4628 | 1248361.0497
63 | 2753190.4166 | 1248387.7546
64 | 2753154.4663 | 1248348.26
65 | 2753212.5169 | 1248371.7126
66 | 2753205.7417 | 1248400.8854
67 | 2753067.9989 | 1248313.8169
68 | 2753082.6989 | 1248317.7222
69 | 2753065.7463 | 1248313.2185
70 | 2753083.2423 | 1248317.8665
71 | 2753087.4728 | 1248319.1294
72 | 2753105.7007 | 1248325.6738
73 | 2753108.1645 | 1248326.6648
74 | 2753136.3081 | 1248327.1095

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1