## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3022-11_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3022-11_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3022-11_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3022-11_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3022-11_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3022-11_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3022-11_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_3022-11_0_4_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_3022-11_0_4_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_3022-11_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3022-11_0_4_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_3022-11_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3022-11_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_3022-11_0_4_node_41 | 0.4 | n |  | TRUE
14 | bus_LV_3022-11_0_4_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_3022-11_0_4_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_3022-11_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_3022-11_0_4_node_47 | 0.4 | n |  | TRUE
18 | bus_LV_3022-11_0_4_node_44 | 0.4 | n |  | TRUE
19 | bus_LV_3022-11_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_3022-11_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_3022-11_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_3022-11_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_3022-11_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_3022-11_0_4_node_61 | 0.4 | n |  | TRUE
25 | bus_LV_3022-11_0_4_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_3022-11_0_4_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_3022-11_0_4_node_66 | 0.4 | n |  | TRUE
28 | bus_LV_3022-11_0_4_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_3022-11_0_4_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_3022-11_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_3022-11_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_3022-11_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_3022-11_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_3022-11_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_3022-11_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_3022-11_0_4_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_3022-11_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_3022-11_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_3022-11_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_3022-11_0_4_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_3022-11_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_3022-11_0_4_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_3022-11_0_4_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_3022-11_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_3022-11_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_3022-11_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_3022-11_0_4_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_3022-11_0_4_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_3022-11_0_4_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_3022-11_0_4_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_3022-11_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_3022-11_0_4_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_3022-11_0_4_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_3022-11_0_4_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_3022-11_0_4_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_3022-11_0_4_node_72 | 0.4 | n |  | TRUE
57 | bus_LV_3022-11_0_4_node_73 | 0.4 | n |  | TRUE
58 | bus_LV_3022-11_0_4_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_3022-11_0_4_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_3022-11_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_3022-11_0_4_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_3022-11_0_4_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_3022-11_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_3022-11_0_4_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_3022-11_0_4_node_77 | 0.4 | n |  | TRUE
66 | bus_LV_3022-11_0_4_node_74 | 0.4 | n |  | TRUE
67 | bus_LV_3022-11_0_4_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_3022-11_0_4_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_3022-11_0_4_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_3022-11_0_4_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_3022-11_0_4_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_3022-11_0_4_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_3022-11_0_4_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_3022-11_0_4_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_3022-11_0_4_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_3022-11_0_4_node_75 | 0.4 | n |  | TRUE
77 | bus_MV_41_3_node_122 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3022-11_0_4_load_0 | 0 | 0.0053807 | 0.0013485 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3022-11_0_4_load_1 | 1 | 0.003063 | 0.00076765 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3022-11_0_4_load_2 | 2 | 0.0035677 | 0.00089414 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3022-11_0_4_load_3 | 3 | 0.013032 | 0.0032661 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3022-11_0_4_load_4 | 4 | 0.0029827 | 0.00074754 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3022-11_0_4_load_5 | 5 | 0.005927 | 0.0014855 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3022-11_0_4_load_22 | 7 | 0.0041879 | 0.0010496 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3022-11_0_4_load_10 | 8 | 0.012698 | 0.0031825 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3022-11_0_4_load_6 | 9 | 0.0052872 | 0.0013251 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3022-11_0_4_load_7 | 11 | 0.0027764 | 0.00069582 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3022-11_0_4_load_41 | 13 | 0.0018125 | 0.00045425 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3022-11_0_4_load_23 | 14 | 0.0043882 | 0.0010998 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3022-11_0_4_load_14 | 16 | 0.0034106 | 0.00085477 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3022-11_0_4_load_47 | 17 | 0.020422 | 0.0051183 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3022-11_0_4_load_11 | 19 | 0.0024941 | 0.00062507 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3022-11_0_4_load_12 | 20 | 0.001251 | 0.00031353 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3022-11_0_4_load_16 | 23 | 0.0064447 | 0.0016152 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3022-11_0_4_load_61 | 24 | 0.00076092 | 0.0001907 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3022-11_0_4_load_60 | 25 | 0.00085411 | 0.00021406 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3022-11_0_4_load_38 | 26 | 0.00064225 | 0.00016096 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3022-11_0_4_load_66 | 27 | 0.00032354 | 8.1088e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3022-11_0_4_load_59 | 29 | 0.0031533 | 0.0007903 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3022-11_0_4_load_17 | 30 | 0.0031266 | 0.00078361 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3022-11_0_4_load_18 | 31 | 0.0044298 | 0.0011102 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3022-11_0_4_load_20 | 32 | 0.0056326 | 0.0014117 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3022-11_0_4_load_26 | 34 | 0.0033426 | 0.00083774 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3022-11_0_4_load_24 | 35 | 0.0062372 | 0.0015632 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3022-11_0_4_load_42 | 36 | 0.002559 | 0.00064135 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3022-11_0_4_load_27 | 38 | 0.0042201 | 0.0010577 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3022-11_0_4_load_28 | 39 | 0.0016228 | 0.00040672 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3022-11_0_4_load_40 | 42 | 0.0035475 | 0.00088908 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3022-11_0_4_load_32 | 44 | 0.00073978 | 0.00018541 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3022-11_0_4_load_29 | 45 | 0.00091237 | 0.00022866 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3022-11_0_4_load_30 | 46 | 0.0015909 | 0.00039873 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3022-11_0_4_load_33 | 48 | 0.00084337 | 0.00021137 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3022-11_0_4_load_36 | 49 | 0.0023753 | 0.00059531 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3022-11_0_4_load_37 | 50 | 0.0012763 | 0.00031986 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3022-11_0_4_load_43 | 51 | 0.028747 | 0.0072048 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3022-11_0_4_load_56 | 54 | 0.0021834 | 0.00054721 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3022-11_0_4_load_55 | 55 | 0.0068016 | 0.0017046 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3022-11_0_4_load_72 | 56 | 0.0043032 | 0.0010785 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3022-11_0_4_load_57 | 58 | 0.0053044 | 0.0013294 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3022-11_0_4_load_53 | 59 | 0.0079944 | 0.0020036 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3022-11_0_4_load_48 | 60 | 0.00084347 | 0.00021139 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3022-11_0_4_load_51 | 62 | 0.0024794 | 0.00062139 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3022-11_0_4_load_54 | 64 | 0.0033744 | 0.0008457 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3022-11_0_4_load_77 | 65 | 0.0046295 | 0.0011603 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3022-11_0_4_load_74 | 66 | 0.0051449 | 0.0012894 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3022-11_0_4_load_62 | 67 | 0.0013609 | 0.00034108 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3022-11_0_4_load_63 | 68 | 0.0010959 | 0.00027465 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3022-11_0_4_load_65 | 70 | 0.002541 | 0.00063683 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3022-11_0_4_load_70 | 71 | 0.00097882 | 0.00024531 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3022-11_0_4_load_69 | 72 | 0.0041906 | 0.0010503 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3022-11_0_4_load_71 | 73 | 0.0010136 | 0.00025404 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3022-11_0_4_load_67 | 74 | 0.0013139 | 0.0003293 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3022-11_0_4_load_68 | 75 | 0.00040242 | 0.00010086 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3022-11_0_4_load_75 | 76 | 0.0047899 | 0.0012005 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3022-11_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.036905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3022-11_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.028172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3022-11_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.037386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3022-11_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.011297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3022-11_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0020502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3022-11_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.014589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3022-11_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.039013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3022-11_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0091107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_3022-11_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.020735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_3022-11_0_4_line_9 | NAYY 4x150 SE | 7 | 10 | 0.0049923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3022-11_0_4_line_10 | NAYY 4x150 SE | 8 | 15 | 0.015056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3022-11_0_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.00866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_3022-11_0_4_line_12 | NAYY 4x150 SE | 10 | 33 | 0.021763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3022-11_0_4_line_13 | NAYY 4x150 SE | 10 | 30 | 0.035747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3022-11_0_4_line_14 | NAYY 4x150 SE | 11 | 12 | 0.014677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_3022-11_0_4_line_15 | NAYY 4x150 SE | 12 | 13 | 0.055529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3022-11_0_4_line_16 | NAYY 4x150 SE | 12 | 14 | 0.0039063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3022-11_0_4_line_17 | NAYY 4x150 SE | 14 | 16 | 0.022843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3022-11_0_4_line_18 | NAYY 4x150 SE | 15 | 17 | 0.037443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3022-11_0_4_line_19 | NAYY 4x150 SE | 15 | 18 | 0.060847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3022-11_0_4_line_20 | NAYY 4x150 SE | 16 | 20 | 0.0019749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3022-11_0_4_line_21 | NAYY 4x150 SE | 17 | 55 | 0.0062591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3022-11_0_4_line_22 | NAYY 4x150 SE | 18 | 52 | 0.030876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3022-11_0_4_line_23 | NAYY 4x150 SE | 18 | 51 | 0.018263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3022-11_0_4_line_24 | NAYY 4x150 SE | 19 | 20 | 0.037213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3022-11_0_4_line_25 | NAYY 4x150 SE | 19 | 21 | 0.033083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3022-11_0_4_line_26 | NAYY 4x150 SE | 21 | 22 | 0.034647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3022-11_0_4_line_27 | NAYY 4x150 SE | 21 | 23 | 0.039173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3022-11_0_4_line_28 | NAYY 4x150 SE | 22 | 24 | 0.073707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3022-11_0_4_line_29 | NAYY 4x150 SE | 22 | 25 | 0.049304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3022-11_0_4_line_30 | NAYY 4x150 SE | 23 | 26 | 0.045414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3022-11_0_4_line_31 | NAYY 4x150 SE | 24 | 27 | 0.10823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3022-11_0_4_line_32 | NAYY 4x150 SE | 24 | 28 | 0.088419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3022-11_0_4_line_33 | NAYY 4x150 SE | 25 | 29 | 0.045667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3022-11_0_4_line_34 | NAYY 4x150 SE | 27 | 69 | 0.10184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3022-11_0_4_line_35 | NAYY 4x150 SE | 28 | 61 | 0.09954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3022-11_0_4_line_36 | NAYY 4x150 SE | 30 | 31 | 0.024493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3022-11_0_4_line_37 | NAYY 4x150 SE | 31 | 32 | 0.013266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3022-11_0_4_line_38 | NAYY 4x150 SE | 33 | 34 | 0.013894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3022-11_0_4_line_39 | NAYY 4x150 SE | 33 | 35 | 0.013518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3022-11_0_4_line_40 | NAYY 4x150 SE | 34 | 36 | 0.018739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3022-11_0_4_line_41 | NAYY 4x150 SE | 35 | 37 | 0.034707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3022-11_0_4_line_42 | NAYY 4x150 SE | 37 | 38 | 0.026767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3022-11_0_4_line_43 | NAYY 4x150 SE | 37 | 39 | 0.013049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3022-11_0_4_line_44 | NAYY 4x150 SE | 38 | 40 | 0.042674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3022-11_0_4_line_45 | NAYY 4x150 SE | 39 | 41 | 0.038597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3022-11_0_4_line_46 | NAYY 4x150 SE | 40 | 42 | 0.013197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3022-11_0_4_line_47 | NAYY 4x150 SE | 40 | 43 | 0.010986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3022-11_0_4_line_48 | NAYY 4x150 SE | 41 | 44 | 0.012648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3022-11_0_4_line_49 | NAYY 4x150 SE | 43 | 50 | 0.0055694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3022-11_0_4_line_50 | NAYY 4x150 SE | 44 | 46 | 0.009296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3022-11_0_4_line_51 | NAYY 4x150 SE | 45 | 46 | 0.0089523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3022-11_0_4_line_52 | NAYY 4x150 SE | 45 | 47 | 0.0080684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3022-11_0_4_line_53 | NAYY 4x150 SE | 47 | 48 | 0.0083179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3022-11_0_4_line_54 | NAYY 4x150 SE | 48 | 49 | 0.031876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3022-11_0_4_line_55 | NAYY 4x150 SE | 52 | 53 | 0.083906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3022-11_0_4_line_56 | NAYY 4x150 SE | 52 | 54 | 0.036009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3022-11_0_4_line_57 | NAYY 4x150 SE | 53 | 56 | 0.022777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3022-11_0_4_line_58 | NAYY 4x150 SE | 53 | 57 | 0.097411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3022-11_0_4_line_59 | NAYY 4x150 SE | 54 | 58 | 0.0028114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3022-11_0_4_line_60 | NAYY 4x150 SE | 55 | 59 | 0.020555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3022-11_0_4_line_61 | NAYY 4x150 SE | 57 | 66 | 0.086882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3022-11_0_4_line_62 | NAYY 4x150 SE | 59 | 63 | 0.0094586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3022-11_0_4_line_63 | NAYY 4x150 SE | 60 | 61 | 0.12807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3022-11_0_4_line_64 | NAYY 4x150 SE | 62 | 63 | 0.024537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3022-11_0_4_line_65 | NAYY 4x150 SE | 63 | 64 | 0.01569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3022-11_0_4_line_66 | NAYY 4x150 SE | 64 | 65 | 0.044787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3022-11_0_4_line_67 | NAYY 4x150 SE | 66 | 76 | 0.061294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3022-11_0_4_line_68 | NAYY 4x150 SE | 67 | 68 | 0.096131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3022-11_0_4_line_69 | NAYY 4x150 SE | 67 | 69 | 0.021725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3022-11_0_4_line_70 | NAYY 4x150 SE | 68 | 70 | 0.059252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3022-11_0_4_line_71 | NAYY 4x150 SE | 69 | 71 | 0.12894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3022-11_0_4_line_72 | NAYY 4x150 SE | 70 | 72 | 0.12961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3022-11_0_4_line_73 | NAYY 4x150 SE | 71 | 73 | 0.0036032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3022-11_0_4_line_74 | NAYY 4x150 SE | 72 | 74 | 0.086849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3022-11_0_4_line_75 | NAYY 4x150 SE | 74 | 75 | 0.062688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3022-11_0_4_trafo_9 | 0.25 MVA 20/0.4 kV | 77 | 12 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2752767.6379 | 1248160.2211 | 2752776.2285 | 1248167.0764 | 2752799.5694 | 1248178.3346
1 | 2752767.6379 | 1248160.2211 | 2752757.5338 | 1248152.158 | 2752743.4015 | 1248146.4412
2 | 2752799.5694 | 1248178.3346 | 2752805.1937 | 1248181.0474 | 2752807.8997 | 1248190.9712 | 2752802.5509 | 1248198.841 | 2752791.5687 | 1248201.3048 | 2752791.4836 | 1248201.3017
3 | 2752743.4015 | 1248146.4412 | 2752740.6779 | 1248145.3394 | 2752732.6113 | 1248143.147
4 | 2752789.4348 | 1248201.2269 | 2752791.4836 | 1248201.3017
5 | 2752718.9742 | 1248138.0955 | 2752726.3459 | 1248141.4442 | 2752732.6113 | 1248143.147
6 | 2752789.4348 | 1248201.2269 | 2752766.6946 | 1248200.3964 | 2752759.2513 | 1248204.5197 | 2752756.969 | 1248210.9783 | 2752757.0543 | 1248211.8731
7 | 2752718.9742 | 1248138.0955 | 2752720.5541 | 1248134.555 | 2752722.8063 | 1248129.8307
8 | 2752718.9742 | 1248138.0955 | 2752713.106 | 1248149.4109 | 2752711.1447 | 1248157.1544
9 | 2752757.528 | 1248216.8428 | 2752757.0543 | 1248211.8731
10 | 2752729.2853 | 1248116.2399 | 2752722.8063 | 1248129.8307
11 | 2752711.1447 | 1248157.1544 | 2752710.1869 | 1248160.9358 | 2752709.8308 | 1248165.6817
12 | 2752757.528 | 1248216.8428 | 2752763.1287 | 1248219.7121 | 2752777.4437 | 1248225.7201
13 | 2752757.528 | 1248216.8428 | 2752751.657 | 1248226.8012 | 2752747.2033 | 1248233.3706 | 2752740.8215 | 1248241.7477 | 2752738.1329 | 1248246.7952
14 | 2752709.1804 | 1248180.3398 | 2752709.4157 | 1248171.2148 | 2752709.8308 | 1248165.6817
15 | 2752666.8621 | 1248205.6968 | 2752670.1322 | 1248198.7298 | 2752671.8189 | 1248194.5581 | 2752674.4247 | 1248189.031 | 2752684.3736 | 1248190.0103 | 2752690.921 | 1248189.2782 | 2752697.4854 | 1248188.1795 | 2752702.6483 | 1248184.876 | 2752709.1804 | 1248180.3398
16 | 2752709.1804 | 1248180.3398 | 2752709.0797 | 1248184.2448
17 | 2752709.0797 | 1248184.2448 | 2752709.0647 | 1248184.8301 | 2752708.693 | 1248199.2456 | 2752708.336 | 1248207.0747
18 | 2752729.2853 | 1248116.2399 | 2752738.9549 | 1248118.9694 | 2752757.2465 | 1248119.0519 | 2752766.3274 | 1248118.4035
19 | 2752721.1273 | 1248060.1532 | 2752716.0846 | 1248088.6843 | 2752717.8397 | 1248102.6764 | 2752723.4976 | 1248110.363 | 2752729.2853 | 1248116.2399
20 | 2752708.246 | 1248209.0475 | 2752708.336 | 1248207.0747
21 | 2752772.5707 | 1248117.9578 | 2752766.3274 | 1248118.4035
22 | 2752690.3571 | 1248056.6685 | 2752721.1273 | 1248060.1532
23 | 2752721.1273 | 1248060.1532 | 2752738.5675 | 1248065.5735
24 | 2752708.246 | 1248209.0475 | 2752708.0846 | 1248212.5873 | 2752706.7301 | 1248223.5074 | 2752703.3136 | 1248231.1713 | 2752696.5851 | 1248242.7426 | 2752696.2072 | 1248243.5479
25 | 2752689.5727 | 1248275.2935 | 2752689.1067 | 1248262.5915 | 2752692.6194 | 1248251.1931 | 2752696.2072 | 1248243.5479
26 | 2752689.5727 | 1248275.2935 | 2752688.6887 | 1248298.4488 | 2752687.5379 | 1248306.16 | 2752686.9908 | 1248309.7938
27 | 2752689.5727 | 1248275.2935 | 2752691.5649 | 1248280.6723 | 2752696.3019 | 1248291.249 | 2752704.3368 | 1248309.8962 | 2752704.8599 | 1248311.3485
28 | 2752686.9908 | 1248309.7938 | 2752687.6716 | 1248326.1828 | 2752689.7839 | 1248342.1416 | 2752689.3689 | 1248353.8422 | 2752687.5065 | 1248363.6593 | 2752684.8683 | 1248372.7892 | 2752683.4377 | 1248381.6832 | 2752683.4897 | 1248382.6757
29 | 2752686.9908 | 1248309.7938 | 2752684.2836 | 1248314.8624 | 2752681.7787 | 1248320.5812 | 2752679.2922 | 1248325.5887 | 2752674.1947 | 1248326.3582 | 2752668.4001 | 1248326.0309 | 2752665.2221 | 1248322.6902 | 2752661.3703 | 1248317.3414 | 2752656.233 | 1248312.3265 | 2752654.1372 | 1248311.1922
30 | 2752735.5455 | 1248341.0279 | 2752731.241 | 1248337.5493 | 2752723.4731 | 1248334.0458 | 2752714.3482 | 1248330.1292 | 2752711.721 | 1248327.9928 | 2752709.0189 | 1248322.8961 | 2752704.8599 | 1248311.3485
31 | 2752683.4897 | 1248382.6757 | 2752588.8021 | 1248435.0888
32 | 2752726.3426 | 1248456.3161 | 2752726.1004 | 1248453.6962 | 2752719.595 | 1248441.6726 | 2752711.5591 | 1248431.8672 | 2752703.403 | 1248426.7188 | 2752695.9833 | 1248418.7978 | 2752691.2195 | 1248411.6126 | 2752687.0708 | 1248401.3736 | 2752684.0607 | 1248393.5663 | 2752683.4897 | 1248382.6757
33 | 2752621.2998 | 1248290.1922 | 2752625.8266 | 1248302.69 | 2752631.1498 | 1248307.5317 | 2752636.9678 | 1248306.9476 | 2752639.7372 | 1248305.0392 | 2752643.1804 | 1248305.1279 | 2752648.1848 | 1248307.9707 | 2752654.1372 | 1248311.1922
34 | 2752513.5598 | 1248378.3856 | 2752533.019 | 1248378.5752 | 2752542.4759 | 1248381.0431 | 2752551.0597 | 1248386.3135 | 2752558.9955 | 1248392.9797 | 2752566.4765 | 1248401.4582 | 2752570.9222 | 1248409.8585 | 2752572.7898 | 1248415.9681 | 2752577.2926 | 1248422.1455 | 2752588.8021 | 1248435.0888
35 | 2752717.7599 | 1248549.1852 | 2752724.0985 | 1248541.8858 | 2752731.4249 | 1248532.61 | 2752736.2547 | 1248521.4124 | 2752735.4133 | 1248512.7268 | 2752731.1703 | 1248490.6182 | 2752726.7257 | 1248460.5078 | 2752726.3426 | 1248456.3161
36 | 2752732.4871 | 1248270.2485 | 2752735.4187 | 1248264.3193 | 2752735.9584 | 1248253.645 | 2752738.0106 | 1248247.0248 | 2752738.1329 | 1248246.7952
37 | 2752730.6931 | 1248283.1936 | 2752731.1618 | 1248272.9291 | 2752732.4871 | 1248270.2485
38 | 2752777.4437 | 1248225.7201 | 2752784.416 | 1248228.4357 | 2752790.7637 | 1248229.3368
39 | 2752777.4437 | 1248225.7201 | 2752775.3032 | 1248239.0677
40 | 2752790.7637 | 1248229.3368 | 2752809.3171 | 1248231.9705
41 | 2752787.7795 | 1248264.1348 | 2752779.3165 | 1248257.9885 | 2752772.7908 | 1248256.4189 | 2752773.5359 | 1248250.0875 | 2752775.3032 | 1248239.0677
42 | 2752787.7795 | 1248264.1348 | 2752784.719 | 1248265.9021 | 2752779.0191 | 1248268.9359 | 2752776.5405 | 1248271.2855 | 2752774.2422 | 1248274.8519 | 2752773.623 | 1248277.4718 | 2752773.3135 | 1248280.9784 | 2752774.3949 | 1248283.6752
43 | 2752787.7795 | 1248264.1348 | 2752798.2243 | 1248271.956
44 | 2752794.1813 | 1248321.4776 | 2752774.8682 | 1248284.8555 | 2752774.3949 | 1248283.6752
45 | 2752825.9499 | 1248298.8077 | 2752798.2243 | 1248271.956
46 | 2752798.0331 | 1248308.9536 | 2752796.3919 | 1248316.919 | 2752794.1813 | 1248321.4776
47 | 2752794.1813 | 1248321.4776 | 2752799.1726 | 1248331.2713
48 | 2752825.9499 | 1248298.8077 | 2752829.4204 | 1248299.5979 | 2752834.4978 | 1248303.1211 | 2752836.308 | 1248305.3972
49 | 2752799.1726 | 1248331.2713 | 2752799.0207 | 1248333.9366 | 2752799.0703 | 1248336.8359
50 | 2752836.308 | 1248305.3972 | 2752838.4352 | 1248308.0718 | 2752841.8098 | 1248312.8853
51 | 2752847.0059 | 1248320.1749 | 2752844.6371 | 1248316.9181 | 2752841.8098 | 1248312.8853
52 | 2752851.7518 | 1248326.6999 | 2752847.0059 | 1248320.1749
53 | 2752851.7518 | 1248326.6999 | 2752851.0284 | 1248332.1865 | 2752850.0103 | 1248334.7774
54 | 2752841.06 | 1248365.0615 | 2752841.1796 | 1248360.4267 | 2752843.0274 | 1248351.7771 | 2752846.5113 | 1248342.38 | 2752849.2978 | 1248336.5906 | 2752850.0103 | 1248334.7774
55 | 2752658.6706 | 1248033.3189 | 2752663.9727 | 1248026.0817 | 2752666.1175 | 1248017.6288 | 2752665.9292 | 1248009.3937 | 2752673.1043 | 1248013.9273 | 2752673.9537 | 1248020.8448 | 2752675.0854 | 1248024.7221 | 2752681.4553 | 1248047.5972 | 2752684.4467 | 1248055.8377 | 2752690.3571 | 1248056.6685
56 | 2752690.3571 | 1248056.6685 | 2752683.9543 | 1248058.5277 | 2752682.0256 | 1248062.9934 | 2752680.8076 | 1248068.0336 | 2752679.7293 | 1248074.6901 | 2752679.7613 | 1248080.4854 | 2752685.8311 | 1248083.4453
57 | 2752658.6706 | 1248033.3189 | 2752663.3569 | 1248041.1805 | 2752663.9003 | 1248048.2458 | 2752664.4576 | 1248054.7665
58 | 2752575.0963 | 1247996.9771 | 2752593.1351 | 1247995.7401 | 2752607.2441 | 1247999.5068 | 2752623.4878 | 1248008.9896 | 2752636.7097 | 1248025.1901 | 2752648.9734 | 1248034.5816 | 2752658.6706 | 1248033.3189
59 | 2752688.3581 | 1248084.6775 | 2752685.8311 | 1248083.4453
60 | 2752772.5707 | 1248117.9578 | 2752790.5478 | 1248116.6742 | 2752793.0717 | 1248116.8779
61 | 2752575.0963 | 1247996.9771 | 2752575.3736 | 1248008.5065 | 2752577.178 | 1248019.1299 | 2752580.9914 | 1248033.0192 | 2752588.4137 | 1248046.4343 | 2752596.8995 | 1248055.5282 | 2752603.3032 | 1248064.1903 | 2752608.7268 | 1248074.5287
62 | 2752802.4996 | 1248117.6387 | 2752793.0717 | 1248116.8779
63 | 2752717.7599 | 1248549.1852 | 2752744.0175 | 1248674.5305
64 | 2752802.4996 | 1248117.6387 | 2752799.2201 | 1248141.9556
65 | 2752802.4996 | 1248117.6387 | 2752812.7927 | 1248118.4603 | 2752817.6323 | 1248120.7746
66 | 2752817.6323 | 1248120.7746 | 2752839.1879 | 1248081.516
67 | 2752608.7268 | 1248074.5287 | 2752613.3536 | 1248086.1702 | 2752614.5623 | 1248097.9127 | 2752613.9462 | 1248107.1614 | 2752612.413 | 1248115.0518 | 2752608.7887 | 1248123.4555 | 2752605.3141 | 1248133.3757
68 | 2752500.374 | 1248361.1198 | 2752495.1399 | 1248354.2662 | 2752488.742 | 1248350.6648 | 2752458.5256 | 1248343.6254 | 2752446.8802 | 1248339.2884 | 2752435.0997 | 1248324.638 | 2752428.7042 | 1248321.237 | 2752419.286 | 1248316.2215
69 | 2752513.5598 | 1248378.3856 | 2752500.374 | 1248361.1198
70 | 2752378.0819 | 1248276.0814 | 2752378.4637 | 1248276.9138 | 2752385.0631 | 1248289.4288 | 2752388.9428 | 1248295.1674 | 2752400.8119 | 1248306.3834 | 2752419.286 | 1248316.2215
71 | 2752513.5598 | 1248378.3856 | 2752466.9849 | 1248498.6174
72 | 2752378.0819 | 1248276.0814 | 2752301.1869 | 1248171.7419
73 | 2752463.6376 | 1248497.2835 | 2752466.9849 | 1248498.6174
74 | 2752260.9334 | 1248095.9778 | 2752300.9644 | 1248165.715 | 2752302.0555 | 1248170.5922 | 2752301.1869 | 1248171.7419
75 | 2752260.9334 | 1248095.9778 | 2752260.2319 | 1248094.7558 | 2752221.9552 | 1248069.9268 | 2752215.6213 | 1248064.1141 | 2752211.4769 | 1248058.4008

## bus_geodata
| x | y | coords
0 | 2752767.6379 | 1248160.2211
1 | 2752799.5694 | 1248178.3346
2 | 2752743.4015 | 1248146.4412
3 | 2752791.4836 | 1248201.3017
4 | 2752732.6113 | 1248143.147
5 | 2752789.4348 | 1248201.2269
6 | 2752718.9742 | 1248138.0955
7 | 2752757.0543 | 1248211.8731
8 | 2752722.8063 | 1248129.8307
9 | 2752711.1447 | 1248157.1544
10 | 2752757.528 | 1248216.8428
11 | 2752709.8308 | 1248165.6817
12 | 2752709.1804 | 1248180.3398
13 | 2752666.8621 | 1248205.6968
14 | 2752709.0797 | 1248184.2448
15 | 2752729.2853 | 1248116.2399
16 | 2752708.336 | 1248207.0747
17 | 2752766.3274 | 1248118.4035
18 | 2752721.1273 | 1248060.1532
19 | 2752696.2072 | 1248243.5479
20 | 2752708.246 | 1248209.0475
21 | 2752689.5727 | 1248275.2935
22 | 2752686.9908 | 1248309.7938
23 | 2752704.8599 | 1248311.3485
24 | 2752683.4897 | 1248382.6757
25 | 2752654.1372 | 1248311.1922
26 | 2752735.5455 | 1248341.0279
27 | 2752588.8021 | 1248435.0888
28 | 2752726.3426 | 1248456.3161
29 | 2752621.2998 | 1248290.1922
30 | 2752738.1329 | 1248246.7952
31 | 2752732.4871 | 1248270.2485
32 | 2752730.6931 | 1248283.1936
33 | 2752777.4437 | 1248225.7201
34 | 2752790.7637 | 1248229.3368
35 | 2752775.3032 | 1248239.0677
36 | 2752809.3171 | 1248231.9705
37 | 2752787.7795 | 1248264.1348
38 | 2752774.3949 | 1248283.6752
39 | 2752798.2243 | 1248271.956
40 | 2752794.1813 | 1248321.4776
41 | 2752825.9499 | 1248298.8077
42 | 2752798.0331 | 1248308.9536
43 | 2752799.1726 | 1248331.2713
44 | 2752836.308 | 1248305.3972
45 | 2752847.0059 | 1248320.1749
46 | 2752841.8098 | 1248312.8853
47 | 2752851.7518 | 1248326.6999
48 | 2752850.0103 | 1248334.7774
49 | 2752841.06 | 1248365.0615
50 | 2752799.0703 | 1248336.8359
51 | 2752738.5675 | 1248065.5735
52 | 2752690.3571 | 1248056.6685
53 | 2752658.6706 | 1248033.3189
54 | 2752685.8311 | 1248083.4453
55 | 2752772.5707 | 1248117.9578
56 | 2752664.4576 | 1248054.7665
57 | 2752575.0963 | 1247996.9771
58 | 2752688.3581 | 1248084.6775
59 | 2752793.0717 | 1248116.8779
60 | 2752744.0175 | 1248674.5305
61 | 2752717.7599 | 1248549.1852
62 | 2752799.2201 | 1248141.9556
63 | 2752802.4996 | 1248117.6387
64 | 2752817.6323 | 1248120.7746
65 | 2752839.1879 | 1248081.516
66 | 2752608.7268 | 1248074.5287
67 | 2752500.374 | 1248361.1198
68 | 2752419.286 | 1248316.2215
69 | 2752513.5598 | 1248378.3856
70 | 2752378.0819 | 1248276.0814
71 | 2752466.9849 | 1248498.6174
72 | 2752301.1869 | 1248171.7419
73 | 2752463.6376 | 1248497.2835
74 | 2752260.9334 | 1248095.9778
75 | 2752211.4769 | 1248058.4008
76 | 2752605.3141 | 1248133.3757
77 | 2752718.9742 | 1248138.0955

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1