## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3022-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3022-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3022-2_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3022-2_0_4_node_23 | 0.4 | n |  | TRUE
4 | bus_LV_3022-2_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3022-2_0_4_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_3022-2_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3022-2_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3022-2_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_3022-2_0_4_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_3022-2_0_4_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_3022-2_0_4_node_40 | 0.4 | n |  | TRUE
12 | bus_LV_3022-2_0_4_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_3022-2_0_4_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_3022-2_0_4_node_49 | 0.4 | n |  | TRUE
15 | bus_LV_3022-2_0_4_node_50 | 0.4 | n |  | TRUE
16 | bus_LV_3022-2_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3022-2_0_4_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_3022-2_0_4_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_3022-2_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_3022-2_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_3022-2_0_4_node_59 | 0.4 | n |  | TRUE
22 | bus_LV_3022-2_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_3022-2_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_3022-2_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_3022-2_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_3022-2_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_3022-2_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_3022-2_0_4_node_65 | 0.4 | n |  | TRUE
29 | bus_LV_3022-2_0_4_node_63 | 0.4 | n |  | TRUE
30 | bus_LV_3022-2_0_4_node_64 | 0.4 | n |  | TRUE
31 | bus_LV_3022-2_0_4_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_3022-2_0_4_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_3022-2_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_3022-2_0_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_3022-2_0_4_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_3022-2_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_3022-2_0_4_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_3022-2_0_4_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_3022-2_0_4_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_3022-2_0_4_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_3022-2_0_4_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_3022-2_0_4_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_3022-2_0_4_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_3022-2_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_3022-2_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_3022-2_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_3022-2_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_3022-2_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_3022-2_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_3022-2_0_4_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_3022-2_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_3022-2_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_3022-2_0_4_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_3022-2_0_4_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_3022-2_0_4_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_3022-2_0_4_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_3022-2_0_4_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_3022-2_0_4_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_3022-2_0_4_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_3022-2_0_4_node_62 | 0.4 | n |  | TRUE
61 | bus_MV_41_3_node_149 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3022-2_0_4_load_0 | 0 | 0.0083066 | 0.0020818 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3022-2_0_4_load_23 | 3 | 0.01631 | 0.0040876 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3022-2_0_4_load_25 | 5 | 0.0058656 | 0.0014701 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3022-2_0_4_load_6 | 6 | 0.0064538 | 0.0016175 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3022-2_0_4_load_7 | 8 | 0.0014173 | 0.00035521 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3022-2_0_4_load_40 | 11 | 0.013429 | 0.0033655 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3022-2_0_4_load_13 | 12 | 0.0034251 | 0.00085841 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3022-2_0_4_load_20 | 13 | 0.012713 | 0.0031861 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3022-2_0_4_load_50 | 15 | 0.0054355 | 0.0013623 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3022-2_0_4_load_12 | 16 | 0.0015291 | 0.00038323 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3022-2_0_4_load_8 | 17 | 0.010694 | 0.0026803 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3022-2_0_4_load_9 | 18 | 0.0032498 | 0.00081448 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3022-2_0_4_load_59 | 21 | 0.012663 | 0.0031737 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3022-2_0_4_load_14 | 22 | 0.00035442 | 8.8825e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3022-2_0_4_load_15 | 23 | 0.00038607 | 9.6758e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3022-2_0_4_load_19 | 27 | 0.00063636 | 0.00015949 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3022-2_0_4_load_65 | 28 | 0.0041048 | 0.0010288 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3022-2_0_4_load_64 | 30 | 0.0022944 | 0.00057503 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3022-2_0_4_load_61 | 31 | 0.0063605 | 0.0015941 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3022-2_0_4_load_38 | 32 | 0.005811 | 0.0014564 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3022-2_0_4_load_27 | 33 | 0.0063743 | 0.0015975 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3022-2_0_4_load_28 | 34 | 0.0014966 | 0.00037507 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3022-2_0_4_load_29 | 35 | 0.0025614 | 0.00064195 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3022-2_0_4_load_30 | 36 | 0.0042891 | 0.0010749 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3022-2_0_4_load_47 | 38 | 0.0023412 | 0.00058676 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3022-2_0_4_load_55 | 39 | 0.0068953 | 0.0017281 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3022-2_0_4_load_52 | 40 | 0.0034943 | 0.00087575 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3022-2_0_4_load_45 | 41 | 0.0051402 | 0.0012882 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3022-2_0_4_load_57 | 42 | 0.0019505 | 0.00048883 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3022-2_0_4_load_32 | 44 | 0.0040643 | 0.0010186 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3022-2_0_4_load_33 | 45 | 0.0050392 | 0.0012629 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3022-2_0_4_load_35 | 47 | 0.0068835 | 0.0017252 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3022-2_0_4_load_36 | 48 | 0.0034713 | 0.00086999 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3022-2_0_4_load_37 | 49 | 0.0085448 | 0.0021415 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3022-2_0_4_load_39 | 51 | 0.0030091 | 0.00075415 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3022-2_0_4_load_41 | 52 | 0.0040399 | 0.0010125 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3022-2_0_4_load_51 | 54 | 0.0033807 | 0.00084727 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3022-2_0_4_load_44 | 55 | 0.0026811 | 0.00067194 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3022-2_0_4_load_42 | 56 | 0.0041642 | 0.0010437 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3022-2_0_4_load_43 | 57 | 0.0065746 | 0.0016477 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3022-2_0_4_load_58 | 58 | 0.0040237 | 0.0010084 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3022-2_0_4_load_60 | 59 | 0.006245 | 0.0015651 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3022-2_0_4_load_62 | 60 | 0.0053638 | 0.0013443 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3022-2_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.016828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3022-2_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.018444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3022-2_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.034186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3022-2_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.011939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3022-2_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.043198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3022-2_0_4_line_5 | NAYY 4x150 SE | 3 | 9 | 0.005877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3022-2_0_4_line_6 | NAYY 4x150 SE | 4 | 6 | 0.025971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3022-2_0_4_line_7 | NAYY 4x150 SE | 6 | 7 | 0.02861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3022-2_0_4_line_8 | NAYY 4x150 SE | 7 | 8 | 0.01241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3022-2_0_4_line_9 | NAYY 4x150 SE | 8 | 14 | 0.024624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_3022-2_0_4_line_10 | NAYY 4x150 SE | 9 | 13 | 0.10158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3022-2_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.062723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_3022-2_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.021191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_3022-2_0_4_line_13 | NAYY 4x150 SE | 11 | 32 | 0.038825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_3022-2_0_4_line_14 | NAYY 4x150 SE | 12 | 19 | 0.0067297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_3022-2_0_4_line_15 | NAYY 4x150 SE | 14 | 15 | 0.018364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3022-2_0_4_line_16 | NAYY 4x150 SE | 14 | 16 | 0.0099332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_3022-2_0_4_line_17 | NAYY 4x150 SE | 16 | 19 | 0.024185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_3022-2_0_4_line_18 | NAYY 4x150 SE | 17 | 18 | 0.00022415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3022-2_0_4_line_19 | NAYY 4x150 SE | 17 | 19 | 0.017114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3022-2_0_4_line_20 | NAYY 4x150 SE | 18 | 20 | 0.02491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3022-2_0_4_line_21 | NAYY 4x150 SE | 20 | 21 | 0.028484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3022-2_0_4_line_22 | NAYY 4x150 SE | 22 | 23 | 0.01991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3022-2_0_4_line_23 | NAYY 4x150 SE | 22 | 24 | 0.072057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3022-2_0_4_line_24 | NAYY 4x150 SE | 23 | 25 | 0.014699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3022-2_0_4_line_25 | NAYY 4x150 SE | 24 | 26 | 0.10101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3022-2_0_4_line_26 | NAYY 4x150 SE | 25 | 27 | 0.036085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3022-2_0_4_line_27 | NAYY 4x150 SE | 26 | 28 | 0.035544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3022-2_0_4_line_28 | NAYY 4x150 SE | 26 | 29 | 0.016466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3022-2_0_4_line_29 | NAYY 4x150 SE | 29 | 30 | 0.024348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3022-2_0_4_line_30 | NAYY 4x150 SE | 29 | 31 | 0.024907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3022-2_0_4_line_31 | NAYY 4x150 SE | 30 | 58 | 0.00064961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3022-2_0_4_line_32 | NAYY 4x150 SE | 31 | 59 | 0.030909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3022-2_0_4_line_33 | NAYY 4x150 SE | 32 | 51 | 0.014575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_3022-2_0_4_line_34 | NAYY 4x150 SE | 33 | 34 | 0.010108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3022-2_0_4_line_35 | NAYY 4x150 SE | 33 | 35 | 0.0037359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3022-2_0_4_line_36 | NAYY 4x150 SE | 34 | 36 | 0.023621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3022-2_0_4_line_37 | NAYY 4x150 SE | 35 | 37 | 0.017981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3022-2_0_4_line_38 | NAYY 4x150 SE | 36 | 38 | 0.03356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3022-2_0_4_line_39 | NAYY 4x150 SE | 37 | 39 | 0.002029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3022-2_0_4_line_40 | NAYY 4x150 SE | 37 | 40 | 0.012789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3022-2_0_4_line_41 | NAYY 4x150 SE | 38 | 41 | 0.023189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3022-2_0_4_line_42 | NAYY 4x150 SE | 39 | 42 | 0.043413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3022-2_0_4_line_43 | NAYY 4x150 SE | 40 | 43 | 0.09794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3022-2_0_4_line_44 | NAYY 4x150 SE | 41 | 57 | 0.0077232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3022-2_0_4_line_45 | NAYY 4x150 SE | 42 | 58 | 0.030771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3022-2_0_4_line_46 | NAYY 4x150 SE | 43 | 50 | 0.073243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3022-2_0_4_line_47 | NAYY 4x150 SE | 44 | 45 | 0.0057053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3022-2_0_4_line_48 | NAYY 4x150 SE | 44 | 46 | 0.027513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3022-2_0_4_line_49 | NAYY 4x150 SE | 45 | 47 | 0.015376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3022-2_0_4_line_50 | NAYY 4x150 SE | 46 | 48 | 0.010318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3022-2_0_4_line_51 | NAYY 4x150 SE | 46 | 49 | 0.0088668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3022-2_0_4_line_52 | NAYY 4x150 SE | 49 | 50 | 0.094532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3022-2_0_4_line_53 | NAYY 4x150 SE | 51 | 52 | 0.012777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_3022-2_0_4_line_54 | NAYY 4x150 SE | 52 | 53 | 0.012833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_3022-2_0_4_line_55 | NAYY 4x150 SE | 53 | 54 | 0.007445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3022-2_0_4_line_56 | NAYY 4x150 SE | 53 | 55 | 0.077809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_3022-2_0_4_line_57 | NAYY 4x150 SE | 55 | 56 | 0.020866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_3022-2_0_4_line_58 | NAYY 4x150 SE | 56 | 57 | 0.018042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_3022-2_0_4_line_59 | NAYY 4x150 SE | 59 | 60 | 0.017912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3022-2_0_4_trafo_44 | 0.25 MVA 20/0.4 kV | 61 | 55 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2752101.1247 | 1247591.5974 | 2752114.9629 | 1247601.1731
1 | 2752101.1247 | 1247591.5974 | 2752102.4434 | 1247573.2024
2 | 2752102.4434 | 1247573.2024 | 2752109.1143 | 1247539.6734
3 | 2752102.4434 | 1247573.2024 | 2752091.0444 | 1247576.858
4 | 2752102.4434 | 1247573.2024 | 2752113.9642 | 1247570.9846 | 2752144.4676 | 1247578.7056
5 | 2752110.2611 | 1247533.9094 | 2752109.1143 | 1247539.6734
6 | 2752091.0444 | 1247576.858 | 2752065.3522 | 1247580.6544
7 | 2752037.0496 | 1247584.8366 | 2752065.3522 | 1247580.6544
8 | 2752037.0496 | 1247584.8366 | 2752026.7514 | 1247577.9125
9 | 2752006.3169 | 1247564.1732 | 2752026.7514 | 1247577.9125
10 | 2752110.2611 | 1247533.9094 | 2752113.2357 | 1247529.6038 | 2752143.3255 | 1247485.5443 | 2752156.8605 | 1247465.2276 | 2752167.602 | 1247450.0623
11 | 2752052.5382 | 1247540.2018 | 2752065.4046 | 1247533.2584 | 2752070.8551 | 1247529.6502 | 2752077.8005 | 1247525.2129 | 2752086.8327 | 1247515.4351 | 2752070.5304 | 1247503.8271
12 | 2752052.5382 | 1247540.2018 | 2752031.5947 | 1247536.9716
13 | 2752038.4247 | 1247482.1365 | 2752043.0021 | 1247484.2255 | 2752070.5304 | 1247503.8271
14 | 2752024.9436 | 1247535.9457 | 2752031.5947 | 1247536.9716
15 | 2752006.3169 | 1247564.1732 | 2751993.1597 | 1247555.3608 | 2751991.0595 | 1247553.9534
16 | 2752006.3169 | 1247564.1732 | 2752009.0778 | 1247559.3616 | 2752011.0991 | 1247555.4694
17 | 2752024.9436 | 1247535.9457 | 2752019.8921 | 1247540.4984 | 2752015.04 | 1247547.8811 | 2752011.0991 | 1247555.4694
18 | 2752010.5355 | 1247526.7095 | 2752010.3468 | 1247526.5885
19 | 2752024.9436 | 1247535.9457 | 2752010.5355 | 1247526.7095
20 | 2751989.3761 | 1247513.1453 | 2752010.3468 | 1247526.5885
21 | 2752003.7909 | 1247488.5578 | 2752002.8506 | 1247490.1574 | 2752000.8829 | 1247493.5102 | 2751999.7768 | 1247495.3837 | 2751998.2436 | 1247498.0025 | 2751996.268 | 1247501.3662 | 2751989.3761 | 1247513.1453
22 | 2751833.1504 | 1247175.4475 | 2751829.0794 | 1247171.5989 | 2751818.6842 | 1247161.7684
23 | 2751875.8014 | 1247233.1323 | 2751857.1487 | 1247203.693 | 2751849.9362 | 1247193.1871 | 2751842.2724 | 1247184.0709 | 2751833.1504 | 1247175.4475
24 | 2751807.1412 | 1247152.6857 | 2751817.0154 | 1247160.1902 | 2751818.6842 | 1247161.7684
25 | 2751875.8014 | 1247233.1323 | 2751888.3814 | 1247252.9959 | 2751914.8515 | 1247289.0753 | 2751905.3955 | 1247289.4446 | 2751883.7787 | 1247298.1103
26 | 2751807.1412 | 1247152.6857 | 2751790.9678 | 1247146.5103 | 2751780.2993 | 1247141.6881 | 2751774.5771 | 1247137.5436
27 | 2751883.7787 | 1247298.1103 | 2751864.1575 | 1247268.4348
28 | 2751883.7787 | 1247298.1103 | 2751868.454 | 1247304.246
29 | 2751868.454 | 1247304.246 | 2751847.7731 | 1247317.0968
30 | 2751868.454 | 1247304.246 | 2751886.9045 | 1247320.9769
31 | 2751847.7731 | 1247317.0968 | 2751847.2213 | 1247317.4396
32 | 2751892.4561 | 1247344.813 | 2751895.9762 | 1247339.9631 | 2751898.5117 | 1247335.9797 | 2751898.9422 | 1247332.454 | 2751894.9976 | 1247328.3157 | 2751886.9045 | 1247320.9769
33 | 2752038.4247 | 1247482.1365 | 2752025.1652 | 1247476.0853
34 | 2751816.2986 | 1247379.3253 | 2751807.2926 | 1247374.7362
35 | 2751803.9639 | 1247373.0401 | 2751807.2926 | 1247374.7362
36 | 2751816.2986 | 1247379.3253 | 2751837.3445 | 1247390.0493
37 | 2751787.9426 | 1247364.8764 | 2751803.9639 | 1247373.0401
38 | 2751867.7951 | 1247404.0401 | 2751856.4303 | 1247399.7745 | 2751837.3445 | 1247390.0493
39 | 2751787.9426 | 1247364.8764 | 2751789.6958 | 1247363.8551
40 | 2751787.9426 | 1247364.8764 | 2751786.3008 | 1247365.8353 | 2751775.6721 | 1247368.1939
41 | 2751867.7951 | 1247404.0401 | 2751889.5055 | 1247412.1887
42 | 2751789.6958 | 1247363.8551 | 2751794.3254 | 1247361.1584 | 2751804.5792 | 1247353.2466 | 2751822.9265 | 1247336.1128
43 | 2751678.1999 | 1247370.3959 | 2751695.7099 | 1247371.8675 | 2751722.0914 | 1247372.4763 | 2751745.1656 | 1247372.9783 | 2751767.9687 | 1247369.9033 | 2751775.6721 | 1247368.1939
44 | 2751896.7362 | 1247414.9026 | 2751889.5055 | 1247412.1887
45 | 2751847.2213 | 1247317.4396 | 2751835.2784 | 1247324.8608 | 2751828.7589 | 1247330.6661 | 2751822.9265 | 1247336.1128
46 | 2751678.1999 | 1247370.3959 | 2751664.1585 | 1247369.2246 | 2751674.8289 | 1247375.1365 | 2751685.8833 | 1247381.9925 | 2751687.2578 | 1247387.0437 | 2751707.957 | 1247395.003 | 2751714.056 | 1247397.3502
47 | 2751833.8857 | 1247449.1389 | 2751838.7181 | 1247452.1717
48 | 2751810.219 | 1247435.1476 | 2751818.1542 | 1247439.2659 | 2751833.8857 | 1247449.1389
49 | 2751838.7181 | 1247452.1717 | 2751851.7417 | 1247460.3452
50 | 2751810.219 | 1247435.1476 | 2751803.7223 | 1247443.1631
51 | 2751810.219 | 1247435.1476 | 2751806.1172 | 1247433.0184 | 2751802.1559 | 1247431.4917
52 | 2751714.056 | 1247397.3502 | 2751749.1123 | 1247412.4395 | 2751790.3202 | 1247426.9303 | 2751802.1559 | 1247431.4917
53 | 2752013.5418 | 1247470.7807 | 2752025.1652 | 1247476.0853
54 | 2752001.8673 | 1247465.4529 | 2752013.5418 | 1247470.7807
55 | 2752001.8673 | 1247465.4529 | 2752005.2941 | 1247458.8434
56 | 2752001.8673 | 1247465.4529 | 2751990.0492 | 1247460.4006 | 2751931.9531 | 1247431.3457
57 | 2751913.2912 | 1247422.0125 | 2751931.9531 | 1247431.3457
58 | 2751913.2912 | 1247422.0125 | 2751906.1088 | 1247418.4204 | 2751896.7362 | 1247414.9026
59 | 2751880.1113 | 1247357.7405 | 2751890.5081 | 1247347.4969 | 2751892.4561 | 1247344.813

## bus_geodata
| x | y | coords
0 | 2752114.9629 | 1247601.1731
1 | 2752101.1247 | 1247591.5974
2 | 2752102.4434 | 1247573.2024
3 | 2752109.1143 | 1247539.6734
4 | 2752091.0444 | 1247576.858
5 | 2752144.4676 | 1247578.7056
6 | 2752065.3522 | 1247580.6544
7 | 2752037.0496 | 1247584.8366
8 | 2752026.7514 | 1247577.9125
9 | 2752110.2611 | 1247533.9094
10 | 2752052.5382 | 1247540.2018
11 | 2752070.5304 | 1247503.8271
12 | 2752031.5947 | 1247536.9716
13 | 2752167.602 | 1247450.0623
14 | 2752006.3169 | 1247564.1732
15 | 2751991.0595 | 1247553.9534
16 | 2752011.0991 | 1247555.4694
17 | 2752010.5355 | 1247526.7095
18 | 2752010.3468 | 1247526.5885
19 | 2752024.9436 | 1247535.9457
20 | 2751989.3761 | 1247513.1453
21 | 2752003.7909 | 1247488.5578
22 | 2751833.1504 | 1247175.4475
23 | 2751818.6842 | 1247161.7684
24 | 2751875.8014 | 1247233.1323
25 | 2751807.1412 | 1247152.6857
26 | 2751883.7787 | 1247298.1103
27 | 2751774.5771 | 1247137.5436
28 | 2751864.1575 | 1247268.4348
29 | 2751868.454 | 1247304.246
30 | 2751847.7731 | 1247317.0968
31 | 2751886.9045 | 1247320.9769
32 | 2752038.4247 | 1247482.1365
33 | 2751807.2926 | 1247374.7362
34 | 2751816.2986 | 1247379.3253
35 | 2751803.9639 | 1247373.0401
36 | 2751837.3445 | 1247390.0493
37 | 2751787.9426 | 1247364.8764
38 | 2751867.7951 | 1247404.0401
39 | 2751789.6958 | 1247363.8551
40 | 2751775.6721 | 1247368.1939
41 | 2751889.5055 | 1247412.1887
42 | 2751822.9265 | 1247336.1128
43 | 2751678.1999 | 1247370.3959
44 | 2751833.8857 | 1247449.1389
45 | 2751838.7181 | 1247452.1717
46 | 2751810.219 | 1247435.1476
47 | 2751851.7417 | 1247460.3452
48 | 2751803.7223 | 1247443.1631
49 | 2751802.1559 | 1247431.4917
50 | 2751714.056 | 1247397.3502
51 | 2752025.1652 | 1247476.0853
52 | 2752013.5418 | 1247470.7807
53 | 2752001.8673 | 1247465.4529
54 | 2752005.2941 | 1247458.8434
55 | 2751931.9531 | 1247431.3457
56 | 2751913.2912 | 1247422.0125
57 | 2751896.7362 | 1247414.9026
58 | 2751847.2213 | 1247317.4396
59 | 2751892.4561 | 1247344.813
60 | 2751880.1113 | 1247357.7405
61 | 2752001.8673 | 1247465.4529

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1