## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3032-14_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3032-14_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3032-14_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3032-14_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3032-14_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3032-14_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3032-14_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3032-14_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3032-14_0_3_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_3032-14_0_3_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_3032-14_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3032-14_0_3_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_3032-14_0_3_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_3032-14_0_3_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_3032-14_0_3_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_3032-14_0_3_node_40 | 0.4 | n |  | TRUE
16 | bus_LV_3032-14_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_3032-14_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_3032-14_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_3032-14_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_3032-14_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_3032-14_0_3_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_3032-14_0_3_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_3032-14_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_3032-14_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_3032-14_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_3032-14_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_3032-14_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_3032-14_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_3032-14_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_3032-14_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_3032-14_0_3_node_56 | 0.4 | n |  | TRUE
32 | bus_LV_3032-14_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_3032-14_0_3_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_3032-14_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_3032-14_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_3032-14_0_3_node_58 | 0.4 | n |  | TRUE
37 | bus_LV_3032-14_0_3_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_3032-14_0_3_node_59 | 0.4 | n |  | TRUE
39 | bus_LV_3032-14_0_3_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_3032-14_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_3032-14_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_3032-14_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_3032-14_0_3_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_3032-14_0_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_3032-14_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_3032-14_0_3_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_3032-14_0_3_node_124 | 0.4 | n |  | TRUE
48 | bus_LV_3032-14_0_3_node_121 | 0.4 | n |  | TRUE
49 | bus_LV_3032-14_0_3_node_126 | 0.4 | n |  | TRUE
50 | bus_LV_3032-14_0_3_node_122 | 0.4 | n |  | TRUE
51 | bus_LV_3032-14_0_3_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_3032-14_0_3_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_3032-14_0_3_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_3032-14_0_3_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_3032-14_0_3_node_83 | 0.4 | n |  | TRUE
56 | bus_LV_3032-14_0_3_node_119 | 0.4 | n |  | TRUE
57 | bus_LV_3032-14_0_3_node_128 | 0.4 | n |  | TRUE
58 | bus_LV_3032-14_0_3_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_3032-14_0_3_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_3032-14_0_3_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_3032-14_0_3_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_3032-14_0_3_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_3032-14_0_3_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_3032-14_0_3_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_3032-14_0_3_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_3032-14_0_3_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_3032-14_0_3_node_120 | 0.4 | n |  | TRUE
68 | bus_LV_3032-14_0_3_node_123 | 0.4 | n |  | TRUE
69 | bus_LV_3032-14_0_3_node_125 | 0.4 | n |  | TRUE
70 | bus_MV_44_0_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3032-14_0_3_load_0 | 0 | 0.0069346 | 0.001738 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3032-14_0_3_load_1 | 1 | 0.0048433 | 0.0012138 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3032-14_0_3_load_2 | 2 | 0.0026908 | 0.00067437 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3032-14_0_3_load_3 | 3 | 0.0053076 | 0.0013302 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3032-14_0_3_load_5 | 5 | 0.0038135 | 0.00095575 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3032-14_0_3_load_7 | 7 | 0.0013449 | 0.00033706 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3032-14_0_3_load_35 | 9 | 0.0026039 | 0.0006526 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3032-14_0_3_load_8 | 10 | 0.0014943 | 0.00037452 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3032-14_0_3_load_29 | 11 | 0.0012394 | 0.00031062 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3032-14_0_3_load_27 | 12 | 0.0054652 | 0.0013697 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3032-14_0_3_load_34 | 13 | 0.0032111 | 0.00080478 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3032-14_0_3_load_33 | 14 | 0.0014936 | 0.00037434 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3032-14_0_3_load_40 | 15 | 0.0053063 | 0.0013299 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3032-14_0_3_load_9 | 16 | 0.013489 | 0.0033806 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3032-14_0_3_load_10 | 17 | 0.0044868 | 0.0011245 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3032-14_0_3_load_11 | 18 | 0.0022471 | 0.00056318 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3032-14_0_3_load_12 | 19 | 0.0043468 | 0.0010894 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3032-14_0_3_load_13 | 20 | 0.0039966 | 0.0010016 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3032-14_0_3_load_21 | 21 | 0.001215 | 0.0003045 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3032-14_0_3_load_22 | 22 | 0.0017288 | 0.00043327 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3032-14_0_3_load_14 | 24 | 0.00185 | 0.00046365 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3032-14_0_3_load_17 | 27 | 0.0010332 | 0.00025894 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3032-14_0_3_load_18 | 28 | 0.0041439 | 0.0010386 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3032-14_0_3_load_20 | 29 | 0.0032992 | 0.00082685 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3032-14_0_3_load_26 | 30 | 0.0039064 | 0.00097904 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3032-14_0_3_load_56 | 31 | 0.004144 | 0.0010386 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3032-14_0_3_load_23 | 32 | 0.0016023 | 0.00040156 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3032-14_0_3_load_54 | 33 | 0.0014356 | 0.00035978 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3032-14_0_3_load_24 | 34 | 0.001536 | 0.00038495 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3032-14_0_3_load_58 | 36 | 0.0074481 | 0.0018667 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3032-14_0_3_load_53 | 37 | 0.01696 | 0.0042506 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3032-14_0_3_load_30 | 40 | 0.0012311 | 0.00030853 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3032-14_0_3_load_31 | 41 | 0.0015686 | 0.00039313 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3032-14_0_3_load_32 | 42 | 0.0020244 | 0.00050735 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3032-14_0_3_load_39 | 43 | 0.0038585 | 0.00096703 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3032-14_0_3_load_37 | 45 | 0.0073728 | 0.0018478 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3032-14_0_3_load_121 | 48 | 0.0038623 | 0.00096798 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3032-14_0_3_load_126 | 49 | 0.0019779 | 0.0004957 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3032-14_0_3_load_122 | 50 | 0.002854 | 0.00071528 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3032-14_0_3_load_41 | 51 | 0.0011654 | 0.00029208 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3032-14_0_3_load_42 | 52 | 0.0032224 | 0.0008076 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3032-14_0_3_load_43 | 53 | 0.0020989 | 0.00052604 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3032-14_0_3_load_44 | 54 | 0.0018957 | 0.0004751 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3032-14_0_3_load_83 | 55 | 0.0020186 | 0.00050592 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3032-14_0_3_load_128 | 57 | 0.0021175 | 0.0005307 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3032-14_0_3_load_46 | 58 | 0.0097891 | 0.0024534 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3032-14_0_3_load_48 | 60 | 0.003823 | 0.00095813 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3032-14_0_3_load_51 | 61 | 0.0056959 | 0.0014275 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3032-14_0_3_load_49 | 62 | 0.0025724 | 0.00064472 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3032-14_0_3_load_50 | 63 | 0.0048419 | 0.0012135 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3032-14_0_3_load_55 | 64 | 0.0041441 | 0.0010386 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3032-14_0_3_load_57 | 65 | 0.0037142 | 0.00093087 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3032-14_0_3_load_123 | 68 | 0.0034888 | 0.00087437 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3032-14_0_3_load_125 | 69 | 0.0034889 | 0.00087441 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3032-14_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.031558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3032-14_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.023802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3032-14_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.025526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3032-14_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.039434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3032-14_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.014798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3032-14_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.013542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3032-14_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.01248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3032-14_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.047006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3032-14_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.027552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3032-14_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.041785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3032-14_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.011279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3032-14_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.019052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3032-14_0_3_line_12 | NAYY 4x150 SE | 9 | 13 | 0.014124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3032-14_0_3_line_13 | NAYY 4x150 SE | 10 | 14 | 0.0077467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3032-14_0_3_line_14 | NAYY 4x150 SE | 11 | 40 | 0.011484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3032-14_0_3_line_15 | NAYY 4x150 SE | 12 | 30 | 0.026319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3032-14_0_3_line_16 | NAYY 4x150 SE | 13 | 44 | 0.050545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3032-14_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.0046512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3032-14_0_3_line_18 | NAYY 4x150 SE | 15 | 43 | 0.020202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3032-14_0_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.017605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3032-14_0_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.0015776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3032-14_0_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.043867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3032-14_0_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.024521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3032-14_0_3_line_23 | NAYY 4x150 SE | 19 | 21 | 0.0044629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3032-14_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.013752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3032-14_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.010596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3032-14_0_3_line_26 | NAYY 4x150 SE | 23 | 32 | 0.037358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_3032-14_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.070429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3032-14_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.052622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3032-14_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.011032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_3032-14_0_3_line_30 | NAYY 4x150 SE | 25 | 28 | 0.051266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_3032-14_0_3_line_31 | NAYY 4x150 SE | 26 | 29 | 0.0097928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3032-14_0_3_line_32 | NAYY 4x150 SE | 27 | 30 | 0.0057159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_3032-14_0_3_line_33 | NAYY 4x150 SE | 28 | 31 | 0.046807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_3032-14_0_3_line_34 | NAYY 4x150 SE | 31 | 33 | 0.012341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_3032-14_0_3_line_35 | NAYY 4x150 SE | 32 | 34 | 0.017195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_3032-14_0_3_line_36 | NAYY 4x150 SE | 33 | 64 | 0.022436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_3032-14_0_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.03014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_3032-14_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.065512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_3032-14_0_3_line_39 | NAYY 4x150 SE | 35 | 37 | 0.0094097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3032-14_0_3_line_40 | NAYY 4x150 SE | 36 | 38 | 0.085294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_3032-14_0_3_line_41 | NAYY 4x150 SE | 37 | 39 | 0.042448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3032-14_0_3_line_42 | NAYY 4x150 SE | 38 | 66 | 0.007436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_3032-14_0_3_line_43 | NAYY 4x150 SE | 39 | 61 | 0.044565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3032-14_0_3_line_44 | NAYY 4x150 SE | 39 | 60 | 0.012854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3032-14_0_3_line_45 | NAYY 4x150 SE | 40 | 41 | 0.041037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3032-14_0_3_line_46 | NAYY 4x150 SE | 41 | 42 | 0.016357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3032-14_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.056142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3032-14_0_3_line_48 | NAYY 4x150 SE | 44 | 46 | 0.061047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3032-14_0_3_line_49 | NAYY 4x150 SE | 46 | 47 | 0.04883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3032-14_0_3_line_50 | NAYY 4x150 SE | 46 | 48 | 0.0060925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3032-14_0_3_line_51 | NAYY 4x150 SE | 47 | 49 | 0.011359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3032-14_0_3_line_52 | NAYY 4x150 SE | 48 | 50 | 0.052925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3032-14_0_3_line_53 | NAYY 4x150 SE | 49 | 67 | 0.0966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3032-14_0_3_line_54 | NAYY 4x150 SE | 50 | 68 | 0.011143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3032-14_0_3_line_55 | NAYY 4x150 SE | 51 | 52 | 0.01752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3032-14_0_3_line_56 | NAYY 4x150 SE | 51 | 53 | 0.053669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3032-14_0_3_line_57 | NAYY 4x150 SE | 52 | 54 | 0.12982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3032-14_0_3_line_58 | NAYY 4x150 SE | 54 | 55 | 0.042264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3032-14_0_3_line_59 | NAYY 4x150 SE | 55 | 56 | 0.048487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3032-14_0_3_line_60 | NAYY 4x150 SE | 55 | 57 | 0.11046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3032-14_0_3_line_61 | NAYY 4x150 SE | 56 | 67 | 0.024913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3032-14_0_3_line_62 | NAYY 4x150 SE | 58 | 59 | 0.011535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3032-14_0_3_line_63 | NAYY 4x150 SE | 59 | 60 | 0.040106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3032-14_0_3_line_64 | NAYY 4x150 SE | 61 | 63 | 0.031077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3032-14_0_3_line_65 | NAYY 4x150 SE | 62 | 63 | 0.025996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3032-14_0_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.04597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_3032-14_0_3_line_67 | NAYY 4x150 SE | 65 | 66 | 0.025082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_3032-14_0_3_line_68 | NAYY 4x150 SE | 68 | 69 | 0.0019094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3032-14_0_3_trafo_26 | 0.25 MVA 20/0.4 kV | 70 | 30 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2757672.9899 | 1257352.123 | 2757647.7842 | 1257371.1115
1 | 2757672.9899 | 1257352.123 | 2757692.0009 | 1257337.8013
2 | 2757647.7842 | 1257371.1115 | 2757627.3965 | 1257386.4703
3 | 2757594.635 | 1257408.3884 | 2757620.8068 | 1257391.4346 | 2757627.3965 | 1257386.4703
4 | 2757594.635 | 1257408.3884 | 2757598.4506 | 1257422.6861
5 | 2757583.2422 | 1257415.7593 | 2757594.635 | 1257408.3884
6 | 2757601.6686 | 1257434.7442 | 2757598.4506 | 1257422.6861
7 | 2757583.2422 | 1257415.7593 | 2757542.4705 | 1257427.653 | 2757537.8267 | 1257427.229
8 | 2757583.2422 | 1257415.7593 | 2757579.6612 | 1257434.6277 | 2757580.3762 | 1257442.9441
9 | 2757601.6686 | 1257434.7442 | 2757612.4426 | 1257475.1158
10 | 2757537.8267 | 1257427.229 | 2757526.8655 | 1257429.8883
11 | 2757537.8267 | 1257427.229 | 2757532.8465 | 1257422.4361 | 2757530.7527 | 1257410.4774
12 | 2757579.4001 | 1257456.8854 | 2757580.9398 | 1257449.4991 | 2757580.3762 | 1257442.9441
13 | 2757612.4426 | 1257475.1158 | 2757614.4401 | 1257482.6005
14 | 2757515.6665 | 1257432.3779 | 2757515.6665 | 1257432.3779 | 2757518.8515 | 1257431.484 | 2757523.7402 | 1257430.6465 | 2757526.8655 | 1257429.8883
15 | 2757521.5197 | 1257386.262 | 2757528.6751 | 1257398.6119 | 2757530.7527 | 1257410.4774
16 | 2757556.7841 | 1257501.5203 | 2757565.852 | 1257487.6697 | 2757577.1423 | 1257467.7166 | 2757579.4001 | 1257456.8854
17 | 2757615.6394 | 1257487.0944 | 2757615.6394 | 1257487.0944 | 2757614.4401 | 1257482.6005
18 | 2757634.0522 | 1257478.7816 | 2757615.6394 | 1257487.0944
19 | 2757539.5673 | 1257285.8484 | 2757553.6589 | 1257275.2957 | 2757553.6589 | 1257275.2957
20 | 2757539.5673 | 1257285.8484 | 2757538.3045 | 1257286.7941
21 | 2757581.4112 | 1257253.1153 | 2757574.4202 | 1257258.1085 | 2757565.9398 | 1257276.5126 | 2757561.9962 | 1257275.5734 | 2757557.01 | 1257278.933 | 2757553.6589 | 1257275.2957
22 | 2757521.6639 | 1257302.0252 | 2757532.8288 | 1257293.3709 | 2757531.572 | 1257291.8359 | 2757538.3045 | 1257286.7941
23 | 2757585.043 | 1257250.5215 | 2757581.4112 | 1257253.1153
24 | 2757513.0825 | 1257310.9856 | 2757521.2669 | 1257304.8193 | 2757520.5102 | 1257302.9195 | 2757521.6639 | 1257302.0252
25 | 2757515.8127 | 1257321.2243 | 2757513.0825 | 1257310.9856 | 2757513.0825 | 1257310.9856
26 | 2757515.8127 | 1257321.2243 | 2757513.4229 | 1257321.7167 | 2757494.1482 | 1257335.2288 | 2757484.2748 | 1257340.8853
27 | 2757513.1235 | 1257371.7708 | 2757551.9053 | 1257346.2212 | 2757572.1017 | 1257333.278
28 | 2757616.4061 | 1257304.8849 | 2757572.1017 | 1257333.278
29 | 2757513.1235 | 1257371.7708 | 2757518.6541 | 1257381.3164
30 | 2757513.1235 | 1257371.7708 | 2757494.7046 | 1257382.614 | 2757484.1169 | 1257387.2371 | 2757472.1575 | 1257389.8216 | 2757466.0668 | 1257390.2216
31 | 2757616.4061 | 1257304.8849 | 2757624.6299 | 1257299.5682
32 | 2757521.5197 | 1257386.262 | 2757518.6541 | 1257381.3164
33 | 2757421.9914 | 1257377.5157 | 2757429.3128 | 1257382.0965 | 2757440.297 | 1257386.9491 | 2757450.6601 | 1257389.6274 | 2757461.07 | 1257390.5497 | 2757466.0668 | 1257390.2216
34 | 2757411.5298 | 1257370.97 | 2757421.9914 | 1257377.5157
35 | 2757484.2748 | 1257340.8853 | 2757481.2918 | 1257342.5943 | 2757471.1547 | 1257343.8927 | 2757467.7383 | 1257342.9751
36 | 2757411.5298 | 1257370.97 | 2757392.5101 | 1257359.0696
37 | 2757443.1221 | 1257326.7408 | 2757459.0189 | 1257340.6332 | 2757467.7383 | 1257342.9751
38 | 2757443.1221 | 1257326.7408 | 2757422.7991 | 1257326.0663 | 2757404.0736 | 1257318.3828 | 2757383.1753 | 1257304.776
39 | 2757443.1221 | 1257326.7408 | 2757451.3114 | 1257322.1064
40 | 2757323.7709 | 1257321.8964 | 2757326.0885 | 1257312.2037 | 2757330.2627 | 1257300.5027 | 2757338.5296 | 1257289.8115 | 2757348.5242 | 1257287.6305 | 2757361.9338 | 1257290.9458 | 2757383.1753 | 1257304.776
41 | 2757469.0432 | 1257286.6115 | 2757467.5356 | 1257304.4118 | 2757458.2894 | 1257318.1576 | 2757451.3114 | 1257322.1064
42 | 2757323.7709 | 1257321.8964 | 2757330.9781 | 1257323.8121
43 | 2757469.0432 | 1257286.6115 | 2757488.7928 | 1257277.9392 | 2757507.3048 | 1257264.2975
44 | 2757469.0432 | 1257286.6115 | 2757465.2939 | 1257277.5248 | 2757463.7632 | 1257274.9167
45 | 2757515.6665 | 1257432.3779 | 2757515.2252 | 1257473.4121
46 | 2757515.2252 | 1257473.4121 | 2757515.0493 | 1257489.7684
47 | 2757556.7841 | 1257501.5203 | 2757598.1021 | 1257527.7134 | 2757605.1439 | 1257529.3136
48 | 2757532.4525 | 1257557.0404 | 2757545.1207 | 1257519.3391 | 2757556.7841 | 1257501.5203
49 | 2757532.4525 | 1257557.0404 | 2757515.8683 | 1257602.9792
50 | 2757532.4525 | 1257557.0404 | 2757535.7063 | 1257562.1913
51 | 2757515.8683 | 1257602.9792 | 2757511.7545 | 1257613.5674
52 | 2757535.7063 | 1257562.1913 | 2757540.7922 | 1257570.2424 | 2757557.0293 | 1257597.38 | 2757559.9624 | 1257599.4268 | 2757564.4392 | 1257599.6017 | 2757567.9989 | 1257598.5175 | 2757567.9989 | 1257598.5175
53 | 2757488.9861 | 1257702.7434 | 2757482.4409 | 1257693.2708 | 2757490.5374 | 1257664.3233 | 2757502.4552 | 1257637.502 | 2757511.7545 | 1257613.5674
54 | 2757577.1932 | 1257592.2217 | 2757567.9989 | 1257598.5175
55 | 2757738.9613 | 1257657.9453 | 2757731.7123 | 1257660.2735 | 2757721.9807 | 1257662.1275
56 | 2757738.9613 | 1257657.9453 | 2757741.6886 | 1257657.0694 | 2757764.9121 | 1257649.3692 | 2757774.2318 | 1257646.7372 | 2757790.7751 | 1257644.8206
57 | 2757721.9807 | 1257662.1275 | 2757720.4971 | 1257662.4102 | 2757712.1212 | 1257664.1666 | 2757694.4767 | 1257668.0561 | 2757683.445 | 1257670.9541 | 2757679.8355 | 1257671.9256 | 2757676.175 | 1257672.829 | 2757672.063 | 1257674.2543 | 2757667.7199 | 1257676.7078 | 2757650.5428 | 1257687.4057 | 2757640.0395 | 1257693.1207 | 2757631.2813 | 1257697.9035 | 2757621.6359 | 1257702.2845 | 2757612.8975 | 1257705.4773 | 2757602.8762 | 1257708.1132 | 2757601.9241 | 1257708.4187
58 | 2757601.9241 | 1257708.4187 | 2757594.1405 | 1257710.9168 | 2757586.3691 | 1257712.645 | 2757573.996 | 1257713.5054 | 2757564.8139 | 1257713.5277 | 2757560.2828 | 1257713.2054
59 | 2757511.8895 | 1257712.7074 | 2757527.6032 | 1257711.9024 | 2757536.1621 | 1257711.4853 | 2757546.4292 | 1257712.0814 | 2757556.064 | 1257712.9053 | 2757560.2828 | 1257713.2054
60 | 2757560.2828 | 1257713.2054 | 2757563.4196 | 1257823.625
61 | 2757488.9861 | 1257702.7434 | 2757511.8895 | 1257712.7074
62 | 2757437.047 | 1257245.4521 | 2757428.6447 | 1257237.5489
63 | 2757437.047 | 1257245.4521 | 2757458.0259 | 1257265.1411 | 2757463.7632 | 1257274.9167
64 | 2757507.3048 | 1257264.2975 | 2757532.3224 | 1257245.8619
65 | 2757553.2501 | 1257230.4402 | 2757532.3224 | 1257245.8619
66 | 2757353.5399 | 1257334.6865 | 2757392.5101 | 1257359.0696
67 | 2757330.9781 | 1257323.8121 | 2757349.4232 | 1257332.1107 | 2757353.5399 | 1257334.6865
68 | 2757577.1932 | 1257592.2217 | 2757578.7686 | 1257591.143

## bus_geodata
| x | y | coords
0 | 2757672.9899 | 1257352.123
1 | 2757647.7842 | 1257371.1115
2 | 2757692.0009 | 1257337.8013
3 | 2757627.3965 | 1257386.4703
4 | 2757594.635 | 1257408.3884
5 | 2757598.4506 | 1257422.6861
6 | 2757583.2422 | 1257415.7593
7 | 2757601.6686 | 1257434.7442
8 | 2757537.8267 | 1257427.229
9 | 2757580.3762 | 1257442.9441
10 | 2757612.4426 | 1257475.1158
11 | 2757526.8655 | 1257429.8883
12 | 2757530.7527 | 1257410.4774
13 | 2757579.4001 | 1257456.8854
14 | 2757614.4401 | 1257482.6005
15 | 2757615.6394 | 1257487.0944
16 | 2757539.5673 | 1257285.8484
17 | 2757553.6589 | 1257275.2957
18 | 2757538.3045 | 1257286.7941
19 | 2757581.4112 | 1257253.1153
20 | 2757521.6639 | 1257302.0252
21 | 2757585.043 | 1257250.5215
22 | 2757513.0825 | 1257310.9856
23 | 2757515.8127 | 1257321.2243
24 | 2757572.1017 | 1257333.278
25 | 2757513.1235 | 1257371.7708
26 | 2757616.4061 | 1257304.8849
27 | 2757518.6541 | 1257381.3164
28 | 2757466.0668 | 1257390.2216
29 | 2757624.6299 | 1257299.5682
30 | 2757521.5197 | 1257386.262
31 | 2757421.9914 | 1257377.5157
32 | 2757484.2748 | 1257340.8853
33 | 2757411.5298 | 1257370.97
34 | 2757467.7383 | 1257342.9751
35 | 2757443.1221 | 1257326.7408
36 | 2757383.1753 | 1257304.776
37 | 2757451.3114 | 1257322.1064
38 | 2757323.7709 | 1257321.8964
39 | 2757469.0432 | 1257286.6115
40 | 2757515.6665 | 1257432.3779
41 | 2757515.2252 | 1257473.4121
42 | 2757515.0493 | 1257489.7684
43 | 2757634.0522 | 1257478.7816
44 | 2757556.7841 | 1257501.5203
45 | 2757605.1439 | 1257529.3136
46 | 2757532.4525 | 1257557.0404
47 | 2757515.8683 | 1257602.9792
48 | 2757535.7063 | 1257562.1913
49 | 2757511.7545 | 1257613.5674
50 | 2757567.9989 | 1257598.5175
51 | 2757738.9613 | 1257657.9453
52 | 2757721.9807 | 1257662.1275
53 | 2757790.7751 | 1257644.8206
54 | 2757601.9241 | 1257708.4187
55 | 2757560.2828 | 1257713.2054
56 | 2757511.8895 | 1257712.7074
57 | 2757563.4196 | 1257823.625
58 | 2757428.6447 | 1257237.5489
59 | 2757437.047 | 1257245.4521
60 | 2757463.7632 | 1257274.9167
61 | 2757507.3048 | 1257264.2975
62 | 2757553.2501 | 1257230.4402
63 | 2757532.3224 | 1257245.8619
64 | 2757392.5101 | 1257359.0696
65 | 2757353.5399 | 1257334.6865
66 | 2757330.9781 | 1257323.8121
67 | 2757488.9861 | 1257702.7434
68 | 2757577.1932 | 1257592.2217
69 | 2757578.7686 | 1257591.143
70 | 2757513.1235 | 1257371.7708

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1