## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3036-1_1_4_node_14 | 0.4 | n |  | TRUE
1 | bus_LV_3036-1_1_4_node_20 | 0.4 | n |  | TRUE
2 | bus_LV_3036-1_1_4_node_21 | 0.4 | n |  | TRUE
3 | bus_LV_3036-1_1_4_node_47 | 0.4 | n |  | TRUE
4 | bus_LV_3036-1_1_4_node_35 | 0.4 | n |  | TRUE
5 | bus_LV_3036-1_1_4_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_3036-1_1_4_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_3036-1_1_4_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_3036-1_1_4_node_40 | 0.4 | n |  | TRUE
9 | bus_LV_3036-1_1_4_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_3036-1_1_4_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_3036-1_1_4_node_41 | 0.4 | n |  | TRUE
12 | bus_LV_3036-1_1_4_node_42 | 0.4 | n |  | TRUE
13 | bus_LV_3036-1_1_4_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_3036-1_1_4_node_43 | 0.4 | n |  | TRUE
15 | bus_LV_3036-1_1_4_node_44 | 0.4 | n |  | TRUE
16 | bus_LV_3036-1_1_4_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_3036-1_1_4_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_3036-1_1_4_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_3036-1_1_4_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_3036-1_1_4_node_60 | 0.4 | n |  | TRUE
21 | bus_LV_3036-1_1_4_node_59 | 0.4 | n |  | TRUE
22 | bus_LV_3036-1_1_4_node_65 | 0.4 | n |  | TRUE
23 | bus_LV_3036-1_1_4_node_71 | 0.4 | n |  | TRUE
24 | bus_LV_3036-1_1_4_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_3036-1_1_4_node_55 | 0.4 | n |  | TRUE
26 | bus_LV_3036-1_1_4_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_3036-1_1_4_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_3036-1_1_4_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_3036-1_1_4_node_57 | 0.4 | n |  | TRUE
30 | bus_LV_3036-1_1_4_node_216 | 0.4 | n |  | TRUE
31 | bus_LV_3036-1_1_4_node_70 | 0.4 | n |  | TRUE
32 | bus_LV_3036-1_1_4_node_202 | 0.4 | n |  | TRUE
33 | bus_LV_3036-1_1_4_node_206 | 0.4 | n |  | TRUE
34 | bus_LV_3036-1_1_4_node_183 | 0.4 | n |  | TRUE
35 | bus_LV_3036-1_1_4_node_184 | 0.4 | n |  | TRUE
36 | bus_LV_3036-1_1_4_node_185 | 0.4 | n |  | TRUE
37 | bus_LV_3036-1_1_4_node_191 | 0.4 | n |  | TRUE
38 | bus_LV_3036-1_1_4_node_192 | 0.4 | n |  | TRUE
39 | bus_LV_3036-1_1_4_node_190 | 0.4 | n |  | TRUE
40 | bus_LV_3036-1_1_4_node_174 | 0.4 | n |  | TRUE
41 | bus_LV_3036-1_1_4_node_201 | 0.4 | n |  | TRUE
42 | bus_LV_3036-1_1_4_node_203 | 0.4 | n |  | TRUE
43 | bus_LV_3036-1_1_4_node_68 | 0.4 | n |  | TRUE
44 | bus_LV_3036-1_1_4_node_69 | 0.4 | n |  | TRUE
45 | bus_LV_3036-1_1_4_node_72 | 0.4 | n |  | TRUE
46 | bus_LV_3036-1_1_4_node_204 | 0.4 | n |  | TRUE
47 | bus_LV_3036-1_1_4_node_208 | 0.4 | n |  | TRUE
48 | bus_LV_3036-1_1_4_node_171 | 0.4 | n |  | TRUE
49 | bus_LV_3036-1_1_4_node_172 | 0.4 | n |  | TRUE
50 | bus_MV_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3036-1_1_4_load_20 | 1 | 0.0012129 | 0.00030398 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3036-1_1_4_load_21 | 2 | 0.0028732 | 0.0007201 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3036-1_1_4_load_35 | 4 | 0.0012106 | 0.0003034 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3036-1_1_4_load_38 | 6 | 0.003504 | 0.00087818 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3036-1_1_4_load_39 | 7 | 0.0021567 | 0.00054051 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3036-1_1_4_load_40 | 8 | 0.0014369 | 0.00036011 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3036-1_1_4_load_50 | 9 | 0.002271 | 0.00056917 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3036-1_1_4_load_52 | 10 | 0.0022414 | 0.00056175 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3036-1_1_4_load_41 | 11 | 0.0027594 | 0.00069158 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3036-1_1_4_load_42 | 12 | 0.00098797 | 0.00024761 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3036-1_1_4_load_43 | 14 | 0.0018292 | 0.00045843 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3036-1_1_4_load_44 | 15 | 0.00085429 | 0.00021411 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3036-1_1_4_load_60 | 20 | 0.00058752 | 0.00014725 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3036-1_1_4_load_59 | 21 | 0.0010147 | 0.0002543 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3036-1_1_4_load_65 | 22 | 0.00089682 | 0.00022476 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3036-1_1_4_load_71 | 23 | 0.00077487 | 0.0001942 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3036-1_1_4_load_55 | 25 | 0.00053367 | 0.00013375 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3036-1_1_4_load_56 | 26 | 0.00058446 | 0.00014648 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3036-1_1_4_load_57 | 29 | 0.0020292 | 0.00050857 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3036-1_1_4_load_216 | 30 | 0.00078754 | 0.00019738 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3036-1_1_4_load_70 | 31 | 0.0023688 | 0.00059367 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3036-1_1_4_load_202 | 32 | 0.00066716 | 0.00016721 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3036-1_1_4_load_206 | 33 | 0.0006512 | 0.00016321 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3036-1_1_4_load_183 | 34 | 0.0057604 | 0.0014437 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3036-1_1_4_load_184 | 35 | 0.0053776 | 0.0013478 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3036-1_1_4_load_191 | 37 | 0.00085856 | 0.00021518 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3036-1_1_4_load_192 | 38 | 0.00074084 | 0.00018567 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3036-1_1_4_load_190 | 39 | 0.00072886 | 0.00018267 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3036-1_1_4_load_201 | 41 | 0.0008289 | 0.00020774 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3036-1_1_4_load_203 | 42 | 0.00184 | 0.00046116 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3036-1_1_4_load_68 | 43 | 0.0013162 | 0.00032988 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3036-1_1_4_load_72 | 45 | 0.00050152 | 0.00012569 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3036-1_1_4_load_204 | 46 | 0.003668 | 0.00091928 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3036-1_1_4_load_208 | 47 | 0.0022955 | 0.00057531 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3036-1_1_4_load_171 | 48 | 0.001638 | 0.00041052 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3036-1_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.07949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3036-1_1_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.047311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3036-1_1_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.045854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3036-1_1_4_line_3 | NAYY 4x150 SE | 3 | 18 | 0.057992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3036-1_1_4_line_4 | NAYY 4x150 SE | 3 | 19 | 0.10617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3036-1_1_4_line_5 | NAYY 4x150 SE | 4 | 5 | 0.018721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3036-1_1_4_line_6 | NAYY 4x150 SE | 5 | 6 | 0.028366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3036-1_1_4_line_7 | NAYY 4x150 SE | 5 | 7 | 0.012616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3036-1_1_4_line_8 | NAYY 4x150 SE | 5 | 8 | 0.21527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3036-1_1_4_line_9 | NAYY 4x150 SE | 6 | 9 | 0.0011806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3036-1_1_4_line_10 | NAYY 4x150 SE | 7 | 10 | 0.010205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3036-1_1_4_line_11 | NAYY 4x150 SE | 9 | 24 | 0.0088969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3036-1_1_4_line_12 | NAYY 4x150 SE | 10 | 11 | 0.0090283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3036-1_1_4_line_13 | NAYY 4x150 SE | 12 | 13 | 0.007051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3036-1_1_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.043014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3036-1_1_4_line_15 | NAYY 4x150 SE | 14 | 15 | 0.02231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3036-1_1_4_line_16 | NAYY 4x150 SE | 15 | 16 | 0.0088968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3036-1_1_4_line_17 | NAYY 4x150 SE | 16 | 17 | 0.12517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3036-1_1_4_line_18 | NAYY 4x150 SE | 17 | 27 | 0.013716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3036-1_1_4_line_19 | NAYY 4x150 SE | 17 | 28 | 0.075936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3036-1_1_4_line_20 | NAYY 4x150 SE | 17 | 29 | 0.030235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3036-1_1_4_line_21 | NAYY 4x150 SE | 18 | 20 | 0.005713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3036-1_1_4_line_22 | NAYY 4x150 SE | 18 | 21 | 0.042882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3036-1_1_4_line_23 | NAYY 4x150 SE | 19 | 22 | 0.1112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3036-1_1_4_line_24 | NAYY 4x150 SE | 19 | 23 | 0.049196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3036-1_1_4_line_25 | NAYY 4x150 SE | 23 | 44 | 0.17703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3036-1_1_4_line_26 | NAYY 4x150 SE | 24 | 25 | 0.03593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3036-1_1_4_line_27 | NAYY 4x150 SE | 24 | 26 | 0.12316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3036-1_1_4_line_28 | NAYY 4x150 SE | 25 | 29 | 0.035088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3036-1_1_4_line_29 | NAYY 4x150 SE | 26 | 32 | 0.025558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3036-1_1_4_line_30 | NAYY 4x150 SE | 27 | 33 | 0.13412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3036-1_1_4_line_31 | NAYY 4x150 SE | 28 | 30 | 0.010914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3036-1_1_4_line_32 | NAYY 4x150 SE | 28 | 31 | 0.1276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3036-1_1_4_line_33 | NAYY 4x150 SE | 31 | 43 | 0.05044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3036-1_1_4_line_34 | NAYY 4x150 SE | 32 | 41 | 0.05637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3036-1_1_4_line_35 | NAYY 4x150 SE | 33 | 47 | 0.23868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3036-1_1_4_line_36 | NAYY 4x150 SE | 34 | 35 | 0.19155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3036-1_1_4_line_37 | NAYY 4x150 SE | 35 | 36 | 0.13316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3036-1_1_4_line_38 | NAYY 4x150 SE | 36 | 37 | 0.11575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3036-1_1_4_line_39 | NAYY 4x150 SE | 36 | 38 | 0.0065694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3036-1_1_4_line_40 | NAYY 4x150 SE | 37 | 41 | 0.0015199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3036-1_1_4_line_41 | NAYY 4x150 SE | 38 | 42 | 0.010461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3036-1_1_4_line_42 | NAYY 4x150 SE | 39 | 40 | 0.084409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3036-1_1_4_line_43 | NAYY 4x150 SE | 40 | 45 | 0.0067066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3036-1_1_4_line_44 | NAYY 4x150 SE | 40 | 49 | 0.040235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3036-1_1_4_line_45 | NAYY 4x150 SE | 42 | 46 | 0.016225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3036-1_1_4_line_46 | NAYY 4x150 SE | 43 | 44 | 0.018089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3036-1_1_4_line_47 | NAYY 4x150 SE | 44 | 45 | 0.12786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3036-1_1_4_line_48 | NAYY 4x150 SE | 48 | 49 | 0.057042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3036-1_1_4_trafo_36 | 0.25 MVA 20/0.4 kV | 50 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2756034.4816 | 1253293.6389 | 2756048.2604 | 1253296.2044 | 2756077.6223 | 1253303.0625 | 2756097.2043 | 1253308.0168 | 2756111.6285 | 1253312.5597
1 | 2756034.4816 | 1253293.6389 | 2756041.0244 | 1253284.3019 | 2756051.4151 | 1253274.4881 | 2756056.6492 | 1253267.5412 | 2756061.1432 | 1253258.5951 | 2756062.9622 | 1253256.3265
2 | 2756155.1962 | 1253326.8528 | 2756128.8472 | 1253317.9828 | 2756111.6285 | 1253312.5597
3 | 2756176.1871 | 1253273.2636 | 2756173.3757 | 1253283.0994 | 2756164.5465 | 1253296.9582 | 2756159.1958 | 1253312.0434 | 2756155.1962 | 1253326.8528
4 | 2756252.3937 | 1253366.5775 | 2756249.7724 | 1253362.0594 | 2756243.7942 | 1253357.7196 | 2756202.4166 | 1253342.7357 | 2756155.1962 | 1253326.8528
5 | 2756645.8415 | 1253238.0613 | 2756629.913 | 1253247.8982
6 | 2756645.8415 | 1253238.0613 | 2756653.4113 | 1253242.7328 | 2756670.4712 | 1253252.1185
7 | 2756645.8415 | 1253238.0613 | 2756640.1078 | 1253231.3363 | 2756638.5936 | 1253227.8741
8 | 2756645.8415 | 1253238.0613 | 2756653.6488 | 1253231.1942 | 2756663.668 | 1253225.4757 | 2756673.5581 | 1253217.507 | 2756679.1365 | 1253208.134 | 2756680.5576 | 1253198.3729 | 2756677.7485 | 1253189.2673 | 2756667.3096 | 1253179.4592 | 2756647.8275 | 1253161.3148 | 2756622.7814 | 1253139.1526 | 2756603.8243 | 1253126.55 | 2756567.166 | 1253111.7997 | 2756554.7428 | 1253106.0997
9 | 2756670.4712 | 1253252.1185 | 2756671.5055 | 1253252.6876
10 | 2756638.5936 | 1253227.8741 | 2756636.8401 | 1253223.8647 | 2756631.8831 | 1253220.7986
11 | 2756679.3007 | 1253256.9762 | 2756671.5055 | 1253252.6876
12 | 2756623.1827 | 1253219.5659 | 2756623.1827 | 1253219.5659 | 2756630.0208 | 1253219.6468 | 2756631.8831 | 1253220.7986
13 | 2756485.3313 | 1253292.7853 | 2756492.2892 | 1253294.0482
14 | 2756492.2892 | 1253294.0482 | 2756507.5917 | 1253288.3801 | 2756518.3444 | 1253282.3247 | 2756532.6995 | 1253282.2261
15 | 2756532.6995 | 1253282.2261 | 2756549.3546 | 1253297.07
16 | 2756551.6261 | 1253305.6719 | 2756549.3546 | 1253297.07
17 | 2756551.6261 | 1253305.6719 | 2756560.9883 | 1253311.9367 | 2756583.3374 | 1253334.4277 | 2756600.1778 | 1253350.5334 | 2756611.1136 | 1253356.6731 | 2756620.0242 | 1253358.8886 | 2756626.3457 | 1253358.8001 | 2756645.9817 | 1253356.5615 | 2756656.9169 | 1253354.7377
18 | 2756656.9169 | 1253354.7377 | 2756670.4772 | 1253352.4273
19 | 2756656.9169 | 1253354.7377 | 2756645.9817 | 1253356.5615 | 2756626.3457 | 1253358.8001 | 2756620.0242 | 1253358.8886 | 2756623.2103 | 1253370.2954 | 2756627.6942 | 1253380.0237 | 2756633.9007 | 1253386.561 | 2756639.5509 | 1253391.0148
20 | 2756656.9169 | 1253354.7377 | 2756657.2287 | 1253347.8057 | 2756666.1581 | 1253326.2888
21 | 2756176.1871 | 1253273.2636 | 2756180.6293 | 1253276.8732
22 | 2756176.1871 | 1253273.2636 | 2756164.6729 | 1253264.1288 | 2756143.001 | 1253246.1097
23 | 2756252.3937 | 1253366.5775 | 2756252.2701 | 1253372.4023 | 2756249.9609 | 1253380.0824 | 2756239.563 | 1253395.0231 | 2756221.0911 | 1253422.9639 | 2756209.867 | 1253441.4642 | 2756201.8607 | 1253449.0385 | 2756193.6176 | 1253453.8593 | 2756191.1501 | 1253456.2644
24 | 2756252.3937 | 1253366.5775 | 2756261.3429 | 1253369.0493 | 2756272.6865 | 1253376.6228 | 2756283.632 | 1253383.5518 | 2756295.9127 | 1253388.7048
25 | 2756461.3445 | 1253440.7443 | 2756460.5885 | 1253438.4999 | 2756458.0376 | 1253435.6074 | 2756450.6401 | 1253431.5635 | 2756428.6844 | 1253419.8943 | 2756412.0267 | 1253414.0041 | 2756395.5536 | 1253409.131 | 2756374.0662 | 1253402.3014 | 2756357.8265 | 1253396.022 | 2756348.5934 | 1253393.1533 | 2756335.4625 | 1253391.7943 | 2756326.5547 | 1253391.7592 | 2756310.3694 | 1253391.1315 | 2756298.0583 | 1253389.6051 | 2756295.9127 | 1253388.7048
26 | 2756679.3007 | 1253256.9762 | 2756679.9992 | 1253265.67 | 2756678.1714 | 1253276.5326 | 2756674.0389 | 1253290.8932 | 2756673.8248 | 1253292.1242
27 | 2756679.3007 | 1253256.9762 | 2756693.6814 | 1253262.1839 | 2756704.7403 | 1253265.1016 | 2756729.1838 | 1253266.9389 | 2756757.3815 | 1253265.2833 | 2756777.52 | 1253261.7571 | 2756789.97 | 1253258.0496 | 2756797.7077 | 1253256.6641 | 2756800.0734 | 1253256.9071
28 | 2756666.1581 | 1253326.2888 | 2756667.0994 | 1253324.0206 | 2756670.3343 | 1253312.1943 | 2756673.8248 | 1253292.1242
29 | 2756800.0734 | 1253256.9071 | 2756805.5835 | 1253257.4733 | 2756817.4001 | 1253262.0018 | 2756824.1829 | 1253264.8705
30 | 2756670.4772 | 1253352.4273 | 2756716.5209 | 1253342.5575 | 2756768.2392 | 1253326.532 | 2756799.629 | 1253316.7088
31 | 2756639.5509 | 1253391.0148 | 2756644.0153 | 1253392.6345 | 2756650.0996 | 1253393.8077
32 | 2756639.5509 | 1253391.0148 | 2756519.252 | 1253433.5668
33 | 2756519.252 | 1253433.5668 | 2756494.6139 | 1253421.4148 | 2756489.8335 | 1253419.7536 | 2756477.019 | 1253432.2624
34 | 2756875.781 | 1253254.3113 | 2756872.8315 | 1253256.6083 | 2756858.2202 | 1253266.9429 | 2756854.1702 | 1253268.2036 | 2756840.9276 | 1253268.4866 | 2756828.6219 | 1253266.748 | 2756824.1829 | 1253264.8705
35 | 2756799.629 | 1253316.7088 | 2756955.2062 | 1253497.7103
36 | 2756776.0164 | 1253035.4975 | 2756778.1697 | 1253038.2838 | 2756785.255 | 1253046.1459 | 2756792.256 | 1253049.7792 | 2756807.9437 | 1253053.8318 | 2756838.8981 | 1253062.7267 | 2756855.9361 | 1253068.8172 | 2756864.3379 | 1253072.866 | 2756866.6495 | 1253077.3761 | 2756866.491 | 1253083.6449 | 2756860.8411 | 1253090.5689 | 2756849.4268 | 1253100.7658 | 2756841.8947 | 1253110.0535 | 2756832.987 | 1253117.692 | 2756820.7047 | 1253122.1825 | 2756815.5871 | 1253124.694 | 2756814.4706 | 1253128.0789 | 2756816.4178 | 1253130.9556 | 2756824.8359 | 1253132.8969
37 | 2756951.779 | 1253166.4645 | 2756944.0174 | 1253168.4609 | 2756936.7101 | 1253169.2681 | 2756927.8553 | 1253167.2204 | 2756906.203 | 1253159.1944 | 2756863.0876 | 1253143.1144 | 2756834.3455 | 1253135.0898 | 2756824.8359 | 1253132.8969
38 | 2756951.779 | 1253166.4645 | 2756949.2694 | 1253169.4232 | 2756943.7218 | 1253180.1759 | 2756933.982 | 1253195.8447 | 2756919.9922 | 1253212.0571 | 2756906.1833 | 1253228.8526 | 2756893.1066 | 1253240.8183 | 2756876.9801 | 1253253.3774
39 | 2756951.779 | 1253166.4645 | 2756957.3308 | 1253162.9525
40 | 2756876.9801 | 1253253.3774 | 2756875.781 | 1253254.3113
41 | 2756967.7573 | 1253163.6335 | 2756966.8465 | 1253163.4273 | 2756957.3308 | 1253162.9525 | 2756957.3308 | 1253162.9525
42 | 2756507.8583 | 1253535.8126 | 2756515.8019 | 1253532.6193 | 2756530.5606 | 1253541.4959 | 2756565.3431 | 1253558.5655 | 2756578.7681 | 1253556.496 | 2756578.3279 | 1253550.0223
43 | 2756507.8583 | 1253535.8126 | 2756504.3402 | 1253530.1028
44 | 2756507.8583 | 1253535.8126 | 2756512.2954 | 1253543.0259 | 2756525.3285 | 1253561.4888 | 2756530.4409 | 1253569.1426
45 | 2756967.7573 | 1253163.6335 | 2756981.9317 | 1253166.8416 | 2756983.4994 | 1253167.479
46 | 2756461.3445 | 1253440.7443 | 2756473.404 | 1253435.7912 | 2756477.019 | 1253432.2624
47 | 2756461.3445 | 1253440.7443 | 2756460.8892 | 1253442.5452 | 2756454.913 | 1253446.4246 | 2756448.5432 | 1253449.4816 | 2756442.5511 | 1253453.9612 | 2756440.0458 | 1253457.3429 | 2756438.9029 | 1253461.7393 | 2756439.8167 | 1253466.0122 | 2756441.9356 | 1253470.1056 | 2756450.6119 | 1253478.6099 | 2756461.7002 | 1253488.4014 | 2756484.6215 | 1253509.7949 | 2756504.3402 | 1253530.1028
48 | 2756530.4409 | 1253569.1426 | 2756539.1696 | 1253567.9499 | 2756557.0897 | 1253579.7464 | 2756577.7007 | 1253596.8416

## bus_geodata
| x | y | coords
0 | 2756034.4816 | 1253293.6389
1 | 2756111.6285 | 1253312.5597
2 | 2756062.9622 | 1253256.3265
3 | 2756155.1962 | 1253326.8528
4 | 2756629.913 | 1253247.8982
5 | 2756645.8415 | 1253238.0613
6 | 2756670.4712 | 1253252.1185
7 | 2756638.5936 | 1253227.8741
8 | 2756554.7428 | 1253106.0997
9 | 2756671.5055 | 1253252.6876
10 | 2756631.8831 | 1253220.7986
11 | 2756623.1827 | 1253219.566
12 | 2756485.3313 | 1253292.7853
13 | 2756492.2892 | 1253294.0482
14 | 2756532.6995 | 1253282.2261
15 | 2756549.3546 | 1253297.07
16 | 2756551.6261 | 1253305.6719
17 | 2756656.9169 | 1253354.7377
18 | 2756176.1871 | 1253273.2636
19 | 2756252.3937 | 1253366.5775
20 | 2756180.6293 | 1253276.8732
21 | 2756143.001 | 1253246.1097
22 | 2756191.1501 | 1253456.2644
23 | 2756295.9127 | 1253388.7048
24 | 2756679.3007 | 1253256.9762
25 | 2756673.8248 | 1253292.1242
26 | 2756800.0734 | 1253256.9071
27 | 2756670.4772 | 1253352.4273
28 | 2756639.5509 | 1253391.0148
29 | 2756666.1581 | 1253326.2888
30 | 2756650.0996 | 1253393.8077
31 | 2756519.252 | 1253433.5668
32 | 2756824.1829 | 1253264.8705
33 | 2756799.629 | 1253316.7088
34 | 2756776.0164 | 1253035.4975
35 | 2756824.8359 | 1253132.8969
36 | 2756951.779 | 1253166.4645
37 | 2756876.9801 | 1253253.3774
38 | 2756957.3308 | 1253162.9525
39 | 2756578.3279 | 1253550.0223
40 | 2756507.8583 | 1253535.8126
41 | 2756875.781 | 1253254.3113
42 | 2756967.7573 | 1253163.6335
43 | 2756477.019 | 1253432.2624
44 | 2756461.3445 | 1253440.7443
45 | 2756504.3402 | 1253530.1028
46 | 2756983.4994 | 1253167.479
47 | 2756955.2062 | 1253497.7103
48 | 2756577.7007 | 1253596.8416
49 | 2756530.4409 | 1253569.1426
50 | 2756645.8415 | 1253238.0613

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1