## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3101-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3101-10_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3101-10_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3101-10_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3101-10_0_3_node_38 | 0.4 | n |  | TRUE
5 | bus_LV_3101-10_0_3_node_35 | 0.4 | n |  | TRUE
6 | bus_LV_3101-10_0_3_node_42 | 0.4 | n |  | TRUE
7 | bus_LV_3101-10_0_3_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_3101-10_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_3101-10_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_3101-10_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3101-10_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3101-10_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3101-10_0_3_node_64 | 0.4 | n |  | TRUE
14 | bus_LV_3101-10_0_3_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_3101-10_0_3_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_3101-10_0_3_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_3101-10_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_3101-10_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_3101-10_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_3101-10_0_3_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_3101-10_0_3_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_3101-10_0_3_node_44 | 0.4 | n |  | TRUE
23 | bus_LV_3101-10_0_3_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_3101-10_0_3_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_3101-10_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_3101-10_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_3101-10_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_3101-10_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_3101-10_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_3101-10_0_3_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_3101-10_0_3_node_65 | 0.4 | n |  | TRUE
32 | bus_LV_3101-10_0_3_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_3101-10_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_3101-10_0_3_node_93 | 0.4 | n |  | TRUE
35 | bus_LV_3101-10_0_3_node_75 | 0.4 | n |  | TRUE
36 | bus_LV_3101-10_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_3101-10_0_3_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_3101-10_0_3_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_3101-10_0_3_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_3101-10_0_3_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_3101-10_0_3_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_3101-10_0_3_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_3101-10_0_3_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_3101-10_0_3_node_72 | 0.4 | n |  | TRUE
45 | bus_LV_3101-10_0_3_node_80 | 0.4 | n |  | TRUE
46 | bus_LV_3101-10_0_3_node_77 | 0.4 | n |  | TRUE
47 | bus_LV_3101-10_0_3_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_3101-10_0_3_node_24 | 0.4 | n |  | TRUE
49 | bus_LV_3101-10_0_3_node_78 | 0.4 | n |  | TRUE
50 | bus_LV_3101-10_0_3_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_3101-10_0_3_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_3101-10_0_3_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_3101-10_0_3_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_3101-10_0_3_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_3101-10_0_3_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_3101-10_0_3_node_76 | 0.4 | n |  | TRUE
57 | bus_LV_3101-10_0_3_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_3101-10_0_3_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_3101-10_0_3_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_3101-10_0_3_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_3101-10_0_3_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_3101-10_0_3_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_3101-10_0_3_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_3101-10_0_3_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_3101-10_0_3_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_3101-10_0_3_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_3101-10_0_3_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_3101-10_0_3_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_3101-10_0_3_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_3101-10_0_3_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_3101-10_0_3_node_92 | 0.4 | n |  | TRUE
72 | bus_LV_3101-10_0_3_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_3101-10_0_3_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_3101-10_0_3_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_3101-10_0_3_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_3101-10_0_3_node_89 | 0.4 | n |  | TRUE
77 | bus_LV_3101-10_0_3_node_85 | 0.4 | n |  | TRUE
78 | bus_LV_3101-10_0_3_node_90 | 0.4 | n |  | TRUE
79 | bus_LV_3101-10_0_3_node_82 | 0.4 | n |  | TRUE
80 | bus_LV_3101-10_0_3_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_3101-10_0_3_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_3101-10_0_3_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_3101-10_0_3_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_3101-10_0_3_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_3101-10_0_3_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_3101-10_0_3_node_86 | 0.4 | n |  | TRUE
87 | bus_MV_148_0_node_4 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3101-10_0_3_load_0 | 0 | 0.0029665 | 0.00074347 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3101-10_0_3_load_1 | 1 | 0.0035337 | 0.00088562 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3101-10_0_3_load_2 | 2 | 0.0057285 | 0.0014357 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3101-10_0_3_load_38 | 4 | 0.0043976 | 0.0011021 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3101-10_0_3_load_35 | 5 | 0.0011671 | 0.0002925 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3101-10_0_3_load_42 | 6 | 0.0030143 | 0.00075546 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3101-10_0_3_load_36 | 7 | 0.0028098 | 0.0007042 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3101-10_0_3_load_4 | 8 | 0.0051688 | 0.0012954 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3101-10_0_3_load_5 | 9 | 0.0028468 | 0.00071347 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3101-10_0_3_load_6 | 10 | 0.0016852 | 0.00042235 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3101-10_0_3_load_7 | 11 | 0.0029853 | 0.0007482 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3101-10_0_3_load_8 | 12 | 0.0030183 | 0.00075646 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3101-10_0_3_load_64 | 13 | 0.0053766 | 0.0013475 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3101-10_0_3_load_59 | 14 | 0.003049 | 0.00076415 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3101-10_0_3_load_51 | 15 | 0.0025102 | 0.00062912 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3101-10_0_3_load_46 | 16 | 0.0030362 | 0.00076094 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3101-10_0_3_load_9 | 17 | 0.0059526 | 0.0014919 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3101-10_0_3_load_44 | 22 | 0.0043959 | 0.0011017 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3101-10_0_3_load_39 | 23 | 0.0043373 | 0.001087 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3101-10_0_3_load_43 | 24 | 0.0029322 | 0.00073487 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3101-10_0_3_load_13 | 25 | 0.0025005 | 0.00062668 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3101-10_0_3_load_14 | 26 | 0.0041878 | 0.0010496 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3101-10_0_3_load_15 | 27 | 0.005835 | 0.0014624 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3101-10_0_3_load_16 | 28 | 0.0021799 | 0.00054634 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3101-10_0_3_load_29 | 30 | 0.0032998 | 0.00082702 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3101-10_0_3_load_93 | 34 | 0.015909 | 0.0039872 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3101-10_0_3_load_75 | 35 | 0.0030508 | 0.00076461 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3101-10_0_3_load_31 | 36 | 0.0048179 | 0.0012075 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3101-10_0_3_load_18 | 37 | 0.0023136 | 0.00057983 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3101-10_0_3_load_19 | 38 | 0.0031829 | 0.0007977 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3101-10_0_3_load_21 | 40 | 0.0022288 | 0.00055859 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3101-10_0_3_load_22 | 41 | 0.003233 | 0.00081028 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3101-10_0_3_load_25 | 43 | 0.0030103 | 0.00075445 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3101-10_0_3_load_72 | 44 | 0.0038988 | 0.00097714 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3101-10_0_3_load_80 | 45 | 0.0056669 | 0.0014202 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3101-10_0_3_load_77 | 46 | 0.0067919 | 0.0017022 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3101-10_0_3_load_27 | 47 | 0.0034177 | 0.00085655 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3101-10_0_3_load_24 | 48 | 0.0024796 | 0.00062144 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3101-10_0_3_load_78 | 49 | 0.0057178 | 0.001433 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3101-10_0_3_load_28 | 50 | 0.0028246 | 0.0007079 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3101-10_0_3_load_62 | 51 | 0.0072314 | 0.0018124 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3101-10_0_3_load_30 | 53 | 0.0039573 | 0.00099179 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3101-10_0_3_load_34 | 55 | 0.0037104 | 0.0009299 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3101-10_0_3_load_76 | 56 | 0.0010464 | 0.00026226 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3101-10_0_3_load_55 | 58 | 0.0015094 | 0.00037829 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3101-10_0_3_load_60 | 60 | 0.0037468 | 0.00093904 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3101-10_0_3_load_47 | 61 | 0.0015742 | 0.00039454 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3101-10_0_3_load_48 | 62 | 0.0016301 | 0.00040854 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3101-10_0_3_load_49 | 63 | 0.0014051 | 0.00035214 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3101-10_0_3_load_67 | 66 | 0.0012223 | 0.00030634 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3101-10_0_3_load_71 | 67 | 0.0014227 | 0.00035657 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3101-10_0_3_load_52 | 69 | 0.0054045 | 0.0013545 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3101-10_0_3_load_92 | 71 | 0.001909 | 0.00047844 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3101-10_0_3_load_57 | 72 | 0.00083632 | 0.0002096 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3101-10_0_3_load_69 | 73 | 0.0012682 | 0.00031783 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3101-10_0_3_load_68 | 74 | 0.0015097 | 0.00037837 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3101-10_0_3_load_85 | 77 | 0.0017041 | 0.00042709 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3101-10_0_3_load_90 | 78 | 0.0031127 | 0.00078012 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3101-10_0_3_load_70 | 80 | 0.0009228 | 0.00023128 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3101-10_0_3_load_83 | 82 | 0.0022287 | 0.00055857 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3101-10_0_3_load_81 | 83 | 0.0020036 | 0.00050214 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3101-10_0_3_load_87 | 84 | 0.0037226 | 0.00093298 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3101-10_0_3_load_84 | 85 | 0.0027988 | 0.00070144 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3101-10_0_3_load_86 | 86 | 0.0075112 | 0.0018825 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3101-10_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.015126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3101-10_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0062593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3101-10_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.023684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3101-10_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.02038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3101-10_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.016572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3101-10_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0097682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3101-10_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.008483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3101-10_0_3_line_7 | NAYY 4x150 SE | 6 | 24 | 0.0067885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3101-10_0_3_line_8 | NAYY 4x150 SE | 7 | 57 | 0.011937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3101-10_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.0063334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3101-10_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.015542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3101-10_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.011802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3101-10_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0097163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3101-10_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.0054536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3101-10_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.013481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3101-10_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 1.4127e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3101-10_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.011773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3101-10_0_3_line_17 | NAYY 4x150 SE | 15 | 63 | 0.01976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3101-10_0_3_line_18 | NAYY 4x150 SE | 16 | 20 | 0.01091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3101-10_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.0097331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3101-10_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.012012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3101-10_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.016217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3101-10_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.056614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3101-10_0_3_line_23 | NAYY 4x150 SE | 19 | 22 | 0.025844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3101-10_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.005732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3101-10_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.017076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3101-10_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.015886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_3101-10_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.011449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_3101-10_0_3_line_28 | NAYY 4x150 SE | 26 | 28 | 0.018513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_3101-10_0_3_line_29 | NAYY 4x150 SE | 27 | 29 | 0.009483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_3101-10_0_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.0081062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_3101-10_0_3_line_31 | NAYY 4x150 SE | 29 | 31 | 0.020526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3101-10_0_3_line_32 | NAYY 4x150 SE | 29 | 32 | 0.023755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_3101-10_0_3_line_33 | NAYY 4x150 SE | 30 | 33 | 0.036042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3101-10_0_3_line_34 | NAYY 4x150 SE | 31 | 34 | 0.064491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3101-10_0_3_line_35 | NAYY 4x150 SE | 32 | 35 | 0.0091823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_3101-10_0_3_line_36 | NAYY 4x150 SE | 32 | 36 | 0.02264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3101-10_0_3_line_37 | NAYY 4x150 SE | 33 | 50 | 0.011991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3101-10_0_3_line_38 | NAYY 4x150 SE | 33 | 48 | 0.004541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3101-10_0_3_line_39 | NAYY 4x150 SE | 35 | 56 | 0.025603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_3101-10_0_3_line_40 | NAYY 4x150 SE | 36 | 53 | 0.036182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3101-10_0_3_line_41 | NAYY 4x150 SE | 37 | 38 | 0.025466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3101-10_0_3_line_42 | NAYY 4x150 SE | 37 | 39 | 0.032411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3101-10_0_3_line_43 | NAYY 4x150 SE | 38 | 40 | 0.0029292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3101-10_0_3_line_44 | NAYY 4x150 SE | 39 | 41 | 0.010839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3101-10_0_3_line_45 | NAYY 4x150 SE | 39 | 42 | 0.025038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3101-10_0_3_line_46 | NAYY 4x150 SE | 40 | 43 | 0.034304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3101-10_0_3_line_47 | NAYY 4x150 SE | 41 | 44 | 0.018142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3101-10_0_3_line_48 | NAYY 4x150 SE | 42 | 45 | 0.047653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3101-10_0_3_line_49 | NAYY 4x150 SE | 42 | 46 | 0.013748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3101-10_0_3_line_50 | NAYY 4x150 SE | 43 | 47 | 0.01324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3101-10_0_3_line_51 | NAYY 4x150 SE | 43 | 48 | 0.0090532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3101-10_0_3_line_52 | NAYY 4x150 SE | 46 | 49 | 0.0030394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3101-10_0_3_line_53 | NAYY 4x150 SE | 47 | 51 | 0.003705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3101-10_0_3_line_54 | NAYY 4x150 SE | 49 | 81 | 0.0098611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3101-10_0_3_line_55 | NAYY 4x150 SE | 51 | 52 | 0.012867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3101-10_0_3_line_56 | NAYY 4x150 SE | 52 | 60 | 0.028778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3101-10_0_3_line_57 | NAYY 4x150 SE | 53 | 54 | 0.0069814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3101-10_0_3_line_58 | NAYY 4x150 SE | 54 | 55 | 0.026232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3101-10_0_3_line_59 | NAYY 4x150 SE | 56 | 66 | 0.0084894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_3101-10_0_3_line_60 | NAYY 4x150 SE | 57 | 58 | 0.0035252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3101-10_0_3_line_61 | NAYY 4x150 SE | 58 | 59 | 0.010859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3101-10_0_3_line_62 | NAYY 4x150 SE | 59 | 72 | 0.016679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3101-10_0_3_line_63 | NAYY 4x150 SE | 61 | 62 | 0.026365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_3101-10_0_3_line_64 | NAYY 4x150 SE | 61 | 63 | 0.0028229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_3101-10_0_3_line_65 | NAYY 4x150 SE | 62 | 64 | 0.021334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_3101-10_0_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.012699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3101-10_0_3_line_67 | NAYY 4x150 SE | 64 | 66 | 0.019389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_3101-10_0_3_line_68 | NAYY 4x150 SE | 65 | 67 | 0.009856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3101-10_0_3_line_69 | NAYY 4x150 SE | 65 | 68 | 0.005411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3101-10_0_3_line_70 | NAYY 4x150 SE | 68 | 71 | 0.029596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3101-10_0_3_line_71 | NAYY 4x150 SE | 68 | 70 | 0.039035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3101-10_0_3_line_72 | NAYY 4x150 SE | 69 | 70 | 0.032897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3101-10_0_3_line_73 | NAYY 4x150 SE | 72 | 73 | 0.016118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3101-10_0_3_line_74 | NAYY 4x150 SE | 73 | 74 | 0.0012126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3101-10_0_3_line_75 | NAYY 4x150 SE | 74 | 80 | 0.0020206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3101-10_0_3_line_76 | NAYY 4x150 SE | 75 | 76 | 0.008248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3101-10_0_3_line_77 | NAYY 4x150 SE | 75 | 77 | 0.016298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3101-10_0_3_line_78 | NAYY 4x150 SE | 76 | 78 | 0.00029944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3101-10_0_3_line_79 | NAYY 4x150 SE | 77 | 79 | 0.02818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3101-10_0_3_line_80 | NAYY 4x150 SE | 79 | 85 | 0.020853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3101-10_0_3_line_81 | NAYY 4x150 SE | 79 | 83 | 0.027719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3101-10_0_3_line_82 | NAYY 4x150 SE | 81 | 82 | 0.021336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3101-10_0_3_line_83 | NAYY 4x150 SE | 81 | 83 | 0.017699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3101-10_0_3_line_84 | NAYY 4x150 SE | 82 | 84 | 0.017143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3101-10_0_3_line_85 | NAYY 4x150 SE | 84 | 86 | 0.0054188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3101-10_0_3_trafo_29 | 0.25 MVA 20/0.4 kV | 87 | 30 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2748958.3365 | 1243611.4553 | 2748952.4093 | 1243610.836 | 2748943.2449 | 1243611.0122
1 | 2748943.2449 | 1243611.0122 | 2748936.9868 | 1243611.1326
2 | 2748913.3062 | 1243611.4885 | 2748919.5603 | 1243611.4676 | 2748936.9868 | 1243611.1326
3 | 2748913.3062 | 1243611.4885 | 2748907.3065 | 1243623.9608 | 2748906.0667 | 1243630.3813
4 | 2748913.3062 | 1243611.4885 | 2748911.0492 | 1243601.4001 | 2748908.7739 | 1243595.596
5 | 2748906.0667 | 1243630.3813 | 2748904.2146 | 1243639.9723
6 | 2748905.1162 | 1243587.9691 | 2748907.1833 | 1243591.5383 | 2748908.7739 | 1243595.596
7 | 2748904.2146 | 1243639.9723 | 2748902.9275 | 1243646.6377
8 | 2748899.0698 | 1243577.6772 | 2748901.0592 | 1243580.9636 | 2748905.1162 | 1243587.9691
9 | 2748859.804 | 1243640.2107 | 2748857.4316 | 1243634.3384
10 | 2748859.804 | 1243640.2107 | 2748863.7196 | 1243649.9026 | 2748865.7387 | 1243654.5743
11 | 2748857.4316 | 1243634.3384 | 2748853.6245 | 1243624.9148 | 2748853.0146 | 1243623.3943
12 | 2748865.7387 | 1243654.5743 | 2748869.5935 | 1243663.4932
13 | 2748850.9844 | 1243618.3327 | 2748853.0146 | 1243623.3943
14 | 2748874.9655 | 1243675.8577 | 2748873.9247 | 1243673.5142 | 2748869.5935 | 1243663.4932
15 | 2748850.9844 | 1243618.3327 | 2748850.9791 | 1243618.3196
16 | 2748879.7438 | 1243686.617 | 2748874.9655 | 1243675.8577
17 | 2748843.6228 | 1243599.9799 | 2748850.9791 | 1243618.3196
18 | 2748884.2501 | 1243696.5505 | 2748883.515 | 1243695.1084 | 2748879.7438 | 1243686.617
19 | 2748910.5519 | 1243687.4241 | 2748910.5319 | 1243685.5107 | 2748912.2261 | 1243681.8831 | 2748914.4116 | 1243678.7551
20 | 2748910.5519 | 1243687.4241 | 2748898.5973 | 1243688.9144
21 | 2748898.5973 | 1243688.9144 | 2748884.2501 | 1243696.5505
22 | 2748890.3566 | 1243730.7025 | 2748906.2596 | 1243728.5551 | 2748902.513 | 1243699.8007 | 2748898.5973 | 1243688.9144
23 | 2748898.5973 | 1243688.9144 | 2748897.793 | 1243686.314 | 2748897.1405 | 1243681.2818 | 2748900.1031 | 1243663.4787
24 | 2748890.3566 | 1243730.7025 | 2748885.998 | 1243727.212 | 2748885.9346 | 1243727.0782
25 | 2748900.1031 | 1243663.4787 | 2748902.7691 | 1243647.4579 | 2748902.9275 | 1243646.6377
26 | 2748812.6708 | 1243663.8871 | 2748806.4093 | 1243649.2876
27 | 2748801.8967 | 1243638.7659 | 2748806.4093 | 1243649.2876
28 | 2748812.6708 | 1243663.8871 | 2748819.968 | 1243680.9015
29 | 2748798.1588 | 1243630.0507 | 2748801.8967 | 1243638.7659
30 | 2748823.1632 | 1243688.3514 | 2748819.968 | 1243680.9015
31 | 2748798.1588 | 1243630.0507 | 2748778.469 | 1243636.0403
32 | 2748788.8242 | 1243608.196 | 2748798.1588 | 1243630.0507
33 | 2748837.3697 | 1243721.4756 | 2748823.1632 | 1243688.3514
34 | 2748778.469 | 1243636.0403 | 2748791.7084 | 1243671.6391 | 2748794.2821 | 1243680.8679 | 2748798.0795 | 1243697.3786
35 | 2748788.8242 | 1243608.196 | 2748792.2334 | 1243604.0221 | 2748794.2382 | 1243600.8023
36 | 2748788.8242 | 1243608.196 | 2748781.2172 | 1243586.8718
37 | 2748837.3697 | 1243721.4756 | 2748841.2183 | 1243719.9818 | 2748848.124 | 1243716.2216
38 | 2748837.3697 | 1243721.4756 | 2748839.0343 | 1243725.7005
39 | 2748794.2382 | 1243600.8023 | 2748807.7708 | 1243579.0682
40 | 2748781.2172 | 1243586.8718 | 2748769.0603 | 1243552.793
41 | 2748807.1845 | 1243746.348 | 2748783.2281 | 1243754.9853
42 | 2748752.5135 | 1243746.4823 | 2748766.6578 | 1243752.0421 | 2748777.1234 | 1243755.341 | 2748780.0163 | 1243755.7695 | 2748782.1968 | 1243755.3571 | 2748783.2281 | 1243754.9853
43 | 2748807.1845 | 1243746.348 | 2748809.94 | 1243745.3545
44 | 2748752.5135 | 1243746.4823 | 2748752.0249 | 1243735.6542
45 | 2748751.4172 | 1243771.4894 | 2748751.546 | 1243763.3406 | 2748752.4295 | 1243749.5275 | 2748752.5135 | 1243746.4823
46 | 2748842.3528 | 1243734.1236 | 2748815.7944 | 1243743.2438 | 2748809.94 | 1243745.3545
47 | 2748752.0249 | 1243735.6542 | 2748751.2071 | 1243717.531
48 | 2748751.4172 | 1243771.4894 | 2748747.6372 | 1243772.6624 | 2748745.9066 | 1243774.1316 | 2748742.9612 | 1243781.5202 | 2748738.6521 | 1243799.5625 | 2748738.4599 | 1243806.0193 | 2748739.2823 | 1243814.4409
49 | 2748751.4172 | 1243771.4894 | 2748754.8753 | 1243777.415 | 2748760.4044 | 1243781.5215
50 | 2748842.3528 | 1243734.1236 | 2748846.3248 | 1243746.7534
51 | 2748842.3528 | 1243734.1236 | 2748839.0343 | 1243725.7005
52 | 2748760.4044 | 1243781.5215 | 2748762.8444 | 1243783.3337
53 | 2748847.2562 | 1243750.3388 | 2748846.4283 | 1243747.0824 | 2748846.3248 | 1243746.7534
54 | 2748770.7609 | 1243789.2133 | 2748762.8444 | 1243783.3337
55 | 2748850.4267 | 1243762.8086 | 2748847.2562 | 1243750.3388
56 | 2748850.4267 | 1243762.8086 | 2748858.3515 | 1243766.1106 | 2748877.4998 | 1243772.5193
57 | 2748764.1174 | 1243548.0312 | 2748768.732 | 1243551.8727 | 2748769.0603 | 1243552.793
58 | 2748764.1174 | 1243548.0312 | 2748764.7908 | 1243541.9868 | 2748763.658 | 1243538.0102 | 2748757.8127 | 1243523.0999
59 | 2748812.2579 | 1243571.8616 | 2748807.7708 | 1243579.0682
60 | 2748899.0698 | 1243577.6772 | 2748896.882 | 1243574.913
61 | 2748890.1428 | 1243566.3982 | 2748896.882 | 1243574.913
62 | 2748890.1428 | 1243566.3982 | 2748874.7973 | 1243572.9321
63 | 2748842.5719 | 1243597.36 | 2748839.6908 | 1243590.177 | 2748837.428 | 1243584.5261 | 2748833.4917 | 1243572.621
64 | 2748842.5719 | 1243597.36 | 2748843.6228 | 1243599.9799
65 | 2748822.5062 | 1243555.4022 | 2748824.559 | 1243556.4658 | 2748828.4369 | 1243559.5326 | 2748830.2382 | 1243562.7808 | 2748833.4917 | 1243572.621
66 | 2748822.5062 | 1243555.4022 | 2748829.1676 | 1243544.5813
67 | 2748822.5062 | 1243555.4022 | 2748812.2579 | 1243571.8616
68 | 2748829.1676 | 1243544.5813 | 2748835.7014 | 1243537.2022
69 | 2748824.9349 | 1243541.1942 | 2748829.1676 | 1243544.5813
70 | 2748824.9349 | 1243541.1942 | 2748806.4865 | 1243539.2853 | 2748795.7851 | 1243536.5363
71 | 2748813.8513 | 1243503.7588 | 2748824.9349 | 1243541.1942
72 | 2748813.8513 | 1243503.7588 | 2748806.6466 | 1243504.8903 | 2748783.4084 | 1243515.6408
73 | 2748859.9675 | 1243579.2465 | 2748874.7973 | 1243572.9321
74 | 2748858.8519 | 1243579.7215 | 2748859.9675 | 1243579.2465
75 | 2748856.9928 | 1243580.5131 | 2748858.8519 | 1243579.7215
76 | 2748856.6363 | 1243796.7741 | 2748858.3315 | 1243804.8465
77 | 2748856.6363 | 1243796.7741 | 2748851.8221 | 1243796.9758 | 2748840.8591 | 1243793.5715
78 | 2748858.3938 | 1243805.1394 | 2748858.3315 | 1243804.8465
79 | 2748813.9468 | 1243785.2147 | 2748840.8591 | 1243793.5715
80 | 2748813.9468 | 1243785.2147 | 2748809.7828 | 1243798.9788 | 2748811.6232 | 1243805.1863
81 | 2748813.9468 | 1243785.2147 | 2748800.9814 | 1243781.1969 | 2748791.9737 | 1243780.9708 | 2748787.0049 | 1243782.2639
82 | 2748770.7609 | 1243789.2133 | 2748777.3823 | 1243799.2554 | 2748781.8242 | 1243807.4348
83 | 2748770.7609 | 1243789.2133 | 2748777.6966 | 1243785.8285 | 2748785.1921 | 1243782.7357 | 2748787.0049 | 1243782.2639
84 | 2748789.2189 | 1243822.8961 | 2748783.1932 | 1243809.9556 | 2748781.8242 | 1243807.4348
85 | 2748791.5063 | 1243827.8085 | 2748789.2189 | 1243822.8961

## bus_geodata
| x | y | coords
0 | 2748958.3365 | 1243611.4553
1 | 2748943.2449 | 1243611.0122
2 | 2748936.9867 | 1243611.1326
3 | 2748913.3062 | 1243611.4885
4 | 2748906.0667 | 1243630.3813
5 | 2748908.7739 | 1243595.596
6 | 2748904.2146 | 1243639.9723
7 | 2748905.1162 | 1243587.9691
8 | 2748859.804 | 1243640.2107
9 | 2748857.4316 | 1243634.3384
10 | 2748865.7387 | 1243654.5743
11 | 2748853.0146 | 1243623.3943
12 | 2748869.5935 | 1243663.4932
13 | 2748850.9844 | 1243618.3327
14 | 2748874.9655 | 1243675.8577
15 | 2748850.9791 | 1243618.3196
16 | 2748879.7438 | 1243686.617
17 | 2748914.4116 | 1243678.7551
18 | 2748910.5519 | 1243687.4241
19 | 2748898.5973 | 1243688.9144
20 | 2748884.2501 | 1243696.5505
21 | 2748890.3566 | 1243730.7025
22 | 2748900.1031 | 1243663.4787
23 | 2748885.9346 | 1243727.0782
24 | 2748902.9275 | 1243646.6377
25 | 2748806.4093 | 1243649.2876
26 | 2748812.6708 | 1243663.8871
27 | 2748801.8967 | 1243638.7659
28 | 2748819.968 | 1243680.9015
29 | 2748798.1588 | 1243630.0507
30 | 2748823.1632 | 1243688.3514
31 | 2748778.469 | 1243636.0403
32 | 2748788.8242 | 1243608.196
33 | 2748837.3697 | 1243721.4756
34 | 2748798.0795 | 1243697.3786
35 | 2748794.2382 | 1243600.8023
36 | 2748781.2172 | 1243586.8718
37 | 2748783.2281 | 1243754.9853
38 | 2748807.1845 | 1243746.348
39 | 2748752.5135 | 1243746.4823
40 | 2748809.94 | 1243745.3545
41 | 2748752.0249 | 1243735.6542
42 | 2748751.4172 | 1243771.4894
43 | 2748842.3528 | 1243734.1236
44 | 2748751.2071 | 1243717.531
45 | 2748739.2823 | 1243814.4409
46 | 2748760.4044 | 1243781.5215
47 | 2748846.3248 | 1243746.7534
48 | 2748839.0343 | 1243725.7005
49 | 2748762.8444 | 1243783.3337
50 | 2748848.124 | 1243716.2216
51 | 2748847.2562 | 1243750.3388
52 | 2748850.4267 | 1243762.8086
53 | 2748769.0603 | 1243552.793
54 | 2748764.1174 | 1243548.0312
55 | 2748757.8127 | 1243523.0999
56 | 2748807.7708 | 1243579.0682
57 | 2748899.0698 | 1243577.6772
58 | 2748896.882 | 1243574.913
59 | 2748890.1428 | 1243566.3982
60 | 2748877.4998 | 1243772.5193
61 | 2748842.5719 | 1243597.36
62 | 2748833.4917 | 1243572.621
63 | 2748843.6228 | 1243599.9799
64 | 2748822.5062 | 1243555.4022
65 | 2748829.1676 | 1243544.5813
66 | 2748812.2579 | 1243571.8616
67 | 2748835.7014 | 1243537.2022
68 | 2748824.9349 | 1243541.1942
69 | 2748783.4084 | 1243515.6408
70 | 2748813.8513 | 1243503.7588
71 | 2748795.7851 | 1243536.5363
72 | 2748874.7973 | 1243572.9321
73 | 2748859.9675 | 1243579.2465
74 | 2748858.8519 | 1243579.7215
75 | 2748856.6363 | 1243796.7741
76 | 2748858.3315 | 1243804.8465
77 | 2748840.8591 | 1243793.5715
78 | 2748858.3938 | 1243805.1394
79 | 2748813.9468 | 1243785.2147
80 | 2748856.9928 | 1243580.5131
81 | 2748770.7609 | 1243789.2133
82 | 2748781.8242 | 1243807.4348
83 | 2748787.0049 | 1243782.2639
84 | 2748789.2189 | 1243822.8961
85 | 2748811.6232 | 1243805.1863
86 | 2748791.5063 | 1243827.8085
87 | 2748837.3697 | 1243721.4756

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1