## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3101-2_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3101-2_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3101-2_0_6_node_51 | 0.4 | n |  | TRUE
3 | bus_LV_3101-2_0_6_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_3101-2_0_6_node_81 | 0.4 | n |  | TRUE
5 | bus_LV_3101-2_0_6_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_3101-2_0_6_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_3101-2_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_3101-2_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_3101-2_0_6_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_3101-2_0_6_node_79 | 0.4 | n |  | TRUE
11 | bus_LV_3101-2_0_6_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_3101-2_0_6_node_2 | 0.4 | n |  | TRUE
13 | bus_LV_3101-2_0_6_node_4 | 0.4 | n |  | TRUE
14 | bus_LV_3101-2_0_6_node_47 | 0.4 | n |  | TRUE
15 | bus_LV_3101-2_0_6_node_39 | 0.4 | n |  | TRUE
16 | bus_LV_3101-2_0_6_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_3101-2_0_6_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_3101-2_0_6_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_3101-2_0_6_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_3101-2_0_6_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_3101-2_0_6_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_3101-2_0_6_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_3101-2_0_6_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_3101-2_0_6_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_3101-2_0_6_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_3101-2_0_6_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_3101-2_0_6_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_3101-2_0_6_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_3101-2_0_6_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_3101-2_0_6_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_3101-2_0_6_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_3101-2_0_6_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_3101-2_0_6_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_3101-2_0_6_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_3101-2_0_6_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_3101-2_0_6_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_3101-2_0_6_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_3101-2_0_6_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_3101-2_0_6_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_3101-2_0_6_node_66 | 0.4 | n |  | TRUE
41 | bus_LV_3101-2_0_6_node_65 | 0.4 | n |  | TRUE
42 | bus_LV_3101-2_0_6_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_3101-2_0_6_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_3101-2_0_6_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_3101-2_0_6_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_3101-2_0_6_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_3101-2_0_6_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_3101-2_0_6_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_3101-2_0_6_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_3101-2_0_6_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_3101-2_0_6_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_3101-2_0_6_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_3101-2_0_6_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_3101-2_0_6_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_3101-2_0_6_node_67 | 0.4 | n |  | TRUE
56 | bus_LV_3101-2_0_6_node_68 | 0.4 | n |  | TRUE
57 | bus_LV_3101-2_0_6_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_3101-2_0_6_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_3101-2_0_6_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_3101-2_0_6_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_3101-2_0_6_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_3101-2_0_6_node_74 | 0.4 | n |  | TRUE
63 | bus_LV_3101-2_0_6_node_70 | 0.4 | n |  | TRUE
64 | bus_LV_3101-2_0_6_node_71 | 0.4 | n |  | TRUE
65 | bus_LV_3101-2_0_6_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_3101-2_0_6_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_3101-2_0_6_node_76 | 0.4 | n |  | TRUE
68 | bus_LV_3101-2_0_6_node_75 | 0.4 | n |  | TRUE
69 | bus_LV_3101-2_0_6_node_77 | 0.4 | n |  | TRUE
70 | bus_LV_3101-2_0_6_node_78 | 0.4 | n |  | TRUE
71 | bus_LV_3101-2_0_6_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_3101-2_0_6_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_3101-2_0_6_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_3101-2_0_6_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_3101-2_0_6_node_85 | 0.4 | n |  | TRUE
76 | bus_LV_3101-2_0_6_node_46 | 0.4 | n |  | TRUE
77 | bus_LV_3101-2_0_6_node_48 | 0.4 | n |  | TRUE
78 | bus_LV_3101-2_0_6_node_49 | 0.4 | n |  | TRUE
79 | bus_LV_3101-2_0_6_node_50 | 0.4 | n |  | TRUE
80 | bus_LV_3101-2_0_6_node_52 | 0.4 | n |  | TRUE
81 | bus_LV_3101-2_0_6_node_53 | 0.4 | n |  | TRUE
82 | bus_LV_3101-2_0_6_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_3101-2_0_6_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_3101-2_0_6_node_82 | 0.4 | n |  | TRUE
85 | bus_MV_148_0_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3101-2_0_6_load_0 | 0 | 0.02025 | 0.0050751 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3101-2_0_6_load_51 | 2 | 0.001283 | 0.00032155 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3101-2_0_6_load_5 | 3 | 0.0021059 | 0.00052779 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3101-2_0_6_load_81 | 4 | 0.0020362 | 0.00051033 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3101-2_0_6_load_9 | 6 | 0.0011333 | 0.00028402 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3101-2_0_6_load_79 | 10 | 0.00055341 | 0.0001387 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3101-2_0_6_load_10 | 11 | 0.00079054 | 0.00019813 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3101-2_0_6_load_36 | 16 | 0.0011016 | 0.0002761 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3101-2_0_6_load_45 | 17 | 0.0014986 | 0.00037558 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3101-2_0_6_load_41 | 18 | 0.0015484 | 0.00038807 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3101-2_0_6_load_42 | 19 | 0.00045553 | 0.00011417 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3101-2_0_6_load_37 | 20 | 0.0031708 | 0.00079468 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3101-2_0_6_load_13 | 23 | 0.00063693 | 0.00015963 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3101-2_0_6_load_14 | 24 | 0.016091 | 0.0040328 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3101-2_0_6_load_21 | 27 | 0.0069295 | 0.0017367 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3101-2_0_6_load_22 | 28 | 0.022957 | 0.0057535 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3101-2_0_6_load_18 | 29 | 0.0045925 | 0.001151 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3101-2_0_6_load_16 | 30 | 0.040206 | 0.010077 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3101-2_0_6_load_17 | 31 | 0.021044 | 0.0052742 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3101-2_0_6_load_19 | 32 | 0.0055715 | 0.0013964 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3101-2_0_6_load_23 | 33 | 0.0020256 | 0.00050767 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3101-2_0_6_load_24 | 34 | 0.0053113 | 0.0013311 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3101-2_0_6_load_25 | 35 | 0.00035195 | 8.8207e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3101-2_0_6_load_44 | 36 | 0.00059979 | 0.00015032 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3101-2_0_6_load_28 | 37 | 0.0069505 | 0.0017419 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3101-2_0_6_load_43 | 38 | 0.0067447 | 0.0016904 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3101-2_0_6_load_26 | 39 | 0.0006741 | 0.00016895 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3101-2_0_6_load_66 | 40 | 0.00038452 | 9.6369e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3101-2_0_6_load_65 | 41 | 0.00035103 | 8.7977e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3101-2_0_6_load_27 | 42 | 0.00082774 | 0.00020745 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3101-2_0_6_load_30 | 44 | 0.0025354 | 0.00063543 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3101-2_0_6_load_32 | 46 | 0.0016935 | 0.00042443 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3101-2_0_6_load_33 | 47 | 0.0027604 | 0.00069183 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3101-2_0_6_load_34 | 48 | 0.00206 | 0.00051629 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3101-2_0_6_load_35 | 49 | 0.0032901 | 0.00082458 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3101-2_0_6_load_54 | 50 | 0.0056498 | 0.001416 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3101-2_0_6_load_55 | 51 | 0.002428 | 0.00060851 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3101-2_0_6_load_38 | 52 | 0.00098727 | 0.00024743 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3101-2_0_6_load_40 | 53 | 0.00069188 | 0.0001734 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3101-2_0_6_load_68 | 56 | 0.00070358 | 0.00017633 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3101-2_0_6_load_63 | 58 | 0.0059899 | 0.0015012 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3101-2_0_6_load_64 | 59 | 0.0027801 | 0.00069675 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3101-2_0_6_load_69 | 61 | 0.00129 | 0.0003233 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3101-2_0_6_load_74 | 62 | 0.0010163 | 0.0002547 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3101-2_0_6_load_70 | 63 | 0.00034444 | 8.6325e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3101-2_0_6_load_73 | 66 | 0.0017189 | 0.0004308 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3101-2_0_6_load_76 | 67 | 0.0011555 | 0.00028959 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3101-2_0_6_load_75 | 68 | 0.0010044 | 0.00025172 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3101-2_0_6_load_78 | 70 | 0.00037781 | 9.4688e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3101-2_0_6_load_56 | 71 | 0.004769 | 0.0011952 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3101-2_0_6_load_61 | 73 | 0.00046317 | 0.00011608 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3101-2_0_6_load_62 | 74 | 0.0015313 | 0.00038377 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3101-2_0_6_load_85 | 75 | 0.00095281 | 0.0002388 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3101-2_0_6_load_46 | 76 | 0.00079066 | 0.00019816 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3101-2_0_6_load_48 | 77 | 0.000485 | 0.00012155 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3101-2_0_6_load_53 | 81 | 0.00071156 | 0.00017833 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3101-2_0_6_load_83 | 82 | 0.00043048 | 0.00010789 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3101-2_0_6_load_84 | 83 | 0.00043944 | 0.00011013 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3101-2_0_6_load_82 | 84 | 0.00073929 | 0.00018528 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3101-2_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.053446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_3101-2_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.061765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_3101-2_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.052121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_3101-2_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.026007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3101-2_0_6_line_4 | NAYY 4x150 SE | 2 | 5 | 0.20027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_3101-2_0_6_line_5 | NAYY 4x150 SE | 3 | 6 | 0.04332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_3101-2_0_6_line_6 | NAYY 4x150 SE | 4 | 84 | 0.034282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3101-2_0_6_line_7 | NAYY 4x150 SE | 5 | 14 | 0.18211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3101-2_0_6_line_8 | NAYY 4x150 SE | 5 | 12 | 0.029472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_3101-2_0_6_line_9 | NAYY 4x150 SE | 6 | 7 | 0.026246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_3101-2_0_6_line_10 | NAYY 4x150 SE | 7 | 8 | 0.035036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3101-2_0_6_line_11 | NAYY 4x150 SE | 7 | 9 | 0.01235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_3101-2_0_6_line_12 | NAYY 4x150 SE | 8 | 10 | 0.037719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3101-2_0_6_line_13 | NAYY 4x150 SE | 9 | 11 | 0.013803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_3101-2_0_6_line_14 | NAYY 4x150 SE | 11 | 21 | 0.031743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_3101-2_0_6_line_15 | NAYY 4x150 SE | 12 | 13 | 0.024079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_3101-2_0_6_line_16 | NAYY 4x150 SE | 13 | 15 | 0.16423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3101-2_0_6_line_17 | NAYY 4x150 SE | 13 | 16 | 0.027093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_3101-2_0_6_line_18 | NAYY 4x150 SE | 14 | 17 | 0.035355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3101-2_0_6_line_19 | NAYY 4x150 SE | 15 | 18 | 0.062364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3101-2_0_6_line_20 | NAYY 4x150 SE | 15 | 19 | 0.084511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3101-2_0_6_line_21 | NAYY 4x150 SE | 16 | 20 | 0.026373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_3101-2_0_6_line_22 | NAYY 4x150 SE | 17 | 76 | 0.018407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3101-2_0_6_line_23 | NAYY 4x150 SE | 20 | 52 | 0.014856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_3101-2_0_6_line_24 | NAYY 4x150 SE | 21 | 22 | 0.10064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_3101-2_0_6_line_25 | NAYY 4x150 SE | 21 | 23 | 0.024207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3101-2_0_6_line_26 | NAYY 4x150 SE | 22 | 24 | 0.024741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_3101-2_0_6_line_27 | NAYY 4x150 SE | 24 | 25 | 0.024783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_3101-2_0_6_line_28 | NAYY 4x150 SE | 25 | 27 | 0.016833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3101-2_0_6_line_29 | NAYY 4x150 SE | 25 | 29 | 0.021983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3101-2_0_6_line_30 | NAYY 4x150 SE | 26 | 27 | 0.031682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3101-2_0_6_line_31 | NAYY 4x150 SE | 26 | 28 | 0.034048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3101-2_0_6_line_32 | NAYY 4x150 SE | 29 | 30 | 0.0064306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3101-2_0_6_line_33 | NAYY 4x150 SE | 30 | 31 | 0.033551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3101-2_0_6_line_34 | NAYY 4x150 SE | 31 | 32 | 0.012808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3101-2_0_6_line_35 | NAYY 4x150 SE | 33 | 34 | 0.15299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3101-2_0_6_line_36 | NAYY 4x150 SE | 34 | 35 | 0.19636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_3101-2_0_6_line_37 | NAYY 4x150 SE | 35 | 39 | 0.012774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_3101-2_0_6_line_38 | NAYY 4x150 SE | 36 | 37 | 0.12782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_3101-2_0_6_line_39 | NAYY 4x150 SE | 36 | 38 | 0.0033195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_3101-2_0_6_line_40 | NAYY 4x150 SE | 37 | 42 | 0.10183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_3101-2_0_6_line_41 | NAYY 4x150 SE | 38 | 53 | 0.019442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_3101-2_0_6_line_42 | NAYY 4x150 SE | 39 | 40 | 0.010229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_3101-2_0_6_line_43 | NAYY 4x150 SE | 40 | 41 | 0.0030813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_3101-2_0_6_line_44 | NAYY 4x150 SE | 41 | 73 | 0.0054211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_3101-2_0_6_line_45 | NAYY 4x150 SE | 42 | 43 | 0.011033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_3101-2_0_6_line_46 | NAYY 4x150 SE | 43 | 44 | 0.017169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_3101-2_0_6_line_47 | NAYY 4x150 SE | 44 | 45 | 0.015966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_3101-2_0_6_line_48 | NAYY 4x150 SE | 45 | 46 | 0.020279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3101-2_0_6_line_49 | NAYY 4x150 SE | 45 | 47 | 0.040464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_3101-2_0_6_line_50 | NAYY 4x150 SE | 46 | 48 | 0.017917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3101-2_0_6_line_51 | NAYY 4x150 SE | 47 | 49 | 0.036957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_3101-2_0_6_line_52 | NAYY 4x150 SE | 49 | 50 | 0.00076806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_3101-2_0_6_line_53 | NAYY 4x150 SE | 50 | 51 | 0.025051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_3101-2_0_6_line_54 | NAYY 4x150 SE | 51 | 71 | 0.018644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_3101-2_0_6_line_55 | NAYY 4x150 SE | 52 | 53 | 0.0052939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_3101-2_0_6_line_56 | NAYY 4x150 SE | 54 | 55 | 0.021149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_3101-2_0_6_line_57 | NAYY 4x150 SE | 54 | 56 | 0.06052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3101-2_0_6_line_58 | NAYY 4x150 SE | 54 | 57 | 0.14055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_3101-2_0_6_line_59 | NAYY 4x150 SE | 55 | 61 | 0.019272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_3101-2_0_6_line_60 | NAYY 4x150 SE | 56 | 62 | 0.025448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3101-2_0_6_line_61 | NAYY 4x150 SE | 57 | 73 | 0.0095276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_3101-2_0_6_line_62 | NAYY 4x150 SE | 57 | 72 | 0.009237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_3101-2_0_6_line_63 | NAYY 4x150 SE | 58 | 59 | 0.069229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3101-2_0_6_line_64 | NAYY 4x150 SE | 58 | 60 | 0.029371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3101-2_0_6_line_65 | NAYY 4x150 SE | 60 | 74 | 0.057385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3101-2_0_6_line_66 | NAYY 4x150 SE | 60 | 72 | 0.024198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3101-2_0_6_line_67 | NAYY 4x150 SE | 61 | 63 | 0.01581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_3101-2_0_6_line_68 | NAYY 4x150 SE | 62 | 68 | 0.001004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3101-2_0_6_line_69 | NAYY 4x150 SE | 63 | 64 | 0.044337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_3101-2_0_6_line_70 | NAYY 4x150 SE | 64 | 65 | 0.11174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_3101-2_0_6_line_71 | NAYY 4x150 SE | 65 | 66 | 0.040248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_3101-2_0_6_line_72 | NAYY 4x150 SE | 66 | 67 | 0.0046286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3101-2_0_6_line_73 | NAYY 4x150 SE | 67 | 69 | 0.20204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3101-2_0_6_line_74 | NAYY 4x150 SE | 69 | 70 | 0.12333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3101-2_0_6_line_75 | NAYY 4x150 SE | 70 | 75 | 0.15678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3101-2_0_6_line_76 | NAYY 4x150 SE | 71 | 72 | 0.1081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_3101-2_0_6_line_77 | NAYY 4x150 SE | 76 | 77 | 0.0024984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3101-2_0_6_line_78 | NAYY 4x150 SE | 77 | 78 | 0.024273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3101-2_0_6_line_79 | NAYY 4x150 SE | 78 | 79 | 0.000786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3101-2_0_6_line_80 | NAYY 4x150 SE | 79 | 80 | 0.019229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3101-2_0_6_line_81 | NAYY 4x150 SE | 79 | 81 | 0.040401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3101-2_0_6_line_82 | NAYY 4x150 SE | 80 | 82 | 0.012205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3101-2_0_6_line_83 | NAYY 4x150 SE | 81 | 83 | 0.021737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3101-2_0_6_trafo_0 | 0.25 MVA 20/0.4 kV | 85 | 0 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2748074.6045 | 1244480.5261 | 2748021.4929 | 1244474.5582
1 | 2747995.9367 | 1244530.7882 | 2748021.4929 | 1244474.5582
2 | 2748074.6045 | 1244480.5261 | 2748077.9118 | 1244477.9729 | 2748125.5066 | 1244483.7383
3 | 2747995.9367 | 1244530.7882 | 2747995.9367 | 1244530.7882 | 2747988.1269 | 1244555.5951
4 | 2747809.6863 | 1244496.7131 | 2747817.3724 | 1244508.0486 | 2747841.2346 | 1244501.6371 | 2747963.3742 | 1244524.7036 | 2747980.0039 | 1244524.8407 | 2747990.556 | 1244523.7251 | 2747994.9135 | 1244525.1351 | 2747995.9367 | 1244530.7882
5 | 2748125.5066 | 1244483.7383 | 2748128.4602 | 1244484.0961 | 2748152.5659 | 1244484.8987 | 2748168.752 | 1244483.7677
6 | 2747975.1804 | 1244587.2234 | 2747980.0514 | 1244578.3588 | 2747984.6948 | 1244566.4969 | 2747988.1269 | 1244555.5951
7 | 2747680.3372 | 1244622.1652 | 2747706.5143 | 1244587.1506 | 2747715.6589 | 1244574.8557 | 2747729.7278 | 1244557.9123 | 2747744.2111 | 1244542.8477 | 2747755.1673 | 1244533.1003 | 2747773.2105 | 1244518.3915 | 2747784.429 | 1244510.8638 | 2747795.6749 | 1244504.3601 | 2747809.6863 | 1244496.7131
8 | 2747798.9975 | 1244469.6548 | 2747799.2776 | 1244472.976 | 2747800.401 | 1244478.2533 | 2747802.1824 | 1244483.5249 | 2747806.1927 | 1244490.9762 | 2747809.6863 | 1244496.7131
9 | 2748194.117 | 1244477.4183 | 2748173.9014 | 1244483.4079 | 2748168.752 | 1244483.7677
10 | 2748194.117 | 1244477.4183 | 2748194.3798 | 1244485.3546 | 2748189.076 | 1244486.1117 | 2748189.4214 | 1244491.6477 | 2748193.5027 | 1244491.405 | 2748193.8819 | 1244496.497 | 2748194.5243 | 1244503.4641
11 | 2748206.2096 | 1244475.1738 | 2748201.1385 | 1244475.3918 | 2748194.117 | 1244477.4183
12 | 2748194.5243 | 1244503.4641 | 2748200.7767 | 1244528.2658 | 2748202.5709 | 1244532.4034 | 2748204.6343 | 1244536.0584 | 2748207.2793 | 1244538.2483
13 | 2748206.2096 | 1244475.1738 | 2748207.4347 | 1244461.4256
14 | 2748209.6206 | 1244429.7719 | 2748209.3729 | 1244439.675 | 2748207.4347 | 1244461.4256
15 | 2747781.0587 | 1244482.8981 | 2747799.2776 | 1244472.976 | 2747798.9975 | 1244469.6548
16 | 2747781.0587 | 1244482.8981 | 2747760.0535 | 1244509.967 | 2747706.531 | 1244532.4776 | 2747658.3911 | 1244558.0588 | 2747641.1277 | 1244562.1219
17 | 2747781.0587 | 1244482.8981 | 2747771.2723 | 1244482.1092 | 2747762.2953 | 1244478.2709 | 2747755.581 | 1244474.9019
18 | 2747680.3372 | 1244622.1652 | 2747676.925 | 1244620.7456 | 2747673.6434 | 1244621.9761 | 2747661.2886 | 1244629.9094 | 2747654.4918 | 1244633.5548 | 2747651.6751 | 1244638.5783
19 | 2747641.1277 | 1244562.1219 | 2747632.9871 | 1244564.4659 | 2747627.1123 | 1244567.2112 | 2747619.7193 | 1244572.6323 | 2747610.4677 | 1244579.82 | 2747600.32 | 1244586.2624 | 2747589.1964 | 1244595.7613
20 | 2747641.1277 | 1244562.1219 | 2747560.9888 | 1244535.2925
21 | 2747755.581 | 1244474.9019 | 2747732.0093 | 1244463.0745
22 | 2747651.6751 | 1244638.5783 | 2747646.0101 | 1244653.2399 | 2747645.2305 | 1244655.8138
23 | 2747718.8119 | 1244456.269 | 2747720.1728 | 1244457.1354 | 2747732.0093 | 1244463.0745
24 | 2748206.7306 | 1244329.4499 | 2748207.8499 | 1244333.3704 | 2748209.4355 | 1244342.8301 | 2748210.0598 | 1244352.3324 | 2748209.6206 | 1244429.7719
25 | 2748209.6206 | 1244429.7719 | 2748212.531 | 1244429.7891 | 2748233.146 | 1244424.443
26 | 2748206.7306 | 1244329.4499 | 2748196.3475 | 1244329.2348 | 2748189.9469 | 1244329.097 | 2748181.9954 | 1244328.9334
27 | 2748157.218 | 1244328.4235 | 2748181.9954 | 1244328.9334
28 | 2748157.218 | 1244328.4235 | 2748157.3157 | 1244311.5903
29 | 2748157.218 | 1244328.4235 | 2748157.0909 | 1244350.4056
30 | 2748163.5468 | 1244280.9147 | 2748157.3872 | 1244299.267 | 2748157.3157 | 1244311.5903
31 | 2748163.5468 | 1244280.9147 | 2748147.7413 | 1244275.9042 | 2748139.6695 | 1244274.568 | 2748130.3884 | 1244274.8544
32 | 2748157.0537 | 1244356.8362 | 2748157.0909 | 1244350.4056
33 | 2748157.0537 | 1244356.8362 | 2748156.8597 | 1244390.3866
34 | 2748156.7856 | 1244403.194 | 2748156.8597 | 1244390.3866
35 | 2747573.3022 | 1244087.2939 | 2747685.8493 | 1243983.6596
36 | 2747482.4631 | 1244249.3461 | 2747481.4154 | 1244233.5418 | 2747483.4898 | 1244210.3383 | 2747488.4966 | 1244189.3097 | 2747495.6043 | 1244168.022 | 2747503.7652 | 1244152.4214 | 2747516.1046 | 1244137.2362 | 2747531.3274 | 1244122.8568 | 2747549.6594 | 1244108.11 | 2747558.7422 | 1244100.7401 | 2747572.3052 | 1244088.0433 | 2747573.3022 | 1244087.2939
37 | 2747484.5131 | 1244261.9518 | 2747482.5039 | 1244249.962 | 2747482.4631 | 1244249.3461
38 | 2747697.4086 | 1244438.2955 | 2747740.2546 | 1244317.8716
39 | 2747697.4086 | 1244438.2955 | 2747699.8235 | 1244440.5731
40 | 2747740.2546 | 1244317.8716 | 2747743.9685 | 1244292.6293 | 2747747.939 | 1244264.6797 | 2747753.0475 | 1244227.1718 | 2747753.868 | 1244216.9774
41 | 2747714.3462 | 1244453.4259 | 2747711.5916 | 1244451.6722 | 2747699.8235 | 1244440.5731
42 | 2747487.0837 | 1244271.8297 | 2747485.1109 | 1244265.5191 | 2747484.5131 | 1244261.9518
43 | 2747488.0031 | 1244274.7707 | 2747487.0837 | 1244271.8297
44 | 2747488.0031 | 1244274.7707 | 2747489.6207 | 1244279.9449
45 | 2747752.8846 | 1244206.1036 | 2747753.8181 | 1244208.9962 | 2747754.0552 | 1244214.6518 | 2747753.868 | 1244216.9774
46 | 2747752.8846 | 1244206.1036 | 2747736.5167 | 1244211.2853
47 | 2747721.2954 | 1244216.1041 | 2747736.5167 | 1244211.2853
48 | 2747721.2954 | 1244216.1041 | 2747719.9019 | 1244211.3427 | 2747717.9396 | 1244207.2567 | 2747712.1056 | 1244198.1856
49 | 2747721.2954 | 1244216.1041 | 2747682.7209 | 1244228.3241
50 | 2747698.9092 | 1244191.1568 | 2747704.8431 | 1244189.3917 | 2747707.1013 | 1244190.4044 | 2747712.1056 | 1244198.1856
51 | 2747682.7209 | 1244228.3241 | 2747669.3503 | 1244232.5598 | 2747647.5245 | 1244239.5935
52 | 2747646.7935 | 1244239.8291 | 2747647.5245 | 1244239.5935
53 | 2747646.7935 | 1244239.8291 | 2747622.9503 | 1244247.513
54 | 2747605.1817 | 1244253.159 | 2747619.7612 | 1244248.5408 | 2747622.9503 | 1244247.513
55 | 2747714.3462 | 1244453.4259 | 2747718.8119 | 1244456.269
56 | 2747340.3202 | 1244341.9043 | 2747359.7003 | 1244333.3109
57 | 2747359.7003 | 1244333.3109 | 2747357.3242 | 1244327.6132 | 2747359.7498 | 1244319.1544 | 2747378.3338 | 1244279.6346 | 2747379.1731 | 1244277.9571
58 | 2747493.3349 | 1244288.7008 | 2747410.9328 | 1244315.3334 | 2747377.1393 | 1244326.4598 | 2747359.7003 | 1244333.3109
59 | 2747340.3202 | 1244341.9043 | 2747338.2219 | 1244337.5036 | 2747333.2175 | 1244324.0044
60 | 2747379.1731 | 1244277.9571 | 2747383.8793 | 1244268.5508 | 2747393.0142 | 1244256.742
61 | 2747493.3349 | 1244288.7008 | 2747490.3705 | 1244282.3434 | 2747489.6207 | 1244279.9449
62 | 2747502.1461 | 1244285.8505 | 2747493.3349 | 1244288.7008
63 | 2747515.8325 | 1244329.717 | 2747514.3143 | 1244334.9546 | 2747512.8159 | 1244343.2139 | 2747512.9514 | 1244347.488 | 2747514.4982 | 1244350.3513 | 2747518.3754 | 1244353.7509 | 2747536.6718 | 1244365.3167 | 2747539.9492 | 1244366.6884 | 2747543.5936 | 1244366.3787 | 2747548.1088 | 1244363.5884 | 2747552.3511 | 1244356.1877
64 | 2747519.7854 | 1244301.348 | 2747520.7194 | 1244304.8301 | 2747521.5965 | 1244308.4775 | 2747520.0626 | 1244315.1234 | 2747515.8325 | 1244329.717
65 | 2747519.7854 | 1244301.348 | 2747529.4163 | 1244306.2699 | 2747536.5305 | 1244309.3274 | 2747548.5177 | 1244318.0003 | 2747560.0828 | 1244327.2299 | 2747561.3896 | 1244330.0095 | 2747560.8695 | 1244334.5007 | 2747560.5378 | 1244336.1082
66 | 2747519.7854 | 1244301.348 | 2747509.7215 | 1244296.2041 | 2747504.6791 | 1244290.7069 | 2747502.1461 | 1244285.8505
67 | 2747333.2175 | 1244324.0044 | 2747328.2807 | 1244310.6872 | 2747327.7372 | 1244309.1746
68 | 2747393.6286 | 1244255.9479 | 2747393.0142 | 1244256.742
69 | 2747312.7442 | 1244267.4498 | 2747327.7372 | 1244309.1746
70 | 2747299.3966 | 1244162.2868 | 2747297.8736 | 1244165.7633 | 2747291.9431 | 1244175.9145 | 2747289.6103 | 1244181.2504 | 2747288.425 | 1244186.9597 | 2747288.0511 | 1244192.8782 | 2747289.2475 | 1244199.5029 | 2747292.2685 | 1244209.3761 | 2747312.7442 | 1244267.4498
71 | 2747299.3966 | 1244162.2868 | 2747302.0692 | 1244163.0538 | 2747307.9333 | 1244161.9651 | 2747335.9494 | 1244147.5583 | 2747335.9494 | 1244147.5583
72 | 2747335.9494 | 1244147.5583 | 2747332.5392 | 1244144.4288
73 | 2747239.8813 | 1243978.2486 | 2747248.9253 | 1243987.3482 | 2747265.4087 | 1243995.8653 | 2747270.3182 | 1244002.7714 | 2747274.4207 | 1244009.9021 | 2747277.484 | 1244021.1219 | 2747275.6251 | 1244036.29 | 2747275.714 | 1244052.4962 | 2747279.346 | 1244064.8646 | 2747285.8353 | 1244081.2187 | 2747295.8676 | 1244093.7462 | 2747307.3854 | 1244105.8212 | 2747319.3657 | 1244119.3646 | 2747325.0476 | 1244128.3474 | 2747324.7419 | 1244132.4326 | 2747326.8937 | 1244139.2479 | 2747332.5392 | 1244144.4288
74 | 2747239.8813 | 1243978.2486 | 2747251.537 | 1243972.6104 | 2747262.9518 | 1243969.3684 | 2747266.6009 | 1243963.3979 | 2747267.2871 | 1243955.5631 | 2747276.3826 | 1243946.4581 | 2747289.3465 | 1243939.9072 | 2747304.8592 | 1243929.983 | 2747318.4438 | 1243918.5429 | 2747330.4986 | 1243909.0222 | 2747334.7106 | 1243906.8819
75 | 2747334.7106 | 1243906.8819 | 2747489.2661 | 1243933.2003
76 | 2747502.1461 | 1244285.8505 | 2747587.959 | 1244258.6146 | 2747605.1817 | 1244253.159
77 | 2747645.2305 | 1244655.8138 | 2747644.5063 | 1244658.2049
78 | 2747648.2955 | 1244678.3426 | 2747645.0379 | 1244677.0937 | 2747643.1797 | 1244675.8129 | 2747641.277 | 1244672.3734 | 2747641.7841 | 1244667.1923 | 2747644.5063 | 1244658.2049
79 | 2747648.2955 | 1244678.3426 | 2747647.9677 | 1244679.0573
80 | 2747642.3384 | 1244697.4456 | 2747647.9677 | 1244679.0573
81 | 2747647.9677 | 1244679.0573 | 2747651.3404 | 1244680.2423 | 2747687.0238 | 1244689.3441
82 | 2747642.3384 | 1244697.4456 | 2747649.6532 | 1244700.0189 | 2747653.7781 | 1244701.6908
83 | 2747687.0238 | 1244689.3441 | 2747708.0867 | 1244694.7166

## bus_geodata
| x | y | coords
0 | 2748021.4929 | 1244474.5582
1 | 2748074.6045 | 1244480.5261
2 | 2747995.9367 | 1244530.7882
3 | 2748125.5066 | 1244483.7383
4 | 2747988.1269 | 1244555.5951
5 | 2747809.6863 | 1244496.7131
6 | 2748168.752 | 1244483.7677
7 | 2748194.117 | 1244477.4183
8 | 2748194.5243 | 1244503.4641
9 | 2748206.2096 | 1244475.1738
10 | 2748207.2793 | 1244538.2483
11 | 2748207.4347 | 1244461.4256
12 | 2747798.9975 | 1244469.6548
13 | 2747781.0587 | 1244482.8981
14 | 2747680.3372 | 1244622.1652
15 | 2747641.1277 | 1244562.1219
16 | 2747755.581 | 1244474.9019
17 | 2747651.6751 | 1244638.5783
18 | 2747589.1964 | 1244595.7613
19 | 2747560.9888 | 1244535.2925
20 | 2747732.0093 | 1244463.0745
21 | 2748209.6206 | 1244429.7719
22 | 2748206.7306 | 1244329.4499
23 | 2748233.146 | 1244424.443
24 | 2748181.9954 | 1244328.9334
25 | 2748157.218 | 1244328.4235
26 | 2748163.5468 | 1244280.9147
27 | 2748157.3157 | 1244311.5903
28 | 2748130.3884 | 1244274.8544
29 | 2748157.0909 | 1244350.4056
30 | 2748157.0537 | 1244356.8362
31 | 2748156.8597 | 1244390.3866
32 | 2748156.7856 | 1244403.194
33 | 2747685.8493 | 1243983.6596
34 | 2747573.3022 | 1244087.2939
35 | 2747482.4631 | 1244249.3461
36 | 2747697.4086 | 1244438.2955
37 | 2747740.2546 | 1244317.8716
38 | 2747699.8235 | 1244440.5731
39 | 2747484.5131 | 1244261.9518
40 | 2747487.0837 | 1244271.8297
41 | 2747488.0031 | 1244274.7707
42 | 2747753.868 | 1244216.9774
43 | 2747752.8846 | 1244206.1036
44 | 2747736.5167 | 1244211.2853
45 | 2747721.2954 | 1244216.1041
46 | 2747712.1056 | 1244198.1856
47 | 2747682.7209 | 1244228.3241
48 | 2747698.9092 | 1244191.1568
49 | 2747647.5245 | 1244239.5935
50 | 2747646.7935 | 1244239.8291
51 | 2747622.9502 | 1244247.513
52 | 2747718.8119 | 1244456.269
53 | 2747714.3462 | 1244453.4259
54 | 2747359.7003 | 1244333.3109
55 | 2747340.3202 | 1244341.9043
56 | 2747379.1731 | 1244277.9571
57 | 2747493.3349 | 1244288.7008
58 | 2747515.8325 | 1244329.717
59 | 2747552.3511 | 1244356.1877
60 | 2747519.7854 | 1244301.348
61 | 2747333.2175 | 1244324.0044
62 | 2747393.0142 | 1244256.742
63 | 2747327.7372 | 1244309.1746
64 | 2747312.7442 | 1244267.4498
65 | 2747299.3966 | 1244162.2868
66 | 2747335.9494 | 1244147.5583
67 | 2747332.5392 | 1244144.4288
68 | 2747393.6286 | 1244255.9479
69 | 2747239.8813 | 1243978.2486
70 | 2747334.7106 | 1243906.8819
71 | 2747605.1817 | 1244253.159
72 | 2747502.1461 | 1244285.8505
73 | 2747489.6207 | 1244279.9449
74 | 2747560.5378 | 1244336.1082
75 | 2747489.2661 | 1243933.2003
76 | 2747645.2305 | 1244655.8138
77 | 2747644.5063 | 1244658.2049
78 | 2747648.2955 | 1244678.3426
79 | 2747647.9677 | 1244679.0573
80 | 2747642.3384 | 1244697.4456
81 | 2747687.0238 | 1244689.3441
82 | 2747653.7781 | 1244701.6908
83 | 2747708.0867 | 1244694.7166
84 | 2747975.1804 | 1244587.2235
85 | 2748074.6045 | 1244480.5261

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1