## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3101-40_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3101-40_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3101-40_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3101-40_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3101-40_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3101-40_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_3101-40_0_4_node_90 | 0.4 | n |  | TRUE
7 | bus_LV_3101-40_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3101-40_0_4_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_3101-40_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3101-40_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3101-40_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_3101-40_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_3101-40_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_3101-40_0_4_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_3101-40_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_3101-40_0_4_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_3101-40_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_3101-40_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_3101-40_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_3101-40_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_3101-40_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_3101-40_0_4_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_3101-40_0_4_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_3101-40_0_4_node_53 | 0.4 | n |  | TRUE
25 | bus_LV_3101-40_0_4_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_3101-40_0_4_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_3101-40_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_3101-40_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_3101-40_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_3101-40_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_3101-40_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_3101-40_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_3101-40_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_3101-40_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_3101-40_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_3101-40_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_3101-40_0_4_node_94 | 0.4 | n |  | TRUE
38 | bus_LV_3101-40_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_3101-40_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_3101-40_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_3101-40_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_3101-40_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_3101-40_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_3101-40_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_3101-40_0_4_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_3101-40_0_4_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_3101-40_0_4_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_3101-40_0_4_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_3101-40_0_4_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_3101-40_0_4_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_3101-40_0_4_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_3101-40_0_4_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_3101-40_0_4_node_89 | 0.4 | n |  | TRUE
54 | bus_LV_3101-40_0_4_node_73 | 0.4 | n |  | TRUE
55 | bus_LV_3101-40_0_4_node_74 | 0.4 | n |  | TRUE
56 | bus_LV_3101-40_0_4_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_3101-40_0_4_node_78 | 0.4 | n |  | TRUE
58 | bus_LV_3101-40_0_4_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_3101-40_0_4_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_3101-40_0_4_node_70 | 0.4 | n |  | TRUE
61 | bus_LV_3101-40_0_4_node_93 | 0.4 | n |  | TRUE
62 | bus_LV_3101-40_0_4_node_69 | 0.4 | n |  | TRUE
63 | bus_LV_3101-40_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_3101-40_0_4_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_3101-40_0_4_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_3101-40_0_4_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_3101-40_0_4_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_3101-40_0_4_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_3101-40_0_4_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_3101-40_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_3101-40_0_4_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_3101-40_0_4_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_3101-40_0_4_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_3101-40_0_4_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_3101-40_0_4_node_91 | 0.4 | n |  | TRUE
76 | bus_LV_3101-40_0_4_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_3101-40_0_4_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_3101-40_0_4_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_3101-40_0_4_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_3101-40_0_4_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_3101-40_0_4_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_3101-40_0_4_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_3101-40_0_4_node_88 | 0.4 | n |  | TRUE
84 | bus_LV_3101-40_0_4_node_86 | 0.4 | n |  | TRUE
85 | bus_LV_3101-40_0_4_node_92 | 0.4 | n |  | TRUE
86 | bus_LV_3101-40_0_4_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_3101-40_0_4_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_3101-40_0_4_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_3101-40_0_4_node_87 | 0.4 | n |  | TRUE
90 | bus_LV_3101-40_0_4_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_3101-40_0_4_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_3101-40_0_4_node_85 | 0.4 | n |  | TRUE
93 | bus_LV_3101-40_0_4_node_84 | 0.4 | n |  | TRUE
94 | bus_MV_148_0_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3101-40_0_4_load_0 | 0 | 0.0014238 | 0.00035683 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3101-40_0_4_load_1 | 1 | 0.0020625 | 0.0005169 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3101-40_0_4_load_3 | 3 | 0.0028762 | 0.00072084 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3101-40_0_4_load_4 | 4 | 0.0068584 | 0.0017189 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3101-40_0_4_load_6 | 5 | 0.0013056 | 0.00032721 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3101-40_0_4_load_5 | 7 | 0.0037667 | 0.00094402 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3101-40_0_4_load_7 | 9 | 0.0065474 | 0.0016409 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3101-40_0_4_load_9 | 11 | 0.0061166 | 0.001533 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3101-40_0_4_load_10 | 12 | 0.01719 | 0.0043082 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3101-40_0_4_load_11 | 13 | 0.0035407 | 0.00088738 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3101-40_0_4_load_12 | 15 | 0.0030929 | 0.00077515 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3101-40_0_4_load_31 | 16 | 0.0069184 | 0.0017339 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3101-40_0_4_load_13 | 17 | 0.0036912 | 0.0009251 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3101-40_0_4_load_15 | 19 | 0.0046245 | 0.001159 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3101-40_0_4_load_16 | 20 | 0.0038734 | 0.00097075 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3101-40_0_4_load_17 | 21 | 0.0021818 | 0.00054681 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3101-40_0_4_load_37 | 22 | 0.0060486 | 0.0015159 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3101-40_0_4_load_41 | 23 | 0.0016638 | 0.00041698 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3101-40_0_4_load_53 | 24 | 0.010012 | 0.0025093 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3101-40_0_4_load_38 | 25 | 0.0023737 | 0.00059491 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3101-40_0_4_load_42 | 26 | 0.0014433 | 0.00036173 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3101-40_0_4_load_18 | 27 | 0.0095956 | 0.0024049 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3101-40_0_4_load_19 | 28 | 0.0062805 | 0.001574 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3101-40_0_4_load_21 | 30 | 0.0011856 | 0.00029713 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3101-40_0_4_load_23 | 32 | 0.01485 | 0.0037217 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3101-40_0_4_load_28 | 33 | 0.0031631 | 0.00079274 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3101-40_0_4_load_25 | 34 | 0.0011467 | 0.00028738 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3101-40_0_4_load_26 | 36 | 0.011194 | 0.0028055 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3101-40_0_4_load_94 | 37 | 0.012361 | 0.0030979 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3101-40_0_4_load_27 | 38 | 0.0025878 | 0.00064857 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3101-40_0_4_load_32 | 39 | 0.0013741 | 0.00034438 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3101-40_0_4_load_33 | 40 | 0.0032144 | 0.00080561 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3101-40_0_4_load_34 | 41 | 0.0023162 | 0.00058051 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3101-40_0_4_load_35 | 42 | 0.0051499 | 0.0012907 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3101-40_0_4_load_36 | 43 | 0.00051248 | 0.00012844 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3101-40_0_4_load_39 | 44 | 0.00054821 | 0.0001374 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3101-40_0_4_load_40 | 46 | 0.00051126 | 0.00012813 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3101-40_0_4_load_43 | 47 | 0.00055601 | 0.00013935 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3101-40_0_4_load_45 | 48 | 0.0054245 | 0.0013595 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3101-40_0_4_load_46 | 49 | 0.0006201 | 0.00015541 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3101-40_0_4_load_50 | 50 | 0.0047357 | 0.0011869 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3101-40_0_4_load_51 | 51 | 0.0014117 | 0.0003538 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3101-40_0_4_load_47 | 52 | 0.00069036 | 0.00017302 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3101-40_0_4_load_89 | 53 | 0.0023646 | 0.00059263 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3101-40_0_4_load_73 | 54 | 0.00042062 | 0.00010542 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3101-40_0_4_load_74 | 55 | 0.000331 | 8.2957e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3101-40_0_4_load_78 | 57 | 0.00098336 | 0.00024645 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3101-40_0_4_load_48 | 58 | 0.00045421 | 0.00011384 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3101-40_0_4_load_49 | 59 | 0.00083063 | 0.00020817 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3101-40_0_4_load_93 | 61 | 0.00067265 | 0.00016858 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3101-40_0_4_load_52 | 63 | 0.0015988 | 0.0004007 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3101-40_0_4_load_54 | 64 | 0.0014568 | 0.0003651 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3101-40_0_4_load_55 | 65 | 0.0015557 | 0.00038989 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3101-40_0_4_load_56 | 66 | 0.0015701 | 0.0003935 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3101-40_0_4_load_58 | 68 | 0.0048729 | 0.0012213 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3101-40_0_4_load_63 | 70 | 0.0014864 | 0.00037252 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3101-40_0_4_load_68 | 71 | 0.0011682 | 0.00029278 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3101-40_0_4_load_62 | 73 | 0.00068683 | 0.00017214 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3101-40_0_4_load_71 | 74 | 0.0012232 | 0.00030655 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3101-40_0_4_load_72 | 76 | 0.0031512 | 0.00078978 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3101-40_0_4_load_59 | 77 | 0.0011671 | 0.0002925 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3101-40_0_4_load_60 | 78 | 0.0010558 | 0.00026461 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3101-40_0_4_load_81 | 80 | 0.0029644 | 0.00074294 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3101-40_0_4_load_80 | 81 | 0.0024555 | 0.0006154 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3101-40_0_4_load_65 | 82 | 0.0030121 | 0.00075491 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3101-40_0_4_load_88 | 83 | 0.00067694 | 0.00016966 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3101-40_0_4_load_86 | 84 | 0.00063777 | 0.00015984 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3101-40_0_4_load_92 | 85 | 0.0012326 | 0.00030892 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3101-40_0_4_load_76 | 86 | 0.00090645 | 0.00022718 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3101-40_0_4_load_77 | 87 | 0.0012992 | 0.00032562 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3101-40_0_4_load_79 | 88 | 0.0013977 | 0.00035031 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3101-40_0_4_load_87 | 89 | 0.00088655 | 0.00022219 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3101-40_0_4_load_83 | 91 | 0.0028119 | 0.00070473 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3101-40_0_4_load_84 | 93 | 0.00061994 | 0.00015537 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3101-40_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.027394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_3101-40_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.016563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_3101-40_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.018492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_3101-40_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.050664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_3101-40_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.00029712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_3101-40_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.03232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_3101-40_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.015362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_3101-40_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.014195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_3101-40_0_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.028086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_3101-40_0_4_line_9 | NAYY 4x150 SE | 8 | 37 | 0.005169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3101-40_0_4_line_10 | NAYY 4x150 SE | 8 | 35 | 0.036263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_3101-40_0_4_line_11 | NAYY 4x150 SE | 9 | 10 | 0.0069702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_3101-40_0_4_line_12 | NAYY 4x150 SE | 10 | 11 | 0.040956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_3101-40_0_4_line_13 | NAYY 4x150 SE | 10 | 12 | 0.019188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_3101-40_0_4_line_14 | NAYY 4x150 SE | 11 | 13 | 0.0019928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_3101-40_0_4_line_15 | NAYY 4x150 SE | 12 | 14 | 0.036137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_3101-40_0_4_line_16 | NAYY 4x150 SE | 13 | 15 | 0.029391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_3101-40_0_4_line_17 | NAYY 4x150 SE | 14 | 16 | 0.010303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3101-40_0_4_line_18 | NAYY 4x150 SE | 15 | 17 | 0.0075926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_3101-40_0_4_line_19 | NAYY 4x150 SE | 16 | 39 | 0.0089132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3101-40_0_4_line_20 | NAYY 4x150 SE | 17 | 18 | 0.0133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_3101-40_0_4_line_21 | NAYY 4x150 SE | 18 | 19 | 0.028026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3101-40_0_4_line_22 | NAYY 4x150 SE | 18 | 20 | 0.021368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_3101-40_0_4_line_23 | NAYY 4x150 SE | 18 | 21 | 0.03029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3101-40_0_4_line_24 | NAYY 4x150 SE | 19 | 22 | 0.027555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3101-40_0_4_line_25 | NAYY 4x150 SE | 20 | 23 | 0.033192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_3101-40_0_4_line_26 | NAYY 4x150 SE | 21 | 24 | 0.053429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3101-40_0_4_line_27 | NAYY 4x150 SE | 22 | 25 | 0.0076557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3101-40_0_4_line_28 | NAYY 4x150 SE | 23 | 26 | 0.0034208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_3101-40_0_4_line_29 | NAYY 4x150 SE | 25 | 46 | 0.020237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3101-40_0_4_line_30 | NAYY 4x150 SE | 26 | 50 | 0.0044043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_3101-40_0_4_line_31 | NAYY 4x150 SE | 27 | 28 | 0.0039012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_3101-40_0_4_line_32 | NAYY 4x150 SE | 27 | 29 | 0.02552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_3101-40_0_4_line_33 | NAYY 4x150 SE | 28 | 30 | 0.028084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_3101-40_0_4_line_34 | NAYY 4x150 SE | 29 | 31 | 0.024818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_3101-40_0_4_line_35 | NAYY 4x150 SE | 30 | 32 | 0.0087427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_3101-40_0_4_line_36 | NAYY 4x150 SE | 31 | 33 | 0.030479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3101-40_0_4_line_37 | NAYY 4x150 SE | 31 | 34 | 0.0096551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3101-40_0_4_line_38 | NAYY 4x150 SE | 32 | 35 | 0.049063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_3101-40_0_4_line_39 | NAYY 4x150 SE | 34 | 36 | 0.045258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3101-40_0_4_line_40 | NAYY 4x150 SE | 36 | 38 | 0.0097927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3101-40_0_4_line_41 | NAYY 4x150 SE | 39 | 40 | 0.022576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3101-40_0_4_line_42 | NAYY 4x150 SE | 40 | 41 | 0.0063169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3101-40_0_4_line_43 | NAYY 4x150 SE | 41 | 42 | 0.035097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3101-40_0_4_line_44 | NAYY 4x150 SE | 42 | 43 | 0.032811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3101-40_0_4_line_45 | NAYY 4x150 SE | 43 | 44 | 0.020507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3101-40_0_4_line_46 | NAYY 4x150 SE | 44 | 45 | 0.0107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3101-40_0_4_line_47 | NAYY 4x150 SE | 45 | 48 | 0.12612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3101-40_0_4_line_48 | NAYY 4x150 SE | 46 | 47 | 0.015785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3101-40_0_4_line_49 | NAYY 4x150 SE | 47 | 49 | 0.009858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3101-40_0_4_line_50 | NAYY 4x150 SE | 48 | 53 | 0.035816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3101-40_0_4_line_51 | NAYY 4x150 SE | 49 | 52 | 0.014979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3101-40_0_4_line_52 | NAYY 4x150 SE | 50 | 51 | 0.015211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_3101-40_0_4_line_53 | NAYY 4x150 SE | 51 | 63 | 0.012854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3101-40_0_4_line_54 | NAYY 4x150 SE | 52 | 58 | 0.015064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3101-40_0_4_line_55 | NAYY 4x150 SE | 53 | 57 | 0.12151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3101-40_0_4_line_56 | NAYY 4x150 SE | 54 | 55 | 0.13372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3101-40_0_4_line_57 | NAYY 4x150 SE | 54 | 56 | 0.018926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3101-40_0_4_line_58 | NAYY 4x150 SE | 55 | 86 | 0.0082407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3101-40_0_4_line_59 | NAYY 4x150 SE | 56 | 60 | 0.033684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3101-40_0_4_line_60 | NAYY 4x150 SE | 57 | 87 | 0.050576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3101-40_0_4_line_61 | NAYY 4x150 SE | 58 | 59 | 0.0077379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3101-40_0_4_line_62 | NAYY 4x150 SE | 60 | 61 | 0.055034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3101-40_0_4_line_63 | NAYY 4x150 SE | 60 | 62 | 0.094479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3101-40_0_4_line_64 | NAYY 4x150 SE | 62 | 74 | 0.074082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3101-40_0_4_line_65 | NAYY 4x150 SE | 62 | 75 | 0.13282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3101-40_0_4_line_66 | NAYY 4x150 SE | 63 | 64 | 0.0084366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3101-40_0_4_line_67 | NAYY 4x150 SE | 64 | 65 | 0.014116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3101-40_0_4_line_68 | NAYY 4x150 SE | 65 | 66 | 0.0063468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3101-40_0_4_line_69 | NAYY 4x150 SE | 66 | 67 | 0.039027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3101-40_0_4_line_70 | NAYY 4x150 SE | 67 | 68 | 0.056149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3101-40_0_4_line_71 | NAYY 4x150 SE | 68 | 69 | 0.16904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3101-40_0_4_line_72 | NAYY 4x150 SE | 69 | 71 | 0.053204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3101-40_0_4_line_73 | NAYY 4x150 SE | 69 | 72 | 0.12742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3101-40_0_4_line_74 | NAYY 4x150 SE | 70 | 71 | 0.001076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3101-40_0_4_line_75 | NAYY 4x150 SE | 72 | 73 | 0.085759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3101-40_0_4_line_76 | NAYY 4x150 SE | 73 | 79 | 0.086381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3101-40_0_4_line_77 | NAYY 4x150 SE | 74 | 76 | 0.0016392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3101-40_0_4_line_78 | NAYY 4x150 SE | 75 | 85 | 0.05415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3101-40_0_4_line_79 | NAYY 4x150 SE | 77 | 78 | 0.018279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3101-40_0_4_line_80 | NAYY 4x150 SE | 77 | 79 | 0.040192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3101-40_0_4_line_81 | NAYY 4x150 SE | 78 | 80 | 0.17061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3101-40_0_4_line_82 | NAYY 4x150 SE | 80 | 81 | 0.004318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3101-40_0_4_line_83 | NAYY 4x150 SE | 81 | 88 | 0.10148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3101-40_0_4_line_84 | NAYY 4x150 SE | 82 | 83 | 0.0069534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3101-40_0_4_line_85 | NAYY 4x150 SE | 83 | 84 | 0.14288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3101-40_0_4_line_86 | NAYY 4x150 SE | 84 | 89 | 0.10996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3101-40_0_4_line_87 | NAYY 4x150 SE | 86 | 87 | 0.012656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3101-40_0_4_line_88 | NAYY 4x150 SE | 88 | 89 | 0.16192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3101-40_0_4_line_89 | NAYY 4x150 SE | 88 | 90 | 0.16706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3101-40_0_4_line_90 | NAYY 4x150 SE | 90 | 91 | 0.067121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3101-40_0_4_line_91 | NAYY 4x150 SE | 91 | 92 | 0.018722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3101-40_0_4_line_92 | NAYY 4x150 SE | 92 | 93 | 0.036788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3101-40_0_4_trafo_16 | 0.25 MVA 20/0.4 kV | 94 | 20 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2750544.7727 | 1245941.1229 | 2750530.1687 | 1245939.7869 | 2750518.3694 | 1245935.0126
1 | 2750560.8862 | 1245941.3458 | 2750555.7738 | 1245939.9592 | 2750550.1985 | 1245941.6193 | 2750544.7727 | 1245941.1229
2 | 2750518.3694 | 1245935.0126 | 2750502.4254 | 1245928.5611 | 2750501.1906 | 1245928.1805
3 | 2750560.8862 | 1245941.3458 | 2750542.0475 | 1245894.3141
4 | 2750501.1906 | 1245928.1805 | 2750500.9067 | 1245928.0929
5 | 2750530.0299 | 1245864.3115 | 2750542.0475 | 1245894.3141
6 | 2750486.226 | 1245923.5672 | 2750500.9067 | 1245928.0929
7 | 2750530.0299 | 1245864.3115 | 2750523.155 | 1245866.8394 | 2750517.4477 | 1245870.7205
8 | 2750486.226 | 1245923.5672 | 2750470.5796 | 1245918.7438 | 2750459.2486 | 1245915.7787
9 | 2750517.4477 | 1245870.7205 | 2750513.5881 | 1245874.1703
10 | 2750517.4477 | 1245870.7205 | 2750504.9711 | 1245836.6603
11 | 2750452.5054 | 1245914.0142 | 2750459.2486 | 1245915.7787
12 | 2750452.5054 | 1245914.0142 | 2750417.451 | 1245935.1941
13 | 2750452.5054 | 1245914.0142 | 2750434.0275 | 1245908.8433
14 | 2750415.7453 | 1245936.2247 | 2750417.451 | 1245935.1941
15 | 2750399.3963 | 1245898.5303 | 2750421.5598 | 1245905.3544 | 2750434.0275 | 1245908.8433
16 | 2750415.7453 | 1245936.2247 | 2750398.7152 | 1245946.5143 | 2750390.7436 | 1245951.6702
17 | 2750399.3963 | 1245898.5303 | 2750389.4031 | 1245896.0219
18 | 2750390.7436 | 1245951.6702 | 2750384.3682 | 1245955.7937
19 | 2750380.7581 | 1245893.8519 | 2750389.4031 | 1245896.0219
20 | 2750373.201 | 1245963.0165 | 2750384.3682 | 1245955.7937
21 | 2750373.201 | 1245963.0165 | 2750369.267 | 1245952.1286 | 2750363.0175 | 1245946.6983 | 2750355.2903 | 1245944.0454
22 | 2750373.201 | 1245963.0165 | 2750355.2567 | 1245974.6171
23 | 2750373.201 | 1245963.0165 | 2750373.5417 | 1245970.143 | 2750375.969 | 1245979.9361 | 2750378.9699 | 1245988.2757 | 2750381.868 | 1245991.3197
24 | 2750355.2903 | 1245944.0454 | 2750354.0627 | 1245943.624 | 2750341.7568 | 1245942.4331 | 2750328.0261 | 1245944.5526
25 | 2750355.2567 | 1245974.6171 | 2750329.5103 | 1245995.566
26 | 2750433.5131 | 1245999.9366 | 2750416.661 | 1245999.7757 | 2750398.7913 | 1245997.7206 | 2750389.9953 | 1245996.4297 | 2750383.5273 | 1245993.0625 | 2750381.868 | 1245991.3197
27 | 2750328.0261 | 1245944.5526 | 2750320.4601 | 1245945.7206
28 | 2750329.5103 | 1245995.566 | 2750326.8569 | 1245997.725
29 | 2750320.4601 | 1245945.7206 | 2750300.4603 | 1245948.8078
30 | 2750323.4406 | 1246000.5047 | 2750326.8569 | 1245997.725
31 | 2750444.2529 | 1245775.5821 | 2750447.5335 | 1245777.6934
32 | 2750422.7931 | 1245761.7711 | 2750444.2529 | 1245775.5821
33 | 2750471.1492 | 1245792.8919 | 2750447.5335 | 1245777.6934
34 | 2750422.7931 | 1245761.7711 | 2750413.4708 | 1245784.7788
35 | 2750471.1492 | 1245792.8919 | 2750478.501 | 1245797.6234
36 | 2750413.4708 | 1245784.7788 | 2750401.0699 | 1245781.6614 | 2750391.7269 | 1245776.5975 | 2750386.5243 | 1245771.8167
37 | 2750413.4708 | 1245784.7788 | 2750409.8369 | 1245793.724
38 | 2750504.9711 | 1245836.6603 | 2750496.1835 | 1245813.304 | 2750492.4406 | 1245807.1031 | 2750486.9123 | 1245803.0368 | 2750478.501 | 1245797.6234
39 | 2750405.0626 | 1245838.5026 | 2750405.2204 | 1245826.9097 | 2750405.3585 | 1245816.4032 | 2750409.0927 | 1245795.5558 | 2750409.8369 | 1245793.724
40 | 2750405.0626 | 1245838.5026 | 2750404.9294 | 1245848.2944
41 | 2750380.7581 | 1245893.8519 | 2750375.7364 | 1245892.5914 | 2750358.6653 | 1245889.2296
42 | 2750352.4675 | 1245888.009 | 2750358.6653 | 1245889.2296
43 | 2750352.4675 | 1245888.009 | 2750349.8705 | 1245887.4976 | 2750334.7996 | 1245888.0272 | 2750323.4963 | 1245888.43 | 2750317.5506 | 1245889.5976
44 | 2750317.5506 | 1245889.5976 | 2750285.3547 | 1245895.9201
45 | 2750285.3547 | 1245895.9201 | 2750276.9509 | 1245897.5704 | 2750265.0246 | 1245898.2003
46 | 2750255.2408 | 1245894.0281 | 2750264.4317 | 1245898.2316 | 2750265.0246 | 1245898.2003
47 | 2750255.2408 | 1245894.0281 | 2750248.5344 | 1245884.5492 | 2750249.9398 | 1245867.5798 | 2750248.7381 | 1245850.8779 | 2750236.8301 | 1245802.9751 | 2750229.393 | 1245787.7278 | 2750219.2092 | 1245777.5331
48 | 2750300.4603 | 1245948.8078 | 2750292.8712 | 1245949.9792 | 2750285.6077 | 1245953.5776
49 | 2750278.0324 | 1245959.5847 | 2750281.4881 | 1245955.6184 | 2750285.6077 | 1245953.5776
50 | 2750190.7667 | 1245755.8586 | 2750215.4526 | 1245773.7726 | 2750219.2092 | 1245777.5331
51 | 2750278.0324 | 1245959.5847 | 2750273.9985 | 1245964.2146 | 2750271.7644 | 1245972.7654
52 | 2750323.4406 | 1246000.5047 | 2750323.3113 | 1246000.61 | 2750314.7119 | 1246012.9547
53 | 2750314.7119 | 1246012.9547 | 2750312.9959 | 1246015.4182 | 2750308.2657 | 1246024.0603
54 | 2750271.7644 | 1245972.7654 | 2750271.3197 | 1245974.4676 | 2750269.4545 | 1245987.6411
55 | 2750190.7667 | 1245755.8586 | 2750121.208 | 1245855.4854
56 | 2749998.6964 | 1245976.7213 | 2750019.2278 | 1245962.4304 | 2750027.1813 | 1245954.9022 | 2750030.825 | 1245948.3214 | 2750033.1448 | 1245941.1844 | 2750031.9766 | 1245934.4819 | 2750026.7419 | 1245919.4129 | 2750025.3284 | 1245911.6475 | 2750026.5834 | 1245904.4724 | 2750031.5774 | 1245897.4031 | 2750059.8977 | 1245874.9509
57 | 2749989.6919 | 1245992.4343 | 2749991.3643 | 1245985.1919 | 2749994.4518 | 1245979.6758 | 2749998.6964 | 1245976.7213
58 | 2750059.8977 | 1245874.9509 | 2750066.3552 | 1245869.8314
59 | 2749989.6919 | 1245992.4343 | 2749997.226 | 1245996.0949 | 2750003.5113 | 1246001.3144 | 2750008.9213 | 1246009.459 | 2750010.9025 | 1246016.5936
60 | 2750076.2724 | 1245861.9692 | 2750087.0011 | 1245853.4635 | 2750099.6295 | 1245849.09 | 2750115.0121 | 1245850.2804 | 2750121.208 | 1245855.4854
61 | 2750268.3697 | 1245995.3026 | 2750269.4545 | 1245987.6411
62 | 2750064.9974 | 1246007.4644 | 2750040.8214 | 1246009.6771 | 2750023.7891 | 1246012.1598 | 2750014.3051 | 1246014.7557 | 2750010.9025 | 1246016.5936
63 | 2750010.9025 | 1246016.5936 | 2750011.4987 | 1246018.7219 | 2750011.2443 | 1246029.0697 | 2750000.4146 | 1246081.2455 | 2749998.4624 | 1246095.0648 | 2750000.9081 | 1246109.5293
64 | 2750000.9081 | 1246109.5293 | 2749996.7678 | 1246109.1576 | 2749992.4687 | 1246109.983 | 2749987.8234 | 1246113.7358 | 2749985.6599 | 1246120.076 | 2749986.1592 | 1246126.6282 | 2749989.805 | 1246135.7847 | 2749996.3934 | 1246145.1491 | 2750005.2611 | 1246154.0485 | 2750015.4798 | 1246161.1366
65 | 2750000.9081 | 1246109.5293 | 2749868.4277 | 1246099.9713
66 | 2750308.2657 | 1246024.0603 | 2750304.2151 | 1246031.4609
67 | 2750304.2151 | 1246031.4609 | 2750297.4379 | 1246043.8432
68 | 2750297.4379 | 1246043.8432 | 2750294.972 | 1246048.3484 | 2750294.4552 | 1246049.4434
69 | 2750277.7979 | 1246084.7368 | 2750294.4552 | 1246049.4434
70 | 2750277.7979 | 1246084.7368 | 2750267.5356 | 1246105.2075 | 2750256.3861 | 1246125.1996 | 2750248.8666 | 1246132.3249
71 | 2750248.8666 | 1246132.3249 | 2750264.6663 | 1246300.621
72 | 2750264.6663 | 1246300.621 | 2750238.3099 | 1246334.0185 | 2750232.4679 | 1246342.9346
73 | 2750347.5222 | 1246394.7328 | 2750318.5308 | 1246373.7891 | 2750306.0753 | 1246360.95 | 2750293.0348 | 1246345.249 | 2750266.8352 | 1246309.8737 | 2750264.6663 | 1246300.621
74 | 2750231.9827 | 1246343.895 | 2750232.4679 | 1246342.9346 | 2750232.4679 | 1246342.9346
75 | 2750347.5222 | 1246394.7328 | 2750267.5948 | 1246425.8165
76 | 2750194.3288 | 1246470.2456 | 2750217.3951 | 1246450.3219 | 2750258.7666 | 1246429.2498 | 2750267.5948 | 1246425.8165
77 | 2750016.8267 | 1246162.0708 | 2750015.4798 | 1246161.1366
78 | 2749868.4277 | 1246099.9713 | 2749866.1321 | 1246107.3537 | 2749843.1834 | 1246147.7345
79 | 2750177.2338 | 1246505.6843 | 2750175.1485 | 1246509.2193 | 2750172.5843 | 1246515.5605 | 2750170.8593 | 1246522.6899
80 | 2750194.3288 | 1246470.2456 | 2750193.5562 | 1246479.5572 | 2750189.4855 | 1246487.1836 | 2750180.882 | 1246499.4997 | 2750177.2338 | 1246505.6843
81 | 2750011.9768 | 1246460.5213 | 2750170.8593 | 1246522.6899
82 | 2750011.9768 | 1246460.5213 | 2750008.8004 | 1246457.5963
83 | 2749916.8164 | 1246417.8554 | 2749963.4706 | 1246432.3567 | 2749978.863 | 1246437.284 | 2749991.2827 | 1246443.1926 | 2750001.2597 | 1246450.652 | 2750008.8004 | 1246457.5963
84 | 2750008.0864 | 1246743.7089 | 2750010.7316 | 1246750.1396
85 | 2750008.0864 | 1246743.7089 | 2749918.598 | 1246632.319
86 | 2749918.598 | 1246632.319 | 2749912.2344 | 1246625.0005 | 2749861.1973 | 1246575.6192 | 2749837.2248 | 1246558.865
87 | 2750066.3552 | 1245869.8314 | 2750076.2724 | 1245861.9692
88 | 2749916.8164 | 1246417.8554 | 2749837.2248 | 1246558.865
89 | 2749916.8164 | 1246417.8554 | 2749758.3261 | 1246365.0425
90 | 2749758.3261 | 1246365.0425 | 2749751.6516 | 1246373.1373 | 2749727.2573 | 1246403.4947 | 2749717.4737 | 1246417.9837 | 2749717.4426 | 1246418.1836
91 | 2749714.5674 | 1246436.6837 | 2749717.4426 | 1246418.1836
92 | 2749714.5674 | 1246436.6837 | 2749688.4304 | 1246428.038 | 2749679.9569 | 1246424.3084

## bus_geodata
| x | y | coords
0 | 2750544.7727 | 1245941.1229
1 | 2750518.3694 | 1245935.0126
2 | 2750560.8862 | 1245941.3458
3 | 2750501.1906 | 1245928.1805
4 | 2750542.0475 | 1245894.3141
5 | 2750500.9067 | 1245928.0929
6 | 2750530.0299 | 1245864.3115
7 | 2750486.226 | 1245923.5672
8 | 2750517.4477 | 1245870.7205
9 | 2750459.2486 | 1245915.7787
10 | 2750452.5054 | 1245914.0142
11 | 2750417.451 | 1245935.1941
12 | 2750434.0275 | 1245908.8433
13 | 2750415.7453 | 1245936.2247
14 | 2750399.3963 | 1245898.5303
15 | 2750390.7436 | 1245951.6702
16 | 2750389.4031 | 1245896.0219
17 | 2750384.3682 | 1245955.7937
18 | 2750373.201 | 1245963.0165
19 | 2750355.2903 | 1245944.0454
20 | 2750355.2567 | 1245974.6171
21 | 2750381.868 | 1245991.3197
22 | 2750328.0261 | 1245944.5526
23 | 2750329.5103 | 1245995.566
24 | 2750433.5131 | 1245999.9366
25 | 2750320.4601 | 1245945.7206
26 | 2750326.8569 | 1245997.725
27 | 2750444.2529 | 1245775.5821
28 | 2750447.5335 | 1245777.6934
29 | 2750422.7931 | 1245761.7711
30 | 2750471.1492 | 1245792.8919
31 | 2750413.4708 | 1245784.7788
32 | 2750478.501 | 1245797.6234
33 | 2750386.5243 | 1245771.8167
34 | 2750409.8369 | 1245793.724
35 | 2750504.9711 | 1245836.6603
36 | 2750405.0626 | 1245838.5026
37 | 2750513.5881 | 1245874.1703
38 | 2750404.9294 | 1245848.2944
39 | 2750380.7581 | 1245893.8519
40 | 2750358.6653 | 1245889.2296
41 | 2750352.4675 | 1245888.009
42 | 2750317.5506 | 1245889.5976
43 | 2750285.3547 | 1245895.9201
44 | 2750265.0246 | 1245898.2003
45 | 2750255.2408 | 1245894.0281
46 | 2750300.4603 | 1245948.8078
47 | 2750285.6077 | 1245953.5776
48 | 2750219.2092 | 1245777.5331
49 | 2750278.0324 | 1245959.5847
50 | 2750323.4406 | 1246000.5047
51 | 2750314.7119 | 1246012.9547
52 | 2750271.7644 | 1245972.7654
53 | 2750190.7667 | 1245755.8586
54 | 2749998.6964 | 1245976.7213
55 | 2750059.8977 | 1245874.9509
56 | 2749989.6919 | 1245992.4343
57 | 2750121.208 | 1245855.4854
58 | 2750269.4545 | 1245987.6411
59 | 2750268.3697 | 1245995.3026
60 | 2750010.9025 | 1246016.5936
61 | 2750064.9974 | 1246007.4644
62 | 2750000.9081 | 1246109.5293
63 | 2750308.2657 | 1246024.0603
64 | 2750304.2151 | 1246031.4609
65 | 2750297.4379 | 1246043.8432
66 | 2750294.4552 | 1246049.4434
67 | 2750277.7979 | 1246084.7368
68 | 2750248.8666 | 1246132.3249
69 | 2750264.6663 | 1246300.621
70 | 2750231.9827 | 1246343.895
71 | 2750232.4679 | 1246342.9346
72 | 2750347.5222 | 1246394.7328
73 | 2750267.5948 | 1246425.8165
74 | 2750015.4798 | 1246161.1366
75 | 2749868.4277 | 1246099.9713
76 | 2750016.8267 | 1246162.0708
77 | 2750177.2338 | 1246505.6843
78 | 2750170.8593 | 1246522.6899
79 | 2750194.3288 | 1246470.2456
80 | 2750011.9768 | 1246460.5213
81 | 2750008.8004 | 1246457.5963
82 | 2750010.7316 | 1246750.1396
83 | 2750008.0864 | 1246743.7089
84 | 2749918.598 | 1246632.319
85 | 2749843.1834 | 1246147.7345
86 | 2750066.3552 | 1245869.8314
87 | 2750076.2724 | 1245861.9692
88 | 2749916.8164 | 1246417.8554
89 | 2749837.2248 | 1246558.865
90 | 2749758.3261 | 1246365.0425
91 | 2749717.4426 | 1246418.1836
92 | 2749714.5674 | 1246436.6837
93 | 2749679.9569 | 1246424.3084
94 | 2750373.201 | 1245963.0165

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1