## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3102-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3102-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3102-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3102-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3102-4_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3102-4_0_4_node_74 | 0.4 | n |  | TRUE
6 | bus_LV_3102-4_0_4_node_64 | 0.4 | n |  | TRUE
7 | bus_LV_3102-4_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3102-4_0_4_node_78 | 0.4 | n |  | TRUE
9 | bus_LV_3102-4_0_4_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_3102-4_0_4_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_3102-4_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_3102-4_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_3102-4_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3102-4_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3102-4_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_3102-4_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3102-4_0_4_node_79 | 0.4 | n |  | TRUE
18 | bus_LV_3102-4_0_4_node_80 | 0.4 | n |  | TRUE
19 | bus_LV_3102-4_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_3102-4_0_4_node_58 | 0.4 | n |  | TRUE
21 | bus_LV_3102-4_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_3102-4_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_3102-4_0_4_node_81 | 0.4 | n |  | TRUE
24 | bus_LV_3102-4_0_4_node_77 | 0.4 | n |  | TRUE
25 | bus_LV_3102-4_0_4_node_82 | 0.4 | n |  | TRUE
26 | bus_LV_3102-4_0_4_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_3102-4_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_3102-4_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_3102-4_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_3102-4_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_3102-4_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_3102-4_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_3102-4_0_4_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_3102-4_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_3102-4_0_4_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_3102-4_0_4_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_3102-4_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_3102-4_0_4_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_3102-4_0_4_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_3102-4_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_3102-4_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_3102-4_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_3102-4_0_4_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_3102-4_0_4_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_3102-4_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_3102-4_0_4_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_3102-4_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_3102-4_0_4_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_3102-4_0_4_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_3102-4_0_4_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_3102-4_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_3102-4_0_4_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_3102-4_0_4_node_83 | 0.4 | n |  | TRUE
54 | bus_LV_3102-4_0_4_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_3102-4_0_4_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_3102-4_0_4_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_3102-4_0_4_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_3102-4_0_4_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_3102-4_0_4_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_3102-4_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_3102-4_0_4_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_3102-4_0_4_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_3102-4_0_4_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_3102-4_0_4_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_3102-4_0_4_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_3102-4_0_4_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_3102-4_0_4_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_3102-4_0_4_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_3102-4_0_4_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_3102-4_0_4_node_84 | 0.4 | n |  | TRUE
71 | bus_LV_3102-4_0_4_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_3102-4_0_4_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_3102-4_0_4_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_3102-4_0_4_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_3102-4_0_4_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_3102-4_0_4_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_3102-4_0_4_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_3102-4_0_4_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_3102-4_0_4_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_3102-4_0_4_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_3102-4_0_4_node_62 | 0.4 | n |  | TRUE
82 | bus_LV_3102-4_0_4_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_3102-4_0_4_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_3102-4_0_4_node_76 | 0.4 | n |  | TRUE
85 | bus_MV_148_0_node_166 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3102-4_0_4_load_0 | 0 | 0.00045261 | 0.00011343 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3102-4_0_4_load_3 | 3 | 0.0014957 | 0.00037485 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3102-4_0_4_load_4 | 4 | 0.0024188 | 0.00060621 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3102-4_0_4_load_74 | 5 | 0.00037857 | 9.4879e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3102-4_0_4_load_64 | 6 | 0.00050493 | 0.00012655 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3102-4_0_4_load_78 | 8 | 0.00031645 | 7.9309e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3102-4_0_4_load_20 | 9 | 0.0018893 | 0.0004735 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3102-4_0_4_load_6 | 11 | 0.0095919 | 0.002404 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3102-4_0_4_load_7 | 12 | 0.005296 | 0.0013273 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3102-4_0_4_load_9 | 14 | 0.015788 | 0.0039569 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3102-4_0_4_load_80 | 18 | 0.035795 | 0.0089712 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3102-4_0_4_load_14 | 21 | 0.017056 | 0.0042747 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3102-4_0_4_load_13 | 22 | 0.011408 | 0.002859 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3102-4_0_4_load_81 | 23 | 0.012954 | 0.0032465 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3102-4_0_4_load_82 | 25 | 0.02223 | 0.0055714 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3102-4_0_4_load_56 | 26 | 0.0002173 | 5.4461e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3102-4_0_4_load_15 | 27 | 0.0018215 | 0.0004565 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3102-4_0_4_load_16 | 28 | 0.00056739 | 0.0001422 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3102-4_0_4_load_25 | 29 | 0.00037222 | 9.3287e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3102-4_0_4_load_17 | 31 | 0.0015329 | 0.00038419 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3102-4_0_4_load_26 | 34 | 0.0012215 | 0.00030613 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3102-4_0_4_load_52 | 35 | 0.0017608 | 0.00044131 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3102-4_0_4_load_23 | 37 | 0.0014303 | 0.00035846 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3102-4_0_4_load_21 | 38 | 0.0027158 | 0.00068064 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3102-4_0_4_load_27 | 40 | 0.00038208 | 9.5759e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3102-4_0_4_load_28 | 41 | 0.0018189 | 0.00045586 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3102-4_0_4_load_30 | 43 | 0.00070387 | 0.00017641 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3102-4_0_4_load_32 | 46 | 0.0004721 | 0.00011832 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3102-4_0_4_load_33 | 48 | 0.00055599 | 0.00013934 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3102-4_0_4_load_34 | 49 | 0.00050579 | 0.00012676 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3102-4_0_4_load_40 | 51 | 0.0010885 | 0.00027281 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3102-4_0_4_load_37 | 52 | 0.00065977 | 0.00016535 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3102-4_0_4_load_83 | 53 | 0.0015889 | 0.00039821 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3102-4_0_4_load_65 | 54 | 0.0034296 | 0.00085955 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3102-4_0_4_load_53 | 55 | 0.00066062 | 0.00016557 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3102-4_0_4_load_42 | 56 | 0.00087392 | 0.00021903 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3102-4_0_4_load_43 | 58 | 0.0020894 | 0.00052366 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3102-4_0_4_load_45 | 59 | 0.001137 | 0.00028495 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3102-4_0_4_load_46 | 60 | 0.0041351 | 0.0010364 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3102-4_0_4_load_48 | 61 | 0.0067343 | 0.0016878 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3102-4_0_4_load_47 | 62 | 0.0056259 | 0.00141 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3102-4_0_4_load_63 | 64 | 0.00050938 | 0.00012766 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3102-4_0_4_load_51 | 67 | 0.00067518 | 0.00016922 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3102-4_0_4_load_61 | 68 | 0.00031394 | 7.868e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3102-4_0_4_load_59 | 69 | 0.00058064 | 0.00014552 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3102-4_0_4_load_84 | 70 | 0.0010129 | 0.00025387 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3102-4_0_4_load_55 | 72 | 0.0034958 | 0.00087612 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3102-4_0_4_load_60 | 73 | 0.00066408 | 0.00016643 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3102-4_0_4_load_66 | 74 | 0.0014482 | 0.00036294 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3102-4_0_4_load_67 | 75 | 0.0012547 | 0.00031446 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3102-4_0_4_load_70 | 78 | 0.0021327 | 0.0005345 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3102-4_0_4_load_73 | 79 | 0.002805 | 0.000703 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3102-4_0_4_load_71 | 80 | 0.00063644 | 0.00015951 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3102-4_0_4_load_62 | 81 | 0.00046385 | 0.00011625 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3102-4_0_4_load_75 | 83 | 0.0021156 | 0.00053022 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3102-4_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0087011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3102-4_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0030052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3102-4_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.01813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3102-4_0_4_line_3 | NAYY 4x150 SE | 1 | 4 | 0.14429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3102-4_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.26662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3102-4_0_4_line_5 | NAYY 4x150 SE | 4 | 7 | 0.03881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3102-4_0_4_line_6 | NAYY 4x150 SE | 5 | 6 | 0.14852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3102-4_0_4_line_7 | NAYY 4x150 SE | 6 | 64 | 0.026159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3102-4_0_4_line_8 | NAYY 4x150 SE | 6 | 59 | 0.038042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3102-4_0_4_line_9 | NAYY 4x150 SE | 7 | 8 | 0.010715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3102-4_0_4_line_10 | NAYY 4x150 SE | 7 | 9 | 0.15398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3102-4_0_4_line_11 | NAYY 4x150 SE | 9 | 10 | 0.093653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3102-4_0_4_line_12 | NAYY 4x150 SE | 10 | 28 | 0.1937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3102-4_0_4_line_13 | NAYY 4x150 SE | 11 | 12 | 0.0061471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3102-4_0_4_line_14 | NAYY 4x150 SE | 11 | 13 | 0.014222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3102-4_0_4_line_15 | NAYY 4x150 SE | 12 | 14 | 0.0048582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3102-4_0_4_line_16 | NAYY 4x150 SE | 13 | 15 | 0.051965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_3102-4_0_4_line_17 | NAYY 4x150 SE | 13 | 16 | 0.11553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_3102-4_0_4_line_18 | NAYY 4x150 SE | 15 | 17 | 0.037257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3102-4_0_4_line_19 | NAYY 4x150 SE | 15 | 18 | 0.021565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_3102-4_0_4_line_20 | NAYY 4x150 SE | 16 | 21 | 0.012611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3102-4_0_4_line_21 | NAYY 4x150 SE | 16 | 22 | 0.015628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3102-4_0_4_line_22 | NAYY 4x150 SE | 16 | 19 | 0.14011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_3102-4_0_4_line_23 | NAYY 4x150 SE | 17 | 23 | 0.031718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3102-4_0_4_line_24 | NAYY 4x150 SE | 17 | 24 | 0.12491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3102-4_0_4_line_25 | NAYY 4x150 SE | 18 | 25 | 0.17949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_3102-4_0_4_line_26 | NAYY 4x150 SE | 19 | 20 | 0.12603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_3102-4_0_4_line_27 | NAYY 4x150 SE | 20 | 26 | 0.045065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_3102-4_0_4_line_28 | NAYY 4x150 SE | 24 | 84 | 0.069703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3102-4_0_4_line_29 | NAYY 4x150 SE | 26 | 72 | 0.052716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3102-4_0_4_line_30 | NAYY 4x150 SE | 27 | 28 | 0.0069846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3102-4_0_4_line_31 | NAYY 4x150 SE | 29 | 30 | 0.061361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3102-4_0_4_line_32 | NAYY 4x150 SE | 30 | 34 | 0.1271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3102-4_0_4_line_33 | NAYY 4x150 SE | 30 | 39 | 0.056348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3102-4_0_4_line_34 | NAYY 4x150 SE | 31 | 32 | 0.060029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3102-4_0_4_line_35 | NAYY 4x150 SE | 32 | 33 | 0.010393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3102-4_0_4_line_36 | NAYY 4x150 SE | 32 | 34 | 0.01619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3102-4_0_4_line_37 | NAYY 4x150 SE | 33 | 35 | 0.013569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3102-4_0_4_line_38 | NAYY 4x150 SE | 33 | 36 | 0.004654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3102-4_0_4_line_39 | NAYY 4x150 SE | 35 | 55 | 0.020127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3102-4_0_4_line_40 | NAYY 4x150 SE | 36 | 52 | 0.011133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3102-4_0_4_line_41 | NAYY 4x150 SE | 37 | 38 | 0.020368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3102-4_0_4_line_42 | NAYY 4x150 SE | 38 | 39 | 0.038843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3102-4_0_4_line_43 | NAYY 4x150 SE | 40 | 41 | 0.017487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3102-4_0_4_line_44 | NAYY 4x150 SE | 40 | 42 | 0.012145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3102-4_0_4_line_45 | NAYY 4x150 SE | 41 | 43 | 0.037656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3102-4_0_4_line_46 | NAYY 4x150 SE | 42 | 44 | 0.010363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3102-4_0_4_line_47 | NAYY 4x150 SE | 43 | 45 | 0.032439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3102-4_0_4_line_48 | NAYY 4x150 SE | 44 | 46 | 0.012113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3102-4_0_4_line_49 | NAYY 4x150 SE | 45 | 47 | 0.079922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3102-4_0_4_line_50 | NAYY 4x150 SE | 46 | 48 | 0.098308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3102-4_0_4_line_51 | NAYY 4x150 SE | 47 | 53 | 0.017031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3102-4_0_4_line_52 | NAYY 4x150 SE | 48 | 49 | 0.012964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3102-4_0_4_line_53 | NAYY 4x150 SE | 49 | 50 | 0.0039377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3102-4_0_4_line_54 | NAYY 4x150 SE | 50 | 51 | 0.040355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3102-4_0_4_line_55 | NAYY 4x150 SE | 50 | 52 | 0.052706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3102-4_0_4_line_56 | NAYY 4x150 SE | 51 | 54 | 0.024417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3102-4_0_4_line_57 | NAYY 4x150 SE | 55 | 67 | 0.016679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3102-4_0_4_line_58 | NAYY 4x150 SE | 56 | 57 | 0.0053288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3102-4_0_4_line_59 | NAYY 4x150 SE | 57 | 60 | 0.02328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3102-4_0_4_line_60 | NAYY 4x150 SE | 58 | 59 | 0.01516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3102-4_0_4_line_61 | NAYY 4x150 SE | 60 | 61 | 0.0057312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3102-4_0_4_line_62 | NAYY 4x150 SE | 61 | 65 | 0.027093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3102-4_0_4_line_63 | NAYY 4x150 SE | 62 | 63 | 0.033967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3102-4_0_4_line_64 | NAYY 4x150 SE | 63 | 66 | 0.022015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3102-4_0_4_line_65 | NAYY 4x150 SE | 63 | 65 | 0.039457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3102-4_0_4_line_66 | NAYY 4x150 SE | 64 | 81 | 0.023129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3102-4_0_4_line_67 | NAYY 4x150 SE | 65 | 67 | 0.015239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3102-4_0_4_line_68 | NAYY 4x150 SE | 66 | 68 | 0.018901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3102-4_0_4_line_69 | NAYY 4x150 SE | 66 | 69 | 0.027084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3102-4_0_4_line_70 | NAYY 4x150 SE | 68 | 70 | 0.11714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3102-4_0_4_line_71 | NAYY 4x150 SE | 69 | 71 | 0.01829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3102-4_0_4_line_72 | NAYY 4x150 SE | 70 | 82 | 0.03708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3102-4_0_4_line_73 | NAYY 4x150 SE | 71 | 73 | 0.024486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3102-4_0_4_line_74 | NAYY 4x150 SE | 71 | 72 | 0.030211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3102-4_0_4_line_75 | NAYY 4x150 SE | 73 | 81 | 0.037857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3102-4_0_4_line_76 | NAYY 4x150 SE | 74 | 75 | 0.012657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3102-4_0_4_line_77 | NAYY 4x150 SE | 74 | 76 | 0.010185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3102-4_0_4_line_78 | NAYY 4x150 SE | 75 | 77 | 0.011749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3102-4_0_4_line_79 | NAYY 4x150 SE | 76 | 78 | 0.01435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3102-4_0_4_line_80 | NAYY 4x150 SE | 77 | 82 | 0.00579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3102-4_0_4_line_81 | NAYY 4x150 SE | 77 | 80 | 0.018018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3102-4_0_4_line_82 | NAYY 4x150 SE | 78 | 79 | 0.0072726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3102-4_0_4_line_83 | NAYY 4x150 SE | 83 | 84 | 0.015501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3102-4_0_4_trafo_11 | 0.25 MVA 20/0.4 kV | 85 | 19 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2744792.3802 | 1243495.1045 | 2744787.4971 | 1243499.6784 | 2744785.8387 | 1243500.8148
1 | 2744783.3597 | 1243502.5134 | 2744785.8387 | 1243500.8148
2 | 2744792.3802 | 1243495.1045 | 2744790.4904 | 1243490.7432 | 2744785.2125 | 1243478.4512
3 | 2744870.9711 | 1243412.9913 | 2744864.3116 | 1243479.4234 | 2744861.5888 | 1243483.7832 | 2744853.6535 | 1243490.7181 | 2744843.5215 | 1243494.4075 | 2744832.49 | 1243495.9174 | 2744814.6397 | 1243495.4925 | 2744792.3802 | 1243495.1045
4 | 2744577.8489 | 1243672.373 | 2744783.3597 | 1243502.5134
5 | 2744870.9711 | 1243412.9913 | 2744907.2164 | 1243427.145
6 | 2744523.495 | 1243810.5849 | 2744577.8489 | 1243672.373
7 | 2744523.495 | 1243810.5849 | 2744521.6412 | 1243815.2885 | 2744512.6935 | 1243834.4014
8 | 2744555.921 | 1243822.2519 | 2744537.768 | 1243808.8309 | 2744533.3852 | 1243807.1671 | 2744527.8598 | 1243807.7108 | 2744523.495 | 1243810.5849 | 2744523.495 | 1243810.5849
9 | 2744911.0604 | 1243417.1407 | 2744908.1447 | 1243424.7432 | 2744907.2164 | 1243427.145
10 | 2744907.2164 | 1243427.145 | 2745005.8249 | 1243545.4075
11 | 2745083.9034 | 1243597.4197 | 2745063.1029 | 1243582.8421 | 2745047.4662 | 1243573.2399 | 2745023.19 | 1243556.3865 | 2745005.8249 | 1243545.4075
12 | 2744910.3443 | 1243683.4304 | 2745083.9034 | 1243597.4197
13 | 2744153.9144 | 1243748.5485 | 2744151.8119 | 1243751.3666 | 2744151.4386 | 1243753.9711
14 | 2744162.7333 | 1243761.8194 | 2744157.9361 | 1243759.7787 | 2744153.1792 | 1243757.0162 | 2744151.4386 | 1243753.9711 | 2744151.4386 | 1243753.9711
15 | 2744158.0519 | 1243746.0022 | 2744153.9144 | 1243748.5485
16 | 2744162.7333 | 1243761.8194 | 2744153.6749 | 1243768.3498 | 2744146.2224 | 1243773.8293 | 2744130.0595 | 1243781.7885 | 2744117.1721 | 1243786.2685
17 | 2744162.7333 | 1243761.8194 | 2744182.5711 | 1243745.1527 | 2744195.3807 | 1243733.9314 | 2744202.5486 | 1243726.4765 | 2744216.9943 | 1243708.9226 | 2744219.4094 | 1243706.0008 | 2744215.1476 | 1243701.5375 | 2744198.7923 | 1243715.8421 | 2744195.2979 | 1243718.0592 | 2744191.764 | 1243719.1077
18 | 2744117.1721 | 1243786.2685 | 2744081.3398 | 1243796.8302
19 | 2744117.1721 | 1243786.2685 | 2744116.3647 | 1243792.1098 | 2744105.5555 | 1243803.4799
20 | 2744191.764 | 1243719.1077 | 2744185.9584 | 1243718.7329 | 2744182.4793 | 1243718.1478 | 2744179.5365 | 1243716.6527
21 | 2744191.764 | 1243719.1077 | 2744186.8263 | 1243720.3555 | 2744182.1551 | 1243720.5978 | 2744176.3037 | 1243720.3374
22 | 2744191.764 | 1243719.1077 | 2744195.2979 | 1243718.0592 | 2744198.7923 | 1243715.8421 | 2744215.1476 | 1243701.5375 | 2744219.4094 | 1243706.0008 | 2744246.2703 | 1243729.1862 | 2744254.7867 | 1243736.5445 | 2744281.4249 | 1243758.9239 | 2744298.2735 | 1243774.37
23 | 2744060.6866 | 1243772.7065 | 2744067.0611 | 1243780.157 | 2744070.083 | 1243783.6892 | 2744081.3398 | 1243796.8302
24 | 2743965.0885 | 1243842.8175 | 2744004.5001 | 1243824.646 | 2744065.1572 | 1243800.941 | 2744081.3398 | 1243796.8302
25 | 2744105.5555 | 1243803.4799 | 2744126.0133 | 1243981.7967
26 | 2744298.2735 | 1243774.37 | 2744342.3611 | 1243814.8241 | 2744354.5717 | 1243826.3429 | 2744390.6485 | 1243860.3966
27 | 2744390.6485 | 1243860.3966 | 2744411.8605 | 1243875.7937 | 2744429.0961 | 1243883.4347
28 | 2743965.0885 | 1243842.8175 | 2743937.9422 | 1243855.3482 | 2743902.1039 | 1243873.0396
29 | 2744478.4354 | 1243901.9921 | 2744450.1255 | 1243891.3839 | 2744430.1499 | 1243883.9019 | 2744429.0961 | 1243883.4347
30 | 2744907.769 | 1243689.1184 | 2744909.0156 | 1243683.6147 | 2744910.3443 | 1243683.4304
31 | 2744818.517 | 1244007.5157 | 2744826.9124 | 1243990.3825 | 2744840.2483 | 1243967.865 | 2744848.6498 | 1243954.1177
32 | 2744818.517 | 1244007.5157 | 2744722.858 | 1243973.9617 | 2744697.993 | 1243967.3688
33 | 2744871.8868 | 1244025.5908 | 2744846.188 | 1244016.8887 | 2744818.517 | 1244007.5157
34 | 2744682.3436 | 1243963.2193 | 2744685.0373 | 1243945.4797 | 2744684.751 | 1243928.09 | 2744685.6346 | 1243912.6417 | 2744686.6358 | 1243903.4754
35 | 2744672.2694 | 1243960.549 | 2744682.3436 | 1243963.2193
36 | 2744682.3436 | 1243963.2193 | 2744697.993 | 1243967.3688
37 | 2744672.2694 | 1243960.549 | 2744659.0691 | 1243957.4072
38 | 2744672.2694 | 1243960.549 | 2744670.6207 | 1243964.9017
39 | 2744659.0691 | 1243957.4072 | 2744639.4895 | 1243952.747
40 | 2744670.6207 | 1243964.9017 | 2744666.6662 | 1243975.3089
41 | 2744885.9868 | 1243968.1042 | 2744881.7441 | 1243988.0249
42 | 2744871.8868 | 1244025.5908 | 2744880.8193 | 1243992.3671 | 2744881.7441 | 1243988.0249
43 | 2744648.3367 | 1244163.0483 | 2744659.9869 | 1244165.1719 | 2744665.3597 | 1244166.9046
44 | 2744636.3888 | 1244160.8704 | 2744648.3367 | 1244163.0483
45 | 2744665.3597 | 1244166.9046 | 2744671.142 | 1244168.7695 | 2744700.3705 | 1244180.7295
46 | 2744636.3888 | 1244160.8704 | 2744636.634 | 1244150.5113
47 | 2744730.3936 | 1244193.0147 | 2744700.3705 | 1244180.7295
48 | 2744636.634 | 1244150.5113 | 2744638.0906 | 1244138.4865
49 | 2744730.3936 | 1244193.0147 | 2744733.1917 | 1244182.1507 | 2744746.6604 | 1244182.6464 | 2744755.0865 | 1244180.6501 | 2744790.6077 | 1244170.096 | 2744799.9103 | 1244168.1212
50 | 2744638.0906 | 1244138.4865 | 2744639.91 | 1244123.4661 | 2744640.3609 | 1244105.9165 | 2744638.9116 | 1244083.8163 | 2744638.9354 | 1244074.7863 | 2744641.9166 | 1244053.0055 | 2744644.0259 | 1244040.7245
51 | 2744799.9103 | 1244168.1212 | 2744802.8423 | 1244156.115 | 2744805.5292 | 1244152.2881
52 | 2744644.0259 | 1244040.7245 | 2744646.2205 | 1244027.9474
53 | 2744646.8871 | 1244024.0666 | 2744646.2205 | 1244027.9474
54 | 2744646.8871 | 1244024.0666 | 2744648.8141 | 1244025.6595 | 2744652.335 | 1244028.548 | 2744663.9215 | 1244039.574 | 2744676.3602 | 1244051.6071
55 | 2744646.8871 | 1244024.0666 | 2744650.5537 | 1244012.0004 | 2744653.642 | 1244004.1128 | 2744661.6797 | 1243987.0597 | 2744664.7547 | 1243980.3396 | 2744666.6662 | 1243975.3089
56 | 2744695.1013 | 1244067.2043 | 2744682.2844 | 1244057.3382 | 2744676.3602 | 1244051.6071
57 | 2744623.2638 | 1243948.8851 | 2744639.4895 | 1243952.747
58 | 2744618.5714 | 1243890.1749 | 2744619.534 | 1243884.9338
59 | 2744618.5714 | 1243890.1749 | 2744614.3672 | 1243913.072
60 | 2744568.1112 | 1243831.2644 | 2744555.921 | 1243822.2519
61 | 2744613.3321 | 1243918.7089 | 2744614.3672 | 1243913.072
62 | 2744608.4392 | 1243945.3567 | 2744613.3321 | 1243918.7089
63 | 2744570.1919 | 1243935.2709 | 2744579.9825 | 1243902.7457
64 | 2744549.0141 | 1243929.0381 | 2744570.1919 | 1243935.2709
65 | 2744608.4392 | 1243945.3567 | 2744587.1955 | 1243940.2788 | 2744570.1919 | 1243935.2709
66 | 2744512.6935 | 1243834.4014 | 2744504.1646 | 1243852.6195 | 2744503.4866 | 1243855.5559
67 | 2744608.4392 | 1243945.3567 | 2744623.2638 | 1243948.8851
68 | 2744549.0141 | 1243929.0381 | 2744542.1877 | 1243942.9402 | 2744540.8782 | 1243946.1001
69 | 2744549.0141 | 1243929.0381 | 2744523.7718 | 1243919.2219
70 | 2744540.8782 | 1243946.1001 | 2744465.3614 | 1244035.6436
71 | 2744506.7252 | 1243912.5928 | 2744523.7718 | 1243919.2219
72 | 2744430.1268 | 1244047.152 | 2744434.5637 | 1244044.7244 | 2744460.1829 | 1244037.4747 | 2744465.3614 | 1244035.6436
73 | 2744506.7252 | 1243912.5928 | 2744514.8219 | 1243892.794 | 2744514.7427 | 1243889.6996
74 | 2744506.7252 | 1243912.5928 | 2744478.4354 | 1243901.9921
75 | 2744514.7427 | 1243889.6996 | 2744514.6205 | 1243884.9262 | 2744511.8525 | 1243877.1961 | 2744505.1308 | 1243869.7478 | 2744502.178 | 1243861.2235 | 2744503.4866 | 1243855.5559
76 | 2744401.098 | 1244039.4939 | 2744401.098 | 1244039.4939 | 2744413.3613 | 1244041.9947 | 2744413.5 | 1244042.0238
77 | 2744391.9023 | 1244042.6619 | 2744396.2572 | 1244039.565 | 2744401.098 | 1244039.4939
78 | 2744424.9986 | 1244044.4357 | 2744413.5 | 1244042.0238
79 | 2744391.9023 | 1244042.6619 | 2744390.8209 | 1244046.706 | 2744390.7995 | 1244051.6211 | 2744393.7877 | 1244055.9363
80 | 2744430.1268 | 1244047.152 | 2744424.9986 | 1244044.4357
81 | 2744424.9986 | 1244044.4357 | 2744429.0781 | 1244026.8855
82 | 2744397.9282 | 1244061.9152 | 2744393.7877 | 1244055.9363
83 | 2743902.1039 | 1243873.0396 | 2743886.7046 | 1243871.2691

## bus_geodata
| x | y | coords
0 | 2744785.8387 | 1243500.8148
1 | 2744792.3802 | 1243495.1045
2 | 2744783.3597 | 1243502.5134
3 | 2744785.2125 | 1243478.4512
4 | 2744870.9711 | 1243412.9913
5 | 2744577.8489 | 1243672.373
6 | 2744523.495 | 1243810.5849
7 | 2744907.2164 | 1243427.145
8 | 2744911.0604 | 1243417.1407
9 | 2745005.8249 | 1243545.4075
10 | 2745083.9034 | 1243597.4197
11 | 2744151.4386 | 1243753.9711
12 | 2744153.9144 | 1243748.5485
13 | 2744162.7333 | 1243761.8194
14 | 2744158.0519 | 1243746.0022
15 | 2744117.1721 | 1243786.2684
16 | 2744191.764 | 1243719.1077
17 | 2744081.3398 | 1243796.8302
18 | 2744105.5555 | 1243803.4799
19 | 2744298.2735 | 1243774.37
20 | 2744390.6485 | 1243860.3966
21 | 2744179.5365 | 1243716.6527
22 | 2744176.3037 | 1243720.3374
23 | 2744060.6866 | 1243772.7065
24 | 2743965.0885 | 1243842.8175
25 | 2744126.0133 | 1243981.7967
26 | 2744429.0961 | 1243883.4347
27 | 2744907.769 | 1243689.1184
28 | 2744910.3443 | 1243683.4304
29 | 2744848.6498 | 1243954.1177
30 | 2744818.517 | 1244007.5157
31 | 2744686.6358 | 1243903.4754
32 | 2744682.3436 | 1243963.2193
33 | 2744672.2694 | 1243960.549
34 | 2744697.993 | 1243967.3688
35 | 2744659.0691 | 1243957.4072
36 | 2744670.6207 | 1243964.9017
37 | 2744885.9868 | 1243968.1042
38 | 2744881.7441 | 1243988.0249
39 | 2744871.8868 | 1244025.5908
40 | 2744648.3367 | 1244163.0483
41 | 2744665.3597 | 1244166.9046
42 | 2744636.3888 | 1244160.8704
43 | 2744700.3705 | 1244180.7295
44 | 2744636.634 | 1244150.5113
45 | 2744730.3936 | 1244193.0147
46 | 2744638.0906 | 1244138.4865
47 | 2744799.9103 | 1244168.1212
48 | 2744644.0259 | 1244040.7245
49 | 2744646.2205 | 1244027.9474
50 | 2744646.8871 | 1244024.0666
51 | 2744676.3602 | 1244051.6071
52 | 2744666.6662 | 1243975.3089
53 | 2744805.5292 | 1244152.2881
54 | 2744695.1013 | 1244067.2043
55 | 2744639.4895 | 1243952.747
56 | 2744619.534 | 1243884.9338
57 | 2744618.5714 | 1243890.1749
58 | 2744568.1112 | 1243831.2644
59 | 2744555.921 | 1243822.2519
60 | 2744614.3672 | 1243913.072
61 | 2744613.3321 | 1243918.7089
62 | 2744579.9825 | 1243902.7457
63 | 2744570.1919 | 1243935.2709
64 | 2744512.6935 | 1243834.4014
65 | 2744608.4392 | 1243945.3567
66 | 2744549.0141 | 1243929.0381
67 | 2744623.2638 | 1243948.8851
68 | 2744540.8782 | 1243946.1001
69 | 2744523.7718 | 1243919.2219
70 | 2744465.3614 | 1244035.6436
71 | 2744506.7252 | 1243912.5928
72 | 2744478.4354 | 1243901.9921
73 | 2744514.7427 | 1243889.6996
74 | 2744401.098 | 1244039.4939
75 | 2744413.5 | 1244042.0238
76 | 2744391.9023 | 1244042.6619
77 | 2744424.9986 | 1244044.4357
78 | 2744393.7877 | 1244055.9363
79 | 2744397.9282 | 1244061.9152
80 | 2744429.0781 | 1244026.8855
81 | 2744503.4866 | 1243855.5559
82 | 2744430.1268 | 1244047.152
83 | 2743886.7046 | 1243871.2691
84 | 2743902.1039 | 1243873.0396
85 | 2744390.6485 | 1243860.3966

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1