## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3103-2_3_2_node_45 | 0.4 | n |  | TRUE
1 | bus_LV_3103-2_3_2_node_46 | 0.4 | n |  | TRUE
2 | bus_LV_3103-2_3_2_node_47 | 0.4 | n |  | TRUE
3 | bus_LV_3103-2_3_2_node_48 | 0.4 | n |  | TRUE
4 | bus_LV_3103-2_3_2_node_49 | 0.4 | n |  | TRUE
5 | bus_LV_3103-2_3_2_node_50 | 0.4 | n |  | TRUE
6 | bus_LV_3103-2_3_2_node_58 | 0.4 | n |  | TRUE
7 | bus_LV_3103-2_3_2_node_51 | 0.4 | n |  | TRUE
8 | bus_LV_3103-2_3_2_node_53 | 0.4 | n |  | TRUE
9 | bus_LV_3103-2_3_2_node_54 | 0.4 | n |  | TRUE
10 | bus_LV_3103-2_3_2_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_3103-2_3_2_node_57 | 0.4 | n |  | TRUE
12 | bus_LV_3103-2_3_2_node_56 | 0.4 | n |  | TRUE
13 | bus_LV_3103-2_3_2_node_111 | 0.4 | n |  | TRUE
14 | bus_LV_3103-2_3_2_node_120 | 0.4 | n |  | TRUE
15 | bus_LV_3103-2_3_2_node_163 | 0.4 | n |  | TRUE
16 | bus_LV_3103-2_3_2_node_59 | 0.4 | n |  | TRUE
17 | bus_LV_3103-2_3_2_node_141 | 0.4 | n |  | TRUE
18 | bus_LV_3103-2_3_2_node_89 | 0.4 | n |  | TRUE
19 | bus_LV_3103-2_3_2_node_90 | 0.4 | n |  | TRUE
20 | bus_LV_3103-2_3_2_node_91 | 0.4 | n |  | TRUE
21 | bus_LV_3103-2_3_2_node_92 | 0.4 | n |  | TRUE
22 | bus_LV_3103-2_3_2_node_118 | 0.4 | n |  | TRUE
23 | bus_LV_3103-2_3_2_node_113 | 0.4 | n |  | TRUE
24 | bus_LV_3103-2_3_2_node_169 | 0.4 | n |  | TRUE
25 | bus_LV_3103-2_3_2_node_119 | 0.4 | n |  | TRUE
26 | bus_LV_3103-2_3_2_node_121 | 0.4 | n |  | TRUE
27 | bus_LV_3103-2_3_2_node_122 | 0.4 | n |  | TRUE
28 | bus_LV_3103-2_3_2_node_123 | 0.4 | n |  | TRUE
29 | bus_LV_3103-2_3_2_node_167 | 0.4 | n |  | TRUE
30 | bus_LV_3103-2_3_2_node_168 | 0.4 | n |  | TRUE
31 | bus_LV_3103-2_3_2_node_124 | 0.4 | n |  | TRUE
32 | bus_LV_3103-2_3_2_node_125 | 0.4 | n |  | TRUE
33 | bus_LV_3103-2_3_2_node_126 | 0.4 | n |  | TRUE
34 | bus_LV_3103-2_3_2_node_127 | 0.4 | n |  | TRUE
35 | bus_LV_3103-2_3_2_node_129 | 0.4 | n |  | TRUE
36 | bus_LV_3103-2_3_2_node_128 | 0.4 | n |  | TRUE
37 | bus_LV_3103-2_3_2_node_231 | 0.4 | n |  | TRUE
38 | bus_LV_3103-2_3_2_node_232 | 0.4 | n |  | TRUE
39 | bus_LV_3103-2_3_2_node_171 | 0.4 | n |  | TRUE
40 | bus_LV_3103-2_3_2_node_130 | 0.4 | n |  | TRUE
41 | bus_LV_3103-2_3_2_node_131 | 0.4 | n |  | TRUE
42 | bus_LV_3103-2_3_2_node_132 | 0.4 | n |  | TRUE
43 | bus_LV_3103-2_3_2_node_133 | 0.4 | n |  | TRUE
44 | bus_LV_3103-2_3_2_node_134 | 0.4 | n |  | TRUE
45 | bus_LV_3103-2_3_2_node_136 | 0.4 | n |  | TRUE
46 | bus_LV_3103-2_3_2_node_135 | 0.4 | n |  | TRUE
47 | bus_LV_3103-2_3_2_node_137 | 0.4 | n |  | TRUE
48 | bus_LV_3103-2_3_2_node_138 | 0.4 | n |  | TRUE
49 | bus_LV_3103-2_3_2_node_139 | 0.4 | n |  | TRUE
50 | bus_LV_3103-2_3_2_node_140 | 0.4 | n |  | TRUE
51 | bus_LV_3103-2_3_2_node_145 | 0.4 | n |  | TRUE
52 | bus_LV_3103-2_3_2_node_142 | 0.4 | n |  | TRUE
53 | bus_LV_3103-2_3_2_node_160 | 0.4 | n |  | TRUE
54 | bus_LV_3103-2_3_2_node_153 | 0.4 | n |  | TRUE
55 | bus_LV_3103-2_3_2_node_143 | 0.4 | n |  | TRUE
56 | bus_LV_3103-2_3_2_node_144 | 0.4 | n |  | TRUE
57 | bus_LV_3103-2_3_2_node_146 | 0.4 | n |  | TRUE
58 | bus_LV_3103-2_3_2_node_158 | 0.4 | n |  | TRUE
59 | bus_LV_3103-2_3_2_node_147 | 0.4 | n |  | TRUE
60 | bus_LV_3103-2_3_2_node_148 | 0.4 | n |  | TRUE
61 | bus_LV_3103-2_3_2_node_149 | 0.4 | n |  | TRUE
62 | bus_LV_3103-2_3_2_node_150 | 0.4 | n |  | TRUE
63 | bus_LV_3103-2_3_2_node_151 | 0.4 | n |  | TRUE
64 | bus_LV_3103-2_3_2_node_152 | 0.4 | n |  | TRUE
65 | bus_LV_3103-2_3_2_node_154 | 0.4 | n |  | TRUE
66 | bus_LV_3103-2_3_2_node_155 | 0.4 | n |  | TRUE
67 | bus_LV_3103-2_3_2_node_156 | 0.4 | n |  | TRUE
68 | bus_LV_3103-2_3_2_node_157 | 0.4 | n |  | TRUE
69 | bus_LV_3103-2_3_2_node_159 | 0.4 | n |  | TRUE
70 | bus_LV_3103-2_3_2_node_161 | 0.4 | n |  | TRUE
71 | bus_LV_3103-2_3_2_node_162 | 0.4 | n |  | TRUE
72 | bus_LV_3103-2_3_2_node_166 | 0.4 | n |  | TRUE
73 | bus_LV_3103-2_3_2_node_164 | 0.4 | n |  | TRUE
74 | bus_LV_3103-2_3_2_node_165 | 0.4 | n |  | TRUE
75 | bus_LV_3103-2_3_2_node_170 | 0.4 | n |  | TRUE
76 | bus_MV_0_node_145 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3103-2_3_2_load_45 | 0 | 0.00089487 | 0.00022428 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3103-2_3_2_load_49 | 4 | 0.0013439 | 0.00033682 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3103-2_3_2_load_50 | 5 | 0.00047353 | 0.00011868 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3103-2_3_2_load_58 | 6 | 0.0020524 | 0.00051439 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3103-2_3_2_load_51 | 7 | 0.0016756 | 0.00041996 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3103-2_3_2_load_53 | 8 | 0.001789 | 0.00044836 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3103-2_3_2_load_54 | 9 | 0.00045147 | 0.00011315 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3103-2_3_2_load_57 | 11 | 0.00076501 | 0.00019173 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3103-2_3_2_load_120 | 14 | 0.00033061 | 8.2859e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3103-2_3_2_load_89 | 18 | 0.00084031 | 0.0002106 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3103-2_3_2_load_90 | 19 | 0.00020915 | 5.2418e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3103-2_3_2_load_92 | 21 | 0.00038016 | 9.5278e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3103-2_3_2_load_118 | 22 | 0.0003674 | 9.2079e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3103-2_3_2_load_113 | 23 | 0.0020796 | 0.0005212 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3103-2_3_2_load_169 | 24 | 0.0015038 | 0.00037688 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3103-2_3_2_load_119 | 25 | 0.00061128 | 0.0001532 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3103-2_3_2_load_122 | 27 | 0.00062861 | 0.00015755 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3103-2_3_2_load_123 | 28 | 0.0006023 | 0.00015095 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3103-2_3_2_load_167 | 29 | 0.00071445 | 0.00017906 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3103-2_3_2_load_168 | 30 | 0.0004478 | 0.00011223 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3103-2_3_2_load_124 | 31 | 0.00030697 | 7.6933e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3103-2_3_2_load_125 | 32 | 0.00043217 | 0.00010831 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3103-2_3_2_load_127 | 34 | 0.00031439 | 7.8793e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3103-2_3_2_load_231 | 37 | 0.0017561 | 0.00044012 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3103-2_3_2_load_232 | 38 | 0.0014438 | 0.00036184 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3103-2_3_2_load_171 | 39 | 0.00026278 | 6.5858e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3103-2_3_2_load_130 | 40 | 0.00038981 | 9.7696e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3103-2_3_2_load_132 | 42 | 0.00099467 | 0.00024929 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3103-2_3_2_load_134 | 44 | 0.0006044 | 0.00015148 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3103-2_3_2_load_136 | 45 | 0.0003037 | 7.6114e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3103-2_3_2_load_135 | 46 | 0.00062714 | 0.00015718 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3103-2_3_2_load_137 | 47 | 0.00035353 | 8.8603e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3103-2_3_2_load_140 | 50 | 0.00077578 | 0.00019443 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3103-2_3_2_load_145 | 51 | 0.00093104 | 0.00023334 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3103-2_3_2_load_142 | 52 | 0.00056933 | 0.00014269 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3103-2_3_2_load_160 | 53 | 0.00064422 | 0.00016146 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3103-2_3_2_load_153 | 54 | 0.00065979 | 0.00016536 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3103-2_3_2_load_143 | 55 | 0.00058352 | 0.00014624 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3103-2_3_2_load_144 | 56 | 0.00092252 | 0.0002312 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3103-2_3_2_load_146 | 57 | 0.00082352 | 0.00020639 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3103-2_3_2_load_158 | 58 | 0.00091444 | 0.00022918 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3103-2_3_2_load_147 | 59 | 0.0008171 | 0.00020478 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3103-2_3_2_load_148 | 60 | 0.00075029 | 0.00018804 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3103-2_3_2_load_149 | 61 | 0.0013202 | 0.00033087 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3103-2_3_2_load_150 | 62 | 0.0010536 | 0.00026407 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3103-2_3_2_load_151 | 63 | 0.00064202 | 0.00016091 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3103-2_3_2_load_152 | 64 | 0.0010388 | 0.00026036 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3103-2_3_2_load_154 | 65 | 0.00078962 | 0.0001979 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3103-2_3_2_load_155 | 66 | 0.00057241 | 0.00014346 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3103-2_3_2_load_156 | 67 | 0.00057515 | 0.00014415 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3103-2_3_2_load_157 | 68 | 0.00055786 | 0.00013981 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3103-2_3_2_load_159 | 69 | 0.00057391 | 0.00014383 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3103-2_3_2_load_162 | 71 | 0.00094271 | 0.00023626 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3103-2_3_2_load_166 | 72 | 0.00065531 | 0.00016424 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3103-2_3_2_load_164 | 73 | 0.00046801 | 0.00011729 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3103-2_3_2_load_165 | 74 | 0.00044118 | 0.00011057 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3103-2_3_2_load_170 | 75 | 0.00028205 | 7.0688e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3103-2_3_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.029718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3103-2_3_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.019323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3103-2_3_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.29556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3103-2_3_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.044239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3103-2_3_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.015214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3103-2_3_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.36836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3103-2_3_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0045329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3103-2_3_2_line_7 | NAYY 4x150 SE | 6 | 16 | 0.037389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3103-2_3_2_line_8 | NAYY 4x150 SE | 8 | 9 | 0.034823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3103-2_3_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.10775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3103-2_3_2_line_10 | NAYY 4x150 SE | 10 | 11 | 0.073635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3103-2_3_2_line_11 | NAYY 4x150 SE | 11 | 15 | 0.1049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3103-2_3_2_line_12 | NAYY 4x150 SE | 12 | 13 | 0.018887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3103-2_3_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.078783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3103-2_3_2_line_14 | NAYY 4x150 SE | 13 | 23 | 0.12491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3103-2_3_2_line_15 | NAYY 4x150 SE | 14 | 26 | 0.085868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3103-2_3_2_line_16 | NAYY 4x150 SE | 15 | 72 | 0.025217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3103-2_3_2_line_17 | NAYY 4x150 SE | 15 | 70 | 0.10989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3103-2_3_2_line_18 | NAYY 4x150 SE | 16 | 17 | 0.15009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3103-2_3_2_line_19 | NAYY 4x150 SE | 17 | 54 | 0.024919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3103-2_3_2_line_20 | NAYY 4x150 SE | 17 | 25 | 0.042406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3103-2_3_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.10234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3103-2_3_2_line_22 | NAYY 4x150 SE | 18 | 20 | 0.14331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3103-2_3_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.23599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3103-2_3_2_line_24 | NAYY 4x150 SE | 21 | 22 | 0.11426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3103-2_3_2_line_25 | NAYY 4x150 SE | 22 | 25 | 0.022394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3103-2_3_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.044041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3103-2_3_2_line_27 | NAYY 4x150 SE | 24 | 75 | 0.0091483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3103-2_3_2_line_28 | NAYY 4x150 SE | 26 | 27 | 0.023144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3103-2_3_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.017069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3103-2_3_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.019496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3103-2_3_2_line_31 | NAYY 4x150 SE | 28 | 30 | 0.020627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3103-2_3_2_line_32 | NAYY 4x150 SE | 29 | 74 | 0.027884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3103-2_3_2_line_33 | NAYY 4x150 SE | 31 | 32 | 0.022549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3103-2_3_2_line_34 | NAYY 4x150 SE | 32 | 33 | 0.082411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3103-2_3_2_line_35 | NAYY 4x150 SE | 33 | 34 | 0.0089988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3103-2_3_2_line_36 | NAYY 4x150 SE | 33 | 35 | 0.28506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3103-2_3_2_line_37 | NAYY 4x150 SE | 35 | 39 | 0.22879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3103-2_3_2_line_38 | NAYY 4x150 SE | 35 | 36 | 0.11362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3103-2_3_2_line_39 | NAYY 4x150 SE | 36 | 37 | 0.032823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3103-2_3_2_line_40 | NAYY 4x150 SE | 36 | 38 | 0.13725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3103-2_3_2_line_41 | NAYY 4x150 SE | 39 | 75 | 0.030528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3103-2_3_2_line_42 | NAYY 4x150 SE | 40 | 41 | 0.0080349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3103-2_3_2_line_43 | NAYY 4x150 SE | 40 | 42 | 0.09854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3103-2_3_2_line_44 | NAYY 4x150 SE | 41 | 43 | 0.048677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3103-2_3_2_line_45 | NAYY 4x150 SE | 41 | 44 | 0.002969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3103-2_3_2_line_46 | NAYY 4x150 SE | 43 | 45 | 0.10251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3103-2_3_2_line_47 | NAYY 4x150 SE | 45 | 46 | 0.0032598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3103-2_3_2_line_48 | NAYY 4x150 SE | 46 | 47 | 0.0010245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3103-2_3_2_line_49 | NAYY 4x150 SE | 47 | 48 | 0.036237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3103-2_3_2_line_50 | NAYY 4x150 SE | 48 | 49 | 0.029569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3103-2_3_2_line_51 | NAYY 4x150 SE | 48 | 50 | 0.082846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3103-2_3_2_line_52 | NAYY 4x150 SE | 49 | 51 | 0.020916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3103-2_3_2_line_53 | NAYY 4x150 SE | 49 | 52 | 0.0039086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3103-2_3_2_line_54 | NAYY 4x150 SE | 50 | 53 | 0.026806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3103-2_3_2_line_55 | NAYY 4x150 SE | 51 | 58 | 0.025001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3103-2_3_2_line_56 | NAYY 4x150 SE | 52 | 55 | 0.018168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3103-2_3_2_line_57 | NAYY 4x150 SE | 53 | 70 | 0.059791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3103-2_3_2_line_58 | NAYY 4x150 SE | 54 | 64 | 0.015912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3103-2_3_2_line_59 | NAYY 4x150 SE | 55 | 56 | 0.0082164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3103-2_3_2_line_60 | NAYY 4x150 SE | 56 | 57 | 0.004872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3103-2_3_2_line_61 | NAYY 4x150 SE | 57 | 59 | 0.019169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3103-2_3_2_line_62 | NAYY 4x150 SE | 58 | 69 | 0.026049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3103-2_3_2_line_63 | NAYY 4x150 SE | 59 | 60 | 0.0026416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3103-2_3_2_line_64 | NAYY 4x150 SE | 60 | 61 | 0.020133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3103-2_3_2_line_65 | NAYY 4x150 SE | 61 | 62 | 0.015724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3103-2_3_2_line_66 | NAYY 4x150 SE | 62 | 63 | 0.012227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3103-2_3_2_line_67 | NAYY 4x150 SE | 63 | 64 | 0.015462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3103-2_3_2_line_68 | NAYY 4x150 SE | 65 | 66 | 0.018895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3103-2_3_2_line_69 | NAYY 4x150 SE | 66 | 67 | 0.032434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3103-2_3_2_line_70 | NAYY 4x150 SE | 67 | 68 | 0.037556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3103-2_3_2_line_71 | NAYY 4x150 SE | 68 | 69 | 0.021413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3103-2_3_2_line_72 | NAYY 4x150 SE | 70 | 71 | 0.096007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3103-2_3_2_line_73 | NAYY 4x150 SE | 72 | 73 | 0.009665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3103-2_3_2_line_74 | NAYY 4x150 SE | 73 | 74 | 0.016844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3103-2_3_2_trafo_145 | 0.25 MVA 20/0.4 kV | 76 | 51 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2753913.2741 | 1242171.4798 | 2753902.1734 | 1242174.2724 | 2753883.9587 | 1242172.8375
1 | 2753864.6952 | 1242171.3201 | 2753883.9587 | 1242172.8375
2 | 2754168.6257 | 1242032.0845 | 2754144.3343 | 1242053.4408 | 2754110.0443 | 1242072.146 | 2754086.2108 | 1242094.2373 | 2754070.6581 | 1242102.4303 | 2754035.5325 | 1242107.023 | 2754020.4994 | 1242113.5614 | 2753980.4515 | 1242141.6825 | 2753946.8622 | 1242161.1187 | 2753913.2741 | 1242171.4798
3 | 2753864.6952 | 1242171.3201 | 2753827.0154 | 1242158.3532 | 2753822.6249 | 1242158.377
4 | 2754168.6257 | 1242032.0845 | 2754160.6111 | 1242019.1528
5 | 2753664.0151 | 1241825.9139 | 2753822.6249 | 1242158.377
6 | 2754160.6111 | 1242019.1528 | 2754162.8419 | 1242015.9744 | 2754163.4912 | 1242015.9982
7 | 2753675.147 | 1241790.3005 | 2753671.9039 | 1241800.4374 | 2753667.1294 | 1241812.4586 | 2753664.0151 | 1241825.9139
8 | 2753768.3852 | 1241200.5978 | 2753760.2946 | 1241215.4232 | 2753750.6179 | 1241223.3356 | 2753746.0931 | 1241226.3443
9 | 2753662.4716 | 1241293.32 | 2753692.8078 | 1241261.7753 | 2753746.0931 | 1241226.3443
10 | 2753662.4716 | 1241293.32 | 2753665.1896 | 1241307.2481 | 2753660.2025 | 1241317.8291 | 2753629.4929 | 1241350.9548 | 2753627.4667 | 1241352.5455
11 | 2753573.3032 | 1241434.6918 | 2753578.756 | 1241419.8521 | 2753579.8789 | 1241396.6479 | 2753585.4007 | 1241385.569 | 2753627.4667 | 1241352.5455
12 | 2753349.6212 | 1241341.865 | 2753368.5125 | 1241343.2655
13 | 2753368.5125 | 1241343.2655 | 2753424.2788 | 1241398.9152
14 | 2753349.6212 | 1241341.865 | 2753364.1807 | 1241323.8462 | 2753375.9442 | 1241308.6356 | 2753390.4838 | 1241289.9268 | 2753418.1123 | 1241251.2817 | 2753424.8899 | 1241243.7052 | 2753425.869 | 1241243.1011
15 | 2753498.4132 | 1241383.1834 | 2753472.2694 | 1241369.4276 | 2753424.2788 | 1241398.9152
16 | 2753573.3032 | 1241434.6918 | 2753553.4572 | 1241444.4655 | 2753550.4124 | 1241445.0196
17 | 2753573.3032 | 1241434.6918 | 2753558.9296 | 1241492.553 | 2753552.9602 | 1241506.0225 | 2753532.902 | 1241535.3984
18 | 2753584.9074 | 1241687.0663 | 2753587.7045 | 1241696.481 | 2753594.7982 | 1241705.0172 | 2753608.2554 | 1241716.6988 | 2753620.4103 | 1241732.5173 | 2753630.6254 | 1241742.3244 | 2753640.1108 | 1241745.5508 | 2753649.6964 | 1241744.9094 | 2753657.1574 | 1241745.6922 | 2753664.4869 | 1241751.2539 | 2753670.1576 | 1241763.3234 | 2753674.8897 | 1241777.1702 | 2753675.147 | 1241790.3005
19 | 2753584.9074 | 1241687.0663 | 2753585.6511 | 1241677.0426 | 2753586.5633 | 1241662.2026
20 | 2753584.9074 | 1241687.0663 | 2753570.8978 | 1241689.4061 | 2753542.6974 | 1241689.7556
21 | 2753214.8011 | 1242028.6368 | 2753212.1785 | 1242030.3168 | 2753206.0571 | 1242045.3286 | 2753209.3628 | 1242056.4468 | 2753231.8603 | 1242100.2694 | 2753237.89 | 1242121.5899
22 | 2753295.4267 | 1241926.2225 | 2753302.2192 | 1241930.324 | 2753303.0243 | 1241937.2181 | 2753298.8702 | 1241945.4631 | 2753285.2313 | 1241958.3676 | 2753268.0639 | 1241974.6287 | 2753255.2682 | 1241992.9602 | 2753242.1789 | 1242003.9216 | 2753229.8687 | 1242018.9848 | 2753214.8011 | 1242028.6368
23 | 2753295.4267 | 1241926.2225 | 2753307.3506 | 1241920.5583 | 2753315.6525 | 1241913.0879 | 2753326.5633 | 1241891.3156 | 2753348.8816 | 1241844.3696 | 2753361.5307 | 1241825.8787 | 2753379.6446 | 1241808.141 | 2753400.9177 | 1241785.8361 | 2753409.9524 | 1241773.7358 | 2753411.9626 | 1241766.5031 | 2753416.7919 | 1241732.7513
24 | 2753416.7919 | 1241732.7513 | 2753416.7919 | 1241732.7513 | 2753432.2935 | 1241724.7777 | 2753450.3804 | 1241720.6746 | 2753475.1013 | 1241706.3445 | 2753492.4675 | 1241693.8483 | 2753512.0585 | 1241689.5064 | 2753520.3049 | 1241689.595
25 | 2753542.6974 | 1241689.7556 | 2753539.2378 | 1241689.7985 | 2753520.3049 | 1241689.595
26 | 2753425.869 | 1241243.1011 | 2753442.5181 | 1241232.8283 | 2753465.111 | 1241223.409
27 | 2753473.1895 | 1241219.1271 | 2753466.1032 | 1241222.9953 | 2753465.111 | 1241223.409
28 | 2753498.4132 | 1241383.1834 | 2753494.1667 | 1241394.9737 | 2753494.4974 | 1241405.5813
29 | 2753498.4132 | 1241383.1834 | 2753505.1155 | 1241374.7153 | 2753509.7114 | 1241370.4506
30 | 2753506.1726 | 1241421.1952 | 2753494.4974 | 1241405.5813
31 | 2753509.7114 | 1241370.4506 | 2753515.936 | 1241364.6745 | 2753527.0277 | 1241359.7509
32 | 2753525.2638 | 1241440.8933 | 2753517.2588 | 1241436.0212 | 2753506.1726 | 1241421.1952
33 | 2753990.9796 | 1241276.7801 | 2753979.9453 | 1241268.8566 | 2753973.3875 | 1241262.7444
34 | 2753911.0828 | 1241212.5058 | 2753912.5057 | 1241217.4363 | 2753940.7558 | 1241229.6027 | 2753966.5169 | 1241256.3407 | 2753973.3875 | 1241262.7444
35 | 2753911.0828 | 1241212.5058 | 2753914.609 | 1241212.7641 | 2753919.8383 | 1241211.1827
36 | 2753680.7693 | 1241101.0102 | 2753694.7073 | 1241096.2332 | 2753706.077 | 1241096.8504 | 2753721.8754 | 1241104.0663 | 2753734.222 | 1241110.1919 | 2753763.8796 | 1241120.3364 | 2753796.6358 | 1241135.555 | 2753818.4491 | 1241148.8662 | 2753825.6707 | 1241151.0332 | 2753847.9305 | 1241135.4619 | 2753856.034 | 1241144.7474 | 2753866.1456 | 1241153.9071 | 2753875.812 | 1241164.4789 | 2753887.3863 | 1241179.9492 | 2753907.577 | 1241209.7122 | 2753911.0828 | 1241212.5058
37 | 2753680.7693 | 1241101.0102 | 2753674.8055 | 1241105.4823 | 2753666.8861 | 1241114.1856 | 2753662.0561 | 1241122.4907 | 2753653.8692 | 1241134.5125 | 2753646.6651 | 1241147.1492 | 2753635.2804 | 1241159.3773 | 2753617.9774 | 1241169.0721 | 2753597.494 | 1241174.5028 | 2753579.748 | 1241178.225 | 2753566.2989 | 1241177.5765 | 2753553.865 | 1241172.4833 | 2753541.6719 | 1241169.7764 | 2753529.65 | 1241171.8564 | 2753521.6932 | 1241178.8017 | 2753497.9693 | 1241201.5261
38 | 2753680.7693 | 1241101.0102 | 2753694.7073 | 1241096.2332 | 2753706.077 | 1241096.8504 | 2753721.8754 | 1241104.0663 | 2753763.5685 | 1241105.7811 | 2753772.3254 | 1241104.1731 | 2753778.4377 | 1241100.1053 | 2753788.2468 | 1241092.9303
39 | 2753788.2468 | 1241092.9303 | 2753798.3199 | 1241089.577 | 2753809.7413 | 1241083.5338 | 2753814.8467 | 1241075.7031
40 | 2753788.2468 | 1241092.9303 | 2753783.549 | 1241081.8314 | 2753776.1534 | 1241072.9535 | 2753767.4896 | 1241063.6758 | 2753758.4658 | 1241054.5667 | 2753750.4054 | 1241043.3139 | 2753742.2075 | 1241030.0667 | 2753736.0914 | 1241020.8551 | 2753731.0732 | 1241011.3161 | 2753723.9527 | 1240998.8197 | 2753714.491 | 1240978.2885
41 | 2753497.9693 | 1241201.5261 | 2753495.3178 | 1241204.0659 | 2753482.7931 | 1241213.8848 | 2753473.1895 | 1241219.1271
42 | 2753782.4777 | 1241563.6637 | 2753787.4376 | 1241569.985
43 | 2753838.9798 | 1241627.4666 | 2753836.551 | 1241609.1194 | 2753836.856 | 1241597.3605 | 2753838.2168 | 1241586.8969 | 2753834.0504 | 1241579.5374 | 2753826.8278 | 1241577.7263 | 2753803.2185 | 1241578.0148 | 2753794.3725 | 1241575.7946 | 2753788.3212 | 1241571.1111 | 2753787.4376 | 1241569.985
44 | 2753818.9499 | 1241532.0563 | 2753814.9457 | 1241538.859 | 2753782.4777 | 1241563.6637
45 | 2753780.1161 | 1241565.4709 | 2753782.4777 | 1241563.6637
46 | 2753818.9499 | 1241532.0563 | 2753807.9418 | 1241528.9014 | 2753795.1667 | 1241526.2122 | 2753775.7002 | 1241526.5972 | 2753735.3907 | 1241541.3671 | 2753719.792 | 1241541.6296
47 | 2753716.5327 | 1241541.6844 | 2753719.792 | 1241541.6296
48 | 2753716.5327 | 1241541.6844 | 2753715.5084 | 1241541.7016
49 | 2753681.057 | 1241531.5953 | 2753709.3719 | 1241541.8049 | 2753715.5084 | 1241541.7016
50 | 2753681.057 | 1241531.5953 | 2753675.7178 | 1241548.7623 | 2753670.0916 | 1241558.9042
51 | 2753681.057 | 1241531.5953 | 2753625.9934 | 1241511.7399 | 2753606.3846 | 1241507.9844 | 2753602.0481 | 1241508.2762
52 | 2753670.0916 | 1241558.9042 | 2753653.8272 | 1241556.2917 | 2753649.4455 | 1241555.5522
53 | 2753670.0916 | 1241558.9042 | 2753668.1949 | 1241562.3217
54 | 2753602.0481 | 1241508.2762 | 2753590.63 | 1241509.0444 | 2753578.1705 | 1241518.0313
55 | 2753649.4455 | 1241555.5522 | 2753635.0656 | 1241553.1253 | 2753624.7276 | 1241554.4131
56 | 2753668.1949 | 1241562.3217 | 2753667.5603 | 1241563.4652 | 2753657.5649 | 1241577.0432
57 | 2753532.902 | 1241535.3984 | 2753534.0976 | 1241542.981 | 2753543.6532 | 1241542.9281 | 2753578.1705 | 1241518.0313
58 | 2753589.6606 | 1241646.8974 | 2753587.2067 | 1241651.7365 | 2753586.5633 | 1241662.2026
59 | 2753657.5649 | 1241577.0432 | 2753654.8506 | 1241580.7305 | 2753652.2676 | 1241583.2921
60 | 2753648.8083 | 1241586.7228 | 2753652.2676 | 1241583.2921
61 | 2753648.8083 | 1241586.7228 | 2753641.9544 | 1241593.52 | 2753634.244 | 1241599.0975
62 | 2753624.7276 | 1241554.4131 | 2753615.2578 | 1241555.5928 | 2753599.9578 | 1241561.7871
63 | 2753634.244 | 1241599.0975 | 2753632.1037 | 1241600.6458
64 | 2753616.6188 | 1241613.4871 | 2753627.6308 | 1241603.8813 | 2753632.1037 | 1241600.6458
65 | 2753605.1711 | 1241624.2272 | 2753608.0422 | 1241620.9685 | 2753616.6188 | 1241613.4871
66 | 2753605.1711 | 1241624.2272 | 2753597.0879 | 1241633.4018
67 | 2753589.6606 | 1241646.8974 | 2753595.7125 | 1241634.9628 | 2753597.0879 | 1241633.4018
68 | 2753528.0329 | 1241640.9093 | 2753530.5209 | 1241628.2476 | 2753534.4289 | 1241623.7062
69 | 2753534.4289 | 1241623.7062 | 2753541.315 | 1241615.7037 | 2753555.8867 | 1241607.4395 | 2753560.1345 | 1241604.5728
70 | 2753584.0996 | 1241575.9998 | 2753572.4894 | 1241589.9745 | 2753564.4096 | 1241601.6878 | 2753560.1345 | 1241604.5728
71 | 2753599.9578 | 1241561.7871 | 2753598.6303 | 1241562.3245 | 2753586.0754 | 1241573.6215 | 2753584.0996 | 1241575.9998
72 | 2753473.2349 | 1241609.2258 | 2753480.0865 | 1241604.3316 | 2753486.2609 | 1241597.2512 | 2753493.1295 | 1241584.3943 | 2753500.5612 | 1241570.8291 | 2753511.1178 | 1241556.0658 | 2753520.2746 | 1241545.993 | 2753532.902 | 1241535.3984
73 | 2753540.9073 | 1241446.6227 | 2753541.205 | 1241446.6951 | 2753550.4124 | 1241445.0196
74 | 2753540.9073 | 1241446.6227 | 2753530.5228 | 1241444.0941 | 2753525.2638 | 1241440.8933

## bus_geodata
| x | y | coords
0 | 2753883.9587 | 1242172.8375
1 | 2753913.2741 | 1242171.4798
2 | 2753864.6952 | 1242171.3201
3 | 2754168.6257 | 1242032.0845
4 | 2753822.6249 | 1242158.377
5 | 2754160.6111 | 1242019.1528
6 | 2753664.0151 | 1241825.9139
7 | 2754163.4912 | 1242015.9982
8 | 2753768.3852 | 1241200.5978
9 | 2753746.0931 | 1241226.3443
10 | 2753662.4716 | 1241293.32
11 | 2753627.4667 | 1241352.5455
12 | 2753368.5125 | 1241343.2655
13 | 2753349.6212 | 1241341.865
14 | 2753424.2788 | 1241398.9152
15 | 2753573.3032 | 1241434.6918
16 | 2753675.147 | 1241790.3005
17 | 2753584.9074 | 1241687.0663
18 | 2753214.8011 | 1242028.6368
19 | 2753237.89 | 1242121.5899
20 | 2753295.4267 | 1241926.2225
21 | 2753416.7919 | 1241732.7513
22 | 2753520.3049 | 1241689.595
23 | 2753425.869 | 1241243.1011
24 | 2753465.111 | 1241223.409
25 | 2753542.6974 | 1241689.7556
26 | 2753498.4132 | 1241383.1834
27 | 2753494.4974 | 1241405.5813
28 | 2753509.7114 | 1241370.4506
29 | 2753506.1726 | 1241421.1952
30 | 2753527.0277 | 1241359.7509
31 | 2753990.9796 | 1241276.7801
32 | 2753973.3875 | 1241262.7444
33 | 2753911.0828 | 1241212.5058
34 | 2753919.8383 | 1241211.1827
35 | 2753680.7693 | 1241101.0102
36 | 2753788.2468 | 1241092.9303
37 | 2753814.8467 | 1241075.7031
38 | 2753714.491 | 1240978.2885
39 | 2753497.9693 | 1241201.5261
40 | 2753787.4376 | 1241569.985
41 | 2753782.4777 | 1241563.6637
42 | 2753838.9798 | 1241627.4666
43 | 2753818.9499 | 1241532.0563
44 | 2753780.1161 | 1241565.4709
45 | 2753719.792 | 1241541.6296
46 | 2753716.5327 | 1241541.6844
47 | 2753715.5084 | 1241541.7016
48 | 2753681.057 | 1241531.5953
49 | 2753670.0916 | 1241558.9042
50 | 2753602.0481 | 1241508.2762
51 | 2753649.4455 | 1241555.5522
52 | 2753668.1949 | 1241562.3217
53 | 2753578.1705 | 1241518.0313
54 | 2753586.5633 | 1241662.2026
55 | 2753657.5649 | 1241577.0432
56 | 2753652.2676 | 1241583.2921
57 | 2753648.8083 | 1241586.7228
58 | 2753624.7276 | 1241554.4131
59 | 2753634.244 | 1241599.0975
60 | 2753632.1037 | 1241600.6458
61 | 2753616.6188 | 1241613.4871
62 | 2753605.1711 | 1241624.2272
63 | 2753597.0879 | 1241633.4018
64 | 2753589.6606 | 1241646.8974
65 | 2753528.0329 | 1241640.9093
66 | 2753534.4289 | 1241623.7062
67 | 2753560.1345 | 1241604.5728
68 | 2753584.0996 | 1241575.9998
69 | 2753599.9578 | 1241561.7871
70 | 2753532.902 | 1241535.3984
71 | 2753473.2349 | 1241609.2258
72 | 2753550.4124 | 1241445.0196
73 | 2753540.9073 | 1241446.6227
74 | 2753525.2638 | 1241440.8933
75 | 2753473.1895 | 1241219.1271
76 | 2753649.4455 | 1241555.5522

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1