## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3103-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3103-7_0_3_node_331 | 0.4 | n |  | TRUE
2 | bus_LV_3103-7_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3103-7_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3103-7_0_3_node_195 | 0.4 | n |  | TRUE
5 | bus_LV_3103-7_0_3_node_256 | 0.4 | n |  | TRUE
6 | bus_LV_3103-7_0_3_node_247 | 0.4 | n |  | TRUE
7 | bus_LV_3103-7_0_3_node_306 | 0.4 | n |  | TRUE
8 | bus_LV_3103-7_0_3_node_198 | 0.4 | n |  | TRUE
9 | bus_LV_3103-7_0_3_node_307 | 0.4 | n |  | TRUE
10 | bus_LV_3103-7_0_3_node_308 | 0.4 | n |  | TRUE
11 | bus_LV_3103-7_0_3_node_309 | 0.4 | n |  | TRUE
12 | bus_LV_3103-7_0_3_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_3103-7_0_3_node_339 | 0.4 | n |  | TRUE
14 | bus_LV_3103-7_0_3_node_291 | 0.4 | n |  | TRUE
15 | bus_LV_3103-7_0_3_node_292 | 0.4 | n |  | TRUE
16 | bus_LV_3103-7_0_3_node_293 | 0.4 | n |  | TRUE
17 | bus_LV_3103-7_0_3_node_294 | 0.4 | n |  | TRUE
18 | bus_LV_3103-7_0_3_node_165 | 0.4 | n |  | TRUE
19 | bus_LV_3103-7_0_3_node_334 | 0.4 | n |  | TRUE
20 | bus_LV_3103-7_0_3_node_175 | 0.4 | n |  | TRUE
21 | bus_LV_3103-7_0_3_node_295 | 0.4 | n |  | TRUE
22 | bus_LV_3103-7_0_3_node_296 | 0.4 | n |  | TRUE
23 | bus_LV_3103-7_0_3_node_167 | 0.4 | n |  | TRUE
24 | bus_LV_3103-7_0_3_node_171 | 0.4 | n |  | TRUE
25 | bus_LV_3103-7_0_3_node_297 | 0.4 | n |  | TRUE
26 | bus_LV_3103-7_0_3_node_340 | 0.4 | n |  | TRUE
27 | bus_LV_3103-7_0_3_node_342 | 0.4 | n |  | TRUE
28 | bus_LV_3103-7_0_3_node_338 | 0.4 | n |  | TRUE
29 | bus_LV_3103-7_0_3_node_343 | 0.4 | n |  | TRUE
30 | bus_LV_3103-7_0_3_node_248 | 0.4 | n |  | TRUE
31 | bus_LV_3103-7_0_3_node_298 | 0.4 | n |  | TRUE
32 | bus_LV_3103-7_0_3_node_173 | 0.4 | n |  | TRUE
33 | bus_LV_3103-7_0_3_node_174 | 0.4 | n |  | TRUE
34 | bus_LV_3103-7_0_3_node_176 | 0.4 | n |  | TRUE
35 | bus_LV_3103-7_0_3_node_177 | 0.4 | n |  | TRUE
36 | bus_LV_3103-7_0_3_node_178 | 0.4 | n |  | TRUE
37 | bus_LV_3103-7_0_3_node_179 | 0.4 | n |  | TRUE
38 | bus_LV_3103-7_0_3_node_182 | 0.4 | n |  | TRUE
39 | bus_LV_3103-7_0_3_node_187 | 0.4 | n |  | TRUE
40 | bus_LV_3103-7_0_3_node_180 | 0.4 | n |  | TRUE
41 | bus_LV_3103-7_0_3_node_181 | 0.4 | n |  | TRUE
42 | bus_LV_3103-7_0_3_node_183 | 0.4 | n |  | TRUE
43 | bus_LV_3103-7_0_3_node_184 | 0.4 | n |  | TRUE
44 | bus_LV_3103-7_0_3_node_185 | 0.4 | n |  | TRUE
45 | bus_LV_3103-7_0_3_node_186 | 0.4 | n |  | TRUE
46 | bus_LV_3103-7_0_3_node_299 | 0.4 | n |  | TRUE
47 | bus_LV_3103-7_0_3_node_188 | 0.4 | n |  | TRUE
48 | bus_LV_3103-7_0_3_node_189 | 0.4 | n |  | TRUE
49 | bus_LV_3103-7_0_3_node_190 | 0.4 | n |  | TRUE
50 | bus_LV_3103-7_0_3_node_191 | 0.4 | n |  | TRUE
51 | bus_LV_3103-7_0_3_node_194 | 0.4 | n |  | TRUE
52 | bus_LV_3103-7_0_3_node_193 | 0.4 | n |  | TRUE
53 | bus_LV_3103-7_0_3_node_192 | 0.4 | n |  | TRUE
54 | bus_LV_3103-7_0_3_node_197 | 0.4 | n |  | TRUE
55 | bus_LV_3103-7_0_3_node_196 | 0.4 | n |  | TRUE
56 | bus_LV_3103-7_0_3_node_200 | 0.4 | n |  | TRUE
57 | bus_LV_3103-7_0_3_node_199 | 0.4 | n |  | TRUE
58 | bus_LV_3103-7_0_3_node_201 | 0.4 | n |  | TRUE
59 | bus_LV_3103-7_0_3_node_330 | 0.4 | n |  | TRUE
60 | bus_MV_0_node_299 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3103-7_0_3_load_0 | 0 | 0.0010743 | 0.00026924 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3103-7_0_3_load_331 | 1 | 0.0018122 | 0.00045417 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3103-7_0_3_load_2 | 2 | 0.0012192 | 0.00030556 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3103-7_0_3_load_195 | 4 | 0.00040822 | 0.00010231 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3103-7_0_3_load_256 | 5 | 0.00046703 | 0.00011705 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3103-7_0_3_load_247 | 6 | 0.00016171 | 4.0529e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3103-7_0_3_load_306 | 7 | 0.00069316 | 0.00017372 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3103-7_0_3_load_309 | 11 | 0.00089321 | 0.00022386 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3103-7_0_3_load_20 | 12 | 0.00025615 | 6.4198e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3103-7_0_3_load_339 | 13 | 0.0024276 | 0.00060842 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3103-7_0_3_load_291 | 14 | 0.00085698 | 0.00021478 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3103-7_0_3_load_292 | 15 | 0.0012574 | 0.00031513 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3103-7_0_3_load_334 | 19 | 0.0004887 | 0.00012248 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3103-7_0_3_load_167 | 23 | 0.00069585 | 0.0001744 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3103-7_0_3_load_171 | 24 | 0.00015556 | 3.8987e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3103-7_0_3_load_297 | 25 | 0.00061034 | 0.00015296 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3103-7_0_3_load_340 | 26 | 0.00071812 | 0.00017998 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3103-7_0_3_load_342 | 27 | 0.00025122 | 6.2962e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3103-7_0_3_load_343 | 29 | 0.0008861 | 0.00022208 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3103-7_0_3_load_248 | 30 | 0.00038741 | 9.7093e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3103-7_0_3_load_173 | 32 | 0.00019312 | 4.8401e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3103-7_0_3_load_174 | 33 | 0.00015149 | 3.7967e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3103-7_0_3_load_176 | 34 | 6.3103e-05 | 1.5815e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3103-7_0_3_load_179 | 37 | 0.00018413 | 4.6147e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3103-7_0_3_load_187 | 39 | 0.00079608 | 0.00019952 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3103-7_0_3_load_180 | 40 | 0.00020496 | 5.1367e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3103-7_0_3_load_181 | 41 | 0.00015875 | 3.9788e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3103-7_0_3_load_183 | 42 | 0.00016744 | 4.1964e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3103-7_0_3_load_186 | 45 | 0.00078492 | 0.00019672 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3103-7_0_3_load_299 | 46 | 0.0001949 | 4.8846e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3103-7_0_3_load_188 | 47 | 0.00011538 | 2.8916e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3103-7_0_3_load_190 | 49 | 0.00034644 | 8.6826e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3103-7_0_3_load_194 | 51 | 0.00061964 | 0.0001553 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3103-7_0_3_load_193 | 52 | 0.0011554 | 0.00028958 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3103-7_0_3_load_192 | 53 | 0.00090742 | 0.00022742 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3103-7_0_3_load_199 | 57 | 0.000332 | 8.3208e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3103-7_0_3_load_330 | 59 | 0.00050908 | 0.00012759 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3103-7_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.18336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3103-7_0_3_line_1 | NAYY 4x150 SE | 1 | 10 | 0.15707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3103-7_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.067954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3103-7_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.038628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3103-7_0_3_line_4 | NAYY 4x150 SE | 4 | 55 | 0.48404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3103-7_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.17514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3103-7_0_3_line_6 | NAYY 4x150 SE | 6 | 30 | 0.0024533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3103-7_0_3_line_7 | NAYY 4x150 SE | 6 | 44 | 0.25406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3103-7_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.36018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3103-7_0_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.39253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3103-7_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.23082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3103-7_0_3_line_11 | NAYY 4x150 SE | 8 | 55 | 0.24525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3103-7_0_3_line_12 | NAYY 4x150 SE | 9 | 10 | 0.34934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3103-7_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.31982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3103-7_0_3_line_14 | NAYY 4x150 SE | 13 | 28 | 0.059794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3103-7_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.25074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3103-7_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.066682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3103-7_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.0057847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3103-7_0_3_line_18 | NAYY 4x150 SE | 16 | 21 | 0.10697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3103-7_0_3_line_19 | NAYY 4x150 SE | 16 | 22 | 0.002276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3103-7_0_3_line_20 | NAYY 4x150 SE | 17 | 25 | 0.013297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3103-7_0_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.091151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3103-7_0_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.21068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3103-7_0_3_line_23 | NAYY 4x150 SE | 20 | 32 | 0.21199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3103-7_0_3_line_24 | NAYY 4x150 SE | 21 | 26 | 0.25146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3103-7_0_3_line_25 | NAYY 4x150 SE | 21 | 27 | 0.29742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3103-7_0_3_line_26 | NAYY 4x150 SE | 22 | 28 | 0.059593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3103-7_0_3_line_27 | NAYY 4x150 SE | 22 | 29 | 0.039143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3103-7_0_3_line_28 | NAYY 4x150 SE | 23 | 24 | 0.14438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3103-7_0_3_line_29 | NAYY 4x150 SE | 24 | 30 | 0.27981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3103-7_0_3_line_30 | NAYY 4x150 SE | 25 | 31 | 0.038357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3103-7_0_3_line_31 | NAYY 4x150 SE | 31 | 46 | 0.13536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3103-7_0_3_line_32 | NAYY 4x150 SE | 32 | 33 | 0.012172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3103-7_0_3_line_33 | NAYY 4x150 SE | 33 | 34 | 0.0013591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3103-7_0_3_line_34 | NAYY 4x150 SE | 34 | 35 | 0.29177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3103-7_0_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.37331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_3103-7_0_3_line_36 | NAYY 4x150 SE | 35 | 37 | 0.12921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3103-7_0_3_line_37 | NAYY 4x150 SE | 36 | 38 | 0.094804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_3103-7_0_3_line_38 | NAYY 4x150 SE | 37 | 39 | 0.0059891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3103-7_0_3_line_39 | NAYY 4x150 SE | 38 | 40 | 0.019658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_3103-7_0_3_line_40 | NAYY 4x150 SE | 39 | 47 | 0.0038004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3103-7_0_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.011809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_3103-7_0_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.0087772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_3103-7_0_3_line_43 | NAYY 4x150 SE | 42 | 43 | 0.064435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_3103-7_0_3_line_44 | NAYY 4x150 SE | 43 | 44 | 0.385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3103-7_0_3_line_45 | NAYY 4x150 SE | 43 | 45 | 0.053115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_3103-7_0_3_line_46 | NAYY 4x150 SE | 45 | 46 | 0.22995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_3103-7_0_3_line_47 | NAYY 4x150 SE | 47 | 48 | 0.36613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3103-7_0_3_line_48 | NAYY 4x150 SE | 48 | 49 | 0.053047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3103-7_0_3_line_49 | NAYY 4x150 SE | 48 | 50 | 0.13658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3103-7_0_3_line_50 | NAYY 4x150 SE | 50 | 51 | 0.10725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3103-7_0_3_line_51 | NAYY 4x150 SE | 50 | 52 | 0.033831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3103-7_0_3_line_52 | NAYY 4x150 SE | 51 | 54 | 0.12496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3103-7_0_3_line_53 | NAYY 4x150 SE | 52 | 53 | 0.0097198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3103-7_0_3_line_54 | NAYY 4x150 SE | 54 | 56 | 0.063868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3103-7_0_3_line_55 | NAYY 4x150 SE | 54 | 55 | 0.055679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3103-7_0_3_line_56 | NAYY 4x150 SE | 56 | 58 | 0.11251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3103-7_0_3_line_57 | NAYY 4x150 SE | 56 | 57 | 0.1906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3103-7_0_3_line_58 | NAYY 4x150 SE | 58 | 59 | 0.021963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3103-7_0_3_trafo_299 | 0.25 MVA 20/0.4 kV | 60 | 46 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29
0 | 2753861.8674 | 1242600.3356 | 2754045.2181 | 1242598.9505
1 | 2753872.1055 | 1242445.9753 | 2753873.8456 | 1242452.9493 | 2753872.7358 | 1242467.7347 | 2753867.6104 | 1242480.7476 | 2753868.4309 | 1242550.558 | 2753860.1533 | 1242573.9992 | 2753861.8674 | 1242600.3356
2 | 2753875.5495 | 1242954.1185 | 2753872.6599 | 1242941.8986 | 2753866.4081 | 1242930.1363 | 2753859.3202 | 1242919.4089 | 2753844.2791 | 1242905.9394 | 2753836.7991 | 1242900.8836
3 | 2753875.5495 | 1242954.1185 | 2753856.8475 | 1242963.1089 | 2753847.08 | 1242963.2559 | 2753839.8986 | 1242959.4906
4 | 2753453.6032 | 1242989.0597 | 2753497.7589 | 1242996.5088 | 2753517.1058 | 1242998.8003 | 2753525.1406 | 1242996.9286 | 2753531.8582 | 1242993.3545 | 2753538.4272 | 1242985.0054 | 2753567.6235 | 1242933.7673 | 2753585.3857 | 1242903.231 | 2753590.665 | 1242895.3378 | 2753592.6949 | 1242889.6738 | 2753594.2431 | 1242881.5839 | 2753595.3461 | 1242875.2064 | 2753597.5334 | 1242873.3946 | 2753600.5996 | 1242872.3952 | 2753605.2567 | 1242874.7958 | 2753628.4631 | 1242898.6082 | 2753638.4592 | 1242905.4069 | 2753684.0901 | 1242916.0652 | 2753693.6358 | 1242919.5158 | 2753708.9835 | 1242931.3802 | 2753716.4953 | 1242935.9792 | 2753728.4865 | 1242938.1585 | 2753769.0606 | 1242942.2803 | 2753792.1889 | 1242943.4141 | 2753815.087 | 1242947.8785 | 2753827.0159 | 1242952.4587 | 2753837.1713 | 1242958.0607 | 2753839.8986 | 1242959.4906
5 | 2752274.8612 | 1242707.7352 | 2752285.2644 | 1242532.9071
6 | 2752274.8612 | 1242707.7352 | 2752275.0823 | 1242710.1785
7 | 2752511.2276 | 1242654.9146 | 2752505.081 | 1242657.181 | 2752486.2815 | 1242662.3695 | 2752474.4142 | 1242666.513 | 2752450.3471 | 1242671.5551 | 2752428.3367 | 1242675.4379 | 2752397.7016 | 1242683.5478 | 2752369.4928 | 1242691.7201 | 2752343.8145 | 1242698.5452 | 2752333.6795 | 1242696.205 | 2752315.4414 | 1242691.3323 | 2752301.1242 | 1242689.8635 | 2752289.1967 | 1242690.4691 | 2752278.9576 | 1242694.2433 | 2752274.6186 | 1242705.0533 | 2752274.8612 | 1242707.7352
8 | 2753513.9064 | 1242759.5884 | 2753523.4773 | 1242757.7009 | 2753535.1759 | 1242757.4699 | 2753542.3289 | 1242760.4579 | 2753552.8668 | 1242759.196 | 2753558.1251 | 1242759.1208 | 2753564.9279 | 1242745.5505 | 2753569.6565 | 1242744.9056 | 2753569.4566 | 1242739.7733 | 2753571.2279 | 1242726.284 | 2753579.2397 | 1242697.2858 | 2753597.6925 | 1242659.972 | 2753613.1342 | 1242649.5617 | 2753623.0071 | 1242626.6842 | 2753630.3396 | 1242611.9488 | 2753636.9975 | 1242599.8985 | 2753637.6023 | 1242593.4858 | 2753645.2653 | 1242580.5941 | 2753653.0703 | 1242570.9758 | 2753654.9395 | 1242562.1825 | 2753666.1089 | 1242540.651 | 2753670.8377 | 1242540.0062 | 2753678.0314 | 1242532.6743 | 2753682.8625 | 1242523.4128 | 2753693.3241 | 1242503.8093 | 2753700.5359 | 1242491.1173 | 2753701.3425 | 1242489.7999
9 | 2753864.6952 | 1242171.3201 | 2753856.2068 | 1242178.6737 | 2753847.5542 | 1242187.4023 | 2753838.5426 | 1242192.4735 | 2753826.2676 | 1242194.4684 | 2753809.3389 | 1242202.3706 | 2753797.6969 | 1242212.6231 | 2753785.6563 | 1242226.2909 | 2753776.186 | 1242233.597 | 2753767.0989 | 1242255.5826 | 2753755.477 | 1242274.1103 | 2753754.4867 | 1242282.2592 | 2753742.8956 | 1242305.7258 | 2753735.7095 | 1242320.0423 | 2753732.4828 | 1242333.6384 | 2753725.7462 | 1242346.9544 | 2753720.2884 | 1242363.173 | 2753717.8885 | 1242379.5932 | 2753719.1403 | 1242390.5361 | 2753718.2 | 1242401.4222 | 2753720.1661 | 1242410.1926 | 2753716.8711 | 1242418.8378 | 2753724.4786 | 1242429.4005 | 2753727.9658 | 1242442.8037 | 2753726.5435 | 1242451.2749 | 2753719.0508 | 1242457.2977 | 2753711.7944 | 1242465.8736 | 2753709.464 | 1242478.1583 | 2753704.2558 | 1242485.0411 | 2753701.3425 | 1242489.7999
10 | 2753513.9064 | 1242759.5884 | 2753511.5962 | 1242743.947 | 2753511.392 | 1242733.4317 | 2753513.1308 | 1242721.7766 | 2753515.1609 | 1242708.2161 | 2753517.9091 | 1242694.6742 | 2753519.8946 | 1242682.5473 | 2753519.7459 | 1242669.8869 | 2753517.5664 | 1242661.4669 | 2753512.8676 | 1242648.6887 | 2753510.7436 | 1242638.1236 | 2753510.675 | 1242603.9669 | 2753510.8479 | 1242597.2873 | 2753512.8776 | 1242592.8021 | 2753516.0966 | 1242588.826 | 2753516.9384 | 1242584.0655 | 2753515.421 | 1242577.8202 | 2753515.309 | 1242572.8014 | 2753518.5651 | 1242567.3916 | 2753524.8119 | 1242566.8304 | 2753531.9736 | 1242567.7388 | 2753537.9661 | 1242567.6493 | 2753551.9371 | 1242564.6745
11 | 2753453.6032 | 1242989.0597 | 2753452.1226 | 1242973.2174 | 2753448.5058 | 1242960.1335 | 2753446.6916 | 1242946.9518 | 2753447.4519 | 1242935.9831 | 2753451.8529 | 1242923.4405 | 2753459.6456 | 1242909.3062 | 2753468.4769 | 1242891.8623 | 2753475.4036 | 1242874.3692 | 2753479.3766 | 1242859.6689 | 2753480.4283 | 1242846.7949 | 2753483.8325 | 1242835.6612 | 2753489.0378 | 1242828.8671 | 2753496.0755 | 1242816.148 | 2753504.9083 | 1242798.9489 | 2753513.2884 | 1242780.5369 | 2753515.2446 | 1242769.8328 | 2753513.9064 | 1242759.5884
12 | 2753864.6952 | 1242171.3201 | 2753902.1734 | 1242174.2724 | 2753913.2741 | 1242171.4798 | 2753908.7968 | 1242177.5806 | 2753908.245 | 1242189.5111 | 2753903.0821 | 1242203.9577 | 2753887.6822 | 1242224.3557 | 2753856.4712 | 1242253.8971 | 2753850.6076 | 1242267.3691 | 2753851.8937 | 1242337.9033 | 2753853.7073 | 1242360.4163 | 2753860.9001 | 1242425.1315 | 2753864.6892 | 1242436.2181 | 2753868.3901 | 1242441.0854 | 2753872.1055 | 1242445.9753
13 | 2752444.9959 | 1242259.727 | 2752761.3828 | 1242213.0159
14 | 2752804.4288 | 1242172.7856 | 2752797.567 | 1242182.8185 | 2752790.0683 | 1242192.0342 | 2752780.932 | 1242201.3969 | 2752773.3515 | 1242206.451 | 2752761.3828 | 1242213.0159
15 | 2752827.0132 | 1242275.2536 | 2752827.0132 | 1242275.2536 | 2752830.6291 | 1242279.6398 | 2752902.356 | 1242341.8132 | 2752911.3719 | 1242351.488 | 2752917.1587 | 1242359.0888 | 2752918.4555 | 1242366.8741 | 2752916.7591 | 1242374.5822 | 2752910.8213 | 1242384.5721 | 2752905.8985 | 1242389.8058 | 2752900.4705 | 1242391.7567 | 2752892.9645 | 1242392.7532 | 2752885.1636 | 1242393.742 | 2752879.4333 | 1242395.6852 | 2752876.3404 | 1242399.4758 | 2752875.3023 | 1242405.1211 | 2752886.7765 | 1242458.7901
16 | 2752850.4106 | 1242213.8198 | 2752846.0523 | 1242223.5613 | 2752826.8081 | 1242265.6058 | 2752826.1427 | 1242270.2932 | 2752827.0132 | 1242275.2536
17 | 2752890.5434 | 1242463.1802 | 2752886.7765 | 1242458.7901
18 | 2752947.5865 | 1242236.834 | 2752936.5921 | 1242245.5034 | 2752928.1862 | 1242246.7769 | 2752915.9951 | 1242244.0714 | 2752902.3842 | 1242238.3486 | 2752850.4106 | 1242213.8198
19 | 2752848.3481 | 1242212.8435 | 2752850.4106 | 1242213.8198
20 | 2752890.5434 | 1242463.1802 | 2752895.5361 | 1242469.0144 | 2752900.1712 | 1242472.1899
21 | 2752346.9214 | 1243244.2673 | 2752352.9965 | 1243230.3433 | 2752357.4488 | 1243215.4101 | 2752360.3932 | 1243203.541 | 2752361.0889 | 1243185.8865 | 2752358.7541 | 1243155.4976
22 | 2752346.9214 | 1243244.2673 | 2752351.8776 | 1243242.9822 | 2752372.5747 | 1243235.3842 | 2752393.2619 | 1243222.581 | 2752412.9119 | 1243212.476 | 2752434.6684 | 1243208.9759 | 2752461.142 | 1243208.7891 | 2752480.3621 | 1243202.4658 | 2752488.2118 | 1243185.4179 | 2752494.7095 | 1243159.1932 | 2752501.2911 | 1243146.1721 | 2752508.6749 | 1243142.247
23 | 2752508.6749 | 1243142.247 | 2752514.8163 | 1243138.9907 | 2752527.944 | 1243139.0281 | 2752539.6069 | 1243143.6768 | 2752550.0593 | 1243155.6902 | 2752555.0413 | 1243171.3332 | 2752557.3833 | 1243191.4126 | 2752556.6078 | 1243210.0883 | 2752545.2105 | 1243251.8463 | 2752543.0398 | 1243268.3173 | 2752545.0283 | 1243292.7251 | 2752548.6451 | 1243316.1627
24 | 2752947.5865 | 1242236.834 | 2752956.7468 | 1242248.2476 | 2752979.3525 | 1242269.4505 | 2752998.169 | 1242303.8239 | 2753013.8629 | 1242325.8383 | 2753017.069 | 1242335.2522 | 2753018.5021 | 1242355.92 | 2753022.559 | 1242370.761 | 2753029.6652 | 1242381.7436 | 2753040.2177 | 1242392.8262 | 2753069.3003 | 1242411.2605 | 2753077.0116 | 1242417.8434 | 2753080.2428 | 1242426.2793 | 2753078.9487 | 1242438.0238
25 | 2752947.5865 | 1242236.834 | 2753231.5127 | 1242148.2618
26 | 2752848.3481 | 1242212.8435 | 2752846.2406 | 1242211.855 | 2752837.1349 | 1242205.3588 | 2752828.6569 | 1242197.6887 | 2752804.4288 | 1242172.7856
27 | 2752872.0332 | 1242181.6349 | 2752848.3481 | 1242212.8435
28 | 2752220.2921 | 1242879.7037 | 2752158.9993 | 1243010.423
29 | 2752275.0823 | 1242710.1785 | 2752275.6907 | 1242716.9032 | 2752285.6569 | 1242723.7544 | 2752291.6607 | 1242730.2813 | 2752294.165 | 1242735.8398 | 2752292.9713 | 1242739.3236 | 2752286.4121 | 1242745.2943 | 2752228.6125 | 1242776.0295 | 2752219.8591 | 1242777.6176 | 2752206.4099 | 1242777.9953 | 2752197.3031 | 1242779.2073 | 2752189.5825 | 1242782.9907 | 2752187.2106 | 1242790.537 | 2752190.2529 | 1242799.3012 | 2752199.7973 | 1242809.3222 | 2752235.3031 | 1242840.6405 | 2752240.2522 | 1242845.8279 | 2752240.4568 | 1242851.9946 | 2752229.4068 | 1242872.3416 | 2752224.133 | 1242879.8023 | 2752220.2921 | 1242879.7037
30 | 2752932.084 | 1242493.0123 | 2752928.7308 | 1242492.2362 | 2752919.0282 | 1242486.0248 | 2752907.2938 | 1242477.0694 | 2752900.1712 | 1242472.1899
31 | 2752901.306 | 1242569.9482 | 2752937.3187 | 1242541.9494 | 2752945.8087 | 1242537.6975 | 2752954.2371 | 1242535.5349 | 2752962.4249 | 1242530.9749 | 2752965.5103 | 1242527.4733 | 2752969.3697 | 1242516.8404 | 2752963.9548 | 1242506.5577 | 2752953.0122 | 1242501.8044 | 2752940.3317 | 1242494.9266 | 2752932.084 | 1242493.0123
32 | 2752548.6451 | 1243316.1627 | 2752548.6451 | 1243316.1627 | 2752552.8584 | 1243327.5819 | 2752552.8584 | 1243327.5819
33 | 2752552.8584 | 1243327.5819 | 2752554.1184 | 1243328.0915
34 | 2752790.8124 | 1243180.6968 | 2752787.1419 | 1243178.7449 | 2752776.4266 | 1243182.5282 | 2752762.2213 | 1243192.0272 | 2752746.8237 | 1243205.5437 | 2752729.7677 | 1243221.1975 | 2752707.2573 | 1243231.3501 | 2752678.5344 | 1243239.5967 | 2752651.9471 | 1243250.0782 | 2752625.3246 | 1243267.2209 | 2752591.9018 | 1243288.8376 | 2752574.6315 | 1243306.6772 | 2752567.1935 | 1243324.4697 | 2752561.6377 | 1243331.1332 | 2752554.1184 | 1243328.0915
35 | 2752790.8124 | 1243180.6968 | 2752796.7846 | 1243171.097 | 2752800.4709 | 1243158.0572 | 2752805.2646 | 1243139.3183 | 2752812.4543 | 1243120.63 | 2752823.699 | 1243102.7692 | 2752836.0886 | 1243086.8509 | 2752846.9378 | 1243074.9522 | 2752857.4528 | 1243066.6262 | 2752870.2885 | 1243060.9848 | 2752888.1219 | 1243057.1517 | 2752906.6661 | 1243053.3258 | 2752920.0039 | 1243046.9856 | 2752925.7521 | 1243037.5803 | 2752926.6054 | 1243023.2664 | 2752927.736 | 1243016.3779 | 2752934.7106 | 1243006.0477 | 2752939.5006 | 1242996.8513 | 2752939.7099 | 1242988.7378 | 2752937.3138 | 1242979.6006 | 2752931.0409 | 1242962.7229 | 2752928.9897 | 1242949.3016 | 2752928.4237 | 1242924.9193 | 2752925.4926 | 1242908.3724 | 2752921.6034 | 1242892.0232 | 2752918.0178 | 1242882.3772
36 | 2752790.8124 | 1243180.6968 | 2752794.0279 | 1243182.4035 | 2752794.0874 | 1243191.536 | 2752788.1764 | 1243200.8149 | 2752779.4249 | 1243212.9122 | 2752774.2945 | 1243227.9946 | 2752770.2132 | 1243265.1695 | 2752769.3989 | 1243292.6637 | 2752773.6828 | 1243301.3267 | 2752773.6828 | 1243301.3267
37 | 2752918.0178 | 1242882.3772 | 2752911.845 | 1242870.9961 | 2752903.7648 | 1242859.0877 | 2752892.9621 | 1242850.6902 | 2752884.9637 | 1242844.9898 | 2752874.5388 | 1242840.4169 | 2752861.4465 | 1242837.2211 | 2752852.3284 | 1242837.6978 | 2752842.4505 | 1242840.0678
38 | 2752773.6828 | 1243301.3267 | 2752779.622 | 1243302.0989
39 | 2752842.4505 | 1242840.0678 | 2752834.9054 | 1242844.6557 | 2752828.3128 | 1242849.257 | 2752827.5131 | 1242851.9277
40 | 2752779.622 | 1243302.0989 | 2752783.3907 | 1243302.5889
41 | 2752827.5131 | 1242851.9277 | 2752824.1255 | 1242863.2403
42 | 2752824.1255 | 1242863.2403 | 2752824.1255 | 1242863.2403 | 2752815.8246 | 1242860.3886
43 | 2752777.1555 | 1242819.0776 | 2752776.7277 | 1242824.5274 | 2752777.206 | 1242833.8486 | 2752780.3328 | 1242842.5263 | 2752786.8706 | 1242849.1453 | 2752796.3357 | 1242853.6934 | 2752815.8246 | 1242860.3886
44 | 2752511.2276 | 1242654.9146 | 2752515.3854 | 1242666.7549 | 2752518.3782 | 1242676.5412 | 2752522.5153 | 1242689.1817 | 2752531.1843 | 1242699.114 | 2752530.9868 | 1242706.794 | 2752533.6413 | 1242714.1471 | 2752530.1184 | 1242724.9668 | 2752526.3901 | 1242743.4775 | 2752525.7813 | 1242751.5585 | 2752524.1694 | 1242766.8872 | 2752525.1681 | 1242775.3988 | 2752531.9672 | 1242779.2216 | 2752555.3971 | 1242783.0608 | 2752570.4936 | 1242779.8014 | 2752598.7179 | 1242786.6002 | 2752640.5178 | 1242786.0524 | 2752656.7062 | 1242787.6815 | 2752707.468 | 1242801.534 | 2752751.8494 | 1242811.1631 | 2752777.1555 | 1242819.0776
45 | 2752781.3484 | 1242766.135 | 2752777.1555 | 1242819.0776
46 | 2752781.3484 | 1242766.135 | 2752901.306 | 1242569.9482
47 | 2753101.4052 | 1243132.4446 | 2753056.6144 | 1243156.0674 | 2753015.4877 | 1243179.8517 | 2752973.9544 | 1243204.7492 | 2752952.3574 | 1243210.8428 | 2752922.613 | 1243217.0377 | 2752871.0996 | 1243236.0063 | 2752828.0712 | 1243257.3407 | 2752807.4979 | 1243275.6617 | 2752792.1737 | 1243294.841 | 2752783.3907 | 1243302.5889
48 | 2753101.4052 | 1243132.4446 | 2753105.4681 | 1243140.8686 | 2753106.0587 | 1243146.1111 | 2753105.04 | 1243151.8792 | 2753088.606 | 1243180.0155
49 | 2753234.9498 | 1243110.9487 | 2753195.392 | 1243110.5603 | 2753180.7154 | 1243110.4591 | 2753161.5537 | 1243112.7223 | 2753143.4577 | 1243117.3486 | 2753107.163 | 1243129.4125 | 2753101.4052 | 1243132.4446
50 | 2753234.9498 | 1243110.9487 | 2753259.2683 | 1243109.8979 | 2753283.8217 | 1243110.8774 | 2753304.4047 | 1243121.7974 | 2753318.142 | 1243126.6347 | 2753338.5501 | 1243125.016
51 | 2753234.9498 | 1243110.9487 | 2753239.4071 | 1243097.9624 | 2753240.4663 | 1243088.2916 | 2753234.191 | 1243080.0328
52 | 2753424.5658 | 1243036.2541 | 2753419.3281 | 1243042.8473 | 2753398.3427 | 1243072.6111 | 2753378.1681 | 1243093.5541 | 2753357.7556 | 1243114.0462 | 2753338.5501 | 1243125.016
53 | 2753224.9052 | 1243077.1609 | 2753234.191 | 1243080.0328 | 2753234.191 | 1243080.0328
54 | 2753478.5392 | 1243070.2268 | 2753463.0649 | 1243062.3746 | 2753445.6058 | 1243052.6027 | 2753424.5658 | 1243036.2541
55 | 2753424.5658 | 1243036.2541 | 2753441.0434 | 1243013.525 | 2753448.6139 | 1243001.8318 | 2753453.6032 | 1242989.0597
56 | 2753586.6679 | 1243101.8879 | 2753569.1203 | 1243097.2961 | 2753552.5134 | 1243092.5952 | 2753533.6529 | 1243087.3021 | 2753513.5829 | 1243081.9889 | 2753496.7879 | 1243077.8283 | 2753478.5392 | 1243070.2268
57 | 2753478.5392 | 1243070.2268 | 2753481.5102 | 1243092.1802 | 2753492.5751 | 1243102.9656 | 2753492.778 | 1243126.3822 | 2753508.5275 | 1243143.7507 | 2753560.7466 | 1243222.6218 | 2753570.4531 | 1243228.8572
58 | 2753586.6679 | 1243101.8879 | 2753586.9371 | 1243106.9664 | 2753584.8999 | 1243123.7187

## bus_geodata
| x | y | coords
0 | 2754045.2181 | 1242598.9505
1 | 2753861.8674 | 1242600.3356
2 | 2753836.7991 | 1242900.8836
3 | 2753875.5495 | 1242954.1185
4 | 2753839.8986 | 1242959.4906
5 | 2752285.2644 | 1242532.9071
6 | 2752274.8612 | 1242707.7352
7 | 2753701.3425 | 1242489.7999
8 | 2753513.9064 | 1242759.5884
9 | 2753864.6952 | 1242171.3201
10 | 2753872.1055 | 1242445.9753
11 | 2753551.9371 | 1242564.6745
12 | 2752444.9959 | 1242259.727
13 | 2752761.3828 | 1242213.0159
14 | 2752827.0132 | 1242275.2536
15 | 2752886.7765 | 1242458.7901
16 | 2752850.4106 | 1242213.8198
17 | 2752890.5434 | 1242463.1802
18 | 2752346.9214 | 1243244.2673
19 | 2752358.7541 | 1243155.4976
20 | 2752508.6749 | 1243142.247
21 | 2752947.5865 | 1242236.834
22 | 2752848.3481 | 1242212.8435
23 | 2752158.9993 | 1243010.423
24 | 2752220.2921 | 1242879.7037
25 | 2752900.1712 | 1242472.1899
26 | 2753078.9487 | 1242438.0238
27 | 2753231.5127 | 1242148.2618
28 | 2752804.4288 | 1242172.7856
29 | 2752872.0332 | 1242181.6349
30 | 2752275.0823 | 1242710.1785
31 | 2752932.084 | 1242493.0123
32 | 2752548.6451 | 1243316.1627
33 | 2752552.8584 | 1243327.5819
34 | 2752554.1184 | 1243328.0915
35 | 2752790.8124 | 1243180.6968
36 | 2752918.0178 | 1242882.3772
37 | 2752773.6828 | 1243301.3267
38 | 2752842.4505 | 1242840.0678
39 | 2752779.622 | 1243302.0989
40 | 2752827.5131 | 1242851.9277
41 | 2752824.1255 | 1242863.2403
42 | 2752815.8246 | 1242860.3886
43 | 2752777.1555 | 1242819.0776
44 | 2752511.2276 | 1242654.9146
45 | 2752781.3484 | 1242766.135
46 | 2752901.306 | 1242569.9482
47 | 2752783.3907 | 1243302.5889
48 | 2753101.4052 | 1243132.4446
49 | 2753088.606 | 1243180.0155
50 | 2753234.9498 | 1243110.9487
51 | 2753338.5501 | 1243125.016
52 | 2753234.191 | 1243080.0328
53 | 2753224.9052 | 1243077.1609
54 | 2753424.5658 | 1243036.2541
55 | 2753453.6032 | 1242989.0597
56 | 2753478.5392 | 1243070.2268
57 | 2753570.4531 | 1243228.8572
58 | 2753586.6679 | 1243101.8879
59 | 2753584.8999 | 1243123.7187
60 | 2752901.306 | 1242569.9482

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1