## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3103-7_1_3_node_285 | 0.4 | n |  | TRUE
1 | bus_LV_3103-7_1_3_node_289 | 0.4 | n |  | TRUE
2 | bus_LV_3103-7_1_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_3103-7_1_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_3103-7_1_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_3103-7_1_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_3103-7_1_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_3103-7_1_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_3103-7_1_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_3103-7_1_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_3103-7_1_3_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_3103-7_1_3_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_3103-7_1_3_node_252 | 0.4 | n |  | TRUE
13 | bus_LV_3103-7_1_3_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_3103-7_1_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_3103-7_1_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_3103-7_1_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_3103-7_1_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_3103-7_1_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_3103-7_1_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_3103-7_1_3_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_3103-7_1_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_3103-7_1_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_3103-7_1_3_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_3103-7_1_3_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_3103-7_1_3_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_3103-7_1_3_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_3103-7_1_3_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_3103-7_1_3_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_3103-7_1_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_3103-7_1_3_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_3103-7_1_3_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_3103-7_1_3_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_3103-7_1_3_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_3103-7_1_3_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_3103-7_1_3_node_300 | 0.4 | n |  | TRUE
36 | bus_LV_3103-7_1_3_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_3103-7_1_3_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_3103-7_1_3_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_3103-7_1_3_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_3103-7_1_3_node_301 | 0.4 | n |  | TRUE
41 | bus_LV_3103-7_1_3_node_302 | 0.4 | n |  | TRUE
42 | bus_LV_3103-7_1_3_node_303 | 0.4 | n |  | TRUE
43 | bus_LV_3103-7_1_3_node_304 | 0.4 | n |  | TRUE
44 | bus_LV_3103-7_1_3_node_305 | 0.4 | n |  | TRUE
45 | bus_LV_3103-7_1_3_node_254 | 0.4 | n |  | TRUE
46 | bus_MV_0_node_8 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3103-7_1_3_load_285 | 0 | 0.0028206 | 0.0007069 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3103-7_1_3_load_4 | 2 | 0.0015591 | 0.00039075 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3103-7_1_3_load_7 | 5 | 0.00076035 | 0.00019056 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3103-7_1_3_load_9 | 7 | 0.0014048 | 0.00035207 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3103-7_1_3_load_10 | 8 | 0.002173 | 0.00054462 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3103-7_1_3_load_14 | 9 | 0.00086204 | 0.00021605 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3103-7_1_3_load_36 | 10 | 0.0015051 | 0.00037722 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3103-7_1_3_load_32 | 11 | 0.0017424 | 0.00043668 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3103-7_1_3_load_252 | 12 | 9.761e-05 | 2.4463e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3103-7_1_3_load_22 | 13 | 0.0090632 | 0.0022715 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3103-7_1_3_load_11 | 14 | 0.00021277 | 5.3326e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3103-7_1_3_load_12 | 15 | 0.00035058 | 8.7864e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3103-7_1_3_load_15 | 17 | 0.0010061 | 0.00025216 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3103-7_1_3_load_23 | 20 | 0.00060713 | 0.00015216 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3103-7_1_3_load_17 | 21 | 0.0027512 | 0.00068953 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3103-7_1_3_load_18 | 22 | 0.00032916 | 8.2494e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3103-7_1_3_load_21 | 23 | 0.00014281 | 3.5792e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3103-7_1_3_load_26 | 24 | 0.0025517 | 0.00063952 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3103-7_1_3_load_24 | 25 | 0.00037283 | 9.3439e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3103-7_1_3_load_31 | 27 | 0.00023101 | 5.7897e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3103-7_1_3_load_27 | 28 | 0.00091678 | 0.00022977 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3103-7_1_3_load_28 | 29 | 0.00074969 | 0.00018789 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3103-7_1_3_load_29 | 30 | 0.0031079 | 0.00077892 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3103-7_1_3_load_30 | 31 | 0.0025798 | 0.00064655 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3103-7_1_3_load_35 | 34 | 0.0018801 | 0.00047119 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3103-7_1_3_load_300 | 35 | 0.00013349 | 3.3455e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3103-7_1_3_load_37 | 36 | 0.0011502 | 0.00028828 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3103-7_1_3_load_39 | 38 | 0.00032288 | 8.092e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3103-7_1_3_load_40 | 39 | 0.0004 | 0.00010025 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3103-7_1_3_load_301 | 40 | 0.00069748 | 0.00017481 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3103-7_1_3_load_302 | 41 | 0.0012266 | 0.00030743 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3103-7_1_3_load_303 | 42 | 0.00037488 | 9.3954e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3103-7_1_3_load_304 | 43 | 0.00058458 | 0.00014651 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3103-7_1_3_load_305 | 44 | 0.0011413 | 0.00028603 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3103-7_1_3_load_254 | 45 | 0.00014104 | 3.5348e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3103-7_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.17576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3103-7_1_3_line_1 | NAYY 4x150 SE | 1 | 31 | 0.10024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3103-7_1_3_line_2 | NAYY 4x150 SE | 1 | 33 | 0.014838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3103-7_1_3_line_3 | NAYY 4x150 SE | 2 | 3 | 0.076695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3103-7_1_3_line_4 | NAYY 4x150 SE | 2 | 4 | 0.17259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3103-7_1_3_line_5 | NAYY 4x150 SE | 3 | 5 | 0.025615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3103-7_1_3_line_6 | NAYY 4x150 SE | 3 | 6 | 0.12636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3103-7_1_3_line_7 | NAYY 4x150 SE | 4 | 7 | 0.21026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3103-7_1_3_line_8 | NAYY 4x150 SE | 4 | 8 | 0.12352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3103-7_1_3_line_9 | NAYY 4x150 SE | 5 | 9 | 0.0081676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3103-7_1_3_line_10 | NAYY 4x150 SE | 6 | 10 | 0.046065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3103-7_1_3_line_11 | NAYY 4x150 SE | 6 | 11 | 0.026777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3103-7_1_3_line_12 | NAYY 4x150 SE | 7 | 12 | 0.40293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3103-7_1_3_line_13 | NAYY 4x150 SE | 8 | 13 | 0.013959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3103-7_1_3_line_14 | NAYY 4x150 SE | 9 | 15 | 0.0080432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3103-7_1_3_line_15 | NAYY 4x150 SE | 11 | 32 | 0.13984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3103-7_1_3_line_16 | NAYY 4x150 SE | 12 | 45 | 0.1638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3103-7_1_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.0028861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3103-7_1_3_line_18 | NAYY 4x150 SE | 14 | 16 | 0.060659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3103-7_1_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.12507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3103-7_1_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.15808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3103-7_1_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.20808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3103-7_1_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.12272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3103-7_1_3_line_23 | NAYY 4x150 SE | 19 | 23 | 0.062566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3103-7_1_3_line_24 | NAYY 4x150 SE | 19 | 21 | 0.19093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3103-7_1_3_line_25 | NAYY 4x150 SE | 20 | 25 | 0.048639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3103-7_1_3_line_26 | NAYY 4x150 SE | 21 | 22 | 0.092151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3103-7_1_3_line_27 | NAYY 4x150 SE | 23 | 24 | 0.39577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3103-7_1_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.10439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3103-7_1_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.03863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3103-7_1_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.23623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3103-7_1_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.0051376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3103-7_1_3_line_32 | NAYY 4x150 SE | 29 | 31 | 0.024726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3103-7_1_3_line_33 | NAYY 4x150 SE | 32 | 33 | 0.055109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3103-7_1_3_line_34 | NAYY 4x150 SE | 32 | 34 | 0.049871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3103-7_1_3_line_35 | NAYY 4x150 SE | 33 | 35 | 0.33945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3103-7_1_3_line_36 | NAYY 4x150 SE | 35 | 40 | 0.0021482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3103-7_1_3_line_37 | NAYY 4x150 SE | 36 | 37 | 0.36511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3103-7_1_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.17974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3103-7_1_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.031915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3103-7_1_3_line_40 | NAYY 4x150 SE | 38 | 40 | 0.045794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3103-7_1_3_line_41 | NAYY 4x150 SE | 39 | 41 | 0.055601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3103-7_1_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.027639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3103-7_1_3_line_43 | NAYY 4x150 SE | 42 | 43 | 0.1014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3103-7_1_3_line_44 | NAYY 4x150 SE | 43 | 44 | 0.019755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3103-7_1_3_trafo_8 | 0.25 MVA 20/0.4 kV | 46 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2751602.1008 | 1241558.0154 | 2751597.1894 | 1241559.8695 | 2751588.4358 | 1241562.2927 | 2751579.4539 | 1241562.9973 | 2751569.5497 | 1241561.8989 | 2751558.5126 | 1241558.6585 | 2751525.6972 | 1241543.8734 | 2751512.8334 | 1241537.8171 | 2751503.5279 | 1241536.3782 | 2751494.3825 | 1241537.557 | 2751483.0117 | 1241540.2694 | 2751475.7791 | 1241545.0449 | 2751464.7541 | 1241554.9507 | 2751446.5191 | 1241574.7556
1 | 2751602.1008 | 1241558.0154 | 2751603.0218 | 1241560.7526 | 2751600.8704 | 1241566.7923 | 2751590.4945 | 1241576.1584 | 2751583.8768 | 1241584.9866 | 2751582.8798 | 1241594.6926 | 2751589.6782 | 1241622.5926 | 2751589.7402 | 1241634.9614 | 2751585.8215 | 1241649.5275
2 | 2751602.1008 | 1241558.0154 | 2751609.5302 | 1241553.2451 | 2751614.131 | 1241549.3367
3 | 2751908.4214 | 1241727.1626 | 2751900.8919 | 1241781.9107 | 2751899.4847 | 1241803.2963
4 | 2751821.287 | 1241955.572 | 2751875.3368 | 1241870.0403 | 2751892.0623 | 1241833.378 | 2751899.0464 | 1241809.9567 | 2751899.4847 | 1241803.2963
5 | 2751908.4214 | 1241727.1626 | 2751931.2673 | 1241726.5134 | 2751933.5623 | 1241724.9813
6 | 2751789.964 | 1241682.2341 | 2751908.4214 | 1241727.1626
7 | 2751821.287 | 1241955.572 | 2751786.6864 | 1242015.366 | 2751779.8369 | 1242033.5525 | 2751780.2308 | 1242047.4202 | 2751804.5954 | 1242152.5541
8 | 2751821.287 | 1241955.572 | 2751797.1089 | 1241945.9556 | 2751768.7668 | 1241937.3671 | 2751702.4382 | 1241922.9307
9 | 2751940.3553 | 1241720.4465 | 2751933.5623 | 1241724.9813
10 | 2751789.964 | 1241682.2341 | 2751799.0961 | 1241648.1798 | 2751796.7336 | 1241637.6316
11 | 2751789.964 | 1241682.2341 | 2751765.9236 | 1241670.4415
12 | 2751804.5954 | 1242152.5541 | 2752091.9048 | 1242435.048
13 | 2751688.7984 | 1241919.962 | 2751702.4382 | 1241922.9307
14 | 2751940.3553 | 1241720.4465 | 2751947.0449 | 1241715.9807
15 | 2751660.7988 | 1241578.2451 | 2751741.0786 | 1241649.5866 | 2751765.9236 | 1241670.4415
16 | 2752091.9048 | 1242435.048 | 2752209.3799 | 1242549.1936
17 | 2751947.0449 | 1241715.9807 | 2751949.4452 | 1241714.3783 | 2751949.4452 | 1241714.3783
18 | 2751960.2633 | 1241655.8887 | 2751958.0441 | 1241697.9162 | 2751949.4452 | 1241714.3783
19 | 2751960.2633 | 1241655.8887 | 2751896.1254 | 1241601.2175 | 2751878.5637 | 1241582.784 | 2751869.4912 | 1241570.1844
20 | 2752031.8967 | 1241572.1659 | 2751992.7404 | 1241557.4936 | 2751979.5237 | 1241559.0233 | 2751969.3554 | 1241567.3487 | 2751962.8016 | 1241581.928 | 2751960.2633 | 1241655.8887
21 | 2752031.8967 | 1241572.1659 | 2752034.4176 | 1241610.1553 | 2752041.8799 | 1241626.8289 | 2752135.0059 | 1241746.8511
22 | 2752031.8967 | 1241572.1659 | 2752127.8585 | 1241616.1884 | 2752143.2199 | 1241623.8072
23 | 2752135.0059 | 1241746.8511 | 2752142.3759 | 1241752.6567 | 2752171.3904 | 1241797.2295
24 | 2752135.0059 | 1241746.8511 | 2752152.3362 | 1241818.4744 | 2752148.0018 | 1241870.0679 | 2752144.7031 | 1241881.5943 | 2752127.263 | 1241902.1223 | 2752120.1787 | 1241914.6749 | 2752118.6469 | 1241926.7005
25 | 2752186.7938 | 1241645.4184 | 2752143.2199 | 1241623.8072
26 | 2752107.0036 | 1242018.1132 | 2752107.0036 | 1242018.1132 | 2752118.6469 | 1241926.7005
27 | 2752306.49 | 1241856.3587 | 2752290.6662 | 1241875.2203 | 2752287.7546 | 1241886.3896 | 2752296.4877 | 1241941.3103 | 2752293.6278 | 1241994.0537 | 2752286.3285 | 1242000.2389 | 2752276.5507 | 1242000.733 | 2752269.1908 | 1241994.5494 | 2752255.6127 | 1241938.014 | 2752176.3542 | 1241804.855 | 2752171.3904 | 1241797.2295
28 | 2752284.01 | 1241678.1513 | 2752265.5682 | 1241678.434 | 2752244.7023 | 1241674.1392 | 2752186.7938 | 1241645.4184
29 | 2752284.01 | 1241678.1513 | 2752322.6349 | 1241677.5516
30 | 2751550.4291 | 1241902.6882 | 2751563.3677 | 1241887.527 | 2751569.3723 | 1241873.0778 | 2751569.6507 | 1241759.1993 | 2751570.8853 | 1241710.8962 | 2751578.5313 | 1241676.6257 | 2751579.3979 | 1241673.4045
31 | 2751547.094 | 1241906.5962 | 2751550.4291 | 1241902.6882
32 | 2751585.8215 | 1241649.5275 | 2751579.3979 | 1241673.4045
33 | 2751660.7988 | 1241578.2451 | 2751643.0583 | 1241564.7013 | 2751622.9301 | 1241555.4895 | 2751616.7418 | 1241551.6611 | 2751614.131 | 1241549.3367
34 | 2751660.7988 | 1241578.2451 | 2751680.3947 | 1241547.3388 | 2751688.0636 | 1241536.4578
35 | 2751614.131 | 1241549.3367 | 2751624.2184 | 1241538.8289 | 2751632.6931 | 1241529.2696 | 2751641.0632 | 1241517.8838 | 2751647.1791 | 1241507.3857 | 2751653.6497 | 1241491.8919 | 2751656.3787 | 1241481.9077 | 2751659.1308 | 1241466.2855 | 2751659.6653 | 1241452.486 | 2751658.293 | 1241435.7463 | 2751647.7789 | 1241377.4336 | 2751645.1878 | 1241354.5124 | 2751645.6474 | 1241344.5258 | 2751647.2278 | 1241332.4214 | 2751649.649 | 1241324.1198 | 2751653.2466 | 1241314.1913 | 2751657.1979 | 1241307.586 | 2751663.9306 | 1241299.3057 | 2751672.5002 | 1241290.7833 | 2751683.3464 | 1241283.1643 | 2751694.2039 | 1241277.77 | 2751707.2285 | 1241274.5998 | 2751718.2149 | 1241273.335 | 2751726.401 | 1241273.0431
36 | 2751726.401 | 1241273.0431 | 2751728.5478 | 1241272.9665
37 | 2751949.0562 | 1241312.9881 | 2751952.344 | 1241326.6852 | 2751958.2772 | 1241329.8401 | 2752024.6902 | 1241319.1749 | 2752078.0638 | 1241319.0419 | 2752088.4645 | 1241323.8018 | 2752094.9349 | 1241335.2117 | 2752095.2896 | 1241350.5798 | 2752064.0171 | 1241456.1787 | 2752053.3611 | 1241476.1357 | 2752044.1291 | 1241484.5183 | 2752033.5657 | 1241486.1159 | 2752006.7638 | 1241478.6346
38 | 2751949.0562 | 1241312.9881 | 2751928.3596 | 1241315.3161 | 2751899.3196 | 1241312.8928 | 2751773.5281 | 1241281.0114
39 | 2751949.0562 | 1241312.9881 | 2751969.1877 | 1241307.0311 | 2751978.9869 | 1241302.2118
40 | 2751728.5478 | 1241272.9665 | 2751730.0194 | 1241272.9141 | 2751741.7713 | 1241274.2491 | 2751750.5956 | 1241275.587 | 2751761.2784 | 1241277.9068 | 2751773.5281 | 1241281.0114
41 | 2751978.9869 | 1241302.2118 | 2751983.3307 | 1241300.0755 | 2751996.8334 | 1241290.0673 | 2752007.8884 | 1241280.5191 | 2752017.5855 | 1241268.7563 | 2752019.8832 | 1241265.3595
42 | 2752019.8832 | 1241265.3595 | 2752035.3683 | 1241242.466
43 | 2752035.3683 | 1241242.466 | 2752038.8077 | 1241237.3812 | 2752080.9365 | 1241168.3728 | 2752087.6461 | 1241155.6214
44 | 2752087.6461 | 1241155.6214 | 2752093.1836 | 1241145.0978 | 2752096.2211 | 1241137.845

## bus_geodata
| x | y | coords
0 | 2751446.5191 | 1241574.7556
1 | 2751602.1008 | 1241558.0154
2 | 2751899.4847 | 1241803.2963
3 | 2751908.4214 | 1241727.1626
4 | 2751821.287 | 1241955.572
5 | 2751933.5623 | 1241724.9813
6 | 2751789.964 | 1241682.2341
7 | 2751804.5954 | 1242152.5541
8 | 2751702.4382 | 1241922.9307
9 | 2751940.3553 | 1241720.4465
10 | 2751796.7336 | 1241637.6316
11 | 2751765.9236 | 1241670.4415
12 | 2752091.9048 | 1242435.048
13 | 2751688.7984 | 1241919.962
14 | 2751949.4452 | 1241714.3783
15 | 2751947.0449 | 1241715.9807
16 | 2751960.2633 | 1241655.8887
17 | 2751869.4912 | 1241570.1844
18 | 2752031.8967 | 1241572.1659
19 | 2752135.0059 | 1241746.8511
20 | 2752143.2199 | 1241623.8072
21 | 2752118.6469 | 1241926.7005
22 | 2752107.0036 | 1242018.1132
23 | 2752171.3904 | 1241797.2295
24 | 2752306.49 | 1241856.3587
25 | 2752186.7938 | 1241645.4184
26 | 2752284.01 | 1241678.1513
27 | 2752322.635 | 1241677.5516
28 | 2751550.4291 | 1241902.6882
29 | 2751579.3979 | 1241673.4045
30 | 2751547.094 | 1241906.5962
31 | 2751585.8215 | 1241649.5275
32 | 2751660.7988 | 1241578.2451
33 | 2751614.131 | 1241549.3367
34 | 2751688.0636 | 1241536.4578
35 | 2751726.401 | 1241273.0431
36 | 2752006.7638 | 1241478.6346
37 | 2751949.0562 | 1241312.9881
38 | 2751773.5281 | 1241281.0114
39 | 2751978.9869 | 1241302.2118
40 | 2751728.5478 | 1241272.9665
41 | 2752019.8831 | 1241265.3595
42 | 2752035.3683 | 1241242.466
43 | 2752087.6461 | 1241155.6214
44 | 2752096.2211 | 1241137.845
45 | 2752209.3799 | 1242549.1936
46 | 2751789.964 | 1241682.2341

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1