## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3104-1_1_1_node_136 | 0.4 | n |  | TRUE
1 | bus_LV_3104-1_1_1_node_138 | 0.4 | n |  | TRUE
2 | bus_LV_3104-1_1_1_node_139 | 0.4 | n |  | TRUE
3 | bus_LV_3104-1_1_1_node_140 | 0.4 | n |  | TRUE
4 | bus_LV_3104-1_1_1_node_141 | 0.4 | n |  | TRUE
5 | bus_LV_3104-1_1_1_node_142 | 0.4 | n |  | TRUE
6 | bus_LV_3104-1_1_1_node_148 | 0.4 | n |  | TRUE
7 | bus_LV_3104-1_1_1_node_147 | 0.4 | n |  | TRUE
8 | bus_LV_3104-1_1_1_node_143 | 0.4 | n |  | TRUE
9 | bus_LV_3104-1_1_1_node_144 | 0.4 | n |  | TRUE
10 | bus_LV_3104-1_1_1_node_145 | 0.4 | n |  | TRUE
11 | bus_LV_3104-1_1_1_node_146 | 0.4 | n |  | TRUE
12 | bus_LV_3104-1_1_1_node_149 | 0.4 | n |  | TRUE
13 | bus_LV_3104-1_1_1_node_102 | 0.4 | n |  | TRUE
14 | bus_LV_3104-1_1_1_node_150 | 0.4 | n |  | TRUE
15 | bus_LV_3104-1_1_1_node_101 | 0.4 | n |  | TRUE
16 | bus_LV_3104-1_1_1_node_151 | 0.4 | n |  | TRUE
17 | bus_LV_3104-1_1_1_node_152 | 0.4 | n |  | TRUE
18 | bus_LV_3104-1_1_1_node_95 | 0.4 | n |  | TRUE
19 | bus_LV_3104-1_1_1_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_3104-1_1_1_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_3104-1_1_1_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_3104-1_1_1_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_3104-1_1_1_node_60 | 0.4 | n |  | TRUE
24 | bus_LV_3104-1_1_1_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_3104-1_1_1_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_3104-1_1_1_node_62 | 0.4 | n |  | TRUE
27 | bus_LV_3104-1_1_1_node_63 | 0.4 | n |  | TRUE
28 | bus_LV_3104-1_1_1_node_64 | 0.4 | n |  | TRUE
29 | bus_LV_3104-1_1_1_node_67 | 0.4 | n |  | TRUE
30 | bus_LV_3104-1_1_1_node_71 | 0.4 | n |  | TRUE
31 | bus_LV_3104-1_1_1_node_69 | 0.4 | n |  | TRUE
32 | bus_LV_3104-1_1_1_node_70 | 0.4 | n |  | TRUE
33 | bus_LV_3104-1_1_1_node_72 | 0.4 | n |  | TRUE
34 | bus_LV_3104-1_1_1_node_74 | 0.4 | n |  | TRUE
35 | bus_LV_3104-1_1_1_node_73 | 0.4 | n |  | TRUE
36 | bus_LV_3104-1_1_1_node_82 | 0.4 | n |  | TRUE
37 | bus_LV_3104-1_1_1_node_79 | 0.4 | n |  | TRUE
38 | bus_LV_3104-1_1_1_node_76 | 0.4 | n |  | TRUE
39 | bus_LV_3104-1_1_1_node_75 | 0.4 | n |  | TRUE
40 | bus_LV_3104-1_1_1_node_80 | 0.4 | n |  | TRUE
41 | bus_LV_3104-1_1_1_node_77 | 0.4 | n |  | TRUE
42 | bus_LV_3104-1_1_1_node_78 | 0.4 | n |  | TRUE
43 | bus_LV_3104-1_1_1_node_81 | 0.4 | n |  | TRUE
44 | bus_LV_3104-1_1_1_node_83 | 0.4 | n |  | TRUE
45 | bus_LV_3104-1_1_1_node_84 | 0.4 | n |  | TRUE
46 | bus_LV_3104-1_1_1_node_87 | 0.4 | n |  | TRUE
47 | bus_LV_3104-1_1_1_node_86 | 0.4 | n |  | TRUE
48 | bus_LV_3104-1_1_1_node_85 | 0.4 | n |  | TRUE
49 | bus_LV_3104-1_1_1_node_88 | 0.4 | n |  | TRUE
50 | bus_LV_3104-1_1_1_node_89 | 0.4 | n |  | TRUE
51 | bus_LV_3104-1_1_1_node_90 | 0.4 | n |  | TRUE
52 | bus_LV_3104-1_1_1_node_91 | 0.4 | n |  | TRUE
53 | bus_LV_3104-1_1_1_node_93 | 0.4 | n |  | TRUE
54 | bus_LV_3104-1_1_1_node_92 | 0.4 | n |  | TRUE
55 | bus_LV_3104-1_1_1_node_94 | 0.4 | n |  | TRUE
56 | bus_LV_3104-1_1_1_node_96 | 0.4 | n |  | TRUE
57 | bus_LV_3104-1_1_1_node_97 | 0.4 | n |  | TRUE
58 | bus_LV_3104-1_1_1_node_100 | 0.4 | n |  | TRUE
59 | bus_LV_3104-1_1_1_node_98 | 0.4 | n |  | TRUE
60 | bus_LV_3104-1_1_1_node_99 | 0.4 | n |  | TRUE
61 | bus_MV_0_node_89 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3104-1_1_1_load_136 | 0 | 7.9256e-05 | 1.9863e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3104-1_1_1_load_139 | 2 | 0.00024905 | 6.2419e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3104-1_1_1_load_140 | 3 | 0.00053608 | 0.00013436 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3104-1_1_1_load_141 | 4 | 0.00075673 | 0.00018965 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3104-1_1_1_load_148 | 6 | 0.00076937 | 0.00019282 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3104-1_1_1_load_147 | 7 | 0.00018941 | 4.7471e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3104-1_1_1_load_143 | 8 | 0.00047043 | 0.0001179 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3104-1_1_1_load_144 | 9 | 0.00055082 | 0.00013805 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3104-1_1_1_load_145 | 10 | 0.0012429 | 0.00031149 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3104-1_1_1_load_146 | 11 | 0.001258 | 0.0003153 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3104-1_1_1_load_149 | 12 | 0.00020602 | 5.1633e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3104-1_1_1_load_102 | 13 | 0.00060606 | 0.00015189 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3104-1_1_1_load_150 | 14 | 0.0012601 | 0.00031581 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3104-1_1_1_load_151 | 16 | 0.00023611 | 5.9174e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3104-1_1_1_load_152 | 17 | 0.0014962 | 0.00037497 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3104-1_1_1_load_39 | 19 | 9.3572e-05 | 2.3451e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3104-1_1_1_load_40 | 20 | 0.00014748 | 3.6961e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3104-1_1_1_load_41 | 21 | 8.079e-05 | 2.0248e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3104-1_1_1_load_60 | 23 | 0.00052009 | 0.00013035 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3104-1_1_1_load_57 | 24 | 0.00022035 | 5.5226e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3104-1_1_1_load_61 | 25 | 0.00012043 | 3.0183e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3104-1_1_1_load_67 | 29 | 0.00010889 | 2.729e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3104-1_1_1_load_71 | 30 | 0.00015139 | 3.7941e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3104-1_1_1_load_69 | 31 | 4.1343e-05 | 1.0362e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3104-1_1_1_load_70 | 32 | 0.00030729 | 7.7014e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3104-1_1_1_load_74 | 34 | 3.9409e-05 | 9.8768e-06 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3104-1_1_1_load_82 | 36 | 0.00037108 | 9.3002e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3104-1_1_1_load_76 | 38 | 7.0316e-05 | 1.7623e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3104-1_1_1_load_80 | 40 | 0.0027835 | 0.0006976 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3104-1_1_1_load_77 | 41 | 0.00027076 | 6.7858e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3104-1_1_1_load_78 | 42 | 0.00020897 | 5.2372e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3104-1_1_1_load_83 | 44 | 0.0067332 | 0.0016875 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3104-1_1_1_load_84 | 45 | 7.4983e-05 | 1.8793e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3104-1_1_1_load_86 | 47 | 0.00010788 | 2.7036e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3104-1_1_1_load_85 | 48 | 0.00012459 | 3.1225e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3104-1_1_1_load_89 | 50 | 0.0031605 | 0.0007921 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3104-1_1_1_load_90 | 51 | 0.0053913 | 0.0013512 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3104-1_1_1_load_91 | 52 | 0.0025832 | 0.0006474 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3104-1_1_1_load_92 | 54 | 0.0070145 | 0.001758 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3104-1_1_1_load_97 | 57 | 0.00015987 | 4.0067e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3104-1_1_1_load_100 | 58 | 0.00050717 | 0.00012711 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3104-1_1_1_load_98 | 59 | 0.00076892 | 0.00019271 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3104-1_1_1_load_99 | 60 | 0.00021817 | 5.4677e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3104-1_1_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.21189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3104-1_1_1_line_1 | NAYY 4x150 SE | 1 | 2 | 0.11842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3104-1_1_1_line_2 | NAYY 4x150 SE | 1 | 3 | 0.19643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3104-1_1_1_line_3 | NAYY 4x150 SE | 2 | 4 | 0.014383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3104-1_1_1_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0038539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3104-1_1_1_line_5 | NAYY 4x150 SE | 5 | 6 | 0.092446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3104-1_1_1_line_6 | NAYY 4x150 SE | 5 | 7 | 0.012694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3104-1_1_1_line_7 | NAYY 4x150 SE | 6 | 12 | 0.012278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3104-1_1_1_line_8 | NAYY 4x150 SE | 7 | 11 | 0.031463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3104-1_1_1_line_9 | NAYY 4x150 SE | 8 | 9 | 0.045759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3104-1_1_1_line_10 | NAYY 4x150 SE | 8 | 10 | 0.0038516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3104-1_1_1_line_11 | NAYY 4x150 SE | 9 | 11 | 0.056433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3104-1_1_1_line_12 | NAYY 4x150 SE | 12 | 13 | 0.034361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3104-1_1_1_line_13 | NAYY 4x150 SE | 13 | 56 | 0.0082808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3104-1_1_1_line_14 | NAYY 4x150 SE | 14 | 15 | 0.022813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3104-1_1_1_line_15 | NAYY 4x150 SE | 14 | 16 | 0.25618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3104-1_1_1_line_16 | NAYY 4x150 SE | 15 | 56 | 0.004253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3104-1_1_1_line_17 | NAYY 4x150 SE | 17 | 18 | 0.19687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3104-1_1_1_line_18 | NAYY 4x150 SE | 18 | 53 | 0.38184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3104-1_1_1_line_19 | NAYY 4x150 SE | 19 | 20 | 0.19198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3104-1_1_1_line_20 | NAYY 4x150 SE | 20 | 21 | 0.0033446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3104-1_1_1_line_21 | NAYY 4x150 SE | 21 | 22 | 0.12566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3104-1_1_1_line_22 | NAYY 4x150 SE | 22 | 23 | 0.035812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3104-1_1_1_line_23 | NAYY 4x150 SE | 22 | 24 | 0.0030823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3104-1_1_1_line_24 | NAYY 4x150 SE | 23 | 25 | 0.046294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3104-1_1_1_line_25 | NAYY 4x150 SE | 25 | 26 | 0.0038251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3104-1_1_1_line_26 | NAYY 4x150 SE | 26 | 27 | 0.3019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3104-1_1_1_line_27 | NAYY 4x150 SE | 26 | 28 | 0.021872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3104-1_1_1_line_28 | NAYY 4x150 SE | 27 | 29 | 0.018191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3104-1_1_1_line_29 | NAYY 4x150 SE | 28 | 30 | 0.013528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3104-1_1_1_line_30 | NAYY 4x150 SE | 29 | 31 | 0.15014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3104-1_1_1_line_31 | NAYY 4x150 SE | 30 | 33 | 0.35708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3104-1_1_1_line_32 | NAYY 4x150 SE | 31 | 32 | 0.077751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3104-1_1_1_line_33 | NAYY 4x150 SE | 33 | 34 | 0.092592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3104-1_1_1_line_34 | NAYY 4x150 SE | 33 | 35 | 0.20275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3104-1_1_1_line_35 | NAYY 4x150 SE | 34 | 38 | 0.28619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3104-1_1_1_line_36 | NAYY 4x150 SE | 35 | 36 | 0.039923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3104-1_1_1_line_37 | NAYY 4x150 SE | 35 | 37 | 0.16979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3104-1_1_1_line_38 | NAYY 4x150 SE | 37 | 43 | 0.092559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3104-1_1_1_line_39 | NAYY 4x150 SE | 37 | 42 | 0.2291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3104-1_1_1_line_40 | NAYY 4x150 SE | 39 | 40 | 0.19646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3104-1_1_1_line_41 | NAYY 4x150 SE | 39 | 41 | 0.18434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3104-1_1_1_line_42 | NAYY 4x150 SE | 41 | 42 | 0.031704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3104-1_1_1_line_43 | NAYY 4x150 SE | 43 | 44 | 0.25641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3104-1_1_1_line_44 | NAYY 4x150 SE | 43 | 45 | 0.018115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3104-1_1_1_line_45 | NAYY 4x150 SE | 44 | 46 | 0.14005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3104-1_1_1_line_46 | NAYY 4x150 SE | 45 | 47 | 0.0024255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3104-1_1_1_line_47 | NAYY 4x150 SE | 46 | 49 | 0.22587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3104-1_1_1_line_48 | NAYY 4x150 SE | 46 | 50 | 0.044651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3104-1_1_1_line_49 | NAYY 4x150 SE | 47 | 48 | 0.054641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3104-1_1_1_line_50 | NAYY 4x150 SE | 49 | 51 | 0.014305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3104-1_1_1_line_51 | NAYY 4x150 SE | 49 | 52 | 0.075793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3104-1_1_1_line_52 | NAYY 4x150 SE | 51 | 53 | 0.21615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3104-1_1_1_line_53 | NAYY 4x150 SE | 52 | 54 | 0.006789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3104-1_1_1_line_54 | NAYY 4x150 SE | 53 | 55 | 0.35454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3104-1_1_1_line_55 | NAYY 4x150 SE | 55 | 56 | 0.092902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3104-1_1_1_line_56 | NAYY 4x150 SE | 55 | 57 | 0.076143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3104-1_1_1_line_57 | NAYY 4x150 SE | 57 | 58 | 0.023607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3104-1_1_1_line_58 | NAYY 4x150 SE | 58 | 60 | 0.0089907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3104-1_1_1_line_59 | NAYY 4x150 SE | 59 | 60 | 0.10679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3104-1_1_1_trafo_89 | 0.25 MVA 20/0.4 kV | 61 | 50 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2746492.096 | 1248868.1821 | 2746535.0906 | 1248893.8466 | 2746559.2128 | 1248902.4177 | 2746608.0365 | 1248907.741 | 2746689.1369 | 1248916.9336 | 2746694.2556 | 1248918.8976
1 | 2746492.096 | 1248868.1821 | 2746494.7408 | 1248862.353 | 2746516.362 | 1248834.2941 | 2746531.1955 | 1248824.3958 | 2746571.2935 | 1248808.0605 | 2746578.1282 | 1248800.5334 | 2746573.8735 | 1248797.3737
2 | 2746492.096 | 1248868.1821 | 2746445.3715 | 1248840.5794 | 2746431.7005 | 1248833.4127 | 2746412.0121 | 1248827.9213 | 2746369.401 | 1248821.2406 | 2746349.8668 | 1248819.9015 | 2746306.4504 | 1248823.57
3 | 2746562.3264 | 1248788.7984 | 2746573.8735 | 1248797.3737
4 | 2746302.6102 | 1248823.8945 | 2746306.4504 | 1248823.57
5 | 2746302.6102 | 1248823.8945 | 2746287.4528 | 1248824.2875 | 2746268.2487 | 1248818.4526 | 2746256.8801 | 1248810.4312 | 2746247.8608 | 1248797.5299 | 2746244.0386 | 1248782.5103 | 2746244.9927 | 1248770.4892
6 | 2746302.6102 | 1248823.8945 | 2746302.9473 | 1248829.8195 | 2746299.0522 | 1248835.344
7 | 2746244.9927 | 1248770.4892 | 2746249.5279 | 1248759.0791 | 2746249.5279 | 1248759.0791
8 | 2746280.4636 | 1248860.7277 | 2746297.0128 | 1248838.2366 | 2746299.0522 | 1248835.344
9 | 2746201.57 | 1248916.1512 | 2746218.9451 | 1248914.2379 | 2746229.111 | 1248912.5204 | 2746235.5528 | 1248910.4773 | 2746241.122 | 1248907.979 | 2746244.7361 | 1248904.371
10 | 2746197.7415 | 1248916.5728 | 2746201.57 | 1248916.1512
11 | 2746244.7361 | 1248904.371 | 2746245.4054 | 1248903.7029 | 2746251.5154 | 1248897.0473 | 2746275.5934 | 1248867.3466 | 2746280.4636 | 1248860.7277
12 | 2746249.5279 | 1248759.0791 | 2746260.3571 | 1248746.7235 | 2746274.0648 | 1248735.1628
13 | 2746280.3949 | 1248729.8242 | 2746274.0648 | 1248735.1628
14 | 2746284.2563 | 1248731.6323 | 2746294.224 | 1248731.834 | 2746306.6643 | 1248728.6401
15 | 2746306.6643 | 1248728.6401 | 2746315.6424 | 1248726.3351 | 2746326.7139 | 1248724.0618 | 2746355.5472 | 1248700.6958 | 2746370.2375 | 1248690.7825 | 2746381.2443 | 1248685.6271 | 2746402.3618 | 1248682.5345 | 2746435.5734 | 1248674.3137 | 2746448.003 | 1248670.2835 | 2746452.8308 | 1248665.6985 | 2746453.3449 | 1248659.572 | 2746452.3362 | 1248597.6998 | 2746452.4651 | 1248577.8176 | 2746453.6652 | 1248572.5291
16 | 2746280.3949 | 1248729.8242 | 2746284.2563 | 1248731.6323
17 | 2745956.113 | 1248205.9719 | 2745949.2029 | 1248227.2997 | 2745943.3773 | 1248241.414 | 2745937.3518 | 1248251.3751 | 2745926.532 | 1248279.2906 | 2745915.4614 | 1248301.439 | 2745903.7092 | 1248322.1248 | 2745891.0322 | 1248344.4672 | 2745881.3113 | 1248362.4449 | 2745874.5026 | 1248373.8437 | 2745868.0444 | 1248381.1361
18 | 2745868.0444 | 1248381.1361 | 2745909.4772 | 1248420.4593 | 2745956.2949 | 1248463.5188 | 2745967.4035 | 1248472.3228 | 2745973.3655 | 1248475.6616 | 2745979.135 | 1248475.4702 | 2745984.4304 | 1248473.0538 | 2745986.5352 | 1248466.7442 | 2745985.8814 | 1248459.8549 | 2745976.9543 | 1248414.9595 | 2745976.5123 | 1248407.1413 | 2745978.5673 | 1248401.3197 | 2745983.847 | 1248396.4785 | 2745988.8051 | 1248394.8768 | 2745995.7498 | 1248396.972 | 2746000.7376 | 1248400.298 | 2746035.2804 | 1248437.7173 | 2746067.009 | 1248471.5863 | 2746072.1624 | 1248475.8506 | 2746077.6903 | 1248478.4115 | 2746082.047 | 1248477.9072 | 2746086.6494 | 1248474.7955 | 2746088.5611 | 1248470.1938 | 2746089.3954 | 1248465.7769
19 | 2747222.6392 | 1247875.9675 | 2747223.3913 | 1247881.9747 | 2747220.1255 | 1247911.8329 | 2747243.9561 | 1248038.3554 | 2747226.0675 | 1248058.5637 | 2747225.9907 | 1248058.6965
20 | 2747224.3172 | 1248061.5924 | 2747225.9907 | 1248058.6965
21 | 2747131.9023 | 1248123.4654 | 2747141.8673 | 1248120.7768 | 2747167.2943 | 1248119.807 | 2747184.7592 | 1248116.6375 | 2747197.3365 | 1248110.6885 | 2747209.7399 | 1248101.3988 | 2747216.2079 | 1248088.6251 | 2747221.4486 | 1248066.5565 | 2747224.3172 | 1248061.5924
22 | 2747131.9023 | 1248123.4654 | 2747097.1617 | 1248114.7696
23 | 2747131.9023 | 1248123.4654 | 2747134.7617 | 1248124.6161
24 | 2747097.1617 | 1248114.7696 | 2747052.253 | 1248103.5288
25 | 2747048.5423 | 1248102.6 | 2747052.253 | 1248103.5288
26 | 2747153.7024 | 1248374.9443 | 2747153.2365 | 1248356.5932 | 2747149.0841 | 1248337.6055 | 2747142.2671 | 1248319.4302 | 2747108.5683 | 1248275.3412 | 2747086.713 | 1248250.8647 | 2747056.9526 | 1248198.755 | 2747048.5423 | 1248102.6
27 | 2747048.5423 | 1248102.6 | 2747028.0318 | 1248094.8396
28 | 2747153.7024 | 1248374.9443 | 2747149.21 | 1248387.5892 | 2747145.7477 | 1248390.8726
29 | 2747028.0318 | 1248094.8396 | 2747021.0933 | 1248083.226
30 | 2747145.7477 | 1248390.8726 | 2747141.0388 | 1248395.3382 | 2747126.733 | 1248401.856 | 2747110.9339 | 1248409.7826 | 2747096.1672 | 1248420.2595 | 2747080.6498 | 1248431.4518 | 2747072.1881 | 1248436.302 | 2747060.0765 | 1248441.7846 | 2747051.8965 | 1248449.9005 | 2747042.8122 | 1248465.223 | 2747035.2507 | 1248477.3358 | 2747031.1025 | 1248482.143
31 | 2746740.9617 | 1247903.8256 | 2746760.7402 | 1247892.0707 | 2746795.8229 | 1247915.5724 | 2746880.8609 | 1247942.0366 | 2746948.8192 | 1248022.8078 | 2747003.1848 | 1248053.2509 | 2747021.0933 | 1248083.226
32 | 2746980.0165 | 1248539.6141 | 2746989.9531 | 1248534.0774 | 2747000.7509 | 1248522.7678 | 2747012.0171 | 1248507.4993 | 2747025.1689 | 1248489.0191 | 2747031.1025 | 1248482.143
33 | 2746740.9617 | 1247903.8256 | 2746739.8976 | 1247895.5359 | 2746742.2603 | 1247871.227 | 2746746.6451 | 1247863.2057 | 2746776.9462 | 1247831.4591 | 2746782.5998 | 1247827.7112
34 | 2746740.9617 | 1247903.8256 | 2746775.567 | 1247946.9005 | 2746789.6872 | 1247992.7267 | 2746782.6519 | 1247999.4589 | 2746781.2941 | 1248035.9597 | 2746783.4352 | 1248047.4346 | 2746802.9339 | 1248069.2157 | 2746809.029 | 1248079.9879
35 | 2747052.8948 | 1247817.6832 | 2747027.5382 | 1247792.019 | 2747012.4116 | 1247789.2302 | 2746989.6381 | 1247792.8357 | 2746928.8645 | 1247800.9928 | 2746902.4885 | 1247807.5788 | 2746849.1608 | 1247817.4561 | 2746794.1856 | 1247820.0306 | 2746782.5998 | 1247827.7112
36 | 2746776.5885 | 1248056.9297 | 2746799.6951 | 1248075.5081 | 2746809.029 | 1248079.9879
37 | 2746734.7687 | 1248178.5427 | 2746749.7088 | 1248176.9221 | 2746816.6173 | 1248158.2497 | 2746825.5333 | 1248150.3185 | 2746827.9675 | 1248136.5547 | 2746809.029 | 1248079.9879
38 | 2746642.7922 | 1248186.775 | 2746654.7067 | 1248182.5435 | 2746667.2893 | 1248181.2312 | 2746734.7687 | 1248178.5427
39 | 2746734.7687 | 1248178.5427 | 2746736.3047 | 1248166.5583 | 2746734.3538 | 1248157.4681 | 2746724.2811 | 1248139.5019 | 2746712.4245 | 1248120.0346 | 2746702.3517 | 1248102.0684 | 2746694.87 | 1248081.9865 | 2746689.7833 | 1248067.4025 | 2746686.8704 | 1248053.2171 | 2746685.0804 | 1248037.6247 | 2746684.9552 | 1248013.3876 | 2746681.8138 | 1247993.7803 | 2746677.2985 | 1247985.7166 | 2746669.0333 | 1247982.6203 | 2746656.8004 | 1247978.3359 | 2746655.4715 | 1247977.5182
40 | 2746362.7548 | 1247898.0058 | 2746361.8261 | 1247847.5131 | 2746367.7813 | 1247829.432 | 2746375.0002 | 1247822.5926 | 2746384.2651 | 1247821.943 | 2746393.7645 | 1247825.8701 | 2746479.3207 | 1247873.0496
41 | 2746479.3207 | 1247873.0496 | 2746529.3699 | 1247900.6567 | 2746545.1637 | 1247902.7378 | 2746568.9686 | 1247902.0033 | 2746579.4857 | 1247906.6232 | 2746590.1708 | 1247914.8395 | 2746599.7697 | 1247922.6731 | 2746611.1988 | 1247929.8291 | 2746627.6742 | 1247938.5559 | 2746632.2611 | 1247943.7297 | 2746636.1148 | 1247954.0748
42 | 2746636.1148 | 1247954.0748 | 2746638.3828 | 1247960.1633 | 2746643.9395 | 1247970.4215 | 2746655.4715 | 1247977.5182
43 | 2746642.7922 | 1248186.775 | 2746620.936 | 1248197.6559 | 2746601.4479 | 1248201.0883 | 2746565.2808 | 1248202.8292 | 2746546.7142 | 1248205.6618 | 2746528.9095 | 1248213.1288 | 2746475.1727 | 1248240.9495 | 2746453.4443 | 1248247.2965 | 2746427.6031 | 1248250.3834 | 2746398.9185 | 1248252.1716
44 | 2746642.7922 | 1248186.775 | 2746645.2744 | 1248191.8078 | 2746646.4197 | 1248199.5657 | 2746649.129 | 1248203.3585 | 2746649.129 | 1248203.3585
45 | 2746310.8423 | 1248269.4635 | 2746309.043 | 1248297.957 | 2746316.4295 | 1248302.9663 | 2746325.0367 | 1248302.3003 | 2746334.4135 | 1248296.1704 | 2746358.7112 | 1248266.253 | 2746371.9701 | 1248255.6036 | 2746389.6604 | 1248252.7488 | 2746398.9185 | 1248252.1716
46 | 2746649.129 | 1248203.3585 | 2746651.1724 | 1248204.6652
47 | 2746310.8423 | 1248269.4635 | 2746315.0093 | 1248244.5317 | 2746311.8503 | 1248238.7483 | 2746301.319 | 1248237.1647 | 2746285.6794 | 1248246.0094 | 2746273.0885 | 1248247.667 | 2746249.9747 | 1248247.0963 | 2746220.1635 | 1248250.3196 | 2746165.9923 | 1248259.081 | 2746120.7748 | 1248261.1017
48 | 2746272.5722 | 1248291.2175 | 2746278.6255 | 1248284.4382 | 2746292.8592 | 1248276.5264 | 2746302.8727 | 1248271.8468 | 2746310.8423 | 1248269.4635
49 | 2746677.4228 | 1248250.703 | 2746671.4916 | 1248239.7682 | 2746667.5606 | 1248225.8134 | 2746664.8178 | 1248217.8825 | 2746661.3405 | 1248212.458 | 2746657.162 | 1248208.4954 | 2746651.1724 | 1248204.6652
50 | 2746120.7748 | 1248261.1017 | 2746112.18 | 1248263.1029 | 2746107.3885 | 1248265.7631
51 | 2746120.7748 | 1248261.1017 | 2746119.8758 | 1248254.6624 | 2746123.0595 | 1248250.5704 | 2746154.7117 | 1248226.3166 | 2746157.917 | 1248221.3464 | 2746159.8108 | 1248203.1284
52 | 2746089.3954 | 1248465.7769 | 2746090.7562 | 1248431.4336 | 2746092.6443 | 1248369.8888 | 2746092.8523 | 1248360.2293 | 2746091.7847 | 1248352.0508 | 2746089.205 | 1248344.5246 | 2746081.028 | 1248326.8287 | 2746078.8298 | 1248320.3796 | 2746077.3291 | 1248311.9902 | 2746077.0615 | 1248303.231 | 2746078.5312 | 1248296.027 | 2746081.285 | 1248287.6092 | 2746085.0604 | 1248281.8857 | 2746089.7338 | 1248277.1297 | 2746101.8995 | 1248268.8105 | 2746107.3885 | 1248265.7631
53 | 2746160.5128 | 1248196.3758 | 2746159.8108 | 1248203.1284
54 | 2746089.3954 | 1248465.7769 | 2746095.132 | 1248464.1611 | 2746107.0447 | 1248455.6689 | 2746118.7757 | 1248453.3225 | 2746128.8185 | 1248456.3172 | 2746179.4375 | 1248487.3276 | 2746220.9802 | 1248511.3747 | 2746261.2563 | 1248521.8335 | 2746295.8704 | 1248525.9915 | 2746305.9199 | 1248529.3204 | 2746313.994 | 1248539.2067 | 2746310.6946 | 1248563.2813 | 2746317.8164 | 1248612.637 | 2746316.9197 | 1248629.364 | 2746313.0063 | 1248642.8134
55 | 2746313.0063 | 1248642.8134 | 2746292.6182 | 1248697.7399 | 2746280.3949 | 1248729.8242
56 | 2746313.0063 | 1248642.8134 | 2746308.6998 | 1248643.1186 | 2746299.8072 | 1248647.7146 | 2746288.0858 | 1248654.8877 | 2746276.2288 | 1248661.1232 | 2746268.0439 | 1248662.4559 | 2746259.2936 | 1248660.3714 | 2746249.814 | 1248658.1465 | 2746242.1786 | 1248657.6433
57 | 2746242.1786 | 1248657.6433 | 2746239.2917 | 1248657.453 | 2746231.8157 | 1248658.8366 | 2746224.3593 | 1248658.5079 | 2746219.1951 | 1248656.2228
58 | 2746219.1951 | 1248656.2228 | 2746219.1951 | 1248656.2228 | 2746212.7465 | 1248649.9579 | 2746212.7465 | 1248649.9579
59 | 2746123.5112 | 1248640.2153 | 2746129.3778 | 1248643.4296 | 2746135.977 | 1248643.5924 | 2746171.5554 | 1248629.7676 | 2746181.7567 | 1248626.9386 | 2746190.3686 | 1248626.0613 | 2746199.0446 | 1248628.0994 | 2746204.5666 | 1248630.5823 | 2746207.5446 | 1248635.427 | 2746210.4161 | 1248643.6722 | 2746212.7465 | 1248649.9579

## bus_geodata
| x | y | coords
0 | 2746694.2556 | 1248918.8976
1 | 2746492.096 | 1248868.1821
2 | 2746573.8735 | 1248797.3737
3 | 2746306.4504 | 1248823.57
4 | 2746562.3264 | 1248788.7984
5 | 2746302.6102 | 1248823.8945
6 | 2746244.9927 | 1248770.4892
7 | 2746299.0522 | 1248835.344
8 | 2746201.57 | 1248916.1512
9 | 2746244.7361 | 1248904.371
10 | 2746197.7415 | 1248916.5728
11 | 2746280.4636 | 1248860.7277
12 | 2746249.5279 | 1248759.0791
13 | 2746274.0648 | 1248735.1628
14 | 2746306.6643 | 1248728.6401
15 | 2746284.2562 | 1248731.6323
16 | 2746453.6652 | 1248572.5291
17 | 2745956.113 | 1248205.9719
18 | 2745868.0444 | 1248381.1361
19 | 2747222.6392 | 1247875.9675
20 | 2747225.9907 | 1248058.6965
21 | 2747224.3172 | 1248061.5924
22 | 2747131.9023 | 1248123.4654
23 | 2747097.1617 | 1248114.7696
24 | 2747134.7617 | 1248124.6161
25 | 2747052.253 | 1248103.5288
26 | 2747048.5423 | 1248102.6
27 | 2747153.7024 | 1248374.9443
28 | 2747028.0318 | 1248094.8396
29 | 2747145.7477 | 1248390.8726
30 | 2747021.0933 | 1248083.226
31 | 2747031.1025 | 1248482.143
32 | 2746980.0165 | 1248539.6141
33 | 2746740.9617 | 1247903.8256
34 | 2746782.5998 | 1247827.7112
35 | 2746809.029 | 1248079.9879
36 | 2746776.5885 | 1248056.9297
37 | 2746734.7687 | 1248178.5427
38 | 2747052.8948 | 1247817.6832
39 | 2746479.3207 | 1247873.0496
40 | 2746362.7548 | 1247898.0058
41 | 2746636.1147 | 1247954.0748
42 | 2746655.4715 | 1247977.5182
43 | 2746642.7922 | 1248186.775
44 | 2746398.9185 | 1248252.1716
45 | 2746649.129 | 1248203.3585
46 | 2746310.8423 | 1248269.4635
47 | 2746651.1724 | 1248204.6652
48 | 2746677.4228 | 1248250.703
49 | 2746120.7748 | 1248261.1017
50 | 2746272.5722 | 1248291.2175
51 | 2746107.3885 | 1248265.7631
52 | 2746159.8108 | 1248203.1284
53 | 2746089.3954 | 1248465.7769
54 | 2746160.5128 | 1248196.3758
55 | 2746313.0063 | 1248642.8134
56 | 2746280.3949 | 1248729.8242
57 | 2746242.1786 | 1248657.6433
58 | 2746219.1951 | 1248656.2228
59 | 2746123.5112 | 1248640.2153
60 | 2746212.7465 | 1248649.9579
61 | 2746272.5722 | 1248291.2175

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1