## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3105-12_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3105-12_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3105-12_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3105-12_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_3105-12_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_3105-12_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_3105-12_0_2_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_3105-12_0_2_node_30 | 0.4 | n |  | TRUE
8 | bus_LV_3105-12_0_2_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_3105-12_0_2_node_63 | 0.4 | n |  | TRUE
10 | bus_LV_3105-12_0_2_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_3105-12_0_2_node_64 | 0.4 | n |  | TRUE
12 | bus_LV_3105-12_0_2_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_3105-12_0_2_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_3105-12_0_2_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_3105-12_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_3105-12_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_3105-12_0_2_node_76 | 0.4 | n |  | TRUE
18 | bus_LV_3105-12_0_2_node_74 | 0.4 | n |  | TRUE
19 | bus_LV_3105-12_0_2_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_3105-12_0_2_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_3105-12_0_2_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_3105-12_0_2_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_3105-12_0_2_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_3105-12_0_2_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_3105-12_0_2_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_3105-12_0_2_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_3105-12_0_2_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_3105-12_0_2_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_3105-12_0_2_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_3105-12_0_2_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_3105-12_0_2_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_3105-12_0_2_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_3105-12_0_2_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_3105-12_0_2_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_3105-12_0_2_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_3105-12_0_2_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_3105-12_0_2_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_3105-12_0_2_node_54 | 0.4 | n |  | TRUE
39 | bus_LV_3105-12_0_2_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_3105-12_0_2_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_3105-12_0_2_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_3105-12_0_2_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_3105-12_0_2_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_3105-12_0_2_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_3105-12_0_2_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_3105-12_0_2_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_3105-12_0_2_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_3105-12_0_2_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_3105-12_0_2_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_3105-12_0_2_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_3105-12_0_2_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_3105-12_0_2_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_3105-12_0_2_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_3105-12_0_2_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_3105-12_0_2_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_3105-12_0_2_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_3105-12_0_2_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_3105-12_0_2_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_3105-12_0_2_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_3105-12_0_2_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_3105-12_0_2_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_3105-12_0_2_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_3105-12_0_2_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_3105-12_0_2_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_3105-12_0_2_node_73 | 0.4 | n |  | TRUE
66 | bus_LV_3105-12_0_2_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_3105-12_0_2_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_3105-12_0_2_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_3105-12_0_2_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_3105-12_0_2_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_3105-12_0_2_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_3105-12_0_2_node_75 | 0.4 | n |  | TRUE
73 | bus_MV_148_0_node_239 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3105-12_0_2_load_0 | 0 | 0.00479 | 0.0012005 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3105-12_0_2_load_4 | 3 | 0.0020879 | 0.00052328 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3105-12_0_2_load_5 | 4 | 0.001192 | 0.00029874 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3105-12_0_2_load_6 | 5 | 0.0038578 | 0.00096686 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3105-12_0_2_load_30 | 7 | 0.0039885 | 0.00099962 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3105-12_0_2_load_63 | 9 | 0.0036615 | 0.00091766 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3105-12_0_2_load_18 | 10 | 0.0030902 | 0.00077448 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3105-12_0_2_load_10 | 12 | 0.0040792 | 0.0010224 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3105-12_0_2_load_12 | 13 | 0.0043675 | 0.0010946 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3105-12_0_2_load_29 | 14 | 0.0020265 | 0.00050789 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3105-12_0_2_load_11 | 16 | 0.00065677 | 0.0001646 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3105-12_0_2_load_76 | 17 | 0.00060759 | 0.00015228 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3105-12_0_2_load_74 | 18 | 0.0011876 | 0.00029765 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3105-12_0_2_load_14 | 19 | 0.0031345 | 0.00078558 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3105-12_0_2_load_16 | 21 | 0.0056105 | 0.0014061 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3105-12_0_2_load_17 | 22 | 0.0038536 | 0.00096581 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3105-12_0_2_load_22 | 23 | 0.0010679 | 0.00026763 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3105-12_0_2_load_20 | 25 | 0.0044178 | 0.0011072 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3105-12_0_2_load_27 | 27 | 0.0028915 | 0.00072468 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3105-12_0_2_load_23 | 28 | 0.0034758 | 0.00087111 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3105-12_0_2_load_25 | 30 | 0.00421 | 0.0010551 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3105-12_0_2_load_28 | 31 | 0.0035317 | 0.00088513 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3105-12_0_2_load_39 | 33 | 0.0033171 | 0.00083134 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3105-12_0_2_load_26 | 34 | 0.0048989 | 0.0012278 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3105-12_0_2_load_42 | 35 | 0.0042129 | 0.0010558 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3105-12_0_2_load_38 | 36 | 0.0026129 | 0.00065486 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3105-12_0_2_load_54 | 38 | 0.0018365 | 0.00046027 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3105-12_0_2_load_55 | 39 | 0.0032303 | 0.0008096 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3105-12_0_2_load_31 | 41 | 0.0018879 | 0.00047314 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3105-12_0_2_load_32 | 42 | 0.004043 | 0.0010133 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3105-12_0_2_load_33 | 43 | 0.0033769 | 0.00084634 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3105-12_0_2_load_34 | 44 | 0.0037911 | 0.00095013 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3105-12_0_2_load_35 | 45 | 0.003306 | 0.00082856 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3105-12_0_2_load_36 | 46 | 0.0036393 | 0.0009121 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3105-12_0_2_load_37 | 47 | 0.0032985 | 0.00082669 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3105-12_0_2_load_44 | 48 | 0.0033492 | 0.0008394 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3105-12_0_2_load_43 | 49 | 0.0044907 | 0.0011255 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3105-12_0_2_load_46 | 51 | 0.0034 | 0.00085211 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3105-12_0_2_load_45 | 52 | 0.0037195 | 0.00093221 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3105-12_0_2_load_60 | 53 | 0.0037509 | 0.00094007 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3105-12_0_2_load_47 | 54 | 0.0033579 | 0.00084156 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3105-12_0_2_load_61 | 55 | 0.0034713 | 0.00087 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3105-12_0_2_load_48 | 56 | 0.0038388 | 0.00096209 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3105-12_0_2_load_49 | 57 | 0.0031295 | 0.00078433 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3105-12_0_2_load_50 | 58 | 0.0032274 | 0.00080885 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3105-12_0_2_load_53 | 59 | 0.0031615 | 0.00079236 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3105-12_0_2_load_56 | 60 | 0.0037716 | 0.00094525 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3105-12_0_2_load_59 | 61 | 0.00216 | 0.00054135 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3105-12_0_2_load_62 | 62 | 0.0018752 | 0.00046998 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3105-12_0_2_load_66 | 64 | 0.00030988 | 7.7663e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3105-12_0_2_load_73 | 65 | 0.00089299 | 0.0002238 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3105-12_0_2_load_70 | 66 | 0.00024633 | 6.1737e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3105-12_0_2_load_67 | 67 | 0.00065126 | 0.00016322 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3105-12_0_2_load_71 | 70 | 0.00040937 | 0.0001026 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3105-12_0_2_load_75 | 72 | 0.00075832 | 0.00019005 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3105-12_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3105-12_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.003264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3105-12_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.10316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3105-12_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.035349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3105-12_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.038028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3105-12_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.038381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3105-12_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0029446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3105-12_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.035718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3105-12_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.042308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3105-12_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.023442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3105-12_0_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.12037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3105-12_0_2_line_11 | NAYY 4x150 SE | 10 | 14 | 0.020535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3105-12_0_2_line_12 | NAYY 4x150 SE | 11 | 63 | 0.041947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3105-12_0_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.029252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3105-12_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.0096345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3105-12_0_2_line_15 | NAYY 4x150 SE | 14 | 27 | 0.0016341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3105-12_0_2_line_16 | NAYY 4x150 SE | 15 | 19 | 0.020765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3105-12_0_2_line_17 | NAYY 4x150 SE | 15 | 20 | 0.033728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3105-12_0_2_line_18 | NAYY 4x150 SE | 16 | 17 | 0.57303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3105-12_0_2_line_19 | NAYY 4x150 SE | 17 | 18 | 0.060663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3105-12_0_2_line_20 | NAYY 4x150 SE | 18 | 72 | 0.047959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3105-12_0_2_line_21 | NAYY 4x150 SE | 18 | 71 | 0.074254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3105-12_0_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.041294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3105-12_0_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.012112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3105-12_0_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.011871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3105-12_0_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.015884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3105-12_0_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.012927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3105-12_0_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.009328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3105-12_0_2_line_28 | NAYY 4x150 SE | 25 | 28 | 0.021593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3105-12_0_2_line_29 | NAYY 4x150 SE | 26 | 29 | 0.01156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3105-12_0_2_line_30 | NAYY 4x150 SE | 26 | 30 | 0.015526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3105-12_0_2_line_31 | NAYY 4x150 SE | 27 | 34 | 0.01822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3105-12_0_2_line_32 | NAYY 4x150 SE | 28 | 31 | 0.011191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3105-12_0_2_line_33 | NAYY 4x150 SE | 29 | 32 | 0.018297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3105-12_0_2_line_34 | NAYY 4x150 SE | 29 | 33 | 0.012227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3105-12_0_2_line_35 | NAYY 4x150 SE | 31 | 34 | 0.0038295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3105-12_0_2_line_36 | NAYY 4x150 SE | 32 | 35 | 0.014241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3105-12_0_2_line_37 | NAYY 4x150 SE | 33 | 36 | 0.022473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3105-12_0_2_line_38 | NAYY 4x150 SE | 35 | 53 | 0.014363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3105-12_0_2_line_39 | NAYY 4x150 SE | 36 | 46 | 0.013982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3105-12_0_2_line_40 | NAYY 4x150 SE | 37 | 38 | 0.0063519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3105-12_0_2_line_41 | NAYY 4x150 SE | 37 | 39 | 0.013753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3105-12_0_2_line_42 | NAYY 4x150 SE | 37 | 40 | 0.003048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3105-12_0_2_line_43 | NAYY 4x150 SE | 38 | 61 | 0.017153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3105-12_0_2_line_44 | NAYY 4x150 SE | 40 | 59 | 0.015251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3105-12_0_2_line_45 | NAYY 4x150 SE | 40 | 58 | 0.021181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3105-12_0_2_line_46 | NAYY 4x150 SE | 41 | 42 | 0.0010147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3105-12_0_2_line_47 | NAYY 4x150 SE | 41 | 43 | 0.01545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3105-12_0_2_line_48 | NAYY 4x150 SE | 42 | 44 | 0.022659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3105-12_0_2_line_49 | NAYY 4x150 SE | 43 | 45 | 0.013729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3105-12_0_2_line_50 | NAYY 4x150 SE | 44 | 46 | 0.019268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3105-12_0_2_line_51 | NAYY 4x150 SE | 45 | 47 | 0.013279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3105-12_0_2_line_52 | NAYY 4x150 SE | 47 | 48 | 0.012627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3105-12_0_2_line_53 | NAYY 4x150 SE | 48 | 49 | 0.0028252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3105-12_0_2_line_54 | NAYY 4x150 SE | 49 | 52 | 0.015451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3105-12_0_2_line_55 | NAYY 4x150 SE | 50 | 51 | 0.011516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3105-12_0_2_line_56 | NAYY 4x150 SE | 50 | 52 | 0.001622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3105-12_0_2_line_57 | NAYY 4x150 SE | 51 | 54 | 0.012607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3105-12_0_2_line_58 | NAYY 4x150 SE | 53 | 55 | 0.013639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3105-12_0_2_line_59 | NAYY 4x150 SE | 54 | 56 | 0.019527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3105-12_0_2_line_60 | NAYY 4x150 SE | 56 | 57 | 0.020282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3105-12_0_2_line_61 | NAYY 4x150 SE | 57 | 58 | 0.016377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3105-12_0_2_line_62 | NAYY 4x150 SE | 59 | 60 | 0.012277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3105-12_0_2_line_63 | NAYY 4x150 SE | 61 | 62 | 0.002648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3105-12_0_2_line_64 | NAYY 4x150 SE | 63 | 64 | 0.042248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3105-12_0_2_line_65 | NAYY 4x150 SE | 64 | 65 | 0.10354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3105-12_0_2_line_66 | NAYY 4x150 SE | 65 | 66 | 0.0013746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3105-12_0_2_line_67 | NAYY 4x150 SE | 66 | 68 | 0.056935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3105-12_0_2_line_68 | NAYY 4x150 SE | 67 | 68 | 0.011599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3105-12_0_2_line_69 | NAYY 4x150 SE | 67 | 69 | 0.082714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3105-12_0_2_line_70 | NAYY 4x150 SE | 69 | 70 | 0.062324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3105-12_0_2_line_71 | NAYY 4x150 SE | 69 | 71 | 0.058648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3105-12_0_2_trafo_39 | 0.25 MVA 20/0.4 kV | 73 | 33 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2749492.8991 | 1243027.0672 | 2749499.8289 | 1243028.4653 | 2749506.5102 | 1243030.4244 | 2749510.1094 | 1243031.9265
1 | 2749492.3115 | 1243030.2776 | 2749492.8991 | 1243027.0672
2 | 2749492.8991 | 1243027.0672 | 2749503.891 | 1242969.6456 | 2749510.6014 | 1242946.1592 | 2749518.1116 | 1242927.3356
3 | 2749492.3115 | 1243030.2776 | 2749487.4099 | 1243029.7203 | 2749464.3978 | 1243016.1946 | 2749461.7702 | 1243013.5575
4 | 2749492.3115 | 1243030.2776 | 2749484.9518 | 1243067.5864
5 | 2749535.1529 | 1242892.9611 | 2749519.6027 | 1242923.5981 | 2749518.1116 | 1242927.3356
6 | 2749459.6919 | 1243011.4717 | 2749461.7702 | 1243013.5575
7 | 2749479.3795 | 1243102.8647 | 2749484.2823 | 1243070.9804 | 2749484.9518 | 1243067.5864
8 | 2749535.1529 | 1242892.9611 | 2749553.2672 | 1242856.917 | 2749554.1702 | 1242855.1679
9 | 2749479.3795 | 1243102.8647 | 2749474.7596 | 1243102.5369 | 2749456.4108 | 1243098.3951
10 | 2749554.1702 | 1242855.1679 | 2749612.2611 | 1242749.7476
11 | 2749456.4108 | 1243098.3951 | 2749447.4708 | 1243096.3771 | 2749443.3706 | 1243096.1292 | 2749436.1173 | 1243096.4825
12 | 2749579.5021 | 1242723.5305 | 2749595.9447 | 1242735.1892 | 2749612.2611 | 1242749.7476
13 | 2749394.5182 | 1243154.0628 | 2749416.1151 | 1243151.3615 | 2749423.5993 | 1243151.1744
14 | 2749384.9582 | 1243155.2585 | 2749394.5182 | 1243154.0628
15 | 2749434.4851 | 1243096.562 | 2749436.1173 | 1243096.4825
16 | 2749384.9582 | 1243155.2585 | 2749364.2745 | 1243157.6846
17 | 2749371.3026 | 1243126.3654 | 2749377.3576 | 1243149.573 | 2749380.5362 | 1243153.3788 | 2749384.9582 | 1243155.2585
18 | 2749243.9129 | 1242822.3745 | 2748760.735 | 1242514.321
19 | 2749295.3674 | 1242854.5064 | 2749243.9129 | 1242822.3745
20 | 2749270.5204 | 1242891.3974 | 2749274.5013 | 1242873.2583 | 2749279.1121 | 1242865.2445 | 2749285.243 | 1242858.1365 | 2749293.7 | 1242855.0575 | 2749295.3674 | 1242854.5064
21 | 2749365.8226 | 1242832.3732 | 2749348.6705 | 1242834.4657 | 2749315.9305 | 1242847.7099 | 2749295.3674 | 1242854.5064
22 | 2749371.3026 | 1243126.3654 | 2749345.2881 | 1243129.0576 | 2749330.7135 | 1243124.9549
23 | 2749371.3026 | 1243126.3654 | 2749369.4776 | 1243114.3917
24 | 2749330.7135 | 1243124.9549 | 2749319.2867 | 1243121.7383
25 | 2749367.0843 | 1243098.6887 | 2749369.4776 | 1243114.3917
26 | 2749367.0843 | 1243098.6887 | 2749369.2567 | 1243098.3097 | 2749379.9641 | 1243097.7628
27 | 2749365.6831 | 1243089.467 | 2749367.0843 | 1243098.6887
28 | 2749379.9641 | 1243097.7628 | 2749401.5293 | 1243096.6612
29 | 2749365.6831 | 1243089.467 | 2749364.1037 | 1243078.0165
30 | 2749365.6831 | 1243089.467 | 2749350.1659 | 1243089.9958
31 | 2749416.2865 | 1243097.4484 | 2749416.2865 | 1243097.4484 | 2749434.4851 | 1243096.562
32 | 2749401.5293 | 1243096.6612 | 2749412.7059 | 1243096.0903
33 | 2749361.6034 | 1243059.8921 | 2749364.1037 | 1243078.0165
34 | 2749364.1037 | 1243078.0165 | 2749376.2091 | 1243076.2973
35 | 2749412.7059 | 1243096.0903 | 2749412.7059 | 1243096.0903 | 2749416.2865 | 1243097.4484
36 | 2749361.6034 | 1243059.8921 | 2749347.4852 | 1243061.7589
37 | 2749376.2091 | 1243076.2973 | 2749376.3034 | 1243077.3563 | 2749397.496 | 1243074.3141
38 | 2749347.4852 | 1243061.7589 | 2749333.2462 | 1243063.6417
39 | 2749397.496 | 1243074.3141 | 2749398.5799 | 1243074.1585 | 2749401.1517 | 1243075.0352 | 2749411.2194 | 1243073.5991
40 | 2749299.8182 | 1243091.7117 | 2749295.2005 | 1243096.0733
41 | 2749299.8182 | 1243091.7117 | 2749296.7294 | 1243091.5449 | 2749286.0743 | 1243091.8742
42 | 2749299.8182 | 1243091.7117 | 2749301.3815 | 1243089.093
43 | 2749295.2005 | 1243096.0733 | 2749293.9462 | 1243097.2581 | 2749291.4208 | 1243101.4429 | 2749288.1946 | 1243111.4767
44 | 2749301.3815 | 1243089.093 | 2749316.6266 | 1243088.6574
45 | 2749301.3815 | 1243089.093 | 2749301.3977 | 1243068.3294 | 2749301.448 | 1243067.9148
46 | 2749421.5095 | 1243041.1666 | 2749421.6278 | 1243042.1743
47 | 2749421.5095 | 1243041.1666 | 2749420.6747 | 1243034.0548 | 2749419.6889 | 1243029.9595 | 2749417.006 | 1243026.889 | 2749417.006 | 1243026.889
48 | 2749424.2693 | 1243064.6784 | 2749421.6278 | 1243042.1743
49 | 2749417.006 | 1243026.889 | 2749411.906 | 1243025.5038 | 2749403.5339 | 1243026.6086
50 | 2749424.2693 | 1243064.6784 | 2749424.7651 | 1243068.9017 | 2749423.9026 | 1243070.4147 | 2749422.2083 | 1243071.6288 | 2749419.8377 | 1243072.3698 | 2749411.2194 | 1243073.5991
51 | 2749403.5339 | 1243026.6086 | 2749390.3694 | 1243028.3458
52 | 2749390.3694 | 1243028.3458 | 2749377.8513 | 1243029.9977
53 | 2749375.0504 | 1243030.3674 | 2749377.8513 | 1243029.9977
54 | 2749375.0504 | 1243030.3674 | 2749359.732 | 1243032.3888
55 | 2749358.1239 | 1243032.601 | 2749346.7211 | 1243034.2111
56 | 2749358.1239 | 1243032.601 | 2749359.732 | 1243032.3888
57 | 2749346.7211 | 1243034.2111 | 2749334.2374 | 1243035.9738
58 | 2749333.2462 | 1243063.6417 | 2749319.7244 | 1243065.4297
59 | 2749334.2374 | 1243035.9738 | 2749314.9021 | 1243038.7039
60 | 2749314.9021 | 1243038.7039 | 2749312.7387 | 1243039.0094 | 2749308.0927 | 1243039.7154 | 2749304.999 | 1243042.7404 | 2749304.0129 | 1243046.7638 | 2749303.4196 | 1243051.6568
61 | 2749303.4196 | 1243051.6568 | 2749301.448 | 1243067.9148
62 | 2749328.8984 | 1243088.3068 | 2749316.6266 | 1243088.6574
63 | 2749287.384 | 1243113.9976 | 2749288.1946 | 1243111.4767
64 | 2749544.1169 | 1242700.3725 | 2749560.6935 | 1242710.0215 | 2749579.5021 | 1242723.5305
65 | 2749462.2555 | 1242763.7689 | 2749544.1169 | 1242700.3725
66 | 2749462.2555 | 1242763.7689 | 2749462.7002 | 1242765.0695
67 | 2749474.2917 | 1242820.5264 | 2749471.2474 | 1242814.0881 | 2749468.8624 | 1242803.696 | 2749466.2548 | 1242784.7348 | 2749463.3873 | 1242767.0793 | 2749462.7002 | 1242765.0695
68 | 2749474.2917 | 1242820.5264 | 2749465.3072 | 1242827.863
69 | 2749401.0414 | 1242879.2371 | 2749408.4978 | 1242869.6491 | 2749446.8641 | 1242842.9234 | 2749465.3072 | 1242827.863
70 | 2749401.0414 | 1242879.2371 | 2749399.689 | 1242880.9825 | 2749395.45 | 1242891.6413 | 2749389.3082 | 1242899.1827 | 2749365.1743 | 1242919.3497 | 2749359.8446 | 1242924.5813
71 | 2749401.0414 | 1242879.2371 | 2749381.2491 | 1242853.7482 | 2749369.2853 | 1242838.7219 | 2749365.8226 | 1242832.3732

## bus_geodata
| x | y | coords
0 | 2749510.1094 | 1243031.9265
1 | 2749492.8991 | 1243027.0672
2 | 2749492.3115 | 1243030.2776
3 | 2749518.1116 | 1242927.3356
4 | 2749461.7702 | 1243013.5575
5 | 2749484.9518 | 1243067.5864
6 | 2749535.1529 | 1242892.9611
7 | 2749459.6919 | 1243011.4717
8 | 2749479.3795 | 1243102.8647
9 | 2749554.1702 | 1242855.1679
10 | 2749456.4108 | 1243098.3951
11 | 2749612.2611 | 1242749.7476
12 | 2749423.5993 | 1243151.1744
13 | 2749394.5182 | 1243154.0628
14 | 2749436.1173 | 1243096.4825
15 | 2749384.9582 | 1243155.2585
16 | 2748760.735 | 1242514.321
17 | 2749243.9129 | 1242822.3745
18 | 2749295.3674 | 1242854.5064
19 | 2749364.2745 | 1243157.6846
20 | 2749371.3026 | 1243126.3654
21 | 2749330.7135 | 1243124.9549
22 | 2749369.4776 | 1243114.3917
23 | 2749319.2867 | 1243121.7383
24 | 2749367.0843 | 1243098.6887
25 | 2749379.9641 | 1243097.7628
26 | 2749365.6831 | 1243089.467
27 | 2749434.4851 | 1243096.562
28 | 2749401.5293 | 1243096.6612
29 | 2749364.1037 | 1243078.0165
30 | 2749350.1659 | 1243089.9958
31 | 2749412.7059 | 1243096.0903
32 | 2749361.6034 | 1243059.8921
33 | 2749376.2091 | 1243076.2973
34 | 2749416.2865 | 1243097.4484
35 | 2749347.4852 | 1243061.7589
36 | 2749397.496 | 1243074.3141
37 | 2749299.8182 | 1243091.7117
38 | 2749295.2005 | 1243096.0733
39 | 2749286.0743 | 1243091.8742
40 | 2749301.3815 | 1243089.093
41 | 2749421.5095 | 1243041.1666
42 | 2749421.6278 | 1243042.1743
43 | 2749417.006 | 1243026.889
44 | 2749424.2693 | 1243064.6784
45 | 2749403.5339 | 1243026.6086
46 | 2749411.2194 | 1243073.5991
47 | 2749390.3694 | 1243028.3458
48 | 2749377.8513 | 1243029.9977
49 | 2749375.0504 | 1243030.3674
50 | 2749358.1239 | 1243032.601
51 | 2749346.7211 | 1243034.2111
52 | 2749359.732 | 1243032.3888
53 | 2749333.2462 | 1243063.6417
54 | 2749334.2374 | 1243035.9738
55 | 2749319.7244 | 1243065.4297
56 | 2749314.9021 | 1243038.7039
57 | 2749303.4196 | 1243051.6568
58 | 2749301.448 | 1243067.9148
59 | 2749316.6266 | 1243088.6574
60 | 2749328.8984 | 1243088.3068
61 | 2749288.1946 | 1243111.4767
62 | 2749287.384 | 1243113.9976
63 | 2749579.5021 | 1242723.5305
64 | 2749544.1169 | 1242700.3725
65 | 2749462.2555 | 1242763.7689
66 | 2749462.7002 | 1242765.0695
67 | 2749465.3072 | 1242827.863
68 | 2749474.2917 | 1242820.5264
69 | 2749401.0414 | 1242879.2371
70 | 2749359.8446 | 1242924.5813
71 | 2749365.8226 | 1242832.3732
72 | 2749270.5204 | 1242891.3974
73 | 2749364.1037 | 1243078.0165

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1