## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3105-13_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3105-13_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3105-13_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3105-13_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3105-13_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3105-13_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_3105-13_0_4_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_3105-13_0_4_node_30 | 0.4 | n |  | TRUE
8 | bus_LV_3105-13_0_4_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_3105-13_0_4_node_53 | 0.4 | n |  | TRUE
10 | bus_LV_3105-13_0_4_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_3105-13_0_4_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_3105-13_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_3105-13_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_3105-13_0_4_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_3105-13_0_4_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_3105-13_0_4_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_3105-13_0_4_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_3105-13_0_4_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_3105-13_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_3105-13_0_4_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_3105-13_0_4_node_55 | 0.4 | n |  | TRUE
22 | bus_LV_3105-13_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_3105-13_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_3105-13_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_3105-13_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_3105-13_0_4_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_3105-13_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_3105-13_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_3105-13_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_3105-13_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_3105-13_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_3105-13_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_3105-13_0_4_node_81 | 0.4 | n |  | TRUE
34 | bus_LV_3105-13_0_4_node_75 | 0.4 | n |  | TRUE
35 | bus_LV_3105-13_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_3105-13_0_4_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_3105-13_0_4_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_3105-13_0_4_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_3105-13_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_3105-13_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_3105-13_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_3105-13_0_4_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_3105-13_0_4_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_3105-13_0_4_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_3105-13_0_4_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_3105-13_0_4_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_3105-13_0_4_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_3105-13_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_3105-13_0_4_node_82 | 0.4 | n |  | TRUE
50 | bus_LV_3105-13_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_3105-13_0_4_node_83 | 0.4 | n |  | TRUE
52 | bus_LV_3105-13_0_4_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_3105-13_0_4_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_3105-13_0_4_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_3105-13_0_4_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_3105-13_0_4_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_3105-13_0_4_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_3105-13_0_4_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_3105-13_0_4_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_3105-13_0_4_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_3105-13_0_4_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_3105-13_0_4_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_3105-13_0_4_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_3105-13_0_4_node_69 | 0.4 | n |  | TRUE
65 | bus_LV_3105-13_0_4_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_3105-13_0_4_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_3105-13_0_4_node_79 | 0.4 | n |  | TRUE
68 | bus_LV_3105-13_0_4_node_77 | 0.4 | n |  | TRUE
69 | bus_LV_3105-13_0_4_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_3105-13_0_4_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_3105-13_0_4_node_84 | 0.4 | n |  | TRUE
72 | bus_LV_3105-13_0_4_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_3105-13_0_4_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_3105-13_0_4_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_3105-13_0_4_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_3105-13_0_4_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_3105-13_0_4_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_3105-13_0_4_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_3105-13_0_4_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_3105-13_0_4_node_72 | 0.4 | n |  | TRUE
81 | bus_MV_148_0_node_297 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3105-13_0_4_load_0 | 0 | 0.098507 | 0.024688 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3105-13_0_4_load_1 | 1 | 0.013043 | 0.0032689 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3105-13_0_4_load_30 | 7 | 0.00012247 | 3.0693e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3105-13_0_4_load_24 | 8 | 0.00010337 | 2.5908e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3105-13_0_4_load_52 | 10 | 0.003941 | 0.0009877 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3105-13_0_4_load_11 | 12 | 0.00086724 | 0.00021735 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3105-13_0_4_load_12 | 13 | 0.000361 | 9.0475e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3105-13_0_4_load_27 | 14 | 0.00012997 | 3.2574e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3105-13_0_4_load_25 | 16 | 0.00018082 | 4.5317e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3105-13_0_4_load_7 | 17 | 0.011922 | 0.0029879 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3105-13_0_4_load_56 | 20 | 0.0081476 | 0.002042 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3105-13_0_4_load_16 | 25 | 0.024507 | 0.006142 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3105-13_0_4_load_17 | 27 | 0.0089329 | 0.0022388 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3105-13_0_4_load_22 | 29 | 0.0010495 | 0.00026304 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3105-13_0_4_load_21 | 30 | 0.001186 | 0.00029724 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3105-13_0_4_load_18 | 31 | 0.00028814 | 7.2216e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3105-13_0_4_load_23 | 32 | 0.0009757 | 0.00024453 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3105-13_0_4_load_81 | 33 | 0.00031274 | 7.838e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3105-13_0_4_load_75 | 34 | 0.00025476 | 6.3848e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3105-13_0_4_load_19 | 35 | 0.00073699 | 0.00018471 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3105-13_0_4_load_51 | 36 | 0.014962 | 0.0037497 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3105-13_0_4_load_32 | 37 | 0.00028164 | 7.0586e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3105-13_0_4_load_33 | 38 | 0.00035396 | 8.871e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3105-13_0_4_load_35 | 39 | 0.00046836 | 0.00011738 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3105-13_0_4_load_36 | 40 | 0.0060609 | 0.001519 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3105-13_0_4_load_37 | 41 | 0.001604 | 0.00040199 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3105-13_0_4_load_38 | 42 | 0.00024734 | 6.1989e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3105-13_0_4_load_39 | 43 | 0.00012936 | 3.2421e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3105-13_0_4_load_40 | 44 | 0.000291 | 7.2931e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3105-13_0_4_load_45 | 45 | 0.00045368 | 0.0001137 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3105-13_0_4_load_41 | 46 | 0.00022068 | 5.5308e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3105-13_0_4_load_43 | 48 | 0.0010059 | 0.00025211 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3105-13_0_4_load_82 | 49 | 0.00084703 | 0.00021228 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3105-13_0_4_load_44 | 50 | 0.00059839 | 0.00014997 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3105-13_0_4_load_46 | 52 | 0.001662 | 0.00041654 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3105-13_0_4_load_47 | 53 | 0.0014002 | 0.00035091 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3105-13_0_4_load_48 | 54 | 0.0039327 | 0.00098564 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3105-13_0_4_load_49 | 55 | 0.0026057 | 0.00065305 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3105-13_0_4_load_50 | 56 | 0.0030572 | 0.00076621 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3105-13_0_4_load_54 | 57 | 0.0073472 | 0.0018414 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3105-13_0_4_load_57 | 58 | 0.00099855 | 0.00025026 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3105-13_0_4_load_59 | 60 | 0.00036985 | 9.2693e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3105-13_0_4_load_60 | 61 | 0.00036489 | 9.1449e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3105-13_0_4_load_61 | 62 | 0.000265 | 6.6415e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3105-13_0_4_load_78 | 66 | 0.00068273 | 0.00017111 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3105-13_0_4_load_77 | 68 | 0.00071094 | 0.00017818 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3105-13_0_4_load_70 | 69 | 0.0001443 | 3.6164e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3105-13_0_4_load_71 | 70 | 0.00019166 | 4.8034e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3105-13_0_4_load_84 | 71 | 0.0012894 | 0.00032316 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3105-13_0_4_load_65 | 72 | 0.00013897 | 3.483e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3105-13_0_4_load_67 | 74 | 0.00029562 | 7.409e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3105-13_0_4_load_76 | 76 | 0.00025851 | 6.4788e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3105-13_0_4_load_80 | 78 | 0.00017027 | 4.2674e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3105-13_0_4_load_73 | 79 | 0.00022622 | 5.6696e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3105-13_0_4_load_72 | 80 | 0.0002263 | 5.6717e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3105-13_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.01082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3105-13_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.024805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_3105-13_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.018927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3105-13_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.047432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3105-13_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.039481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3105-13_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.019818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3105-13_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.016509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3105-13_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.057731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3105-13_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.042358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3105-13_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.064364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3105-13_0_4_line_10 | NAYY 4x150 SE | 7 | 11 | 0.024031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3105-13_0_4_line_11 | NAYY 4x150 SE | 8 | 16 | 0.035753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3105-13_0_4_line_12 | NAYY 4x150 SE | 9 | 20 | 0.021045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3105-13_0_4_line_13 | NAYY 4x150 SE | 10 | 36 | 0.01564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3105-13_0_4_line_14 | NAYY 4x150 SE | 11 | 37 | 0.016948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3105-13_0_4_line_15 | NAYY 4x150 SE | 11 | 38 | 0.030043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3105-13_0_4_line_16 | NAYY 4x150 SE | 12 | 13 | 0.15633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3105-13_0_4_line_17 | NAYY 4x150 SE | 13 | 22 | 0.19737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3105-13_0_4_line_18 | NAYY 4x150 SE | 13 | 23 | 0.12761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3105-13_0_4_line_19 | NAYY 4x150 SE | 14 | 15 | 0.088492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3105-13_0_4_line_20 | NAYY 4x150 SE | 15 | 26 | 0.039369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3105-13_0_4_line_21 | NAYY 4x150 SE | 16 | 26 | 0.038909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3105-13_0_4_line_22 | NAYY 4x150 SE | 17 | 18 | 0.028676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3105-13_0_4_line_23 | NAYY 4x150 SE | 18 | 19 | 0.05213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3105-13_0_4_line_24 | NAYY 4x150 SE | 19 | 20 | 0.016828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3105-13_0_4_line_25 | NAYY 4x150 SE | 20 | 21 | 0.024884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3105-13_0_4_line_26 | NAYY 4x150 SE | 21 | 57 | 0.027848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3105-13_0_4_line_27 | NAYY 4x150 SE | 22 | 24 | 0.19721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3105-13_0_4_line_28 | NAYY 4x150 SE | 23 | 25 | 0.044725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3105-13_0_4_line_29 | NAYY 4x150 SE | 24 | 28 | 0.020683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3105-13_0_4_line_30 | NAYY 4x150 SE | 24 | 29 | 0.083642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3105-13_0_4_line_31 | NAYY 4x150 SE | 25 | 27 | 0.0087858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3105-13_0_4_line_32 | NAYY 4x150 SE | 26 | 27 | 0.19246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3105-13_0_4_line_33 | NAYY 4x150 SE | 28 | 30 | 0.076529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3105-13_0_4_line_34 | NAYY 4x150 SE | 28 | 31 | 0.07241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3105-13_0_4_line_35 | NAYY 4x150 SE | 29 | 32 | 0.11553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3105-13_0_4_line_36 | NAYY 4x150 SE | 31 | 35 | 0.020368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3105-13_0_4_line_37 | NAYY 4x150 SE | 33 | 34 | 0.14798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3105-13_0_4_line_38 | NAYY 4x150 SE | 34 | 77 | 0.011474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3105-13_0_4_line_39 | NAYY 4x150 SE | 36 | 56 | 0.018086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3105-13_0_4_line_40 | NAYY 4x150 SE | 38 | 39 | 0.021169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3105-13_0_4_line_41 | NAYY 4x150 SE | 39 | 40 | 0.026467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3105-13_0_4_line_42 | NAYY 4x150 SE | 40 | 41 | 0.11584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3105-13_0_4_line_43 | NAYY 4x150 SE | 41 | 42 | 0.017969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3105-13_0_4_line_44 | NAYY 4x150 SE | 42 | 43 | 0.015506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3105-13_0_4_line_45 | NAYY 4x150 SE | 43 | 44 | 0.046282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3105-13_0_4_line_46 | NAYY 4x150 SE | 43 | 45 | 0.087462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3105-13_0_4_line_47 | NAYY 4x150 SE | 44 | 46 | 0.037727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3105-13_0_4_line_48 | NAYY 4x150 SE | 46 | 47 | 0.14978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3105-13_0_4_line_49 | NAYY 4x150 SE | 47 | 48 | 0.076502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3105-13_0_4_line_50 | NAYY 4x150 SE | 47 | 49 | 0.088423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3105-13_0_4_line_51 | NAYY 4x150 SE | 48 | 50 | 0.10359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3105-13_0_4_line_52 | NAYY 4x150 SE | 49 | 51 | 0.11924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3105-13_0_4_line_53 | NAYY 4x150 SE | 51 | 67 | 0.13057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3105-13_0_4_line_54 | NAYY 4x150 SE | 52 | 53 | 0.015573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3105-13_0_4_line_55 | NAYY 4x150 SE | 52 | 54 | 0.066819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3105-13_0_4_line_56 | NAYY 4x150 SE | 53 | 55 | 0.0083068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3105-13_0_4_line_57 | NAYY 4x150 SE | 55 | 56 | 0.030619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3105-13_0_4_line_58 | NAYY 4x150 SE | 58 | 59 | 0.07845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3105-13_0_4_line_59 | NAYY 4x150 SE | 58 | 60 | 0.01109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3105-13_0_4_line_60 | NAYY 4x150 SE | 59 | 61 | 0.050563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3105-13_0_4_line_61 | NAYY 4x150 SE | 59 | 62 | 0.10636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3105-13_0_4_line_62 | NAYY 4x150 SE | 59 | 63 | 0.10229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3105-13_0_4_line_63 | NAYY 4x150 SE | 62 | 64 | 0.0045056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3105-13_0_4_line_64 | NAYY 4x150 SE | 63 | 68 | 0.04588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3105-13_0_4_line_65 | NAYY 4x150 SE | 63 | 65 | 0.058033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3105-13_0_4_line_66 | NAYY 4x150 SE | 64 | 69 | 0.050634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3105-13_0_4_line_67 | NAYY 4x150 SE | 64 | 70 | 0.21137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3105-13_0_4_line_68 | NAYY 4x150 SE | 65 | 66 | 0.069335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3105-13_0_4_line_69 | NAYY 4x150 SE | 65 | 67 | 0.1641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3105-13_0_4_line_70 | NAYY 4x150 SE | 67 | 71 | 0.13538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3105-13_0_4_line_71 | NAYY 4x150 SE | 69 | 80 | 0.012955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3105-13_0_4_line_72 | NAYY 4x150 SE | 70 | 79 | 0.069762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3105-13_0_4_line_73 | NAYY 4x150 SE | 72 | 73 | 0.03591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3105-13_0_4_line_74 | NAYY 4x150 SE | 72 | 74 | 0.0060876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3105-13_0_4_line_75 | NAYY 4x150 SE | 73 | 75 | 0.07648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3105-13_0_4_line_76 | NAYY 4x150 SE | 73 | 76 | 0.12933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3105-13_0_4_line_77 | NAYY 4x150 SE | 75 | 78 | 0.013209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3105-13_0_4_line_78 | NAYY 4x150 SE | 76 | 77 | 0.050767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3105-13_0_4_line_79 | NAYY 4x150 SE | 77 | 79 | 0.076826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3105-13_0_4_trafo_2 | 0.25 MVA 20/0.4 kV | 81 | 2 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2750737.6871 | 1241800.2114 | 2750747.6773 | 1241804.3677
1 | 2750714.7852 | 1241790.6834 | 2750737.6871 | 1241800.2114
2 | 2750765.1519 | 1241811.6378 | 2750747.6773 | 1241804.3677
3 | 2750714.7852 | 1241790.6834 | 2750709.5496 | 1241794.5986 | 2750700.4531 | 1241803.6984 | 2750692.1617 | 1241812.3739 | 2750680.3191 | 1241823.2724
4 | 2750677.0181 | 1241779.0358 | 2750693.5676 | 1241785.3285 | 2750714.7852 | 1241790.6834
5 | 2750784.5768 | 1241814.0112 | 2750770.5636 | 1241813.8885 | 2750765.1519 | 1241811.6378
6 | 2750680.3191 | 1241823.2724 | 2750668.4573 | 1241834.755
7 | 2750677.0181 | 1241779.0358 | 2750673.5568 | 1241777.7244 | 2750653.8877 | 1241768.2829 | 2750639.0335 | 1241762.8453 | 2750623.0312 | 1241766.4049
8 | 2750784.5768 | 1241814.0112 | 2750791.0853 | 1241810.907 | 2750807.5916 | 1241798.9595 | 2750815.6273 | 1241811.3532
9 | 2750784.5768 | 1241814.0112 | 2750783.6109 | 1241831.7701 | 2750793.82 | 1241877.2164
10 | 2750661.6866 | 1241856.6976 | 2750663.84 | 1241839.2247 | 2750668.4573 | 1241834.755
11 | 2750623.0312 | 1241766.4049 | 2750615.9685 | 1241767.9759 | 2750601.9206 | 1241765.6395 | 2750588.351 | 1241761.2025
12 | 2750836.2765 | 1241808.1193 | 2750829.3932 | 1241808.7116 | 2750823.1698 | 1241810.1214 | 2750821.0124 | 1241811.0786 | 2750817.5487 | 1241811.6467 | 2750815.6273 | 1241811.3532
13 | 2750793.82 | 1241877.2164 | 2750797.2479 | 1241892.4757
14 | 2750661.6866 | 1241856.6976 | 2750651.4695 | 1241861.0868 | 2750645.6581 | 1241860.6512
15 | 2750661.6866 | 1241856.6976 | 2750666.6945 | 1241886.3206
16 | 2750594.9084 | 1241407.0015 | 2750750.5042 | 1241422.1325
17 | 2750539.7336 | 1241220.3708 | 2750540.4947 | 1241230.3217 | 2750558.2686 | 1241284.1009 | 2750575.1558 | 1241341.5055 | 2750586.9813 | 1241374.5032 | 2750597.6628 | 1241395.3493 | 2750598.1896 | 1241400.2228 | 2750594.9084 | 1241407.0015
18 | 2750557.1492 | 1241512.9323 | 2750551.6469 | 1241502.9167 | 2750547.7777 | 1241491.7413 | 2750545.0216 | 1241473.6655 | 2750545.7623 | 1241462.9631 | 2750549.0213 | 1241453.4813 | 2750594.9084 | 1241407.0015
19 | 2750517.5796 | 1241749.2514 | 2750519.1869 | 1241768.4769 | 2750519.3333 | 1241778.8014 | 2750520.1614 | 1241786.1071 | 2750529.3552 | 1241799.6864 | 2750535.4882 | 1241805.7031 | 2750540.9251 | 1241807.2647 | 2750548.4368 | 1241807.2441 | 2750559.9212 | 1241814.0744
20 | 2750555.9079 | 1241741.1936 | 2750543.2615 | 1241745.6215 | 2750535.6436 | 1241747.1408 | 2750525.8079 | 1241747.2248 | 2750517.5796 | 1241749.2514
21 | 2750555.9079 | 1241741.1936 | 2750562.7362 | 1241745.7489 | 2750574.8018 | 1241757.0434 | 2750586.6167 | 1241760.6354 | 2750588.351 | 1241761.2025
22 | 2750869.4086 | 1241764.0753 | 2750857.5349 | 1241737.9732
23 | 2750838.7648 | 1241791.4779 | 2750850.1755 | 1241792.5133 | 2750857.5178 | 1241792.0217 | 2750855.9738 | 1241788.1899 | 2750856.581 | 1241781.8661 | 2750861.4424 | 1241769.7671 | 2750869.4086 | 1241764.0753
24 | 2750838.7648 | 1241791.4779 | 2750836.2765 | 1241808.1193
25 | 2750836.2765 | 1241808.1193 | 2750835.5118 | 1241813.2046 | 2750835.3804 | 1241832.9421
26 | 2750835.3804 | 1241832.9421 | 2750835.3698 | 1241834.8437 | 2750839.8882 | 1241848.716 | 2750841.0143 | 1241860.0171
27 | 2750539.7336 | 1241220.3708 | 2750342.7649 | 1241238.3292
28 | 2750557.1492 | 1241512.9323 | 2750575.5437 | 1241542.2265 | 2750584.1622 | 1241547.5578
29 | 2750344.7925 | 1241258.9111 | 2750342.7649 | 1241238.3292
30 | 2750342.7649 | 1241238.3292 | 2750295.7981 | 1241241.4762 | 2750260.3871 | 1241232.3416
31 | 2750584.1622 | 1241547.5578 | 2750587.9364 | 1241549.8925 | 2750591.6891 | 1241552.0882
32 | 2750555.9079 | 1241741.1936 | 2750591.6891 | 1241552.0882
33 | 2750339.5439 | 1241335.2499 | 2750344.7925 | 1241258.9111
34 | 2750344.7925 | 1241258.9111 | 2750361.0993 | 1241275.7399 | 2750374.0231 | 1241288.7462 | 2750386.1717 | 1241300.3982 | 2750395.5908 | 1241310.4949
35 | 2750260.3871 | 1241232.3416 | 2750227.7656 | 1241223.9265 | 2750152.89 | 1241190.8991
36 | 2750395.5908 | 1241310.4949 | 2750397.9035 | 1241312.9739 | 2750408.676 | 1241315.6494 | 2750414.2224 | 1241317.595
37 | 2749921.5803 | 1241623.8833 | 2749921.533 | 1241617.0757 | 2749919.1704 | 1241605.8055 | 2749920.0023 | 1241599.2314 | 2749930.6921 | 1241586.3115 | 2749938.3641 | 1241588.0403 | 2749945.3281 | 1241591.7419 | 2749971.023 | 1241595.6836 | 2749987.0709 | 1241597.6243 | 2749994.8649 | 1241594.5294 | 2749995.5089 | 1241586.4158 | 2749989.4266 | 1241574.1729 | 2749977.434 | 1241560.2345
38 | 2749921.5803 | 1241623.8833 | 2749921.8797 | 1241629.3961 | 2749920.568 | 1241635.2017
39 | 2750801.2119 | 1241910.122 | 2750797.2479 | 1241892.4757
40 | 2750666.6945 | 1241886.3206 | 2750668.6241 | 1241897.7346 | 2750672.3463 | 1241906.5756
41 | 2750672.3463 | 1241906.5756 | 2750682.6165 | 1241930.9692
42 | 2750682.6165 | 1241930.9692 | 2750694.5186 | 1241959.2389 | 2750697.6869 | 1241978.3262 | 2750688.2363 | 1242008.5148 | 2750686.8831 | 1242042.6708
43 | 2750686.8831 | 1242042.6708 | 2750686.1718 | 1242060.6256
44 | 2750685.5579 | 1242076.1192 | 2750686.1718 | 1242060.6256
45 | 2750685.5579 | 1242076.1192 | 2750684.2285 | 1242109.6751 | 2750680.1526 | 1242121.7032
46 | 2750685.5579 | 1242076.1192 | 2750771.9542 | 1242089.7311
47 | 2750680.1526 | 1242121.7032 | 2750678.7581 | 1242125.8182 | 2750658.3519 | 1242152.2365
48 | 2750571.6137 | 1242273.7052 | 2750619.5573 | 1242196.6601 | 2750646.1524 | 1242168.0303 | 2750658.3519 | 1242152.2365
49 | 2750623.4572 | 1242321.5325 | 2750625.1412 | 1242313.3008 | 2750625.2189 | 1242310.2444 | 2750622.4884 | 1242306.972 | 2750609.0923 | 1242296.8892 | 2750597.394 | 1242288.451 | 2750584.8776 | 1242280.6594 | 2750571.6137 | 1242273.7052
50 | 2750571.6137 | 1242273.7052 | 2750514.4978 | 1242206.2039
51 | 2750623.4572 | 1242321.5325 | 2750714.4708 | 1242272.063
52 | 2750514.4978 | 1242206.2039 | 2750501.1347 | 1242217.4535 | 2750485.1385 | 1242232.6177 | 2750476.1297 | 1242243.9667 | 2750465.0661 | 1242265.0505 | 2750458.9855 | 1242275.762 | 2750444.6954 | 1242294.9401 | 2750441.8808 | 1242299.4508
53 | 2750377.2612 | 1242185.9951 | 2750441.8808 | 1242299.4508
54 | 2750811.9541 | 1241963.5457 | 2750809.0146 | 1241948.2529
55 | 2750848.8883 | 1242006.9497 | 2750836.8705 | 1242008.0898 | 2750827.1936 | 1242003.1392 | 2750817.9993 | 1241993.4853 | 2750815.4003 | 1241981.4746 | 2750811.9541 | 1241963.5457
56 | 2750809.0146 | 1241948.2529 | 2750807.4467 | 1241940.0955
57 | 2750807.4467 | 1241940.0955 | 2750804.4916 | 1241924.7216 | 2750801.2119 | 1241910.122
58 | 2750210.6015 | 1241948.9962 | 2750214.7375 | 1241946.6653 | 2750222.0113 | 1241944.9811 | 2750229.1051 | 1241945.0274 | 2750287.9076 | 1241951.3594
59 | 2750298.9342 | 1241952.5467 | 2750287.9076 | 1241951.3594
60 | 2750210.6015 | 1241948.9962 | 2750203.8571 | 1241950.9829 | 2750193.7639 | 1241960.948 | 2750189.0136 | 1241964.242 | 2750183.7275 | 1241964.4974 | 2750168.7153 | 1241954.0752
61 | 2750210.6015 | 1241948.9962 | 2750186.271 | 1241872.7309 | 2750181.003 | 1241854.347 | 2750179.0776 | 1241847.431
62 | 2750230.0193 | 1242042.9983 | 2750237.6478 | 1242038.3537 | 2750218.7045 | 1241975.1925 | 2750210.6015 | 1241948.9962
63 | 2750177.8691 | 1241843.0904 | 2750179.0776 | 1241847.431
64 | 2750221.6911 | 1242088.0967 | 2750225.1857 | 1242066.2979 | 2750227.039 | 1242056.7358 | 2750229.024 | 1242047.0547 | 2750230.0193 | 1242042.9983
65 | 2750230.0193 | 1242042.9983 | 2750237.6478 | 1242038.3537 | 2750245.936 | 1242052.4546 | 2750258.4741 | 1242062.4147 | 2750273.706 | 1242069.3402
66 | 2750177.8691 | 1241843.0904 | 2750180.968 | 1241838.1086 | 2750187.2597 | 1241832.7961 | 2750195.9223 | 1241829.1452 | 2750207.332 | 1241827.8327 | 2750216.3479 | 1241826.0592 | 2750222.4051 | 1241823.8192
67 | 2750177.8691 | 1241843.0904 | 2750177.3702 | 1241841.2872 | 2750172.4514 | 1241826.4377 | 2750165.7656 | 1241811.7659 | 2750135.9827 | 1241770.9518 | 2750117.0713 | 1241751.5664 | 2750049.9744 | 1241693.3707 | 2750039.8044 | 1241688.4312
68 | 2750289.9488 | 1242136.359 | 2750273.0034 | 1242074.3827 | 2750273.706 | 1242069.3402
69 | 2750377.2612 | 1242185.9951 | 2750375.1716 | 1242179.5138 | 2750333.7802 | 1242102.9598 | 2750324.812 | 1242091.8222 | 2750313.6173 | 1242084.3761 | 2750296.4642 | 1242076.5565 | 2750273.706 | 1242069.3402
70 | 2750464.7289 | 1242093.5358 | 2750457.8714 | 1242103.26 | 2750451.3429 | 1242108.366 | 2750397.666 | 1242138.6564 | 2750390.2163 | 1242145.4963 | 2750384.7134 | 1242153.709 | 2750382.1907 | 1242166.3904 | 2750381.6651 | 1242178.4662 | 2750377.2612 | 1242185.9951
71 | 2750233.0436 | 1241816.7397 | 2750226.4804 | 1241822.3121 | 2750222.4051 | 1241823.8192
72 | 2750039.8044 | 1241688.4312 | 2750029.5253 | 1241687.5038 | 2750006.3255 | 1241693.4898 | 2749993.4415 | 1241695.6662 | 2749985.1589 | 1241695.0564 | 2749973.6909 | 1241686.8357
73 | 2749885.7935 | 1241810.9219 | 2749885.1881 | 1241815.422 | 2749890.5202 | 1241821.4289 | 2749900.4885 | 1241829.555 | 2749908.1835 | 1241836.664
74 | 2749912.6549 | 1241840.795 | 2749908.1835 | 1241836.664
75 | 2749957.1806 | 1241835.2701 | 2749951.8107 | 1241829.8627 | 2749943.7994 | 1241825.1114 | 2749907.4221 | 1241816.4956 | 2749894.7004 | 1241813.7606 | 2749885.7935 | 1241810.9219
76 | 2749902.638 | 1241682.697 | 2749885.7935 | 1241810.9219
77 | 2749957.1806 | 1241835.2701 | 2749963.3011 | 1241823.5582
78 | 2749920.568 | 1241635.2017 | 2749902.638 | 1241682.697
79 | 2749920.568 | 1241635.2017 | 2749934.1525 | 1241637.9363 | 2749946.112 | 1241651.9849 | 2749972.1646 | 1241685.7415 | 2749973.6909 | 1241686.8357

## bus_geodata
| x | y | coords
0 | 2750737.6871 | 1241800.2114
1 | 2750747.6773 | 1241804.3677
2 | 2750714.7852 | 1241790.6834
3 | 2750765.1519 | 1241811.6378
4 | 2750680.3192 | 1241823.2724
5 | 2750677.0181 | 1241779.0358
6 | 2750784.5768 | 1241814.0112
7 | 2750668.4573 | 1241834.755
8 | 2750623.0312 | 1241766.4049
9 | 2750815.6273 | 1241811.3532
10 | 2750793.82 | 1241877.2164
11 | 2750661.6866 | 1241856.6976
12 | 2750750.5042 | 1241422.1325
13 | 2750594.9084 | 1241407.0015
14 | 2750559.9212 | 1241814.0744
15 | 2750517.5796 | 1241749.2514
16 | 2750588.351 | 1241761.2025
17 | 2750857.5349 | 1241737.9732
18 | 2750869.4086 | 1241764.0753
19 | 2750838.7648 | 1241791.4779
20 | 2750836.2765 | 1241808.1193
21 | 2750835.3804 | 1241832.9421
22 | 2750539.7336 | 1241220.3708
23 | 2750557.1492 | 1241512.9323
24 | 2750342.7649 | 1241238.3292
25 | 2750584.1622 | 1241547.5578
26 | 2750555.9079 | 1241741.1936
27 | 2750591.6891 | 1241552.0882
28 | 2750344.7925 | 1241258.9111
29 | 2750260.3871 | 1241232.3416
30 | 2750339.5439 | 1241335.2499
31 | 2750395.5908 | 1241310.4949
32 | 2750152.89 | 1241190.8991
33 | 2749977.434 | 1241560.2345
34 | 2749921.5803 | 1241623.8833
35 | 2750414.2224 | 1241317.595
36 | 2750797.2479 | 1241892.4757
37 | 2750645.6581 | 1241860.6512
38 | 2750666.6945 | 1241886.3206
39 | 2750672.3463 | 1241906.5756
40 | 2750682.6165 | 1241930.9692
41 | 2750686.8831 | 1242042.6708
42 | 2750686.1718 | 1242060.6256
43 | 2750685.5579 | 1242076.1192
44 | 2750680.1526 | 1242121.7032
45 | 2750771.9542 | 1242089.7311
46 | 2750658.3519 | 1242152.2365
47 | 2750571.6137 | 1242273.7052
48 | 2750623.4572 | 1242321.5325
49 | 2750514.4978 | 1242206.2039
50 | 2750714.4708 | 1242272.063
51 | 2750441.8808 | 1242299.4508
52 | 2750811.9541 | 1241963.5457
53 | 2750809.0146 | 1241948.2529
54 | 2750848.8883 | 1242006.9497
55 | 2750807.4467 | 1241940.0955
56 | 2750801.2119 | 1241910.122
57 | 2750841.0143 | 1241860.0171
58 | 2750287.9076 | 1241951.3594
59 | 2750210.6015 | 1241948.9962
60 | 2750298.9342 | 1241952.5467
61 | 2750168.7153 | 1241954.0752
62 | 2750179.0776 | 1241847.431
63 | 2750230.0193 | 1242042.9983
64 | 2750177.8691 | 1241843.0904
65 | 2750273.706 | 1242069.3402
66 | 2750289.9488 | 1242136.359
67 | 2750377.2612 | 1242185.9951
68 | 2750221.6911 | 1242088.0967
69 | 2750222.4051 | 1241823.8192
70 | 2750039.8044 | 1241688.4312
71 | 2750464.7289 | 1242093.5358
72 | 2749908.1835 | 1241836.664
73 | 2749885.7935 | 1241810.9219
74 | 2749912.6549 | 1241840.795
75 | 2749957.1806 | 1241835.2701
76 | 2749902.638 | 1241682.697
77 | 2749920.568 | 1241635.2017
78 | 2749963.3011 | 1241823.5582
79 | 2749973.6909 | 1241686.8357
80 | 2750233.0435 | 1241816.7397
81 | 2750677.0181 | 1241779.0358

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1