## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3105-14_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3105-14_0_2_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_3105-14_0_2_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_3105-14_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3105-14_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3105-14_0_2_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_3105-14_0_2_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_3105-14_0_2_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_3105-14_0_2_node_71 | 0.4 | n |  | TRUE
9 | bus_LV_3105-14_0_2_node_72 | 0.4 | n |  | TRUE
10 | bus_LV_3105-14_0_2_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3105-14_0_2_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_3105-14_0_2_node_75 | 0.4 | n |  | TRUE
13 | bus_LV_3105-14_0_2_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_3105-14_0_2_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_3105-14_0_2_node_60 | 0.4 | n |  | TRUE
16 | bus_LV_3105-14_0_2_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_3105-14_0_2_node_68 | 0.4 | n |  | TRUE
18 | bus_LV_3105-14_0_2_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_3105-14_0_2_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_3105-14_0_2_node_74 | 0.4 | n |  | TRUE
21 | bus_LV_3105-14_0_2_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_3105-14_0_2_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_3105-14_0_2_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_3105-14_0_2_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_3105-14_0_2_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_3105-14_0_2_node_58 | 0.4 | n |  | TRUE
27 | bus_LV_3105-14_0_2_node_64 | 0.4 | n |  | TRUE
28 | bus_LV_3105-14_0_2_node_65 | 0.4 | n |  | TRUE
29 | bus_LV_3105-14_0_2_node_66 | 0.4 | n |  | TRUE
30 | bus_LV_3105-14_0_2_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_3105-14_0_2_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_3105-14_0_2_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_3105-14_0_2_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_3105-14_0_2_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_3105-14_0_2_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_3105-14_0_2_node_57 | 0.4 | n |  | TRUE
37 | bus_LV_3105-14_0_2_node_59 | 0.4 | n |  | TRUE
38 | bus_LV_3105-14_0_2_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_3105-14_0_2_node_17 | 0.4 | n |  | TRUE
40 | bus_LV_3105-14_0_2_node_18 | 0.4 | n |  | TRUE
41 | bus_LV_3105-14_0_2_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_3105-14_0_2_node_19 | 0.4 | n |  | TRUE
43 | bus_LV_3105-14_0_2_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_3105-14_0_2_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_3105-14_0_2_node_22 | 0.4 | n |  | TRUE
46 | bus_LV_3105-14_0_2_node_23 | 0.4 | n |  | TRUE
47 | bus_LV_3105-14_0_2_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_3105-14_0_2_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_3105-14_0_2_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_3105-14_0_2_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_3105-14_0_2_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_3105-14_0_2_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_3105-14_0_2_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_3105-14_0_2_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_3105-14_0_2_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_3105-14_0_2_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_3105-14_0_2_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_3105-14_0_2_node_30 | 0.4 | n |  | TRUE
59 | bus_LV_3105-14_0_2_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_3105-14_0_2_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_3105-14_0_2_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_3105-14_0_2_node_28 | 0.4 | n |  | TRUE
63 | bus_LV_3105-14_0_2_node_29 | 0.4 | n |  | TRUE
64 | bus_LV_3105-14_0_2_node_31 | 0.4 | n |  | TRUE
65 | bus_LV_3105-14_0_2_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_3105-14_0_2_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_3105-14_0_2_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_3105-14_0_2_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_3105-14_0_2_node_70 | 0.4 | n |  | TRUE
70 | bus_MV_0_node_48 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3105-14_0_2_load_0 | 0 | 0.00027303 | 6.8427e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3105-14_0_2_load_2 | 1 | 0.00023707 | 5.9415e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3105-14_0_2_load_1 | 2 | 0.00019776 | 4.9563e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3105-14_0_2_load_71 | 8 | 0.00054741 | 0.00013719 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3105-14_0_2_load_72 | 9 | 0.00022495 | 5.6378e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3105-14_0_2_load_5 | 11 | 0.0010623 | 0.00026624 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3105-14_0_2_load_75 | 12 | 0.00040518 | 0.00010155 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3105-14_0_2_load_15 | 13 | 0.00026269 | 6.5835e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3105-14_0_2_load_60 | 15 | 0.00016483 | 4.131e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3105-14_0_2_load_9 | 18 | 0.00016174 | 4.0536e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3105-14_0_2_load_74 | 20 | 0.0010409 | 0.00026087 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3105-14_0_2_load_25 | 24 | 0.00025693 | 6.4393e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3105-14_0_2_load_48 | 25 | 0.00039845 | 9.9861e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3105-14_0_2_load_64 | 27 | 0.00075823 | 0.00019003 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3105-14_0_2_load_65 | 28 | 0.00021039 | 5.2729e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3105-14_0_2_load_67 | 30 | 0.00035359 | 8.8617e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3105-14_0_2_load_42 | 31 | 0.00037895 | 9.4974e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3105-14_0_2_load_41 | 32 | 0.00065523 | 0.00016422 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3105-14_0_2_load_43 | 33 | 0.00057252 | 0.00014349 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3105-14_0_2_load_26 | 34 | 0.0012659 | 0.00031726 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3105-14_0_2_load_49 | 35 | 0.00025801 | 6.4664e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3105-14_0_2_load_57 | 36 | 0.0012117 | 0.00030367 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3105-14_0_2_load_61 | 38 | 0.00036445 | 9.1339e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3105-14_0_2_load_17 | 39 | 0.00030347 | 7.6058e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3105-14_0_2_load_19 | 42 | 0.0003541 | 8.8746e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3105-14_0_2_load_20 | 43 | 0.00041089 | 0.00010298 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3105-14_0_2_load_21 | 44 | 0.00033827 | 8.4778e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3105-14_0_2_load_22 | 45 | 0.00037927 | 9.5054e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3105-14_0_2_load_23 | 46 | 0.00024776 | 6.2095e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3105-14_0_2_load_24 | 47 | 0.00054684 | 0.00013705 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3105-14_0_2_load_32 | 49 | 0.00032865 | 8.2368e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3105-14_0_2_load_33 | 50 | 0.00025221 | 6.3209e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3105-14_0_2_load_37 | 53 | 0.0013719 | 0.00034382 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3105-14_0_2_load_38 | 54 | 0.00045041 | 0.00011288 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3105-14_0_2_load_44 | 55 | 0.00026606 | 6.6681e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3105-14_0_2_load_45 | 57 | 0.0003143 | 7.8771e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3105-14_0_2_load_47 | 59 | 0.00052197 | 0.00013082 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3105-14_0_2_load_51 | 60 | 0.00040229 | 0.00010082 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3105-14_0_2_load_52 | 61 | 0.00026379 | 6.6112e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3105-14_0_2_load_28 | 62 | 0.00027294 | 6.8405e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3105-14_0_2_load_31 | 64 | 0.00074535 | 0.0001868 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3105-14_0_2_load_53 | 66 | 0.0002765 | 6.9296e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3105-14_0_2_load_56 | 68 | 0.00058443 | 0.00014647 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3105-14_0_2_load_70 | 69 | 0.00024753 | 6.2037e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3105-14_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.10488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3105-14_0_2_line_1 | NAYY 4x150 SE | 1 | 4 | 0.010735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3105-14_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.023887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3105-14_0_2_line_3 | NAYY 4x150 SE | 3 | 5 | 0.19285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3105-14_0_2_line_4 | NAYY 4x150 SE | 4 | 6 | 0.84106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3105-14_0_2_line_5 | NAYY 4x150 SE | 4 | 7 | 0.05852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3105-14_0_2_line_6 | NAYY 4x150 SE | 4 | 8 | 0.82536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3105-14_0_2_line_7 | NAYY 4x150 SE | 4 | 9 | 0.4671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3105-14_0_2_line_8 | NAYY 4x150 SE | 5 | 10 | 0.13153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3105-14_0_2_line_9 | NAYY 4x150 SE | 6 | 12 | 0.27963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3105-14_0_2_line_10 | NAYY 4x150 SE | 7 | 13 | 0.02103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3105-14_0_2_line_11 | NAYY 4x150 SE | 7 | 14 | 0.13433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3105-14_0_2_line_12 | NAYY 4x150 SE | 8 | 16 | 0.03628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3105-14_0_2_line_13 | NAYY 4x150 SE | 9 | 15 | 0.034478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3105-14_0_2_line_14 | NAYY 4x150 SE | 10 | 11 | 0.097498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3105-14_0_2_line_15 | NAYY 4x150 SE | 11 | 14 | 0.025533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3105-14_0_2_line_16 | NAYY 4x150 SE | 14 | 18 | 0.020543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3105-14_0_2_line_17 | NAYY 4x150 SE | 14 | 19 | 0.13599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3105-14_0_2_line_18 | NAYY 4x150 SE | 16 | 17 | 0.49861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3105-14_0_2_line_19 | NAYY 4x150 SE | 17 | 30 | 0.80526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3105-14_0_2_line_20 | NAYY 4x150 SE | 17 | 29 | 0.31662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3105-14_0_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.034421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3105-14_0_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.70666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3105-14_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.002817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3105-14_0_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.31172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3105-14_0_2_line_25 | NAYY 4x150 SE | 21 | 24 | 0.0066172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3105-14_0_2_line_26 | NAYY 4x150 SE | 22 | 33 | 0.21677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3105-14_0_2_line_27 | NAYY 4x150 SE | 22 | 32 | 0.066365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3105-14_0_2_line_28 | NAYY 4x150 SE | 23 | 25 | 0.39836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3105-14_0_2_line_29 | NAYY 4x150 SE | 23 | 26 | 0.5932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3105-14_0_2_line_30 | NAYY 4x150 SE | 24 | 34 | 0.015104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3105-14_0_2_line_31 | NAYY 4x150 SE | 25 | 35 | 0.018023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3105-14_0_2_line_32 | NAYY 4x150 SE | 26 | 36 | 0.11783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3105-14_0_2_line_33 | NAYY 4x150 SE | 27 | 28 | 0.0052562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3105-14_0_2_line_34 | NAYY 4x150 SE | 28 | 29 | 0.074745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3105-14_0_2_line_35 | NAYY 4x150 SE | 31 | 32 | 0.021052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3105-14_0_2_line_36 | NAYY 4x150 SE | 35 | 42 | 0.075924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3105-14_0_2_line_37 | NAYY 4x150 SE | 36 | 37 | 0.045292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3105-14_0_2_line_38 | NAYY 4x150 SE | 37 | 38 | 0.076456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3105-14_0_2_line_39 | NAYY 4x150 SE | 39 | 40 | 0.11353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3105-14_0_2_line_40 | NAYY 4x150 SE | 39 | 41 | 0.7003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3105-14_0_2_line_41 | NAYY 4x150 SE | 40 | 42 | 0.064013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3105-14_0_2_line_42 | NAYY 4x150 SE | 40 | 43 | 0.021839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3105-14_0_2_line_43 | NAYY 4x150 SE | 41 | 58 | 0.72765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3105-14_0_2_line_44 | NAYY 4x150 SE | 41 | 57 | 0.48948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3105-14_0_2_line_45 | NAYY 4x150 SE | 44 | 45 | 0.016954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3105-14_0_2_line_46 | NAYY 4x150 SE | 44 | 46 | 0.02274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3105-14_0_2_line_47 | NAYY 4x150 SE | 45 | 47 | 0.027041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3105-14_0_2_line_48 | NAYY 4x150 SE | 47 | 48 | 0.01054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3105-14_0_2_line_49 | NAYY 4x150 SE | 48 | 52 | 0.019979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3105-14_0_2_line_50 | NAYY 4x150 SE | 48 | 53 | 0.0045204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3105-14_0_2_line_51 | NAYY 4x150 SE | 48 | 49 | 0.038551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3105-14_0_2_line_52 | NAYY 4x150 SE | 49 | 50 | 0.01261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3105-14_0_2_line_53 | NAYY 4x150 SE | 50 | 51 | 0.016028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3105-14_0_2_line_54 | NAYY 4x150 SE | 51 | 54 | 0.030728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3105-14_0_2_line_55 | NAYY 4x150 SE | 52 | 55 | 0.041887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3105-14_0_2_line_56 | NAYY 4x150 SE | 53 | 56 | 0.021493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3105-14_0_2_line_57 | NAYY 4x150 SE | 55 | 57 | 0.06484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3105-14_0_2_line_58 | NAYY 4x150 SE | 56 | 60 | 0.031197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3105-14_0_2_line_59 | NAYY 4x150 SE | 56 | 59 | 0.04287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3105-14_0_2_line_60 | NAYY 4x150 SE | 58 | 62 | 0.0076015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3105-14_0_2_line_61 | NAYY 4x150 SE | 60 | 61 | 0.012649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3105-14_0_2_line_62 | NAYY 4x150 SE | 62 | 63 | 0.012916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3105-14_0_2_line_63 | NAYY 4x150 SE | 63 | 64 | 0.020608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3105-14_0_2_line_64 | NAYY 4x150 SE | 64 | 65 | 0.1587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3105-14_0_2_line_65 | NAYY 4x150 SE | 65 | 66 | 0.44135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3105-14_0_2_line_66 | NAYY 4x150 SE | 66 | 67 | 0.21914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3105-14_0_2_line_67 | NAYY 4x150 SE | 67 | 68 | 0.10051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3105-14_0_2_line_68 | NAYY 4x150 SE | 68 | 69 | 0.043903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3105-14_0_2_trafo_48 | 0.25 MVA 20/0.4 kV | 70 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60 | x61 | y61 | x62 | y62 | x63 | y63 | x64 | y64
0 | 2748782.4524 | 1237404.4723 | 2748771.5472 | 1237404.1178 | 2748758.2649 | 1237398.2798 | 2748720.3372 | 1237408.3949 | 2748712.3926 | 1237409.1634 | 2748707.3879 | 1237408.6042 | 2748695.6803 | 1237404.8744 | 2748687.6057 | 1237404.1827 | 2748680.8944 | 1237405.2713
1 | 2748672.6895 | 1237412.1945 | 2748680.8944 | 1237405.2713
2 | 2748982.3383 | 1237361.6507 | 2748960.412 | 1237371.1276
3 | 2748982.3383 | 1237361.6507 | 2748948.8901 | 1237334.1086 | 2748937.4763 | 1237319.5757 | 2748917.278 | 1237299.4507 | 2748895.8045 | 1237275.5347 | 2748885.3416 | 1237268.9553 | 2748884.884 | 1237278.1412 | 2748878.7637 | 1237283.7263 | 2748871.2344 | 1237287.2408 | 2748839.588 | 1237281.0865
4 | 2748672.6895 | 1237412.1945 | 2748672.06 | 1237417.9841 | 2748674.4245 | 1237425.4279 | 2748702.1128 | 1237446.3292 | 2748727.4431 | 1237467.0714 | 2748748.629 | 1237484.6404 | 2748750.5634 | 1237486.8909 | 2748752.0689 | 1237489.6423 | 2748756.8845 | 1237501.0623 | 2748759.5103 | 1237505.3209 | 2748774.3157 | 1237529.8032 | 2748786.3526 | 1237552.6925 | 2748791.3444 | 1237569.4553 | 2748794.7118 | 1237591.8381 | 2748796.2309 | 1237596.4582 | 2748798.4595 | 1237599.0497 | 2748802.0774 | 1237601.7762 | 2748809.016 | 1237605.1976 | 2748813.9512 | 1237609.7255 | 2748818.0462 | 1237616.3675 | 2748820.8044 | 1237624.0993 | 2748822.1185 | 1237633.5744 | 2748823.8358 | 1237645.0836 | 2748824.9551 | 1237663.2284 | 2748826.633 | 1237669.365 | 2748830.5739 | 1237674.0013 | 2748838.2798 | 1237680.0222 | 2748844.7342 | 1237683.7318 | 2748851.7962 | 1237687.0563 | 2748859.5241 | 1237689.1853 | 2748865.569 | 1237689.9041 | 2748875.7642 | 1237690.8383 | 2748883.5406 | 1237692.2345 | 2748914.4411 | 1237702.0849 | 2748945.1446 | 1237717.9695 | 2748966.37 | 1237729.379 | 2748980.7019 | 1237742.8175 | 2749024.1385 | 1237762.2363 | 2749053.8722 | 1237782.9571 | 2749082.2219 | 1237803.6211 | 2749127.1415 | 1237830.5626 | 2749170.7684 | 1237850.799 | 2749201.3502 | 1237865.7477 | 2749238.3991 | 1237881.4708 | 2749254.8452 | 1237891.46 | 2749266.9606 | 1237900.8954 | 2749281.2283 | 1237918.9485
5 | 2748672.6895 | 1237412.1945 | 2748665.5022 | 1237414.7615 | 2748659.0242 | 1237414.6993 | 2748650.5209 | 1237408.7588 | 2748643.8577 | 1237400.6734 | 2748639.2253 | 1237385.5547 | 2748635.305 | 1237378.8726
6 | 2748672.6895 | 1237412.1945 | 2748259.8566 | 1238126.8853
7 | 2748672.6895 | 1237412.1945 | 2748389.7634 | 1237783.8633
8 | 2748708.7858 | 1237297.5367 | 2748769.127 | 1237290.4968 | 2748812.4581 | 1237283.1865 | 2748839.588 | 1237281.0865
9 | 2749281.2283 | 1237918.9485 | 2749275.8256 | 1237905.0443 | 2749261.2389 | 1237879.5096 | 2749249.0876 | 1237858.5626 | 2749241.6442 | 1237847.5432 | 2749235.5469 | 1237843.4973 | 2749229.3749 | 1237837.3032 | 2749225.4909 | 1237831.022 | 2749224.3063 | 1237824.5529 | 2749222.6589 | 1237815.1139 | 2749220.2271 | 1237810.0815 | 2749214.3435 | 1237802.9493 | 2749207.6481 | 1237796.1971 | 2749205.3378 | 1237791.4457 | 2749197.5713 | 1237768.2847 | 2749148.5636 | 1237710.0444 | 2749129.6303 | 1237689.0607
10 | 2748635.305 | 1237378.8726 | 2748650.8109 | 1237376.0247 | 2748655.9179 | 1237377.3033
11 | 2748590.9224 | 1237266.1694 | 2748582.4613 | 1237285.4422 | 2748590.0012 | 1237291.1694 | 2748592.5577 | 1237296.3937 | 2748595.5796 | 1237306.6121 | 2748597.0413 | 1237311.4197 | 2748597.7542 | 1237315.597 | 2748599.3334 | 1237329.6161 | 2748599.3013 | 1237341.7821 | 2748619.1373 | 1237364.6216 | 2748635.305 | 1237378.8726
12 | 2748227.7508 | 1238140.5016 | 2748232.9483 | 1238139.0744 | 2748240.1433 | 1238131.6138 | 2748247.1202 | 1238128.3405 | 2748259.8566 | 1238126.8853
13 | 2748389.7634 | 1237783.8633 | 2748377.1581 | 1237778.4203 | 2748360.1255 | 1237766.5735
14 | 2748708.7858 | 1237297.5367 | 2748679.4058 | 1237295.188 | 2748629.2842 | 1237283.4784 | 2748614.1958 | 1237276.6705
15 | 2748590.9224 | 1237266.1694 | 2748614.1958 | 1237276.6705
16 | 2748590.9224 | 1237266.1694 | 2748588.8914 | 1237260.2131 | 2748598.5584 | 1237249.9232 | 2748598.6718 | 1237249.8571
17 | 2748484.5873 | 1237288.3308 | 2748500.6462 | 1237286.9866 | 2748501.8218 | 1237286.5934 | 2748501.7377 | 1237285.1121 | 2748498.4899 | 1237282.4062 | 2748498.7814 | 1237280.1336 | 2748499.6327 | 1237277.875 | 2748511.8535 | 1237283.1966 | 2748516.3235 | 1237282.7413 | 2748528.9253 | 1237281.9111 | 2748533.0732 | 1237285.5516 | 2748538.5807 | 1237284.7774 | 2748547.2876 | 1237288.6432 | 2748551.2979 | 1237288.4099 | 2748558.6761 | 1237286.0812 | 2748565.5605 | 1237285.3416 | 2748575.339 | 1237287.5215 | 2748582.4613 | 1237285.4422 | 2748590.9224 | 1237266.1694
18 | 2748227.7508 | 1238140.5016 | 2748223.8241 | 1238143.473 | 2748221.9574 | 1238156.6942 | 2748213.9381 | 1238154.4364 | 2748212.3343 | 1238155.92 | 2748215.3511 | 1238163.0129 | 2748211.106 | 1238176.0079 | 2748203.6671 | 1238187.4773 | 2748188.0939 | 1238205.2384 | 2748165.8688 | 1238224.1791 | 2748165.0239 | 1238237.4036 | 2748168.4736 | 1238244.7409 | 2748158.2083 | 1238264.5364 | 2748160.9041 | 1238276.3034 | 2748160.6329 | 1238294.4356 | 2748115.2689 | 1238265.8777 | 2748106.7597 | 1238257.7803 | 2748086.4357 | 1238250.6002 | 2748066.9891 | 1238236.4689 | 2748041.5497 | 1238223.7897 | 2748033.2025 | 1238219.1997 | 2748036.926 | 1238228.312 | 2748044.1516 | 1238240.2364 | 2748036.9531 | 1238237.8437 | 2748030.7093 | 1238232.3719 | 2748033.4511 | 1238242.305 | 2748038.659 | 1238248.3403 | 2748037.2952 | 1238250.2192 | 2748031.0501 | 1238246.0152 | 2748024.8066 | 1238237.1959 | 2748011.021 | 1238233.3821 | 2748002.0986 | 1238234.8611 | 2747986.2435 | 1238225.4129 | 2747981.6143 | 1238217.4124 | 2747969.0639 | 1238208.6805 | 2747962.364 | 1238212.6951 | 2747955.8213 | 1238209.7961
19 | 2747955.8213 | 1238209.7961 | 2747947.4426 | 1238211.9338 | 2747949.1993 | 1238224.9562 | 2747942.5643 | 1238233.9548 | 2747951.6717 | 1238235.0716 | 2747936.7968 | 1238246.1112 | 2747951.603 | 1238248.1486 | 2747942.2121 | 1238256.2777 | 2747934.555 | 1238256.1869 | 2747933.0507 | 1238259.4524 | 2747944.7013 | 1238267.2387 | 2747931.2141 | 1238272.4075 | 2747933.6076 | 1238275.6701 | 2747929.3976 | 1238277.2668 | 2747922.1278 | 1238276.5183 | 2747922.402 | 1238284.6438 | 2747928.1376 | 1238285.91 | 2747921.5699 | 1238291.307 | 2747915.0342 | 1238288.1301 | 2747913.6493 | 1238290.5534 | 2747917.1472 | 1238302.04 | 2747910.6219 | 1238301.7884 | 2747910.2422 | 1238317.3266 | 2747903.5325 | 1238316.8813 | 2747904.4321 | 1238326.3347 | 2747897.5013 | 1238323.5261 | 2747898.1779 | 1238326.7459 | 2747896.2477 | 1238328.5773 | 2747895.813 | 1238330.8353 | 2747892.3767 | 1238332.0619 | 2747885.7004 | 1238345.7639 | 2747885.4516 | 1238355.7447 | 2747881.7932 | 1238354.3412 | 2747874.6799 | 1238343.9767 | 2747871.0535 | 1238333.6992 | 2747868.5033 | 1238341.276 | 2747865.9713 | 1238347.819 | 2747860.3912 | 1238340.3176 | 2747857.2974 | 1238327.7957 | 2747850.6519 | 1238344.8237 | 2747847.3295 | 1238343.9068 | 2747843.5848 | 1238333.8154 | 2747842.4624 | 1238337.8579 | 2747836.3503 | 1238329.8316 | 2747834.6639 | 1238319.1465 | 2747826.6983 | 1238329.3131 | 2747822.6082 | 1238318.2011 | 2747814.7856 | 1238329.6169 | 2747802.3132 | 1238311.6789 | 2747792.3408 | 1238306.7039 | 2747782.3368 | 1238313.0274 | 2747770.0976 | 1238297.2639 | 2747738.6545 | 1238284.3475 | 2747714.0877 | 1238278.5534 | 2747701.1173 | 1238266.0081 | 2747697.1302 | 1238254.6985 | 2747681.7341 | 1238256.8955 | 2747645.6005 | 1238251.1807 | 2747607.9945 | 1238237.1108 | 2747578.5165 | 1238235.5323 | 2747554.9676 | 1238226.2275 | 2747515.182 | 1238221.8796 | 2747488.6319 | 1238207.2512 | 2747487.7308 | 1238208.8595
20 | 2747955.8213 | 1238209.7961 | 2747949.499 | 1238203.2214 | 2747940.4483 | 1238198.614 | 2747929.6379 | 1238183.2305 | 2747914.7044 | 1238155.0215 | 2747898.8834 | 1238117.7709 | 2747876.2293 | 1238089.87 | 2747865.3919 | 1238082.2376 | 2747865.7212 | 1238114.887 | 2747862.5144 | 1238121.7802 | 2747825.1614 | 1238077.7876 | 2747807.3589 | 1238053.2108 | 2747792.3067 | 1238028.5135
21 | 2748484.5873 | 1237288.3308 | 2748485.1488 | 1237280.7156 | 2748485.8538 | 1237270.6906 | 2748490.5775 | 1237264.9367 | 2748499.8949 | 1237265.2811
22 | 2748088.9886 | 1236935.6085 | 2748091.5739 | 1236938.4867 | 2748105.0062 | 1236954.7588 | 2748119.2388 | 1236970.5059 | 2748122.1905 | 1236975.384 | 2748106.8021 | 1236992.3047 | 2748096.8971 | 1237002.4449 | 2748089.0674 | 1237008.2995 | 2748086.5527 | 1237011.9958 | 2748086.5049 | 1237016.6433 | 2748087.6299 | 1237022.2209 | 2748087.6797 | 1237025.3806 | 2748087.0214 | 1237029.012 | 2748082.7035 | 1237046.1201 | 2748083.0209 | 1237051.5997 | 2748084.5617 | 1237056.8985 | 2748116.3844 | 1237075.4757 | 2748161.9891 | 1237110.5341 | 2748194.329 | 1237172.3421 | 2748275.3078 | 1237197.3526 | 2748303.531 | 1237197.246 | 2748335.0482 | 1237209.2106 | 2748381.5019 | 1237243.2244 | 2748386.8448 | 1237274.1641 | 2748399.2959 | 1237301.4559 | 2748443.4879 | 1237328.0958 | 2748486.276 | 1237320.9809 | 2748483.7482 | 1237304.6248 | 2748484.1765 | 1237293.859 | 2748484.5873 | 1237288.3308
23 | 2748090.4492 | 1236933.1983 | 2748088.9886 | 1236935.6085
24 | 2748088.9886 | 1236935.6085 | 2748091.5739 | 1236938.4867 | 2748105.0062 | 1236954.7588 | 2748119.2388 | 1236970.5059 | 2748122.1905 | 1236975.384 | 2748106.8021 | 1236992.3047 | 2748096.8971 | 1237002.4449 | 2748089.0674 | 1237008.2995 | 2748086.5527 | 1237011.9958 | 2748086.5049 | 1237016.6433 | 2748087.6299 | 1237022.2209 | 2748087.6797 | 1237025.3806 | 2748087.0214 | 1237029.012 | 2748082.7035 | 1237046.1201 | 2748079.9915 | 1237049.5334 | 2748076.8756 | 1237051.2351 | 2748073.754 | 1237051.6465 | 2748040.6045 | 1237035.5722 | 2748025.8808 | 1237031.9241 | 2748003.4626 | 1237026.8942 | 2747986.4643 | 1237017.3175 | 2747975.4164 | 1237006.2099 | 2747959.7551 | 1236989.7602 | 2747938.2076 | 1236969.2269
25 | 2748088.9886 | 1236935.6085 | 2748082.6901 | 1236935.0065 | 2748082.4036 | 1236934.9617
26 | 2748090.4492 | 1236933.1983 | 2748087.0197 | 1236926.2286 | 2748078.8619 | 1236917.6173 | 2748059.3444 | 1236903.718 | 2748036.2118 | 1236887.5489 | 2748019.5153 | 1236873.1418 | 2747992.2283 | 1236858.4151 | 2747970.747 | 1236843.7109 | 2747950.3864 | 1236831.7261 | 2747933.8508 | 1236825.7311 | 2747928.5404 | 1236823.1409 | 2747924.7107 | 1236817.0288 | 2747926.6686 | 1236807.4243 | 2747927.3624 | 1236805.4064
27 | 2748090.4492 | 1236933.1983 | 2748107.6363 | 1236911.5513 | 2748126.0574 | 1236899.0102 | 2748137.555 | 1236895.7383 | 2748141.7009 | 1236897.4505
28 | 2747938.2076 | 1236969.2269 | 2747828.8882 | 1236869.4916 | 2747734.6326 | 1236758.4116 | 2747650.6869 | 1236695.8458
29 | 2747938.2076 | 1236969.2269 | 2747755.7782 | 1237533.6827
30 | 2748067.7337 | 1236931.575 | 2748074.1539 | 1236933.6703 | 2748082.4036 | 1236934.9617
31 | 2747650.6869 | 1236695.8458 | 2747636.2361 | 1236685.0754
32 | 2747755.7782 | 1237533.6827 | 2747738.6167 | 1237526.1489 | 2747732.9029 | 1237525.4951 | 2747726.9373 | 1237519.7526 | 2747712.1385 | 1237513.6901 | 2747705.8223 | 1237512.9101 | 2747697.2753 | 1237510.2173 | 2747683.4676 | 1237513.299 | 2747673.174 | 1237514.7889 | 2747662.0212 | 1237510.9525 | 2747656.569 | 1237502.2201 | 2747649.7655 | 1237500.1754
33 | 2747740.9213 | 1237969.7786 | 2747742.4753 | 1237972.2107 | 2747744.4717 | 1237973.4881
34 | 2747792.3067 | 1238028.5135 | 2747787.4566 | 1238017.8163 | 2747783.221 | 1238012.2279 | 2747774.6589 | 1238002.5727 | 2747774.1388 | 1238001.2697 | 2747773.3835 | 1237998.1702 | 2747772.7353 | 1237996.8418 | 2747766.8988 | 1237989.8902 | 2747762.8668 | 1237986.1531 | 2747756.2518 | 1237980.3721 | 2747749.3295 | 1237976.5964 | 2747744.4717 | 1237973.4881
35 | 2748141.7009 | 1236897.4505 | 2748161.159 | 1236905.4864
36 | 2747575.3606 | 1236639.7041 | 2747636.2361 | 1236685.0754
37 | 2747605.5513 | 1237491.8537 | 2747626.2304 | 1237493.1021 | 2747649.7655 | 1237500.1754
38 | 2747605.5513 | 1237491.8537 | 2747616.6367 | 1237511.1802 | 2747628.5747 | 1237521.4864 | 2747637.6929 | 1237529.8207 | 2747654.4236 | 1237539.7679 | 2747660.9208 | 1237540.8492
39 | 2747528.2103 | 1236596.6891 | 2747530.7677 | 1236590.0465 | 2747545.076 | 1236537.3647 | 2747550.9834 | 1236511.9993 | 2747554.3801 | 1236506.0115 | 2747561.411 | 1236500.926 | 2747570.3887 | 1236496.057
40 | 2747570.3887 | 1236496.057 | 2747136.1087 | 1235946.671
41 | 2747528.2103 | 1236596.6891 | 2747543.6939 | 1236613.9783 | 2747571.8348 | 1236637.0763 | 2747575.3606 | 1236639.7041
42 | 2747528.2103 | 1236596.6891 | 2747520.4207 | 1236597.8856 | 2747518.7112 | 1236601.4798 | 2747516.9033 | 1236608.7304 | 2747516.2322 | 1236611.1441
43 | 2747136.1087 | 1235946.671 | 2746420.9443 | 1236080.8697
44 | 2747136.1087 | 1235946.671 | 2747137.8973 | 1235934.9936 | 2747128.1529 | 1235921.5511 | 2747123.5552 | 1235904.822 | 2747125.7391 | 1235890.3295 | 2747147.7733 | 1235905.5557 | 2747148.9952 | 1235889.2489 | 2747163.2676 | 1235898.0993 | 2747143.7396 | 1235858.1348 | 2747180.0048 | 1235871.6676 | 2747178.0551 | 1235847.6974 | 2747152.2355 | 1235780.5299 | 2747203.9915 | 1235807.2364 | 2747185.6454 | 1235763.5754 | 2747183.0894 | 1235750.0108 | 2747188.9386 | 1235750.7675 | 2747194.4754 | 1235748.8584 | 2747197.7906 | 1235749.519 | 2747209.2386 | 1235757.7768 | 2747212.1565 | 1235756.7481 | 2747210.3687 | 1235744.5705 | 2747216.2323 | 1235744.7493 | 2747235.8525 | 1235740.8219
45 | 2747375.0398 | 1235744.9559 | 2747381.9462 | 1235759.6823 | 2747382.1832 | 1235760.3293
46 | 2747385.1847 | 1235782.3389 | 2747386.0945 | 1235771.0067 | 2747382.1832 | 1235760.3293
47 | 2747360.3281 | 1235722.4276 | 2747371.1597 | 1235736.6827 | 2747375.0398 | 1235744.9559
48 | 2747353.9512 | 1235714.0352 | 2747360.3281 | 1235722.4276
49 | 2747336.8798 | 1235719.1053 | 2747337.7365 | 1235718.1479 | 2747341.1795 | 1235716.0981 | 2747349.3555 | 1235718.2917 | 2747353.9512 | 1235714.0352
50 | 2747353.9512 | 1235714.0352 | 2747357.5625 | 1235711.3163
51 | 2747353.9512 | 1235714.0352 | 2747363.0055 | 1235716.8401 | 2747368.9723 | 1235719.268 | 2747377.3857 | 1235723.792 | 2747389.9943 | 1235727.2624
52 | 2747389.9943 | 1235727.2624 | 2747395.7277 | 1235728.8405 | 2747402.0307 | 1235731.0008
53 | 2747417.0144 | 1235736.6646 | 2747410.3154 | 1235733.8403 | 2747402.0307 | 1235731.0008
54 | 2747417.0144 | 1235736.6646 | 2747440.3072 | 1235737.4878 | 2747445.2192 | 1235743.0494
55 | 2747336.8798 | 1235719.1053 | 2747326.9849 | 1235729.4249 | 2747315.3441 | 1235728.6356 | 2747304.7414 | 1235732.087 | 2747299.9772 | 1235732.3588
56 | 2747367.1014 | 1235695.1997 | 2747369.0633 | 1235699.7414 | 2747367.3763 | 1235703.0359 | 2747359.3137 | 1235709.9978 | 2747357.5625 | 1235711.3163
57 | 2747299.9772 | 1235732.3588 | 2747269.4224 | 1235734.1022 | 2747235.8525 | 1235740.8219
58 | 2747367.1014 | 1235695.1997 | 2747369.6222 | 1235689.735 | 2747373.1391 | 1235676.7771 | 2747375.9342 | 1235674.5999 | 2747384.0382 | 1235673.2887 | 2747384.0382 | 1235673.2887
59 | 2747367.1014 | 1235695.1997 | 2747357.3774 | 1235684.9047 | 2747354.483 | 1235673.7004 | 2747351.1711 | 1235656.8865
60 | 2746420.9443 | 1236080.8697 | 2746414.6191 | 1236076.6537
61 | 2747384.0382 | 1235673.2887 | 2747389.3585 | 1235668.5163 | 2747394.0812 | 1235665.6938
62 | 2746404.9168 | 1236068.2522 | 2746409.8382 | 1236073.4671 | 2746414.6191 | 1236076.6537
63 | 2746404.9168 | 1236068.2522 | 2746395.1373 | 1236070.9136 | 2746393.361 | 1236081.2348
64 | 2746354.8881 | 1236152.0069 | 2746356.653 | 1236145.8336 | 2746355.5152 | 1236139.7779 | 2746360.6205 | 1236134.1541 | 2746360.6507 | 1236126.4812 | 2746359.518 | 1236110.3942 | 2746354.4969 | 1236093.5663 | 2746346.0482 | 1236059.4493 | 2746349.4288 | 1236055.6069 | 2746368.5052 | 1236072.9259 | 2746383.1424 | 1236077.4462 | 2746390.4126 | 1236085.3548 | 2746393.361 | 1236081.2348
65 | 2746354.8881 | 1236152.0069 | 2746347.6736 | 1236145.223 | 2746347.0703 | 1236149.423 | 2746343.7982 | 1236147.3294 | 2746340.0414 | 1236140.9422 | 2746335.0126 | 1236144.3881 | 2746334.2953 | 1236140.6226 | 2746329.1602 | 1236141.6192 | 2746321.4311 | 1236135.7458 | 2746313.8626 | 1236136.5601 | 2746313.0023 | 1236130.6113 | 2746310.4409 | 1236128.2461 | 2746304.5578 | 1236130.1029 | 2746302.2081 | 1236127.1423 | 2746299.5335 | 1236129.6788 | 2746299.7677 | 1236124.1684 | 2746292.0075 | 1236122.3201 | 2746289.3229 | 1236123.1102 | 2746288.5207 | 1236119.7207 | 2746275.2439 | 1236122.3629 | 2746268.8647 | 1236115.7776 | 2746270.6123 | 1236110.3046 | 2746268.435 | 1236108.6383 | 2746264.5618 | 1236110.6559 | 2746261.2749 | 1236109.1626 | 2746256.9736 | 1236112.2706 | 2746253.0983 | 1236110.0732 | 2746251.7484 | 1236103.712 | 2746249.1931 | 1236108.4756 | 2746246.8635 | 1236109.9196 | 2746241.8949 | 1236103.2357 | 2746236.2462 | 1236111.5597 | 2746224.1583 | 1236097.9054 | 2746218.6635 | 1236110.1257 | 2746213.1171 | 1236104.4618 | 2746202.0764 | 1236098.0843 | 2746200.4422 | 1236104.4944 | 2746195.2737 | 1236106.8471 | 2746184.6584 | 1236095.1864 | 2746181.9933 | 1236098.8797 | 2746174.6049 | 1236092.3809 | 2746172.1163 | 1236092.2863 | 2746168.8712 | 1236095.2425 | 2746167.9583 | 1236088.3471 | 2746165.4188 | 1236088.4736 | 2746163.146 | 1236089.7633 | 2746163.1894 | 1236085.8497 | 2746160.6595 | 1236085.5872 | 2746160.1595 | 1236080.6816 | 2746158.2612 | 1236079.367 | 2746148.9075 | 1236086.2654 | 2746144.7548 | 1236085.1845 | 2746141.8077 | 1236075.114 | 2746125.6523 | 1236072.9035 | 2746107.7427 | 1236064.1328 | 2746100.5507 | 1236061.954 | 2746097.114 | 1236054.2402 | 2746089.8386 | 1236051.4477 | 2746086.8413 | 1236054.4879 | 2746085.6944 | 1236060.1759 | 2746085.0393 | 1236066.4878 | 2746080.8412 | 1236069.098 | 2746079.1973 | 1236074.6738 | 2746084.9099 | 1236083.7447 | 2746086.8143 | 1236090.2639
66 | 2746133.2911 | 1236277.7331 | 2746135.8579 | 1236271.8798 | 2746136.5873 | 1236258.5523 | 2746127.6816 | 1236248.1905 | 2746126.2728 | 1236235.9114 | 2746129.361 | 1236233.1737 | 2746127.3423 | 1236216.7647 | 2746120.1509 | 1236210.5711 | 2746122.004 | 1236204.8003 | 2746121.1903 | 1236196.9509 | 2746115.0133 | 1236181.8408 | 2746103.1499 | 1236168.904 | 2746097.295 | 1236157.3161 | 2746101.4682 | 1236155.7173 | 2746096.8307 | 1236147.5736 | 2746098.3429 | 1236131.3516 | 2746092.0351 | 1236121.5543 | 2746086.1336 | 1236103.5484 | 2746091.3202 | 1236105.689 | 2746086.8143 | 1236090.2639
67 | 2746133.2911 | 1236277.7331 | 2746140.0841 | 1236287.498 | 2746141.3777 | 1236293.691 | 2746137.2943 | 1236300.5635 | 2746140.6049 | 1236325.0783 | 2746154.3828 | 1236334.0365 | 2746175.8859 | 1236338.8811 | 2746181.0989 | 1236344.5478 | 2746181.7292 | 1236347.8667
68 | 2746197.7402 | 1236387.8634 | 2746185.837 | 1236369.4982 | 2746181.7292 | 1236347.8667

## bus_geodata
| x | y | coords
0 | 2748782.4524 | 1237404.4723
1 | 2748680.8944 | 1237405.2713
2 | 2748960.412 | 1237371.1276
3 | 2748982.3383 | 1237361.6507
4 | 2748672.6895 | 1237412.1945
5 | 2748839.588 | 1237281.0865
6 | 2749281.2283 | 1237918.9485
7 | 2748635.305 | 1237378.8726
8 | 2748259.8566 | 1238126.8853
9 | 2748389.7634 | 1237783.8633
10 | 2748708.7858 | 1237297.5368
11 | 2748614.1958 | 1237276.6705
12 | 2749129.6303 | 1237689.0607
13 | 2748655.9179 | 1237377.3033
14 | 2748590.9224 | 1237266.1694
15 | 2748360.1255 | 1237766.5735
16 | 2748227.7508 | 1238140.5016
17 | 2747955.8213 | 1238209.7961
18 | 2748598.6717 | 1237249.8571
19 | 2748484.5873 | 1237288.3308
20 | 2748499.8949 | 1237265.2811
21 | 2748088.9886 | 1236935.6085
22 | 2748090.4492 | 1236933.1983
23 | 2747938.2076 | 1236969.2269
24 | 2748082.4036 | 1236934.9617
25 | 2747650.6869 | 1236695.8458
26 | 2747755.7782 | 1237533.6827
27 | 2747740.9213 | 1237969.7786
28 | 2747744.4717 | 1237973.4881
29 | 2747792.3067 | 1238028.5135
30 | 2747487.7308 | 1238208.8595
31 | 2748161.159 | 1236905.4864
32 | 2748141.7009 | 1236897.4505
33 | 2747927.3624 | 1236805.4064
34 | 2748067.7337 | 1236931.575
35 | 2747636.2362 | 1236685.0754
36 | 2747649.7655 | 1237500.1754
37 | 2747605.5513 | 1237491.8537
38 | 2747660.9208 | 1237540.8492
39 | 2747570.3887 | 1236496.057
40 | 2747528.2103 | 1236596.6891
41 | 2747136.1087 | 1235946.671
42 | 2747575.3606 | 1236639.7041
43 | 2747516.2322 | 1236611.1441
44 | 2747382.1832 | 1235760.3293
45 | 2747375.0398 | 1235744.9559
46 | 2747385.1847 | 1235782.3389
47 | 2747360.3281 | 1235722.4276
48 | 2747353.9512 | 1235714.0352
49 | 2747389.9943 | 1235727.2624
50 | 2747402.0307 | 1235731.0008
51 | 2747417.0144 | 1235736.6646
52 | 2747336.8798 | 1235719.1053
53 | 2747357.5625 | 1235711.3163
54 | 2747445.2192 | 1235743.0494
55 | 2747299.9772 | 1235732.3588
56 | 2747367.1014 | 1235695.1997
57 | 2747235.8525 | 1235740.8219
58 | 2746420.9443 | 1236080.8697
59 | 2747351.1711 | 1235656.8865
60 | 2747384.0382 | 1235673.2887
61 | 2747394.0812 | 1235665.6938
62 | 2746414.6191 | 1236076.6537
63 | 2746404.9168 | 1236068.2522
64 | 2746393.361 | 1236081.2348
65 | 2746354.8881 | 1236152.0069
66 | 2746086.8143 | 1236090.2639
67 | 2746133.2911 | 1236277.7331
68 | 2746181.7292 | 1236347.8667
69 | 2746197.7402 | 1236387.8634
70 | 2747650.6869 | 1236695.8458

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1