## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3105-4_4_3_node_60 | 0.4 | n |  | TRUE
1 | bus_LV_3105-4_4_3_node_61 | 0.4 | n |  | TRUE
2 | bus_LV_3105-4_4_3_node_62 | 0.4 | n |  | TRUE
3 | bus_LV_3105-4_4_3_node_63 | 0.4 | n |  | TRUE
4 | bus_LV_3105-4_4_3_node_70 | 0.4 | n |  | TRUE
5 | bus_LV_3105-4_4_3_node_95 | 0.4 | n |  | TRUE
6 | bus_LV_3105-4_4_3_node_96 | 0.4 | n |  | TRUE
7 | bus_LV_3105-4_4_3_node_66 | 0.4 | n |  | TRUE
8 | bus_LV_3105-4_4_3_node_67 | 0.4 | n |  | TRUE
9 | bus_LV_3105-4_4_3_node_68 | 0.4 | n |  | TRUE
10 | bus_LV_3105-4_4_3_node_69 | 0.4 | n |  | TRUE
11 | bus_LV_3105-4_4_3_node_74 | 0.4 | n |  | TRUE
12 | bus_LV_3105-4_4_3_node_71 | 0.4 | n |  | TRUE
13 | bus_LV_3105-4_4_3_node_72 | 0.4 | n |  | TRUE
14 | bus_LV_3105-4_4_3_node_73 | 0.4 | n |  | TRUE
15 | bus_LV_3105-4_4_3_node_75 | 0.4 | n |  | TRUE
16 | bus_LV_3105-4_4_3_node_76 | 0.4 | n |  | TRUE
17 | bus_LV_3105-4_4_3_node_77 | 0.4 | n |  | TRUE
18 | bus_LV_3105-4_4_3_node_78 | 0.4 | n |  | TRUE
19 | bus_LV_3105-4_4_3_node_100 | 0.4 | n |  | TRUE
20 | bus_LV_3105-4_4_3_node_84 | 0.4 | n |  | TRUE
21 | bus_LV_3105-4_4_3_node_82 | 0.4 | n |  | TRUE
22 | bus_LV_3105-4_4_3_node_99 | 0.4 | n |  | TRUE
23 | bus_LV_3105-4_4_3_node_98 | 0.4 | n |  | TRUE
24 | bus_LV_3105-4_4_3_node_80 | 0.4 | n |  | TRUE
25 | bus_LV_3105-4_4_3_node_81 | 0.4 | n |  | TRUE
26 | bus_LV_3105-4_4_3_node_83 | 0.4 | n |  | TRUE
27 | bus_LV_3105-4_4_3_node_158 | 0.4 | n |  | TRUE
28 | bus_LV_3105-4_4_3_node_89 | 0.4 | n |  | TRUE
29 | bus_LV_3105-4_4_3_node_85 | 0.4 | n |  | TRUE
30 | bus_LV_3105-4_4_3_node_86 | 0.4 | n |  | TRUE
31 | bus_LV_3105-4_4_3_node_87 | 0.4 | n |  | TRUE
32 | bus_LV_3105-4_4_3_node_88 | 0.4 | n |  | TRUE
33 | bus_LV_3105-4_4_3_node_90 | 0.4 | n |  | TRUE
34 | bus_LV_3105-4_4_3_node_94 | 0.4 | n |  | TRUE
35 | bus_LV_3105-4_4_3_node_91 | 0.4 | n |  | TRUE
36 | bus_LV_3105-4_4_3_node_92 | 0.4 | n |  | TRUE
37 | bus_LV_3105-4_4_3_node_93 | 0.4 | n |  | TRUE
38 | bus_LV_3105-4_4_3_node_97 | 0.4 | n |  | TRUE
39 | bus_LV_3105-4_4_3_node_102 | 0.4 | n |  | TRUE
40 | bus_LV_3105-4_4_3_node_101 | 0.4 | n |  | TRUE
41 | bus_LV_3105-4_4_3_node_118 | 0.4 | n |  | TRUE
42 | bus_LV_3105-4_4_3_node_116 | 0.4 | n |  | TRUE
43 | bus_LV_3105-4_4_3_node_103 | 0.4 | n |  | TRUE
44 | bus_LV_3105-4_4_3_node_104 | 0.4 | n |  | TRUE
45 | bus_LV_3105-4_4_3_node_105 | 0.4 | n |  | TRUE
46 | bus_LV_3105-4_4_3_node_106 | 0.4 | n |  | TRUE
47 | bus_LV_3105-4_4_3_node_107 | 0.4 | n |  | TRUE
48 | bus_LV_3105-4_4_3_node_108 | 0.4 | n |  | TRUE
49 | bus_LV_3105-4_4_3_node_109 | 0.4 | n |  | TRUE
50 | bus_LV_3105-4_4_3_node_111 | 0.4 | n |  | TRUE
51 | bus_LV_3105-4_4_3_node_114 | 0.4 | n |  | TRUE
52 | bus_LV_3105-4_4_3_node_112 | 0.4 | n |  | TRUE
53 | bus_LV_3105-4_4_3_node_113 | 0.4 | n |  | TRUE
54 | bus_LV_3105-4_4_3_node_115 | 0.4 | n |  | TRUE
55 | bus_LV_3105-4_4_3_node_117 | 0.4 | n |  | TRUE
56 | bus_LV_3105-4_4_3_node_121 | 0.4 | n |  | TRUE
57 | bus_LV_3105-4_4_3_node_126 | 0.4 | n |  | TRUE
58 | bus_LV_3105-4_4_3_node_119 | 0.4 | n |  | TRUE
59 | bus_LV_3105-4_4_3_node_120 | 0.4 | n |  | TRUE
60 | bus_LV_3105-4_4_3_node_122 | 0.4 | n |  | TRUE
61 | bus_LV_3105-4_4_3_node_123 | 0.4 | n |  | TRUE
62 | bus_LV_3105-4_4_3_node_124 | 0.4 | n |  | TRUE
63 | bus_LV_3105-4_4_3_node_133 | 0.4 | n |  | TRUE
64 | bus_LV_3105-4_4_3_node_157 | 0.4 | n |  | TRUE
65 | bus_LV_3105-4_4_3_node_125 | 0.4 | n |  | TRUE
66 | bus_LV_3105-4_4_3_node_129 | 0.4 | n |  | TRUE
67 | bus_LV_3105-4_4_3_node_132 | 0.4 | n |  | TRUE
68 | bus_LV_3105-4_4_3_node_130 | 0.4 | n |  | TRUE
69 | bus_LV_3105-4_4_3_node_131 | 0.4 | n |  | TRUE
70 | bus_LV_3105-4_4_3_node_134 | 0.4 | n |  | TRUE
71 | bus_LV_3105-4_4_3_node_135 | 0.4 | n |  | TRUE
72 | bus_LV_3105-4_4_3_node_136 | 0.4 | n |  | TRUE
73 | bus_LV_3105-4_4_3_node_137 | 0.4 | n |  | TRUE
74 | bus_MV_148_0_node_299 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3105-4_4_3_load_62 | 2 | 0.00051356 | 0.00012871 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3105-4_4_3_load_63 | 3 | 0.0010287 | 0.00025781 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3105-4_4_3_load_70 | 4 | 0.001059 | 0.0002654 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3105-4_4_3_load_95 | 5 | 0.001215 | 0.00030451 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3105-4_4_3_load_96 | 6 | 0.00068702 | 0.00017218 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3105-4_4_3_load_66 | 7 | 0.0016226 | 0.00040667 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3105-4_4_3_load_67 | 8 | 0.00037513 | 9.4017e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3105-4_4_3_load_68 | 9 | 0.00063582 | 0.00015935 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3105-4_4_3_load_69 | 10 | 0.0034491 | 0.00086443 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3105-4_4_3_load_71 | 12 | 0.00046341 | 0.00011614 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3105-4_4_3_load_72 | 13 | 0.00489 | 0.0012256 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3105-4_4_3_load_75 | 15 | 0.00072924 | 0.00018277 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3105-4_4_3_load_100 | 19 | 0.00226 | 0.0005664 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3105-4_4_3_load_84 | 20 | 0.0045088 | 0.00113 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3105-4_4_3_load_82 | 21 | 0.0061955 | 0.0015527 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3105-4_4_3_load_99 | 22 | 0.0068371 | 0.0017135 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3105-4_4_3_load_98 | 23 | 0.0014503 | 0.00036347 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3105-4_4_3_load_80 | 24 | 0.0083964 | 0.0021043 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3105-4_4_3_load_158 | 27 | 0.01173 | 0.0029398 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3105-4_4_3_load_86 | 30 | 0.0032946 | 0.00082569 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3105-4_4_3_load_88 | 32 | 0.012614 | 0.0031613 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3105-4_4_3_load_90 | 33 | 0.0065662 | 0.0016456 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3105-4_4_3_load_94 | 34 | 0.0027835 | 0.0006976 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3105-4_4_3_load_91 | 35 | 0.0082167 | 0.0020593 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3105-4_4_3_load_93 | 37 | 0.010064 | 0.0025223 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3105-4_4_3_load_97 | 38 | 0.00099608 | 0.00024964 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3105-4_4_3_load_102 | 39 | 0.0019109 | 0.00047891 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3105-4_4_3_load_116 | 42 | 0.00028176 | 7.0615e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3105-4_4_3_load_104 | 44 | 0.001017 | 0.00025489 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3105-4_4_3_load_105 | 45 | 0.00026671 | 6.6843e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3105-4_4_3_load_106 | 46 | 0.00091308 | 0.00022884 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3105-4_4_3_load_107 | 47 | 0.0004788 | 0.00012 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3105-4_4_3_load_108 | 48 | 0.00027978 | 7.0119e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3105-4_4_3_load_112 | 52 | 0.00093785 | 0.00023505 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3105-4_4_3_load_115 | 54 | 0.0025668 | 0.0006433 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3105-4_4_3_load_117 | 55 | 0.00070868 | 0.00017761 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3105-4_4_3_load_126 | 57 | 0.00037376 | 9.3674e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3105-4_4_3_load_119 | 58 | 0.00059946 | 0.00015024 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3105-4_4_3_load_122 | 60 | 0.00020131 | 5.0452e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3105-4_4_3_load_124 | 62 | 0.00058647 | 0.00014698 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3105-4_4_3_load_157 | 64 | 0.0012785 | 0.00032042 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3105-4_4_3_load_125 | 65 | 0.0012882 | 0.00032286 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3105-4_4_3_load_132 | 67 | 0.00059205 | 0.00014838 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3105-4_4_3_load_130 | 68 | 0.00042157 | 0.00010565 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3105-4_4_3_load_134 | 70 | 0.00086151 | 0.00021592 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3105-4_4_3_load_135 | 71 | 0.00035261 | 8.8373e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3105-4_4_3_load_136 | 72 | 0.00019736 | 4.9462e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3105-4_4_3_load_137 | 73 | 0.00035474 | 8.8906e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3105-4_4_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.08474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3105-4_4_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.14356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3105-4_4_3_line_2 | NAYY 4x150 SE | 0 | 3 | 0.088761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3105-4_4_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.068756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3105-4_4_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.0078168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3105-4_4_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.025761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3105-4_4_3_line_6 | NAYY 4x150 SE | 4 | 12 | 0.024071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3105-4_4_3_line_7 | NAYY 4x150 SE | 6 | 38 | 0.0063896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3105-4_4_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.013311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3105-4_4_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.035727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3105-4_4_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.04102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3105-4_4_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.020685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3105-4_4_3_line_12 | NAYY 4x150 SE | 11 | 15 | 0.025157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3105-4_4_3_line_13 | NAYY 4x150 SE | 11 | 14 | 0.044782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3105-4_4_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.051222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3105-4_4_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.012968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3105-4_4_3_line_16 | NAYY 4x150 SE | 16 | 17 | 0.091736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3105-4_4_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.072571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3105-4_4_3_line_18 | NAYY 4x150 SE | 16 | 19 | 0.031531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3105-4_4_3_line_19 | NAYY 4x150 SE | 17 | 20 | 0.053697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3105-4_4_3_line_20 | NAYY 4x150 SE | 17 | 21 | 0.025332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3105-4_4_3_line_21 | NAYY 4x150 SE | 18 | 22 | 0.014197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3105-4_4_3_line_22 | NAYY 4x150 SE | 18 | 23 | 0.0099794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3105-4_4_3_line_23 | NAYY 4x150 SE | 20 | 29 | 0.034527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3105-4_4_3_line_24 | NAYY 4x150 SE | 21 | 25 | 0.076363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3105-4_4_3_line_25 | NAYY 4x150 SE | 22 | 39 | 0.052287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3105-4_4_3_line_26 | NAYY 4x150 SE | 23 | 38 | 0.04071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3105-4_4_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.024488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3105-4_4_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.011789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3105-4_4_3_line_29 | NAYY 4x150 SE | 26 | 28 | 0.0699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3105-4_4_3_line_30 | NAYY 4x150 SE | 28 | 34 | 0.040758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3105-4_4_3_line_31 | NAYY 4x150 SE | 28 | 31 | 0.005599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3105-4_4_3_line_32 | NAYY 4x150 SE | 29 | 30 | 0.0068944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3105-4_4_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.016401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3105-4_4_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.057008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3105-4_4_3_line_35 | NAYY 4x150 SE | 31 | 33 | 0.030397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3105-4_4_3_line_36 | NAYY 4x150 SE | 34 | 36 | 0.041333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3105-4_4_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.034683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3105-4_4_3_line_38 | NAYY 4x150 SE | 36 | 37 | 0.058252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3105-4_4_3_line_39 | NAYY 4x150 SE | 39 | 43 | 0.012128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3105-4_4_3_line_40 | NAYY 4x150 SE | 40 | 41 | 0.008931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3105-4_4_3_line_41 | NAYY 4x150 SE | 40 | 42 | 0.021145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3105-4_4_3_line_42 | NAYY 4x150 SE | 41 | 56 | 0.057446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3105-4_4_3_line_43 | NAYY 4x150 SE | 41 | 57 | 0.06375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3105-4_4_3_line_44 | NAYY 4x150 SE | 42 | 51 | 0.067558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3105-4_4_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.031999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3105-4_4_3_line_46 | NAYY 4x150 SE | 43 | 45 | 0.021626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3105-4_4_3_line_47 | NAYY 4x150 SE | 44 | 46 | 0.014815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3105-4_4_3_line_48 | NAYY 4x150 SE | 45 | 47 | 0.0083044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3105-4_4_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.007742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3105-4_4_3_line_50 | NAYY 4x150 SE | 48 | 49 | 0.047435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3105-4_4_3_line_51 | NAYY 4x150 SE | 49 | 50 | 0.022552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3105-4_4_3_line_52 | NAYY 4x150 SE | 50 | 51 | 0.030836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3105-4_4_3_line_53 | NAYY 4x150 SE | 50 | 52 | 0.016629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3105-4_4_3_line_54 | NAYY 4x150 SE | 51 | 55 | 0.031877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3105-4_4_3_line_55 | NAYY 4x150 SE | 52 | 53 | 0.022786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3105-4_4_3_line_56 | NAYY 4x150 SE | 53 | 54 | 0.013472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3105-4_4_3_line_57 | NAYY 4x150 SE | 56 | 62 | 0.101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3105-4_4_3_line_58 | NAYY 4x150 SE | 56 | 58 | 0.014603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3105-4_4_3_line_59 | NAYY 4x150 SE | 58 | 59 | 0.165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3105-4_4_3_line_60 | NAYY 4x150 SE | 59 | 60 | 0.07701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3105-4_4_3_line_61 | NAYY 4x150 SE | 59 | 61 | 0.035221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3105-4_4_3_line_62 | NAYY 4x150 SE | 60 | 63 | 0.13729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3105-4_4_3_line_63 | NAYY 4x150 SE | 61 | 64 | 0.12212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3105-4_4_3_line_64 | NAYY 4x150 SE | 62 | 65 | 0.20355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3105-4_4_3_line_65 | NAYY 4x150 SE | 63 | 71 | 0.095767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3105-4_4_3_line_66 | NAYY 4x150 SE | 63 | 69 | 0.023403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3105-4_4_3_line_67 | NAYY 4x150 SE | 64 | 73 | 0.15659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3105-4_4_3_line_68 | NAYY 4x150 SE | 66 | 67 | 0.10368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3105-4_4_3_line_69 | NAYY 4x150 SE | 66 | 68 | 0.094406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3105-4_4_3_line_70 | NAYY 4x150 SE | 68 | 69 | 0.10268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3105-4_4_3_line_71 | NAYY 4x150 SE | 69 | 70 | 0.11249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3105-4_4_3_line_72 | NAYY 4x150 SE | 72 | 73 | 0.07211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3105-4_4_3_trafo_77 | 0.25 MVA 20/0.4 kV | 74 | 17 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2750895.138 | 1240582.9611 | 2750906.9393 | 1240595.7953 | 2750913.8649 | 1240601.0319 | 2750917.8647 | 1240602.0234 | 2750922.0101 | 1240601.4504 | 2750927.617 | 1240597.8563 | 2750931.1668 | 1240588.2819 | 2750932.9497 | 1240578.874 | 2750936.6241 | 1240573.0286 | 2750940.7878 | 1240571.1438 | 2750950.0751 | 1240568.0103 | 2750952.7031 | 1240567.3098
1 | 2750895.138 | 1240582.9611 | 2750887.0635 | 1240579.4637 | 2750878.8179 | 1240582.9908 | 2750861.0813 | 1240595.2849 | 2750841.2226 | 1240604.4556 | 2750828.7416 | 1240609.421 | 2750816.4193 | 1240608.4403 | 2750807.2431 | 1240605.1263 | 2750802.4267 | 1240594.8944 | 2750797.1849 | 1240584.4292 | 2750790.6808 | 1240579.8708 | 2750783.2272 | 1240578.1354 | 2750775.0597 | 1240578.5951
2 | 2750895.138 | 1240582.9611 | 2750894.6356 | 1240585.1615 | 2750896.3241 | 1240590.465 | 2750897.4574 | 1240601.8267 | 2750898.4329 | 1240611.3604 | 2750900.5745 | 1240622.9369 | 2750903.0804 | 1240635.9573 | 2750906.3432 | 1240643.3138 | 2750912.9246 | 1240657.3165 | 2750915.6427 | 1240668.3714
3 | 2750952.7031 | 1240567.3098 | 2750953.6673 | 1240571.6384 | 2750964.4621 | 1240604.0989 | 2750965.9189 | 1240605.7153 | 2750968.5413 | 1240606.1268 | 2750970.5177 | 1240605.4653 | 2750974.5762 | 1240616.3343 | 2750978.1664 | 1240627.3606
4 | 2750767.8587 | 1240575.5538 | 2750775.0597 | 1240578.5951
5 | 2750915.6427 | 1240668.3714 | 2750917.4153 | 1240675.5811 | 2750919.9601 | 1240693.7398
6 | 2750978.1664 | 1240627.3606 | 2750981.9231 | 1240638.8979 | 2750985.6807 | 1240650.2286
7 | 2750919.9601 | 1240693.7398 | 2750920.8468 | 1240700.0676
8 | 2750997.7732 | 1240591.0971 | 2750998.0331 | 1240577.7885
9 | 2750997.7732 | 1240591.0971 | 2750997.7523 | 1240592.1677 | 2750999.4341 | 1240598.0271 | 2751002.7402 | 1240603.0826 | 2751009.6415 | 1240610.7542 | 2751013.0935 | 1240617.2148 | 2751014.1953 | 1240621.9646
10 | 2751014.1953 | 1240621.9646 | 2751014.866 | 1240624.8559 | 2751014.5705 | 1240662.9065
11 | 2750996.7552 | 1240670.8608 | 2751001.4914 | 1240669.669 | 2751010.9569 | 1240667.5522 | 2751013.2768 | 1240665.8763 | 2751014.5705 | 1240662.9065
12 | 2750996.7552 | 1240670.8608 | 2750988.5989 | 1240647.0627
13 | 2751005.8289 | 1240711.174 | 2751009.3164 | 1240709.9949 | 2750996.7552 | 1240670.8608
14 | 2750985.6807 | 1240650.2286 | 2750997.0437 | 1240684.4921 | 2751001.7734 | 1240698.8567
15 | 2751005.8289 | 1240711.174 | 2751001.7734 | 1240698.8567
16 | 2750969.8617 | 1240803.9243 | 2750972.8257 | 1240810.5281 | 2750976.2726 | 1240815.3981 | 2750981.319 | 1240820.4423 | 2750983.6051 | 1240822.4691 | 2750987.0904 | 1240821.0786 | 2751002.7297 | 1240816.561 | 2751009.4829 | 1240790.5194 | 2751011.3011 | 1240790.4211 | 2751015.4982 | 1240790.1943 | 2751014.3576 | 1240795.4703 | 2751020.4238 | 1240795.2244 | 2751024.3281 | 1240795.5017
17 | 2750936.561 | 1240748.2362 | 2750942.7527 | 1240746.9258 | 2750945.7502 | 1240757.2673 | 2750961.7266 | 1240771.0198 | 2750966.6997 | 1240781.0223 | 2750969.5795 | 1240793.9077 | 2750969.8617 | 1240803.9243
18 | 2750969.8617 | 1240803.9243 | 2750956.7776 | 1240832.6121
19 | 2751024.3281 | 1240795.5017 | 2751038.5521 | 1240775.2668 | 2751050.7181 | 1240765.734 | 2751063.4546 | 1240761.2361
20 | 2751024.3281 | 1240795.5017 | 2751024.4594 | 1240812.332 | 2751025.4511 | 1240820.7747
21 | 2750936.561 | 1240748.2362 | 2750923.1155 | 1240752.7928
22 | 2750936.561 | 1240748.2362 | 2750933.4192 | 1240738.7643
23 | 2751097.2417 | 1240755.8086 | 2751075.0101 | 1240757.1552 | 2751063.4546 | 1240761.2361
24 | 2751005.7959 | 1240893.4336 | 2751024.375 | 1240841.791 | 2751027.063 | 1240831.305 | 2751025.7278 | 1240823.13 | 2751025.4511 | 1240820.7747
25 | 2750923.1155 | 1240752.7928 | 2750914.949 | 1240755.5604 | 2750881.4749 | 1240783.5976
26 | 2750920.8468 | 1240700.0676 | 2750921.0394 | 1240701.442 | 2750933.4192 | 1240738.7643
27 | 2751005.7959 | 1240893.4336 | 2750998.4767 | 1240913.7777 | 2750998.5724 | 1240916.6438
28 | 2751082.3784 | 1240855.78 | 2751085.3321 | 1240844.3666
29 | 2751111.8803 | 1240780.4822 | 2751100.5746 | 1240797.2213 | 2751093.655 | 1240812.2593 | 2751085.3321 | 1240844.3666
30 | 2751111.8803 | 1240780.4822 | 2751129.6228 | 1240817.1756
31 | 2751109.4441 | 1240775.4376 | 2751111.8803 | 1240780.4822
32 | 2751097.2417 | 1240755.8086 | 2751101.5278 | 1240761.2087
33 | 2751109.4441 | 1240775.4376 | 2751105.107 | 1240765.7181 | 2751101.5278 | 1240761.2087
34 | 2751109.4441 | 1240775.4376 | 2751089.5468 | 1240805.137 | 2751068.5352 | 1240801.3654
35 | 2751109.4441 | 1240775.4376 | 2751123.2565 | 1240756.2267 | 2751126.6972 | 1240750.4352
36 | 2751148.0268 | 1240854.1607 | 2751145.6867 | 1240850.3976 | 2751129.6228 | 1240817.1756
37 | 2751148.0268 | 1240854.1607 | 2751132.0178 | 1240877.6419 | 2751131.6785 | 1240883.8968
38 | 2751148.0268 | 1240854.1607 | 2751156.0161 | 1240850.2938 | 2751173.1581 | 1240815.3195 | 2751173.4247 | 1240804.8609
39 | 2750872.1777 | 1240791.3847 | 2750881.4749 | 1240783.5976
40 | 2750724.5299 | 1240946.191 | 2750715.8897 | 1240943.836
41 | 2750724.5299 | 1240946.191 | 2750724.8593 | 1240940.3716 | 2750734.618 | 1240928.5668
42 | 2750661.4515 | 1240925.0143 | 2750715.8897 | 1240943.836
43 | 2750715.8897 | 1240943.836 | 2750706.9176 | 1240964.9615 | 2750694.1823 | 1240981.4537 | 2750687.3157 | 1240993.5574 | 2750685.6887 | 1240999.3793
44 | 2750762.2031 | 1240868.2854 | 2750755.0053 | 1240874.3639 | 2750737.1058 | 1240925.5575 | 2750734.618 | 1240928.5668
45 | 2750872.1777 | 1240791.3847 | 2750863.2421 | 1240786.9535 | 2750854.6205 | 1240766.9044 | 2750854.5767 | 1240766.7086
46 | 2750872.1777 | 1240791.3847 | 2750864.4399 | 1240797.8608 | 2750855.8633 | 1240805.5754
47 | 2750851.3391 | 1240752.2517 | 2750854.5767 | 1240766.7086
48 | 2750855.8633 | 1240805.5754 | 2750849.6891 | 1240811.129
49 | 2750849.6891 | 1240811.129 | 2750843.933 | 1240816.3065
50 | 2750809.9528 | 1240849.3582 | 2750827.4769 | 1240831.1085 | 2750843.933 | 1240816.3065
51 | 2750809.9528 | 1240849.3582 | 2750798.8558 | 1240860.9094 | 2750792.7138 | 1240863.2445
52 | 2750762.2031 | 1240868.2854 | 2750792.7138 | 1240863.2445
53 | 2750792.7138 | 1240863.2445 | 2750795.9045 | 1240873.4351 | 2750799.3957 | 1240878.2543
54 | 2750762.2031 | 1240868.2854 | 2750739.7711 | 1240870.3955 | 2750731.3416 | 1240874.6299
55 | 2750816.7166 | 1240892.782 | 2750802.1755 | 1240882.0914 | 2750799.3957 | 1240878.2543
56 | 2750816.7166 | 1240892.782 | 2750826.6911 | 1240883.7269
57 | 2750661.4515 | 1240925.0143 | 2750649.9774 | 1240910.9209 | 2750645.741 | 1240887.9808 | 2750627.8027 | 1240861.5007 | 2750622.2078 | 1240849.7477 | 2750622.1229 | 1240835.2531
58 | 2750661.4515 | 1240925.0143 | 2750651.3656 | 1240926.2595 | 2750647.0349 | 1240927.2409
59 | 2750493.4377 | 1240960.0522 | 2750544.0932 | 1240963.0839 | 2750549.391 | 1240962.4065 | 2750554.3369 | 1240959.4959 | 2750562.986 | 1240947.7931 | 2750575.0699 | 1240941.4492 | 2750587.1823 | 1240941.1339 | 2750600.9243 | 1240943.0843 | 2750613.2826 | 1240939.9394 | 2750635.5235 | 1240929.8497 | 2750647.0349 | 1240927.2409
60 | 2750493.4377 | 1240960.0522 | 2750488.6888 | 1240948.3431 | 2750455.5612 | 1240893.1462
61 | 2750502.485 | 1240994.0691 | 2750496.6486 | 1240969.765 | 2750493.4377 | 1240960.0522
62 | 2750388.644 | 1240773.2878 | 2750440.4562 | 1240867.9784 | 2750455.5612 | 1240893.1462
63 | 2750502.485 | 1240994.0691 | 2750484.4681 | 1240992.1439 | 2750474.6934 | 1240992.1628 | 2750461.0301 | 1240997.5549 | 2750425.1425 | 1241020.7561 | 2750391.0895 | 1241035.4627
64 | 2750634.1121 | 1240637.795 | 2750614.6693 | 1240670.5324 | 2750612.5406 | 1240685.8373 | 2750621.6477 | 1240754.1325 | 2750622.1229 | 1240835.2531
65 | 2750388.644 | 1240773.2878 | 2750394.993 | 1240769.345 | 2750413.963 | 1240762.052 | 2750431.557 | 1240760.096 | 2750454.6046 | 1240759.0791 | 2750481.6221 | 1240755.9557
66 | 2750383.4618 | 1240750.6019 | 2750385.0224 | 1240763.0531 | 2750388.644 | 1240773.2878
67 | 2750391.0895 | 1241035.4627 | 2750234.5082 | 1241037.1884
68 | 2750351.8038 | 1240648.0927 | 2750361.5745 | 1240630.9463 | 2750377.9042 | 1240611.1302 | 2750386.5586 | 1240606.0892 | 2750410.7963 | 1240594.559 | 2750428.9474 | 1240582.8857
69 | 2750351.8038 | 1240648.0927 | 2750385.9529 | 1240661.904 | 2750396.0406 | 1240664.1839 | 2750406.6185 | 1240663.2399 | 2750431.7963 | 1240662.6662 | 2750436.617 | 1240664.401 | 2750440.965 | 1240668.96
70 | 2750383.4618 | 1240750.6019 | 2750395.3606 | 1240730.0841 | 2750440.6984 | 1240679.4742 | 2750442.4674 | 1240673.8582 | 2750440.965 | 1240668.96
71 | 2750383.4618 | 1240750.6019 | 2750375.0127 | 1240757.1051 | 2750356.8399 | 1240809.6497 | 2750344.5504 | 1240854.247
72 | 2750234.5082 | 1241037.1884 | 2750228.5265 | 1241035.3019 | 2750224.4028 | 1241029.0584 | 2750225.6048 | 1241024.0174 | 2750239.6387 | 1241003.6868 | 2750241.598 | 1240993.2377 | 2750240.1364 | 1240986.7279 | 2750237.4139 | 1240982.2103 | 2750232.9303 | 1240978.3882

## bus_geodata
| x | y | coords
0 | 2750895.138 | 1240582.9611
1 | 2750952.7031 | 1240567.3098
2 | 2750775.0597 | 1240578.5951
3 | 2750915.6427 | 1240668.3714
4 | 2750978.1664 | 1240627.3606
5 | 2750767.8587 | 1240575.5538
6 | 2750919.9601 | 1240693.7398
7 | 2750997.7732 | 1240591.0971
8 | 2750998.0331 | 1240577.7885
9 | 2751014.1953 | 1240621.9646
10 | 2751014.5705 | 1240662.9065
11 | 2750996.7552 | 1240670.8608
12 | 2750985.6807 | 1240650.2286
13 | 2751001.7734 | 1240698.8567
14 | 2751005.8289 | 1240711.174
15 | 2750988.5989 | 1240647.0627
16 | 2750969.8617 | 1240803.9243
17 | 2751024.3281 | 1240795.5017
18 | 2750936.561 | 1240748.2362
19 | 2750956.7776 | 1240832.6121
20 | 2751063.4546 | 1240761.2361
21 | 2751025.4511 | 1240820.7747
22 | 2750923.1155 | 1240752.7928
23 | 2750933.4192 | 1240738.7643
24 | 2750998.5724 | 1240916.6438
25 | 2751005.7959 | 1240893.4336
26 | 2751085.3321 | 1240844.3666
27 | 2751082.3784 | 1240855.78
28 | 2751111.8803 | 1240780.4822
29 | 2751097.2417 | 1240755.8086
30 | 2751101.5278 | 1240761.2087
31 | 2751109.4441 | 1240775.4376
32 | 2751068.5352 | 1240801.3654
33 | 2751126.6972 | 1240750.4352
34 | 2751129.6228 | 1240817.1756
35 | 2751131.6785 | 1240883.8968
36 | 2751148.0268 | 1240854.1607
37 | 2751173.4247 | 1240804.8609
38 | 2750920.8468 | 1240700.0676
39 | 2750881.4749 | 1240783.5976
40 | 2750724.5299 | 1240946.191
41 | 2750715.8897 | 1240943.836
42 | 2750734.618 | 1240928.5668
43 | 2750872.1777 | 1240791.3847
44 | 2750854.5767 | 1240766.7086
45 | 2750855.8633 | 1240805.5754
46 | 2750851.3391 | 1240752.2517
47 | 2750849.6891 | 1240811.129
48 | 2750843.933 | 1240816.3065
49 | 2750809.9528 | 1240849.3582
50 | 2750792.7138 | 1240863.2445
51 | 2750762.2031 | 1240868.2854
52 | 2750799.3957 | 1240878.2543
53 | 2750816.7166 | 1240892.782
54 | 2750826.6911 | 1240883.7269
55 | 2750731.3416 | 1240874.6299
56 | 2750661.4515 | 1240925.0143
57 | 2750685.6887 | 1240999.3793
58 | 2750647.0349 | 1240927.2409
59 | 2750493.4377 | 1240960.0522
60 | 2750455.5612 | 1240893.1462
61 | 2750502.485 | 1240994.0691
62 | 2750622.1229 | 1240835.2531
63 | 2750388.644 | 1240773.2878
64 | 2750391.0895 | 1241035.4627
65 | 2750634.1121 | 1240637.795
66 | 2750351.8038 | 1240648.0927
67 | 2750428.9474 | 1240582.8858
68 | 2750440.965 | 1240668.96
69 | 2750383.4618 | 1240750.6019
70 | 2750344.5504 | 1240854.247
71 | 2750481.6221 | 1240755.9557
72 | 2750232.9303 | 1240978.3882
73 | 2750234.5082 | 1241037.1884
74 | 2751014.3576 | 1240795.4703

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1