## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3105-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3105-9_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3105-9_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3105-9_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3105-9_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3105-9_0_4_node_32 | 0.4 | n |  | TRUE
6 | bus_LV_3105-9_0_4_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_3105-9_0_4_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_3105-9_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_3105-9_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_3105-9_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3105-9_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3105-9_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3105-9_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_3105-9_0_4_node_66 | 0.4 | n |  | TRUE
15 | bus_LV_3105-9_0_4_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_3105-9_0_4_node_65 | 0.4 | n |  | TRUE
17 | bus_LV_3105-9_0_4_node_69 | 0.4 | n |  | TRUE
18 | bus_LV_3105-9_0_4_node_67 | 0.4 | n |  | TRUE
19 | bus_LV_3105-9_0_4_node_50 | 0.4 | n |  | TRUE
20 | bus_LV_3105-9_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_3105-9_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_3105-9_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_3105-9_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_3105-9_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_3105-9_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_3105-9_0_4_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_3105-9_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_3105-9_0_4_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_3105-9_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_3105-9_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_3105-9_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_3105-9_0_4_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_3105-9_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_3105-9_0_4_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_3105-9_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_3105-9_0_4_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_3105-9_0_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_3105-9_0_4_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_3105-9_0_4_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_3105-9_0_4_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_3105-9_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_3105-9_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_3105-9_0_4_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_3105-9_0_4_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_3105-9_0_4_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_3105-9_0_4_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_3105-9_0_4_node_73 | 0.4 | n |  | TRUE
48 | bus_LV_3105-9_0_4_node_74 | 0.4 | n |  | TRUE
49 | bus_LV_3105-9_0_4_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_3105-9_0_4_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_3105-9_0_4_node_78 | 0.4 | n |  | TRUE
52 | bus_LV_3105-9_0_4_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_3105-9_0_4_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_3105-9_0_4_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_3105-9_0_4_node_31 | 0.4 | n |  | TRUE
56 | bus_LV_3105-9_0_4_node_77 | 0.4 | n |  | TRUE
57 | bus_LV_3105-9_0_4_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_3105-9_0_4_node_75 | 0.4 | n |  | TRUE
59 | bus_LV_3105-9_0_4_node_76 | 0.4 | n |  | TRUE
60 | bus_LV_3105-9_0_4_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_3105-9_0_4_node_34 | 0.4 | n |  | TRUE
62 | bus_LV_3105-9_0_4_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_3105-9_0_4_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_3105-9_0_4_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_3105-9_0_4_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_3105-9_0_4_node_71 | 0.4 | n |  | TRUE
67 | bus_LV_3105-9_0_4_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_3105-9_0_4_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_3105-9_0_4_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_3105-9_0_4_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_3105-9_0_4_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_3105-9_0_4_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_3105-9_0_4_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_3105-9_0_4_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_3105-9_0_4_node_79 | 0.4 | n |  | TRUE
76 | bus_MV_148_0_node_260 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3105-9_0_4_load_0 | 0 | 0.0037936 | 0.00095076 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3105-9_0_4_load_1 | 1 | 0.0080483 | 0.0020171 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3105-9_0_4_load_2 | 2 | 0.0040512 | 0.0010153 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3105-9_0_4_load_3 | 3 | 0.0040696 | 0.0010199 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3105-9_0_4_load_4 | 4 | 0.0052533 | 0.0013166 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3105-9_0_4_load_39 | 6 | 0.0047711 | 0.0011957 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3105-9_0_4_load_33 | 7 | 0.0059266 | 0.0014853 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3105-9_0_4_load_9 | 8 | 0.0043304 | 0.0010853 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3105-9_0_4_load_5 | 9 | 0.0031085 | 0.00077907 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3105-9_0_4_load_6 | 10 | 0.0071231 | 0.0017852 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3105-9_0_4_load_10 | 13 | 0.0065775 | 0.0016485 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3105-9_0_4_load_51 | 15 | 0.0040778 | 0.001022 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3105-9_0_4_load_65 | 16 | 0.0065116 | 0.001632 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3105-9_0_4_load_69 | 17 | 0.0037548 | 0.00094104 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3105-9_0_4_load_67 | 18 | 0.004443 | 0.0011135 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3105-9_0_4_load_50 | 19 | 0.0029921 | 0.00074989 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3105-9_0_4_load_11 | 20 | 0.0012074 | 0.0003026 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3105-9_0_4_load_12 | 21 | 0.0016592 | 0.00041583 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3105-9_0_4_load_13 | 22 | 0.0030146 | 0.00075552 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3105-9_0_4_load_14 | 23 | 0.0016148 | 0.0004047 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3105-9_0_4_load_15 | 24 | 0.0014459 | 0.00036238 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3105-9_0_4_load_20 | 25 | 0.003129 | 0.00078419 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3105-9_0_4_load_40 | 26 | 0.003155 | 0.00079071 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3105-9_0_4_load_16 | 29 | 0.003906 | 0.00097894 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3105-9_0_4_load_17 | 30 | 0.003742 | 0.00093784 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3105-9_0_4_load_19 | 31 | 0.0043442 | 0.0010888 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3105-9_0_4_load_45 | 32 | 0.0057489 | 0.0014408 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3105-9_0_4_load_21 | 33 | 0.0074054 | 0.001856 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3105-9_0_4_load_30 | 35 | 0.0049059 | 0.0012295 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3105-9_0_4_load_42 | 36 | 0.0034732 | 0.00087047 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3105-9_0_4_load_35 | 37 | 0.0043962 | 0.0011018 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3105-9_0_4_load_22 | 38 | 0.0037307 | 0.000935 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3105-9_0_4_load_23 | 39 | 0.0035283 | 0.00088428 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3105-9_0_4_load_24 | 40 | 0.0033449 | 0.00083831 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3105-9_0_4_load_25 | 41 | 0.002682 | 0.00067218 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3105-9_0_4_load_38 | 44 | 0.0031112 | 0.00077974 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3105-9_0_4_load_46 | 45 | 0.0038128 | 0.00095557 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3105-9_0_4_load_53 | 46 | 0.0051086 | 0.0012803 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3105-9_0_4_load_73 | 47 | 0.0029441 | 0.00073787 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3105-9_0_4_load_72 | 49 | 0.0028034 | 0.0007026 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3105-9_0_4_load_36 | 50 | 0.0040393 | 0.0010123 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3105-9_0_4_load_78 | 51 | 0.0024478 | 0.00061349 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3105-9_0_4_load_27 | 52 | 0.0024704 | 0.00061913 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3105-9_0_4_load_28 | 53 | 0.0027266 | 0.00068336 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3105-9_0_4_load_31 | 55 | 0.0040609 | 0.0010178 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3105-9_0_4_load_77 | 56 | 0.0034718 | 0.00087011 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3105-9_0_4_load_54 | 57 | 0.0053913 | 0.0013512 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3105-9_0_4_load_75 | 58 | 0.0031839 | 0.00079795 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3105-9_0_4_load_76 | 59 | 0.0029419 | 0.0007373 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3105-9_0_4_load_55 | 60 | 0.0021298 | 0.00053378 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3105-9_0_4_load_34 | 61 | 0.0039817 | 0.0009979 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3105-9_0_4_load_43 | 62 | 0.0028959 | 0.00072579 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3105-9_0_4_load_49 | 63 | 0.002164 | 0.00054234 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3105-9_0_4_load_47 | 64 | 0.0025058 | 0.00062801 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3105-9_0_4_load_62 | 65 | 0.0020465 | 0.0005129 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3105-9_0_4_load_71 | 66 | 0.0023235 | 0.00058232 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3105-9_0_4_load_63 | 67 | 0.0009971 | 0.0002499 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3105-9_0_4_load_61 | 68 | 0.0042516 | 0.0010656 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3105-9_0_4_load_44 | 69 | 0.0042683 | 0.0010697 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3105-9_0_4_load_58 | 70 | 0.0023216 | 0.00058185 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3105-9_0_4_load_59 | 71 | 0.00098863 | 0.00024777 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3105-9_0_4_load_70 | 74 | 0.0028262 | 0.00070831 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3105-9_0_4_load_79 | 75 | 0.0044378 | 0.0011122 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3105-9_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3105-9_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.021031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3105-9_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.015047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3105-9_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.00059464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3105-9_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.032557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3105-9_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.027343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3105-9_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.020513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3105-9_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.018863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3105-9_0_4_line_8 | NAYY 4x150 SE | 8 | 11 | 0.0055358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3105-9_0_4_line_9 | NAYY 4x150 SE | 9 | 10 | 0.0058475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3105-9_0_4_line_10 | NAYY 4x150 SE | 9 | 11 | 0.016939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3105-9_0_4_line_11 | NAYY 4x150 SE | 10 | 12 | 0.012221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3105-9_0_4_line_12 | NAYY 4x150 SE | 11 | 13 | 0.028252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3105-9_0_4_line_13 | NAYY 4x150 SE | 12 | 14 | 0.025778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_3105-9_0_4_line_14 | NAYY 4x150 SE | 12 | 15 | 0.015607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_3105-9_0_4_line_15 | NAYY 4x150 SE | 13 | 16 | 0.011533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3105-9_0_4_line_16 | NAYY 4x150 SE | 14 | 17 | 0.027235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_3105-9_0_4_line_17 | NAYY 4x150 SE | 14 | 18 | 0.023792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3105-9_0_4_line_18 | NAYY 4x150 SE | 15 | 19 | 0.028509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_3105-9_0_4_line_19 | NAYY 4x150 SE | 17 | 66 | 0.0246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_3105-9_0_4_line_20 | NAYY 4x150 SE | 18 | 73 | 0.0022357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3105-9_0_4_line_21 | NAYY 4x150 SE | 19 | 69 | 0.0010143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_3105-9_0_4_line_22 | NAYY 4x150 SE | 20 | 21 | 0.0028921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_3105-9_0_4_line_23 | NAYY 4x150 SE | 20 | 22 | 0.022764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_3105-9_0_4_line_24 | NAYY 4x150 SE | 21 | 23 | 0.020792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_3105-9_0_4_line_25 | NAYY 4x150 SE | 22 | 24 | 0.00047903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_3105-9_0_4_line_26 | NAYY 4x150 SE | 23 | 25 | 0.025344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_3105-9_0_4_line_27 | NAYY 4x150 SE | 24 | 26 | 0.034975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_3105-9_0_4_line_28 | NAYY 4x150 SE | 25 | 27 | 0.014033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3105-9_0_4_line_29 | NAYY 4x150 SE | 26 | 28 | 0.015968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_3105-9_0_4_line_30 | NAYY 4x150 SE | 27 | 29 | 0.010995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3105-9_0_4_line_31 | NAYY 4x150 SE | 28 | 63 | 0.025324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_3105-9_0_4_line_32 | NAYY 4x150 SE | 28 | 64 | 0.02034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3105-9_0_4_line_33 | NAYY 4x150 SE | 28 | 65 | 0.062239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3105-9_0_4_line_34 | NAYY 4x150 SE | 29 | 30 | 0.004614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3105-9_0_4_line_35 | NAYY 4x150 SE | 30 | 31 | 0.021573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3105-9_0_4_line_36 | NAYY 4x150 SE | 31 | 32 | 0.010544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3105-9_0_4_line_37 | NAYY 4x150 SE | 32 | 35 | 0.017895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3105-9_0_4_line_38 | NAYY 4x150 SE | 33 | 34 | 0.013474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3105-9_0_4_line_39 | NAYY 4x150 SE | 34 | 36 | 0.022167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_3105-9_0_4_line_40 | NAYY 4x150 SE | 34 | 37 | 0.01896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_3105-9_0_4_line_41 | NAYY 4x150 SE | 35 | 53 | 0.012227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3105-9_0_4_line_42 | NAYY 4x150 SE | 36 | 62 | 0.004356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_3105-9_0_4_line_43 | NAYY 4x150 SE | 37 | 61 | 0.01706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3105-9_0_4_line_44 | NAYY 4x150 SE | 38 | 39 | 0.011479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3105-9_0_4_line_45 | NAYY 4x150 SE | 38 | 40 | 0.024666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3105-9_0_4_line_46 | NAYY 4x150 SE | 39 | 41 | 0.02409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3105-9_0_4_line_47 | NAYY 4x150 SE | 40 | 42 | 0.0025437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3105-9_0_4_line_48 | NAYY 4x150 SE | 41 | 43 | 0.0022236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3105-9_0_4_line_49 | NAYY 4x150 SE | 42 | 44 | 0.017444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3105-9_0_4_line_50 | NAYY 4x150 SE | 42 | 45 | 0.013968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3105-9_0_4_line_51 | NAYY 4x150 SE | 43 | 46 | 0.017619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3105-9_0_4_line_52 | NAYY 4x150 SE | 44 | 50 | 0.017327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3105-9_0_4_line_53 | NAYY 4x150 SE | 45 | 51 | 0.0007401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3105-9_0_4_line_54 | NAYY 4x150 SE | 47 | 48 | 0.0336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3105-9_0_4_line_55 | NAYY 4x150 SE | 47 | 49 | 0.019783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3105-9_0_4_line_56 | NAYY 4x150 SE | 48 | 58 | 0.016016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3105-9_0_4_line_57 | NAYY 4x150 SE | 50 | 61 | 0.011374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3105-9_0_4_line_58 | NAYY 4x150 SE | 52 | 53 | 0.01038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3105-9_0_4_line_59 | NAYY 4x150 SE | 52 | 54 | 0.017956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3105-9_0_4_line_60 | NAYY 4x150 SE | 54 | 55 | 0.014575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3105-9_0_4_line_61 | NAYY 4x150 SE | 54 | 56 | 0.02939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3105-9_0_4_line_62 | NAYY 4x150 SE | 55 | 57 | 0.078182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3105-9_0_4_line_63 | NAYY 4x150 SE | 56 | 59 | 0.019503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3105-9_0_4_line_64 | NAYY 4x150 SE | 57 | 60 | 0.0079355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3105-9_0_4_line_65 | NAYY 4x150 SE | 58 | 59 | 0.0021686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3105-9_0_4_line_66 | NAYY 4x150 SE | 62 | 69 | 0.025587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_3105-9_0_4_line_67 | NAYY 4x150 SE | 63 | 66 | 0.033391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_3105-9_0_4_line_68 | NAYY 4x150 SE | 65 | 67 | 0.015085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3105-9_0_4_line_69 | NAYY 4x150 SE | 65 | 68 | 0.045597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3105-9_0_4_line_70 | NAYY 4x150 SE | 68 | 72 | 0.020411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3105-9_0_4_line_71 | NAYY 4x150 SE | 70 | 71 | 0.0058968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3105-9_0_4_line_72 | NAYY 4x150 SE | 71 | 72 | 0.0025656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3105-9_0_4_line_73 | NAYY 4x150 SE | 73 | 74 | 0.012474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3105-9_0_4_line_74 | NAYY 4x150 SE | 74 | 75 | 0.020649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3105-9_0_4_trafo_35 | 0.25 MVA 20/0.4 kV | 76 | 37 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2749679.3358 | 1243259.3828 | 2749684.4607 | 1243260.6049 | 2749691.8762 | 1243264.618
1 | 2749679.3358 | 1243259.3828 | 2749675.0193 | 1243258.3535 | 2749658.4594 | 1243259.4019
2 | 2749691.8762 | 1243264.618 | 2749691.8762 | 1243264.618 | 2749696.9556 | 1243270.4071 | 2749700.4296 | 1243276.8786
3 | 2749658.4594 | 1243259.4019 | 2749657.866 | 1243259.4395
4 | 2749708.8932 | 1243308.2662 | 2749707.2566 | 1243299.1051 | 2749700.4296 | 1243276.8786
5 | 2749630.5773 | 1243261.1671 | 2749657.866 | 1243259.4395
6 | 2749708.8932 | 1243308.2662 | 2749688.6016 | 1243311.2699
7 | 2749708.8932 | 1243308.2662 | 2749727.5939 | 1243305.7978
8 | 2749733.0821 | 1243305.0735 | 2749727.5939 | 1243305.7978
9 | 2749749.825 | 1243302.5044 | 2749755.6049 | 1243301.6175
10 | 2749733.0821 | 1243305.0735 | 2749749.825 | 1243302.5044
11 | 2749767.6847 | 1243299.7639 | 2749755.6049 | 1243301.6175
12 | 2749733.0821 | 1243305.0735 | 2749734.7734 | 1243314.4583 | 2749734.0811 | 1243322.7042 | 2749729.7077 | 1243329.6893 | 2749727.7219 | 1243330.6352
13 | 2749767.6847 | 1243299.7639 | 2749786.3089 | 1243296.2306 | 2749792.8801 | 1243294.1501
14 | 2749767.6847 | 1243299.7639 | 2749765.068 | 1243284.3774
15 | 2749727.7219 | 1243330.6352 | 2749722.6122 | 1243333.069 | 2749717.0075 | 1243334.8233
16 | 2749792.8801 | 1243294.1501 | 2749802.0775 | 1243290.7902 | 2749817.4142 | 1243282.4811
17 | 2749792.8801 | 1243294.1501 | 2749795.9898 | 1243305.4615 | 2749798.4952 | 1243311.9531 | 2749799.8167 | 1243316.8816
18 | 2749765.068 | 1243284.3774 | 2749760.2882 | 1243256.2716
19 | 2749838.6907 | 1243270.161 | 2749829.9478 | 1243275.6907 | 2749817.4142 | 1243282.4811
20 | 2749800.3957 | 1243319.0411 | 2749799.8167 | 1243316.8816
21 | 2749760.1181 | 1243255.2716 | 2749760.2882 | 1243256.2716
22 | 2749815.475 | 1243189.2262 | 2749813.0104 | 1243187.7129
23 | 2749815.475 | 1243189.2262 | 2749834.8742 | 1243201.1375
24 | 2749795.2923 | 1243176.8337 | 2749795.2923 | 1243176.8337 | 2749813.0104 | 1243187.7129
25 | 2749835.2824 | 1243201.3882 | 2749834.8742 | 1243201.1375
26 | 2749795.2923 | 1243176.8337 | 2749773.0745 | 1243164.6405
27 | 2749865.0881 | 1243219.6885 | 2749849.5645 | 1243210.1576 | 2749835.2824 | 1243201.3882
28 | 2749760.7722 | 1243157.889 | 2749773.0745 | 1243164.6405
29 | 2749878.6961 | 1243228.0435 | 2749865.0881 | 1243219.6885
30 | 2749760.7722 | 1243157.889 | 2749750.9969 | 1243152.8562
31 | 2749878.6961 | 1243228.0435 | 2749863.1858 | 1243248.062
32 | 2749878.6961 | 1243228.0435 | 2749891.6011 | 1243212.3219
33 | 2749878.6961 | 1243228.0435 | 2749926.3344 | 1243268.0971
34 | 2749750.9969 | 1243152.8562 | 2749746.8947 | 1243150.7442
35 | 2749727.7147 | 1243140.8693 | 2749746.8947 | 1243150.7442
36 | 2749727.7147 | 1243140.8693 | 2749718.3402 | 1243136.0429
37 | 2749702.4298 | 1243127.8514 | 2749718.3402 | 1243136.0429
38 | 2749747.8152 | 1243205.5959 | 2749750.486 | 1243199.5576 | 2749751.1392 | 1243196.7492 | 2749752.046 | 1243192.8654
39 | 2749747.8152 | 1243205.5959 | 2749751.76 | 1243209.5992 | 2749753.5613 | 1243215.2277 | 2749755.1004 | 1243225.7523
40 | 2749747.8152 | 1243205.5959 | 2749742.7792 | 1243204.3788 | 2749729.0102 | 1243204.899
41 | 2749702.4298 | 1243127.8514 | 2749691.5588 | 1243122.2545
42 | 2749755.1004 | 1243225.7523 | 2749755.1154 | 1243225.8548 | 2749755.8283 | 1243230.047
43 | 2749729.0102 | 1243204.899 | 2749711.9619 | 1243205.5431
44 | 2749638.6579 | 1243208.2749 | 2749627.1868 | 1243208.6924
45 | 2749663.308 | 1243207.3777 | 2749638.6579 | 1243208.2749
46 | 2749603.1126 | 1243209.5686 | 2749627.1868 | 1243208.6924
47 | 2749665.85 | 1243207.2852 | 2749663.308 | 1243207.3777
48 | 2749600.8905 | 1243209.6495 | 2749603.1126 | 1243209.5686
49 | 2749665.85 | 1243207.2852 | 2749683.2817 | 1243206.6266
50 | 2749665.85 | 1243207.2852 | 2749665.2886 | 1243193.3281
51 | 2749600.8905 | 1243209.6495 | 2749601.5671 | 1243227.2552
52 | 2749683.2817 | 1243206.6266 | 2749700.5959 | 1243205.9725
53 | 2749665.2589 | 1243192.5886 | 2749665.2886 | 1243193.3281
54 | 2749619.36 | 1243117.862 | 2749602.2017 | 1243146.7511
55 | 2749592.0995 | 1243163.7599 | 2749602.2017 | 1243146.7511
56 | 2749619.36 | 1243117.862 | 2749633.5511 | 1243125.286
57 | 2749700.5959 | 1243205.9725 | 2749711.9619 | 1243205.5431
58 | 2749682.3301 | 1243117.5031 | 2749691.5588 | 1243122.2545
59 | 2749666.3653 | 1243109.2837 | 2749682.3301 | 1243117.5031
60 | 2749666.3653 | 1243109.2837 | 2749673.0997 | 1243096.3573
61 | 2749666.3653 | 1243109.2837 | 2749652.7533 | 1243135.3316
62 | 2749673.0997 | 1243096.3573 | 2749718.4974 | 1243032.7062
63 | 2749652.7533 | 1243135.3316 | 2749635.4726 | 1243126.2912
64 | 2749723.0267 | 1243026.1902 | 2749718.4974 | 1243032.7062
65 | 2749635.4726 | 1243126.2912 | 2749633.5511 | 1243125.286
66 | 2749760.1181 | 1243255.2716 | 2749755.8283 | 1243230.047
67 | 2749863.1858 | 1243248.062 | 2749855.1503 | 1243258.433 | 2749850.052 | 1243262.9752 | 2749838.6907 | 1243270.161
68 | 2749926.3344 | 1243268.0971 | 2749937.159 | 1243278.604
69 | 2749959.8913 | 1243237.2258 | 2749926.3344 | 1243268.0971
70 | 2749979.0432 | 1243232.4162 | 2749977.8588 | 1243233.1981 | 2749966.3401 | 1243238.0338 | 2749959.8913 | 1243237.2258
71 | 2749985.8637 | 1243227.4812 | 2749984.8565 | 1243228.6151 | 2749981.1905 | 1243231.0122
72 | 2749979.0432 | 1243232.4162 | 2749981.1905 | 1243231.0122
73 | 2749800.3957 | 1243319.0411 | 2749812.4002 | 1243315.6506
74 | 2749831.4527 | 1243308.0029 | 2749822.4075 | 1243312.8243 | 2749812.4002 | 1243315.6506

## bus_geodata
| x | y | coords
0 | 2749679.3358 | 1243259.3828
1 | 2749691.8762 | 1243264.618
2 | 2749658.4594 | 1243259.4019
3 | 2749700.4296 | 1243276.8786
4 | 2749657.866 | 1243259.4395
5 | 2749708.8932 | 1243308.2662
6 | 2749630.5773 | 1243261.1671
7 | 2749688.6016 | 1243311.2699
8 | 2749727.5939 | 1243305.7978
9 | 2749749.825 | 1243302.5043
10 | 2749755.6049 | 1243301.6175
11 | 2749733.0821 | 1243305.0735
12 | 2749767.6847 | 1243299.7639
13 | 2749727.7219 | 1243330.6352
14 | 2749792.8801 | 1243294.1501
15 | 2749765.068 | 1243284.3774
16 | 2749717.0075 | 1243334.8233
17 | 2749817.4142 | 1243282.4811
18 | 2749799.8167 | 1243316.8816
19 | 2749760.2882 | 1243256.2716
20 | 2749815.475 | 1243189.2262
21 | 2749813.0104 | 1243187.7129
22 | 2749834.8742 | 1243201.1375
23 | 2749795.2923 | 1243176.8337
24 | 2749835.2824 | 1243201.3882
25 | 2749773.0745 | 1243164.6405
26 | 2749865.0881 | 1243219.6885
27 | 2749760.7722 | 1243157.889
28 | 2749878.6961 | 1243228.0435
29 | 2749750.9969 | 1243152.8562
30 | 2749746.8947 | 1243150.7442
31 | 2749727.7147 | 1243140.8693
32 | 2749718.3402 | 1243136.0429
33 | 2749752.046 | 1243192.8654
34 | 2749747.8152 | 1243205.5959
35 | 2749702.4298 | 1243127.8514
36 | 2749755.1004 | 1243225.7523
37 | 2749729.0102 | 1243204.899
38 | 2749638.6579 | 1243208.2749
39 | 2749627.1868 | 1243208.6924
40 | 2749663.308 | 1243207.3777
41 | 2749603.1126 | 1243209.5686
42 | 2749665.85 | 1243207.2852
43 | 2749600.8905 | 1243209.6495
44 | 2749683.2817 | 1243206.6266
45 | 2749665.2886 | 1243193.3281
46 | 2749601.5671 | 1243227.2552
47 | 2749602.2017 | 1243146.7511
48 | 2749619.36 | 1243117.862
49 | 2749592.0995 | 1243163.7599
50 | 2749700.5959 | 1243205.9725
51 | 2749665.2589 | 1243192.5886
52 | 2749682.3301 | 1243117.5031
53 | 2749691.5588 | 1243122.2545
54 | 2749666.3653 | 1243109.2837
55 | 2749673.0997 | 1243096.3573
56 | 2749652.7533 | 1243135.3316
57 | 2749718.4974 | 1243032.7062
58 | 2749633.5511 | 1243125.286
59 | 2749635.4726 | 1243126.2912
60 | 2749723.0267 | 1243026.1902
61 | 2749711.9619 | 1243205.5431
62 | 2749755.8283 | 1243230.047
63 | 2749863.1858 | 1243248.062
64 | 2749891.6011 | 1243212.3219
65 | 2749926.3345 | 1243268.0971
66 | 2749838.6907 | 1243270.161
67 | 2749937.159 | 1243278.604
68 | 2749959.8913 | 1243237.2258
69 | 2749760.1181 | 1243255.2716
70 | 2749985.8637 | 1243227.4812
71 | 2749981.1905 | 1243231.0122
72 | 2749979.0432 | 1243232.4162
73 | 2749800.3957 | 1243319.0411
74 | 2749812.4002 | 1243315.6506
75 | 2749831.4527 | 1243308.0029
76 | 2749747.8152 | 1243205.5959

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1