## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3111-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3111-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3111-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3111-5_0_4_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_3111-5_0_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_3111-5_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_3111-5_0_4_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_3111-5_0_4_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_3111-5_0_4_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_3111-5_0_4_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_3111-5_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_3111-5_0_4_node_94 | 0.4 | n |  | TRUE
12 | bus_LV_3111-5_0_4_node_67 | 0.4 | n |  | TRUE
13 | bus_LV_3111-5_0_4_node_93 | 0.4 | n |  | TRUE
14 | bus_LV_3111-5_0_4_node_66 | 0.4 | n |  | TRUE
15 | bus_LV_3111-5_0_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_3111-5_0_4_node_51 | 0.4 | n |  | TRUE
17 | bus_LV_3111-5_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_3111-5_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_3111-5_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_3111-5_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_3111-5_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_3111-5_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_3111-5_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_3111-5_0_4_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_3111-5_0_4_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_3111-5_0_4_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_3111-5_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_3111-5_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_3111-5_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_3111-5_0_4_node_89 | 0.4 | n |  | TRUE
31 | bus_LV_3111-5_0_4_node_87 | 0.4 | n |  | TRUE
32 | bus_LV_3111-5_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_3111-5_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_3111-5_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_3111-5_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_3111-5_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_3111-5_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_3111-5_0_4_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_3111-5_0_4_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_3111-5_0_4_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_3111-5_0_4_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_3111-5_0_4_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_3111-5_0_4_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_3111-5_0_4_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_3111-5_0_4_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_3111-5_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_3111-5_0_4_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_3111-5_0_4_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_3111-5_0_4_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_3111-5_0_4_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_3111-5_0_4_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_3111-5_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_3111-5_0_4_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_3111-5_0_4_node_97 | 0.4 | n |  | TRUE
55 | bus_LV_3111-5_0_4_node_95 | 0.4 | n |  | TRUE
56 | bus_LV_3111-5_0_4_node_96 | 0.4 | n |  | TRUE
57 | bus_LV_3111-5_0_4_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_3111-5_0_4_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_3111-5_0_4_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_3111-5_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_3111-5_0_4_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_3111-5_0_4_node_91 | 0.4 | n |  | TRUE
63 | bus_LV_3111-5_0_4_node_92 | 0.4 | n |  | TRUE
64 | bus_LV_3111-5_0_4_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_3111-5_0_4_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_3111-5_0_4_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_3111-5_0_4_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_3111-5_0_4_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_3111-5_0_4_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_3111-5_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_3111-5_0_4_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_3111-5_0_4_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_3111-5_0_4_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_3111-5_0_4_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_3111-5_0_4_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_3111-5_0_4_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_3111-5_0_4_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_3111-5_0_4_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_3111-5_0_4_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_3111-5_0_4_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_3111-5_0_4_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_3111-5_0_4_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_3111-5_0_4_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_3111-5_0_4_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_3111-5_0_4_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_3111-5_0_4_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_3111-5_0_4_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_3111-5_0_4_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_3111-5_0_4_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_3111-5_0_4_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_3111-5_0_4_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_3111-5_0_4_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_3111-5_0_4_node_90 | 0.4 | n |  | TRUE
94 | bus_MV_51_0_node_23 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3111-5_0_4_load_0 | 0 | 0.00061038 | 0.00015298 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3111-5_0_4_load_1 | 1 | 0.0034618 | 0.00086761 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3111-5_0_4_load_6 | 3 | 0.0025529 | 0.00063982 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3111-5_0_4_load_7 | 4 | 0.0016766 | 0.0004202 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3111-5_0_4_load_8 | 5 | 0.001805 | 0.00045238 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3111-5_0_4_load_4 | 9 | 0.0017019 | 0.00042655 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3111-5_0_4_load_5 | 10 | 0.0022777 | 0.00057086 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3111-5_0_4_load_94 | 11 | 0.0011451 | 0.00028698 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3111-5_0_4_load_67 | 12 | 0.0015913 | 0.00039882 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3111-5_0_4_load_93 | 13 | 0.001485 | 0.00037218 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3111-5_0_4_load_15 | 15 | 0.00067412 | 0.00016895 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3111-5_0_4_load_51 | 16 | 0.00087673 | 0.00021973 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3111-5_0_4_load_9 | 17 | 0.029936 | 0.0075026 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3111-5_0_4_load_10 | 18 | 0.0062048 | 0.0015551 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3111-5_0_4_load_11 | 19 | 0.017484 | 0.0043818 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3111-5_0_4_load_12 | 20 | 0.0076386 | 0.0019144 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3111-5_0_4_load_17 | 23 | 0.0025262 | 0.00063312 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3111-5_0_4_load_45 | 25 | 0.001256 | 0.00031479 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3111-5_0_4_load_42 | 26 | 0.0061346 | 0.0015375 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3111-5_0_4_load_21 | 29 | 0.0042527 | 0.0010658 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3111-5_0_4_load_89 | 30 | 0.0026386 | 0.00066131 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3111-5_0_4_load_22 | 32 | 0.0092199 | 0.0023107 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3111-5_0_4_load_25 | 35 | 0.00055512 | 0.00013913 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3111-5_0_4_load_26 | 36 | 0.00076494 | 0.00019171 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3111-5_0_4_load_52 | 39 | 0.00072353 | 0.00018133 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3111-5_0_4_load_47 | 41 | 0.0012831 | 0.00032159 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3111-5_0_4_load_46 | 43 | 0.001278 | 0.00032029 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3111-5_0_4_load_53 | 44 | 0.00073464 | 0.00018412 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3111-5_0_4_load_28 | 45 | 0.0023319 | 0.00058444 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3111-5_0_4_load_31 | 47 | 0.00054073 | 0.00013552 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3111-5_0_4_load_35 | 49 | 0.0010982 | 0.00027524 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3111-5_0_4_load_41 | 52 | 0.014955 | 0.0037481 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3111-5_0_4_load_40 | 53 | 0.0028996 | 0.0007267 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3111-5_0_4_load_97 | 54 | 0.0042885 | 0.0010748 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3111-5_0_4_load_95 | 55 | 0.0064116 | 0.0016069 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3111-5_0_4_load_96 | 56 | 0.0037643 | 0.00094342 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3111-5_0_4_load_68 | 58 | 0.0041501 | 0.0010401 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3111-5_0_4_load_48 | 60 | 0.0015766 | 0.00039513 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3111-5_0_4_load_50 | 61 | 0.0022022 | 0.00055191 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3111-5_0_4_load_91 | 62 | 0.0016182 | 0.00040557 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3111-5_0_4_load_92 | 63 | 0.0015528 | 0.00038917 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3111-5_0_4_load_54 | 64 | 0.00083606 | 0.00020954 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3111-5_0_4_load_55 | 65 | 0.0019698 | 0.00049367 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3111-5_0_4_load_56 | 66 | 0.0025388 | 0.00063628 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3111-5_0_4_load_57 | 67 | 0.0019033 | 0.00047701 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3111-5_0_4_load_58 | 68 | 0.0024849 | 0.00062277 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3111-5_0_4_load_63 | 70 | 0.0023134 | 0.0005798 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3111-5_0_4_load_65 | 72 | 0.010146 | 0.0025428 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3111-5_0_4_load_62 | 73 | 0.0020574 | 0.00051563 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3111-5_0_4_load_64 | 74 | 0.00081554 | 0.00020439 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3111-5_0_4_load_73 | 75 | 0.0014986 | 0.00037558 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3111-5_0_4_load_69 | 76 | 0.0019099 | 0.00047868 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3111-5_0_4_load_70 | 77 | 0.0043385 | 0.0010873 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3111-5_0_4_load_72 | 78 | 0.0034431 | 0.00086293 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3111-5_0_4_load_74 | 79 | 0.00067395 | 0.00016891 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3111-5_0_4_load_76 | 80 | 0.0030241 | 0.00075792 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3111-5_0_4_load_75 | 81 | 0.00068523 | 0.00017173 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3111-5_0_4_load_77 | 82 | 0.0020925 | 0.00052443 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3111-5_0_4_load_78 | 83 | 0.0013942 | 0.00034943 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3111-5_0_4_load_79 | 84 | 0.0021761 | 0.00054537 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3111-5_0_4_load_80 | 85 | 0.0013645 | 0.00034197 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3111-5_0_4_load_81 | 86 | 0.0027501 | 0.00068924 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3111-5_0_4_load_82 | 87 | 0.00088957 | 0.00022295 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3111-5_0_4_load_83 | 88 | 0.00097495 | 0.00024435 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3111-5_0_4_load_84 | 89 | 0.0020277 | 0.00050818 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3111-5_0_4_load_85 | 90 | 0.0012539 | 0.00031426 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3111-5_0_4_load_86 | 91 | 0.00084783 | 0.00021249 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3111-5_0_4_load_88 | 92 | 0.0012577 | 0.00031522 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3111-5_0_4_load_90 | 93 | 0.0011082 | 0.00027775 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3111-5_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.030292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3111-5_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.020895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3111-5_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.076787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3111-5_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.085557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3111-5_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.10874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3111-5_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.038711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3111-5_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.037544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3111-5_0_4_line_7 | NAYY 4x150 SE | 6 | 15 | 0.056299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3111-5_0_4_line_8 | NAYY 4x150 SE | 7 | 16 | 0.017411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3111-5_0_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.01916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3111-5_0_4_line_10 | NAYY 4x150 SE | 8 | 10 | 0.061176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3111-5_0_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.035032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3111-5_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0054098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3111-5_0_4_line_13 | NAYY 4x150 SE | 11 | 13 | 0.015655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3111-5_0_4_line_14 | NAYY 4x150 SE | 12 | 14 | 0.0090138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3111-5_0_4_line_15 | NAYY 4x150 SE | 13 | 63 | 0.0042941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3111-5_0_4_line_16 | NAYY 4x150 SE | 14 | 72 | 0.0542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3111-5_0_4_line_17 | NAYY 4x150 SE | 16 | 38 | 0.015044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3111-5_0_4_line_18 | NAYY 4x150 SE | 17 | 18 | 0.023011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3111-5_0_4_line_19 | NAYY 4x150 SE | 17 | 19 | 0.0015938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3111-5_0_4_line_20 | NAYY 4x150 SE | 18 | 20 | 0.029152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3111-5_0_4_line_21 | NAYY 4x150 SE | 19 | 21 | 0.034614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3111-5_0_4_line_22 | NAYY 4x150 SE | 21 | 22 | 0.045165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3111-5_0_4_line_23 | NAYY 4x150 SE | 22 | 23 | 0.047695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3111-5_0_4_line_24 | NAYY 4x150 SE | 23 | 27 | 0.043416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3111-5_0_4_line_25 | NAYY 4x150 SE | 24 | 25 | 0.021928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3111-5_0_4_line_26 | NAYY 4x150 SE | 24 | 26 | 0.0091046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3111-5_0_4_line_27 | NAYY 4x150 SE | 26 | 42 | 0.017305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3111-5_0_4_line_28 | NAYY 4x150 SE | 27 | 28 | 0.01893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3111-5_0_4_line_29 | NAYY 4x150 SE | 27 | 29 | 0.027716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3111-5_0_4_line_30 | NAYY 4x150 SE | 28 | 30 | 0.0096318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3111-5_0_4_line_31 | NAYY 4x150 SE | 30 | 31 | 0.052224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_3111-5_0_4_line_32 | NAYY 4x150 SE | 31 | 92 | 0.045698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3111-5_0_4_line_33 | NAYY 4x150 SE | 31 | 91 | 0.011531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_3111-5_0_4_line_34 | NAYY 4x150 SE | 32 | 33 | 0.0025774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3111-5_0_4_line_35 | NAYY 4x150 SE | 32 | 34 | 0.027042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3111-5_0_4_line_36 | NAYY 4x150 SE | 33 | 35 | 0.013758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3111-5_0_4_line_37 | NAYY 4x150 SE | 34 | 36 | 0.0039692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3111-5_0_4_line_38 | NAYY 4x150 SE | 34 | 37 | 0.011213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3111-5_0_4_line_39 | NAYY 4x150 SE | 36 | 38 | 0.017629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3111-5_0_4_line_40 | NAYY 4x150 SE | 37 | 39 | 0.011874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3111-5_0_4_line_41 | NAYY 4x150 SE | 38 | 40 | 0.022456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3111-5_0_4_line_42 | NAYY 4x150 SE | 38 | 41 | 0.0098195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3111-5_0_4_line_43 | NAYY 4x150 SE | 39 | 44 | 0.012884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3111-5_0_4_line_44 | NAYY 4x150 SE | 40 | 48 | 0.016474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3111-5_0_4_line_45 | NAYY 4x150 SE | 41 | 60 | 0.019669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3111-5_0_4_line_46 | NAYY 4x150 SE | 42 | 43 | 0.010554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3111-5_0_4_line_47 | NAYY 4x150 SE | 43 | 57 | 0.017583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_3111-5_0_4_line_48 | NAYY 4x150 SE | 44 | 64 | 0.004014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3111-5_0_4_line_49 | NAYY 4x150 SE | 45 | 46 | 0.0064075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3111-5_0_4_line_50 | NAYY 4x150 SE | 46 | 47 | 0.0017707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3111-5_0_4_line_51 | NAYY 4x150 SE | 46 | 48 | 0.02175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3111-5_0_4_line_52 | NAYY 4x150 SE | 48 | 49 | 0.015455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3111-5_0_4_line_53 | NAYY 4x150 SE | 49 | 50 | 0.011639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3111-5_0_4_line_54 | NAYY 4x150 SE | 50 | 51 | 0.02035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3111-5_0_4_line_55 | NAYY 4x150 SE | 51 | 52 | 0.017217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3111-5_0_4_line_56 | NAYY 4x150 SE | 51 | 53 | 0.0091954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3111-5_0_4_line_57 | NAYY 4x150 SE | 52 | 54 | 0.11032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3111-5_0_4_line_58 | NAYY 4x150 SE | 54 | 56 | 0.017846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3111-5_0_4_line_59 | NAYY 4x150 SE | 55 | 56 | 0.035131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3111-5_0_4_line_60 | NAYY 4x150 SE | 57 | 58 | 0.0067683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_3111-5_0_4_line_61 | NAYY 4x150 SE | 57 | 59 | 0.012088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3111-5_0_4_line_62 | NAYY 4x150 SE | 58 | 71 | 0.011942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_3111-5_0_4_line_63 | NAYY 4x150 SE | 59 | 69 | 0.015708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3111-5_0_4_line_64 | NAYY 4x150 SE | 59 | 68 | 0.012605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3111-5_0_4_line_65 | NAYY 4x150 SE | 60 | 61 | 0.010599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3111-5_0_4_line_66 | NAYY 4x150 SE | 61 | 62 | 0.019879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3111-5_0_4_line_67 | NAYY 4x150 SE | 62 | 63 | 0.0072792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3111-5_0_4_line_68 | NAYY 4x150 SE | 64 | 65 | 0.007868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3111-5_0_4_line_69 | NAYY 4x150 SE | 65 | 66 | 0.00909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3111-5_0_4_line_70 | NAYY 4x150 SE | 66 | 67 | 0.01008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3111-5_0_4_line_71 | NAYY 4x150 SE | 67 | 68 | 0.00058799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3111-5_0_4_line_72 | NAYY 4x150 SE | 69 | 70 | 0.015097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3111-5_0_4_line_73 | NAYY 4x150 SE | 70 | 73 | 0.013142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3111-5_0_4_line_74 | NAYY 4x150 SE | 71 | 75 | 0.013532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_3111-5_0_4_line_75 | NAYY 4x150 SE | 71 | 76 | 0.0083716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3111-5_0_4_line_76 | NAYY 4x150 SE | 73 | 74 | 0.021357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3111-5_0_4_line_77 | NAYY 4x150 SE | 75 | 80 | 0.0038848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_3111-5_0_4_line_78 | NAYY 4x150 SE | 76 | 77 | 0.01384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3111-5_0_4_line_79 | NAYY 4x150 SE | 77 | 78 | 0.0079266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3111-5_0_4_line_80 | NAYY 4x150 SE | 78 | 79 | 0.0039516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3111-5_0_4_line_81 | NAYY 4x150 SE | 79 | 81 | 0.01222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3111-5_0_4_line_82 | NAYY 4x150 SE | 80 | 82 | 0.016472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
83 | LV_3111-5_0_4_line_83 | NAYY 4x150 SE | 82 | 83 | 0.007686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
84 | LV_3111-5_0_4_line_84 | NAYY 4x150 SE | 83 | 84 | 0.0059375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
85 | LV_3111-5_0_4_line_85 | NAYY 4x150 SE | 84 | 85 | 0.017073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
86 | LV_3111-5_0_4_line_86 | NAYY 4x150 SE | 85 | 86 | 0.0027597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
87 | LV_3111-5_0_4_line_87 | NAYY 4x150 SE | 86 | 87 | 0.00019999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
88 | LV_3111-5_0_4_line_88 | NAYY 4x150 SE | 87 | 88 | 0.010037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
89 | LV_3111-5_0_4_line_89 | NAYY 4x150 SE | 88 | 89 | 0.0030418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
90 | LV_3111-5_0_4_line_90 | NAYY 4x150 SE | 89 | 90 | 0.017575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
91 | LV_3111-5_0_4_line_91 | NAYY 4x150 SE | 90 | 91 | 0.0012391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
92 | LV_3111-5_0_4_line_92 | NAYY 4x150 SE | 92 | 93 | 0.041623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3111-5_0_4_trafo_46 | 0.25 MVA 20/0.4 kV | 94 | 43 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2759693.8714 | 1254334.6706 | 2759681.8455 | 1254306.8682
1 | 2759673.5501 | 1254287.6905 | 2759681.8455 | 1254306.8682
2 | 2759673.5501 | 1254287.6905 | 2759692.697 | 1254272.7581 | 2759732.1806 | 1254238.1475
3 | 2759673.5501 | 1254287.6905 | 2759667.331 | 1254274.2202 | 2759662.5296 | 1254265.8378 | 2759651.4631 | 1254252.9598 | 2759637.5831 | 1254244.7551 | 2759611.5362 | 1254234.5997
4 | 2759673.5501 | 1254287.6905 | 2759645.089 | 1254333.6479 | 2759624.622 | 1254384.3539
5 | 2759764.5283 | 1254217.2608 | 2759741.8483 | 1254229.6729 | 2759732.1806 | 1254238.1475
6 | 2759608.4337 | 1254417.8235 | 2759613.233 | 1254412.5697 | 2759624.622 | 1254384.3539
7 | 2759764.5283 | 1254217.2608 | 2759768.0366 | 1254231.3142 | 2759770.351 | 1254264.6995 | 2759771.1244 | 1254273.0129
8 | 2759608.4337 | 1254417.8235 | 2759604.9493 | 1254422.7458 | 2759599.278 | 1254432.6252
9 | 2759734.3268 | 1254449.2937 | 2759724.3541 | 1254450.7262 | 2759715.2785 | 1254451.1304
10 | 2759734.3268 | 1254449.2937 | 2759729.1375 | 1254475.1468 | 2759718.7485 | 1254496.4772 | 2759711.2922 | 1254504.6748
11 | 2759680.7547 | 1254446.7479 | 2759687.3538 | 1254448.6487 | 2759699.4075 | 1254450.9427 | 2759707.8707 | 1254451.4603 | 2759715.2785 | 1254451.1304
12 | 2759711.2922 | 1254504.6748 | 2759707.6521 | 1254508.6768
13 | 2759680.7547 | 1254446.7479 | 2759665.7117 | 1254442.4148
14 | 2759701.5871 | 1254515.3448 | 2759707.6521 | 1254508.6768
15 | 2759661.5854 | 1254441.2263 | 2759665.7117 | 1254442.4148
16 | 2759701.5871 | 1254515.3448 | 2759695.4959 | 1254519.5182 | 2759688.9574 | 1254523.4904 | 2759682.6873 | 1254527.303 | 2759675.9238 | 1254530.6574 | 2759672.3299 | 1254531.8062 | 2759669.1327 | 1254532.7988 | 2759662.662 | 1254534.2592 | 2759656.2844 | 1254535.3439 | 2759652.2754 | 1254535.9476
17 | 2759595.3385 | 1254447.145 | 2759599.278 | 1254432.6252
18 | 2759489.2116 | 1254568.4164 | 2759503.1408 | 1254567.2171 | 2759506.9838 | 1254565.5077 | 2759509.7287 | 1254561.6888 | 2759509.7964 | 1254561.5879
19 | 2759487.6237 | 1254568.5531 | 2759489.2116 | 1254568.4164
20 | 2759530.5532 | 1254543.5079 | 2759526.0782 | 1254544.9121 | 2759518.9563 | 1254547.8455 | 2759515.2248 | 1254551.5821 | 2759513.0995 | 1254554.8171 | 2759511.9623 | 1254558.3567 | 2759509.7964 | 1254561.5879
21 | 2759453.0712 | 1254570.3165 | 2759472.5437 | 1254569.8514 | 2759487.6237 | 1254568.5531
22 | 2759439.6663 | 1254613.4107 | 2759442.4182 | 1254604.0085 | 2759445.2157 | 1254593.195 | 2759448.7724 | 1254581.6568 | 2759452.2844 | 1254572.6199 | 2759453.0712 | 1254570.3165
23 | 2759439.6663 | 1254613.4107 | 2759470.1499 | 1254627.023 | 2759483.1722 | 1254632.9554
24 | 2759522.2051 | 1254651.8945 | 2759511.2297 | 1254645.7371 | 2759483.1722 | 1254632.9554
25 | 2759512.2419 | 1254514.3861 | 2759508.7017 | 1254492.7458
26 | 2759512.2419 | 1254514.3861 | 2759516.3076 | 1254514.7738 | 2759520.648 | 1254515.3357 | 2759521.2796 | 1254515.4606
27 | 2759538.0934 | 1254519.5098 | 2759529.3868 | 1254517.1062 | 2759524.8828 | 1254516.1729 | 2759521.2796 | 1254515.4606
28 | 2759522.2051 | 1254651.8945 | 2759538.7498 | 1254661.1829
29 | 2759522.2051 | 1254651.8945 | 2759526.3332 | 1254624.4889
30 | 2759538.7498 | 1254661.1829 | 2759548.2489 | 1254662.776
31 | 2759599.8783 | 1254658.8829 | 2759570.049 | 1254664.129 | 2759557.874 | 1254664.3902 | 2759548.2489 | 1254662.776
32 | 2759599.8783 | 1254658.8829 | 2759644.3377 | 1254648.3174
33 | 2759599.8783 | 1254658.8829 | 2759597.1221 | 1254647.6866
34 | 2759556.421 | 1254461.8559 | 2759558.967 | 1254462.2569
35 | 2759585.6843 | 1254466.4378 | 2759582.4965 | 1254465.9626 | 2759558.967 | 1254462.2569
36 | 2759556.421 | 1254461.8559 | 2759553.1244 | 1254475.2141
37 | 2759585.6843 | 1254466.4378 | 2759587.5981 | 1254462.9605
38 | 2759585.6843 | 1254466.4378 | 2759584.4063 | 1254468.7613 | 2759580.0109 | 1254476.1171
39 | 2759595.3385 | 1254447.145 | 2759591.8676 | 1254455.2041 | 2759590.4071 | 1254457.8563 | 2759587.5981 | 1254462.9605
40 | 2759580.0109 | 1254476.1171 | 2759590.8723 | 1254480.9146
41 | 2759595.3385 | 1254447.145 | 2759587.9851 | 1254441.8637 | 2759575.4342 | 1254437.0095
42 | 2759595.3385 | 1254447.145 | 2759605.1345 | 1254446.4666
43 | 2759590.8723 | 1254480.9146 | 2759586.8554 | 1254493.1559
44 | 2759575.4342 | 1254437.0095 | 2759558.9815 | 1254435.4869
45 | 2759605.1345 | 1254446.4666 | 2759605.5104 | 1254446.4406 | 2759615.1312 | 1254444.3421 | 2759624.3785 | 1254442.4171
46 | 2759538.0934 | 1254519.5098 | 2759541.333 | 1254520.8651 | 2759544.2787 | 1254522.4795 | 2759547.311 | 1254524.5702
47 | 2759560.1608 | 1254536.4771 | 2759556.6981 | 1254532.4797 | 2759552.989 | 1254528.9429 | 2759548.6436 | 1254525.489 | 2759547.311 | 1254524.5702
48 | 2759586.8554 | 1254493.1559 | 2759585.6039 | 1254496.9698
49 | 2759559.628 | 1254413.7489 | 2759566.0352 | 1254413.8105
50 | 2759559.628 | 1254413.7489 | 2759559.6584 | 1254411.9785
51 | 2759558.9815 | 1254435.4869 | 2759559.594 | 1254415.5721 | 2759559.628 | 1254413.7489
52 | 2759558.9815 | 1254435.4869 | 2759543.6264 | 1254433.7342
53 | 2759532.0627 | 1254432.4143 | 2759543.6264 | 1254433.7342
54 | 2759532.0627 | 1254432.4143 | 2759532.4212 | 1254413.2378 | 2759531.2502 | 1254413.2729
55 | 2759531.2502 | 1254413.2729 | 2759531.3294 | 1254396.0575
56 | 2759531.2502 | 1254413.2729 | 2759522.0553 | 1254413.3629
57 | 2759531.3294 | 1254396.0575 | 2759440.0805 | 1254334.0482
58 | 2759440.0805 | 1254334.0482 | 2759439.1922 | 1254332.0894 | 2759438.4955 | 1254329.0899 | 2759438.3231 | 1254325.4037 | 2759439.2205 | 1254322.6361 | 2759440.9471 | 1254320.1912 | 2759443.012 | 1254317.9838
59 | 2759469.965 | 1254297.5065 | 2759465.6972 | 1254302.0724 | 2759455.8552 | 1254304.2541 | 2759443.012 | 1254317.9838
60 | 2759560.1608 | 1254536.4771 | 2759563.8832 | 1254542.1299
61 | 2759572.0933 | 1254534.8636 | 2759566.506 | 1254534.9131 | 2759560.1608 | 1254536.4771
62 | 2759570.4508 | 1254552.1035 | 2759563.8832 | 1254542.1299
63 | 2759572.0933 | 1254534.8636 | 2759573.8451 | 1254534.8441 | 2759587.814 | 1254535.8103
64 | 2759572.0933 | 1254534.8636 | 2759576.354 | 1254523.0003
65 | 2759624.3785 | 1254442.4171 | 2759634.7552 | 1254440.257
66 | 2759634.7552 | 1254440.257 | 2759636.0376 | 1254439.99 | 2759654.5906 | 1254439.2115 | 2759654.5906 | 1254439.2115
67 | 2759661.5854 | 1254441.2263 | 2759654.5906 | 1254439.2115
68 | 2759583.0326 | 1254504.405 | 2759584.5558 | 1254500.164 | 2759585.6039 | 1254496.9698
69 | 2759583.0326 | 1254504.405 | 2759579.96 | 1254512.96
70 | 2759579.96 | 1254512.96 | 2759576.5528 | 1254522.4469
71 | 2759576.5528 | 1254522.4469 | 2759576.354 | 1254523.0003
72 | 2759587.814 | 1254535.8103 | 2759592.7082 | 1254521.5286
73 | 2759597.116 | 1254509.1508 | 2759595.9337 | 1254512.1161 | 2759592.7082 | 1254521.5286
74 | 2759570.4508 | 1254552.1035 | 2759572.6047 | 1254555.3649 | 2759575.2129 | 1254564.628
75 | 2759570.4508 | 1254552.1035 | 2759578.6957 | 1254550.6526
76 | 2759602.765 | 1254491.4124 | 2759604.4458 | 1254494.3051 | 2759604.5875 | 1254497.1673 | 2759603.7063 | 1254499.3347 | 2759602.5771 | 1254500.3386 | 2759600.5405 | 1254500.5618 | 2759597.116 | 1254509.1508
77 | 2759576.2658 | 1254568.3674 | 2759575.2129 | 1254564.628
78 | 2759578.6957 | 1254550.6526 | 2759578.9454 | 1254550.6086 | 2759586.3396 | 1254551.8536 | 2759592.0723 | 1254553.905
79 | 2759592.0723 | 1254553.905 | 2759594.9449 | 1254554.933 | 2759599.1958 | 1254557.3207
80 | 2759602.641 | 1254559.2559 | 2759599.1958 | 1254557.3207
81 | 2759612.4539 | 1254566.5389 | 2759602.641 | 1254559.2559
82 | 2759576.2658 | 1254568.3674 | 2759580.7302 | 1254584.2232
83 | 2759580.7302 | 1254584.2232 | 2759581.188 | 1254585.8494 | 2759582.7356 | 1254591.6428
84 | 2759584.268 | 1254597.3792 | 2759582.7356 | 1254591.6428
85 | 2759584.268 | 1254597.3792 | 2759588.6742 | 1254613.874
86 | 2759588.6742 | 1254613.874 | 2759589.3864 | 1254616.5402
87 | 2759589.3864 | 1254616.5402 | 2759589.438 | 1254616.7334
88 | 2759591.8978 | 1254626.4643 | 2759590.2588 | 1254619.8062 | 2759589.438 | 1254616.7334
89 | 2759591.8978 | 1254626.4643 | 2759592.6249 | 1254629.418
90 | 2759592.6249 | 1254629.418 | 2759596.8259 | 1254646.4835
91 | 2759597.1221 | 1254647.6866 | 2759596.8259 | 1254646.4835
92 | 2759644.3377 | 1254648.3174 | 2759653.4683 | 1254646.1476 | 2759657.8114 | 1254644.0848 | 2759669.7497 | 1254631.06 | 2759675.4925 | 1254623.1661

## bus_geodata
| x | y | coords
0 | 2759693.8714 | 1254334.6706
1 | 2759681.8455 | 1254306.8682
2 | 2759673.5501 | 1254287.6905
3 | 2759732.1806 | 1254238.1475
4 | 2759611.5362 | 1254234.5997
5 | 2759624.622 | 1254384.3539
6 | 2759764.5283 | 1254217.2608
7 | 2759608.4337 | 1254417.8235
8 | 2759734.3268 | 1254449.2937
9 | 2759715.2785 | 1254451.1304
10 | 2759711.2922 | 1254504.6748
11 | 2759680.7547 | 1254446.7479
12 | 2759707.6521 | 1254508.6768
13 | 2759665.7117 | 1254442.4148
14 | 2759701.5871 | 1254515.3448
15 | 2759771.1244 | 1254273.0129
16 | 2759599.278 | 1254432.6252
17 | 2759489.2116 | 1254568.4164
18 | 2759509.7964 | 1254561.5879
19 | 2759487.6237 | 1254568.5531
20 | 2759530.5532 | 1254543.5079
21 | 2759453.0712 | 1254570.3165
22 | 2759439.6663 | 1254613.4107
23 | 2759483.1722 | 1254632.9554
24 | 2759512.2419 | 1254514.3861
25 | 2759508.7017 | 1254492.7458
26 | 2759521.2796 | 1254515.4606
27 | 2759522.2051 | 1254651.8945
28 | 2759538.7498 | 1254661.1829
29 | 2759526.3332 | 1254624.4889
30 | 2759548.2489 | 1254662.776
31 | 2759599.8783 | 1254658.8829
32 | 2759558.967 | 1254462.2569
33 | 2759556.421 | 1254461.8559
34 | 2759585.6843 | 1254466.4378
35 | 2759553.1244 | 1254475.2141
36 | 2759587.5981 | 1254462.9605
37 | 2759580.0109 | 1254476.1171
38 | 2759595.3385 | 1254447.145
39 | 2759590.8723 | 1254480.9146
40 | 2759575.4342 | 1254437.0095
41 | 2759605.1345 | 1254446.4666
42 | 2759538.0934 | 1254519.5098
43 | 2759547.311 | 1254524.5702
44 | 2759586.8554 | 1254493.1559
45 | 2759566.0352 | 1254413.8105
46 | 2759559.628 | 1254413.7489
47 | 2759559.6584 | 1254411.9785
48 | 2759558.9815 | 1254435.4869
49 | 2759543.6264 | 1254433.7342
50 | 2759532.0627 | 1254432.4143
51 | 2759531.2502 | 1254413.2729
52 | 2759531.3294 | 1254396.0575
53 | 2759522.0553 | 1254413.3629
54 | 2759440.0805 | 1254334.0482
55 | 2759469.965 | 1254297.5065
56 | 2759443.012 | 1254317.9838
57 | 2759560.1608 | 1254536.4771
58 | 2759563.8832 | 1254542.1299
59 | 2759572.0933 | 1254534.8636
60 | 2759624.3785 | 1254442.4171
61 | 2759634.7552 | 1254440.257
62 | 2759654.5906 | 1254439.2115
63 | 2759661.5854 | 1254441.2263
64 | 2759585.6039 | 1254496.9698
65 | 2759583.0326 | 1254504.405
66 | 2759579.96 | 1254512.96
67 | 2759576.5528 | 1254522.4469
68 | 2759576.354 | 1254523.0003
69 | 2759587.814 | 1254535.8103
70 | 2759592.7082 | 1254521.5286
71 | 2759570.4508 | 1254552.1035
72 | 2759652.2754 | 1254535.9476
73 | 2759597.116 | 1254509.1508
74 | 2759602.765 | 1254491.4124
75 | 2759575.2129 | 1254564.628
76 | 2759578.6957 | 1254550.6526
77 | 2759592.0723 | 1254553.905
78 | 2759599.1958 | 1254557.3207
79 | 2759602.641 | 1254559.2559
80 | 2759576.2658 | 1254568.3674
81 | 2759612.4539 | 1254566.5389
82 | 2759580.7302 | 1254584.2232
83 | 2759582.7356 | 1254591.6428
84 | 2759584.268 | 1254597.3792
85 | 2759588.6742 | 1254613.874
86 | 2759589.3864 | 1254616.5402
87 | 2759589.438 | 1254616.7334
88 | 2759591.8978 | 1254626.4643
89 | 2759592.6249 | 1254629.418
90 | 2759596.8259 | 1254646.4835
91 | 2759597.1221 | 1254647.6866
92 | 2759644.3377 | 1254648.3174
93 | 2759675.4925 | 1254623.1661
94 | 2759538.0934 | 1254519.5098

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1