## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3111-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3111-7_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3111-7_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3111-7_0_3_node_73 | 0.4 | n |  | TRUE
4 | bus_LV_3111-7_0_3_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_3111-7_0_3_node_71 | 0.4 | n |  | TRUE
6 | bus_LV_3111-7_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3111-7_0_3_node_57 | 0.4 | n |  | TRUE
8 | bus_LV_3111-7_0_3_node_58 | 0.4 | n |  | TRUE
9 | bus_LV_3111-7_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3111-7_0_3_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_3111-7_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_3111-7_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_3111-7_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_3111-7_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_3111-7_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_3111-7_0_3_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_3111-7_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_3111-7_0_3_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_3111-7_0_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_3111-7_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_3111-7_0_3_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_3111-7_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_3111-7_0_3_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_3111-7_0_3_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_3111-7_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_3111-7_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_3111-7_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_3111-7_0_3_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_3111-7_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_3111-7_0_3_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_3111-7_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_3111-7_0_3_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_3111-7_0_3_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_3111-7_0_3_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_3111-7_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_3111-7_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_3111-7_0_3_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_3111-7_0_3_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_3111-7_0_3_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_3111-7_0_3_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_3111-7_0_3_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_3111-7_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_3111-7_0_3_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_3111-7_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_3111-7_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_3111-7_0_3_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_3111-7_0_3_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_3111-7_0_3_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_3111-7_0_3_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_3111-7_0_3_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_3111-7_0_3_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_3111-7_0_3_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_3111-7_0_3_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_3111-7_0_3_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_3111-7_0_3_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_3111-7_0_3_node_63 | 0.4 | n |  | TRUE
57 | bus_LV_3111-7_0_3_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_3111-7_0_3_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_3111-7_0_3_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_3111-7_0_3_node_66 | 0.4 | n |  | TRUE
61 | bus_LV_3111-7_0_3_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_3111-7_0_3_node_98 | 0.4 | n |  | TRUE
63 | bus_LV_3111-7_0_3_node_99 | 0.4 | n |  | TRUE
64 | bus_LV_3111-7_0_3_node_97 | 0.4 | n |  | TRUE
65 | bus_LV_3111-7_0_3_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_3111-7_0_3_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_3111-7_0_3_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_3111-7_0_3_node_90 | 0.4 | n |  | TRUE
69 | bus_LV_3111-7_0_3_node_89 | 0.4 | n |  | TRUE
70 | bus_LV_3111-7_0_3_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_3111-7_0_3_node_78 | 0.4 | n |  | TRUE
72 | bus_LV_3111-7_0_3_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_3111-7_0_3_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_3111-7_0_3_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_3111-7_0_3_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_3111-7_0_3_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_3111-7_0_3_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_3111-7_0_3_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_3111-7_0_3_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_3111-7_0_3_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_3111-7_0_3_node_86 | 0.4 | n |  | TRUE
82 | bus_LV_3111-7_0_3_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_3111-7_0_3_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_3111-7_0_3_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_3111-7_0_3_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_3111-7_0_3_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_3111-7_0_3_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_3111-7_0_3_node_103 | 0.4 | n |  | TRUE
89 | bus_LV_3111-7_0_3_node_104 | 0.4 | n |  | TRUE
90 | bus_LV_3111-7_0_3_node_102 | 0.4 | n |  | TRUE
91 | bus_LV_3111-7_0_3_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_3111-7_0_3_node_91 | 0.4 | n |  | TRUE
93 | bus_LV_3111-7_0_3_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_3111-7_0_3_node_93 | 0.4 | n |  | TRUE
95 | bus_LV_3111-7_0_3_node_94 | 0.4 | n |  | TRUE
96 | bus_LV_3111-7_0_3_node_95 | 0.4 | n |  | TRUE
97 | bus_LV_3111-7_0_3_node_96 | 0.4 | n |  | TRUE
98 | bus_LV_3111-7_0_3_node_100 | 0.4 | n |  | TRUE
99 | bus_LV_3111-7_0_3_node_101 | 0.4 | n |  | TRUE
100 | bus_LV_3111-7_0_3_node_105 | 0.4 | n |  | TRUE
101 | bus_MV_51_0_node_25 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3111-7_0_3_load_0 | 0 | 0.0043854 | 0.0010991 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3111-7_0_3_load_1 | 1 | 0.0031118 | 0.00077988 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3111-7_0_3_load_3 | 2 | 0.0024565 | 0.00061565 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3111-7_0_3_load_73 | 3 | 0.0019907 | 0.00049891 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3111-7_0_3_load_9 | 4 | 0.0041461 | 0.0010391 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3111-7_0_3_load_71 | 5 | 0.002778 | 0.00069624 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3111-7_0_3_load_57 | 7 | 0.00078244 | 0.0001961 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3111-7_0_3_load_58 | 8 | 0.00094732 | 0.00023742 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3111-7_0_3_load_7 | 9 | 0.0038416 | 0.0009628 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3111-7_0_3_load_4 | 10 | 0.0037903 | 0.00094994 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3111-7_0_3_load_10 | 12 | 0.0047645 | 0.0011941 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3111-7_0_3_load_11 | 13 | 0.0014867 | 0.0003726 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3111-7_0_3_load_13 | 15 | 0.0014537 | 0.00036434 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3111-7_0_3_load_20 | 18 | 0.0011449 | 0.00028695 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3111-7_0_3_load_19 | 19 | 0.0050822 | 0.0012737 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3111-7_0_3_load_16 | 20 | 0.00081223 | 0.00020357 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3111-7_0_3_load_17 | 22 | 0.00081186 | 0.00020347 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3111-7_0_3_load_46 | 23 | 0.011155 | 0.0027958 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3111-7_0_3_load_45 | 24 | 0.0042541 | 0.0010662 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3111-7_0_3_load_21 | 26 | 0.00090414 | 0.0002266 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3111-7_0_3_load_25 | 29 | 0.0030138 | 0.00075534 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3111-7_0_3_load_24 | 31 | 0.00090897 | 0.00022781 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3111-7_0_3_load_44 | 33 | 0.0021463 | 0.00053792 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3111-7_0_3_load_36 | 34 | 0.0018147 | 0.0004548 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3111-7_0_3_load_28 | 35 | 0.004199 | 0.0010524 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3111-7_0_3_load_29 | 36 | 0.0060787 | 0.0015235 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3111-7_0_3_load_30 | 37 | 0.011387 | 0.0028539 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3111-7_0_3_load_40 | 39 | 0.0020999 | 0.00052629 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3111-7_0_3_load_41 | 40 | 0.0022938 | 0.00057488 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3111-7_0_3_load_34 | 41 | 0.0063908 | 0.0016017 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3111-7_0_3_load_32 | 42 | 0.0036144 | 0.00090586 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3111-7_0_3_load_33 | 43 | 0.0042033 | 0.0010534 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3111-7_0_3_load_35 | 44 | 0.0017662 | 0.00044265 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3111-7_0_3_load_37 | 45 | 0.003318 | 0.00083157 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3111-7_0_3_load_53 | 47 | 0.0057978 | 0.0014531 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3111-7_0_3_load_54 | 48 | 0.0050524 | 0.0012662 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3111-7_0_3_load_42 | 49 | 0.0032575 | 0.0008164 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3111-7_0_3_load_43 | 50 | 0.0015418 | 0.0003864 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3111-7_0_3_load_48 | 51 | 0.0015212 | 0.00038126 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3111-7_0_3_load_47 | 52 | 0.00096826 | 0.00024267 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3111-7_0_3_load_51 | 54 | 0.00072692 | 0.00018218 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3111-7_0_3_load_52 | 55 | 0.0044465 | 0.0011144 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3111-7_0_3_load_63 | 56 | 0.0009928 | 0.00024882 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3111-7_0_3_load_62 | 58 | 0.0010637 | 0.00026659 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3111-7_0_3_load_66 | 60 | 0.0023804 | 0.00059658 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3111-7_0_3_load_55 | 61 | 0.0042668 | 0.0010694 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3111-7_0_3_load_99 | 63 | 0.0044456 | 0.0011142 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3111-7_0_3_load_97 | 64 | 0.0020855 | 0.00052268 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3111-7_0_3_load_59 | 65 | 0.00062212 | 0.00015592 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3111-7_0_3_load_60 | 66 | 0.00058441 | 0.00014647 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3111-7_0_3_load_61 | 67 | 0.00052924 | 0.00013264 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3111-7_0_3_load_90 | 68 | 0.0029105 | 0.00072945 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3111-7_0_3_load_89 | 69 | 0.0019989 | 0.00050098 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3111-7_0_3_load_70 | 70 | 0.0018597 | 0.00046609 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3111-7_0_3_load_68 | 72 | 0.0020592 | 0.00051608 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3111-7_0_3_load_67 | 73 | 0.0012586 | 0.00031543 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3111-7_0_3_load_69 | 74 | 0.0012515 | 0.00031364 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3111-7_0_3_load_72 | 75 | 0.0025291 | 0.00063386 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3111-7_0_3_load_74 | 76 | 0.003053 | 0.00076516 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3111-7_0_3_load_75 | 77 | 0.0022382 | 0.00056094 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3111-7_0_3_load_76 | 78 | 0.0028886 | 0.00072396 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3111-7_0_3_load_79 | 80 | 0.0026636 | 0.00066755 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3111-7_0_3_load_86 | 81 | 0.0031792 | 0.00079678 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3111-7_0_3_load_81 | 82 | 0.0033288 | 0.00083427 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3111-7_0_3_load_87 | 83 | 0.0012939 | 0.00032429 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3111-7_0_3_load_80 | 84 | 0.0022051 | 0.00055264 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3111-7_0_3_load_82 | 85 | 0.0020571 | 0.00051556 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3111-7_0_3_load_83 | 86 | 0.0035012 | 0.00087749 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3111-7_0_3_load_85 | 87 | 0.0016131 | 0.00040427 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3111-7_0_3_load_104 | 89 | 0.0019106 | 0.00047884 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3111-7_0_3_load_102 | 90 | 0.0040541 | 0.0010161 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3111-7_0_3_load_88 | 91 | 0.0037717 | 0.00094528 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3111-7_0_3_load_92 | 93 | 0.0026665 | 0.00066828 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3111-7_0_3_load_93 | 94 | 0.0027873 | 0.00069856 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3111-7_0_3_load_94 | 95 | 0.0027317 | 0.00068463 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3111-7_0_3_load_95 | 96 | 0.0040163 | 0.0010066 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3111-7_0_3_load_96 | 97 | 0.0019812 | 0.00049654 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3111-7_0_3_load_100 | 98 | 0.0026431 | 0.00066241 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3111-7_0_3_load_101 | 99 | 0.0010123 | 0.0002537 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3111-7_0_3_load_105 | 100 | 0.0041766 | 0.0010468 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 91 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3111-7_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0027003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3111-7_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.041518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3111-7_0_3_line_2 | NAYY 4x150 SE | 2 | 6 | 0.037602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3111-7_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.086616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3111-7_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.022418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3111-7_0_3_line_5 | NAYY 4x150 SE | 4 | 11 | 0.028174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3111-7_0_3_line_6 | NAYY 4x150 SE | 5 | 75 | 0.010312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3111-7_0_3_line_7 | NAYY 4x150 SE | 6 | 9 | 0.0098612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3111-7_0_3_line_8 | NAYY 4x150 SE | 6 | 10 | 0.10549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3111-7_0_3_line_9 | NAYY 4x150 SE | 7 | 8 | 0.10139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3111-7_0_3_line_10 | NAYY 4x150 SE | 8 | 65 | 0.015969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3111-7_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.016781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3111-7_0_3_line_12 | NAYY 4x150 SE | 12 | 13 | 0.026007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3111-7_0_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.099114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3111-7_0_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.022861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3111-7_0_3_line_15 | NAYY 4x150 SE | 14 | 16 | 0.00584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3111-7_0_3_line_16 | NAYY 4x150 SE | 14 | 17 | 0.026663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3111-7_0_3_line_17 | NAYY 4x150 SE | 15 | 18 | 0.016682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3111-7_0_3_line_18 | NAYY 4x150 SE | 16 | 19 | 0.05346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3111-7_0_3_line_19 | NAYY 4x150 SE | 16 | 20 | 0.029242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3111-7_0_3_line_20 | NAYY 4x150 SE | 17 | 21 | 0.080514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3111-7_0_3_line_21 | NAYY 4x150 SE | 20 | 22 | 0.0068163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3111-7_0_3_line_22 | NAYY 4x150 SE | 21 | 23 | 0.00081975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3111-7_0_3_line_23 | NAYY 4x150 SE | 21 | 24 | 0.024102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3111-7_0_3_line_24 | NAYY 4x150 SE | 22 | 25 | 0.022263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3111-7_0_3_line_25 | NAYY 4x150 SE | 23 | 32 | 0.040394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3111-7_0_3_line_26 | NAYY 4x150 SE | 24 | 33 | 0.03003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3111-7_0_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.010533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3111-7_0_3_line_28 | NAYY 4x150 SE | 27 | 28 | 0.072335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3111-7_0_3_line_29 | NAYY 4x150 SE | 27 | 29 | 0.050163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3111-7_0_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.022384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3111-7_0_3_line_31 | NAYY 4x150 SE | 29 | 31 | 0.01752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3111-7_0_3_line_32 | NAYY 4x150 SE | 30 | 34 | 0.062725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3111-7_0_3_line_33 | NAYY 4x150 SE | 32 | 51 | 0.029643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3111-7_0_3_line_34 | NAYY 4x150 SE | 33 | 50 | 0.011503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3111-7_0_3_line_35 | NAYY 4x150 SE | 34 | 41 | 0.01372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3111-7_0_3_line_36 | NAYY 4x150 SE | 35 | 36 | 0.058361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3111-7_0_3_line_37 | NAYY 4x150 SE | 36 | 37 | 0.013556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3111-7_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.017623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3111-7_0_3_line_39 | NAYY 4x150 SE | 38 | 39 | 0.013836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3111-7_0_3_line_40 | NAYY 4x150 SE | 38 | 40 | 0.0071758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3111-7_0_3_line_41 | NAYY 4x150 SE | 39 | 49 | 0.037958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3111-7_0_3_line_42 | NAYY 4x150 SE | 40 | 46 | 0.0088242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3111-7_0_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.011812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3111-7_0_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.0058848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3111-7_0_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.019803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3111-7_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.00055953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3111-7_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.025326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3111-7_0_3_line_48 | NAYY 4x150 SE | 46 | 47 | 0.01193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3111-7_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.025036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_3111-7_0_3_line_50 | NAYY 4x150 SE | 48 | 61 | 0.0019341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_3111-7_0_3_line_51 | NAYY 4x150 SE | 49 | 50 | 0.0055062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3111-7_0_3_line_52 | NAYY 4x150 SE | 51 | 52 | 0.013899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3111-7_0_3_line_53 | NAYY 4x150 SE | 53 | 54 | 0.012883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3111-7_0_3_line_54 | NAYY 4x150 SE | 53 | 55 | 0.043541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3111-7_0_3_line_55 | NAYY 4x150 SE | 54 | 56 | 0.012248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3111-7_0_3_line_56 | NAYY 4x150 SE | 55 | 57 | 0.012278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3111-7_0_3_line_57 | NAYY 4x150 SE | 56 | 58 | 0.013729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3111-7_0_3_line_58 | NAYY 4x150 SE | 57 | 59 | 0.003366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3111-7_0_3_line_59 | NAYY 4x150 SE | 57 | 60 | 0.015583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3111-7_0_3_line_60 | NAYY 4x150 SE | 58 | 67 | 0.011204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3111-7_0_3_line_61 | NAYY 4x150 SE | 59 | 68 | 0.042082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3111-7_0_3_line_62 | NAYY 4x150 SE | 59 | 69 | 0.043829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3111-7_0_3_line_63 | NAYY 4x150 SE | 60 | 70 | 0.0096236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3111-7_0_3_line_64 | NAYY 4x150 SE | 61 | 62 | 0.012483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_3111-7_0_3_line_65 | NAYY 4x150 SE | 62 | 63 | 0.020921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3111-7_0_3_line_66 | NAYY 4x150 SE | 62 | 64 | 0.016592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_3111-7_0_3_line_67 | NAYY 4x150 SE | 63 | 98 | 0.0038803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3111-7_0_3_line_68 | NAYY 4x150 SE | 64 | 97 | 0.017132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_3111-7_0_3_line_69 | NAYY 4x150 SE | 65 | 66 | 0.01188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3111-7_0_3_line_70 | NAYY 4x150 SE | 66 | 67 | 0.0046042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3111-7_0_3_line_71 | NAYY 4x150 SE | 69 | 71 | 0.038915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3111-7_0_3_line_72 | NAYY 4x150 SE | 70 | 72 | 0.012687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3111-7_0_3_line_73 | NAYY 4x150 SE | 71 | 81 | 0.013115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3111-7_0_3_line_74 | NAYY 4x150 SE | 71 | 79 | 0.007211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3111-7_0_3_line_75 | NAYY 4x150 SE | 72 | 73 | 0.021873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3111-7_0_3_line_76 | NAYY 4x150 SE | 73 | 74 | 0.0029028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3111-7_0_3_line_77 | NAYY 4x150 SE | 75 | 76 | 0.011848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3111-7_0_3_line_78 | NAYY 4x150 SE | 76 | 77 | 0.023271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3111-7_0_3_line_79 | NAYY 4x150 SE | 77 | 78 | 0.0069225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3111-7_0_3_line_80 | NAYY 4x150 SE | 78 | 79 | 0.029247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3111-7_0_3_line_81 | NAYY 4x150 SE | 79 | 80 | 0.0047682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3111-7_0_3_line_82 | NAYY 4x150 SE | 80 | 82 | 0.018194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3111-7_0_3_line_83 | NAYY 4x150 SE | 81 | 83 | 0.017087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3111-7_0_3_line_84 | NAYY 4x150 SE | 82 | 84 | 0.00093837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3111-7_0_3_line_85 | NAYY 4x150 SE | 83 | 91 | 0.015551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3111-7_0_3_line_86 | NAYY 4x150 SE | 84 | 85 | 0.019317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3111-7_0_3_line_87 | NAYY 4x150 SE | 85 | 86 | 0.011788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3111-7_0_3_line_88 | NAYY 4x150 SE | 87 | 88 | 0.015068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3111-7_0_3_line_89 | NAYY 4x150 SE | 88 | 89 | 0.016044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3111-7_0_3_line_90 | NAYY 4x150 SE | 88 | 90 | 0.019212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3111-7_0_3_line_91 | NAYY 4x150 SE | 89 | 100 | 0.012352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3111-7_0_3_line_92 | NAYY 4x150 SE | 90 | 99 | 0.007385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3111-7_0_3_line_93 | NAYY 4x150 SE | 91 | 92 | 0.020074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
94 | LV_3111-7_0_3_line_94 | NAYY 4x150 SE | 92 | 93 | 0.019219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
95 | LV_3111-7_0_3_line_95 | NAYY 4x150 SE | 93 | 94 | 0.0021197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
96 | LV_3111-7_0_3_line_96 | NAYY 4x150 SE | 94 | 95 | 0.020891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
97 | LV_3111-7_0_3_line_97 | NAYY 4x150 SE | 95 | 96 | 0.0046355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
98 | LV_3111-7_0_3_line_98 | NAYY 4x150 SE | 96 | 97 | 0.013862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
99 | LV_3111-7_0_3_line_99 | NAYY 4x150 SE | 98 | 99 | 0.014984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3111-7_0_3_trafo_88 | 0.25 MVA 20/0.4 kV | 101 | 91 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2758856.214 | 1254805.7909 | 2758858.6714 | 1254806.9102
1 | 2758858.6714 | 1254806.9102 | 2758864.114 | 1254809.3891 | 2758888.5447 | 1254821.0118 | 2758896.6527 | 1254823.5046
2 | 2758930.0989 | 1254820.9488 | 2758923.6014 | 1254828.4821 | 2758911.8122 | 1254828.1655 | 2758896.6527 | 1254823.5046
3 | 2758923.1084 | 1254681.0302 | 2758925.2361 | 1254767.6197
4 | 2758923.1084 | 1254681.0302 | 2758933.0811 | 1254677.3274 | 2758940.3703 | 1254672.6404 | 2758943.1415 | 1254671.2211
5 | 2758922.2153 | 1254795.5003 | 2758922.6655 | 1254779.0179 | 2758925.2361 | 1254767.6197
6 | 2758943.1415 | 1254671.2211 | 2758947.9015 | 1254668.7831 | 2758952.6665 | 1254667.3925
7 | 2758930.0989 | 1254820.9488 | 2758927.1501 | 1254811.5388
8 | 2758930.0989 | 1254820.9488 | 2758944.0197 | 1254830.1428 | 2758977.7103 | 1254848.8438 | 2759010.2662 | 1254867.3477 | 2759018.7859 | 1254876.9365
9 | 2758701.135 | 1254628.1002 | 2758766.0849 | 1254620.68 | 2758801.7784 | 1254615.8293
10 | 2758801.7784 | 1254615.8293 | 2758817.6018 | 1254613.6789
11 | 2758922.2153 | 1254795.5003 | 2758925.0724 | 1254804.9088 | 2758927.1501 | 1254811.5388
12 | 2759076.9808 | 1254442.5425 | 2759093.4776 | 1254441.1379 | 2759102.8827 | 1254442.0659
13 | 2758985.5053 | 1254479.7892 | 2759001.0319 | 1254471.1083 | 2759045.6132 | 1254453.7209 | 2759072.4292 | 1254442.93 | 2759076.9808 | 1254442.5425
14 | 2759125.6333 | 1254444.3107 | 2759102.8827 | 1254442.0659
15 | 2758985.4885 | 1254473.9495 | 2758985.5053 | 1254479.7892
16 | 2759003.0002 | 1254498.9894 | 2758995.7693 | 1254495.0358 | 2758991.0198 | 1254489.4693 | 2758985.5053 | 1254479.7892
17 | 2759142.235 | 1254445.9488 | 2759125.6333 | 1254444.3107
18 | 2759031.2154 | 1254446.5159 | 2759020.4098 | 1254455.635 | 2758985.4885 | 1254473.9495
19 | 2758985.4885 | 1254473.9495 | 2758985.3888 | 1254444.7079
20 | 2759000.5904 | 1254538.387 | 2759008.6879 | 1254526.103 | 2758992.2686 | 1254523.0591 | 2758980.0055 | 1254513.3868 | 2758987.7281 | 1254511.4032 | 2758996.5129 | 1254512.3066 | 2759000.4869 | 1254509.9331 | 2758999.0681 | 1254506.2691 | 2759003.0002 | 1254498.9894
21 | 2758985.3656 | 1254437.8916 | 2758985.3888 | 1254444.7079
22 | 2759000.5904 | 1254538.387 | 2758999.7739 | 1254538.4605
23 | 2759000.5904 | 1254538.387 | 2759011.6603 | 1254537.6834 | 2759023.1801 | 1254537.0921 | 2759024.6543 | 1254537.0472
24 | 2758990.046 | 1254416.1465 | 2758985.3627 | 1254437.0531 | 2758985.3656 | 1254437.8916
25 | 2758960.2363 | 1254546.2452 | 2758969.5517 | 1254543.4145 | 2758978.855 | 1254541.3176 | 2758988.2712 | 1254539.7911 | 2758994.4083 | 1254538.9438 | 2758999.7739 | 1254538.4605
26 | 2759024.6543 | 1254537.0472 | 2759035.7889 | 1254536.708 | 2759048.2262 | 1254537.3649 | 2759054.5901 | 1254538.3205
27 | 2758990.046 | 1254416.1465 | 2758979.5346 | 1254415.4659
28 | 2759208.546 | 1254536.6379 | 2759211.4071 | 1254536.3479 | 2759214.8686 | 1254535.6291 | 2759217.6059 | 1254534.8908 | 2759220.4545 | 1254533.6661 | 2759222.7171 | 1254532.6147 | 2759229.4309 | 1254529.6923 | 2759231.619 | 1254535.9018 | 2759234.1987 | 1254541.0208 | 2759238.071 | 1254547.754 | 2759244.8503 | 1254570.7263 | 2759245.7816 | 1254576.7908
29 | 2759208.546 | 1254536.6379 | 2759206.135 | 1254536.751 | 2759202.8814 | 1254536.4744 | 2759199.6348 | 1254535.9421 | 2759196.7688 | 1254535.0086 | 2759188.7036 | 1254531.4883 | 2759180.8377 | 1254527.5729 | 2759164.5746 | 1254519.0049 | 2759162.61 | 1254517.9896
30 | 2759245.7816 | 1254576.7908 | 2759250.1701 | 1254576.6865 | 2759255.1835 | 1254579.7244 | 2759260.2003 | 1254590.7705
31 | 2759147.0455 | 1254509.946 | 2759162.61 | 1254517.9896
32 | 2759260.2003 | 1254590.7705 | 2759208.2341 | 1254603.7756 | 2759199.1802 | 1254605.1397
33 | 2758960.2363 | 1254546.2452 | 2758949.4192 | 1254551.0264 | 2758938.7238 | 1254556.0556 | 2758933.4467 | 1254558.9059
34 | 2759054.5901 | 1254538.3205 | 2759060.4056 | 1254539.1938 | 2759065.8247 | 1254540.6917
35 | 2759185.6576 | 1254604.3894 | 2759194.0156 | 1254605.9178 | 2759199.1802 | 1254605.1397
36 | 2759180.2729 | 1254563.5553 | 2759152.5449 | 1254543.8847 | 2759144.3284 | 1254556.9328 | 2759136.6075 | 1254552.4173
37 | 2759136.6075 | 1254552.4173 | 2759131.6501 | 1254549.5179 | 2759128.2981 | 1254547.5703 | 2759126.2004 | 1254550.9014
38 | 2759116.8094 | 1254565.8136 | 2759126.2004 | 1254550.9014
39 | 2759116.8094 | 1254565.8136 | 2759105.3417 | 1254558.073
40 | 2759116.8094 | 1254565.8136 | 2759122.7262 | 1254569.8735
41 | 2759071.1319 | 1254542.1587 | 2759078.6357 | 1254544.2329 | 2759097.3997 | 1254552.7122 | 2759105.3417 | 1254558.073
42 | 2759130.0022 | 1254574.8661 | 2759122.7262 | 1254569.8735
43 | 2759174.4409 | 1254600.8468 | 2759181.6067 | 1254603.6487 | 2759185.6576 | 1254604.3894
44 | 2759174.4409 | 1254600.8468 | 2759168.9602 | 1254598.7038 | 2759168.9602 | 1254598.7038
45 | 2759151.8764 | 1254588.6896 | 2759168.9602 | 1254598.7038
46 | 2759151.3937 | 1254588.4066 | 2759151.8764 | 1254588.6896
47 | 2759130.0022 | 1254574.8661 | 2759142.9879 | 1254583.4793 | 2759151.3937 | 1254588.4066
48 | 2759130.0022 | 1254574.8661 | 2759123.8053 | 1254582.4295 | 2759122.4298 | 1254584.0847
49 | 2759122.4298 | 1254584.0847 | 2759119.7098 | 1254587.3578 | 2759116.1089 | 1254592.4218 | 2759117.3785 | 1254598.2618 | 2759111.9893 | 1254604.9512
50 | 2759110.7759 | 1254606.4573 | 2759111.9893 | 1254604.9512
51 | 2759071.1319 | 1254542.1587 | 2759065.8247 | 1254540.6917
52 | 2758921.2174 | 1254565.5111 | 2758933.4467 | 1254558.9059
53 | 2758878.8744 | 1254589.1391 | 2758867.6615 | 1254595.4827
54 | 2758878.8744 | 1254589.1391 | 2758884.5793 | 1254597.6341 | 2758894.7667 | 1254602.5234 | 2758916.0627 | 1254608.0787
55 | 2758857.0014 | 1254601.5135 | 2758867.6615 | 1254595.4827
56 | 2758927.9435 | 1254611.1779 | 2758916.0627 | 1254608.0787
57 | 2758844.1493 | 1254606.2969 | 2758855.9948 | 1254602.083 | 2758857.0014 | 1254601.5135
58 | 2758931.212 | 1254612.022 | 2758927.9435 | 1254611.1779
59 | 2758927.9435 | 1254611.1779 | 2758917.998 | 1254621.4548 | 2758916.9885 | 1254622.2446
60 | 2758833.5933 | 1254610.052 | 2758844.1493 | 1254606.2969
61 | 2758931.212 | 1254612.022 | 2758942.2535 | 1254601.1294 | 2758953.5973 | 1254588.8214 | 2758960.7239 | 1254585.6983 | 2758962.7119 | 1254585.1881
62 | 2758931.212 | 1254612.022 | 2758938.0468 | 1254615.5423 | 2758948.9084 | 1254623.4307 | 2758969.1153 | 1254632.1485 | 2758969.7939 | 1254632.3565
63 | 2758916.9885 | 1254622.2446 | 2758909.4089 | 1254628.1744
64 | 2759102.8217 | 1254616.0778 | 2759110.3269 | 1254607.0146 | 2759110.7759 | 1254606.4573
65 | 2759102.8217 | 1254616.0778 | 2759106.7839 | 1254623.6809 | 2759105.2242 | 1254635.9292
66 | 2759102.8217 | 1254616.0778 | 2759097.0841 | 1254609.6505 | 2759090.9847 | 1254604.5112
67 | 2759103.1246 | 1254639.1924 | 2759105.2242 | 1254635.9292 | 2759105.2242 | 1254635.9292
68 | 2759090.9847 | 1254604.5112 | 2759082.4398 | 1254597.3113 | 2759077.6364 | 1254593.7862
69 | 2758817.6018 | 1254613.6789 | 2758826.981 | 1254612.4043 | 2758829.2555 | 1254611.5951
70 | 2758829.2555 | 1254611.5951 | 2758833.5933 | 1254610.052
71 | 2759006.5567 | 1254644.733 | 2759003.0526 | 1254642.5478 | 2758969.7939 | 1254632.3565
72 | 2758898.8304 | 1254635.1689 | 2758908.3215 | 1254629.0251 | 2758909.4089 | 1254628.1744
73 | 2759006.5567 | 1254644.733 | 2759009.1309 | 1254635.7374 | 2759010.4628 | 1254632.2225
74 | 2759012.6889 | 1254648.557 | 2759006.5567 | 1254644.733
75 | 2758880.4685 | 1254647.055 | 2758898.8304 | 1254635.1689
76 | 2758878.0317 | 1254648.6324 | 2758880.4685 | 1254647.055
77 | 2758952.6665 | 1254667.3925 | 2758962.2806 | 1254664.5869 | 2758964.1083 | 1254664.446
78 | 2758987.0443 | 1254665.7898 | 2758983.7827 | 1254664.4194 | 2758974.1561 | 1254663.6714 | 2758964.1083 | 1254664.446
79 | 2758987.0443 | 1254665.7898 | 2758993.4263 | 1254668.4713 | 2758993.4263 | 1254668.4713
80 | 2759012.6889 | 1254648.557 | 2759005.8489 | 1254661.2419 | 2758999.6798 | 1254666.9376 | 2758993.4263 | 1254668.4713
81 | 2759012.6889 | 1254648.557 | 2759016.6441 | 1254651.2201
82 | 2759028.5513 | 1254664.4963 | 2759022.6165 | 1254655.2415 | 2759016.6441 | 1254651.2201
83 | 2759010.4628 | 1254632.2225 | 2759013.9082 | 1254623.1306 | 2759015.9102 | 1254616.0438 | 2759015.9102 | 1254616.0438
84 | 2759029.0578 | 1254665.2862 | 2759028.5513 | 1254664.4963
85 | 2759017.9083 | 1254600.6255 | 2759016.7177 | 1254608.4689 | 2759015.9102 | 1254616.0438
86 | 2759029.0578 | 1254665.2862 | 2759030.8682 | 1254668.1094 | 2759035.1837 | 1254683.4782
87 | 2759036.8051 | 1254695.1395 | 2759035.5665 | 1254684.8415 | 2759035.1837 | 1254683.4782
88 | 2759086.9297 | 1254676.5346 | 2759085.6483 | 1254678.7135 | 2759074.5567 | 1254684.5647
89 | 2759086.9297 | 1254676.5346 | 2759094.1601 | 1254676.0061 | 2759103.0018 | 1254675.9101
90 | 2759086.9297 | 1254676.5346 | 2759090.0047 | 1254669.41 | 2759091.0209 | 1254658.0034
91 | 2759103.0018 | 1254675.9101 | 2759115.3479 | 1254676.2964
92 | 2759091.0209 | 1254658.0034 | 2759095.017 | 1254651.7929
93 | 2759019.7599 | 1254580.6557 | 2759018.9557 | 1254593.7251 | 2759017.9083 | 1254600.6255
94 | 2759019.7599 | 1254580.6557 | 2759038.9789 | 1254580.6259
95 | 2759038.9789 | 1254580.6259 | 2759041.0987 | 1254580.6226
96 | 2759061.3942 | 1254585.0791 | 2759056.4512 | 1254583.2435 | 2759049.7014 | 1254581.6161 | 2759042.844 | 1254580.6199 | 2759041.0987 | 1254580.6226
97 | 2759065.6722 | 1254586.8588 | 2759063.0058 | 1254585.6775 | 2759061.3942 | 1254585.0791
98 | 2759065.6722 | 1254586.8588 | 2759068.6453 | 1254588.176 | 2759075.1558 | 1254591.9658 | 2759077.6364 | 1254593.7862
99 | 2759103.1246 | 1254639.1924 | 2759095.017 | 1254651.7929

## bus_geodata
| x | y | coords
0 | 2758856.214 | 1254805.7909
1 | 2758858.6714 | 1254806.9102
2 | 2758896.6527 | 1254823.5046
3 | 2758923.1084 | 1254681.0302
4 | 2758925.2361 | 1254767.6197
5 | 2758943.1415 | 1254671.2211
6 | 2758930.0989 | 1254820.9488
7 | 2758701.135 | 1254628.1002
8 | 2758801.7784 | 1254615.8293
9 | 2758927.1501 | 1254811.5388
10 | 2759018.7859 | 1254876.9365
11 | 2758922.2153 | 1254795.5003
12 | 2759076.9808 | 1254442.5425
13 | 2759102.8828 | 1254442.0659
14 | 2758985.5053 | 1254479.7892
15 | 2759125.6333 | 1254444.3107
16 | 2758985.4885 | 1254473.9495
17 | 2759003.0002 | 1254498.9894
18 | 2759142.235 | 1254445.9488
19 | 2759031.2154 | 1254446.5159
20 | 2758985.3888 | 1254444.7079
21 | 2759000.5904 | 1254538.387
22 | 2758985.3656 | 1254437.8916
23 | 2758999.7739 | 1254538.4605
24 | 2759024.6543 | 1254537.0472
25 | 2758990.046 | 1254416.1465
26 | 2758979.5346 | 1254415.4659
27 | 2759208.546 | 1254536.6379
28 | 2759245.7816 | 1254576.7908
29 | 2759162.61 | 1254517.9896
30 | 2759260.2003 | 1254590.7705
31 | 2759147.0455 | 1254509.946
32 | 2758960.2363 | 1254546.2452
33 | 2759054.5901 | 1254538.3205
34 | 2759199.1802 | 1254605.1397
35 | 2759180.2729 | 1254563.5553
36 | 2759136.6075 | 1254552.4173
37 | 2759126.2004 | 1254550.9014
38 | 2759116.8094 | 1254565.8136
39 | 2759105.3417 | 1254558.073
40 | 2759122.7262 | 1254569.8735
41 | 2759185.6576 | 1254604.3894
42 | 2759174.4409 | 1254600.8468
43 | 2759168.9602 | 1254598.7038
44 | 2759151.8764 | 1254588.6896
45 | 2759151.3937 | 1254588.4066
46 | 2759130.0022 | 1254574.8661
47 | 2759122.4298 | 1254584.0847
48 | 2759111.9893 | 1254604.9512
49 | 2759071.1319 | 1254542.1588
50 | 2759065.8247 | 1254540.6917
51 | 2758933.4467 | 1254558.9059
52 | 2758921.2174 | 1254565.5111
53 | 2758878.8744 | 1254589.1391
54 | 2758867.6615 | 1254595.4827
55 | 2758916.0627 | 1254608.0787
56 | 2758857.0014 | 1254601.5135
57 | 2758927.9435 | 1254611.1779
58 | 2758844.1493 | 1254606.2969
59 | 2758931.212 | 1254612.022
60 | 2758916.9885 | 1254622.2446
61 | 2759110.7759 | 1254606.4573
62 | 2759102.8217 | 1254616.0778
63 | 2759105.2242 | 1254635.9292
64 | 2759090.9847 | 1254604.5112
65 | 2758817.6018 | 1254613.6789
66 | 2758829.2555 | 1254611.5951
67 | 2758833.5933 | 1254610.052
68 | 2758962.7119 | 1254585.1881
69 | 2758969.7939 | 1254632.3565
70 | 2758909.4089 | 1254628.1744
71 | 2759006.5567 | 1254644.733
72 | 2758898.8304 | 1254635.1689
73 | 2758880.4685 | 1254647.055
74 | 2758878.0317 | 1254648.6324
75 | 2758952.6665 | 1254667.3925
76 | 2758964.1083 | 1254664.446
77 | 2758987.0443 | 1254665.7898
78 | 2758993.4263 | 1254668.4713
79 | 2759012.6889 | 1254648.557
80 | 2759016.6441 | 1254651.2201
81 | 2759010.4628 | 1254632.2225
82 | 2759028.5513 | 1254664.4963
83 | 2759015.9102 | 1254616.0438
84 | 2759029.0578 | 1254665.2862
85 | 2759035.1837 | 1254683.4782
86 | 2759036.8051 | 1254695.1395
87 | 2759074.5567 | 1254684.5647
88 | 2759086.9297 | 1254676.5346
89 | 2759103.0018 | 1254675.9101
90 | 2759091.0209 | 1254658.0034
91 | 2759017.9083 | 1254600.6255
92 | 2759019.7599 | 1254580.6557
93 | 2759038.9789 | 1254580.6259
94 | 2759041.0987 | 1254580.6226
95 | 2759061.3942 | 1254585.0791
96 | 2759065.6722 | 1254586.8588
97 | 2759077.6364 | 1254593.7862
98 | 2759103.1246 | 1254639.1924
99 | 2759095.017 | 1254651.7929
100 | 2759115.3479 | 1254676.2964
101 | 2759019.7599 | 1254580.6557

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1