## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3256-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3256-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3256-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3256-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3256-8_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3256-8_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3256-8_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3256-8_0_3_node_63 | 0.4 | n |  | TRUE
8 | bus_LV_3256-8_0_3_node_54 | 0.4 | n |  | TRUE
9 | bus_LV_3256-8_0_3_node_64 | 0.4 | n |  | TRUE
10 | bus_LV_3256-8_0_3_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_3256-8_0_3_node_53 | 0.4 | n |  | TRUE
12 | bus_LV_3256-8_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_3256-8_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3256-8_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3256-8_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_3256-8_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3256-8_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_3256-8_0_3_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_3256-8_0_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_3256-8_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_3256-8_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_3256-8_0_3_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_3256-8_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_3256-8_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_3256-8_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_3256-8_0_3_node_52 | 0.4 | n |  | TRUE
27 | bus_LV_3256-8_0_3_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_3256-8_0_3_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_3256-8_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_3256-8_0_3_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_3256-8_0_3_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_3256-8_0_3_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_3256-8_0_3_node_56 | 0.4 | n |  | TRUE
34 | bus_LV_3256-8_0_3_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_3256-8_0_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_3256-8_0_3_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_3256-8_0_3_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_3256-8_0_3_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_3256-8_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_3256-8_0_3_node_95 | 0.4 | n |  | TRUE
41 | bus_LV_3256-8_0_3_node_94 | 0.4 | n |  | TRUE
42 | bus_LV_3256-8_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_3256-8_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_3256-8_0_3_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_3256-8_0_3_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_3256-8_0_3_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_3256-8_0_3_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_3256-8_0_3_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_3256-8_0_3_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_3256-8_0_3_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_3256-8_0_3_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_3256-8_0_3_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_3256-8_0_3_node_76 | 0.4 | n |  | TRUE
54 | bus_LV_3256-8_0_3_node_77 | 0.4 | n |  | TRUE
55 | bus_LV_3256-8_0_3_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_3256-8_0_3_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_3256-8_0_3_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_3256-8_0_3_node_74 | 0.4 | n |  | TRUE
59 | bus_LV_3256-8_0_3_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_3256-8_0_3_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_3256-8_0_3_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_3256-8_0_3_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_3256-8_0_3_node_78 | 0.4 | n |  | TRUE
64 | bus_LV_3256-8_0_3_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_3256-8_0_3_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_3256-8_0_3_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_3256-8_0_3_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_3256-8_0_3_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_3256-8_0_3_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_3256-8_0_3_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_3256-8_0_3_node_92 | 0.4 | n |  | TRUE
72 | bus_LV_3256-8_0_3_node_90 | 0.4 | n |  | TRUE
73 | bus_LV_3256-8_0_3_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_3256-8_0_3_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_3256-8_0_3_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_3256-8_0_3_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_3256-8_0_3_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_3256-8_0_3_node_89 | 0.4 | n |  | TRUE
79 | bus_LV_3256-8_0_3_node_88 | 0.4 | n |  | TRUE
80 | bus_LV_3256-8_0_3_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_3256-8_0_3_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_3256-8_0_3_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_3256-8_0_3_node_93 | 0.4 | n |  | TRUE
84 | bus_LV_3256-8_0_3_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_3256-8_0_3_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_3256-8_0_3_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_3256-8_0_3_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_3256-8_0_3_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_3256-8_0_3_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_3256-8_0_3_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_3256-8_0_3_node_91 | 0.4 | n |  | TRUE
92 | bus_LV_3256-8_0_3_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_3256-8_0_3_node_87 | 0.4 | n |  | TRUE
94 | bus_MV_49_0_node_71 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3256-8_0_3_load_0 | 0 | 0.0022076 | 0.00055327 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3256-8_0_3_load_1 | 1 | 0.00060026 | 0.00015044 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3256-8_0_3_load_2 | 2 | 0.0024157 | 0.00060544 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3256-8_0_3_load_4 | 4 | 0.0020519 | 0.00051425 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3256-8_0_3_load_5 | 5 | 0.0019868 | 0.00049794 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3256-8_0_3_load_6 | 6 | 0.0024311 | 0.0006093 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3256-8_0_3_load_63 | 7 | 0.0021379 | 0.0005358 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3256-8_0_3_load_64 | 9 | 0.0026503 | 0.00066422 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3256-8_0_3_load_55 | 10 | 0.0054448 | 0.0013646 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3256-8_0_3_load_53 | 11 | 0.0071375 | 0.0017888 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3256-8_0_3_load_7 | 12 | 0.0018319 | 0.00045913 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3256-8_0_3_load_8 | 13 | 0.0030501 | 0.00076443 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3256-8_0_3_load_9 | 14 | 0.0019715 | 0.00049409 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3256-8_0_3_load_10 | 15 | 0.0023147 | 0.00058012 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3256-8_0_3_load_20 | 18 | 0.0028433 | 0.00071259 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3256-8_0_3_load_19 | 19 | 0.0023883 | 0.00059857 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3256-8_0_3_load_14 | 21 | 0.0023695 | 0.00059386 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3256-8_0_3_load_57 | 22 | 0.0039837 | 0.00099841 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3256-8_0_3_load_17 | 23 | 0.0013132 | 0.00032913 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3256-8_0_3_load_18 | 24 | 0.0032206 | 0.00080716 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3256-8_0_3_load_15 | 25 | 0.0043289 | 0.0010849 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3256-8_0_3_load_52 | 26 | 0.0011863 | 0.00029732 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3256-8_0_3_load_45 | 27 | 0.0036848 | 0.00092349 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3256-8_0_3_load_47 | 28 | 0.0028897 | 0.00072423 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3256-8_0_3_load_16 | 29 | 0.0021565 | 0.00054046 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3256-8_0_3_load_51 | 30 | 0.002103 | 0.00052707 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3256-8_0_3_load_46 | 31 | 0.0049849 | 0.0012493 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3256-8_0_3_load_56 | 33 | 0.0021931 | 0.00054963 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3256-8_0_3_load_21 | 34 | 0.0036787 | 0.00092198 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3256-8_0_3_load_22 | 35 | 0.0026296 | 0.00065905 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3256-8_0_3_load_24 | 37 | 0.0023978 | 0.00060096 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3256-8_0_3_load_25 | 38 | 0.01392 | 0.0034888 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3256-8_0_3_load_26 | 39 | 0.0058052 | 0.0014549 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3256-8_0_3_load_95 | 40 | 0.0020294 | 0.00050861 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3256-8_0_3_load_94 | 41 | 0.0022198 | 0.00055635 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3256-8_0_3_load_36 | 43 | 0.0041172 | 0.0010319 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3256-8_0_3_load_33 | 45 | 0.00044102 | 0.00011053 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3256-8_0_3_load_29 | 46 | 0.0036775 | 0.00092168 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3256-8_0_3_load_37 | 47 | 0.0081252 | 0.0020364 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3256-8_0_3_load_32 | 48 | 0.0027159 | 0.00068068 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3256-8_0_3_load_30 | 49 | 0.0023478 | 0.0005884 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3256-8_0_3_load_34 | 50 | 0.00069536 | 0.00017427 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3256-8_0_3_load_35 | 52 | 0.0010936 | 0.00027408 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3256-8_0_3_load_76 | 53 | 0.0012582 | 0.00031534 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3256-8_0_3_load_39 | 55 | 0.0024769 | 0.00062076 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3256-8_0_3_load_40 | 56 | 0.0017807 | 0.00044628 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3256-8_0_3_load_41 | 57 | 0.001182 | 0.00029625 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3256-8_0_3_load_74 | 58 | 0.0027145 | 0.00068032 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3256-8_0_3_load_42 | 59 | 0.0014456 | 0.0003623 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3256-8_0_3_load_72 | 60 | 0.00099925 | 0.00025044 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3256-8_0_3_load_43 | 61 | 0.0013501 | 0.00033837 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3256-8_0_3_load_78 | 63 | 0.0014755 | 0.00036979 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3256-8_0_3_load_61 | 65 | 0.001385 | 0.0003471 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3256-8_0_3_load_50 | 66 | 0.0024206 | 0.00060665 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3256-8_0_3_load_49 | 67 | 0.0014254 | 0.00035724 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3256-8_0_3_load_59 | 68 | 0.0043143 | 0.0010813 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3256-8_0_3_load_60 | 70 | 0.0040741 | 0.0010211 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3256-8_0_3_load_92 | 71 | 0.0017888 | 0.00044832 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3256-8_0_3_load_90 | 72 | 0.0016095 | 0.00040338 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3256-8_0_3_load_65 | 73 | 0.0006646 | 0.00016656 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3256-8_0_3_load_66 | 74 | 0.0014776 | 0.00037033 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3256-8_0_3_load_67 | 75 | 0.0023651 | 0.00059276 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3256-8_0_3_load_69 | 77 | 0.0025061 | 0.00062809 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3256-8_0_3_load_89 | 78 | 0.001077 | 0.00026991 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3256-8_0_3_load_88 | 79 | 0.0026312 | 0.00065944 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3256-8_0_3_load_71 | 80 | 0.0013309 | 0.00033355 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3256-8_0_3_load_73 | 81 | 0.0030507 | 0.00076457 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3256-8_0_3_load_75 | 82 | 0.0012741 | 0.00031932 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3256-8_0_3_load_93 | 83 | 0.009486 | 0.0023774 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3256-8_0_3_load_79 | 84 | 0.0007833 | 0.00019631 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3256-8_0_3_load_80 | 85 | 0.0012381 | 0.00031029 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3256-8_0_3_load_81 | 86 | 0.0014565 | 0.00036503 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3256-8_0_3_load_82 | 87 | 0.0026255 | 0.00065802 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3256-8_0_3_load_83 | 88 | 0.0024403 | 0.0006116 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3256-8_0_3_load_84 | 89 | 0.0024811 | 0.00062183 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3256-8_0_3_load_85 | 90 | 0.0019499 | 0.0004887 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3256-8_0_3_load_91 | 91 | 0.00062835 | 0.00015748 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3256-8_0_3_load_86 | 92 | 0.0024461 | 0.00061305 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3256-8_0_3_load_87 | 93 | 0.0016298 | 0.00040846 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3256-8_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0033617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3256-8_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0048081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3256-8_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3256-8_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.034305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3256-8_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.01994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3256-8_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.031179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3256-8_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0016168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3256-8_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.028039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3256-8_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.0077039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3256-8_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.026616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3256-8_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.017763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3256-8_0_3_line_11 | NAYY 4x150 SE | 9 | 73 | 0.0069178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3256-8_0_3_line_12 | NAYY 4x150 SE | 11 | 66 | 0.0016066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3256-8_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.0021166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3256-8_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.0016578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3256-8_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.011526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3256-8_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.02622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3256-8_0_3_line_17 | NAYY 4x150 SE | 16 | 20 | 0.019267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3256-8_0_3_line_18 | NAYY 4x150 SE | 16 | 21 | 0.011549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3256-8_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.018824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3256-8_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.014479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3256-8_0_3_line_21 | NAYY 4x150 SE | 18 | 22 | 0.020065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3256-8_0_3_line_22 | NAYY 4x150 SE | 20 | 23 | 0.01042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_3256-8_0_3_line_23 | NAYY 4x150 SE | 20 | 24 | 0.019495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_3256-8_0_3_line_24 | NAYY 4x150 SE | 20 | 25 | 0.029537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3256-8_0_3_line_25 | NAYY 4x150 SE | 21 | 26 | 0.01136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3256-8_0_3_line_26 | NAYY 4x150 SE | 22 | 33 | 0.016485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3256-8_0_3_line_27 | NAYY 4x150 SE | 23 | 27 | 0.0251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_3256-8_0_3_line_28 | NAYY 4x150 SE | 24 | 28 | 0.020151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_3256-8_0_3_line_29 | NAYY 4x150 SE | 25 | 29 | 0.0036452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3256-8_0_3_line_30 | NAYY 4x150 SE | 26 | 30 | 0.011303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3256-8_0_3_line_31 | NAYY 4x150 SE | 27 | 31 | 0.0057511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_3256-8_0_3_line_32 | NAYY 4x150 SE | 28 | 32 | 0.0074724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_3256-8_0_3_line_33 | NAYY 4x150 SE | 30 | 67 | 0.0047878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3256-8_0_3_line_34 | NAYY 4x150 SE | 31 | 39 | 0.032017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_3256-8_0_3_line_35 | NAYY 4x150 SE | 32 | 66 | 0.01514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_3256-8_0_3_line_36 | NAYY 4x150 SE | 33 | 69 | 0.023539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3256-8_0_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.027135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3256-8_0_3_line_38 | NAYY 4x150 SE | 34 | 36 | 0.011305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3256-8_0_3_line_39 | NAYY 4x150 SE | 35 | 37 | 0.014783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3256-8_0_3_line_40 | NAYY 4x150 SE | 36 | 38 | 0.024571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3256-8_0_3_line_41 | NAYY 4x150 SE | 36 | 39 | 0.017384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3256-8_0_3_line_42 | NAYY 4x150 SE | 37 | 40 | 0.0014058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3256-8_0_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.014739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3256-8_0_3_line_44 | NAYY 4x150 SE | 41 | 83 | 0.021414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3256-8_0_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.012279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3256-8_0_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.027887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3256-8_0_3_line_47 | NAYY 4x150 SE | 42 | 45 | 0.046312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3256-8_0_3_line_48 | NAYY 4x150 SE | 43 | 46 | 0.014121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3256-8_0_3_line_49 | NAYY 4x150 SE | 44 | 48 | 0.0028767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3256-8_0_3_line_50 | NAYY 4x150 SE | 44 | 49 | 0.022867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3256-8_0_3_line_51 | NAYY 4x150 SE | 45 | 50 | 0.026324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3256-8_0_3_line_52 | NAYY 4x150 SE | 46 | 47 | 0.031436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3256-8_0_3_line_53 | NAYY 4x150 SE | 47 | 51 | 0.0093731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3256-8_0_3_line_54 | NAYY 4x150 SE | 50 | 52 | 0.01969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3256-8_0_3_line_55 | NAYY 4x150 SE | 51 | 55 | 0.03672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3256-8_0_3_line_56 | NAYY 4x150 SE | 51 | 56 | 0.011357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3256-8_0_3_line_57 | NAYY 4x150 SE | 52 | 53 | 0.018332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3256-8_0_3_line_58 | NAYY 4x150 SE | 53 | 54 | 0.021073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3256-8_0_3_line_59 | NAYY 4x150 SE | 54 | 84 | 0.06166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3256-8_0_3_line_60 | NAYY 4x150 SE | 55 | 57 | 0.0029584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3256-8_0_3_line_61 | NAYY 4x150 SE | 56 | 58 | 0.0047462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3256-8_0_3_line_62 | NAYY 4x150 SE | 57 | 59 | 0.024359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3256-8_0_3_line_63 | NAYY 4x150 SE | 58 | 60 | 0.018086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3256-8_0_3_line_64 | NAYY 4x150 SE | 59 | 61 | 0.0001461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3256-8_0_3_line_65 | NAYY 4x150 SE | 60 | 80 | 0.010313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3256-8_0_3_line_66 | NAYY 4x150 SE | 61 | 62 | 0.037183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3256-8_0_3_line_67 | NAYY 4x150 SE | 62 | 63 | 0.035523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3256-8_0_3_line_68 | NAYY 4x150 SE | 62 | 64 | 0.042676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3256-8_0_3_line_69 | NAYY 4x150 SE | 64 | 65 | 0.046173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3256-8_0_3_line_70 | NAYY 4x150 SE | 68 | 69 | 0.027645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3256-8_0_3_line_71 | NAYY 4x150 SE | 69 | 70 | 0.022663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3256-8_0_3_line_72 | NAYY 4x150 SE | 70 | 71 | 0.030494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3256-8_0_3_line_73 | NAYY 4x150 SE | 71 | 72 | 0.0098239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3256-8_0_3_line_74 | NAYY 4x150 SE | 72 | 91 | 0.0032349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3256-8_0_3_line_75 | NAYY 4x150 SE | 73 | 74 | 0.018977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3256-8_0_3_line_76 | NAYY 4x150 SE | 74 | 75 | 0.001361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3256-8_0_3_line_77 | NAYY 4x150 SE | 75 | 76 | 0.041152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3256-8_0_3_line_78 | NAYY 4x150 SE | 76 | 77 | 0.033529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3256-8_0_3_line_79 | NAYY 4x150 SE | 77 | 78 | 0.010083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3256-8_0_3_line_80 | NAYY 4x150 SE | 78 | 79 | 0.020212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3256-8_0_3_line_81 | NAYY 4x150 SE | 79 | 93 | 0.003124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3256-8_0_3_line_82 | NAYY 4x150 SE | 80 | 81 | 0.024884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3256-8_0_3_line_83 | NAYY 4x150 SE | 81 | 82 | 0.0017769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3256-8_0_3_line_84 | NAYY 4x150 SE | 82 | 83 | 0.022745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3256-8_0_3_line_85 | NAYY 4x150 SE | 85 | 86 | 0.001144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3256-8_0_3_line_86 | NAYY 4x150 SE | 85 | 87 | 0.009445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3256-8_0_3_line_87 | NAYY 4x150 SE | 86 | 88 | 0.010885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3256-8_0_3_line_88 | NAYY 4x150 SE | 87 | 89 | 0.016723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3256-8_0_3_line_89 | NAYY 4x150 SE | 88 | 90 | 0.010356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3256-8_0_3_line_90 | NAYY 4x150 SE | 89 | 91 | 0.01124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3256-8_0_3_line_91 | NAYY 4x150 SE | 90 | 92 | 0.012998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3256-8_0_3_line_92 | NAYY 4x150 SE | 92 | 93 | 0.017211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3256-8_0_3_trafo_50 | 0.25 MVA 20/0.4 kV | 94 | 66 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2758743.687 | 1240188.8965 | 2758745.4075 | 1240191.7846
1 | 2758743.687 | 1240188.8965 | 2758741.2263 | 1240184.7658
2 | 2758751.2933 | 1240201.6647 | 2758745.4075 | 1240191.7846
3 | 2758741.2263 | 1240184.7658 | 2758723.6691 | 1240155.2936
4 | 2758751.2933 | 1240201.6647 | 2758760.4952 | 1240216.9034 | 2758761.5384 | 1240218.7697
5 | 2758751.2933 | 1240201.6647 | 2758777.5591 | 1240184.8642
6 | 2758722.8416 | 1240153.9046 | 2758723.6691 | 1240155.2936
7 | 2758775.2187 | 1240243.2449 | 2758761.5384 | 1240218.7697
8 | 2758722.8416 | 1240153.9046 | 2758718.8988 | 1240147.286
9 | 2758775.2187 | 1240243.2449 | 2758752.6448 | 1240257.3461
10 | 2758775.2187 | 1240243.2449 | 2758784.5551 | 1240258.3566
11 | 2758718.8988 | 1240147.286 | 2758717.548 | 1240145.0185 | 2758715.363 | 1240141.3401
12 | 2758785.3995 | 1240259.7233 | 2758784.5551 | 1240258.3566
13 | 2758766.5155 | 1240343.0933 | 2758768.3393 | 1240342.0192
14 | 2758766.5155 | 1240343.0933 | 2758765.087 | 1240343.9346
15 | 2758768.3393 | 1240342.0192 | 2758778.2711 | 1240336.17
16 | 2758800.8644 | 1240322.8639 | 2758778.2711 | 1240336.17
17 | 2758817.5009 | 1240313.0661 | 2758800.8644 | 1240322.8639
18 | 2758800.8644 | 1240322.8639 | 2758792.2868 | 1240315.13
19 | 2758727.9229 | 1240365.8219 | 2758718.1941 | 1240349.7071
20 | 2758727.9229 | 1240365.8219 | 2758735.2963 | 1240378.2829
21 | 2758718.1941 | 1240349.7071 | 2758707.824 | 1240332.5299
22 | 2758817.5009 | 1240313.0661 | 2758825.7187 | 1240306.6598
23 | 2758817.5009 | 1240313.0661 | 2758807.5116 | 1240296.3249
24 | 2758817.5009 | 1240313.0661 | 2758822.4049 | 1240321.2274 | 2758832.7126 | 1240338.385
25 | 2758792.2868 | 1240315.13 | 2758783.8502 | 1240307.5231
26 | 2758699.3038 | 1240318.4171 | 2758707.824 | 1240332.5299
27 | 2758847.4999 | 1240294.3004 | 2758829.17 | 1240303.9693 | 2758825.7187 | 1240306.6598
28 | 2758797.1859 | 1240279.02 | 2758807.5116 | 1240296.3249
29 | 2758832.7126 | 1240338.385 | 2758834.5899 | 1240341.5097
30 | 2758776.4857 | 1240299.1727 | 2758778.0198 | 1240302.2662 | 2758783.8502 | 1240307.5231
31 | 2758847.4999 | 1240294.3004 | 2758852.5866 | 1240291.6171
32 | 2758793.357 | 1240272.6031 | 2758797.1859 | 1240279.02
33 | 2758776.4857 | 1240299.1727 | 2758774.3585 | 1240294.8833
34 | 2758852.5866 | 1240291.6171 | 2758852.5866 | 1240291.6171 | 2758879.6991 | 1240283.379 | 2758883.1089 | 1240281.9934
35 | 2758793.357 | 1240272.6031 | 2758785.3995 | 1240259.7233
36 | 2758687.1382 | 1240298.2659 | 2758699.3038 | 1240318.4171
37 | 2758895.7417 | 1240264.6901 | 2758882.8144 | 1240252.3877 | 2758878.7257 | 1240244.0462
38 | 2758899.2141 | 1240275.4491 | 2758895.7417 | 1240264.6901
39 | 2758878.7257 | 1240244.0462 | 2758872.2192 | 1240230.7722
40 | 2758899.2141 | 1240275.4491 | 2758922.0196 | 1240266.302
41 | 2758899.2141 | 1240275.4491 | 2758883.1089 | 1240281.9934
42 | 2758871.6004 | 1240229.5098 | 2758872.2192 | 1240230.7722
43 | 2758879.436 | 1240218.8115 | 2758874.1797 | 1240221.6378 | 2758871.513 | 1240225.1477 | 2758871.6004 | 1240229.5098 | 2758871.6004 | 1240229.5098
44 | 2758898.2961 | 1240208.6703 | 2758879.436 | 1240218.8115
45 | 2758980.9721 | 1240241.8494 | 2758970.509 | 1240235.4237
46 | 2758980.9721 | 1240241.8494 | 2758996.8783 | 1240253.3866 | 2759001.8769 | 1240259.9936
47 | 2758980.9721 | 1240241.8494 | 2759023.8626 | 1240224.3797
48 | 2758958.4758 | 1240228.0336 | 2758970.509 | 1240235.4237
49 | 2759001.8769 | 1240259.9936 | 2759003.5725 | 1240262.3175
50 | 2759001.8769 | 1240259.9936 | 2758991.9983 | 1240276.2338 | 2758990.679 | 1240279.8596
51 | 2759023.8626 | 1240224.3797 | 2759048.2422 | 1240214.4497
52 | 2758958.4758 | 1240228.0336 | 2758974.3923 | 1240200.9243
53 | 2758979.1379 | 1240192.8414 | 2758974.3923 | 1240200.9243
54 | 2759048.2422 | 1240214.4497 | 2759066.4779 | 1240207.0221
55 | 2758979.1379 | 1240192.8414 | 2758999.144 | 1240168.0196 | 2759002.3144 | 1240164.3633
56 | 2758979.1379 | 1240192.8414 | 2758969.4089 | 1240186.9817
57 | 2759083.4557 | 1240200.1068 | 2759066.4779 | 1240207.0221
58 | 2759102.9715 | 1240192.1579 | 2759083.4557 | 1240200.1068
59 | 2759102.9715 | 1240192.1579 | 2759141.0245 | 1240240.6752
60 | 2759004.2525 | 1240162.1282 | 2759002.3144 | 1240164.3633
61 | 2758965.3433 | 1240184.5329 | 2758969.4089 | 1240186.9817
62 | 2759004.2525 | 1240162.1282 | 2759020.2109 | 1240143.7241
63 | 2758948.9863 | 1240177.5192 | 2758955.5993 | 1240178.6641 | 2758965.3433 | 1240184.5329
64 | 2759020.3066 | 1240143.6137 | 2759020.2109 | 1240143.7241
65 | 2758939.7798 | 1240181.9001 | 2758944.1809 | 1240178.9475 | 2758948.9863 | 1240177.5192 | 2758948.9863 | 1240177.5192
66 | 2759044.6661 | 1240115.521 | 2759020.3066 | 1240143.6137
67 | 2759044.6661 | 1240115.521 | 2759066.1747 | 1240143.792
68 | 2759044.6661 | 1240115.521 | 2759027.4971 | 1240091.8047 | 2759019.6167 | 1240080.9164
69 | 2759019.6167 | 1240080.9164 | 2759004.8025 | 1240084.8012 | 2759000.4368 | 1240084.7843 | 2758994.0886 | 1240083.3573 | 2758976.7811 | 1240073.364
70 | 2758687.1382 | 1240298.2659 | 2758710.585 | 1240283.6195
71 | 2758687.1382 | 1240298.2659 | 2758684.9027 | 1240294.7138 | 2758680.6285 | 1240287.3257 | 2758675.6536 | 1240278.7308
72 | 2758660.3778 | 1240252.3394 | 2758675.6536 | 1240278.7308
73 | 2758658.7238 | 1240242.6557 | 2758660.3778 | 1240252.3394 | 2758660.3778 | 1240252.3394
74 | 2758658.7238 | 1240242.6557 | 2758658.2385 | 1240239.8145 | 2758658.1938 | 1240239.4648
75 | 2758715.363 | 1240141.3401 | 2758705.6713 | 1240125.0241
76 | 2758704.9763 | 1240123.854 | 2758705.6713 | 1240125.0241
77 | 2758684.8111 | 1240087.9879 | 2758698.1067 | 1240112.2892 | 2758704.9763 | 1240123.854
78 | 2758684.8111 | 1240087.9879 | 2758678.8404 | 1240093.3781 | 2758675.8051 | 1240098.2239 | 2758673.1473 | 1240116.1147 | 2758672.8282 | 1240117.7642
79 | 2758670.9129 | 1240127.6641 | 2758672.8282 | 1240117.7642
80 | 2758670.9129 | 1240127.6641 | 2758667.074 | 1240147.508
81 | 2758666.4806 | 1240150.5751 | 2758667.074 | 1240147.508
82 | 2758939.7798 | 1240181.9001 | 2758919.1149 | 1240195.7636
83 | 2758917.6393 | 1240196.7535 | 2758919.1149 | 1240195.7636
84 | 2758917.6393 | 1240196.7535 | 2758906.2556 | 1240204.3905 | 2758898.2961 | 1240208.6703
85 | 2758657.0051 | 1240202.2838 | 2758657.1022 | 1240201.1439
86 | 2758657.0051 | 1240202.2838 | 2758656.2032 | 1240211.6946
87 | 2758657.1022 | 1240201.1439 | 2758657.4206 | 1240197.4069 | 2758658.7757 | 1240190.4021
88 | 2758656.7675 | 1240228.3157 | 2758655.5788 | 1240219.0231 | 2758656.2032 | 1240211.6946
89 | 2758660.7428 | 1240180.2342 | 2758658.7757 | 1240190.4021
90 | 2758658.1938 | 1240239.4648 | 2758656.7675 | 1240228.3157
91 | 2758660.7428 | 1240180.2342 | 2758663.2115 | 1240167.4732
92 | 2758663.2115 | 1240167.4732 | 2758666.4806 | 1240150.5751

## bus_geodata
| x | y | coords
0 | 2758743.687 | 1240188.8965
1 | 2758745.4075 | 1240191.7846
2 | 2758741.2263 | 1240184.7658
3 | 2758751.2933 | 1240201.6647
4 | 2758723.6691 | 1240155.2936
5 | 2758761.5384 | 1240218.7697
6 | 2758777.5591 | 1240184.8642
7 | 2758722.8416 | 1240153.9046
8 | 2758775.2187 | 1240243.2449
9 | 2758718.8988 | 1240147.286
10 | 2758752.6448 | 1240257.3461
11 | 2758784.5551 | 1240258.3566
12 | 2758766.5155 | 1240343.0933
13 | 2758768.3393 | 1240342.0192
14 | 2758765.087 | 1240343.9346
15 | 2758778.2711 | 1240336.17
16 | 2758800.8644 | 1240322.8639
17 | 2758727.9229 | 1240365.8219
18 | 2758718.1941 | 1240349.7071
19 | 2758735.2963 | 1240378.2829
20 | 2758817.5009 | 1240313.0661
21 | 2758792.2868 | 1240315.13
22 | 2758707.824 | 1240332.5299
23 | 2758825.7187 | 1240306.6598
24 | 2758807.5116 | 1240296.3249
25 | 2758832.7126 | 1240338.385
26 | 2758783.8502 | 1240307.5231
27 | 2758847.4999 | 1240294.3004
28 | 2758797.1859 | 1240279.02
29 | 2758834.5899 | 1240341.5097
30 | 2758776.4857 | 1240299.1727
31 | 2758852.5866 | 1240291.6171
32 | 2758793.357 | 1240272.6031
33 | 2758699.3038 | 1240318.4171
34 | 2758895.7417 | 1240264.6901
35 | 2758878.7257 | 1240244.0462
36 | 2758899.2141 | 1240275.4491
37 | 2758872.2192 | 1240230.7722
38 | 2758922.0196 | 1240266.302
39 | 2758883.1089 | 1240281.9934
40 | 2758871.6004 | 1240229.5098
41 | 2758879.436 | 1240218.8115
42 | 2758980.9721 | 1240241.8494
43 | 2758970.509 | 1240235.4237
44 | 2759001.8769 | 1240259.9936
45 | 2759023.8626 | 1240224.3797
46 | 2758958.4758 | 1240228.0336
47 | 2758974.3923 | 1240200.9243
48 | 2759003.5725 | 1240262.3175
49 | 2758990.679 | 1240279.8596
50 | 2759048.2422 | 1240214.4497
51 | 2758979.1379 | 1240192.8414
52 | 2759066.4779 | 1240207.0221
53 | 2759083.4557 | 1240200.1068
54 | 2759102.9715 | 1240192.1579
55 | 2759002.3144 | 1240164.3633
56 | 2758969.4089 | 1240186.9817
57 | 2759004.2525 | 1240162.1282
58 | 2758965.3433 | 1240184.5329
59 | 2759020.2109 | 1240143.7241
60 | 2758948.9863 | 1240177.5192
61 | 2759020.3066 | 1240143.6137
62 | 2759044.6661 | 1240115.521
63 | 2759066.1747 | 1240143.792
64 | 2759019.6167 | 1240080.9164
65 | 2758976.7811 | 1240073.364
66 | 2758785.3995 | 1240259.7233
67 | 2758774.3585 | 1240294.8833
68 | 2758710.585 | 1240283.6195
69 | 2758687.1382 | 1240298.2659
70 | 2758675.6536 | 1240278.7308
71 | 2758660.3778 | 1240252.3394
72 | 2758658.7238 | 1240242.6557
73 | 2758715.363 | 1240141.3401
74 | 2758705.6713 | 1240125.0241
75 | 2758704.9763 | 1240123.854
76 | 2758684.8111 | 1240087.9879
77 | 2758672.8282 | 1240117.7642
78 | 2758670.9129 | 1240127.6641
79 | 2758667.074 | 1240147.508
80 | 2758939.7798 | 1240181.9001
81 | 2758919.1149 | 1240195.7636
82 | 2758917.6393 | 1240196.7535
83 | 2758898.2961 | 1240208.6703
84 | 2759141.0245 | 1240240.6752
85 | 2758657.0051 | 1240202.2838
86 | 2758657.1022 | 1240201.1439
87 | 2758656.2032 | 1240211.6946
88 | 2758658.7757 | 1240190.4021
89 | 2758656.7675 | 1240228.3157
90 | 2758660.7428 | 1240180.2342
91 | 2758658.1938 | 1240239.4648
92 | 2758663.2115 | 1240167.4732
93 | 2758666.4806 | 1240150.5751
94 | 2758793.357 | 1240272.6031

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1