## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3274-12_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3274-12_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3274-12_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3274-12_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3274-12_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3274-12_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3274-12_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3274-12_0_3_node_51 | 0.4 | n |  | TRUE
8 | bus_LV_3274-12_0_3_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_3274-12_0_3_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_3274-12_0_3_node_57 | 0.4 | n |  | TRUE
11 | bus_LV_3274-12_0_3_node_58 | 0.4 | n |  | TRUE
12 | bus_LV_3274-12_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_3274-12_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3274-12_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3274-12_0_3_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_3274-12_0_3_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_3274-12_0_3_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_3274-12_0_3_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_3274-12_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_3274-12_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_3274-12_0_3_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_3274-12_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_3274-12_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_3274-12_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_3274-12_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_3274-12_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_3274-12_0_3_node_90 | 0.4 | n |  | TRUE
28 | bus_LV_3274-12_0_3_node_93 | 0.4 | n |  | TRUE
29 | bus_LV_3274-12_0_3_node_98 | 0.4 | n |  | TRUE
30 | bus_LV_3274-12_0_3_node_91 | 0.4 | n |  | TRUE
31 | bus_LV_3274-12_0_3_node_96 | 0.4 | n |  | TRUE
32 | bus_LV_3274-12_0_3_node_135 | 0.4 | n |  | TRUE
33 | bus_LV_3274-12_0_3_node_136 | 0.4 | n |  | TRUE
34 | bus_LV_3274-12_0_3_node_133 | 0.4 | n |  | TRUE
35 | bus_LV_3274-12_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_3274-12_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_3274-12_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_3274-12_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_3274-12_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_3274-12_0_3_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_3274-12_0_3_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_3274-12_0_3_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_3274-12_0_3_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_3274-12_0_3_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_3274-12_0_3_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_3274-12_0_3_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_3274-12_0_3_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_3274-12_0_3_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_3274-12_0_3_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_3274-12_0_3_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_3274-12_0_3_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_3274-12_0_3_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_3274-12_0_3_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_3274-12_0_3_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_3274-12_0_3_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_3274-12_0_3_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_3274-12_0_3_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_3274-12_0_3_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_3274-12_0_3_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_3274-12_0_3_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_3274-12_0_3_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_3274-12_0_3_node_152 | 0.4 | n |  | TRUE
63 | bus_LV_3274-12_0_3_node_72 | 0.4 | n |  | TRUE
64 | bus_LV_3274-12_0_3_node_68 | 0.4 | n |  | TRUE
65 | bus_LV_3274-12_0_3_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_3274-12_0_3_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_3274-12_0_3_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_3274-12_0_3_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_3274-12_0_3_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_3274-12_0_3_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_3274-12_0_3_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_3274-12_0_3_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_3274-12_0_3_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_3274-12_0_3_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_3274-12_0_3_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_3274-12_0_3_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_3274-12_0_3_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_3274-12_0_3_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_3274-12_0_3_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_3274-12_0_3_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_3274-12_0_3_node_154 | 0.4 | n |  | TRUE
82 | bus_LV_3274-12_0_3_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_3274-12_0_3_node_74 | 0.4 | n |  | TRUE
84 | bus_LV_3274-12_0_3_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_3274-12_0_3_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_3274-12_0_3_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_3274-12_0_3_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_3274-12_0_3_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_3274-12_0_3_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_3274-12_0_3_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_3274-12_0_3_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_3274-12_0_3_node_83 | 0.4 | n |  | TRUE
93 | bus_LV_3274-12_0_3_node_84 | 0.4 | n |  | TRUE
94 | bus_LV_3274-12_0_3_node_102 | 0.4 | n |  | TRUE
95 | bus_LV_3274-12_0_3_node_99 | 0.4 | n |  | TRUE
96 | bus_LV_3274-12_0_3_node_100 | 0.4 | n |  | TRUE
97 | bus_LV_3274-12_0_3_node_87 | 0.4 | n |  | TRUE
98 | bus_LV_3274-12_0_3_node_88 | 0.4 | n |  | TRUE
99 | bus_LV_3274-12_0_3_node_89 | 0.4 | n |  | TRUE
100 | bus_LV_3274-12_0_3_node_92 | 0.4 | n |  | TRUE
101 | bus_LV_3274-12_0_3_node_153 | 0.4 | n |  | TRUE
102 | bus_LV_3274-12_0_3_node_94 | 0.4 | n |  | TRUE
103 | bus_LV_3274-12_0_3_node_95 | 0.4 | n |  | TRUE
104 | bus_LV_3274-12_0_3_node_97 | 0.4 | n |  | TRUE
105 | bus_LV_3274-12_0_3_node_117 | 0.4 | n |  | TRUE
106 | bus_LV_3274-12_0_3_node_105 | 0.4 | n |  | TRUE
107 | bus_LV_3274-12_0_3_node_118 | 0.4 | n |  | TRUE
108 | bus_LV_3274-12_0_3_node_103 | 0.4 | n |  | TRUE
109 | bus_LV_3274-12_0_3_node_101 | 0.4 | n |  | TRUE
110 | bus_LV_3274-12_0_3_node_104 | 0.4 | n |  | TRUE
111 | bus_LV_3274-12_0_3_node_112 | 0.4 | n |  | TRUE
112 | bus_LV_3274-12_0_3_node_116 | 0.4 | n |  | TRUE
113 | bus_LV_3274-12_0_3_node_110 | 0.4 | n |  | TRUE
114 | bus_LV_3274-12_0_3_node_106 | 0.4 | n |  | TRUE
115 | bus_LV_3274-12_0_3_node_107 | 0.4 | n |  | TRUE
116 | bus_LV_3274-12_0_3_node_108 | 0.4 | n |  | TRUE
117 | bus_LV_3274-12_0_3_node_113 | 0.4 | n |  | TRUE
118 | bus_LV_3274-12_0_3_node_111 | 0.4 | n |  | TRUE
119 | bus_LV_3274-12_0_3_node_124 | 0.4 | n |  | TRUE
120 | bus_LV_3274-12_0_3_node_132 | 0.4 | n |  | TRUE
121 | bus_LV_3274-12_0_3_node_114 | 0.4 | n |  | TRUE
122 | bus_LV_3274-12_0_3_node_115 | 0.4 | n |  | TRUE
123 | bus_LV_3274-12_0_3_node_151 | 0.4 | n |  | TRUE
124 | bus_LV_3274-12_0_3_node_120 | 0.4 | n |  | TRUE
125 | bus_LV_3274-12_0_3_node_122 | 0.4 | n |  | TRUE
126 | bus_LV_3274-12_0_3_node_131 | 0.4 | n |  | TRUE
127 | bus_LV_3274-12_0_3_node_123 | 0.4 | n |  | TRUE
128 | bus_LV_3274-12_0_3_node_127 | 0.4 | n |  | TRUE
129 | bus_LV_3274-12_0_3_node_121 | 0.4 | n |  | TRUE
130 | bus_LV_3274-12_0_3_node_119 | 0.4 | n |  | TRUE
131 | bus_LV_3274-12_0_3_node_150 | 0.4 | n |  | TRUE
132 | bus_LV_3274-12_0_3_node_148 | 0.4 | n |  | TRUE
133 | bus_LV_3274-12_0_3_node_129 | 0.4 | n |  | TRUE
134 | bus_LV_3274-12_0_3_node_125 | 0.4 | n |  | TRUE
135 | bus_LV_3274-12_0_3_node_126 | 0.4 | n |  | TRUE
136 | bus_LV_3274-12_0_3_node_128 | 0.4 | n |  | TRUE
137 | bus_LV_3274-12_0_3_node_130 | 0.4 | n |  | TRUE
138 | bus_LV_3274-12_0_3_node_134 | 0.4 | n |  | TRUE
139 | bus_LV_3274-12_0_3_node_137 | 0.4 | n |  | TRUE
140 | bus_LV_3274-12_0_3_node_138 | 0.4 | n |  | TRUE
141 | bus_LV_3274-12_0_3_node_139 | 0.4 | n |  | TRUE
142 | bus_LV_3274-12_0_3_node_140 | 0.4 | n |  | TRUE
143 | bus_LV_3274-12_0_3_node_142 | 0.4 | n |  | TRUE
144 | bus_LV_3274-12_0_3_node_143 | 0.4 | n |  | TRUE
145 | bus_LV_3274-12_0_3_node_144 | 0.4 | n |  | TRUE
146 | bus_LV_3274-12_0_3_node_145 | 0.4 | n |  | TRUE
147 | bus_LV_3274-12_0_3_node_146 | 0.4 | n |  | TRUE
148 | bus_LV_3274-12_0_3_node_147 | 0.4 | n |  | TRUE
149 | bus_LV_3274-12_0_3_node_149 | 0.4 | n |  | TRUE
150 | bus_MV_49_1_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3274-12_0_3_load_0 | 0 | 0.0014875 | 0.0003728 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3274-12_0_3_load_1 | 1 | 0.0017033 | 0.00042688 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3274-12_0_3_load_2 | 2 | 0.0021713 | 0.00054418 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3274-12_0_3_load_3 | 3 | 0.0017916 | 0.00044901 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3274-12_0_3_load_5 | 5 | 0.002317 | 0.0005807 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3274-12_0_3_load_6 | 6 | 0.0023413 | 0.00058679 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3274-12_0_3_load_51 | 7 | 0.0014055 | 0.00035226 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3274-12_0_3_load_57 | 10 | 0.0013031 | 0.00032659 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3274-12_0_3_load_58 | 11 | 0.00082079 | 0.00020571 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3274-12_0_3_load_7 | 12 | 0.0015758 | 0.00039494 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3274-12_0_3_load_21 | 16 | 0.00080098 | 0.00020075 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3274-12_0_3_load_22 | 17 | 0.0021337 | 0.00053476 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3274-12_0_3_load_19 | 18 | 0.0010075 | 0.0002525 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3274-12_0_3_load_17 | 19 | 0.00086838 | 0.00021764 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3274-12_0_3_load_18 | 20 | 0.0011964 | 0.00029985 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3274-12_0_3_load_10 | 21 | 0.00097533 | 0.00024444 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3274-12_0_3_load_16 | 23 | 0.00025235 | 6.3244e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3274-12_0_3_load_12 | 24 | 0.0014197 | 0.00035581 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3274-12_0_3_load_13 | 25 | 0.0040422 | 0.0010131 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3274-12_0_3_load_14 | 26 | 0.00057678 | 0.00014455 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3274-12_0_3_load_90 | 27 | 0.005862 | 0.0014692 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3274-12_0_3_load_93 | 28 | 0.0026033 | 0.00065244 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3274-12_0_3_load_98 | 29 | 0.00081388 | 0.00020398 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3274-12_0_3_load_135 | 32 | 0.00046517 | 0.00011658 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3274-12_0_3_load_136 | 33 | 0.0012475 | 0.00031266 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3274-12_0_3_load_133 | 34 | 0.00058107 | 0.00014563 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3274-12_0_3_load_23 | 35 | 0.00061807 | 0.0001549 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3274-12_0_3_load_26 | 37 | 0.00099263 | 0.00024878 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3274-12_0_3_load_31 | 38 | 0.00037636 | 9.4325e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3274-12_0_3_load_27 | 40 | 0.0010726 | 0.00026883 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3274-12_0_3_load_28 | 41 | 0.00034361 | 8.6117e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3274-12_0_3_load_30 | 42 | 0.00045992 | 0.00011527 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3274-12_0_3_load_33 | 44 | 0.00031704 | 7.9458e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3274-12_0_3_load_34 | 45 | 0.00041654 | 0.00010439 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3274-12_0_3_load_35 | 46 | 0.00064975 | 0.00016284 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3274-12_0_3_load_55 | 48 | 0.0015876 | 0.00039789 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3274-12_0_3_load_38 | 50 | 0.013619 | 0.0034133 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3274-12_0_3_load_48 | 51 | 0.0018349 | 0.00045987 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3274-12_0_3_load_46 | 52 | 0.0017085 | 0.00042818 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3274-12_0_3_load_39 | 53 | 0.0049875 | 0.00125 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3274-12_0_3_load_40 | 54 | 0.0022459 | 0.00056289 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3274-12_0_3_load_42 | 56 | 0.0030597 | 0.00076682 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3274-12_0_3_load_44 | 58 | 0.0014031 | 0.00035166 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3274-12_0_3_load_45 | 59 | 0.00679 | 0.0017017 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3274-12_0_3_load_71 | 60 | 0.0008554 | 0.00021438 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3274-12_0_3_load_67 | 61 | 0.0016079 | 0.00040298 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3274-12_0_3_load_152 | 62 | 0.0022123 | 0.00055445 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3274-12_0_3_load_72 | 63 | 0.0011205 | 0.00028082 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3274-12_0_3_load_47 | 65 | 0.0016325 | 0.00040915 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3274-12_0_3_load_52 | 67 | 0.0014136 | 0.00035427 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3274-12_0_3_load_53 | 68 | 0.0016686 | 0.00041819 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3274-12_0_3_load_59 | 69 | 0.0025599 | 0.00064156 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3274-12_0_3_load_60 | 70 | 0.0017194 | 0.00043093 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3274-12_0_3_load_61 | 71 | 0.0013346 | 0.00033448 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3274-12_0_3_load_65 | 73 | 0.0024571 | 0.0006158 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3274-12_0_3_load_66 | 74 | 0.0012406 | 0.00031091 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3274-12_0_3_load_63 | 75 | 0.00057917 | 0.00014515 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3274-12_0_3_load_62 | 76 | 0.001715 | 0.00042983 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3274-12_0_3_load_75 | 77 | 0.0022049 | 0.00055259 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3274-12_0_3_load_70 | 78 | 0.002177 | 0.00054562 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3274-12_0_3_load_76 | 79 | 0.00086051 | 0.00021566 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3274-12_0_3_load_154 | 81 | 0.0027493 | 0.00068903 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3274-12_0_3_load_73 | 82 | 0.00082559 | 0.00020691 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3274-12_0_3_load_74 | 83 | 0.00085689 | 0.00021476 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3274-12_0_3_load_77 | 84 | 0.00097567 | 0.00024453 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3274-12_0_3_load_78 | 85 | 0.00079053 | 0.00019813 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3274-12_0_3_load_81 | 88 | 0.00066669 | 0.00016709 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3274-12_0_3_load_85 | 89 | 0.00062213 | 0.00015592 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3274-12_0_3_load_82 | 90 | 0.00079054 | 0.00019813 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3274-12_0_3_load_86 | 91 | 0.0015061 | 0.00037745 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3274-12_0_3_load_83 | 92 | 0.00084605 | 0.00021204 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3274-12_0_3_load_102 | 94 | 0.0055667 | 0.0013952 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3274-12_0_3_load_99 | 95 | 0.0074095 | 0.001857 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3274-12_0_3_load_100 | 96 | 0.0013948 | 0.00034956 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3274-12_0_3_load_87 | 97 | 0.00055281 | 0.00013855 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3274-12_0_3_load_88 | 98 | 0.0015066 | 0.0003776 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3274-12_0_3_load_89 | 99 | 0.0057819 | 0.0014491 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3274-12_0_3_load_92 | 100 | 0.005616 | 0.0014075 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3274-12_0_3_load_153 | 101 | 0.0013026 | 0.00032647 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3274-12_0_3_load_94 | 102 | 0.002131 | 0.00053408 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3274-12_0_3_load_95 | 103 | 0.0010911 | 0.00027346 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3274-12_0_3_load_117 | 105 | 0.0020877 | 0.00052322 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3274-12_0_3_load_105 | 106 | 0.0050474 | 0.001265 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3274-12_0_3_load_101 | 109 | 0.0023658 | 0.00059293 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3274-12_0_3_load_104 | 110 | 0.010851 | 0.0027194 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3274-12_0_3_load_116 | 112 | 0.0022027 | 0.00055206 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3274-12_0_3_load_106 | 114 | 0.00062588 | 0.00015686 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3274-12_0_3_load_107 | 115 | 0.0051687 | 0.0012954 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3274-12_0_3_load_108 | 116 | 0.0029222 | 0.00073238 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3274-12_0_3_load_113 | 117 | 0.003738 | 0.00093683 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3274-12_0_3_load_124 | 119 | 0.0036521 | 0.00091531 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3274-12_0_3_load_114 | 121 | 0.00086114 | 0.00021582 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3274-12_0_3_load_151 | 123 | 0.0034119 | 0.0008551 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3274-12_0_3_load_120 | 124 | 0.0006889 | 0.00017265 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3274-12_0_3_load_131 | 126 | 0.0020437 | 0.0005122 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3274-12_0_3_load_123 | 127 | 0.00061491 | 0.00015411 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3274-12_0_3_load_121 | 129 | 0.00071339 | 0.00017879 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_3274-12_0_3_load_119 | 130 | 0.00092959 | 0.00023298 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_3274-12_0_3_load_150 | 131 | 0.0016963 | 0.00042513 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_3274-12_0_3_load_148 | 132 | 0.0014855 | 0.0003723 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_3274-12_0_3_load_125 | 134 | 0.00078897 | 0.00019773 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_3274-12_0_3_load_126 | 135 | 0.0011423 | 0.00028628 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_3274-12_0_3_load_128 | 136 | 0.0028656 | 0.00071818 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_3274-12_0_3_load_130 | 137 | 0.00018641 | 4.672e-05 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_3274-12_0_3_load_134 | 138 | 0.00075957 | 0.00019037 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_3274-12_0_3_load_137 | 139 | 0.0038565 | 0.00096654 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_3274-12_0_3_load_138 | 140 | 0.00088918 | 0.00022285 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_3274-12_0_3_load_140 | 142 | 0.001444 | 0.00036191 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_3274-12_0_3_load_142 | 143 | 0.00057258 | 0.0001435 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_3274-12_0_3_load_143 | 144 | 0.0033434 | 0.00083794 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_3274-12_0_3_load_144 | 145 | 0.0020703 | 0.00051887 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_3274-12_0_3_load_145 | 146 | 0.0017886 | 0.00044826 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_3274-12_0_3_load_149 | 149 | 0.0015492 | 0.00038827 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 90 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3274-12_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0035403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3274-12_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0020718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3274-12_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.015154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3274-12_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.013479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3274-12_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.039219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3274-12_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.032103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3274-12_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.025664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3274-12_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0040703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3274-12_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.012306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3274-12_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.04137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3274-12_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.018739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3274-12_0_3_line_11 | NAYY 4x150 SE | 9 | 67 | 0.0049488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3274-12_0_3_line_12 | NAYY 4x150 SE | 9 | 66 | 0.036393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3274-12_0_3_line_13 | NAYY 4x150 SE | 11 | 69 | 0.006766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3274-12_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.02184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3274-12_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.051164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3274-12_0_3_line_16 | NAYY 4x150 SE | 14 | 19 | 0.059272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3274-12_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.03028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3274-12_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.026396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3274-12_0_3_line_19 | NAYY 4x150 SE | 15 | 18 | 0.094538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3274-12_0_3_line_20 | NAYY 4x150 SE | 16 | 32 | 0.015182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3274-12_0_3_line_21 | NAYY 4x150 SE | 17 | 33 | 0.04633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3274-12_0_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.026809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3274-12_0_3_line_23 | NAYY 4x150 SE | 19 | 20 | 0.024289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3274-12_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.074922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3274-12_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.12105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3274-12_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.039853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_3274-12_0_3_line_27 | NAYY 4x150 SE | 22 | 25 | 0.040354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3274-12_0_3_line_28 | NAYY 4x150 SE | 22 | 26 | 0.022878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_3274-12_0_3_line_29 | NAYY 4x150 SE | 24 | 27 | 0.0048235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_3274-12_0_3_line_30 | NAYY 4x150 SE | 25 | 28 | 0.035197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3274-12_0_3_line_31 | NAYY 4x150 SE | 26 | 29 | 0.03784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_3274-12_0_3_line_32 | NAYY 4x150 SE | 27 | 30 | 0.017432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_3274-12_0_3_line_33 | NAYY 4x150 SE | 29 | 31 | 0.0080068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_3274-12_0_3_line_34 | NAYY 4x150 SE | 30 | 100 | 0.019105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3274-12_0_3_line_35 | NAYY 4x150 SE | 30 | 99 | 0.013482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_3274-12_0_3_line_36 | NAYY 4x150 SE | 31 | 102 | 0.020272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_3274-12_0_3_line_37 | NAYY 4x150 SE | 32 | 34 | 0.0023244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3274-12_0_3_line_38 | NAYY 4x150 SE | 34 | 133 | 0.031946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3274-12_0_3_line_39 | NAYY 4x150 SE | 35 | 36 | 0.014588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3274-12_0_3_line_40 | NAYY 4x150 SE | 36 | 37 | 0.020179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3274-12_0_3_line_41 | NAYY 4x150 SE | 37 | 38 | 0.029744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3274-12_0_3_line_42 | NAYY 4x150 SE | 38 | 39 | 0.0070633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3274-12_0_3_line_43 | NAYY 4x150 SE | 39 | 42 | 0.01889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3274-12_0_3_line_44 | NAYY 4x150 SE | 39 | 41 | 0.04436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3274-12_0_3_line_45 | NAYY 4x150 SE | 40 | 41 | 0.015579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3274-12_0_3_line_46 | NAYY 4x150 SE | 42 | 43 | 0.02434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3274-12_0_3_line_47 | NAYY 4x150 SE | 43 | 44 | 0.062287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3274-12_0_3_line_48 | NAYY 4x150 SE | 43 | 45 | 0.02393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3274-12_0_3_line_49 | NAYY 4x150 SE | 44 | 46 | 0.18835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3274-12_0_3_line_50 | NAYY 4x150 SE | 46 | 47 | 0.082663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3274-12_0_3_line_51 | NAYY 4x150 SE | 47 | 48 | 0.16941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3274-12_0_3_line_52 | NAYY 4x150 SE | 48 | 49 | 0.023178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3274-12_0_3_line_53 | NAYY 4x150 SE | 49 | 68 | 0.022202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3274-12_0_3_line_54 | NAYY 4x150 SE | 50 | 51 | 0.076285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3274-12_0_3_line_55 | NAYY 4x150 SE | 51 | 52 | 0.0083908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3274-12_0_3_line_56 | NAYY 4x150 SE | 52 | 65 | 0.0040013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3274-12_0_3_line_57 | NAYY 4x150 SE | 53 | 54 | 0.009684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3274-12_0_3_line_58 | NAYY 4x150 SE | 53 | 55 | 0.0092768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3274-12_0_3_line_59 | NAYY 4x150 SE | 54 | 56 | 0.063553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3274-12_0_3_line_60 | NAYY 4x150 SE | 55 | 57 | 0.046231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3274-12_0_3_line_61 | NAYY 4x150 SE | 55 | 58 | 0.036198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3274-12_0_3_line_62 | NAYY 4x150 SE | 56 | 59 | 0.029684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3274-12_0_3_line_63 | NAYY 4x150 SE | 57 | 60 | 0.017086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3274-12_0_3_line_64 | NAYY 4x150 SE | 57 | 61 | 0.038202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3274-12_0_3_line_65 | NAYY 4x150 SE | 59 | 62 | 0.013878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3274-12_0_3_line_66 | NAYY 4x150 SE | 60 | 63 | 0.002913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3274-12_0_3_line_67 | NAYY 4x150 SE | 61 | 64 | 0.034201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3274-12_0_3_line_68 | NAYY 4x150 SE | 63 | 82 | 0.012532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3274-12_0_3_line_69 | NAYY 4x150 SE | 64 | 80 | 0.009738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3274-12_0_3_line_70 | NAYY 4x150 SE | 64 | 78 | 0.029069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3274-12_0_3_line_71 | NAYY 4x150 SE | 65 | 66 | 0.070946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3274-12_0_3_line_72 | NAYY 4x150 SE | 67 | 68 | 0.030558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3274-12_0_3_line_73 | NAYY 4x150 SE | 69 | 70 | 0.014706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3274-12_0_3_line_74 | NAYY 4x150 SE | 70 | 71 | 0.024853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3274-12_0_3_line_75 | NAYY 4x150 SE | 71 | 72 | 0.012834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3274-12_0_3_line_76 | NAYY 4x150 SE | 72 | 73 | 0.010094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3274-12_0_3_line_77 | NAYY 4x150 SE | 72 | 74 | 0.030665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3274-12_0_3_line_78 | NAYY 4x150 SE | 72 | 75 | 0.025685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3274-12_0_3_line_79 | NAYY 4x150 SE | 73 | 77 | 0.01043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3274-12_0_3_line_80 | NAYY 4x150 SE | 74 | 78 | 0.02738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3274-12_0_3_line_81 | NAYY 4x150 SE | 75 | 76 | 0.028231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3274-12_0_3_line_82 | NAYY 4x150 SE | 77 | 79 | 0.025169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3274-12_0_3_line_83 | NAYY 4x150 SE | 79 | 84 | 0.019204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3274-12_0_3_line_84 | NAYY 4x150 SE | 80 | 81 | 0.0353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3274-12_0_3_line_85 | NAYY 4x150 SE | 82 | 83 | 0.0049121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3274-12_0_3_line_86 | NAYY 4x150 SE | 84 | 85 | 0.0036518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3274-12_0_3_line_87 | NAYY 4x150 SE | 85 | 86 | 0.021682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3274-12_0_3_line_88 | NAYY 4x150 SE | 86 | 87 | 0.013767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
89 | LV_3274-12_0_3_line_89 | NAYY 4x150 SE | 86 | 88 | 0.040126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3274-12_0_3_line_90 | NAYY 4x150 SE | 87 | 89 | 0.0028709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
91 | LV_3274-12_0_3_line_91 | NAYY 4x150 SE | 87 | 90 | 0.0141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
92 | LV_3274-12_0_3_line_92 | NAYY 4x150 SE | 89 | 91 | 0.017165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
93 | LV_3274-12_0_3_line_93 | NAYY 4x150 SE | 91 | 97 | 0.0043677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
94 | LV_3274-12_0_3_line_94 | NAYY 4x150 SE | 92 | 93 | 0.022092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3274-12_0_3_line_95 | NAYY 4x150 SE | 93 | 94 | 0.023803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3274-12_0_3_line_96 | NAYY 4x150 SE | 93 | 95 | 0.016366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3274-12_0_3_line_97 | NAYY 4x150 SE | 95 | 96 | 0.024827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3274-12_0_3_line_98 | NAYY 4x150 SE | 96 | 109 | 0.0053455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_3274-12_0_3_line_99 | NAYY 4x150 SE | 97 | 98 | 0.024174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
100 | LV_3274-12_0_3_line_100 | NAYY 4x150 SE | 98 | 99 | 0.025457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
101 | LV_3274-12_0_3_line_101 | NAYY 4x150 SE | 100 | 101 | 0.018837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_3274-12_0_3_line_102 | NAYY 4x150 SE | 102 | 103 | 0.00063437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
103 | LV_3274-12_0_3_line_103 | NAYY 4x150 SE | 103 | 104 | 0.029153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
104 | LV_3274-12_0_3_line_104 | NAYY 4x150 SE | 104 | 105 | 0.012372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_3274-12_0_3_line_105 | NAYY 4x150 SE | 104 | 106 | 0.037132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
106 | LV_3274-12_0_3_line_106 | NAYY 4x150 SE | 105 | 107 | 0.021537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_3274-12_0_3_line_107 | NAYY 4x150 SE | 106 | 108 | 0.012005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_3274-12_0_3_line_108 | NAYY 4x150 SE | 107 | 130 | 0.021901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_3274-12_0_3_line_109 | NAYY 4x150 SE | 108 | 110 | 0.01327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_3274-12_0_3_line_110 | NAYY 4x150 SE | 108 | 109 | 0.019244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_3274-12_0_3_line_111 | NAYY 4x150 SE | 110 | 111 | 0.0067357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_3274-12_0_3_line_112 | NAYY 4x150 SE | 111 | 112 | 0.012084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_3274-12_0_3_line_113 | NAYY 4x150 SE | 111 | 113 | 0.016536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_3274-12_0_3_line_114 | NAYY 4x150 SE | 112 | 124 | 0.016537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_3274-12_0_3_line_115 | NAYY 4x150 SE | 113 | 117 | 0.011245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_3274-12_0_3_line_116 | NAYY 4x150 SE | 113 | 116 | 0.036501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_3274-12_0_3_line_117 | NAYY 4x150 SE | 114 | 115 | 0.0022829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_3274-12_0_3_line_118 | NAYY 4x150 SE | 114 | 116 | 0.010629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_3274-12_0_3_line_119 | NAYY 4x150 SE | 117 | 121 | 0.026047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_3274-12_0_3_line_120 | NAYY 4x150 SE | 118 | 119 | 0.032517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_3274-12_0_3_line_121 | NAYY 4x150 SE | 118 | 120 | 0.017812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_3274-12_0_3_line_122 | NAYY 4x150 SE | 119 | 122 | 0.034688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_3274-12_0_3_line_123 | NAYY 4x150 SE | 120 | 123 | 0.024712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_3274-12_0_3_line_124 | NAYY 4x150 SE | 121 | 122 | 0.007854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_3274-12_0_3_line_125 | NAYY 4x150 SE | 122 | 125 | 0.004969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_3274-12_0_3_line_126 | NAYY 4x150 SE | 124 | 129 | 0.010264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_3274-12_0_3_line_127 | NAYY 4x150 SE | 125 | 126 | 0.011477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_3274-12_0_3_line_128 | NAYY 4x150 SE | 126 | 133 | 0.017766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
129 | LV_3274-12_0_3_line_129 | NAYY 4x150 SE | 127 | 128 | 0.004311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_3274-12_0_3_line_130 | NAYY 4x150 SE | 128 | 133 | 0.005374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_3274-12_0_3_line_131 | NAYY 4x150 SE | 128 | 134 | 0.0057273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_3274-12_0_3_line_132 | NAYY 4x150 SE | 130 | 131 | 0.02506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_3274-12_0_3_line_133 | NAYY 4x150 SE | 131 | 132 | 0.028515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_3274-12_0_3_line_134 | NAYY 4x150 SE | 132 | 149 | 0.017015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_3274-12_0_3_line_135 | NAYY 4x150 SE | 133 | 138 | 0.015916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_3274-12_0_3_line_136 | NAYY 4x150 SE | 134 | 135 | 0.018695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_3274-12_0_3_line_137 | NAYY 4x150 SE | 135 | 136 | 0.026218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_3274-12_0_3_line_138 | NAYY 4x150 SE | 136 | 137 | 0.037347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
139 | LV_3274-12_0_3_line_139 | NAYY 4x150 SE | 138 | 139 | 0.022556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
140 | LV_3274-12_0_3_line_140 | NAYY 4x150 SE | 139 | 140 | 0.023691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
141 | LV_3274-12_0_3_line_141 | NAYY 4x150 SE | 140 | 141 | 0.038441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
142 | LV_3274-12_0_3_line_142 | NAYY 4x150 SE | 141 | 142 | 0.028829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
143 | LV_3274-12_0_3_line_143 | NAYY 4x150 SE | 142 | 143 | 0.029657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
144 | LV_3274-12_0_3_line_144 | NAYY 4x150 SE | 144 | 145 | 0.011225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
145 | LV_3274-12_0_3_line_145 | NAYY 4x150 SE | 144 | 146 | 0.012829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
146 | LV_3274-12_0_3_line_146 | NAYY 4x150 SE | 145 | 147 | 0.07842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
147 | LV_3274-12_0_3_line_147 | NAYY 4x150 SE | 147 | 148 | 0.057762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
148 | LV_3274-12_0_3_line_148 | NAYY 4x150 SE | 148 | 149 | 0.035354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3274-12_0_3_trafo_82 | 0.25 MVA 20/0.4 kV | 150 | 90 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2756222.6086 | 1236759.9592 | 2756219.3205 | 1236761.2714
1 | 2756222.6086 | 1236759.9592 | 2756224.5329 | 1236759.1913
2 | 2756237.6904 | 1236751.8139 | 2756229.4284 | 1236757.2377 | 2756224.5329 | 1236759.1913
3 | 2756248.9583 | 1236744.4169 | 2756237.6904 | 1236751.8139
4 | 2756248.9583 | 1236744.4169 | 2756252.7378 | 1236748.0976 | 2756277.5756 | 1236763.4322 | 2756280.5133 | 1236767.1682
5 | 2756248.9583 | 1236744.4169 | 2756241.5715 | 1236736.2704 | 2756233.8053 | 1236716.6448
6 | 2756290.4353 | 1236790.5853 | 2756283.7731 | 1236771.3139 | 2756280.5133 | 1236767.1682
7 | 2756232.3076 | 1236712.86 | 2756233.8053 | 1236716.6448
8 | 2756291.5814 | 1236802.8382 | 2756290.4353 | 1236790.5853
9 | 2756232.3076 | 1236712.86 | 2756251.2988 | 1236697.7895 | 2756252.2573 | 1236695.8907 | 2756252.3533 | 1236692.2453 | 2756250.21 | 1236681.056
10 | 2756232.3076 | 1236712.86 | 2756224.0991 | 1236696.0142
11 | 2756291.5814 | 1236802.8382 | 2756290.1912 | 1236807.5877
12 | 2756291.5814 | 1236802.8382 | 2756299.0562 | 1236803.6134 | 2756308.0381 | 1236805.8074 | 2756318.2656 | 1236810.7256 | 2756325.3161 | 1236815.2488
13 | 2756224.0991 | 1236696.0142 | 2756221.1354 | 1236689.9319
14 | 2756312.0415 | 1236083.4021 | 2756309.449 | 1236083.2226 | 2756307.2501 | 1236084.7773 | 2756305.0354 | 1236087.2214 | 2756305.3017 | 1236090.6205 | 2756307.3359 | 1236095.3229 | 2756310.0385 | 1236099.189
15 | 2756340.8736 | 1236125.7121 | 2756318.5024 | 1236093.6707 | 2756312.0415 | 1236083.4021
16 | 2756340.8736 | 1236125.7121 | 2756324.4944 | 1236146.4675 | 2756312.4345 | 1236171.9856 | 2756310.9194 | 1236176.3367
17 | 2756222.9104 | 1236286.907 | 2756216.1017 | 1236295.0357 | 2756202.2986 | 1236309.0584
18 | 2756222.9104 | 1236286.907 | 2756242.2152 | 1236304.9096
19 | 2756222.9104 | 1236286.907 | 2756293.5347 | 1236224.0602
20 | 2756190.8187 | 1236318.9775 | 2756200.4259 | 1236310.961 | 2756202.2986 | 1236309.0584
21 | 2756254.2346 | 1236338.0795 | 2756263.3425 | 1236328.8992 | 2756264.0698 | 1236326.5828 | 2756263.2014 | 1236324.4802 | 2756242.2152 | 1236304.9096
22 | 2756302.9321 | 1236199.2744 | 2756302.3839 | 1236200.8487 | 2756300.4669 | 1236211.2526 | 2756293.5347 | 1236224.0602 | 2756293.5347 | 1236224.0602
23 | 2756310.9194 | 1236176.3367 | 2756302.9321 | 1236199.2744
24 | 2755996.3367 | 1236519.764 | 2755982.4575 | 1236518.6541 | 2755937.5123 | 1236520.754 | 2755921.5239 | 1236520.0326
25 | 2755921.5239 | 1236520.0326 | 2755816.4995 | 1236580.2243
26 | 2755996.3367 | 1236519.764 | 2756007.7084 | 1236528.7045 | 2756011.7563 | 1236530.8239 | 2756015.9423 | 1236532.0127 | 2756020.9032 | 1236532.5213 | 2756032.3829 | 1236532.5506
27 | 2755996.3367 | 1236519.764 | 2755973.9167 | 1236550.6492 | 2755973.9752 | 1236552.8377
28 | 2755996.3367 | 1236519.764 | 2756009.1807 | 1236510.7149 | 2756015.4602 | 1236507.2619
29 | 2756032.3829 | 1236532.5506 | 2756037.2065 | 1236532.5629
30 | 2755981.3994 | 1236587.1471 | 2755974.0999 | 1236557.505 | 2755973.9752 | 1236552.8377
31 | 2756015.4602 | 1236507.2619 | 2756036.7833 | 1236495.5365 | 2756047.1728 | 1236486.9072
32 | 2756054.6384 | 1236532.6074 | 2756037.2065 | 1236532.5629
33 | 2756053.3321 | 1236481.7914 | 2756047.1728 | 1236486.9072
34 | 2756054.6384 | 1236532.6074 | 2756054.5636 | 1236538.044 | 2756054.7206 | 1236539.5606 | 2756055.296 | 1236540.9993 | 2756056.8807 | 1236542.3534 | 2756063.9608 | 1236547.073
35 | 2756054.6384 | 1236532.6074 | 2756066.9731 | 1236532.8539 | 2756068.1106 | 1236532.985
36 | 2756053.3321 | 1236481.7914 | 2756068.9265 | 1236468.8386
37 | 2756190.8187 | 1236318.9775 | 2756189.034 | 1236320.4667
38 | 2756164.5054 | 1236340.9341 | 2756189.034 | 1236320.4667
39 | 2755778.8052 | 1236894.5348 | 2755781.0048 | 1236898.4184 | 2755777.9052 | 1236908.0574
40 | 2755778.8052 | 1236894.5348 | 2755796.7285 | 1236885.2635
41 | 2755796.7285 | 1236885.2635 | 2755802.2753 | 1236882.3943 | 2755807.3442 | 1236882.5274 | 2755821.2681 | 1236894.5993
42 | 2755826.605 | 1236899.2263 | 2755821.2681 | 1236894.5993
43 | 2755826.605 | 1236899.2263 | 2755832.1195 | 1236897.9586 | 2755843.6035 | 1236904.5309
44 | 2755826.605 | 1236899.2263 | 2755829.5742 | 1236909.8365 | 2755826.825 | 1236921.6979 | 2755820.128 | 1236941.7766
45 | 2755808.7888 | 1236952.384 | 2755819.9962 | 1236942.1716 | 2755820.128 | 1236941.7766
46 | 2755864.7288 | 1236916.6207 | 2755843.6035 | 1236904.5309
47 | 2755864.7288 | 1236916.6207 | 2755871.2245 | 1236932.1838 | 2755886.5127 | 1236945.3308 | 2755892.2232 | 1236952.1649 | 2755896.2723 | 1236968.0641
48 | 2755864.7288 | 1236916.6207 | 2755871.8485 | 1236916.2072 | 2755883.3373 | 1236903.9525
49 | 2755896.2723 | 1236968.0641 | 2756071.2103 | 1237037.8623
50 | 2756125.1172 | 1236977.6277 | 2756117.4437 | 1236981.2517 | 2756106.5783 | 1236997.1369 | 2756094.8925 | 1237007.3729 | 2756083.8803 | 1237016.1808 | 2756074.2316 | 1237029.8515 | 2756071.2103 | 1237037.8623
51 | 2756257.75 | 1236872.2303 | 2756125.1172 | 1236977.6277
52 | 2756274.5189 | 1236856.2292 | 2756257.75 | 1236872.2303
53 | 2756274.5189 | 1236856.2292 | 2756273.5142 | 1236849.8189 | 2756274.0681 | 1236839.4235 | 2756275.7064 | 1236834.38
54 | 2756355.1124 | 1236750.4044 | 2756409.9668 | 1236697.3914
55 | 2756355.1124 | 1236750.4044 | 2756348.2605 | 1236755.2476
56 | 2756348.2605 | 1236755.2476 | 2756347.0121 | 1236756.13 | 2756347.8314 | 1236758.4629
57 | 2756318.2461 | 1236672.9729 | 2756316.4293 | 1236680.6644 | 2756315.6303 | 1236682.256 | 2756315.6303 | 1236682.256
58 | 2756318.0513 | 1236663.9244 | 2756318.8776 | 1236666.4708 | 2756319.0453 | 1236669.5893 | 2756318.2461 | 1236672.9729
59 | 2756315.6303 | 1236682.256 | 2756301.5508 | 1236695.9541 | 2756300.037 | 1236697.6604 | 2756299.9706 | 1236700.1833 | 2756300.4216 | 1236702.3194 | 2756310.2085 | 1236721.9623 | 2756310.9088 | 1236724.4053 | 2756310.6551 | 1236726.2782 | 2756309.3281 | 1236728.3675 | 2756302.3107 | 1236732.3515
60 | 2756318.0513 | 1236663.9244 | 2756289.6993 | 1236627.3436
61 | 2756318.0513 | 1236663.9244 | 2756295.3482 | 1236684.8137 | 2756292.7896 | 1236685.6583 | 2756290.1653 | 1236684.9775
62 | 2756276.4008 | 1236729.8018 | 2756288.1253 | 1236737.4294 | 2756290.6441 | 1236738.0963 | 2756293.303 | 1236737.4656 | 2756302.3107 | 1236732.3515
63 | 2756289.6993 | 1236627.3436 | 2756277.0796 | 1236638.8615
64 | 2756289.6993 | 1236627.3436 | 2756272.1885 | 1236606.3073 | 2756264.7642 | 1236598.4213
65 | 2756264.7676 | 1236722.2338 | 2756276.4008 | 1236729.8018
66 | 2756277.0796 | 1236638.8615 | 2756274.928 | 1236640.8252
67 | 2756241.3208 | 1236573.5198 | 2756264.7642 | 1236598.4213
68 | 2756265.6718 | 1236649.2732 | 2756274.928 | 1236640.8252
69 | 2756241.3208 | 1236573.5198 | 2756244.9282 | 1236564.4727
70 | 2756241.3208 | 1236573.5198 | 2756229.6527 | 1236600.1444
71 | 2756325.3161 | 1236815.2488 | 2756331.4824 | 1236800.7417 | 2756336.3816 | 1236797.8345 | 2756345.6387 | 1236793.3183 | 2756352.5644 | 1236786.7721 | 2756354.2888 | 1236781.6681 | 2756354.0336 | 1236776.1228 | 2756347.8314 | 1236758.4629
72 | 2756290.1912 | 1236807.5877 | 2756289.3685 | 1236810.3983 | 2756276.1278 | 1236833.0828 | 2756275.7064 | 1236834.38
73 | 2756221.1354 | 1236689.9319 | 2756219.8954 | 1236687.3871 | 2756213.765 | 1236677.2169
74 | 2756213.765 | 1236677.2169 | 2756200.9349 | 1236655.9321
75 | 2756194.3093 | 1236644.9405 | 2756200.9349 | 1236655.9321
76 | 2756194.3093 | 1236644.9405 | 2756189.6053 | 1236636.0092
77 | 2756194.3093 | 1236644.9405 | 2756217.1376 | 1236624.4657 | 2756217.1376 | 1236624.4657
78 | 2756194.3093 | 1236644.9405 | 2756177.1291 | 1236664.0338
79 | 2756189.6053 | 1236636.0092 | 2756184.7449 | 1236626.7811
80 | 2756217.1376 | 1236624.4657 | 2756225.8633 | 1236608.7913 | 2756229.6527 | 1236600.1444
81 | 2756158.246 | 1236685.0195 | 2756177.1291 | 1236664.0338
82 | 2756173.0157 | 1236604.5116 | 2756184.7449 | 1236626.7811
83 | 2756173.0157 | 1236604.5116 | 2756170.5135 | 1236599.7608 | 2756162.3918 | 1236588.5609
84 | 2756209.6115 | 1236566.9463 | 2756244.9282 | 1236564.4727
85 | 2756262.0436 | 1236652.5846 | 2756265.6718 | 1236649.2732
86 | 2756162.3918 | 1236588.5609 | 2756160.248 | 1236585.6046
87 | 2756146.3918 | 1236568.964 | 2756155.6237 | 1236579.2276 | 2756160.248 | 1236585.6046
88 | 2756136.3823 | 1236559.4808 | 2756146.3918 | 1236568.964
89 | 2756146.3918 | 1236568.964 | 2756142.0718 | 1236577.1917 | 2756136.7904 | 1236584.8379 | 2756131.8773 | 1236590.2806 | 2756120.6422 | 1236598.9771
90 | 2756136.3823 | 1236559.4808 | 2756134.0193 | 1236557.8505
91 | 2756136.3823 | 1236559.4808 | 2756141.0102 | 1236546.1621
92 | 2756119.1175 | 1236549.417 | 2756128.5891 | 1236554.1042 | 2756134.0193 | 1236557.8505
93 | 2756119.1175 | 1236549.417 | 2756118.1929 | 1236548.9594 | 2756115.1414 | 1236547.6115
94 | 2756128.7609 | 1236489.1469 | 2756139.1836 | 1236508.626
95 | 2756128.7609 | 1236489.1469 | 2756148.7936 | 1236476.291
96 | 2756128.7609 | 1236489.1469 | 2756124.9505 | 1236482.0288 | 2756123.9931 | 1236479.2788 | 2756123.6732 | 1236475.3222 | 2756123.9 | 1236473.9298
97 | 2756123.9 | 1236473.9298 | 2756126.6981 | 1236456.7507 | 2756128.4734 | 1236450.8584 | 2756129.1524 | 1236449.7879
98 | 2756132.0157 | 1236445.2739 | 2756129.1524 | 1236449.7879
99 | 2756092.9288 | 1236538.0748 | 2756104.4592 | 1236542.8928 | 2756115.1414 | 1236547.6115
100 | 2756092.9288 | 1236538.0748 | 2756088.5527 | 1236536.2463 | 2756076.7255 | 1236533.9778 | 2756068.1106 | 1236532.985
101 | 2756079.6346 | 1236557.5211 | 2756063.9608 | 1236547.073
102 | 2756068.9265 | 1236468.8386 | 2756069.4145 | 1236468.4333
103 | 2756091.8406 | 1236449.8059 | 2756069.4145 | 1236468.4333
104 | 2756091.8406 | 1236449.8059 | 2756082.399 | 1236441.8114
105 | 2756091.8406 | 1236449.8059 | 2756110.712 | 1236434.6985 | 2756123.0112 | 1236430.617
106 | 2756065.9624 | 1236427.8941 | 2756082.399 | 1236441.8114
107 | 2756134.4052 | 1236426.8359 | 2756123.0112 | 1236430.617
108 | 2756065.9624 | 1236427.8941 | 2756063.5424 | 1236430.3773 | 2756060.8178 | 1236432.0629 | 2756057.5594 | 1236432.4555 | 2756053.3548 | 1236430.8213 | 2756047.7231 | 1236425.9649
109 | 2756134.4052 | 1236426.8359 | 2756144.4907 | 1236418.2117
110 | 2756134.4052 | 1236426.8359 | 2756135.6276 | 1236432.7514 | 2756134.4321 | 1236440.2049 | 2756133.4971 | 1236442.9384 | 2756132.0157 | 1236445.2739
111 | 2756149.6099 | 1236413.8342 | 2756144.4907 | 1236418.2117
112 | 2756149.6099 | 1236413.8342 | 2756140.9353 | 1236405.4214
113 | 2756163.9302 | 1236405.9587 | 2756154.6367 | 1236409.54 | 2756149.6099 | 1236413.8342
114 | 2756130.1892 | 1236393.1152 | 2756131.7282 | 1236396.4922 | 2756140.9353 | 1236405.4214
115 | 2756163.9302 | 1236405.9587 | 2756171.5822 | 1236397.7186
116 | 2756163.9302 | 1236405.9587 | 2756191.0746 | 1236430.3621
117 | 2756198.731 | 1236437.7334 | 2756200.3664 | 1236439.3262
118 | 2756198.731 | 1236437.7334 | 2756192.2216 | 1236431.3933 | 2756191.0746 | 1236430.3621
119 | 2756171.5822 | 1236397.7186 | 2756173.0318 | 1236394.1311 | 2756176.7376 | 1236372.2648
120 | 2756225.273 | 1236415.7697 | 2756208.6236 | 1236396.7804 | 2756203.7544 | 1236391.3923
121 | 2756225.273 | 1236415.7697 | 2756228.8762 | 1236412.0609 | 2756224.4577 | 1236407.051 | 2756220.4706 | 1236402.6197
122 | 2756180.497 | 1236365.6558 | 2756203.7544 | 1236391.3923
123 | 2756220.4706 | 1236402.6197 | 2756238.8271 | 1236386.0748
124 | 2756180.497 | 1236365.6558 | 2756178.5846 | 1236367.2626 | 2756176.9218 | 1236371.1782 | 2756176.7376 | 1236372.2648
125 | 2756180.497 | 1236365.6558 | 2756184.3064 | 1236362.4529
126 | 2756134.391 | 1236383.9169 | 2756131.0015 | 1236389.2884 | 2756130.1892 | 1236393.1152
127 | 2756184.3064 | 1236362.4529 | 2756176.5353 | 1236354.0076
128 | 2756164.5054 | 1236340.9341 | 2756176.5353 | 1236354.0076
129 | 2756160.7692 | 1236344.8062 | 2756163.7321 | 1236347.9377
130 | 2756160.7692 | 1236344.8062 | 2756164.5054 | 1236340.9341
131 | 2756160.7692 | 1236344.8062 | 2756157.0354 | 1236340.4633
132 | 2756028.7446 | 1236409.5994 | 2756047.7231 | 1236425.9649
133 | 2756028.7446 | 1236409.5994 | 2756007.1501 | 1236390.9781
134 | 2756007.1501 | 1236390.9781 | 2756000.4489 | 1236385.1995 | 2755993.8286 | 1236380.4174
135 | 2756164.5054 | 1236340.9341 | 2756153.3878 | 1236329.544
136 | 2756157.0354 | 1236340.4633 | 2756151.4168 | 1236333.9278 | 2756144.2715 | 1236326.8237
137 | 2756144.2715 | 1236326.8237 | 2756125.6792 | 1236308.3385
138 | 2756098.9998 | 1236282.2056 | 2756114.9816 | 1236297.7025 | 2756125.6792 | 1236308.3385
139 | 2756137.6328 | 1236313.4028 | 2756153.3878 | 1236329.544
140 | 2756137.6328 | 1236313.4028 | 2756121.0845 | 1236296.4489
141 | 2756093.1218 | 1236270.0908 | 2756113.1979 | 1236288.369 | 2756121.0845 | 1236296.4489
142 | 2756093.1218 | 1236270.0908 | 2756112.8932 | 1236249.1094
143 | 2756133.2325 | 1236227.5253 | 2756112.8932 | 1236249.1094
144 | 2756053.5683 | 1236349.34 | 2756050.718 | 1236346.8054 | 2756044.8991 | 1236342.2156
145 | 2756063.1549 | 1236357.8648 | 2756053.5683 | 1236349.34
146 | 2755980.015 | 1236304.7642 | 2755989.5362 | 1236302.8902 | 2755994.1551 | 1236303.1673 | 2755998.2081 | 1236305.387 | 2756044.8991 | 1236342.2156
147 | 2755965.1694 | 1236359.7157 | 2755965.9981 | 1236357.5687 | 2755967.7714 | 1236349.1517 | 2755980.6626 | 1236315.269 | 2755981.0606 | 1236311.0755 | 2755980.6511 | 1236307.9284 | 2755980.015 | 1236304.7642
148 | 2755965.1694 | 1236359.7157 | 2755993.8286 | 1236380.4174

## bus_geodata
| x | y | coords
0 | 2756222.6086 | 1236759.9592
1 | 2756219.3205 | 1236761.2714
2 | 2756224.5329 | 1236759.1913
3 | 2756237.6904 | 1236751.8139
4 | 2756248.9583 | 1236744.4169
5 | 2756280.5133 | 1236767.1682
6 | 2756233.8053 | 1236716.6448
7 | 2756290.4353 | 1236790.5853
8 | 2756232.3076 | 1236712.86
9 | 2756291.5814 | 1236802.8382
10 | 2756250.21 | 1236681.056
11 | 2756224.0991 | 1236696.0142
12 | 2756310.0385 | 1236099.189
13 | 2756312.0415 | 1236083.4021
14 | 2756340.8736 | 1236125.7121
15 | 2756222.9104 | 1236286.907
16 | 2756202.2986 | 1236309.0584
17 | 2756242.2152 | 1236304.9096
18 | 2756293.5347 | 1236224.0602
19 | 2756310.9194 | 1236176.3367
20 | 2756302.9321 | 1236199.2744
21 | 2755921.5239 | 1236520.0326
22 | 2755996.3367 | 1236519.764
23 | 2755816.4995 | 1236580.2243
24 | 2756032.3829 | 1236532.5506
25 | 2755973.9752 | 1236552.8377
26 | 2756015.4602 | 1236507.2619
27 | 2756037.2065 | 1236532.5629
28 | 2755981.3994 | 1236587.1471
29 | 2756047.1728 | 1236486.9072
30 | 2756054.6384 | 1236532.6074
31 | 2756053.3321 | 1236481.7914
32 | 2756190.8187 | 1236318.9775
33 | 2756254.2346 | 1236338.0795
34 | 2756189.034 | 1236320.4667
35 | 2755777.9052 | 1236908.0574
36 | 2755778.8052 | 1236894.5348
37 | 2755796.7285 | 1236885.2635
38 | 2755821.2681 | 1236894.5993
39 | 2755826.605 | 1236899.2263
40 | 2755808.7888 | 1236952.384
41 | 2755820.128 | 1236941.7766
42 | 2755843.6035 | 1236904.5309
43 | 2755864.7288 | 1236916.6207
44 | 2755896.2723 | 1236968.0641
45 | 2755883.3373 | 1236903.9525
46 | 2756071.2103 | 1237037.8623
47 | 2756125.1172 | 1236977.6277
48 | 2756257.75 | 1236872.2303
49 | 2756274.5189 | 1236856.2292
50 | 2756409.9668 | 1236697.3914
51 | 2756355.1124 | 1236750.4044
52 | 2756348.2605 | 1236755.2476
53 | 2756318.2461 | 1236672.9729
54 | 2756315.6303 | 1236682.256
55 | 2756318.0513 | 1236663.9244
56 | 2756302.3107 | 1236732.3515
57 | 2756289.6993 | 1236627.3436
58 | 2756290.1653 | 1236684.9775
59 | 2756276.4008 | 1236729.8019
60 | 2756277.0796 | 1236638.8615
61 | 2756264.7642 | 1236598.4213
62 | 2756264.7676 | 1236722.2338
63 | 2756274.928 | 1236640.8252
64 | 2756241.3208 | 1236573.5198
65 | 2756347.8314 | 1236758.4629
66 | 2756325.3161 | 1236815.2488
67 | 2756290.1912 | 1236807.5877
68 | 2756275.7064 | 1236834.38
69 | 2756221.1354 | 1236689.9319
70 | 2756213.765 | 1236677.2169
71 | 2756200.9349 | 1236655.9321
72 | 2756194.3093 | 1236644.9405
73 | 2756189.6053 | 1236636.0092
74 | 2756217.1376 | 1236624.4657
75 | 2756177.1291 | 1236664.0338
76 | 2756158.246 | 1236685.0195
77 | 2756184.7449 | 1236626.7811
78 | 2756229.6527 | 1236600.1444
79 | 2756173.0157 | 1236604.5116
80 | 2756244.9282 | 1236564.4727
81 | 2756209.6115 | 1236566.9463
82 | 2756265.6718 | 1236649.2732
83 | 2756262.0436 | 1236652.5846
84 | 2756162.3918 | 1236588.5609
85 | 2756160.248 | 1236585.6046
86 | 2756146.3918 | 1236568.964
87 | 2756136.3823 | 1236559.4808
88 | 2756120.6422 | 1236598.9771
89 | 2756134.0193 | 1236557.8505
90 | 2756141.0102 | 1236546.1621
91 | 2756119.1175 | 1236549.417
92 | 2756139.1836 | 1236508.626
93 | 2756128.7609 | 1236489.1469
94 | 2756148.7936 | 1236476.291
95 | 2756123.9 | 1236473.9298
96 | 2756129.1524 | 1236449.7879
97 | 2756115.1414 | 1236547.6115
98 | 2756092.9288 | 1236538.0748
99 | 2756068.1106 | 1236532.985
100 | 2756063.9608 | 1236547.073
101 | 2756079.6346 | 1236557.5211
102 | 2756068.9265 | 1236468.8386
103 | 2756069.4145 | 1236468.4333
104 | 2756091.8406 | 1236449.8059
105 | 2756082.399 | 1236441.8114
106 | 2756123.0112 | 1236430.617
107 | 2756065.9624 | 1236427.8941
108 | 2756134.4052 | 1236426.8359
109 | 2756132.0157 | 1236445.2739
110 | 2756144.4907 | 1236418.2117
111 | 2756149.6099 | 1236413.8342
112 | 2756140.9353 | 1236405.4214
113 | 2756163.9302 | 1236405.9587
114 | 2756198.731 | 1236437.7334
115 | 2756200.3664 | 1236439.3262
116 | 2756191.0746 | 1236430.3621
117 | 2756171.5822 | 1236397.7186
118 | 2756225.273 | 1236415.7697
119 | 2756203.7544 | 1236391.3923
120 | 2756220.4706 | 1236402.6197
121 | 2756176.7376 | 1236372.2648
122 | 2756180.497 | 1236365.6558
123 | 2756238.8271 | 1236386.0748
124 | 2756130.1892 | 1236393.1152
125 | 2756184.3064 | 1236362.4529
126 | 2756176.5353 | 1236354.0076
127 | 2756163.7321 | 1236347.9377
128 | 2756160.7692 | 1236344.8062
129 | 2756134.391 | 1236383.9169
130 | 2756047.7231 | 1236425.9649
131 | 2756028.7447 | 1236409.5994
132 | 2756007.1501 | 1236390.9781
133 | 2756164.5054 | 1236340.9341
134 | 2756157.0354 | 1236340.4633
135 | 2756144.2715 | 1236326.8237
136 | 2756125.6792 | 1236308.3385
137 | 2756098.9998 | 1236282.2056
138 | 2756153.3878 | 1236329.544
139 | 2756137.6328 | 1236313.4028
140 | 2756121.0845 | 1236296.4489
141 | 2756093.1218 | 1236270.0908
142 | 2756112.8932 | 1236249.1094
143 | 2756133.2325 | 1236227.5253
144 | 2756053.5683 | 1236349.34
145 | 2756044.8991 | 1236342.2156
146 | 2756063.1549 | 1236357.8648
147 | 2755980.015 | 1236304.7642
148 | 2755965.1694 | 1236359.7157
149 | 2755993.8286 | 1236380.4174
150 | 2756136.3823 | 1236559.4808

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1