## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3274-13_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3274-13_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3274-13_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3274-13_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_3274-13_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_3274-13_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_3274-13_0_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_3274-13_0_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_3274-13_0_3_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_3274-13_0_3_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_3274-13_0_3_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_3274-13_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_3274-13_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_3274-13_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3274-13_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_3274-13_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_3274-13_0_3_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_3274-13_0_3_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_3274-13_0_3_node_61 | 0.4 | n |  | TRUE
19 | bus_LV_3274-13_0_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_3274-13_0_3_node_7 | 0.4 | n |  | TRUE
21 | bus_LV_3274-13_0_3_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_3274-13_0_3_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_3274-13_0_3_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_3274-13_0_3_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_3274-13_0_3_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_3274-13_0_3_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_3274-13_0_3_node_57 | 0.4 | n |  | TRUE
28 | bus_LV_3274-13_0_3_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_3274-13_0_3_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_3274-13_0_3_node_56 | 0.4 | n |  | TRUE
31 | bus_LV_3274-13_0_3_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_3274-13_0_3_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_3274-13_0_3_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_3274-13_0_3_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_3274-13_0_3_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_3274-13_0_3_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_3274-13_0_3_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_3274-13_0_3_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_3274-13_0_3_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_3274-13_0_3_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_3274-13_0_3_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_3274-13_0_3_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_3274-13_0_3_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_3274-13_0_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_3274-13_0_3_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_3274-13_0_3_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_3274-13_0_3_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_3274-13_0_3_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_3274-13_0_3_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_3274-13_0_3_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_3274-13_0_3_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_3274-13_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_3274-13_0_3_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_3274-13_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_3274-13_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_3274-13_0_3_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_3274-13_0_3_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_3274-13_0_3_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_3274-13_0_3_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_3274-13_0_3_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_3274-13_0_3_node_62 | 0.4 | n |  | TRUE
62 | bus_MV_49_1_node_227 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3274-13_0_3_load_0 | 0 | 0.0084624 | 0.0021209 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3274-13_0_3_load_4 | 3 | 0.010633 | 0.0026649 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3274-13_0_3_load_18 | 7 | 0.016183 | 0.004056 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3274-13_0_3_load_16 | 9 | 0.014292 | 0.003582 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3274-13_0_3_load_14 | 10 | 0.0019248 | 0.00048241 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3274-13_0_3_load_13 | 14 | 0.0021397 | 0.00053627 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3274-13_0_3_load_27 | 16 | 0.0039576 | 0.00099186 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3274-13_0_3_load_28 | 17 | 0.0049117 | 0.001231 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3274-13_0_3_load_61 | 18 | 0.0178 | 0.0044611 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3274-13_0_3_load_19 | 19 | 0.022763 | 0.005705 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3274-13_0_3_load_7 | 20 | 0.015262 | 0.003825 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3274-13_0_3_load_8 | 21 | 0.0050731 | 0.0012714 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3274-13_0_3_load_54 | 25 | 0.0028702 | 0.00071934 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3274-13_0_3_load_57 | 27 | 0.0029631 | 0.00074262 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3274-13_0_3_load_56 | 30 | 0.0036499 | 0.00091475 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3274-13_0_3_load_55 | 31 | 0.0010009 | 0.00025085 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3274-13_0_3_load_42 | 33 | 0.0016512 | 0.00041383 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3274-13_0_3_load_41 | 34 | 0.0041568 | 0.0010418 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3274-13_0_3_load_38 | 36 | 0.0043684 | 0.0010948 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3274-13_0_3_load_20 | 37 | 0.0078398 | 0.0019648 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3274-13_0_3_load_21 | 38 | 0.010532 | 0.0026396 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3274-13_0_3_load_22 | 39 | 0.0078084 | 0.001957 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3274-13_0_3_load_24 | 41 | 0.0017618 | 0.00044154 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3274-13_0_3_load_25 | 42 | 0.0016404 | 0.00041114 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3274-13_0_3_load_40 | 43 | 0.0012104 | 0.00030337 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3274-13_0_3_load_34 | 45 | 0.0038804 | 0.00097252 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3274-13_0_3_load_53 | 46 | 0.00066975 | 0.00016786 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3274-13_0_3_load_58 | 47 | 0.0010094 | 0.00025297 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3274-13_0_3_load_35 | 48 | 0.0019213 | 0.00048153 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3274-13_0_3_load_37 | 49 | 0.0015345 | 0.00038459 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3274-13_0_3_load_60 | 50 | 0.0051502 | 0.0012908 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3274-13_0_3_load_43 | 51 | 0.00195 | 0.00048871 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3274-13_0_3_load_44 | 52 | 0.0018187 | 0.00045581 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3274-13_0_3_load_45 | 53 | 0.00086943 | 0.0002179 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3274-13_0_3_load_46 | 54 | 0.0023143 | 0.00058002 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3274-13_0_3_load_47 | 55 | 0.0041771 | 0.0010469 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3274-13_0_3_load_48 | 56 | 0.00051137 | 0.00012816 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3274-13_0_3_load_49 | 57 | 0.0010507 | 0.00026333 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3274-13_0_3_load_51 | 59 | 0.00093881 | 0.00023529 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3274-13_0_3_load_62 | 61 | 0.00045692 | 0.00011452 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3274-13_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.024075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3274-13_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.009019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3274-13_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.06317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_3274-13_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.028634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3274-13_0_3_line_4 | NAYY 4x150 SE | 3 | 8 | 0.027016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3274-13_0_3_line_5 | NAYY 4x150 SE | 4 | 9 | 0.012089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3274-13_0_3_line_6 | NAYY 4x150 SE | 4 | 10 | 0.026456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3274-13_0_3_line_7 | NAYY 4x150 SE | 5 | 6 | 0.002299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3274-13_0_3_line_8 | NAYY 4x150 SE | 5 | 7 | 0.0090599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3274-13_0_3_line_9 | NAYY 4x150 SE | 6 | 9 | 0.017285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3274-13_0_3_line_10 | NAYY 4x150 SE | 7 | 15 | 0.036544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3274-13_0_3_line_11 | NAYY 4x150 SE | 8 | 16 | 0.0052606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3274-13_0_3_line_12 | NAYY 4x150 SE | 8 | 17 | 0.023564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3274-13_0_3_line_13 | NAYY 4x150 SE | 10 | 14 | 0.0073409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3274-13_0_3_line_14 | NAYY 4x150 SE | 11 | 12 | 0.080728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3274-13_0_3_line_15 | NAYY 4x150 SE | 11 | 13 | 0.085913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3274-13_0_3_line_16 | NAYY 4x150 SE | 11 | 14 | 0.047249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3274-13_0_3_line_17 | NAYY 4x150 SE | 12 | 18 | 0.048335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3274-13_0_3_line_18 | NAYY 4x150 SE | 13 | 20 | 0.045883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3274-13_0_3_line_19 | NAYY 4x150 SE | 15 | 19 | 0.005251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3274-13_0_3_line_20 | NAYY 4x150 SE | 16 | 42 | 0.032744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3274-13_0_3_line_21 | NAYY 4x150 SE | 17 | 44 | 0.021828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3274-13_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.0096872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3274-13_0_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.00691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3274-13_0_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.031773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3274-13_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.028173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3274-13_0_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.026669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3274-13_0_3_line_27 | NAYY 4x150 SE | 24 | 27 | 0.046892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3274-13_0_3_line_28 | NAYY 4x150 SE | 25 | 46 | 0.067827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3274-13_0_3_line_29 | NAYY 4x150 SE | 26 | 43 | 0.016591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3274-13_0_3_line_30 | NAYY 4x150 SE | 26 | 41 | 0.0049516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3274-13_0_3_line_31 | NAYY 4x150 SE | 27 | 28 | 0.042683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3274-13_0_3_line_32 | NAYY 4x150 SE | 28 | 29 | 0.1637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3274-13_0_3_line_33 | NAYY 4x150 SE | 29 | 30 | 0.007736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3274-13_0_3_line_34 | NAYY 4x150 SE | 29 | 31 | 0.01892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3274-13_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.097583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3274-13_0_3_line_36 | NAYY 4x150 SE | 32 | 34 | 0.020401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3274-13_0_3_line_37 | NAYY 4x150 SE | 33 | 35 | 0.016394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3274-13_0_3_line_38 | NAYY 4x150 SE | 34 | 36 | 0.028458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3274-13_0_3_line_39 | NAYY 4x150 SE | 35 | 47 | 0.027187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3274-13_0_3_line_40 | NAYY 4x150 SE | 36 | 44 | 0.0081498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3274-13_0_3_line_41 | NAYY 4x150 SE | 37 | 38 | 0.001731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3274-13_0_3_line_42 | NAYY 4x150 SE | 37 | 39 | 0.013746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3274-13_0_3_line_43 | NAYY 4x150 SE | 38 | 40 | 0.074986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3274-13_0_3_line_44 | NAYY 4x150 SE | 40 | 41 | 0.021423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3274-13_0_3_line_45 | NAYY 4x150 SE | 40 | 42 | 0.0092534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3274-13_0_3_line_46 | NAYY 4x150 SE | 43 | 51 | 0.028665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3274-13_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.020639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3274-13_0_3_line_48 | NAYY 4x150 SE | 45 | 48 | 0.015907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3274-13_0_3_line_49 | NAYY 4x150 SE | 46 | 59 | 0.037791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3274-13_0_3_line_50 | NAYY 4x150 SE | 48 | 49 | 0.0027539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3274-13_0_3_line_51 | NAYY 4x150 SE | 49 | 50 | 0.0052154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3274-13_0_3_line_52 | NAYY 4x150 SE | 51 | 52 | 0.0050262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3274-13_0_3_line_53 | NAYY 4x150 SE | 53 | 54 | 0.02169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3274-13_0_3_line_54 | NAYY 4x150 SE | 53 | 55 | 0.0063573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3274-13_0_3_line_55 | NAYY 4x150 SE | 54 | 56 | 0.0057916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3274-13_0_3_line_56 | NAYY 4x150 SE | 56 | 57 | 0.015158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3274-13_0_3_line_57 | NAYY 4x150 SE | 57 | 58 | 0.025699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3274-13_0_3_line_58 | NAYY 4x150 SE | 58 | 59 | 0.071085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3274-13_0_3_line_59 | NAYY 4x150 SE | 58 | 60 | 0.094362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3274-13_0_3_line_60 | NAYY 4x150 SE | 60 | 61 | 0.037143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3274-13_0_3_trafo_1 | 0.25 MVA 20/0.4 kV | 62 | 1 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2755698.5954 | 1231355.1673 | 2755706.3719 | 1231377.9522
1 | 2755709.2851 | 1231386.4877 | 2755706.3719 | 1231377.9522
2 | 2755698.5954 | 1231355.1673 | 2755685.6605 | 1231317.2709 | 2755677.143 | 1231319.2942 | 2755673.0543 | 1231305.5155
3 | 2755709.2851 | 1231386.4877 | 2755726.0654 | 1231381.7449 | 2755731.8025 | 1231380.2716 | 2755734.8281 | 1231378.4602 | 2755735.6885 | 1231376.859
4 | 2755665.3686 | 1231279.6154 | 2755673.0543 | 1231305.5155
5 | 2755735.6885 | 1231376.859 | 2755736.2547 | 1231375.784 | 2755735.4072 | 1231371.9804 | 2755734.126 | 1231369.1109 | 2755733.116 | 1231365.412
6 | 2755735.6885 | 1231376.859 | 2755738.1056 | 1231377.7343 | 2755741.2551 | 1231381.5982 | 2755744.626 | 1231392.6301 | 2755746.554 | 1231399.7384
7 | 2755728.5946 | 1231348.8581 | 2755726.6334 | 1231347.65
8 | 2755726.6334 | 1231347.65 | 2755726.8996 | 1231344.7209 | 2755726.2102 | 1231343.2682 | 2755726.2096 | 1231340.1097 | 2755726.3812 | 1231338.7685
9 | 2755728.5946 | 1231348.8581 | 2755728.6374 | 1231350.9834 | 2755730.0477 | 1231354.1344 | 2755731.5549 | 1231358.5002 | 2755732.6395 | 1231363.6668 | 2755733.116 | 1231365.412
10 | 2755761.2982 | 1231331.0313 | 2755742.5919 | 1231335.8125 | 2755739.0319 | 1231337.1983 | 2755737.6443 | 1231338.3853 | 2755735.4468 | 1231339.5399 | 2755732.7393 | 1231339.3355 | 2755729.0922 | 1231338.8395 | 2755726.3812 | 1231338.7685
11 | 2755665.3686 | 1231279.6154 | 2755660.2815 | 1231280.9554
12 | 2755665.3686 | 1231279.6154 | 2755688.1571 | 1231273.6194
13 | 2755748.4757 | 1231406.8233 | 2755746.554 | 1231399.7384
14 | 2755725.8229 | 1231434.9329 | 2755730.4251 | 1231448.4216 | 2755735.3512 | 1231462.8531 | 2755738.5415 | 1231461.9803 | 2755742.1976 | 1231460.9751 | 2755784.7496 | 1231449.29
15 | 2755680.8016 | 1231477.2269 | 2755686.7303 | 1231475.6696 | 2755735.3512 | 1231462.8531 | 2755730.4251 | 1231448.4216 | 2755725.8229 | 1231434.9329
16 | 2755725.8229 | 1231434.9329 | 2755747.467 | 1231429.0721 | 2755751.2312 | 1231425.3894 | 2755752.7865 | 1231422.7166 | 2755748.4757 | 1231406.8233
17 | 2755784.7496 | 1231449.29 | 2755772.3577 | 1231402.5659
18 | 2755680.8016 | 1231477.2269 | 2755673.5245 | 1231459.1083 | 2755663.1161 | 1231438.1606 | 2755661.5405 | 1231435.6476
19 | 2755761.2982 | 1231331.0313 | 2755760.3423 | 1231325.8681
20 | 2755628.6173 | 1231289.2957 | 2755660.2815 | 1231280.9554
21 | 2755709.2671 | 1231268.0651 | 2755688.1571 | 1231273.6194
22 | 2755571.9624 | 1231326.5259 | 2755578.2508 | 1231333.8946
23 | 2755571.9624 | 1231326.5259 | 2755565.4305 | 1231328.8349
24 | 2755568.301 | 1231305.1656 | 2755562.761 | 1231306.6332 | 2755559.5639 | 1231307.4725 | 2755562.3376 | 1231312.0939 | 2755571.9624 | 1231326.5259
25 | 2755565.4305 | 1231328.8349 | 2755537.7007 | 1231333.8121
26 | 2755568.301 | 1231305.1656 | 2755594.1607 | 1231298.3581
27 | 2755568.301 | 1231305.1656 | 2755566.4644 | 1231296.5873 | 2755565.1518 | 1231285.943 | 2755565.1825 | 1231276.3793 | 2755566.9843 | 1231264.2929 | 2755567.7335 | 1231258.7328
28 | 2755537.7007 | 1231333.8121 | 2755470.9404 | 1231345.795
29 | 2755594.1607 | 1231298.3581 | 2755595.4581 | 1231288.7497 | 2755596.6262 | 1231281.9539
30 | 2755594.1607 | 1231298.3581 | 2755598.9496 | 1231297.0992
31 | 2755572.522 | 1231216.3262 | 2755570.0694 | 1231241.3966 | 2755567.7335 | 1231258.7328
32 | 2755499.3697 | 1231281.2513 | 2755479.0359 | 1231232.4072 | 2755513.5145 | 1231226.3698 | 2755513.9636 | 1231226.2926 | 2755519.9551 | 1231225.2372 | 2755525.6132 | 1231238.075 | 2755535.9776 | 1231233.8199 | 2755534.8183 | 1231230.631 | 2755570.2874 | 1231216.0007 | 2755572.522 | 1231216.3262
33 | 2755502.7951 | 1231288.1918 | 2755499.3697 | 1231281.2513
34 | 2755499.3697 | 1231281.2513 | 2755480.8948 | 1231285.3305
35 | 2755764.3982 | 1231253.551 | 2755731.905 | 1231161.537
36 | 2755764.3982 | 1231253.551 | 2755744.669 | 1231258.745
37 | 2755726.4461 | 1231146.0784 | 2755731.905 | 1231161.537
38 | 2755744.669 | 1231258.745 | 2755717.1484 | 1231265.9902
39 | 2755726.4461 | 1231146.0784 | 2755699.3914 | 1231143.403
40 | 2755709.2671 | 1231268.0651 | 2755717.1484 | 1231265.9902
41 | 2755652.1419 | 1231354.0166 | 2755652.6949 | 1231355.6568
42 | 2755657.0861 | 1231368.6821 | 2755652.6949 | 1231355.6568
43 | 2755619.6692 | 1231291.6527 | 2755634.2134 | 1231332.6384 | 2755636.6457 | 1231334.9598 | 2755643.9309 | 1231335.7179 | 2755646.3352 | 1231336.793 | 2755652.1419 | 1231354.0166
44 | 2755619.6692 | 1231291.6527 | 2755598.9496 | 1231297.0992
45 | 2755619.6692 | 1231291.6527 | 2755628.6173 | 1231289.2957
46 | 2755596.6262 | 1231281.9539 | 2755596.9958 | 1231279.8038 | 2755599.3648 | 1231274.7055 | 2755603.9314 | 1231272.7898 | 2755612.2812 | 1231272.8306 | 2755619.6777 | 1231271.2675
47 | 2755709.2671 | 1231268.0651 | 2755715.8105 | 1231287.6394
48 | 2755715.8105 | 1231287.6394 | 2755717.0459 | 1231291.3351 | 2755728.6143 | 1231288.1084
49 | 2755433.744 | 1231352.4714 | 2755470.9404 | 1231345.795
50 | 2755731.2669 | 1231287.3686 | 2755728.6143 | 1231288.1084
51 | 2755736.2905 | 1231285.9674 | 2755731.2669 | 1231287.3686
52 | 2755624.5953 | 1231270.2282 | 2755619.6777 | 1231271.2675
53 | 2755374.4578 | 1231431.5812 | 2755369.6531 | 1231416.7761 | 2755368.994 | 1231410.6866
54 | 2755376.4202 | 1231437.628 | 2755374.4578 | 1231431.5812
55 | 2755369.7228 | 1231404.941 | 2755368.994 | 1231410.6866 | 2755368.994 | 1231410.6866
56 | 2755369.7228 | 1231404.941 | 2755370.5309 | 1231398.5709 | 2755370.153 | 1231389.8418 | 2755370.153 | 1231389.8418
57 | 2755363.7773 | 1231365.0297 | 2755364.3502 | 1231370.65 | 2755367.3524 | 1231380.4487 | 2755370.153 | 1231389.8418
58 | 2755363.7773 | 1231365.0297 | 2755433.744 | 1231352.4714
59 | 2755270.7271 | 1231382.2375 | 2755363.7773 | 1231365.0297
60 | 2755282.6463 | 1231417.3371 | 2755274.8139 | 1231398.0923 | 2755270.7271 | 1231382.2375

## bus_geodata
| x | y | coords
0 | 2755706.3719 | 1231377.9522
1 | 2755698.5954 | 1231355.1673
2 | 2755709.2851 | 1231386.4877
3 | 2755673.0543 | 1231305.5155
4 | 2755735.6885 | 1231376.859
5 | 2755726.6334 | 1231347.65
6 | 2755728.5947 | 1231348.8581
7 | 2755726.3812 | 1231338.7685
8 | 2755665.3686 | 1231279.6154
9 | 2755733.116 | 1231365.412
10 | 2755746.554 | 1231399.7384
11 | 2755725.8229 | 1231434.9329
12 | 2755784.7496 | 1231449.29
13 | 2755680.8016 | 1231477.2269
14 | 2755748.4757 | 1231406.8233
15 | 2755761.2982 | 1231331.0313
16 | 2755660.2815 | 1231280.9554
17 | 2755688.1571 | 1231273.6194
18 | 2755772.3577 | 1231402.5659
19 | 2755760.3423 | 1231325.8681
20 | 2755661.5405 | 1231435.6476
21 | 2755578.2508 | 1231333.8946
22 | 2755571.9624 | 1231326.5259
23 | 2755565.4305 | 1231328.8349
24 | 2755568.301 | 1231305.1656
25 | 2755537.7007 | 1231333.8121
26 | 2755594.1607 | 1231298.3581
27 | 2755567.7335 | 1231258.7328
28 | 2755572.522 | 1231216.3262
29 | 2755499.3697 | 1231281.2513
30 | 2755502.7951 | 1231288.1918
31 | 2755480.8948 | 1231285.3305
32 | 2755764.3982 | 1231253.551
33 | 2755731.905 | 1231161.537
34 | 2755744.669 | 1231258.745
35 | 2755726.4461 | 1231146.0784
36 | 2755717.1484 | 1231265.9902
37 | 2755652.6949 | 1231355.6568
38 | 2755652.1419 | 1231354.0166
39 | 2755657.0861 | 1231368.6821
40 | 2755619.6692 | 1231291.6527
41 | 2755598.9496 | 1231297.0992
42 | 2755628.6173 | 1231289.2957
43 | 2755596.6262 | 1231281.9539
44 | 2755709.2671 | 1231268.0651
45 | 2755715.8105 | 1231287.6394
46 | 2755470.9404 | 1231345.795
47 | 2755699.3914 | 1231143.403
48 | 2755728.6143 | 1231288.1084
49 | 2755731.2669 | 1231287.3686
50 | 2755736.2905 | 1231285.9674
51 | 2755619.6777 | 1231271.2675
52 | 2755624.5953 | 1231270.2282
53 | 2755374.4578 | 1231431.5812
54 | 2755368.994 | 1231410.6866
55 | 2755376.4202 | 1231437.6281
56 | 2755369.7228 | 1231404.941
57 | 2755370.153 | 1231389.8418
58 | 2755363.7773 | 1231365.0297
59 | 2755433.744 | 1231352.4714
60 | 2755270.7271 | 1231382.2375
61 | 2755282.6463 | 1231417.3371
62 | 2755726.6334 | 1231347.65

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1