## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3274-14_1_2_node_56 | 0.4 | n |  | TRUE
1 | bus_LV_3274-14_1_2_node_57 | 0.4 | n |  | TRUE
2 | bus_LV_3274-14_1_2_node_58 | 0.4 | n |  | TRUE
3 | bus_LV_3274-14_1_2_node_59 | 0.4 | n |  | TRUE
4 | bus_LV_3274-14_1_2_node_61 | 0.4 | n |  | TRUE
5 | bus_LV_3274-14_1_2_node_62 | 0.4 | n |  | TRUE
6 | bus_LV_3274-14_1_2_node_66 | 0.4 | n |  | TRUE
7 | bus_LV_3274-14_1_2_node_63 | 0.4 | n |  | TRUE
8 | bus_LV_3274-14_1_2_node_69 | 0.4 | n |  | TRUE
9 | bus_LV_3274-14_1_2_node_64 | 0.4 | n |  | TRUE
10 | bus_LV_3274-14_1_2_node_65 | 0.4 | n |  | TRUE
11 | bus_LV_3274-14_1_2_node_76 | 0.4 | n |  | TRUE
12 | bus_LV_3274-14_1_2_node_67 | 0.4 | n |  | TRUE
13 | bus_LV_3274-14_1_2_node_68 | 0.4 | n |  | TRUE
14 | bus_LV_3274-14_1_2_node_117 | 0.4 | n |  | TRUE
15 | bus_LV_3274-14_1_2_node_70 | 0.4 | n |  | TRUE
16 | bus_LV_3274-14_1_2_node_71 | 0.4 | n |  | TRUE
17 | bus_LV_3274-14_1_2_node_72 | 0.4 | n |  | TRUE
18 | bus_LV_3274-14_1_2_node_73 | 0.4 | n |  | TRUE
19 | bus_LV_3274-14_1_2_node_74 | 0.4 | n |  | TRUE
20 | bus_LV_3274-14_1_2_node_75 | 0.4 | n |  | TRUE
21 | bus_LV_3274-14_1_2_node_78 | 0.4 | n |  | TRUE
22 | bus_LV_3274-14_1_2_node_85 | 0.4 | n |  | TRUE
23 | bus_LV_3274-14_1_2_node_77 | 0.4 | n |  | TRUE
24 | bus_LV_3274-14_1_2_node_79 | 0.4 | n |  | TRUE
25 | bus_LV_3274-14_1_2_node_80 | 0.4 | n |  | TRUE
26 | bus_LV_3274-14_1_2_node_81 | 0.4 | n |  | TRUE
27 | bus_LV_3274-14_1_2_node_82 | 0.4 | n |  | TRUE
28 | bus_LV_3274-14_1_2_node_83 | 0.4 | n |  | TRUE
29 | bus_LV_3274-14_1_2_node_84 | 0.4 | n |  | TRUE
30 | bus_LV_3274-14_1_2_node_86 | 0.4 | n |  | TRUE
31 | bus_LV_3274-14_1_2_node_91 | 0.4 | n |  | TRUE
32 | bus_LV_3274-14_1_2_node_89 | 0.4 | n |  | TRUE
33 | bus_LV_3274-14_1_2_node_87 | 0.4 | n |  | TRUE
34 | bus_LV_3274-14_1_2_node_88 | 0.4 | n |  | TRUE
35 | bus_LV_3274-14_1_2_node_93 | 0.4 | n |  | TRUE
36 | bus_LV_3274-14_1_2_node_99 | 0.4 | n |  | TRUE
37 | bus_LV_3274-14_1_2_node_90 | 0.4 | n |  | TRUE
38 | bus_LV_3274-14_1_2_node_92 | 0.4 | n |  | TRUE
39 | bus_LV_3274-14_1_2_node_152 | 0.4 | n |  | TRUE
40 | bus_LV_3274-14_1_2_node_94 | 0.4 | n |  | TRUE
41 | bus_LV_3274-14_1_2_node_95 | 0.4 | n |  | TRUE
42 | bus_LV_3274-14_1_2_node_96 | 0.4 | n |  | TRUE
43 | bus_LV_3274-14_1_2_node_97 | 0.4 | n |  | TRUE
44 | bus_LV_3274-14_1_2_node_98 | 0.4 | n |  | TRUE
45 | bus_LV_3274-14_1_2_node_100 | 0.4 | n |  | TRUE
46 | bus_LV_3274-14_1_2_node_143 | 0.4 | n |  | TRUE
47 | bus_LV_3274-14_1_2_node_142 | 0.4 | n |  | TRUE
48 | bus_LV_3274-14_1_2_node_101 | 0.4 | n |  | TRUE
49 | bus_LV_3274-14_1_2_node_103 | 0.4 | n |  | TRUE
50 | bus_LV_3274-14_1_2_node_104 | 0.4 | n |  | TRUE
51 | bus_LV_3274-14_1_2_node_105 | 0.4 | n |  | TRUE
52 | bus_LV_3274-14_1_2_node_106 | 0.4 | n |  | TRUE
53 | bus_LV_3274-14_1_2_node_107 | 0.4 | n |  | TRUE
54 | bus_LV_3274-14_1_2_node_108 | 0.4 | n |  | TRUE
55 | bus_LV_3274-14_1_2_node_109 | 0.4 | n |  | TRUE
56 | bus_LV_3274-14_1_2_node_120 | 0.4 | n |  | TRUE
57 | bus_LV_3274-14_1_2_node_121 | 0.4 | n |  | TRUE
58 | bus_LV_3274-14_1_2_node_116 | 0.4 | n |  | TRUE
59 | bus_LV_3274-14_1_2_node_110 | 0.4 | n |  | TRUE
60 | bus_LV_3274-14_1_2_node_111 | 0.4 | n |  | TRUE
61 | bus_LV_3274-14_1_2_node_118 | 0.4 | n |  | TRUE
62 | bus_LV_3274-14_1_2_node_119 | 0.4 | n |  | TRUE
63 | bus_LV_3274-14_1_2_node_141 | 0.4 | n |  | TRUE
64 | bus_LV_3274-14_1_2_node_122 | 0.4 | n |  | TRUE
65 | bus_LV_3274-14_1_2_node_123 | 0.4 | n |  | TRUE
66 | bus_LV_3274-14_1_2_node_124 | 0.4 | n |  | TRUE
67 | bus_LV_3274-14_1_2_node_125 | 0.4 | n |  | TRUE
68 | bus_LV_3274-14_1_2_node_128 | 0.4 | n |  | TRUE
69 | bus_LV_3274-14_1_2_node_136 | 0.4 | n |  | TRUE
70 | bus_LV_3274-14_1_2_node_138 | 0.4 | n |  | TRUE
71 | bus_LV_3274-14_1_2_node_140 | 0.4 | n |  | TRUE
72 | bus_MV_0_node_76 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3274-14_1_2_load_56 | 0 | 0.00040606 | 0.00010177 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3274-14_1_2_load_59 | 3 | 0.0010337 | 0.00025907 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3274-14_1_2_load_62 | 5 | 0.00097571 | 0.00024454 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3274-14_1_2_load_66 | 6 | 0.0075161 | 0.0018837 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3274-14_1_2_load_63 | 7 | 0.0013131 | 0.0003291 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3274-14_1_2_load_69 | 8 | 0.001092 | 0.00027368 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3274-14_1_2_load_64 | 9 | 0.0007852 | 0.00019679 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3274-14_1_2_load_65 | 10 | 0.0003289 | 8.2429e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3274-14_1_2_load_67 | 12 | 0.0012309 | 0.00030848 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3274-14_1_2_load_68 | 13 | 0.00034009 | 8.5236e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3274-14_1_2_load_71 | 16 | 0.0006551 | 0.00016418 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3274-14_1_2_load_72 | 17 | 0.0033803 | 0.00084719 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3274-14_1_2_load_74 | 19 | 0.00074848 | 0.00018759 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3274-14_1_2_load_75 | 20 | 0.0011981 | 0.00030027 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3274-14_1_2_load_78 | 21 | 0.0003871 | 9.7016e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3274-14_1_2_load_85 | 22 | 0.00010153 | 2.5446e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3274-14_1_2_load_77 | 23 | 0.00021749 | 5.4508e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3274-14_1_2_load_79 | 24 | 0.00050174 | 0.00012575 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3274-14_1_2_load_80 | 25 | 0.00043007 | 0.00010779 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3274-14_1_2_load_81 | 26 | 0.00027778 | 6.9618e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3274-14_1_2_load_83 | 28 | 0.00019951 | 5.0002e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3274-14_1_2_load_86 | 30 | 0.00091909 | 0.00023034 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3274-14_1_2_load_91 | 31 | 0.00043018 | 0.00010781 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3274-14_1_2_load_89 | 32 | 0.0014385 | 0.00036052 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3274-14_1_2_load_87 | 33 | 0.0016041 | 0.00040204 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3274-14_1_2_load_88 | 34 | 0.00060695 | 0.00015212 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3274-14_1_2_load_93 | 35 | 0.0015838 | 0.00039695 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3274-14_1_2_load_99 | 36 | 0.00085324 | 0.00021384 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3274-14_1_2_load_90 | 37 | 0.00092434 | 0.00023166 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3274-14_1_2_load_92 | 38 | 0.0012983 | 0.00032538 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3274-14_1_2_load_152 | 39 | 0.00033227 | 8.3275e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3274-14_1_2_load_94 | 40 | 0.00050238 | 0.00012591 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3274-14_1_2_load_95 | 41 | 0.0010954 | 0.00027453 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3274-14_1_2_load_96 | 42 | 0.00099021 | 0.00024817 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3274-14_1_2_load_100 | 45 | 0.00058233 | 0.00014595 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3274-14_1_2_load_143 | 46 | 0.0060961 | 0.0015278 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3274-14_1_2_load_142 | 47 | 0.00088779 | 0.0002225 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3274-14_1_2_load_101 | 48 | 0.00036721 | 9.2032e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3274-14_1_2_load_103 | 49 | 0.00056661 | 0.00014201 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3274-14_1_2_load_106 | 52 | 0.00013088 | 3.2803e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3274-14_1_2_load_107 | 53 | 0.0014669 | 0.00036763 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3274-14_1_2_load_109 | 55 | 0.00031898 | 7.9943e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3274-14_1_2_load_120 | 56 | 0.00014674 | 3.6777e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3274-14_1_2_load_121 | 57 | 0.00046277 | 0.00011598 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3274-14_1_2_load_116 | 58 | 0.00036105 | 9.0488e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3274-14_1_2_load_110 | 59 | 0.00032653 | 8.1835e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3274-14_1_2_load_111 | 60 | 0.00033107 | 8.2973e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3274-14_1_2_load_118 | 61 | 0.00012884 | 3.2289e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3274-14_1_2_load_141 | 63 | 0.00012309 | 3.0848e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3274-14_1_2_load_122 | 64 | 4.8565e-05 | 1.2171e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3274-14_1_2_load_124 | 66 | 0.00046943 | 0.00011765 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3274-14_1_2_load_128 | 68 | 0.00014409 | 3.6113e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3274-14_1_2_load_136 | 69 | 0.0010915 | 0.00027356 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3274-14_1_2_load_140 | 71 | 0.0014612 | 0.00036621 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3274-14_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.046349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3274-14_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.10703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3274-14_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.063988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3274-14_1_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.11711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3274-14_1_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.09742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3274-14_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.035589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3274-14_1_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.020121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3274-14_1_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.0068734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3274-14_1_2_line_8 | NAYY 4x150 SE | 6 | 12 | 0.019485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3274-14_1_2_line_9 | NAYY 4x150 SE | 8 | 15 | 0.046552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3274-14_1_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.00090201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3274-14_1_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.016303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3274-14_1_2_line_12 | NAYY 4x150 SE | 11 | 23 | 0.014477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3274-14_1_2_line_13 | NAYY 4x150 SE | 13 | 14 | 0.065582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3274-14_1_2_line_14 | NAYY 4x150 SE | 14 | 61 | 0.06587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3274-14_1_2_line_15 | NAYY 4x150 SE | 14 | 62 | 0.22272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3274-14_1_2_line_16 | NAYY 4x150 SE | 15 | 16 | 0.1633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3274-14_1_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.13673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3274-14_1_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.081733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3274-14_1_2_line_19 | NAYY 4x150 SE | 18 | 19 | 0.023445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3274-14_1_2_line_20 | NAYY 4x150 SE | 18 | 20 | 0.027443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3274-14_1_2_line_21 | NAYY 4x150 SE | 19 | 21 | 0.0022494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3274-14_1_2_line_22 | NAYY 4x150 SE | 20 | 22 | 0.020891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3274-14_1_2_line_23 | NAYY 4x150 SE | 21 | 24 | 0.0046232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3274-14_1_2_line_24 | NAYY 4x150 SE | 22 | 27 | 0.0012364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3274-14_1_2_line_25 | NAYY 4x150 SE | 23 | 24 | 0.032764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3274-14_1_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.016341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3274-14_1_2_line_27 | NAYY 4x150 SE | 25 | 27 | 0.0073013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3274-14_1_2_line_28 | NAYY 4x150 SE | 26 | 28 | 0.033307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3274-14_1_2_line_29 | NAYY 4x150 SE | 27 | 29 | 0.047491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3274-14_1_2_line_30 | NAYY 4x150 SE | 28 | 30 | 0.039819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3274-14_1_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.045183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3274-14_1_2_line_32 | NAYY 4x150 SE | 29 | 32 | 0.0041209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3274-14_1_2_line_33 | NAYY 4x150 SE | 30 | 33 | 0.026421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3274-14_1_2_line_34 | NAYY 4x150 SE | 30 | 34 | 0.039028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3274-14_1_2_line_35 | NAYY 4x150 SE | 31 | 38 | 0.041261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3274-14_1_2_line_36 | NAYY 4x150 SE | 31 | 39 | 0.25384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3274-14_1_2_line_37 | NAYY 4x150 SE | 32 | 37 | 0.00033183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3274-14_1_2_line_38 | NAYY 4x150 SE | 33 | 35 | 0.042119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3274-14_1_2_line_39 | NAYY 4x150 SE | 34 | 36 | 0.0042132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3274-14_1_2_line_40 | NAYY 4x150 SE | 35 | 40 | 0.025262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3274-14_1_2_line_41 | NAYY 4x150 SE | 36 | 43 | 0.019122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3274-14_1_2_line_42 | NAYY 4x150 SE | 41 | 42 | 0.21301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3274-14_1_2_line_43 | NAYY 4x150 SE | 41 | 43 | 0.01503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3274-14_1_2_line_44 | NAYY 4x150 SE | 42 | 44 | 0.0090005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3274-14_1_2_line_45 | NAYY 4x150 SE | 43 | 45 | 0.0084309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3274-14_1_2_line_46 | NAYY 4x150 SE | 44 | 46 | 0.061378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3274-14_1_2_line_47 | NAYY 4x150 SE | 44 | 47 | 0.01099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3274-14_1_2_line_48 | NAYY 4x150 SE | 45 | 48 | 0.042642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3274-14_1_2_line_49 | NAYY 4x150 SE | 47 | 70 | 0.19714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3274-14_1_2_line_50 | NAYY 4x150 SE | 49 | 50 | 0.22128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3274-14_1_2_line_51 | NAYY 4x150 SE | 49 | 51 | 0.042288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3274-14_1_2_line_52 | NAYY 4x150 SE | 50 | 52 | 0.28342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3274-14_1_2_line_53 | NAYY 4x150 SE | 50 | 53 | 0.081758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3274-14_1_2_line_54 | NAYY 4x150 SE | 51 | 54 | 0.12536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3274-14_1_2_line_55 | NAYY 4x150 SE | 51 | 55 | 0.16657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3274-14_1_2_line_56 | NAYY 4x150 SE | 52 | 56 | 0.086785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3274-14_1_2_line_57 | NAYY 4x150 SE | 53 | 57 | 0.072202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3274-14_1_2_line_58 | NAYY 4x150 SE | 54 | 58 | 0.171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3274-14_1_2_line_59 | NAYY 4x150 SE | 55 | 59 | 0.015895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3274-14_1_2_line_60 | NAYY 4x150 SE | 56 | 61 | 0.061234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3274-14_1_2_line_61 | NAYY 4x150 SE | 57 | 64 | 0.18858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3274-14_1_2_line_62 | NAYY 4x150 SE | 59 | 60 | 0.10265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3274-14_1_2_line_63 | NAYY 4x150 SE | 62 | 63 | 0.14849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3274-14_1_2_line_64 | NAYY 4x150 SE | 63 | 70 | 0.10219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3274-14_1_2_line_65 | NAYY 4x150 SE | 64 | 65 | 0.097344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3274-14_1_2_line_66 | NAYY 4x150 SE | 65 | 66 | 0.17068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3274-14_1_2_line_67 | NAYY 4x150 SE | 66 | 67 | 0.019908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3274-14_1_2_line_68 | NAYY 4x150 SE | 67 | 68 | 0.16772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3274-14_1_2_line_69 | NAYY 4x150 SE | 69 | 70 | 0.11444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3274-14_1_2_line_70 | NAYY 4x150 SE | 70 | 71 | 0.21943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3274-14_1_2_trafo_76 | 0.25 MVA 20/0.4 kV | 72 | 11 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2752507.796 | 1231779.2739 | 2752504.1238 | 1231778.5791 | 2752462.4271 | 1231769.7967
1 | 2752357.4665 | 1231750.3486 | 2752368.236 | 1231749.9575 | 2752462.4271 | 1231769.7967
2 | 2752500.3729 | 1231715.7248 | 2752507.796 | 1231779.2739
3 | 2752507.796 | 1231779.2739 | 2752597.8103 | 1231796.4328 | 2752594.1319 | 1231821.6394
4 | 2752357.4665 | 1231750.3486 | 2752393.3408 | 1231822.835 | 2752400.5037 | 1231837.7463
5 | 2752594.1319 | 1231821.6394 | 2752621.2735 | 1231827.5082 | 2752627.9741 | 1231831.5395 | 2752627.9741 | 1231831.5395
6 | 2752594.1319 | 1231821.6394 | 2752591.2252 | 1231841.5497
7 | 2752403.4799 | 1231843.9419 | 2752400.5037 | 1231837.7463
8 | 2752627.9741 | 1231831.5395 | 2752630.8054 | 1231836.0608 | 2752633.7892 | 1231838.7733 | 2752638.0183 | 1231840.2054 | 2752643.663 | 1231840.5058
9 | 2752423.6367 | 1231885.9032 | 2752403.4799 | 1231843.9419
10 | 2752575.8236 | 1232055.108 | 2752575.9575 | 1232056
11 | 2752578.3778 | 1232072.1225 | 2752575.9575 | 1232056
12 | 2752578.3778 | 1232072.1225 | 2752564.2398 | 1232075.2387
13 | 2753000.9904 | 1231823.0191 | 2752935.5503 | 1231818.7037
14 | 2753000.9904 | 1231823.0191 | 2753066.7278 | 1231827.2046
15 | 2752958.9433 | 1232041.7177 | 2753000.9904 | 1231823.0191
16 | 2752423.6367 | 1231885.9032 | 2752381.875 | 1231912.6908 | 2752390.9551 | 1231938.8589 | 2752398.0062 | 1231968.2112 | 2752399.9627 | 1231993.5403 | 2752398.195 | 1232011.6451 | 2752393.9962 | 1232023.2148
17 | 2752423.6367 | 1231885.9032 | 2752454.5848 | 1231950.4008 | 2752473.3637 | 1231989.8189 | 2752480.16 | 1232010.2425
18 | 2752502.6369 | 1232088.8168 | 2752491.7047 | 1232049.2331 | 2752481.8258 | 1232015.2483 | 2752480.16 | 1232010.2425
19 | 2752502.6369 | 1232088.8168 | 2752525.5326 | 1232083.7703
20 | 2752502.6369 | 1232088.8168 | 2752510.7488 | 1232115.0332
21 | 2752525.5326 | 1232083.7703 | 2752527.7292 | 1232083.2861
22 | 2752516.9269 | 1232134.9894 | 2752516.3143 | 1232133.0197 | 2752510.7488 | 1232115.0332
23 | 2752527.7292 | 1232083.2861 | 2752532.244 | 1232082.291
24 | 2752517.2941 | 1232136.17 | 2752516.9269 | 1232134.9894
25 | 2752532.244 | 1232082.291 | 2752564.2398 | 1232075.2387
26 | 2752519.2437 | 1232143.2061 | 2752523.396 | 1232158.1914 | 2752523.6061 | 1232158.9544
27 | 2752517.2941 | 1232136.17 | 2752519.2437 | 1232143.2061
28 | 2752523.6061 | 1232158.9544 | 2752524.9899 | 1232163.9821 | 2752529.154 | 1232183.5737 | 2752529.8452 | 1232191.6071
29 | 2752517.2941 | 1232136.17 | 2752469.6887 | 1232137.7059
30 | 2752532.2611 | 1232231.3421 | 2752531.4355 | 1232210.0901 | 2752529.8452 | 1232191.6071
31 | 2752469.6887 | 1232137.7059 | 2752463.2545 | 1232161.385 | 2752457.9131 | 1232165.2183 | 2752443.8762 | 1232164.2352
32 | 2752469.6887 | 1232137.7059 | 2752465.5696 | 1232137.8266
33 | 2752532.2611 | 1232231.3421 | 2752558.6169 | 1232229.4886
34 | 2752532.2611 | 1232231.3421 | 2752532.8566 | 1232246.5047 | 2752533.1598 | 1232257.1224 | 2752533.5406 | 1232270.3483
35 | 2752422.4121 | 1232128.9966 | 2752443.8762 | 1232164.2352
36 | 2752443.8762 | 1232164.2352 | 2752217.5523 | 1232279.1805
37 | 2752465.2379 | 1232137.8363 | 2752465.5696 | 1232137.8266
38 | 2752558.6169 | 1232229.4886 | 2752600.6325 | 1232226.5338
39 | 2752533.6619 | 1232274.5597 | 2752533.5406 | 1232270.3483
40 | 2752600.6325 | 1232226.5338 | 2752625.8324 | 1232224.7617
41 | 2752533.7286 | 1232293.6819 | 2752533.6764 | 1232275.0633 | 2752533.6619 | 1232274.5597
42 | 2752548.7587 | 1232293.5943 | 2752761.7617 | 1232292.3528
43 | 2752533.7286 | 1232293.6819 | 2752548.7587 | 1232293.5943
44 | 2752770.7621 | 1232292.3003 | 2752761.7617 | 1232292.3528
45 | 2752533.7286 | 1232293.6819 | 2752533.2607 | 1232302.0998
46 | 2752770.7621 | 1232292.3003 | 2752772.0588 | 1232278.9991 | 2752784.5982 | 1232249.2382 | 2752786.4696 | 1232233.6274
47 | 2752770.7621 | 1232292.3003 | 2752781.7522 | 1232292.2361
48 | 2752533.2607 | 1232302.0998 | 2752532.7428 | 1232311.4175 | 2752530.0901 | 1232324.7284 | 2752522.8097 | 1232343.0737
49 | 2752978.8878 | 1232291.0844 | 2752781.7522 | 1232292.2361
50 | 2753497.297 | 1231854.6188 | 2753467.9364 | 1231635.297
51 | 2753462.7525 | 1231593.3288 | 2753465.9978 | 1231620.8159 | 2753467.9364 | 1231635.297
52 | 2753497.297 | 1231854.6188 | 2753214.4473 | 1231836.6098
53 | 2753497.297 | 1231854.6188 | 2753507.9944 | 1231935.6738
54 | 2753462.7525 | 1231593.3288 | 2753461.2053 | 1231576.3732 | 2753457.4792 | 1231520.8588 | 2753453.0537 | 1231468.3625
55 | 2753462.7525 | 1231593.3288 | 2753629.2016 | 1231599.6291
56 | 2753127.8381 | 1231831.0954 | 2753214.4473 | 1231836.6098
57 | 2753517.4414 | 1232007.2547 | 2753507.9944 | 1231935.6738
58 | 2753453.0537 | 1231468.3625 | 2753623.9281 | 1231474.9416
59 | 2753629.2016 | 1231599.6291 | 2753645.0856 | 1231600.2303
60 | 2753066.7278 | 1231827.2046 | 2753127.8381 | 1231831.0954
61 | 2753517.4414 | 1232007.2547 | 2753531.024 | 1232110.1717 | 2753532.9807 | 1232125.0471 | 2753541.9945 | 1232194.231
62 | 2753645.0856 | 1231600.2303 | 2753747.6636 | 1231604.113
63 | 2752958.9433 | 1232041.7177 | 2752956.2798 | 1232057.7641 | 2752969.0322 | 1232189.3719
64 | 2752978.8878 | 1232291.0844 | 2752969.0322 | 1232189.3719
65 | 2753554.571 | 1232290.7589 | 2753541.9945 | 1232194.231
66 | 2753554.571 | 1232290.7589 | 2753576.0709 | 1232460.0832
67 | 2753578.5786 | 1232479.8328 | 2753576.0709 | 1232460.0832
68 | 2753578.5786 | 1232479.8328 | 2753410.8556 | 1232479.1904
69 | 2752978.8878 | 1232291.0844 | 2752989.8065 | 1232405.0024
70 | 2752978.8878 | 1232291.0844 | 2753198.3222 | 1232290.9603

## bus_geodata
| x | y | coords
0 | 2752462.4271 | 1231769.7967
1 | 2752507.796 | 1231779.2739
2 | 2752357.4665 | 1231750.3486
3 | 2752500.3729 | 1231715.7248
4 | 2752594.1319 | 1231821.6394
5 | 2752400.5037 | 1231837.7463
6 | 2752627.9741 | 1231831.5395
7 | 2752591.2252 | 1231841.5497
8 | 2752403.4799 | 1231843.9419
9 | 2752575.8236 | 1232055.108
10 | 2752575.9575 | 1232056
11 | 2752578.3778 | 1232072.1225
12 | 2752643.663 | 1231840.5058
13 | 2752935.5503 | 1231818.7037
14 | 2753000.9904 | 1231823.0191
15 | 2752423.6367 | 1231885.9032
16 | 2752393.9962 | 1232023.2148
17 | 2752480.16 | 1232010.2425
18 | 2752502.6369 | 1232088.8168
19 | 2752525.5326 | 1232083.7703
20 | 2752510.7488 | 1232115.0332
21 | 2752527.7292 | 1232083.2861
22 | 2752516.9269 | 1232134.9894
23 | 2752564.2398 | 1232075.2387
24 | 2752532.244 | 1232082.291
25 | 2752519.2437 | 1232143.2061
26 | 2752523.6061 | 1232158.9544
27 | 2752517.2941 | 1232136.17
28 | 2752529.8452 | 1232191.6071
29 | 2752469.6887 | 1232137.7059
30 | 2752532.2611 | 1232231.3421
31 | 2752443.8762 | 1232164.2352
32 | 2752465.5696 | 1232137.8266
33 | 2752558.6169 | 1232229.4886
34 | 2752533.5406 | 1232270.3483
35 | 2752600.6325 | 1232226.5338
36 | 2752533.6619 | 1232274.5597
37 | 2752465.2379 | 1232137.8363
38 | 2752422.4121 | 1232128.9966
39 | 2752217.5523 | 1232279.1805
40 | 2752625.8324 | 1232224.7617
41 | 2752548.7587 | 1232293.5943
42 | 2752761.7617 | 1232292.3528
43 | 2752533.7286 | 1232293.6819
44 | 2752770.7621 | 1232292.3003
45 | 2752533.2607 | 1232302.0998
46 | 2752786.4696 | 1232233.6274
47 | 2752781.7522 | 1232292.2361
48 | 2752522.8097 | 1232343.0737
49 | 2753467.9364 | 1231635.297
50 | 2753497.297 | 1231854.6188
51 | 2753462.7525 | 1231593.3288
52 | 2753214.4473 | 1231836.6098
53 | 2753507.9944 | 1231935.6738
54 | 2753453.0537 | 1231468.3625
55 | 2753629.2016 | 1231599.6291
56 | 2753127.8381 | 1231831.0954
57 | 2753517.4414 | 1232007.2547
58 | 2753623.9281 | 1231474.9416
59 | 2753645.0856 | 1231600.2303
60 | 2753747.6636 | 1231604.113
61 | 2753066.7278 | 1231827.2046
62 | 2752958.9433 | 1232041.7177
63 | 2752969.0322 | 1232189.3719
64 | 2753541.9945 | 1232194.231
65 | 2753554.571 | 1232290.7589
66 | 2753576.0709 | 1232460.0832
67 | 2753578.5786 | 1232479.8328
68 | 2753410.8556 | 1232479.1904
69 | 2752989.8065 | 1232405.0024
70 | 2752978.8878 | 1232291.0844
71 | 2753198.3222 | 1232290.9603
72 | 2752578.3778 | 1232072.1225

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1