## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3274-16_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3274-16_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3274-16_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3274-16_0_2_node_14 | 0.4 | n |  | TRUE
4 | bus_LV_3274-16_0_2_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_3274-16_0_2_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_3274-16_0_2_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_3274-16_0_2_node_110 | 0.4 | n |  | TRUE
8 | bus_LV_3274-16_0_2_node_109 | 0.4 | n |  | TRUE
9 | bus_LV_3274-16_0_2_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_3274-16_0_2_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3274-16_0_2_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_3274-16_0_2_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_3274-16_0_2_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3274-16_0_2_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3274-16_0_2_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_3274-16_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_3274-16_0_2_node_51 | 0.4 | n |  | TRUE
18 | bus_LV_3274-16_0_2_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_3274-16_0_2_node_108 | 0.4 | n |  | TRUE
20 | bus_LV_3274-16_0_2_node_111 | 0.4 | n |  | TRUE
21 | bus_LV_3274-16_0_2_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_3274-16_0_2_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_3274-16_0_2_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_3274-16_0_2_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_3274-16_0_2_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_3274-16_0_2_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_3274-16_0_2_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_3274-16_0_2_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_3274-16_0_2_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_3274-16_0_2_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_3274-16_0_2_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_3274-16_0_2_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_3274-16_0_2_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_3274-16_0_2_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_3274-16_0_2_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_3274-16_0_2_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_3274-16_0_2_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_3274-16_0_2_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_3274-16_0_2_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_3274-16_0_2_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_3274-16_0_2_node_76 | 0.4 | n |  | TRUE
42 | bus_LV_3274-16_0_2_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_3274-16_0_2_node_74 | 0.4 | n |  | TRUE
44 | bus_LV_3274-16_0_2_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_3274-16_0_2_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_3274-16_0_2_node_58 | 0.4 | n |  | TRUE
47 | bus_LV_3274-16_0_2_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_3274-16_0_2_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_3274-16_0_2_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_3274-16_0_2_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_3274-16_0_2_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_3274-16_0_2_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_3274-16_0_2_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_3274-16_0_2_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_3274-16_0_2_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_3274-16_0_2_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_3274-16_0_2_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_3274-16_0_2_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_3274-16_0_2_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_3274-16_0_2_node_98 | 0.4 | n |  | TRUE
61 | bus_LV_3274-16_0_2_node_107 | 0.4 | n |  | TRUE
62 | bus_LV_3274-16_0_2_node_112 | 0.4 | n |  | TRUE
63 | bus_LV_3274-16_0_2_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_3274-16_0_2_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_3274-16_0_2_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_3274-16_0_2_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_3274-16_0_2_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_3274-16_0_2_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_3274-16_0_2_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_3274-16_0_2_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_3274-16_0_2_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_3274-16_0_2_node_79 | 0.4 | n |  | TRUE
73 | bus_LV_3274-16_0_2_node_80 | 0.4 | n |  | TRUE
74 | bus_LV_3274-16_0_2_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_3274-16_0_2_node_78 | 0.4 | n |  | TRUE
76 | bus_LV_3274-16_0_2_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_3274-16_0_2_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_3274-16_0_2_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_3274-16_0_2_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_3274-16_0_2_node_104 | 0.4 | n |  | TRUE
81 | bus_LV_3274-16_0_2_node_89 | 0.4 | n |  | TRUE
82 | bus_LV_3274-16_0_2_node_105 | 0.4 | n |  | TRUE
83 | bus_LV_3274-16_0_2_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_3274-16_0_2_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_3274-16_0_2_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_3274-16_0_2_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_3274-16_0_2_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_3274-16_0_2_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_3274-16_0_2_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_3274-16_0_2_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_3274-16_0_2_node_87 | 0.4 | n |  | TRUE
92 | bus_LV_3274-16_0_2_node_93 | 0.4 | n |  | TRUE
93 | bus_LV_3274-16_0_2_node_91 | 0.4 | n |  | TRUE
94 | bus_LV_3274-16_0_2_node_90 | 0.4 | n |  | TRUE
95 | bus_LV_3274-16_0_2_node_92 | 0.4 | n |  | TRUE
96 | bus_LV_3274-16_0_2_node_94 | 0.4 | n |  | TRUE
97 | bus_LV_3274-16_0_2_node_95 | 0.4 | n |  | TRUE
98 | bus_LV_3274-16_0_2_node_96 | 0.4 | n |  | TRUE
99 | bus_LV_3274-16_0_2_node_97 | 0.4 | n |  | TRUE
100 | bus_LV_3274-16_0_2_node_99 | 0.4 | n |  | TRUE
101 | bus_LV_3274-16_0_2_node_100 | 0.4 | n |  | TRUE
102 | bus_LV_3274-16_0_2_node_102 | 0.4 | n |  | TRUE
103 | bus_LV_3274-16_0_2_node_101 | 0.4 | n |  | TRUE
104 | bus_LV_3274-16_0_2_node_103 | 0.4 | n |  | TRUE
105 | bus_LV_3274-16_0_2_node_106 | 0.4 | n |  | TRUE
106 | bus_MV_52_0_node_116 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3274-16_0_2_load_0 | 0 | 0.0038894 | 0.00097477 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3274-16_0_2_load_13 | 5 | 0.0012511 | 0.00031356 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3274-16_0_2_load_15 | 6 | 0.0014913 | 0.00037374 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3274-16_0_2_load_110 | 7 | 0.0015335 | 0.00038433 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3274-16_0_2_load_109 | 8 | 0.0013752 | 0.00034466 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3274-16_0_2_load_4 | 9 | 0.039659 | 0.0099394 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3274-16_0_2_load_7 | 12 | 0.0029536 | 0.00074025 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3274-16_0_2_load_9 | 14 | 0.002764 | 0.00069273 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3274-16_0_2_load_10 | 15 | 0.002106 | 0.00052782 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3274-16_0_2_load_11 | 16 | 0.00088982 | 0.00022301 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3274-16_0_2_load_51 | 17 | 0.0012019 | 0.00030123 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3274-16_0_2_load_12 | 18 | 0.0014556 | 0.00036481 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3274-16_0_2_load_111 | 20 | 0.0016252 | 0.00040731 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3274-16_0_2_load_17 | 21 | 0.0027074 | 0.00067854 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3274-16_0_2_load_18 | 22 | 0.0024902 | 0.00062409 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3274-16_0_2_load_22 | 26 | 0.0017867 | 0.00044778 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3274-16_0_2_load_23 | 27 | 0.0028611 | 0.00071705 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3274-16_0_2_load_24 | 28 | 0.0016381 | 0.00041055 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3274-16_0_2_load_28 | 29 | 0.0025647 | 0.00064277 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3274-16_0_2_load_26 | 30 | 0.0035378 | 0.00088664 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3274-16_0_2_load_42 | 32 | 0.00186 | 0.00046615 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3274-16_0_2_load_25 | 33 | 0.00063671 | 0.00015957 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3274-16_0_2_load_34 | 34 | 0.0022802 | 0.00057148 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3274-16_0_2_load_27 | 35 | 0.0025736 | 0.00064501 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3274-16_0_2_load_30 | 36 | 0.0024678 | 0.00061849 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3274-16_0_2_load_43 | 38 | 0.0035343 | 0.00088579 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3274-16_0_2_load_33 | 39 | 0.0013207 | 0.00033099 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3274-16_0_2_load_46 | 40 | 0.0027762 | 0.00069579 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3274-16_0_2_load_76 | 41 | 0.0016982 | 0.00042561 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3274-16_0_2_load_44 | 42 | 0.001859 | 0.0004659 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3274-16_0_2_load_74 | 43 | 0.0021825 | 0.00054697 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3274-16_0_2_load_61 | 44 | 0.0023801 | 0.00059651 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3274-16_0_2_load_58 | 46 | 0.002511 | 0.00062932 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3274-16_0_2_load_59 | 47 | 0.002513 | 0.00062983 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3274-16_0_2_load_35 | 48 | 0.0023474 | 0.00058831 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3274-16_0_2_load_36 | 49 | 0.0019401 | 0.00048624 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3274-16_0_2_load_41 | 50 | 0.0019502 | 0.00048876 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3274-16_0_2_load_37 | 51 | 0.0015803 | 0.00039607 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3274-16_0_2_load_38 | 52 | 0.0022468 | 0.0005631 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3274-16_0_2_load_47 | 55 | 0.0017284 | 0.00043319 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3274-16_0_2_load_52 | 57 | 0.0030478 | 0.00076386 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3274-16_0_2_load_45 | 58 | 0.0018594 | 0.00046601 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3274-16_0_2_load_55 | 59 | 0.0011551 | 0.00028949 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3274-16_0_2_load_98 | 60 | 0.00057037 | 0.00014295 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3274-16_0_2_load_107 | 61 | 0.0016448 | 0.00041222 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3274-16_0_2_load_112 | 62 | 0.0012413 | 0.00031109 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3274-16_0_2_load_64 | 63 | 0.002505 | 0.00062781 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3274-16_0_2_load_56 | 64 | 0.0010833 | 0.00027149 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3274-16_0_2_load_63 | 65 | 0.0026633 | 0.00066749 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3274-16_0_2_load_60 | 66 | 0.0023478 | 0.00058841 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3274-16_0_2_load_65 | 67 | 0.0024867 | 0.00062324 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3274-16_0_2_load_62 | 69 | 0.001932 | 0.00048421 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3274-16_0_2_load_68 | 71 | 0.0028849 | 0.00072301 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3274-16_0_2_load_79 | 72 | 0.0021992 | 0.00055117 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3274-16_0_2_load_80 | 73 | 0.0020466 | 0.00051294 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3274-16_0_2_load_69 | 77 | 0.0019339 | 0.00048468 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3274-16_0_2_load_70 | 78 | 0.0034523 | 0.00086522 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3274-16_0_2_load_72 | 79 | 0.0028948 | 0.0007255 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3274-16_0_2_load_104 | 80 | 0.0030807 | 0.00077209 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3274-16_0_2_load_89 | 81 | 0.00066009 | 0.00016543 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3274-16_0_2_load_105 | 82 | 0.00079384 | 0.00019896 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3274-16_0_2_load_85 | 83 | 0.0012798 | 0.00032074 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3274-16_0_2_load_75 | 84 | 0.0017523 | 0.00043918 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3274-16_0_2_load_77 | 85 | 0.0022418 | 0.00056184 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3274-16_0_2_load_81 | 86 | 0.0011373 | 0.00028504 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3274-16_0_2_load_82 | 87 | 0.0013483 | 0.00033791 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3274-16_0_2_load_83 | 88 | 0.00093035 | 0.00023317 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3274-16_0_2_load_84 | 89 | 0.0015299 | 0.00038343 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3274-16_0_2_load_86 | 90 | 0.0010197 | 0.00025556 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3274-16_0_2_load_87 | 91 | 0.0016734 | 0.0004194 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3274-16_0_2_load_93 | 92 | 0.0010575 | 0.00026504 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3274-16_0_2_load_91 | 93 | 0.0015084 | 0.00037803 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3274-16_0_2_load_90 | 94 | 0.0016768 | 0.00042025 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3274-16_0_2_load_94 | 96 | 0.0015552 | 0.00038978 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3274-16_0_2_load_95 | 97 | 0.00087627 | 0.00021961 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3274-16_0_2_load_96 | 98 | 0.0022146 | 0.00055503 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3274-16_0_2_load_99 | 100 | 0.0011382 | 0.00028527 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3274-16_0_2_load_100 | 101 | 0.002112 | 0.00052932 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3274-16_0_2_load_102 | 102 | 0.0016015 | 0.00040137 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3274-16_0_2_load_101 | 103 | 0.00047302 | 0.00011855 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3274-16_0_2_load_103 | 104 | 0.00099559 | 0.00024952 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3274-16_0_2_load_106 | 105 | 0.0018506 | 0.00046381 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 79 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3274-16_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.020139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3274-16_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0060434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3274-16_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.030732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3274-16_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.023158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3274-16_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.029652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3274-16_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.021081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3274-16_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.032244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3274-16_0_2_line_7 | NAYY 4x150 SE | 5 | 18 | 0.019463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3274-16_0_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.028128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3274-16_0_2_line_9 | NAYY 4x150 SE | 8 | 96 | 0.026644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3274-16_0_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.013576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3274-16_0_2_line_11 | NAYY 4x150 SE | 10 | 14 | 0.01078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3274-16_0_2_line_12 | NAYY 4x150 SE | 10 | 15 | 0.01791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3274-16_0_2_line_13 | NAYY 4x150 SE | 11 | 12 | 0.019433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3274-16_0_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.011164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3274-16_0_2_line_15 | NAYY 4x150 SE | 12 | 16 | 0.00088519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3274-16_0_2_line_16 | NAYY 4x150 SE | 13 | 17 | 0.015057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3274-16_0_2_line_17 | NAYY 4x150 SE | 13 | 15 | 0.025216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3274-16_0_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.031625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3274-16_0_2_line_19 | NAYY 4x150 SE | 17 | 19 | 0.031203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3274-16_0_2_line_20 | NAYY 4x150 SE | 17 | 20 | 0.022764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3274-16_0_2_line_21 | NAYY 4x150 SE | 19 | 60 | 0.012276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3274-16_0_2_line_22 | NAYY 4x150 SE | 19 | 61 | 0.016766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3274-16_0_2_line_23 | NAYY 4x150 SE | 20 | 62 | 0.0098721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3274-16_0_2_line_24 | NAYY 4x150 SE | 21 | 22 | 0.030304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3274-16_0_2_line_25 | NAYY 4x150 SE | 21 | 23 | 0.015521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3274-16_0_2_line_26 | NAYY 4x150 SE | 22 | 24 | 0.0070826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3274-16_0_2_line_27 | NAYY 4x150 SE | 23 | 25 | 0.033981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3274-16_0_2_line_28 | NAYY 4x150 SE | 23 | 26 | 0.019877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3274-16_0_2_line_29 | NAYY 4x150 SE | 23 | 27 | 0.018813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3274-16_0_2_line_30 | NAYY 4x150 SE | 24 | 28 | 0.01577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3274-16_0_2_line_31 | NAYY 4x150 SE | 25 | 29 | 0.035283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3274-16_0_2_line_32 | NAYY 4x150 SE | 25 | 30 | 0.0048495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3274-16_0_2_line_33 | NAYY 4x150 SE | 26 | 31 | 0.015126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3274-16_0_2_line_34 | NAYY 4x150 SE | 27 | 32 | 0.039647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3274-16_0_2_line_35 | NAYY 4x150 SE | 28 | 33 | 0.018356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3274-16_0_2_line_36 | NAYY 4x150 SE | 29 | 34 | 0.011974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3274-16_0_2_line_37 | NAYY 4x150 SE | 30 | 35 | 0.021449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3274-16_0_2_line_38 | NAYY 4x150 SE | 31 | 36 | 0.018063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3274-16_0_2_line_39 | NAYY 4x150 SE | 31 | 37 | 0.020569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3274-16_0_2_line_40 | NAYY 4x150 SE | 32 | 38 | 0.024825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3274-16_0_2_line_41 | NAYY 4x150 SE | 34 | 39 | 0.0097775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3274-16_0_2_line_42 | NAYY 4x150 SE | 36 | 40 | 0.02432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3274-16_0_2_line_43 | NAYY 4x150 SE | 37 | 41 | 0.011204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3274-16_0_2_line_44 | NAYY 4x150 SE | 39 | 48 | 0.014083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3274-16_0_2_line_45 | NAYY 4x150 SE | 40 | 42 | 0.025577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3274-16_0_2_line_46 | NAYY 4x150 SE | 41 | 43 | 0.0077826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3274-16_0_2_line_47 | NAYY 4x150 SE | 42 | 58 | 0.027471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3274-16_0_2_line_48 | NAYY 4x150 SE | 43 | 84 | 0.018597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3274-16_0_2_line_49 | NAYY 4x150 SE | 44 | 45 | 0.017501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3274-16_0_2_line_50 | NAYY 4x150 SE | 45 | 63 | 0.017514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3274-16_0_2_line_51 | NAYY 4x150 SE | 45 | 56 | 0.034938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3274-16_0_2_line_52 | NAYY 4x150 SE | 46 | 47 | 0.023887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3274-16_0_2_line_53 | NAYY 4x150 SE | 47 | 66 | 0.012037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3274-16_0_2_line_54 | NAYY 4x150 SE | 48 | 49 | 0.025334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3274-16_0_2_line_55 | NAYY 4x150 SE | 49 | 50 | 0.019957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3274-16_0_2_line_56 | NAYY 4x150 SE | 51 | 52 | 0.0065315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3274-16_0_2_line_57 | NAYY 4x150 SE | 52 | 53 | 0.02277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3274-16_0_2_line_58 | NAYY 4x150 SE | 53 | 54 | 0.006391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3274-16_0_2_line_59 | NAYY 4x150 SE | 53 | 55 | 0.020233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3274-16_0_2_line_60 | NAYY 4x150 SE | 54 | 56 | 0.011573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3274-16_0_2_line_61 | NAYY 4x150 SE | 54 | 57 | 0.0028824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3274-16_0_2_line_62 | NAYY 4x150 SE | 55 | 58 | 0.025232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3274-16_0_2_line_63 | NAYY 4x150 SE | 56 | 59 | 0.049605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3274-16_0_2_line_64 | NAYY 4x150 SE | 59 | 64 | 0.020035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3274-16_0_2_line_65 | NAYY 4x150 SE | 60 | 98 | 0.014928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3274-16_0_2_line_66 | NAYY 4x150 SE | 61 | 105 | 0.016091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3274-16_0_2_line_67 | NAYY 4x150 SE | 63 | 65 | 0.011728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3274-16_0_2_line_68 | NAYY 4x150 SE | 65 | 69 | 0.0079335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3274-16_0_2_line_69 | NAYY 4x150 SE | 66 | 67 | 0.011789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3274-16_0_2_line_70 | NAYY 4x150 SE | 67 | 68 | 0.012284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3274-16_0_2_line_71 | NAYY 4x150 SE | 68 | 70 | 0.030608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3274-16_0_2_line_72 | NAYY 4x150 SE | 68 | 71 | 0.0087597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3274-16_0_2_line_73 | NAYY 4x150 SE | 70 | 72 | 0.011886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3274-16_0_2_line_74 | NAYY 4x150 SE | 70 | 73 | 0.037632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3274-16_0_2_line_75 | NAYY 4x150 SE | 71 | 74 | 0.016451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3274-16_0_2_line_76 | NAYY 4x150 SE | 72 | 75 | 0.01099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3274-16_0_2_line_77 | NAYY 4x150 SE | 74 | 76 | 0.006536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3274-16_0_2_line_78 | NAYY 4x150 SE | 74 | 77 | 0.028257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
79 | LV_3274-16_0_2_line_79 | NAYY 4x150 SE | 75 | 85 | 0.011338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3274-16_0_2_line_80 | NAYY 4x150 SE | 76 | 80 | 0.018883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3274-16_0_2_line_81 | NAYY 4x150 SE | 76 | 81 | 0.037415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3274-16_0_2_line_82 | NAYY 4x150 SE | 77 | 78 | 0.004089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
83 | LV_3274-16_0_2_line_83 | NAYY 4x150 SE | 78 | 79 | 0.015063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
84 | LV_3274-16_0_2_line_84 | NAYY 4x150 SE | 80 | 82 | 0.01564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3274-16_0_2_line_85 | NAYY 4x150 SE | 81 | 83 | 5.2559e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3274-16_0_2_line_86 | NAYY 4x150 SE | 82 | 105 | 0.00025581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3274-16_0_2_line_87 | NAYY 4x150 SE | 83 | 88 | 0.019295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3274-16_0_2_line_88 | NAYY 4x150 SE | 84 | 85 | 0.0063015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3274-16_0_2_line_89 | NAYY 4x150 SE | 86 | 87 | 0.021571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3274-16_0_2_line_90 | NAYY 4x150 SE | 86 | 88 | 0.0010396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3274-16_0_2_line_91 | NAYY 4x150 SE | 87 | 89 | 0.001557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3274-16_0_2_line_92 | NAYY 4x150 SE | 89 | 90 | 0.021638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3274-16_0_2_line_93 | NAYY 4x150 SE | 90 | 91 | 0.0008557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3274-16_0_2_line_94 | NAYY 4x150 SE | 92 | 93 | 0.031516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3274-16_0_2_line_95 | NAYY 4x150 SE | 93 | 94 | 0.0099382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3274-16_0_2_line_96 | NAYY 4x150 SE | 94 | 95 | 0.014102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3274-16_0_2_line_97 | NAYY 4x150 SE | 95 | 96 | 0.0098688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3274-16_0_2_line_98 | NAYY 4x150 SE | 97 | 98 | 0.0018314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_3274-16_0_2_line_99 | NAYY 4x150 SE | 97 | 99 | 0.014571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_3274-16_0_2_line_100 | NAYY 4x150 SE | 99 | 100 | 0.012901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_3274-16_0_2_line_101 | NAYY 4x150 SE | 99 | 101 | 0.026217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_3274-16_0_2_line_102 | NAYY 4x150 SE | 100 | 102 | 0.0021155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_3274-16_0_2_line_103 | NAYY 4x150 SE | 102 | 103 | 0.0020801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_3274-16_0_2_line_104 | NAYY 4x150 SE | 103 | 104 | 0.0035667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3274-16_0_2_trafo_72 | 0.25 MVA 20/0.4 kV | 106 | 79 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2755689.8914 | 1230946.1895 | 2755693.2696 | 1230948.8583 | 2755698.0683 | 1230963.9478
1 | 2755699.8999 | 1230969.7069 | 2755698.0683 | 1230963.9478
2 | 2755665.3237 | 1230964.6525 | 2755689.8914 | 1230946.1895
3 | 2755699.8999 | 1230969.7069 | 2755706.9224 | 1230991.7782
4 | 2755665.3237 | 1230964.6525 | 2755640.6023 | 1230981.0256
5 | 2755706.9224 | 1230991.7782 | 2755727.0202 | 1230985.4156
6 | 2755682.0579 | 1231012.3077 | 2755706.9224 | 1230991.7782
7 | 2755624.358 | 1230991.7424 | 2755624.65 | 1230991.5909 | 2755640.6023 | 1230981.0256
8 | 2755691.3775 | 1231038.8474 | 2755682.0579 | 1231012.3077
9 | 2755691.3775 | 1231038.8474 | 2755700.2051 | 1231063.9862
10 | 2755544.5584 | 1230995.5212 | 2755554.6627 | 1230986.4548
11 | 2755544.5584 | 1230995.5212 | 2755538.9682 | 1230986.3036
12 | 2755544.5584 | 1230995.5212 | 2755555.2618 | 1231009.8813
13 | 2755580.1651 | 1231018.8079 | 2755595.9613 | 1231007.4895
14 | 2755573.1695 | 1231027.5219 | 2755580.1651 | 1231018.8079
15 | 2755595.9613 | 1231007.4895 | 2755596.6809 | 1231006.974
16 | 2755573.1695 | 1231027.5219 | 2755579.9871 | 1231033.1277 | 2755584.4885 | 1231037.4718
17 | 2755573.1695 | 1231027.5219 | 2755564.0101 | 1231019.8973 | 2755555.2618 | 1231009.8813
18 | 2755624.358 | 1230991.7424 | 2755610.1066 | 1230999.1396 | 2755600.0059 | 1231004.5915 | 2755596.6809 | 1231006.974
19 | 2755594.6904 | 1231065.7652 | 2755595.1138 | 1231058.2804 | 2755592.9067 | 1231050.2485 | 2755589.6572 | 1231043.8241 | 2755584.4885 | 1231037.4718
20 | 2755584.4885 | 1231037.4718 | 2755567.3966 | 1231052.508
21 | 2755594.6904 | 1231065.7652 | 2755606.8151 | 1231067.6858
22 | 2755594.6904 | 1231065.7652 | 2755590.3568 | 1231081.9614
23 | 2755559.9844 | 1231059.0287 | 2755567.3966 | 1231052.508
24 | 2755496.6476 | 1231274.7127 | 2755485.0009 | 1231246.7358
25 | 2755479.0359 | 1231232.4072 | 2755485.0009 | 1231246.7358
26 | 2755499.3697 | 1231281.2513 | 2755496.6476 | 1231274.7127
27 | 2755479.0359 | 1231232.4072 | 2755445.4707 | 1231238.2906
28 | 2755479.0359 | 1231232.4072 | 2755498.6152 | 1231228.9787
29 | 2755479.0359 | 1231232.4072 | 2755471.3335 | 1231215.243
30 | 2755499.3697 | 1231281.2513 | 2755483.9709 | 1231284.6513
31 | 2755445.4707 | 1231238.2906 | 2755430.2622 | 1231206.4535
32 | 2755445.4707 | 1231238.2906 | 2755440.694 | 1231239.1281
33 | 2755513.5145 | 1231226.3698 | 2755498.6152 | 1231228.9787
34 | 2755471.3335 | 1231215.243 | 2755455.1015 | 1231179.0712
35 | 2755466.0466 | 1231288.609 | 2755483.9709 | 1231284.6513
36 | 2755430.2622 | 1231206.4535 | 2755425.101 | 1231195.6491
37 | 2755419.5669 | 1231242.832 | 2755440.694 | 1231239.1281
38 | 2755513.5145 | 1231226.3698 | 2755506.2063 | 1231209.8518
39 | 2755513.5145 | 1231226.3698 | 2755513.9636 | 1231226.2926 | 2755519.9551 | 1231225.2372 | 2755525.6132 | 1231238.075
40 | 2755444.9379 | 1231156.4223 | 2755455.1015 | 1231179.0712
41 | 2755420.8865 | 1231186.8266 | 2755425.101 | 1231195.6491
42 | 2755496.3663 | 1231187.6115 | 2755506.2063 | 1231209.8518
43 | 2755525.6132 | 1231238.075 | 2755535.9776 | 1231233.8199
44 | 2755420.8865 | 1231186.8266 | 2755414.8161 | 1231174.1188
45 | 2755486.0297 | 1231164.2161 | 2755496.3146 | 1231187.4947 | 2755496.3663 | 1231187.6115
46 | 2755538.8762 | 1231228.9572 | 2755534.8183 | 1231230.631 | 2755535.9776 | 1231233.8199 | 2755535.9776 | 1231233.8199
47 | 2755486.0297 | 1231164.2161 | 2755474.9278 | 1231139.0884
48 | 2755538.8762 | 1231228.9572 | 2755556.0684 | 1231221.8658
49 | 2755482.1468 | 1231138.445 | 2755489.0534 | 1231154.5261
50 | 2755482.1468 | 1231138.445 | 2755485.8088 | 1231136.9282 | 2755498.3291 | 1231131.7448
51 | 2755482.1468 | 1231138.445 | 2755467.6103 | 1231106.6574
52 | 2755520.6742 | 1231186.7293 | 2755542.6257 | 1231177.3112
53 | 2755542.6257 | 1231177.3112 | 2755553.6877 | 1231172.5652
54 | 2755403.3816 | 1231151.5263 | 2755407.6443 | 1231159.1056 | 2755414.8161 | 1231174.1188
55 | 2755403.3816 | 1231151.5263 | 2755399.201 | 1231144.0931 | 2755398.9589 | 1231137.703 | 2755401.1422 | 1231135.9362 | 2755400.1566 | 1231133.9404
56 | 2755427.944 | 1231103.7281 | 2755433.8076 | 1231102.4809 | 2755434.3318 | 1231102.366
57 | 2755456.5739 | 1231097.4936 | 2755456.1548 | 1231097.5827 | 2755434.3318 | 1231102.366
58 | 2755462.8317 | 1231096.1115 | 2755456.5739 | 1231097.4936
59 | 2755456.5739 | 1231097.4936 | 2755462.6896 | 1231111.3887 | 2755464.731 | 1231116.0091
60 | 2755462.8317 | 1231096.1115 | 2755467.6103 | 1231106.6574
61 | 2755462.8317 | 1231096.1115 | 2755461.7333 | 1231093.4466
62 | 2755474.9278 | 1231139.0884 | 2755464.731 | 1231116.0091
63 | 2755467.6103 | 1231106.6574 | 2755515.0069 | 1231092.0206
64 | 2755515.0069 | 1231092.0206 | 2755534.15 | 1231086.1089
65 | 2755606.8151 | 1231067.6858 | 2755621.5595 | 1231070.0214
66 | 2755590.3568 | 1231081.9614 | 2755586.1976 | 1231097.5061 | 2755586.1976 | 1231097.5061
67 | 2755509.1651 | 1231127.2586 | 2755498.3291 | 1231131.7448
68 | 2755516.4953 | 1231124.2239 | 2755509.1651 | 1231127.2586
69 | 2755564.5219 | 1231167.917 | 2755553.6877 | 1231172.5652
70 | 2755575.8111 | 1231163.0735 | 2755564.5219 | 1231167.917
71 | 2755575.8111 | 1231163.0735 | 2755576.4085 | 1231181.0615 | 2755574.8079 | 1231193.5647
72 | 2755575.8111 | 1231163.0735 | 2755576.5321 | 1231154.3435
73 | 2755574.8079 | 1231193.5647 | 2755574.5604 | 1231195.4933 | 2755573.5922 | 1231205.3879
74 | 2755574.8079 | 1231193.5647 | 2755572.6948 | 1231192.653 | 2755568.9655 | 1231192.6888 | 2755539.518 | 1231204.1559
75 | 2755577.8861 | 1231137.9487 | 2755576.5321 | 1231154.3435
76 | 2755572.522 | 1231216.3262 | 2755573.5922 | 1231205.3879
77 | 2755578.7983 | 1231131.4776 | 2755577.8861 | 1231137.9487
78 | 2755577.8861 | 1231137.9487 | 2755565.6769 | 1231137.4065 | 2755561.6417 | 1231136.3889 | 2755559.3674 | 1231134.105 | 2755555.9371 | 1231126.1634
79 | 2755572.522 | 1231216.3262 | 2755570.2874 | 1231216.0007 | 2755561.8938 | 1231219.4629
80 | 2755578.7983 | 1231131.4776 | 2755580.1933 | 1231123.3509 | 2755582.6004 | 1231112.9898
81 | 2755578.7983 | 1231131.4776 | 2755616.032 | 1231135.1596
82 | 2755555.9371 | 1231126.1634 | 2755554.3157 | 1231122.4096
83 | 2755548.3427 | 1231108.5816 | 2755554.3157 | 1231122.4096
84 | 2755586.1397 | 1231097.7552 | 2755582.6004 | 1231112.9898
85 | 2755616.0843 | 1231135.1648 | 2755616.032 | 1231135.1596
86 | 2755586.1976 | 1231097.5061 | 2755586.1397 | 1231097.7552
87 | 2755616.0843 | 1231135.1648 | 2755635.2854 | 1231137.0636
88 | 2755561.8938 | 1231219.4629 | 2755556.0684 | 1231221.8658
89 | 2755636.32 | 1231137.1659 | 2755657.7867 | 1231139.2887
90 | 2755636.32 | 1231137.1659 | 2755635.2854 | 1231137.0636
91 | 2755657.7867 | 1231139.2887 | 2755659.3362 | 1231139.442
92 | 2755680.8694 | 1231141.5714 | 2755659.3362 | 1231139.442
93 | 2755681.7209 | 1231141.6556 | 2755680.8694 | 1231141.5714
94 | 2755720.1965 | 1231126.2775 | 2755710.7107 | 1231096.2232
95 | 2755707.7194 | 1231086.7459 | 2755710.7107 | 1231096.2232
96 | 2755703.4748 | 1231073.2976 | 2755707.7194 | 1231086.7459
97 | 2755703.4748 | 1231073.2976 | 2755700.2051 | 1231063.9862
98 | 2755623.3684 | 1231070.3079 | 2755621.5595 | 1231070.0214
99 | 2755637.7603 | 1231072.5877 | 2755623.3684 | 1231070.3079
100 | 2755637.7603 | 1231072.5877 | 2755650.5007 | 1231074.6157
101 | 2755634.5057 | 1231047.2676 | 2755638.9279 | 1231059.5504 | 2755639.1895 | 1231062.8715 | 2755638.8216 | 1231067.0769 | 2755637.7603 | 1231072.5877
102 | 2755650.5007 | 1231074.6157 | 2755652.59 | 1231074.9483
103 | 2755654.6442 | 1231075.2753 | 2755652.59 | 1231074.9483
104 | 2755658.1666 | 1231075.836 | 2755654.6442 | 1231075.2753

## bus_geodata
| x | y | coords
0 | 2755698.0683 | 1230963.9478
1 | 2755689.8914 | 1230946.1895
2 | 2755699.8999 | 1230969.7069
3 | 2755665.3237 | 1230964.6525
4 | 2755706.9224 | 1230991.7782
5 | 2755640.6023 | 1230981.0256
6 | 2755727.0202 | 1230985.4156
7 | 2755682.0579 | 1231012.3077
8 | 2755691.3775 | 1231038.8474
9 | 2755554.6627 | 1230986.4548
10 | 2755544.5584 | 1230995.5212
11 | 2755580.1651 | 1231018.8079
12 | 2755595.9613 | 1231007.4895
13 | 2755573.1695 | 1231027.5219
14 | 2755538.9682 | 1230986.3036
15 | 2755555.2618 | 1231009.8813
16 | 2755596.6809 | 1231006.974
17 | 2755584.4885 | 1231037.4718
18 | 2755624.358 | 1230991.7424
19 | 2755594.6904 | 1231065.7652
20 | 2755567.3966 | 1231052.508
21 | 2755485.0009 | 1231246.7358
22 | 2755496.6476 | 1231274.7127
23 | 2755479.0359 | 1231232.4072
24 | 2755499.3697 | 1231281.2513
25 | 2755445.4707 | 1231238.2906
26 | 2755498.6152 | 1231228.9787
27 | 2755471.3335 | 1231215.243
28 | 2755483.9709 | 1231284.6513
29 | 2755430.2622 | 1231206.4535
30 | 2755440.694 | 1231239.1281
31 | 2755513.5145 | 1231226.3698
32 | 2755455.1015 | 1231179.0712
33 | 2755466.0466 | 1231288.609
34 | 2755425.101 | 1231195.6491
35 | 2755419.5669 | 1231242.832
36 | 2755506.2063 | 1231209.8518
37 | 2755525.6132 | 1231238.075
38 | 2755444.9379 | 1231156.4223
39 | 2755420.8865 | 1231186.8266
40 | 2755496.3663 | 1231187.6115
41 | 2755535.9776 | 1231233.8199
42 | 2755486.0297 | 1231164.2161
43 | 2755538.8762 | 1231228.9572
44 | 2755489.0534 | 1231154.5261
45 | 2755482.1468 | 1231138.445
46 | 2755520.6742 | 1231186.7293
47 | 2755542.6257 | 1231177.3112
48 | 2755414.8161 | 1231174.1188
49 | 2755403.3816 | 1231151.5263
50 | 2755400.1566 | 1231133.9404
51 | 2755427.944 | 1231103.7281
52 | 2755434.3318 | 1231102.366
53 | 2755456.5739 | 1231097.4936
54 | 2755462.8317 | 1231096.1115
55 | 2755464.731 | 1231116.0091
56 | 2755467.6103 | 1231106.6574
57 | 2755461.7333 | 1231093.4466
58 | 2755474.9278 | 1231139.0884
59 | 2755515.0069 | 1231092.0206
60 | 2755606.8151 | 1231067.6858
61 | 2755590.3568 | 1231081.9614
62 | 2755559.9844 | 1231059.0287
63 | 2755498.3291 | 1231131.7448
64 | 2755534.15 | 1231086.1089
65 | 2755509.1651 | 1231127.2586
66 | 2755553.6877 | 1231172.5652
67 | 2755564.5219 | 1231167.917
68 | 2755575.8111 | 1231163.0735
69 | 2755516.4953 | 1231124.2239
70 | 2755574.8079 | 1231193.5647
71 | 2755576.5321 | 1231154.3435
72 | 2755573.5922 | 1231205.3879
73 | 2755539.518 | 1231204.1559
74 | 2755577.8861 | 1231137.9487
75 | 2755572.522 | 1231216.3262
76 | 2755578.7983 | 1231131.4776
77 | 2755555.9371 | 1231126.1634
78 | 2755554.3157 | 1231122.4096
79 | 2755548.3427 | 1231108.5816
80 | 2755582.6004 | 1231112.9898
81 | 2755616.032 | 1231135.1596
82 | 2755586.1397 | 1231097.7552
83 | 2755616.0843 | 1231135.1648
84 | 2755556.0684 | 1231221.8658
85 | 2755561.8938 | 1231219.4629
86 | 2755636.32 | 1231137.1659
87 | 2755657.7867 | 1231139.2887
88 | 2755635.2854 | 1231137.0636
89 | 2755659.3362 | 1231139.442
90 | 2755680.8694 | 1231141.5714
91 | 2755681.7209 | 1231141.6556
92 | 2755720.1965 | 1231126.2775
93 | 2755710.7107 | 1231096.2232
94 | 2755707.7194 | 1231086.7459
95 | 2755703.4748 | 1231073.2976
96 | 2755700.2051 | 1231063.9862
97 | 2755623.3684 | 1231070.3079
98 | 2755621.5595 | 1231070.0214
99 | 2755637.7603 | 1231072.5877
100 | 2755650.5007 | 1231074.6157
101 | 2755634.5057 | 1231047.2676
102 | 2755652.59 | 1231074.9483
103 | 2755654.6442 | 1231075.2753
104 | 2755658.1666 | 1231075.836
105 | 2755586.1976 | 1231097.5061
106 | 2755577.8861 | 1231137.9487

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1