## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3274-18_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3274-18_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3274-18_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3274-18_0_2_node_54 | 0.4 | n |  | TRUE
4 | bus_LV_3274-18_0_2_node_53 | 0.4 | n |  | TRUE
5 | bus_LV_3274-18_0_2_node_55 | 0.4 | n |  | TRUE
6 | bus_LV_3274-18_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3274-18_0_2_node_89 | 0.4 | n |  | TRUE
8 | bus_LV_3274-18_0_2_node_86 | 0.4 | n |  | TRUE
9 | bus_LV_3274-18_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3274-18_0_2_node_94 | 0.4 | n |  | TRUE
11 | bus_LV_3274-18_0_2_node_41 | 0.4 | n |  | TRUE
12 | bus_LV_3274-18_0_2_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_3274-18_0_2_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_3274-18_0_2_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_3274-18_0_2_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_3274-18_0_2_node_174 | 0.4 | n |  | TRUE
17 | bus_LV_3274-18_0_2_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_3274-18_0_2_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_3274-18_0_2_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_3274-18_0_2_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_3274-18_0_2_node_170 | 0.4 | n |  | TRUE
22 | bus_LV_3274-18_0_2_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_3274-18_0_2_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_3274-18_0_2_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_3274-18_0_2_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_3274-18_0_2_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_3274-18_0_2_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_3274-18_0_2_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_3274-18_0_2_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_3274-18_0_2_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_3274-18_0_2_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_3274-18_0_2_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_3274-18_0_2_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_3274-18_0_2_node_91 | 0.4 | n |  | TRUE
35 | bus_LV_3274-18_0_2_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_3274-18_0_2_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_3274-18_0_2_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_3274-18_0_2_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_3274-18_0_2_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_3274-18_0_2_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_3274-18_0_2_node_155 | 0.4 | n |  | TRUE
42 | bus_LV_3274-18_0_2_node_154 | 0.4 | n |  | TRUE
43 | bus_LV_3274-18_0_2_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_3274-18_0_2_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_3274-18_0_2_node_97 | 0.4 | n |  | TRUE
46 | bus_LV_3274-18_0_2_node_176 | 0.4 | n |  | TRUE
47 | bus_LV_3274-18_0_2_node_87 | 0.4 | n |  | TRUE
48 | bus_LV_3274-18_0_2_node_88 | 0.4 | n |  | TRUE
49 | bus_LV_3274-18_0_2_node_90 | 0.4 | n |  | TRUE
50 | bus_LV_3274-18_0_2_node_92 | 0.4 | n |  | TRUE
51 | bus_LV_3274-18_0_2_node_93 | 0.4 | n |  | TRUE
52 | bus_LV_3274-18_0_2_node_95 | 0.4 | n |  | TRUE
53 | bus_LV_3274-18_0_2_node_96 | 0.4 | n |  | TRUE
54 | bus_LV_3274-18_0_2_node_98 | 0.4 | n |  | TRUE
55 | bus_LV_3274-18_0_2_node_150 | 0.4 | n |  | TRUE
56 | bus_LV_3274-18_0_2_node_151 | 0.4 | n |  | TRUE
57 | bus_LV_3274-18_0_2_node_152 | 0.4 | n |  | TRUE
58 | bus_LV_3274-18_0_2_node_153 | 0.4 | n |  | TRUE
59 | bus_LV_3274-18_0_2_node_156 | 0.4 | n |  | TRUE
60 | bus_LV_3274-18_0_2_node_157 | 0.4 | n |  | TRUE
61 | bus_LV_3274-18_0_2_node_158 | 0.4 | n |  | TRUE
62 | bus_LV_3274-18_0_2_node_159 | 0.4 | n |  | TRUE
63 | bus_LV_3274-18_0_2_node_160 | 0.4 | n |  | TRUE
64 | bus_LV_3274-18_0_2_node_161 | 0.4 | n |  | TRUE
65 | bus_LV_3274-18_0_2_node_164 | 0.4 | n |  | TRUE
66 | bus_LV_3274-18_0_2_node_162 | 0.4 | n |  | TRUE
67 | bus_LV_3274-18_0_2_node_163 | 0.4 | n |  | TRUE
68 | bus_LV_3274-18_0_2_node_171 | 0.4 | n |  | TRUE
69 | bus_LV_3274-18_0_2_node_165 | 0.4 | n |  | TRUE
70 | bus_LV_3274-18_0_2_node_168 | 0.4 | n |  | TRUE
71 | bus_LV_3274-18_0_2_node_166 | 0.4 | n |  | TRUE
72 | bus_LV_3274-18_0_2_node_167 | 0.4 | n |  | TRUE
73 | bus_LV_3274-18_0_2_node_169 | 0.4 | n |  | TRUE
74 | bus_LV_3274-18_0_2_node_172 | 0.4 | n |  | TRUE
75 | bus_LV_3274-18_0_2_node_173 | 0.4 | n |  | TRUE
76 | bus_LV_3274-18_0_2_node_175 | 0.4 | n |  | TRUE
77 | bus_LV_3274-18_0_2_node_177 | 0.4 | n |  | TRUE
78 | bus_MV_49_1_node_225 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3274-18_0_2_load_0 | 0 | 0.0010487 | 0.00026283 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3274-18_0_2_load_1 | 1 | 0.0023009 | 0.00057667 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3274-18_0_2_load_54 | 3 | 0.0033253 | 0.00083341 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3274-18_0_2_load_53 | 4 | 0.00073774 | 0.0001849 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3274-18_0_2_load_55 | 5 | 0.00082447 | 0.00020663 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3274-18_0_2_load_86 | 8 | 0.0050206 | 0.0012583 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3274-18_0_2_load_94 | 10 | 0.008965 | 0.0022469 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3274-18_0_2_load_44 | 12 | 0.0036255 | 0.00090865 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3274-18_0_2_load_20 | 13 | 0.00086246 | 0.00021615 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3274-18_0_2_load_21 | 14 | 0.00052476 | 0.00013152 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3274-18_0_2_load_22 | 15 | 0.0010885 | 0.00027281 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3274-18_0_2_load_174 | 16 | 0.0012793 | 0.00032063 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3274-18_0_2_load_23 | 17 | 0.00024431 | 6.1231e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3274-18_0_2_load_24 | 18 | 0.00035736 | 8.9563e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3274-18_0_2_load_26 | 19 | 0.00097151 | 0.00024348 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3274-18_0_2_load_28 | 20 | 0.0003603 | 9.0298e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3274-18_0_2_load_170 | 21 | 0.00078646 | 0.00019711 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3274-18_0_2_load_29 | 22 | 0.00069594 | 0.00017442 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3274-18_0_2_load_30 | 23 | 0.00067718 | 0.00016972 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3274-18_0_2_load_32 | 25 | 0.0016941 | 0.00042459 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3274-18_0_2_load_33 | 26 | 0.00043143 | 0.00010813 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3274-18_0_2_load_34 | 27 | 0.0024213 | 0.00060683 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3274-18_0_2_load_35 | 28 | 0.0006106 | 0.00015303 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3274-18_0_2_load_37 | 30 | 0.00068651 | 0.00017206 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3274-18_0_2_load_38 | 31 | 0.0003877 | 9.7167e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3274-18_0_2_load_39 | 32 | 0.0018114 | 0.00045398 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3274-18_0_2_load_91 | 34 | 0.0028549 | 0.0007155 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3274-18_0_2_load_42 | 35 | 0.00074154 | 0.00018585 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3274-18_0_2_load_45 | 37 | 0.0026703 | 0.00066924 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3274-18_0_2_load_49 | 40 | 0.0075135 | 0.0018831 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3274-18_0_2_load_155 | 41 | 0.00085052 | 0.00021316 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3274-18_0_2_load_154 | 42 | 0.0031882 | 0.00079904 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3274-18_0_2_load_51 | 43 | 0.005894 | 0.0014772 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3274-18_0_2_load_52 | 44 | 0.0019236 | 0.00048209 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3274-18_0_2_load_176 | 46 | 0.00079486 | 0.00019921 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3274-18_0_2_load_87 | 47 | 0.0016295 | 0.00040839 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3274-18_0_2_load_88 | 48 | 0.003309 | 0.00082931 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3274-18_0_2_load_90 | 49 | 0.0058573 | 0.001468 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3274-18_0_2_load_92 | 50 | 0.0025483 | 0.00063866 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3274-18_0_2_load_93 | 51 | 0.0023427 | 0.00058714 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3274-18_0_2_load_95 | 52 | 0.0022788 | 0.00057113 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3274-18_0_2_load_96 | 53 | 0.0019373 | 0.00048554 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3274-18_0_2_load_98 | 54 | 0.0030307 | 0.00075958 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3274-18_0_2_load_150 | 55 | 0.005178 | 0.0012977 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3274-18_0_2_load_151 | 56 | 0.0020752 | 0.00052009 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3274-18_0_2_load_152 | 57 | 0.0015613 | 0.00039129 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3274-18_0_2_load_153 | 58 | 0.0019332 | 0.00048451 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3274-18_0_2_load_156 | 59 | 0.0023095 | 0.00057881 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3274-18_0_2_load_157 | 60 | 0.0027521 | 0.00068973 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3274-18_0_2_load_159 | 62 | 0.00045115 | 0.00011307 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3274-18_0_2_load_160 | 63 | 0.0015248 | 0.00038215 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3274-18_0_2_load_161 | 64 | 0.00025977 | 6.5104e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3274-18_0_2_load_164 | 65 | 0.0015502 | 0.00038851 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3274-18_0_2_load_162 | 66 | 0.0012531 | 0.00031405 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3274-18_0_2_load_171 | 68 | 0.00027567 | 6.9091e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3274-18_0_2_load_165 | 69 | 0.0017992 | 0.00045092 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3274-18_0_2_load_166 | 71 | 0.0028822 | 0.00072234 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3274-18_0_2_load_167 | 72 | 0.00187 | 0.00046867 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3274-18_0_2_load_169 | 73 | 0.00057103 | 0.00014311 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3274-18_0_2_load_172 | 74 | 0.0018609 | 0.00046638 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3274-18_0_2_load_173 | 75 | 0.00061176 | 0.00015332 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3274-18_0_2_load_175 | 76 | 0.0014949 | 0.00037466 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3274-18_0_2_load_177 | 77 | 0.00098423 | 0.00024667 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3274-18_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.013711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3274-18_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.023971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3274-18_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.046695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_3274-18_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.018591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_3274-18_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.041317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3274-18_0_2_line_5 | NAYY 4x150 SE | 3 | 45 | 0.0043574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_3274-18_0_2_line_6 | NAYY 4x150 SE | 4 | 44 | 0.025526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_3274-18_0_2_line_7 | NAYY 4x150 SE | 5 | 46 | 0.0017116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3274-18_0_2_line_8 | NAYY 4x150 SE | 6 | 7 | 0.016472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3274-18_0_2_line_9 | NAYY 4x150 SE | 6 | 8 | 0.019834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3274-18_0_2_line_10 | NAYY 4x150 SE | 7 | 50 | 0.023594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3274-18_0_2_line_11 | NAYY 4x150 SE | 7 | 34 | 0.0010783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3274-18_0_2_line_12 | NAYY 4x150 SE | 8 | 47 | 0.016244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3274-18_0_2_line_13 | NAYY 4x150 SE | 9 | 10 | 0.035735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_3274-18_0_2_line_14 | NAYY 4x150 SE | 9 | 11 | 0.092931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_3274-18_0_2_line_15 | NAYY 4x150 SE | 9 | 12 | 0.017088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3274-18_0_2_line_16 | NAYY 4x150 SE | 10 | 52 | 0.026969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_3274-18_0_2_line_17 | NAYY 4x150 SE | 11 | 34 | 0.015297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3274-18_0_2_line_18 | NAYY 4x150 SE | 11 | 33 | 0.13764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_3274-18_0_2_line_19 | NAYY 4x150 SE | 12 | 36 | 0.15474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3274-18_0_2_line_20 | NAYY 4x150 SE | 13 | 14 | 0.030983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3274-18_0_2_line_21 | NAYY 4x150 SE | 14 | 15 | 0.003665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3274-18_0_2_line_22 | NAYY 4x150 SE | 15 | 16 | 0.024696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3274-18_0_2_line_23 | NAYY 4x150 SE | 16 | 68 | 0.017143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3274-18_0_2_line_24 | NAYY 4x150 SE | 17 | 18 | 0.017239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3274-18_0_2_line_25 | NAYY 4x150 SE | 18 | 19 | 0.05731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3274-18_0_2_line_26 | NAYY 4x150 SE | 19 | 20 | 0.014354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3274-18_0_2_line_27 | NAYY 4x150 SE | 20 | 21 | 0.034872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3274-18_0_2_line_28 | NAYY 4x150 SE | 21 | 67 | 0.01195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3274-18_0_2_line_29 | NAYY 4x150 SE | 22 | 23 | 0.013608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3274-18_0_2_line_30 | NAYY 4x150 SE | 22 | 24 | 0.02403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3274-18_0_2_line_31 | NAYY 4x150 SE | 23 | 25 | 0.01276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3274-18_0_2_line_32 | NAYY 4x150 SE | 24 | 26 | 0.062082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3274-18_0_2_line_33 | NAYY 4x150 SE | 24 | 27 | 0.031207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3274-18_0_2_line_34 | NAYY 4x150 SE | 26 | 28 | 0.13449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3274-18_0_2_line_35 | NAYY 4x150 SE | 27 | 29 | 0.013638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3274-18_0_2_line_36 | NAYY 4x150 SE | 29 | 30 | 0.019634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3274-18_0_2_line_37 | NAYY 4x150 SE | 29 | 31 | 0.087083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3274-18_0_2_line_38 | NAYY 4x150 SE | 30 | 32 | 0.007403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3274-18_0_2_line_39 | NAYY 4x150 SE | 31 | 33 | 0.12267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3274-18_0_2_line_40 | NAYY 4x150 SE | 35 | 36 | 0.23657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3274-18_0_2_line_41 | NAYY 4x150 SE | 37 | 38 | 0.074954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3274-18_0_2_line_42 | NAYY 4x150 SE | 38 | 39 | 0.016584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_3274-18_0_2_line_43 | NAYY 4x150 SE | 38 | 40 | 0.020838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_3274-18_0_2_line_44 | NAYY 4x150 SE | 39 | 41 | 0.023414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3274-18_0_2_line_45 | NAYY 4x150 SE | 39 | 42 | 0.016998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_3274-18_0_2_line_46 | NAYY 4x150 SE | 40 | 43 | 0.014077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_3274-18_0_2_line_47 | NAYY 4x150 SE | 41 | 60 | 0.003565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3274-18_0_2_line_48 | NAYY 4x150 SE | 42 | 57 | 0.0019453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_3274-18_0_2_line_49 | NAYY 4x150 SE | 43 | 44 | 0.0073676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_3274-18_0_2_line_50 | NAYY 4x150 SE | 45 | 54 | 0.030324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3274-18_0_2_line_51 | NAYY 4x150 SE | 45 | 53 | 0.13264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_3274-18_0_2_line_52 | NAYY 4x150 SE | 46 | 77 | 0.029292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3274-18_0_2_line_53 | NAYY 4x150 SE | 47 | 48 | 0.0083545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3274-18_0_2_line_54 | NAYY 4x150 SE | 48 | 49 | 0.0096818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3274-18_0_2_line_55 | NAYY 4x150 SE | 50 | 51 | 0.00031133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3274-18_0_2_line_56 | NAYY 4x150 SE | 52 | 53 | 0.022461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_3274-18_0_2_line_57 | NAYY 4x150 SE | 55 | 56 | 0.021617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_3274-18_0_2_line_58 | NAYY 4x150 SE | 55 | 57 | 0.029065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_3274-18_0_2_line_59 | NAYY 4x150 SE | 56 | 58 | 0.012458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_3274-18_0_2_line_60 | NAYY 4x150 SE | 58 | 59 | 0.010215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_3274-18_0_2_line_61 | NAYY 4x150 SE | 60 | 61 | 0.017578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3274-18_0_2_line_62 | NAYY 4x150 SE | 61 | 62 | 0.0028712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3274-18_0_2_line_63 | NAYY 4x150 SE | 61 | 63 | 0.02825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3274-18_0_2_line_64 | NAYY 4x150 SE | 62 | 64 | 0.016947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3274-18_0_2_line_65 | NAYY 4x150 SE | 63 | 65 | 0.0073824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3274-18_0_2_line_66 | NAYY 4x150 SE | 64 | 66 | 0.028481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3274-18_0_2_line_67 | NAYY 4x150 SE | 65 | 69 | 0.018636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3274-18_0_2_line_68 | NAYY 4x150 SE | 66 | 67 | 0.0097895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3274-18_0_2_line_69 | NAYY 4x150 SE | 67 | 68 | 0.011782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3274-18_0_2_line_70 | NAYY 4x150 SE | 69 | 70 | 0.012791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3274-18_0_2_line_71 | NAYY 4x150 SE | 70 | 73 | 0.017823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3274-18_0_2_line_72 | NAYY 4x150 SE | 70 | 71 | 0.039061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3274-18_0_2_line_73 | NAYY 4x150 SE | 71 | 72 | 0.028576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3274-18_0_2_line_74 | NAYY 4x150 SE | 73 | 74 | 0.020901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3274-18_0_2_line_75 | NAYY 4x150 SE | 74 | 75 | 0.023001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3274-18_0_2_line_76 | NAYY 4x150 SE | 75 | 76 | 0.045013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3274-18_0_2_trafo_156 | 0.25 MVA 20/0.4 kV | 78 | 59 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2755678.6823 | 1236143.2979 | 2755669.2621 | 1236153.2599
1 | 2755652.7922 | 1236170.6771 | 2755669.2621 | 1236153.2599
2 | 2755652.7922 | 1236170.6771 | 2755690.1471 | 1236198.6951
3 | 2755652.7922 | 1236170.6771 | 2755640.6957 | 1236184.7944
4 | 2755652.7922 | 1236170.6771 | 2755624.2245 | 1236140.8273
5 | 2755693.6329 | 1236201.3097 | 2755690.1471 | 1236198.6951
6 | 2755624.2615 | 1236204.3205 | 2755627.0404 | 1236200.7311 | 2755640.6957 | 1236184.7944
7 | 2755623.041 | 1236139.5907 | 2755624.2245 | 1236140.8273
8 | 2755950.8481 | 1236374.5538 | 2755940.7387 | 1236387.5786
9 | 2755950.8481 | 1236374.5538 | 2755934.9047 | 1236362.7552
10 | 2755940.7387 | 1236387.5786 | 2755958.8743 | 1236402.6704
11 | 2755940.7387 | 1236387.5786 | 2755940.0596 | 1236388.4162
12 | 2755934.9047 | 1236362.7552 | 2755921.8471 | 1236353.0921
13 | 2755858.1237 | 1236342.1453 | 2755834.8844 | 1236314.9986
14 | 2755930.4254 | 1236400.2978 | 2755918.3073 | 1236389.7809 | 2755875.5754 | 1236359.7532 | 2755863.3896 | 1236348.3449 | 2755859.585 | 1236343.8742 | 2755858.1237 | 1236342.1453
15 | 2755858.1237 | 1236342.1453 | 2755843.9352 | 1236351.6683
16 | 2755834.8844 | 1236314.9986 | 2755824.3753 | 1236302.7226 | 2755816.6125 | 1236295.2015
17 | 2755930.4254 | 1236400.2978 | 2755940.0596 | 1236388.4162
18 | 2755996.3367 | 1236519.764 | 2755991.196 | 1236511.9772 | 2755972.1447 | 1236463.3641 | 2755950.4552 | 1236422.3556 | 2755930.4254 | 1236400.2978
19 | 2755719.5043 | 1236438.8578 | 2755735.6684 | 1236436.5794 | 2755750.5039 | 1236430.1066 | 2755784.1659 | 1236399.5379 | 2755818.1615 | 1236368.967 | 2755843.9352 | 1236351.6683
20 | 2755490.739 | 1236348.4222 | 2755476.1073 | 1236345.5501 | 2755465.0304 | 1236333.9047
21 | 2755490.739 | 1236348.4222 | 2755494.3354 | 1236349.1282
22 | 2755494.3354 | 1236349.1282 | 2755515.1418 | 1236353.2124 | 2755518.4872 | 1236352.2097
23 | 2755534.9082 | 1236347.2879 | 2755518.4872 | 1236352.2097
24 | 2755510.08 | 1236473.0047 | 2755510.08 | 1236473.0047 | 2755515.0647 | 1236456.5025
25 | 2755527.5921 | 1236401.014 | 2755520.4594 | 1236418.7137 | 2755516.3061 | 1236452.3926 | 2755515.0647 | 1236456.5025
26 | 2755532.9574 | 1236387.7001 | 2755527.5921 | 1236401.014
27 | 2755546.7299 | 1236355.8433 | 2755546.7963 | 1236357.3227 | 2755535.9021 | 1236380.3927 | 2755532.9574 | 1236387.7001
28 | 2755546.1939 | 1236343.9053 | 2755546.7299 | 1236355.8433
29 | 2755739.59 | 1236573.1108 | 2755733.1902 | 1236572.577 | 2755726.2113 | 1236570.8633
30 | 2755763.5372 | 1236575.1084 | 2755739.59 | 1236573.1108
31 | 2755713.8193 | 1236567.8203 | 2755726.2113 | 1236570.8633
32 | 2755763.5372 | 1236575.1084 | 2755760.4536 | 1236583.2686 | 2755757.9105 | 1236597.3709 | 2755756.2952 | 1236607.5716 | 2755751.5543 | 1236616.5669 | 2755742.2327 | 1236632.5851
33 | 2755763.5372 | 1236575.1084 | 2755764.7741 | 1236571.8266 | 2755771.7791 | 1236561.0889 | 2755781.1824 | 1236549.5578
34 | 2755742.2327 | 1236632.5851 | 2755740.4622 | 1236635.6276 | 2755734.4725 | 1236646.9147 | 2755730.689 | 1236656.9361 | 2755731.4655 | 1236665.4312 | 2755743.5263 | 1236680.7175 | 2755746.0908 | 1236692.3402 | 2755744.3565 | 1236701.3033 | 2755739.1922 | 1236706.2392 | 2755731.2626 | 1236708.0776 | 2755710.6825 | 1236707.8712 | 2755688.2369 | 1236710.3742
35 | 2755791.9048 | 1236541.131 | 2755781.1824 | 1236549.5578
36 | 2755791.9048 | 1236541.131 | 2755802.36 | 1236557.7495
37 | 2755791.9048 | 1236541.131 | 2755803.4801 | 1236535.1177 | 2755841.4091 | 1236519.3642 | 2755849.3886 | 1236517.0825 | 2755857.3903 | 1236515.68 | 2755873.8721 | 1236517.1289
38 | 2755806.3022 | 1236564.0156 | 2755802.36 | 1236557.7495
39 | 2755996.3367 | 1236519.764 | 2755982.4575 | 1236518.6541 | 2755937.5123 | 1236520.754 | 2755891.4883 | 1236518.6775 | 2755873.8721 | 1236517.1289
40 | 2755719.5043 | 1236438.8578 | 2755706.4092 | 1236442.7739 | 2755694.8751 | 1236451.5466 | 2755684.1314 | 1236464.8221 | 2755679.2913 | 1236473.27 | 2755679.5757 | 1236484.6549 | 2755679.1431 | 1236495.6652 | 2755675.9163 | 1236504.0886 | 2755665.3526 | 1236519.4597 | 2755641.6182 | 1236562.4232 | 2755624.7925 | 1236603.8106 | 2755618.4736 | 1236617.8473 | 2755611.0934 | 1236631.934 | 2755607.1451 | 1236637.042
41 | 2755602.7445 | 1236240.2433 | 2755583.6416 | 1236230.4115 | 2755562.2068 | 1236222.8875 | 2755533.5779 | 1236211.659
42 | 2755602.7445 | 1236240.2433 | 2755598.5231 | 1236256.2813
43 | 2755602.7445 | 1236240.2433 | 2755609.3443 | 1236223.5892 | 2755611.1342 | 1236221.2772
44 | 2755598.5231 | 1236256.2813 | 2755586.1926 | 1236276.1849
45 | 2755598.5231 | 1236256.2813 | 2755615.3639 | 1236258.591
46 | 2755619.7514 | 1236210.1463 | 2755611.1342 | 1236221.2772
47 | 2755584.3151 | 1236279.2155 | 2755586.1926 | 1236276.1849
48 | 2755615.3639 | 1236258.591 | 2755617.2912 | 1236258.8553
49 | 2755619.7514 | 1236210.1463 | 2755624.2615 | 1236204.3205
50 | 2755693.6329 | 1236201.3097 | 2755712.5636 | 1236177.5833
51 | 2755693.6329 | 1236201.3097 | 2755732.0672 | 1236230.1444 | 2755789.7455 | 1236269.1714 | 2755800.4806 | 1236279.5721
52 | 2755602.788 | 1236118.4288 | 2755623.041 | 1236139.5907
53 | 2755915.1315 | 1236348.1223 | 2755921.8471 | 1236353.0921
54 | 2755915.1315 | 1236348.1223 | 2755907.349 | 1236342.363
55 | 2755959.1136 | 1236402.8695 | 2755958.8743 | 1236402.6704
56 | 2755816.6125 | 1236295.2015 | 2755800.4806 | 1236279.5721
57 | 2755664.7553 | 1236270.5743 | 2755664.7553 | 1236270.5743 | 2755657.3877 | 1236265.1094 | 2755646.025 | 1236260.0369
58 | 2755617.2912 | 1236258.8553 | 2755620.3793 | 1236259.2788 | 2755642.9361 | 1236258.658 | 2755646.025 | 1236260.0369
59 | 2755664.7553 | 1236270.5743 | 2755660.1005 | 1236282.1306
60 | 2755656.2839 | 1236291.6057 | 2755660.1005 | 1236282.1306
61 | 2755575.0579 | 1236294.1583 | 2755584.3151 | 1236279.2155
62 | 2755575.0579 | 1236294.1583 | 2755573.2373 | 1236296.3785
63 | 2755575.0579 | 1236294.1583 | 2755591.5178 | 1236316.4216 | 2755591.5304 | 1236316.9842
64 | 2755573.2373 | 1236296.3785 | 2755562.491 | 1236309.4832
65 | 2755591.5304 | 1236316.9842 | 2755591.6965 | 1236324.3647
66 | 2755562.491 | 1236309.4832 | 2755559.0942 | 1236313.6255 | 2755550.0309 | 1236334.8991
67 | 2755592.1159 | 1236342.9958 | 2755591.6965 | 1236324.3647
68 | 2755546.1939 | 1236343.9053 | 2755550.0309 | 1236334.8991
69 | 2755546.1939 | 1236343.9053 | 2755534.9082 | 1236347.2879
70 | 2755590.4282 | 1236355.6748 | 2755592.1159 | 1236342.9958 | 2755592.1159 | 1236342.9958
71 | 2755590.4282 | 1236355.6748 | 2755588.0723 | 1236373.341
72 | 2755590.4282 | 1236355.6748 | 2755625.7718 | 1236372.3066
73 | 2755625.7718 | 1236372.3066 | 2755651.628 | 1236384.4738
74 | 2755588.0723 | 1236373.341 | 2755590.1585 | 1236392.8252 | 2755590.4543 | 1236394.0965
75 | 2755590.4543 | 1236394.0965 | 2755595.667 | 1236416.4989
76 | 2755595.667 | 1236416.4989 | 2755605.8681 | 1236460.3404

## bus_geodata
| x | y | coords
0 | 2755678.6823 | 1236143.2979
1 | 2755669.2621 | 1236153.2599
2 | 2755652.7922 | 1236170.6771
3 | 2755690.1471 | 1236198.6951
4 | 2755640.6957 | 1236184.7944
5 | 2755624.2245 | 1236140.8273
6 | 2755950.848 | 1236374.5538
7 | 2755940.7387 | 1236387.5786
8 | 2755934.9047 | 1236362.7552
9 | 2755858.1237 | 1236342.1453
10 | 2755834.8844 | 1236314.9986
11 | 2755930.4254 | 1236400.2978
12 | 2755843.9352 | 1236351.6683
13 | 2755465.0304 | 1236333.9047
14 | 2755490.739 | 1236348.4222
15 | 2755494.3354 | 1236349.1282
16 | 2755518.4872 | 1236352.2097
17 | 2755510.08 | 1236473.0047
18 | 2755515.0647 | 1236456.5025
19 | 2755527.5921 | 1236401.014
20 | 2755532.9574 | 1236387.7001
21 | 2755546.7299 | 1236355.8433
22 | 2755739.59 | 1236573.1108
23 | 2755726.2113 | 1236570.8633
24 | 2755763.5372 | 1236575.1084
25 | 2755713.8193 | 1236567.8203
26 | 2755742.2327 | 1236632.5851
27 | 2755781.1824 | 1236549.5578
28 | 2755688.2369 | 1236710.3742
29 | 2755791.9048 | 1236541.131
30 | 2755802.36 | 1236557.7495
31 | 2755873.8721 | 1236517.1289
32 | 2755806.3022 | 1236564.0156
33 | 2755996.3367 | 1236519.764
34 | 2755940.0596 | 1236388.4162
35 | 2755607.1451 | 1236637.042
36 | 2755719.5043 | 1236438.8578
37 | 2755533.5779 | 1236211.659
38 | 2755602.7445 | 1236240.2433
39 | 2755598.5231 | 1236256.2813
40 | 2755611.1342 | 1236221.2772
41 | 2755586.1926 | 1236276.1849
42 | 2755615.3639 | 1236258.591
43 | 2755619.7514 | 1236210.1463
44 | 2755624.2615 | 1236204.3205
45 | 2755693.6329 | 1236201.3097
46 | 2755623.041 | 1236139.5907
47 | 2755921.8471 | 1236353.0921
48 | 2755915.1315 | 1236348.1223
49 | 2755907.349 | 1236342.363
50 | 2755958.8743 | 1236402.6704
51 | 2755959.1136 | 1236402.8695
52 | 2755816.6125 | 1236295.2015
53 | 2755800.4806 | 1236279.5721
54 | 2755712.5636 | 1236177.5833
55 | 2755646.025 | 1236260.0369
56 | 2755664.7553 | 1236270.5743
57 | 2755617.2912 | 1236258.8553
58 | 2755660.1005 | 1236282.1306
59 | 2755656.2839 | 1236291.6057
60 | 2755584.3151 | 1236279.2155
61 | 2755575.0579 | 1236294.1583
62 | 2755573.2373 | 1236296.3785
63 | 2755591.5304 | 1236316.9842
64 | 2755562.4911 | 1236309.4832
65 | 2755591.6965 | 1236324.3647
66 | 2755550.0309 | 1236334.8991
67 | 2755546.1939 | 1236343.9053
68 | 2755534.9082 | 1236347.2879
69 | 2755592.1159 | 1236342.9958
70 | 2755590.4282 | 1236355.6748
71 | 2755625.7718 | 1236372.3066
72 | 2755651.628 | 1236384.4738
73 | 2755588.0723 | 1236373.341
74 | 2755590.4543 | 1236394.0965
75 | 2755595.667 | 1236416.4989
76 | 2755605.8681 | 1236460.3404
77 | 2755602.788 | 1236118.4288
78 | 2755598.5231 | 1236256.2813

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1