## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3274-19_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3274-19_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3274-19_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3274-19_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3274-19_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3274-19_0_3_node_59 | 0.4 | n |  | TRUE
6 | bus_LV_3274-19_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3274-19_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3274-19_0_3_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_3274-19_0_3_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_3274-19_0_3_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_3274-19_0_3_node_56 | 0.4 | n |  | TRUE
12 | bus_LV_3274-19_0_3_node_60 | 0.4 | n |  | TRUE
13 | bus_LV_3274-19_0_3_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_3274-19_0_3_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_3274-19_0_3_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_3274-19_0_3_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_3274-19_0_3_node_57 | 0.4 | n |  | TRUE
18 | bus_LV_3274-19_0_3_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_3274-19_0_3_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_3274-19_0_3_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_3274-19_0_3_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_3274-19_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_3274-19_0_3_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_3274-19_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_3274-19_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_3274-19_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_3274-19_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_3274-19_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_3274-19_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_3274-19_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_3274-19_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_3274-19_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_3274-19_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_3274-19_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_3274-19_0_3_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_3274-19_0_3_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_3274-19_0_3_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_3274-19_0_3_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_3274-19_0_3_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_3274-19_0_3_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_3274-19_0_3_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_3274-19_0_3_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_3274-19_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_3274-19_0_3_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_3274-19_0_3_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_3274-19_0_3_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_3274-19_0_3_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_3274-19_0_3_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_3274-19_0_3_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_3274-19_0_3_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_3274-19_0_3_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_3274-19_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_3274-19_0_3_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_3274-19_0_3_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_3274-19_0_3_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_3274-19_0_3_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_3274-19_0_3_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_3274-19_0_3_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_3274-19_0_3_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_3274-19_0_3_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_3274-19_0_3_node_58 | 0.4 | n |  | TRUE
62 | bus_MV_49_1_node_217 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3274-19_0_3_load_0 | 0 | 0.0011042 | 0.00027674 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3274-19_0_3_load_1 | 1 | 0.0041933 | 0.0010509 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3274-19_0_3_load_3 | 3 | 0.00063995 | 0.00016039 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3274-19_0_3_load_59 | 5 | 0.00096196 | 0.00024109 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3274-19_0_3_load_27 | 8 | 0.0021574 | 0.0005407 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3274-19_0_3_load_26 | 10 | 0.00024845 | 6.2267e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3274-19_0_3_load_56 | 11 | 0.020713 | 0.0051912 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3274-19_0_3_load_60 | 12 | 0.0062329 | 0.0015621 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3274-19_0_3_load_29 | 13 | 0.00033398 | 8.3703e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3274-19_0_3_load_30 | 14 | 0.0093098 | 0.0023332 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3274-19_0_3_load_23 | 15 | 0.026875 | 0.0067356 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3274-19_0_3_load_24 | 16 | 0.00042765 | 0.00010718 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3274-19_0_3_load_57 | 17 | 0.035168 | 0.008814 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3274-19_0_3_load_7 | 18 | 0.0013406 | 0.00033599 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3274-19_0_3_load_8 | 19 | 0.0016294 | 0.00040837 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3274-19_0_3_load_10 | 21 | 0.0006449 | 0.00016163 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3274-19_0_3_load_11 | 22 | 0.002728 | 0.00068369 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3274-19_0_3_load_12 | 23 | 0.0008002 | 0.00020055 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3274-19_0_3_load_13 | 24 | 0.00026928 | 6.7488e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3274-19_0_3_load_14 | 25 | 0.00027238 | 6.8265e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3274-19_0_3_load_15 | 26 | 0.00016464 | 4.1263e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3274-19_0_3_load_16 | 27 | 0.00030657 | 7.6835e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3274-19_0_3_load_19 | 30 | 0.00057667 | 0.00014453 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3274-19_0_3_load_21 | 32 | 0.00031042 | 7.7798e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3274-19_0_3_load_25 | 34 | 0.0002564 | 6.4259e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3274-19_0_3_load_39 | 37 | 0.00034438 | 8.631e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3274-19_0_3_load_48 | 40 | 0.031692 | 0.0079428 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3274-19_0_3_load_40 | 41 | 0.0021235 | 0.00053221 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3274-19_0_3_load_41 | 42 | 0.00037188 | 9.3202e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3274-19_0_3_load_34 | 43 | 0.00038 | 9.5236e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3274-19_0_3_load_31 | 44 | 0.00067472 | 0.0001691 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3274-19_0_3_load_32 | 45 | 0.001615 | 0.00040477 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3274-19_0_3_load_33 | 46 | 0.00077114 | 0.00019326 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3274-19_0_3_load_61 | 47 | 0.0017303 | 0.00043366 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3274-19_0_3_load_62 | 48 | 0.0006293 | 0.00015772 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3274-19_0_3_load_35 | 49 | 0.0024894 | 0.00062391 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3274-19_0_3_load_45 | 50 | 0.0024837 | 0.00062248 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3274-19_0_3_load_46 | 51 | 0.0017243 | 0.00043216 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3274-19_0_3_load_44 | 52 | 0.0020089 | 0.00050349 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3274-19_0_3_load_47 | 53 | 0.0012721 | 0.00031882 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3274-19_0_3_load_42 | 54 | 0.0018279 | 0.00045812 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3274-19_0_3_load_49 | 56 | 0.027172 | 0.0068101 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3274-19_0_3_load_51 | 57 | 0.01947 | 0.0048796 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3274-19_0_3_load_53 | 58 | 0.0051464 | 0.0012898 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3274-19_0_3_load_54 | 59 | 0.0052744 | 0.0013219 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3274-19_0_3_load_55 | 60 | 0.00094255 | 0.00023622 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3274-19_0_3_load_58 | 61 | 0.0051194 | 0.0012831 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3274-19_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.046206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3274-19_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.015424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3274-19_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.013092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3274-19_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.010747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3274-19_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.015974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3274-19_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.049374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3274-19_0_3_line_6 | NAYY 4x150 SE | 5 | 12 | 0.013251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3274-19_0_3_line_7 | NAYY 4x150 SE | 6 | 9 | 0.017047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3274-19_0_3_line_8 | NAYY 4x150 SE | 6 | 11 | 0.015174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3274-19_0_3_line_9 | NAYY 4x150 SE | 7 | 8 | 0.015736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3274-19_0_3_line_10 | NAYY 4x150 SE | 7 | 9 | 0.004436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_3274-19_0_3_line_11 | NAYY 4x150 SE | 7 | 10 | 0.021315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_3274-19_0_3_line_12 | NAYY 4x150 SE | 8 | 13 | 0.0032601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3274-19_0_3_line_13 | NAYY 4x150 SE | 9 | 14 | 0.05058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_3274-19_0_3_line_14 | NAYY 4x150 SE | 9 | 15 | 0.022726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3274-19_0_3_line_15 | NAYY 4x150 SE | 10 | 16 | 0.017454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_3274-19_0_3_line_16 | NAYY 4x150 SE | 11 | 17 | 0.0082545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3274-19_0_3_line_17 | NAYY 4x150 SE | 13 | 44 | 0.026777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3274-19_0_3_line_18 | NAYY 4x150 SE | 16 | 30 | 0.02827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_3274-19_0_3_line_19 | NAYY 4x150 SE | 17 | 61 | 0.013182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3274-19_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.0848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3274-19_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.037281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3274-19_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.0069949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3274-19_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.10118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3274-19_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.026588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3274-19_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.01375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3274-19_0_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.0033309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3274-19_0_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.0084613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3274-19_0_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.013371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3274-19_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.046773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3274-19_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.005765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_3274-19_0_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.014165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_3274-19_0_3_line_32 | NAYY 4x150 SE | 28 | 31 | 0.013214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3274-19_0_3_line_33 | NAYY 4x150 SE | 29 | 32 | 0.014337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_3274-19_0_3_line_34 | NAYY 4x150 SE | 31 | 33 | 0.005723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3274-19_0_3_line_35 | NAYY 4x150 SE | 31 | 34 | 0.014001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3274-19_0_3_line_36 | NAYY 4x150 SE | 32 | 35 | 0.11207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_3274-19_0_3_line_37 | NAYY 4x150 SE | 33 | 36 | 0.10147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3274-19_0_3_line_38 | NAYY 4x150 SE | 33 | 37 | 0.0098534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3274-19_0_3_line_39 | NAYY 4x150 SE | 34 | 38 | 0.048087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3274-19_0_3_line_40 | NAYY 4x150 SE | 35 | 39 | 0.081981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3274-19_0_3_line_41 | NAYY 4x150 SE | 35 | 40 | 0.023871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3274-19_0_3_line_42 | NAYY 4x150 SE | 36 | 41 | 0.016015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3274-19_0_3_line_43 | NAYY 4x150 SE | 36 | 42 | 0.016115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3274-19_0_3_line_44 | NAYY 4x150 SE | 38 | 43 | 0.024705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3274-19_0_3_line_45 | NAYY 4x150 SE | 39 | 59 | 0.065785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3274-19_0_3_line_46 | NAYY 4x150 SE | 40 | 56 | 0.011267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3274-19_0_3_line_47 | NAYY 4x150 SE | 41 | 50 | 0.015455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3274-19_0_3_line_48 | NAYY 4x150 SE | 42 | 51 | 0.013357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3274-19_0_3_line_49 | NAYY 4x150 SE | 43 | 49 | 0.02924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3274-19_0_3_line_50 | NAYY 4x150 SE | 44 | 45 | 0.024194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3274-19_0_3_line_51 | NAYY 4x150 SE | 45 | 46 | 0.017552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3274-19_0_3_line_52 | NAYY 4x150 SE | 46 | 47 | 0.011835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3274-19_0_3_line_53 | NAYY 4x150 SE | 47 | 48 | 0.0087844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3274-19_0_3_line_54 | NAYY 4x150 SE | 50 | 52 | 0.00089724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3274-19_0_3_line_55 | NAYY 4x150 SE | 51 | 53 | 0.025623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3274-19_0_3_line_56 | NAYY 4x150 SE | 52 | 55 | 0.025402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3274-19_0_3_line_57 | NAYY 4x150 SE | 54 | 55 | 0.015772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3274-19_0_3_line_58 | NAYY 4x150 SE | 56 | 57 | 0.016358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3274-19_0_3_line_59 | NAYY 4x150 SE | 57 | 58 | 0.0027259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3274-19_0_3_line_60 | NAYY 4x150 SE | 59 | 60 | 0.018802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3274-19_0_3_trafo_30 | 0.25 MVA 20/0.4 kV | 62 | 14 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2755907.224 | 1236150.3254 | 2755920.4129 | 1236136.6844 | 2755929.773 | 1236130.5798 | 2755939.2861 | 1236117.6446
1 | 2755896.503 | 1236161.4138 | 2755907.224 | 1236150.3254
2 | 2755896.503 | 1236161.4138 | 2755886.1991 | 1236153.338
3 | 2755896.503 | 1236161.4138 | 2755901.3328 | 1236165.1997 | 2755898.1336 | 1236168.5189
4 | 2755898.1336 | 1236168.5189 | 2755885.9234 | 1236178.8181
5 | 2755942.0304 | 1236191.148 | 2755926.7385 | 1236184.696 | 2755918.0092 | 1236180.3406 | 2755903.4092 | 1236172.0496 | 2755898.1336 | 1236168.5189
6 | 2755875.7944 | 1236187.3618 | 2755885.9234 | 1236178.8181
7 | 2755942.0304 | 1236191.148 | 2755958.2923 | 1236196.4132
8 | 2755942.0304 | 1236191.148 | 2755936.833 | 1236205.4046
9 | 2755959.57 | 1236192.1649 | 2755964.6182 | 1236177.261
10 | 2755959.57 | 1236192.1649 | 2755958.2923 | 1236196.4132
11 | 2755959.57 | 1236192.1649 | 2755962.3046 | 1236192.9819 | 2755979.7997 | 1236198.8752
12 | 2755964.6182 | 1236177.261 | 2755966.447 | 1236174.5622
13 | 2755939.329 | 1236243.2488 | 2755950.1027 | 1236219.6425 | 2755956.1093 | 1236203.7072 | 2755958.2923 | 1236196.4132
14 | 2755958.2923 | 1236196.4132 | 2755966.2505 | 1236198.9912 | 2755979.9087 | 1236203.4275
15 | 2755996.3409 | 1236204.4471 | 2755979.7997 | 1236198.8752
16 | 2755936.833 | 1236205.4046 | 2755934.0058 | 1236213.1598
17 | 2755966.447 | 1236174.5622 | 2755974.8663 | 1236162.1379 | 2755979.0975 | 1236155.5649 | 2755979.4055 | 1236151.6248 | 2755979.4055 | 1236151.6248
18 | 2756021.8021 | 1236216.5904 | 2756002.5551 | 1236206.5404 | 2755996.3409 | 1236204.4471
19 | 2755929.491 | 1236225.5441 | 2755934.0058 | 1236213.1598
20 | 2756184.2559 | 1236065.5543 | 2756180.1223 | 1236059.3322 | 2756158.1717 | 1236050.6914 | 2756140.4739 | 1236045.8884 | 2756105.1112 | 1236044.2153
21 | 2756204.8857 | 1236096.6075 | 2756184.2559 | 1236065.5543
22 | 2756098.1241 | 1236043.8848 | 2756105.1112 | 1236044.2153
23 | 2756204.8857 | 1236096.6075 | 2756193.9841 | 1236111.5017 | 2756178.0235 | 1236125.5733 | 2756126.6756 | 1236159.3283
24 | 2756126.6756 | 1236159.3283 | 2756111.36 | 1236169.3964 | 2756104.4979 | 1236173.9931
25 | 2756104.4979 | 1236173.9931 | 2756093.0745 | 1236181.6453
26 | 2756090.3071 | 1236183.4991 | 2756093.0745 | 1236181.6453
27 | 2756083.2773 | 1236188.2082 | 2756090.3071 | 1236183.4991
28 | 2756072.168 | 1236195.6499 | 2756083.2773 | 1236188.2082
29 | 2756034.3587 | 1236223.1469 | 2756056.8992 | 1236205.8781 | 2756072.168 | 1236195.6499
30 | 2756030.387 | 1236227.3355 | 2756034.3587 | 1236223.1469
31 | 2756034.3587 | 1236223.1469 | 2756021.8021 | 1236216.5904
32 | 2756045.427 | 1236230.4001 | 2756043.1299 | 1236228.7827 | 2756036.2321 | 1236224.1749 | 2756034.3587 | 1236223.1469
33 | 2756030.387 | 1236227.3355 | 2756023.6918 | 1236237.2024 | 2756022.0365 | 1236238.9582
34 | 2756041.7676 | 1236234.8082 | 2756045.427 | 1236230.4001
35 | 2756045.427 | 1236230.4001 | 2756056.436 | 1236239.0507
36 | 2755929.8412 | 1236302.0668 | 2755988.8 | 1236266.3695 | 2755998.4667 | 1236259.539 | 2756019.3846 | 1236241.7714 | 2756022.0365 | 1236238.9582
37 | 2756041.7676 | 1236234.8082 | 2756013.6331 | 1236260.0934 | 2756003.6933 | 1236268.3847 | 2755981.042 | 1236282.6813 | 2755978.2719 | 1236285.8116 | 2755977.0575 | 1236288.8047 | 2755976.4425 | 1236292.0361 | 2755976.5051 | 1236295.1296 | 2755980.015 | 1236304.7642
38 | 2756041.7676 | 1236234.8082 | 2756049.7683 | 1236240.5595
39 | 2756093.1218 | 1236270.0908 | 2756075.271 | 1236253.8508 | 2756056.436 | 1236239.0507
40 | 2755858.1237 | 1236342.1453 | 2755929.8412 | 1236302.0668
41 | 2755929.8412 | 1236302.0668 | 2755915.9796 | 1236285.5651 | 2755915.1277 | 1236283.4074
42 | 2755980.015 | 1236304.7642 | 2755980.6511 | 1236307.9284 | 2755981.0606 | 1236311.0755 | 2755980.6626 | 1236315.269 | 2755978.7419 | 1236320.3173
43 | 2755980.015 | 1236304.7642 | 2755989.5362 | 1236302.8902 | 2755994.1551 | 1236303.1673 | 2755995.7202 | 1236304.0244
44 | 2756093.1218 | 1236270.0908 | 2756110.0648 | 1236252.1108
45 | 2755858.1237 | 1236342.1453 | 2755824.3753 | 1236302.7226 | 2755814.3996 | 1236293.0576
46 | 2755915.1277 | 1236283.4074 | 2755915.1277 | 1236283.4074 | 2755917.4523 | 1236272.3831
47 | 2755978.7419 | 1236320.3173 | 2755973.2462 | 1236334.762
48 | 2756006.4685 | 1236311.9025 | 2755998.2081 | 1236305.387 | 2755995.7202 | 1236304.0244
49 | 2756110.0648 | 1236252.1108 | 2756130.1177 | 1236230.8307
50 | 2755976.6453 | 1236132.7899 | 2755973.1822 | 1236137.1922 | 2755971.2602 | 1236140.8897 | 2755971.1752 | 1236144.1239 | 2755972.7489 | 1236146.1894 | 2755979.4055 | 1236151.6248
51 | 2755976.6453 | 1236132.7899 | 2755987.4973 | 1236118.9951
52 | 2755994.8148 | 1236109.6933 | 2755987.4973 | 1236118.9951
53 | 2755994.8148 | 1236109.6933 | 2756000.2461 | 1236102.7891
54 | 2755973.2462 | 1236334.762 | 2755972.9272 | 1236335.6006
55 | 2756006.4685 | 1236311.9025 | 2756026.5865 | 1236327.771
56 | 2755965.1694 | 1236359.7157 | 2755965.9981 | 1236357.5687 | 2755967.7714 | 1236349.1517 | 2755972.9272 | 1236335.6006
57 | 2755965.1694 | 1236359.7157 | 2755977.9545 | 1236368.9509
58 | 2755920.8272 | 1236256.3774 | 2755917.4523 | 1236272.3831
59 | 2755921.3896 | 1236253.7101 | 2755920.8272 | 1236256.3774
60 | 2755800.8958 | 1236279.9744 | 2755814.3996 | 1236293.0576

## bus_geodata
| x | y | coords
0 | 2755907.224 | 1236150.3254
1 | 2755939.2861 | 1236117.6446
2 | 2755896.503 | 1236161.4138
3 | 2755886.1991 | 1236153.338
4 | 2755898.1336 | 1236168.5189
5 | 2755885.9234 | 1236178.8181
6 | 2755942.0304 | 1236191.148
7 | 2755959.57 | 1236192.1649
8 | 2755964.6182 | 1236177.261
9 | 2755958.2923 | 1236196.4132
10 | 2755979.7997 | 1236198.8752
11 | 2755936.833 | 1236205.4046
12 | 2755875.7944 | 1236187.3618
13 | 2755966.447 | 1236174.5622
14 | 2755939.329 | 1236243.2488
15 | 2755979.9087 | 1236203.4275
16 | 2755996.3409 | 1236204.4471
17 | 2755934.0058 | 1236213.1598
18 | 2756184.2559 | 1236065.5543
19 | 2756105.1112 | 1236044.2153
20 | 2756204.8857 | 1236096.6075
21 | 2756098.1241 | 1236043.8848
22 | 2756126.6756 | 1236159.3283
23 | 2756104.4979 | 1236173.9931
24 | 2756093.0745 | 1236181.6453
25 | 2756090.3071 | 1236183.4991
26 | 2756083.2773 | 1236188.2082
27 | 2756072.168 | 1236195.6499
28 | 2756034.3587 | 1236223.1469
29 | 2756030.387 | 1236227.3355
30 | 2756021.8021 | 1236216.5904
31 | 2756045.427 | 1236230.4001
32 | 2756022.0365 | 1236238.9582
33 | 2756041.7676 | 1236234.8082
34 | 2756056.436 | 1236239.0507
35 | 2755929.8412 | 1236302.0668
36 | 2755980.015 | 1236304.7642
37 | 2756049.7683 | 1236240.5595
38 | 2756093.1218 | 1236270.0908
39 | 2755858.1237 | 1236342.1453
40 | 2755915.1277 | 1236283.4074
41 | 2755978.7419 | 1236320.3173
42 | 2755995.7202 | 1236304.0244
43 | 2756110.0648 | 1236252.1108
44 | 2755979.4055 | 1236151.6248
45 | 2755976.6453 | 1236132.7899
46 | 2755987.4973 | 1236118.9951
47 | 2755994.8148 | 1236109.6933
48 | 2756000.2461 | 1236102.7891
49 | 2756130.1177 | 1236230.8307
50 | 2755973.2462 | 1236334.762
51 | 2756006.4685 | 1236311.9025
52 | 2755972.9272 | 1236335.6006
53 | 2756026.5865 | 1236327.771
54 | 2755977.9545 | 1236368.9509
55 | 2755965.1694 | 1236359.7157
56 | 2755917.4523 | 1236272.3831
57 | 2755920.8272 | 1236256.3774
58 | 2755921.3896 | 1236253.7101
59 | 2755814.3996 | 1236293.0576
60 | 2755800.8958 | 1236279.9744
61 | 2755929.491 | 1236225.5441
62 | 2755958.2923 | 1236196.4132

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1