## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3274-20_3_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_3274-20_3_2_node_125 | 0.4 | n |  | TRUE
2 | bus_LV_3274-20_3_2_node_129 | 0.4 | n |  | TRUE
3 | bus_LV_3274-20_3_2_node_80 | 0.4 | n |  | TRUE
4 | bus_LV_3274-20_3_2_node_130 | 0.4 | n |  | TRUE
5 | bus_LV_3274-20_3_2_node_119 | 0.4 | n |  | TRUE
6 | bus_LV_3274-20_3_2_node_131 | 0.4 | n |  | TRUE
7 | bus_LV_3274-20_3_2_node_115 | 0.4 | n |  | TRUE
8 | bus_LV_3274-20_3_2_node_132 | 0.4 | n |  | TRUE
9 | bus_LV_3274-20_3_2_node_133 | 0.4 | n |  | TRUE
10 | bus_LV_3274-20_3_2_node_191 | 0.4 | n |  | TRUE
11 | bus_LV_3274-20_3_2_node_86 | 0.4 | n |  | TRUE
12 | bus_LV_3274-20_3_2_node_192 | 0.4 | n |  | TRUE
13 | bus_LV_3274-20_3_2_node_193 | 0.4 | n |  | TRUE
14 | bus_LV_3274-20_3_2_node_194 | 0.4 | n |  | TRUE
15 | bus_LV_3274-20_3_2_node_195 | 0.4 | n |  | TRUE
16 | bus_LV_3274-20_3_2_node_196 | 0.4 | n |  | TRUE
17 | bus_LV_3274-20_3_2_node_197 | 0.4 | n |  | TRUE
18 | bus_LV_3274-20_3_2_node_199 | 0.4 | n |  | TRUE
19 | bus_LV_3274-20_3_2_node_198 | 0.4 | n |  | TRUE
20 | bus_LV_3274-20_3_2_node_200 | 0.4 | n |  | TRUE
21 | bus_LV_3274-20_3_2_node_108 | 0.4 | n |  | TRUE
22 | bus_LV_3274-20_3_2_node_201 | 0.4 | n |  | TRUE
23 | bus_LV_3274-20_3_2_node_107 | 0.4 | n |  | TRUE
24 | bus_LV_3274-20_3_2_node_202 | 0.4 | n |  | TRUE
25 | bus_LV_3274-20_3_2_node_203 | 0.4 | n |  | TRUE
26 | bus_LV_3274-20_3_2_node_204 | 0.4 | n |  | TRUE
27 | bus_LV_3274-20_3_2_node_205 | 0.4 | n |  | TRUE
28 | bus_LV_3274-20_3_2_node_206 | 0.4 | n |  | TRUE
29 | bus_LV_3274-20_3_2_node_207 | 0.4 | n |  | TRUE
30 | bus_LV_3274-20_3_2_node_82 | 0.4 | n |  | TRUE
31 | bus_LV_3274-20_3_2_node_83 | 0.4 | n |  | TRUE
32 | bus_LV_3274-20_3_2_node_84 | 0.4 | n |  | TRUE
33 | bus_LV_3274-20_3_2_node_85 | 0.4 | n |  | TRUE
34 | bus_LV_3274-20_3_2_node_103 | 0.4 | n |  | TRUE
35 | bus_LV_3274-20_3_2_node_101 | 0.4 | n |  | TRUE
36 | bus_LV_3274-20_3_2_node_208 | 0.4 | n |  | TRUE
37 | bus_LV_3274-20_3_2_node_209 | 0.4 | n |  | TRUE
38 | bus_LV_3274-20_3_2_node_212 | 0.4 | n |  | TRUE
39 | bus_LV_3274-20_3_2_node_210 | 0.4 | n |  | TRUE
40 | bus_LV_3274-20_3_2_node_211 | 0.4 | n |  | TRUE
41 | bus_LV_3274-20_3_2_node_104 | 0.4 | n |  | TRUE
42 | bus_LV_3274-20_3_2_node_105 | 0.4 | n |  | TRUE
43 | bus_LV_3274-20_3_2_node_106 | 0.4 | n |  | TRUE
44 | bus_LV_3274-20_3_2_node_109 | 0.4 | n |  | TRUE
45 | bus_LV_3274-20_3_2_node_110 | 0.4 | n |  | TRUE
46 | bus_LV_3274-20_3_2_node_111 | 0.4 | n |  | TRUE
47 | bus_LV_3274-20_3_2_node_116 | 0.4 | n |  | TRUE
48 | bus_LV_3274-20_3_2_node_113 | 0.4 | n |  | TRUE
49 | bus_LV_3274-20_3_2_node_112 | 0.4 | n |  | TRUE
50 | bus_LV_3274-20_3_2_node_114 | 0.4 | n |  | TRUE
51 | bus_LV_3274-20_3_2_node_117 | 0.4 | n |  | TRUE
52 | bus_LV_3274-20_3_2_node_118 | 0.4 | n |  | TRUE
53 | bus_LV_3274-20_3_2_node_120 | 0.4 | n |  | TRUE
54 | bus_LV_3274-20_3_2_node_122 | 0.4 | n |  | TRUE
55 | bus_LV_3274-20_3_2_node_123 | 0.4 | n |  | TRUE
56 | bus_MV_0_node_105 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3274-20_3_2_load_128 | 0 | 0.00014346 | 3.5954e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3274-20_3_2_load_130 | 4 | 0.00034857 | 8.736e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3274-20_3_2_load_131 | 6 | 0.00036738 | 9.2074e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3274-20_3_2_load_132 | 8 | 0.0003804 | 9.5338e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3274-20_3_2_load_133 | 9 | 0.00043194 | 0.00010825 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3274-20_3_2_load_191 | 10 | 0.00069856 | 0.00017508 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3274-20_3_2_load_86 | 11 | 0.00083417 | 0.00020906 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3274-20_3_2_load_192 | 12 | 0.00016197 | 4.0593e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3274-20_3_2_load_193 | 13 | 0.00049961 | 0.00012521 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3274-20_3_2_load_194 | 14 | 8.4245e-05 | 2.1114e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3274-20_3_2_load_195 | 15 | 0.00019185 | 4.8081e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3274-20_3_2_load_196 | 16 | 6.5405e-05 | 1.6392e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3274-20_3_2_load_197 | 17 | 0.00017988 | 4.5082e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3274-20_3_2_load_199 | 18 | 5.8942e-05 | 1.4772e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3274-20_3_2_load_198 | 19 | 0.00019816 | 4.9662e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3274-20_3_2_load_200 | 20 | 0.0015416 | 0.00038636 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3274-20_3_2_load_108 | 21 | 0.0011417 | 0.00028613 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3274-20_3_2_load_201 | 22 | 0.00056531 | 0.00014168 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3274-20_3_2_load_107 | 23 | 0.0020163 | 0.00050533 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3274-20_3_2_load_202 | 24 | 0.00090469 | 0.00022674 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3274-20_3_2_load_203 | 25 | 0.0035078 | 0.00087914 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3274-20_3_2_load_204 | 26 | 0.00037073 | 9.2915e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3274-20_3_2_load_205 | 27 | 0.0016316 | 0.00040891 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3274-20_3_2_load_206 | 28 | 0.0019611 | 0.00049151 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3274-20_3_2_load_207 | 29 | 0.00045154 | 0.00011317 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3274-20_3_2_load_82 | 30 | 0.00026417 | 6.6206e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3274-20_3_2_load_83 | 31 | 0.00028897 | 7.2423e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3274-20_3_2_load_84 | 32 | 0.00036041 | 9.0328e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3274-20_3_2_load_103 | 34 | 0.00053493 | 0.00013406 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3274-20_3_2_load_101 | 35 | 0.00096132 | 0.00024093 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3274-20_3_2_load_208 | 36 | 0.00046713 | 0.00011707 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3274-20_3_2_load_209 | 37 | 0.00048583 | 0.00012176 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3274-20_3_2_load_212 | 38 | 0.0004897 | 0.00012273 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3274-20_3_2_load_210 | 39 | 0.0016067 | 0.00040268 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3274-20_3_2_load_104 | 41 | 0.00085449 | 0.00021416 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3274-20_3_2_load_105 | 42 | 0.0011808 | 0.00029593 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3274-20_3_2_load_106 | 43 | 0.0016468 | 0.00041273 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3274-20_3_2_load_109 | 44 | 0.00056523 | 0.00014166 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3274-20_3_2_load_116 | 47 | 0.00099685 | 0.00024983 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3274-20_3_2_load_113 | 48 | 0.0002349 | 5.8871e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3274-20_3_2_load_112 | 49 | 0.00044632 | 0.00011186 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3274-20_3_2_load_118 | 52 | 0.0021201 | 0.00053133 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3274-20_3_2_load_120 | 53 | 0.00056656 | 0.00014199 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3274-20_3_2_load_122 | 54 | 0.0013137 | 0.00032924 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3274-20_3_2_load_123 | 55 | 0.00017572 | 4.4038e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3274-20_3_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3274-20_3_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0095169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3274-20_3_2_line_2 | NAYY 4x150 SE | 1 | 55 | 0.049397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3274-20_3_2_line_3 | NAYY 4x150 SE | 2 | 3 | 0.24696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3274-20_3_2_line_4 | NAYY 4x150 SE | 2 | 4 | 0.018725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3274-20_3_2_line_5 | NAYY 4x150 SE | 3 | 16 | 0.032711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3274-20_3_2_line_6 | NAYY 4x150 SE | 3 | 17 | 0.042297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3274-20_3_2_line_7 | NAYY 4x150 SE | 4 | 5 | 0.0061713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3274-20_3_2_line_8 | NAYY 4x150 SE | 5 | 51 | 0.17742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3274-20_3_2_line_9 | NAYY 4x150 SE | 6 | 7 | 0.1704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3274-20_3_2_line_10 | NAYY 4x150 SE | 6 | 8 | 0.053563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3274-20_3_2_line_11 | NAYY 4x150 SE | 7 | 50 | 0.021882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3274-20_3_2_line_12 | NAYY 4x150 SE | 8 | 9 | 0.054114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3274-20_3_2_line_13 | NAYY 4x150 SE | 10 | 11 | 0.065248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3274-20_3_2_line_14 | NAYY 4x150 SE | 10 | 12 | 0.0051809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3274-20_3_2_line_15 | NAYY 4x150 SE | 11 | 32 | 0.013249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3274-20_3_2_line_16 | NAYY 4x150 SE | 12 | 13 | 0.047367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3274-20_3_2_line_17 | NAYY 4x150 SE | 13 | 14 | 0.023077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3274-20_3_2_line_18 | NAYY 4x150 SE | 14 | 15 | 0.026712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3274-20_3_2_line_19 | NAYY 4x150 SE | 15 | 16 | 0.0032988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3274-20_3_2_line_20 | NAYY 4x150 SE | 17 | 18 | 0.020269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3274-20_3_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.01292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3274-20_3_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.00284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3274-20_3_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.070824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3274-20_3_2_line_24 | NAYY 4x150 SE | 21 | 43 | 0.031708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3274-20_3_2_line_25 | NAYY 4x150 SE | 22 | 23 | 0.0028874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3274-20_3_2_line_26 | NAYY 4x150 SE | 22 | 24 | 0.0025721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3274-20_3_2_line_27 | NAYY 4x150 SE | 23 | 42 | 0.016584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3274-20_3_2_line_28 | NAYY 4x150 SE | 24 | 25 | 0.041972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3274-20_3_2_line_29 | NAYY 4x150 SE | 25 | 26 | 0.0013103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3274-20_3_2_line_30 | NAYY 4x150 SE | 26 | 27 | 0.0068907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3274-20_3_2_line_31 | NAYY 4x150 SE | 27 | 28 | 0.022151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3274-20_3_2_line_32 | NAYY 4x150 SE | 28 | 29 | 0.018689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3274-20_3_2_line_33 | NAYY 4x150 SE | 29 | 36 | 0.00023272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3274-20_3_2_line_34 | NAYY 4x150 SE | 30 | 31 | 0.11749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3274-20_3_2_line_35 | NAYY 4x150 SE | 31 | 32 | 0.031559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3274-20_3_2_line_36 | NAYY 4x150 SE | 33 | 34 | 0.12923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3274-20_3_2_line_37 | NAYY 4x150 SE | 33 | 35 | 0.10807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3274-20_3_2_line_38 | NAYY 4x150 SE | 34 | 39 | 0.029392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3274-20_3_2_line_39 | NAYY 4x150 SE | 36 | 37 | 0.00036934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3274-20_3_2_line_40 | NAYY 4x150 SE | 37 | 38 | 0.020152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3274-20_3_2_line_41 | NAYY 4x150 SE | 38 | 40 | 0.010411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3274-20_3_2_line_42 | NAYY 4x150 SE | 39 | 40 | 0.009199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3274-20_3_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.01623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3274-20_3_2_line_44 | NAYY 4x150 SE | 41 | 43 | 0.0047186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3274-20_3_2_line_45 | NAYY 4x150 SE | 44 | 45 | 0.13248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3274-20_3_2_line_46 | NAYY 4x150 SE | 45 | 46 | 0.033911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3274-20_3_2_line_47 | NAYY 4x150 SE | 46 | 47 | 0.18352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3274-20_3_2_line_48 | NAYY 4x150 SE | 46 | 48 | 0.026013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3274-20_3_2_line_49 | NAYY 4x150 SE | 47 | 51 | 0.035686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3274-20_3_2_line_50 | NAYY 4x150 SE | 48 | 49 | 0.0011748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3274-20_3_2_line_51 | NAYY 4x150 SE | 49 | 50 | 0.078841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3274-20_3_2_line_52 | NAYY 4x150 SE | 51 | 52 | 0.18073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3274-20_3_2_line_53 | NAYY 4x150 SE | 52 | 53 | 0.012816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3274-20_3_2_line_54 | NAYY 4x150 SE | 54 | 55 | 0.027972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3274-20_3_2_trafo_105 | 0.25 MVA 20/0.4 kV | 56 | 42 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2754511.0077 | 1235067.6556 | 2754516.2498 | 1235057.9939 | 2754516.4112 | 1235057.6883
1 | 2754520.854 | 1235049.2721 | 2754516.4112 | 1235057.6883
2 | 2754511.0077 | 1235067.6556 | 2754504.4026 | 1235068.5848 | 2754491.5784 | 1235071.0314 | 2754478.0997 | 1235073.6057 | 2754462.4765 | 1235076.8128
3 | 2754625.2618 | 1234878.3604 | 2754590.57 | 1234895.763 | 2754554.9188 | 1234919.1911 | 2754510.5521 | 1234951.6012 | 2754500.0591 | 1234963.6953 | 2754493.2978 | 1234978.4779 | 2754492.1482 | 1234993.5511 | 2754496.0638 | 1235011.0026 | 2754517.6387 | 1235044.7843 | 2754520.854 | 1235049.2721
4 | 2754520.854 | 1235049.2721 | 2754527.9281 | 1235059.132 | 2754532.2409 | 1235064.1145
5 | 2754625.2618 | 1234878.3604 | 2754635.07 | 1234873.967 | 2754645.1659 | 1234867.5459 | 2754653.6489 | 1234862.253
6 | 2754625.2618 | 1234878.3604 | 2754646.7433 | 1234890.7199 | 2754660.2525 | 1234896.2989 | 2754663.0312 | 1234897.1208
7 | 2754536.2799 | 1235068.7805 | 2754532.2409 | 1235064.1145
8 | 2754536.2799 | 1235068.7805 | 2754544.4661 | 1235073.4423 | 2754564.1782 | 1235088.002 | 2754581.12 | 1235098.1411 | 2754601.1696 | 1235108.4613 | 2754614.5408 | 1235115.5381 | 2754622.2997 | 1235122.3576 | 2754627.5714 | 1235129.8796 | 2754633.3572 | 1235141.7969 | 2754639.9134 | 1235163.3879 | 2754643.9201 | 1235181.3869 | 2754646.2573 | 1235193.7038
9 | 2754828.0498 | 1235413.5674 | 2754813.4207 | 1235421.0711 | 2754763.9471 | 1235439.1549 | 2754665.3587 | 1235462.3658
10 | 2754665.3587 | 1235462.3658 | 2754644.4769 | 1235467.2821 | 2754616.0164 | 1235475.2489 | 2754613.5852 | 1235476.0382
11 | 2754828.0498 | 1235413.5674 | 2754837.7885 | 1235397.0055 | 2754837.8583 | 1235394.3271
12 | 2754562.1158 | 1235492.7478 | 2754613.5852 | 1235476.0382
13 | 2754711.0765 | 1234721.4851 | 2754689.414 | 1234738.5872 | 2754689.1441 | 1234748.9455 | 2754698.7241 | 1234774.4944
14 | 2754698.7241 | 1234774.4944 | 2754700.5431 | 1234779.3454
15 | 2754721.4756 | 1234713.2753 | 2754711.0765 | 1234721.4851
16 | 2754700.5431 | 1234779.3454 | 2754701.9046 | 1234782.9764 | 2754703.5028 | 1234796.6309 | 2754686.5876 | 1234821.0938
17 | 2754686.5876 | 1234821.0938 | 2754673.463 | 1234840.0749
18 | 2754673.463 | 1234840.0749 | 2754664.5391 | 1234852.9808 | 2754656.2639 | 1234860.26
19 | 2754653.6489 | 1234862.253 | 2754654.8504 | 1234861.5034 | 2754656.2639 | 1234860.26
20 | 2754663.0312 | 1234897.1208 | 2754674.1484 | 1234900.4089 | 2754682.7122 | 1234901.7999
21 | 2754695.5065 | 1234901.3679 | 2754686.8706 | 1234902.4754 | 2754682.7122 | 1234901.7999
22 | 2754695.5065 | 1234901.3679 | 2754698.3235 | 1234901.0066
23 | 2754698.3235 | 1234901.0066 | 2754699.4843 | 1234900.8577 | 2754709.5961 | 1234900.7987 | 2754722.4483 | 1234902.5238 | 2754734.269 | 1234906.9247 | 2754747.304 | 1234915.005 | 2754762.202 | 1234926.1816
24 | 2754762.202 | 1234926.1816 | 2754763.1998 | 1234926.9302 | 2754774.8959 | 1234936.6885 | 2754787.2169 | 1234945.6385
25 | 2754820.7308 | 1234962.4692 | 2754823.4219 | 1234963.5157
26 | 2754823.4219 | 1234963.5157 | 2754825.8191 | 1234964.448
27 | 2754805.7899 | 1234955.3144 | 2754816.3898 | 1234960.781 | 2754820.7308 | 1234962.4692
28 | 2754825.8191 | 1234964.448 | 2754844.0391 | 1234971.5337 | 2754863.6706 | 1234975.5269 | 2754866.0385 | 1234975.8438
29 | 2754866.0385 | 1234975.8438 | 2754867.3372 | 1234976.0177
30 | 2754867.3372 | 1234976.0177 | 2754874.167 | 1234976.9319
31 | 2754895.5535 | 1234982.2138 | 2754893.7134 | 1234981.3265 | 2754883.896 | 1234978.2343 | 2754874.167 | 1234976.9319
32 | 2754895.5535 | 1234982.2138 | 2754904.6852 | 1234986.6174 | 2754912.1039 | 1234990.8693
33 | 2754912.1039 | 1234990.8693 | 2754912.3059 | 1234990.9851
34 | 2754829.8825 | 1234611.3334 | 2754796.4485 | 1234647.4107 | 2754746.2192 | 1234693.6894
35 | 2754721.4756 | 1234713.2753 | 2754745.8307 | 1234694.0474 | 2754746.2192 | 1234693.6894
36 | 2755090.583 | 1234933.8609 | 2755064.453 | 1234938.8838 | 2755038.7675 | 1234951.8258 | 2755011.713 | 1234967.3124 | 2754983.3736 | 1234982.1316 | 2754973.1641 | 1234985.3425
37 | 2755090.583 | 1234933.8609 | 2755114.9666 | 1234933.3635 | 2755136.0953 | 1234937.152 | 2755192.7357 | 1234962.8851
38 | 2754947.263 | 1234998.6785 | 2754962.5736 | 1234988.6731 | 2754973.1641 | 1234985.3425
39 | 2754912.3059 | 1234990.9851 | 2754912.6263 | 1234991.1687
40 | 2754912.6263 | 1234991.1687 | 2754919.9739 | 1234995.3798 | 2754930.4337 | 1235000.5849
41 | 2754940.0871 | 1235004.4127 | 2754934.2905 | 1235002.5042 | 2754930.4337 | 1235000.5849
42 | 2754940.0871 | 1235004.4127 | 2754942.5625 | 1235002.1307 | 2754947.1414 | 1234998.758 | 2754947.263 | 1234998.6785
43 | 2754805.7899 | 1234955.3144 | 2754791.365 | 1234947.8752
44 | 2754787.2169 | 1234945.6385 | 2754787.6797 | 1234945.9747 | 2754791.365 | 1234947.8752
45 | 2754868.1393 | 1235294.5443 | 2754878.8355 | 1235294.701 | 2754898.1083 | 1235297.3058 | 2754932.7061 | 1235304.3478 | 2754946.8375 | 1235308.6759 | 2754955.3999 | 1235312.247 | 2754966.6206 | 1235319.2907 | 2754989.4708 | 1235338.3046
46 | 2754834.1943 | 1235296.4392 | 2754843.0414 | 1235296.3586 | 2754868.1393 | 1235294.5443
47 | 2754834.1943 | 1235296.4392 | 2754824.7825 | 1235295.5264 | 2754816.5628 | 1235293.9108 | 2754804.6724 | 1235289.0186 | 2754775.5066 | 1235273.1661 | 2754751.6996 | 1235262.3469 | 2754728.4762 | 1235251.7989 | 2754716.8086 | 1235246.4901 | 2754697.9092 | 1235234.4867 | 2754668.5287 | 1235219.9664
48 | 2754834.1943 | 1235296.4392 | 2754822.0267 | 1235319.4306
49 | 2754646.2573 | 1235193.7038 | 2754650.6961 | 1235204.4183 | 2754653.3448 | 1235208.5578 | 2754656.3782 | 1235212.1735 | 2754661.4408 | 1235215.7976 | 2754666.9788 | 1235219.2005 | 2754668.5287 | 1235219.9664
50 | 2754821.4772 | 1235320.469 | 2754822.0267 | 1235319.4306
51 | 2754837.8583 | 1235394.3271 | 2754837.5004 | 1235386.566 | 2754836.1537 | 1235378.9681 | 2754819.1197 | 1235341.9227 | 2754817.187 | 1235333.5644 | 2754818.0487 | 1235326.9473 | 2754821.4772 | 1235320.469
52 | 2754646.2573 | 1235193.7038 | 2754638.4275 | 1235198.6269 | 2754610.4273 | 1235200.5 | 2754567.5302 | 1235200.6731 | 2754541.5427 | 1235199.9965 | 2754514.6591 | 1235209.017 | 2754491.1401 | 1235213.5876 | 2754469.1799 | 1235210.2523
53 | 2754469.1799 | 1235210.2523 | 2754456.5091 | 1235208.3278
54 | 2754435.6923 | 1235084.4976 | 2754446.9902 | 1235079.9919 | 2754462.4765 | 1235076.8128

## bus_geodata
| x | y | coords
0 | 2754516.4112 | 1235057.6883
1 | 2754511.0077 | 1235067.6556
2 | 2754520.854 | 1235049.2721
3 | 2754625.2618 | 1234878.3604
4 | 2754532.2409 | 1235064.1145
5 | 2754536.2799 | 1235068.7805
6 | 2754665.3587 | 1235462.3658
7 | 2754828.0498 | 1235413.5674
8 | 2754613.5852 | 1235476.0382
9 | 2754562.1158 | 1235492.7478
10 | 2754698.7241 | 1234774.4944
11 | 2754711.0765 | 1234721.4851
12 | 2754700.5431 | 1234779.3454
13 | 2754686.5876 | 1234821.0938
14 | 2754673.463 | 1234840.0749
15 | 2754656.2639 | 1234860.26
16 | 2754653.6489 | 1234862.253
17 | 2754663.0312 | 1234897.1208
18 | 2754682.7122 | 1234901.7999
19 | 2754695.5065 | 1234901.3679
20 | 2754698.3235 | 1234901.0066
21 | 2754762.202 | 1234926.1816
22 | 2754823.4219 | 1234963.5157
23 | 2754820.7308 | 1234962.4692
24 | 2754825.8191 | 1234964.448
25 | 2754866.0385 | 1234975.8438
26 | 2754867.3372 | 1234976.0177
27 | 2754874.167 | 1234976.9319
28 | 2754895.5535 | 1234982.2138
29 | 2754912.104 | 1234990.8693
30 | 2754829.8825 | 1234611.3334
31 | 2754746.2192 | 1234693.6894
32 | 2754721.4756 | 1234713.2753
33 | 2755090.583 | 1234933.8609
34 | 2754973.1641 | 1234985.3425
35 | 2755192.7357 | 1234962.8851
36 | 2754912.3059 | 1234990.9851
37 | 2754912.6263 | 1234991.1687
38 | 2754930.4336 | 1235000.5849
39 | 2754947.263 | 1234998.6785
40 | 2754940.0871 | 1235004.4127
41 | 2754791.365 | 1234947.8752
42 | 2754805.7899 | 1234955.3144
43 | 2754787.2169 | 1234945.6385
44 | 2754989.4708 | 1235338.3046
45 | 2754868.1393 | 1235294.5443
46 | 2754834.1943 | 1235296.4392
47 | 2754668.5287 | 1235219.9664
48 | 2754822.0267 | 1235319.4306
49 | 2754821.4772 | 1235320.469
50 | 2754837.8583 | 1235394.3271
51 | 2754646.2573 | 1235193.7038
52 | 2754469.1799 | 1235210.2523
53 | 2754456.5091 | 1235208.3278
54 | 2754435.6923 | 1235084.4976
55 | 2754462.4765 | 1235076.8128
56 | 2754805.7899 | 1234955.3144

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1