## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3276-17_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3276-17_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3276-17_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3276-17_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3276-17_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3276-17_0_3_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_3276-17_0_3_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_3276-17_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_3276-17_0_3_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_3276-17_0_3_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_3276-17_0_3_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_3276-17_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_3276-17_0_3_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_3276-17_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_3276-17_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3276-17_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3276-17_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3276-17_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_3276-17_0_3_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_3276-17_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_3276-17_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_3276-17_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_3276-17_0_3_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_3276-17_0_3_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_3276-17_0_3_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_3276-17_0_3_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_3276-17_0_3_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_3276-17_0_3_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_3276-17_0_3_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_3276-17_0_3_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_3276-17_0_3_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_3276-17_0_3_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_3276-17_0_3_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_3276-17_0_3_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_3276-17_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_3276-17_0_3_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_3276-17_0_3_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_3276-17_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_3276-17_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_3276-17_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_3276-17_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_3276-17_0_3_node_94 | 0.4 | n |  | TRUE
42 | bus_LV_3276-17_0_3_node_93 | 0.4 | n |  | TRUE
43 | bus_LV_3276-17_0_3_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_3276-17_0_3_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_3276-17_0_3_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_3276-17_0_3_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_3276-17_0_3_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_3276-17_0_3_node_89 | 0.4 | n |  | TRUE
49 | bus_LV_3276-17_0_3_node_90 | 0.4 | n |  | TRUE
50 | bus_LV_3276-17_0_3_node_76 | 0.4 | n |  | TRUE
51 | bus_LV_3276-17_0_3_node_95 | 0.4 | n |  | TRUE
52 | bus_LV_3276-17_0_3_node_74 | 0.4 | n |  | TRUE
53 | bus_LV_3276-17_0_3_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_3276-17_0_3_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_3276-17_0_3_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_3276-17_0_3_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_3276-17_0_3_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_3276-17_0_3_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_3276-17_0_3_node_92 | 0.4 | n |  | TRUE
60 | bus_LV_3276-17_0_3_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_3276-17_0_3_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_3276-17_0_3_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_3276-17_0_3_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_3276-17_0_3_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_3276-17_0_3_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_3276-17_0_3_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_3276-17_0_3_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_3276-17_0_3_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_3276-17_0_3_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_3276-17_0_3_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_3276-17_0_3_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_3276-17_0_3_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_3276-17_0_3_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_3276-17_0_3_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_3276-17_0_3_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_3276-17_0_3_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_3276-17_0_3_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_3276-17_0_3_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_3276-17_0_3_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_3276-17_0_3_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_3276-17_0_3_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_3276-17_0_3_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_3276-17_0_3_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_3276-17_0_3_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_3276-17_0_3_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_3276-17_0_3_node_88 | 0.4 | n |  | TRUE
87 | bus_LV_3276-17_0_3_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_3276-17_0_3_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_3276-17_0_3_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_3276-17_0_3_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_3276-17_0_3_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_3276-17_0_3_node_84 | 0.4 | n |  | TRUE
93 | bus_MV_53_0_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3276-17_0_3_load_0 | 0 | 0.0069801 | 0.0017494 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3276-17_0_3_load_1 | 1 | 0.004067 | 0.0010193 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3276-17_0_3_load_2 | 2 | 0.0030668 | 0.00076862 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3276-17_0_3_load_4 | 4 | 0.003625 | 0.00090851 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3276-17_0_3_load_28 | 6 | 0.0067239 | 0.0016852 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3276-17_0_3_load_8 | 7 | 0.0022531 | 0.00056468 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3276-17_0_3_load_20 | 8 | 0.0038728 | 0.00097061 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3276-17_0_3_load_18 | 9 | 0.0019217 | 0.00048162 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3276-17_0_3_load_6 | 11 | 0.0016303 | 0.00040859 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3276-17_0_3_load_5 | 12 | 0.0094191 | 0.0023607 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3276-17_0_3_load_7 | 13 | 0.003684 | 0.0009233 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3276-17_0_3_load_10 | 14 | 0.0015915 | 0.00039886 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3276-17_0_3_load_11 | 15 | 0.00089913 | 0.00022534 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3276-17_0_3_load_12 | 16 | 0.0010638 | 0.0002666 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3276-17_0_3_load_17 | 18 | 0.0048751 | 0.0012218 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3276-17_0_3_load_13 | 19 | 0.0042179 | 0.0010571 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3276-17_0_3_load_14 | 20 | 0.00091331 | 0.0002289 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3276-17_0_3_load_16 | 21 | 0.0016315 | 0.00040889 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3276-17_0_3_load_21 | 22 | 0.0036124 | 0.00090534 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3276-17_0_3_load_23 | 23 | 0.0044559 | 0.0011167 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3276-17_0_3_load_24 | 24 | 0.0022333 | 0.00055971 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3276-17_0_3_load_25 | 25 | 0.0029395 | 0.00073671 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3276-17_0_3_load_27 | 27 | 0.0037993 | 0.00095219 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3276-17_0_3_load_42 | 28 | 0.0028479 | 0.00071375 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3276-17_0_3_load_39 | 29 | 0.0022324 | 0.00055949 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3276-17_0_3_load_37 | 30 | 0.0028232 | 0.00070756 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3276-17_0_3_load_46 | 31 | 0.0016749 | 0.00041977 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3276-17_0_3_load_40 | 32 | 0.0039416 | 0.00098786 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3276-17_0_3_load_38 | 33 | 0.0023543 | 0.00059003 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3276-17_0_3_load_30 | 34 | 0.0018149 | 0.00045486 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3276-17_0_3_load_36 | 36 | 0.0030528 | 0.0007651 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3276-17_0_3_load_32 | 37 | 0.0017286 | 0.00043323 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3276-17_0_3_load_31 | 38 | 0.0021456 | 0.00053774 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3276-17_0_3_load_33 | 39 | 0.0034568 | 0.00086635 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3276-17_0_3_load_35 | 40 | 0.0027404 | 0.00068682 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3276-17_0_3_load_94 | 41 | 0.0071001 | 0.0017795 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3276-17_0_3_load_93 | 42 | 0.0021305 | 0.00053394 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3276-17_0_3_load_47 | 43 | 0.0021435 | 0.00053721 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3276-17_0_3_load_41 | 44 | 0.0030435 | 0.00076276 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3276-17_0_3_load_43 | 45 | 0.0016845 | 0.00042217 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3276-17_0_3_load_44 | 46 | 0.0038065 | 0.00095399 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3276-17_0_3_load_89 | 48 | 0.0038043 | 0.00095345 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3276-17_0_3_load_90 | 49 | 0.0027518 | 0.00068967 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3276-17_0_3_load_76 | 50 | 0.0046819 | 0.0011734 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3276-17_0_3_load_95 | 51 | 0.0019008 | 0.00047638 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3276-17_0_3_load_74 | 52 | 0.0025105 | 0.00062919 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3276-17_0_3_load_48 | 53 | 0.0018644 | 0.00046727 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3276-17_0_3_load_49 | 54 | 0.0028432 | 0.00071258 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3276-17_0_3_load_50 | 55 | 0.0025335 | 0.00063496 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3276-17_0_3_load_51 | 56 | 0.0016064 | 0.00040259 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3276-17_0_3_load_52 | 57 | 0.00076281 | 0.00019118 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3276-17_0_3_load_54 | 58 | 0.001352 | 0.00033885 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3276-17_0_3_load_92 | 59 | 0.0035396 | 0.00088711 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3276-17_0_3_load_53 | 60 | 0.0019399 | 0.00048618 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3276-17_0_3_load_55 | 61 | 0.0010353 | 0.00025948 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3276-17_0_3_load_56 | 62 | 0.00049387 | 0.00012377 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3276-17_0_3_load_57 | 63 | 0.00093526 | 0.0002344 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3276-17_0_3_load_58 | 64 | 0.00090979 | 0.00022802 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3276-17_0_3_load_59 | 65 | 0.0029292 | 0.00073411 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3276-17_0_3_load_62 | 66 | 0.00094335 | 0.00023643 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3276-17_0_3_load_60 | 67 | 0.00087319 | 0.00021884 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3276-17_0_3_load_61 | 68 | 0.0015413 | 0.00038628 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3276-17_0_3_load_63 | 69 | 0.0014911 | 0.00037372 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3276-17_0_3_load_68 | 70 | 0.00093418 | 0.00023413 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3276-17_0_3_load_64 | 72 | 0.0009154 | 0.00022942 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3276-17_0_3_load_65 | 73 | 0.00091067 | 0.00022823 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3276-17_0_3_load_72 | 75 | 0.0027013 | 0.00067702 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3276-17_0_3_load_73 | 76 | 0.0023535 | 0.00058984 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3276-17_0_3_load_69 | 78 | 0.0025673 | 0.00064343 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3276-17_0_3_load_70 | 79 | 0.0013729 | 0.00034409 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3276-17_0_3_load_75 | 81 | 0.0029194 | 0.00073168 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3276-17_0_3_load_77 | 82 | 0.0021749 | 0.00054508 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3276-17_0_3_load_78 | 83 | 0.0015704 | 0.00039359 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3276-17_0_3_load_87 | 84 | 0.0016419 | 0.0004115 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3276-17_0_3_load_85 | 85 | 0.0025495 | 0.00063896 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3276-17_0_3_load_88 | 86 | 0.0039825 | 0.00099811 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3276-17_0_3_load_86 | 87 | 0.0011459 | 0.0002872 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3276-17_0_3_load_80 | 88 | 0.0017557 | 0.00044002 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3276-17_0_3_load_81 | 89 | 0.0016079 | 0.00040298 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3276-17_0_3_load_82 | 90 | 0.0013222 | 0.00033137 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3276-17_0_3_load_83 | 91 | 0.0091921 | 0.0023038 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3276-17_0_3_load_84 | 92 | 0.0026334 | 0.00066 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3276-17_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.019883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3276-17_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.031657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3276-17_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.025028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3276-17_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.024407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3276-17_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.049266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3276-17_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.037415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3276-17_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.021091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3276-17_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.040148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3276-17_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.038014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3276-17_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.06012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3276-17_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.026028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3276-17_0_3_line_11 | NAYY 4x150 SE | 8 | 22 | 0.019877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3276-17_0_3_line_12 | NAYY 4x150 SE | 10 | 34 | 0.071396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_3276-17_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.0067118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3276-17_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.041323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3276-17_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.054166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3276-17_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.0064249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3276-17_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.0154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3276-17_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.041702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3276-17_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.0057892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3276-17_0_3_line_20 | NAYY 4x150 SE | 18 | 22 | 0.037052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3276-17_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.010518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3276-17_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.01365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3276-17_0_3_line_23 | NAYY 4x150 SE | 23 | 24 | 0.015263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3276-17_0_3_line_24 | NAYY 4x150 SE | 23 | 25 | 0.01922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3276-17_0_3_line_25 | NAYY 4x150 SE | 24 | 26 | 0.007721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3276-17_0_3_line_26 | NAYY 4x150 SE | 25 | 27 | 0.0054081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3276-17_0_3_line_27 | NAYY 4x150 SE | 26 | 28 | 0.002609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_3276-17_0_3_line_28 | NAYY 4x150 SE | 26 | 29 | 0.011175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_3276-17_0_3_line_29 | NAYY 4x150 SE | 27 | 30 | 0.014573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3276-17_0_3_line_30 | NAYY 4x150 SE | 28 | 31 | 0.0089702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_3276-17_0_3_line_31 | NAYY 4x150 SE | 29 | 32 | 0.016737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_3276-17_0_3_line_32 | NAYY 4x150 SE | 30 | 33 | 0.031352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3276-17_0_3_line_33 | NAYY 4x150 SE | 31 | 40 | 0.01247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_3276-17_0_3_line_34 | NAYY 4x150 SE | 32 | 44 | 0.019737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_3276-17_0_3_line_35 | NAYY 4x150 SE | 33 | 43 | 0.0012932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3276-17_0_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.014203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_3276-17_0_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.024701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3276-17_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.0048922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_3276-17_0_3_line_39 | NAYY 4x150 SE | 36 | 41 | 0.011081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3276-17_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.012789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_3276-17_0_3_line_41 | NAYY 4x150 SE | 38 | 39 | 0.0013472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_3276-17_0_3_line_42 | NAYY 4x150 SE | 39 | 40 | 0.011268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_3276-17_0_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.0071842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3276-17_0_3_line_44 | NAYY 4x150 SE | 42 | 59 | 0.019642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3276-17_0_3_line_45 | NAYY 4x150 SE | 44 | 45 | 0.017758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3276-17_0_3_line_46 | NAYY 4x150 SE | 45 | 46 | 0.029774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3276-17_0_3_line_47 | NAYY 4x150 SE | 46 | 47 | 0.010585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3276-17_0_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.025718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3276-17_0_3_line_49 | NAYY 4x150 SE | 47 | 49 | 0.011115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3276-17_0_3_line_50 | NAYY 4x150 SE | 47 | 50 | 0.036865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3276-17_0_3_line_51 | NAYY 4x150 SE | 49 | 51 | 0.019557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3276-17_0_3_line_52 | NAYY 4x150 SE | 50 | 52 | 0.02134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3276-17_0_3_line_53 | NAYY 4x150 SE | 52 | 81 | 0.022185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3276-17_0_3_line_54 | NAYY 4x150 SE | 53 | 54 | 0.01915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3276-17_0_3_line_55 | NAYY 4x150 SE | 53 | 55 | 0.0061626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3276-17_0_3_line_56 | NAYY 4x150 SE | 54 | 56 | 0.0034594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3276-17_0_3_line_57 | NAYY 4x150 SE | 55 | 57 | 0.0035345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3276-17_0_3_line_58 | NAYY 4x150 SE | 56 | 58 | 0.014399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3276-17_0_3_line_59 | NAYY 4x150 SE | 57 | 59 | 0.0021481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3276-17_0_3_line_60 | NAYY 4x150 SE | 58 | 60 | 0.0023886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3276-17_0_3_line_61 | NAYY 4x150 SE | 60 | 61 | 0.01299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3276-17_0_3_line_62 | NAYY 4x150 SE | 61 | 62 | 0.00027242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3276-17_0_3_line_63 | NAYY 4x150 SE | 62 | 63 | 0.0074038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3276-17_0_3_line_64 | NAYY 4x150 SE | 63 | 64 | 0.0090663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3276-17_0_3_line_65 | NAYY 4x150 SE | 64 | 65 | 0.0040762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3276-17_0_3_line_66 | NAYY 4x150 SE | 65 | 66 | 0.0043889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3276-17_0_3_line_67 | NAYY 4x150 SE | 66 | 67 | 0.01835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3276-17_0_3_line_68 | NAYY 4x150 SE | 67 | 68 | 0.0024822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3276-17_0_3_line_69 | NAYY 4x150 SE | 68 | 69 | 0.019998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3276-17_0_3_line_70 | NAYY 4x150 SE | 69 | 70 | 0.016593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3276-17_0_3_line_71 | NAYY 4x150 SE | 70 | 71 | 0.01817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3276-17_0_3_line_72 | NAYY 4x150 SE | 71 | 72 | 0.054301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3276-17_0_3_line_73 | NAYY 4x150 SE | 72 | 73 | 0.0091308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3276-17_0_3_line_74 | NAYY 4x150 SE | 73 | 74 | 0.034723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3276-17_0_3_line_75 | NAYY 4x150 SE | 74 | 75 | 0.020217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3276-17_0_3_line_76 | NAYY 4x150 SE | 76 | 77 | 0.012503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3276-17_0_3_line_77 | NAYY 4x150 SE | 77 | 84 | 0.01436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3276-17_0_3_line_78 | NAYY 4x150 SE | 77 | 85 | 0.033355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3276-17_0_3_line_79 | NAYY 4x150 SE | 77 | 83 | 0.013749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3276-17_0_3_line_80 | NAYY 4x150 SE | 78 | 79 | 7.51e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3276-17_0_3_line_81 | NAYY 4x150 SE | 79 | 80 | 0.014973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3276-17_0_3_line_82 | NAYY 4x150 SE | 80 | 81 | 0.0188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3276-17_0_3_line_83 | NAYY 4x150 SE | 80 | 82 | 0.013002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3276-17_0_3_line_84 | NAYY 4x150 SE | 82 | 83 | 0.028533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3276-17_0_3_line_85 | NAYY 4x150 SE | 84 | 86 | 0.017562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3276-17_0_3_line_86 | NAYY 4x150 SE | 85 | 87 | 0.0067912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3276-17_0_3_line_87 | NAYY 4x150 SE | 87 | 92 | 0.011105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3276-17_0_3_line_88 | NAYY 4x150 SE | 88 | 89 | 0.0058758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3276-17_0_3_line_89 | NAYY 4x150 SE | 88 | 90 | 0.026468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3276-17_0_3_line_90 | NAYY 4x150 SE | 89 | 91 | 0.05931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3276-17_0_3_line_91 | NAYY 4x150 SE | 90 | 92 | 0.011037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3276-17_0_3_trafo_41 | 0.25 MVA 20/0.4 kV | 93 | 44 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2754731.7533 | 1216667.5698 | 2754716.6519 | 1216654.6368
1 | 2754731.7533 | 1216667.5698 | 2754742.2703 | 1216676.5766 | 2754748.2389 | 1216682.2145 | 2754752.8598 | 1216690.6293
2 | 2754701.5303 | 1216635.0596 | 2754707.2542 | 1216643.9828 | 2754709.9821 | 1216648.9247 | 2754716.6519 | 1216654.6368
3 | 2754752.8598 | 1216690.6293 | 2754760.6854 | 1216704.8802 | 2754765.7008 | 1216711.3027
4 | 2754712.1085 | 1216682.866 | 2754706.2873 | 1216668.3352 | 2754701.5303 | 1216635.0596
5 | 2754701.5303 | 1216635.0596 | 2754697.8307 | 1216607.283 | 2754697.3248 | 1216597.9039
6 | 2754779.2659 | 1216727.3726 | 2754776.0652 | 1216724.5751 | 2754765.7008 | 1216711.3027
7 | 2754712.1085 | 1216682.866 | 2754717.8497 | 1216702.5216 | 2754723.8604 | 1216721.2515
8 | 2754712.1085 | 1216682.866 | 2754702.8267 | 1216678.7325 | 2754695.0459 | 1216666.8198 | 2754685.8274 | 1216656.7869
9 | 2754698.3491 | 1216538.4901 | 2754695.827 | 1216543.4625 | 2754694.911 | 1216557.0843 | 2754695.8003 | 1216569.6409 | 2754697.3248 | 1216597.9039
10 | 2754799.0799 | 1216744.2405 | 2754793.795 | 1216740.0717 | 2754779.2659 | 1216727.3726
11 | 2754723.8604 | 1216721.2515 | 2754729.4239 | 1216738.5878 | 2754729.8548 | 1216740.2009
12 | 2754698.3491 | 1216538.4901 | 2754704.1321 | 1216538.9962 | 2754709.7135 | 1216545.5136 | 2754722.9662 | 1216567.8666 | 2754734.3871 | 1216589.9607 | 2754737.916 | 1216595.0002
13 | 2754804.3495 | 1216748.3974 | 2754799.0799 | 1216744.2405
14 | 2754804.3495 | 1216748.3974 | 2754820.1533 | 1216760.8639 | 2754833.1949 | 1216768.5095 | 2754838.7623 | 1216770.9435
15 | 2754744.3114 | 1216806.7079 | 2754722.1287 | 1216800.9657 | 2754715.2056 | 1216800.7859 | 2754713.5206 | 1216802.7772 | 2754713.2207 | 1216806.4283 | 2754719.4568 | 1216817.5557 | 2754722.3047 | 1216822.0247
16 | 2754750.5313 | 1216808.318 | 2754744.3114 | 1216806.7079
17 | 2754764.8332 | 1216808.3477 | 2754759.7637 | 1216811.0852 | 2754751.3073 | 1216808.5189 | 2754750.5313 | 1216808.318
18 | 2754764.8332 | 1216808.3477 | 2754747.4447 | 1216791.4143 | 2754743.9423 | 1216786.1742 | 2754742.3174 | 1216782.9291 | 2754739.6273 | 1216775.93
19 | 2754764.8332 | 1216808.3477 | 2754769.7285 | 1216811.4381
20 | 2754729.8548 | 1216740.2009 | 2754738.8807 | 1216773.9874 | 2754739.6273 | 1216775.93
21 | 2754778.6225 | 1216817.0528 | 2754769.7285 | 1216811.4381
22 | 2754778.6225 | 1216817.0528 | 2754784.2348 | 1216820.5959 | 2754790.7028 | 1216823.3056
23 | 2754778.3166 | 1216673.1067 | 2754777.9121 | 1216672.2204 | 2754776.9621 | 1216663.1764 | 2754777.0118 | 1216657.9815
24 | 2754778.3166 | 1216673.1067 | 2754780.0539 | 1216676.9135 | 2754784.0593 | 1216683.5569 | 2754788.6319 | 1216689.219
25 | 2754778.2202 | 1216650.431 | 2754777.0461 | 1216654.3929 | 2754777.0118 | 1216657.9815
26 | 2754792.0297 | 1216693.4265 | 2754788.6319 | 1216689.219
27 | 2754778.2202 | 1216650.431 | 2754776.6462 | 1216648.3502
28 | 2754778.2202 | 1216650.431 | 2754786.432 | 1216658.0105
29 | 2754792.0297 | 1216693.4265 | 2754801.0672 | 1216704.6175 | 2754801.1849 | 1216704.7643
30 | 2754771.2345 | 1216641.1963 | 2754776.6462 | 1216648.3502
31 | 2754786.432 | 1216658.0105 | 2754798.7309 | 1216669.3623
32 | 2754801.1849 | 1216704.7643 | 2754806.8283 | 1216711.8069 | 2754815.161 | 1216717.6731 | 2754825.6354 | 1216723.8047
33 | 2754771.2345 | 1216641.1963 | 2754763.7115 | 1216631.2512
34 | 2754813.2341 | 1216682.7487 | 2754798.7309 | 1216669.3623
35 | 2754826.7515 | 1216724.458 | 2754825.6354 | 1216723.8047
36 | 2754746.0628 | 1216606.6344 | 2754737.916 | 1216595.0002
37 | 2754746.0628 | 1216606.6344 | 2754758.813 | 1216602.4172 | 2754769.6354 | 1216599.2667
38 | 2754746.0628 | 1216606.6344 | 2754748.8484 | 1216610.6561
39 | 2754780.2747 | 1216596.1694 | 2754769.6354 | 1216599.2667
40 | 2754756.1301 | 1216621.1691 | 2754748.8484 | 1216610.6561
41 | 2754756.1301 | 1216621.1691 | 2754756.6209 | 1216621.8778 | 2754756.9136 | 1216622.2647
42 | 2754756.9136 | 1216622.2647 | 2754763.7115 | 1216631.2512
43 | 2754780.2747 | 1216596.1694 | 2754787.1725 | 1216594.1614
44 | 2754805.8691 | 1216588.2039 | 2754801.4944 | 1216589.9921 | 2754787.1725 | 1216594.1614
45 | 2754826.567 | 1216694.4585 | 2754822.4566 | 1216691.261 | 2754813.2341 | 1216682.7487
46 | 2754826.567 | 1216694.4585 | 2754836.6558 | 1216702.3065 | 2754852.0159 | 1216709.572
47 | 2754861.5845 | 1216714.098 | 2754852.0159 | 1216709.572
48 | 2754861.5845 | 1216714.098 | 2754868.9226 | 1216716.4353 | 2754884.0366 | 1216726.2423
49 | 2754861.5845 | 1216714.098 | 2754865.5882 | 1216723.7218 | 2754866.1092 | 1216724.1762
50 | 2754861.5845 | 1216714.098 | 2754892.0689 | 1216693.3675
51 | 2754866.1092 | 1216724.1762 | 2754880.8494 | 1216737.03
52 | 2754912.84 | 1216695.313 | 2754912.84 | 1216695.313 | 2754893.6541 | 1216692.2895 | 2754892.0689 | 1216693.3675
53 | 2754912.84 | 1216695.313 | 2754915.1513 | 1216685.0194 | 2754925.7926 | 1216680.3133
54 | 2754816.8338 | 1216583.7221 | 2754825.9494 | 1216579.996 | 2754834.0432 | 1216575.4107
55 | 2754816.8338 | 1216583.7221 | 2754811.1293 | 1216586.0538
56 | 2754837.0532 | 1216573.7055 | 2754834.0432 | 1216575.4107
57 | 2754811.1293 | 1216586.0538 | 2754807.8575 | 1216587.3911
58 | 2754849.5813 | 1216566.6081 | 2754837.0532 | 1216573.7055
59 | 2754805.8691 | 1216588.2039 | 2754807.8575 | 1216587.3911
60 | 2754851.6596 | 1216565.4307 | 2754849.5813 | 1216566.6081
61 | 2754851.6596 | 1216565.4307 | 2754862.9617 | 1216559.0278
62 | 2754863.1988 | 1216558.8936 | 2754862.9617 | 1216559.0278
63 | 2754869.6407 | 1216555.2441 | 2754863.1988 | 1216558.8936
64 | 2754869.6407 | 1216555.2441 | 2754877.5291 | 1216550.7752
65 | 2754881.0757 | 1216548.766 | 2754877.5291 | 1216550.7752
66 | 2754881.0757 | 1216548.766 | 2754884.8943 | 1216546.6026
67 | 2754900.8398 | 1216537.5217 | 2754888.826 | 1216544.3753 | 2754884.8943 | 1216546.6026
68 | 2754900.8398 | 1216537.5217 | 2754902.9959 | 1216536.2917
69 | 2754902.9959 | 1216536.2917 | 2754920.3659 | 1216526.3825
70 | 2754935.0376 | 1216518.6779 | 2754930.1419 | 1216520.8056 | 2754920.3659 | 1216526.3825
71 | 2754951.702 | 1216511.4353 | 2754935.0376 | 1216518.6779
72 | 2754951.702 | 1216511.4353 | 2754955.9527 | 1216522.0776 | 2754973.0808 | 1216537.3478 | 2754987.5377 | 1216551.015
73 | 2754987.5377 | 1216551.015 | 2754994.1729 | 1216557.2877
74 | 2755019.1705 | 1216581.3859 | 2755004.8952 | 1216567.4243 | 2754994.1729 | 1216557.2877
75 | 2755019.1705 | 1216581.3859 | 2755022.1859 | 1216584.3226 | 2755029.8676 | 1216594.4759 | 2755032.153 | 1216596.8237
76 | 2754979.4288 | 1216635.2455 | 2754987.5446 | 1216625.7343
77 | 2754979.4288 | 1216635.2455 | 2754988.9734 | 1216645.9745
78 | 2754979.4288 | 1216635.2455 | 2754954.9936 | 1216612.5418
79 | 2754979.4288 | 1216635.2455 | 2754969.3362 | 1216644.5819
80 | 2754953.4639 | 1216683.4059 | 2754953.5164 | 1216683.4596
81 | 2754942.9859 | 1216672.7096 | 2754953.4639 | 1216683.4059
82 | 2754942.9859 | 1216672.7096 | 2754925.7926 | 1216680.3133
83 | 2754942.9859 | 1216672.7096 | 2754940.8843 | 1216670.5641 | 2754948.3268 | 1216663.8871
84 | 2754948.3268 | 1216663.8871 | 2754952.9792 | 1216659.7132 | 2754969.3362 | 1216644.5819
85 | 2755000.6462 | 1216659.096 | 2754988.9734 | 1216645.9745
86 | 2754954.9936 | 1216612.5418 | 2754950.0184 | 1216607.9192
87 | 2754941.8829 | 1216600.3602 | 2754941.8829 | 1216600.3602 | 2754950.0184 | 1216607.9192
88 | 2754918.2782 | 1216629.1286 | 2754913.932 | 1216633.0828
89 | 2754918.2782 | 1216629.1286 | 2754925.528 | 1216622.5328 | 2754934.3833 | 1216608.4135
90 | 2754864.34 | 1216635.8881 | 2754880.9421 | 1216648.5976 | 2754887.5566 | 1216648.9698 | 2754897.7455 | 1216641.0052 | 2754906.6443 | 1216639.713 | 2754913.932 | 1216633.0828
91 | 2754934.3833 | 1216608.4135 | 2754935.2047 | 1216607.1038 | 2754941.8829 | 1216600.3602

## bus_geodata
| x | y | coords
0 | 2754731.7533 | 1216667.5698
1 | 2754716.6519 | 1216654.6368
2 | 2754752.8598 | 1216690.6293
3 | 2754701.5303 | 1216635.0596
4 | 2754765.7008 | 1216711.3027
5 | 2754712.1085 | 1216682.866
6 | 2754697.3248 | 1216597.9039
7 | 2754779.2659 | 1216727.3726
8 | 2754723.8604 | 1216721.2515
9 | 2754685.8274 | 1216656.7869
10 | 2754698.3491 | 1216538.4901
11 | 2754799.0799 | 1216744.2405
12 | 2754804.3495 | 1216748.3974
13 | 2754838.7623 | 1216770.9435
14 | 2754722.3047 | 1216822.0247
15 | 2754744.3114 | 1216806.7079
16 | 2754750.5313 | 1216808.318
17 | 2754764.8332 | 1216808.3477
18 | 2754739.6273 | 1216775.93
19 | 2754769.7285 | 1216811.4381
20 | 2754778.6225 | 1216817.0528
21 | 2754790.7028 | 1216823.3056
22 | 2754729.8548 | 1216740.2009
23 | 2754778.3166 | 1216673.1067
24 | 2754777.0118 | 1216657.9815
25 | 2754788.6319 | 1216689.219
26 | 2754778.2202 | 1216650.431
27 | 2754792.0297 | 1216693.4265
28 | 2754776.6462 | 1216648.3502
29 | 2754786.432 | 1216658.0105
30 | 2754801.1849 | 1216704.7643
31 | 2754771.2345 | 1216641.1963
32 | 2754798.7309 | 1216669.3623
33 | 2754825.6354 | 1216723.8047
34 | 2754737.916 | 1216595.0002
35 | 2754746.0628 | 1216606.6344
36 | 2754769.6354 | 1216599.2667
37 | 2754748.8484 | 1216610.6561
38 | 2754756.1301 | 1216621.1691
39 | 2754756.9136 | 1216622.2647
40 | 2754763.7115 | 1216631.2512
41 | 2754780.2747 | 1216596.1694
42 | 2754787.1725 | 1216594.1614
43 | 2754826.7515 | 1216724.458
44 | 2754813.2341 | 1216682.7487
45 | 2754826.567 | 1216694.4585
46 | 2754852.0159 | 1216709.572
47 | 2754861.5845 | 1216714.098
48 | 2754884.0366 | 1216726.2423
49 | 2754866.1092 | 1216724.1762
50 | 2754892.0689 | 1216693.3675
51 | 2754880.8494 | 1216737.03
52 | 2754912.84 | 1216695.313
53 | 2754816.8338 | 1216583.7221
54 | 2754834.0432 | 1216575.4107
55 | 2754811.1293 | 1216586.0538
56 | 2754837.0532 | 1216573.7055
57 | 2754807.8575 | 1216587.3911
58 | 2754849.5813 | 1216566.6081
59 | 2754805.8691 | 1216588.2039
60 | 2754851.6596 | 1216565.4307
61 | 2754862.9617 | 1216559.0278
62 | 2754863.1988 | 1216558.8936
63 | 2754869.6407 | 1216555.2441
64 | 2754877.5291 | 1216550.7752
65 | 2754881.0757 | 1216548.766
66 | 2754884.8943 | 1216546.6026
67 | 2754900.8398 | 1216537.5217
68 | 2754902.9959 | 1216536.2917
69 | 2754920.3659 | 1216526.3825
70 | 2754935.0376 | 1216518.6778
71 | 2754951.702 | 1216511.4353
72 | 2754987.5377 | 1216551.015
73 | 2754994.1729 | 1216557.2877
74 | 2755019.1705 | 1216581.3859
75 | 2755032.153 | 1216596.8237
76 | 2754987.5446 | 1216625.7343
77 | 2754979.4288 | 1216635.2455
78 | 2754953.5164 | 1216683.4596
79 | 2754953.4639 | 1216683.4059
80 | 2754942.9859 | 1216672.7096
81 | 2754925.7926 | 1216680.3133
82 | 2754948.3268 | 1216663.8871
83 | 2754969.3362 | 1216644.5819
84 | 2754988.9734 | 1216645.9745
85 | 2754954.9936 | 1216612.5418
86 | 2755000.6462 | 1216659.096
87 | 2754950.0184 | 1216607.9192
88 | 2754918.2782 | 1216629.1286
89 | 2754913.932 | 1216633.0828
90 | 2754934.3833 | 1216608.4135
91 | 2754864.34 | 1216635.8881
92 | 2754941.8829 | 1216600.3602
93 | 2754778.2202 | 1216650.431

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1