## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3276-18_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3276-18_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3276-18_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3276-18_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3276-18_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3276-18_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3276-18_0_2_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_3276-18_0_2_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_3276-18_0_2_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_3276-18_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_3276-18_0_2_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3276-18_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3276-18_0_2_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_3276-18_0_2_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_3276-18_0_2_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_3276-18_0_2_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_3276-18_0_2_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_3276-18_0_2_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_3276-18_0_2_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_3276-18_0_2_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_3276-18_0_2_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_3276-18_0_2_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_3276-18_0_2_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_3276-18_0_2_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_3276-18_0_2_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_3276-18_0_2_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_3276-18_0_2_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_3276-18_0_2_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_3276-18_0_2_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_3276-18_0_2_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_3276-18_0_2_node_56 | 0.4 | n |  | TRUE
31 | bus_LV_3276-18_0_2_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_3276-18_0_2_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_3276-18_0_2_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_3276-18_0_2_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_3276-18_0_2_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_3276-18_0_2_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_3276-18_0_2_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_3276-18_0_2_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_3276-18_0_2_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_3276-18_0_2_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_3276-18_0_2_node_98 | 0.4 | n |  | TRUE
42 | bus_LV_3276-18_0_2_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_3276-18_0_2_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_3276-18_0_2_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_3276-18_0_2_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_3276-18_0_2_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_3276-18_0_2_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_3276-18_0_2_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_3276-18_0_2_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_3276-18_0_2_node_93 | 0.4 | n |  | TRUE
51 | bus_LV_3276-18_0_2_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_3276-18_0_2_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_3276-18_0_2_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_3276-18_0_2_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_3276-18_0_2_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_3276-18_0_2_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_3276-18_0_2_node_86 | 0.4 | n |  | TRUE
58 | bus_LV_3276-18_0_2_node_72 | 0.4 | n |  | TRUE
59 | bus_LV_3276-18_0_2_node_88 | 0.4 | n |  | TRUE
60 | bus_LV_3276-18_0_2_node_85 | 0.4 | n |  | TRUE
61 | bus_LV_3276-18_0_2_node_89 | 0.4 | n |  | TRUE
62 | bus_LV_3276-18_0_2_node_90 | 0.4 | n |  | TRUE
63 | bus_LV_3276-18_0_2_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_3276-18_0_2_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_3276-18_0_2_node_84 | 0.4 | n |  | TRUE
66 | bus_LV_3276-18_0_2_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_3276-18_0_2_node_83 | 0.4 | n |  | TRUE
68 | bus_LV_3276-18_0_2_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_3276-18_0_2_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_3276-18_0_2_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_3276-18_0_2_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_3276-18_0_2_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_3276-18_0_2_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_3276-18_0_2_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_3276-18_0_2_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_3276-18_0_2_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_3276-18_0_2_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_3276-18_0_2_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_3276-18_0_2_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_3276-18_0_2_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_3276-18_0_2_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_3276-18_0_2_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_3276-18_0_2_node_70 | 0.4 | n |  | TRUE
84 | bus_LV_3276-18_0_2_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_3276-18_0_2_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_3276-18_0_2_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_3276-18_0_2_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_3276-18_0_2_node_74 | 0.4 | n |  | TRUE
89 | bus_LV_3276-18_0_2_node_75 | 0.4 | n |  | TRUE
90 | bus_LV_3276-18_0_2_node_76 | 0.4 | n |  | TRUE
91 | bus_LV_3276-18_0_2_node_82 | 0.4 | n |  | TRUE
92 | bus_LV_3276-18_0_2_node_91 | 0.4 | n |  | TRUE
93 | bus_LV_3276-18_0_2_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_3276-18_0_2_node_94 | 0.4 | n |  | TRUE
95 | bus_LV_3276-18_0_2_node_96 | 0.4 | n |  | TRUE
96 | bus_MV_53_0_node_49 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3276-18_0_2_load_0 | 0 | 0.0022853 | 0.00057274 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3276-18_0_2_load_1 | 1 | 0.0032772 | 0.00082134 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3276-18_0_2_load_3 | 3 | 0.0013153 | 0.00032965 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3276-18_0_2_load_4 | 4 | 0.0014143 | 0.00035446 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3276-18_0_2_load_5 | 5 | 0.0008958 | 0.00022451 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3276-18_0_2_load_13 | 6 | 0.0032441 | 0.00081304 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3276-18_0_2_load_9 | 7 | 0.0010846 | 0.00027182 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3276-18_0_2_load_11 | 8 | 0.0014827 | 0.00037159 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3276-18_0_2_load_8 | 9 | 0.0017716 | 0.00044402 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3276-18_0_2_load_6 | 10 | 0.0014541 | 0.00036442 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3276-18_0_2_load_7 | 11 | 0.0017164 | 0.00043018 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3276-18_0_2_load_10 | 12 | 0.0067525 | 0.0016923 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3276-18_0_2_load_12 | 13 | 0.0025517 | 0.00063951 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3276-18_0_2_load_14 | 14 | 0.0017944 | 0.00044971 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3276-18_0_2_load_23 | 15 | 0.0017403 | 0.00043616 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3276-18_0_2_load_15 | 17 | 0.0052756 | 0.0013222 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3276-18_0_2_load_16 | 18 | 0.0015571 | 0.00039024 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3276-18_0_2_load_17 | 19 | 0.0024791 | 0.00062133 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3276-18_0_2_load_18 | 20 | 0.0066689 | 0.0016714 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3276-18_0_2_load_43 | 21 | 0.0030883 | 0.00077399 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3276-18_0_2_load_19 | 23 | 0.0015665 | 0.0003926 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3276-18_0_2_load_20 | 24 | 0.0014993 | 0.00037576 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3276-18_0_2_load_22 | 25 | 0.0024334 | 0.00060987 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3276-18_0_2_load_24 | 26 | 0.003501 | 0.00087744 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3276-18_0_2_load_25 | 27 | 0.0032662 | 0.0008186 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3276-18_0_2_load_54 | 29 | 0.0018112 | 0.00045394 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3276-18_0_2_load_52 | 31 | 0.0010347 | 0.00025931 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3276-18_0_2_load_27 | 32 | 0.0019544 | 0.00048981 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3276-18_0_2_load_28 | 33 | 0.0022131 | 0.00055467 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3276-18_0_2_load_41 | 34 | 0.0018417 | 0.00046158 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3276-18_0_2_load_32 | 35 | 0.0024016 | 0.0006019 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3276-18_0_2_load_42 | 36 | 0.0012182 | 0.00030532 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3276-18_0_2_load_29 | 38 | 0.0018535 | 0.00046452 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3276-18_0_2_load_34 | 40 | 0.003072 | 0.00076992 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3276-18_0_2_load_98 | 41 | 0.0018238 | 0.0004571 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3276-18_0_2_load_35 | 43 | 0.0056266 | 0.0014101 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3276-18_0_2_load_38 | 44 | 0.0036016 | 0.00090265 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3276-18_0_2_load_37 | 45 | 0.01175 | 0.0029449 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3276-18_0_2_load_39 | 46 | 0.0028366 | 0.00071091 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3276-18_0_2_load_47 | 49 | 0.0018416 | 0.00046154 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3276-18_0_2_load_93 | 50 | 0.0046578 | 0.0011673 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3276-18_0_2_load_45 | 51 | 0.0017916 | 0.00044903 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3276-18_0_2_load_48 | 52 | 0.001665 | 0.00041729 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3276-18_0_2_load_44 | 54 | 0.0008911 | 0.00022333 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3276-18_0_2_load_49 | 55 | 0.0041578 | 0.001042 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3276-18_0_2_load_50 | 56 | 0.0012507 | 0.00031345 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3276-18_0_2_load_72 | 58 | 0.0013363 | 0.0003349 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3276-18_0_2_load_88 | 59 | 0.0011419 | 0.0002862 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3276-18_0_2_load_85 | 60 | 0.0026817 | 0.00067211 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3276-18_0_2_load_90 | 62 | 0.0017494 | 0.00043843 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3276-18_0_2_load_53 | 63 | 0.0019711 | 0.00049401 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3276-18_0_2_load_84 | 65 | 0.0050188 | 0.0012578 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3276-18_0_2_load_78 | 66 | 0.0013126 | 0.00032897 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3276-18_0_2_load_83 | 67 | 0.0016364 | 0.00041013 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3276-18_0_2_load_57 | 68 | 0.0024263 | 0.00060809 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3276-18_0_2_load_58 | 69 | 0.0019296 | 0.0004836 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3276-18_0_2_load_59 | 70 | 0.0011991 | 0.00030052 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3276-18_0_2_load_60 | 71 | 0.0012654 | 0.00031715 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3276-18_0_2_load_73 | 72 | 0.0014669 | 0.00036763 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3276-18_0_2_load_67 | 73 | 0.0022448 | 0.00056261 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3276-18_0_2_load_62 | 75 | 0.0012361 | 0.0003098 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3276-18_0_2_load_63 | 76 | 0.00084086 | 0.00021074 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3276-18_0_2_load_65 | 77 | 0.0019468 | 0.00048791 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3276-18_0_2_load_66 | 78 | 0.0015001 | 0.00037597 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3276-18_0_2_load_79 | 79 | 0.0011426 | 0.00028637 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3276-18_0_2_load_68 | 80 | 0.0029585 | 0.00074148 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3276-18_0_2_load_69 | 82 | 0.0009644 | 0.0002417 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3276-18_0_2_load_70 | 83 | 0.0016155 | 0.00040488 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3276-18_0_2_load_71 | 84 | 0.00074535 | 0.0001868 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3276-18_0_2_load_81 | 85 | 0.0020561 | 0.0005153 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3276-18_0_2_load_77 | 86 | 0.00094516 | 0.00023688 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3276-18_0_2_load_87 | 87 | 0.0036523 | 0.00091535 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3276-18_0_2_load_74 | 88 | 0.0011658 | 0.00029217 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3276-18_0_2_load_75 | 89 | 0.0011575 | 0.0002901 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3276-18_0_2_load_82 | 91 | 0.0010459 | 0.00026213 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3276-18_0_2_load_91 | 92 | 0.001297 | 0.00032507 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3276-18_0_2_load_94 | 94 | 0.0056221 | 0.001409 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3276-18_0_2_load_96 | 95 | 0.004438 | 0.0011123 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3276-18_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.012625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3276-18_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.014614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3276-18_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0076637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3276-18_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0058013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3276-18_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.0058052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3276-18_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0083921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3276-18_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0039858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3276-18_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0044814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3276-18_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.012521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3276-18_0_2_line_9 | NAYY 4x150 SE | 8 | 12 | 0.0064862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3276-18_0_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.0012875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3276-18_0_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.023325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3276-18_0_2_line_12 | NAYY 4x150 SE | 12 | 13 | 0.0088621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3276-18_0_2_line_13 | NAYY 4x150 SE | 13 | 14 | 0.0039998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3276-18_0_2_line_14 | NAYY 4x150 SE | 14 | 15 | 0.0085258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3276-18_0_2_line_15 | NAYY 4x150 SE | 15 | 16 | 0.012674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3276-18_0_2_line_16 | NAYY 4x150 SE | 16 | 26 | 0.0073569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3276-18_0_2_line_17 | NAYY 4x150 SE | 16 | 23 | 0.011616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3276-18_0_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.0044864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3276-18_0_2_line_19 | NAYY 4x150 SE | 17 | 19 | 0.00024549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3276-18_0_2_line_20 | NAYY 4x150 SE | 18 | 20 | 0.014992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3276-18_0_2_line_21 | NAYY 4x150 SE | 20 | 21 | 0.036396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3276-18_0_2_line_22 | NAYY 4x150 SE | 21 | 22 | 0.0071415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3276-18_0_2_line_23 | NAYY 4x150 SE | 22 | 41 | 0.024192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3276-18_0_2_line_24 | NAYY 4x150 SE | 22 | 37 | 0.01322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3276-18_0_2_line_25 | NAYY 4x150 SE | 23 | 24 | 0.00063069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3276-18_0_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.006713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3276-18_0_2_line_27 | NAYY 4x150 SE | 25 | 27 | 0.0055113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3276-18_0_2_line_28 | NAYY 4x150 SE | 27 | 28 | 0.0047001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3276-18_0_2_line_29 | NAYY 4x150 SE | 28 | 32 | 0.0083816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3276-18_0_2_line_30 | NAYY 4x150 SE | 28 | 33 | 0.010301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3276-18_0_2_line_31 | NAYY 4x150 SE | 29 | 30 | 0.010016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3276-18_0_2_line_32 | NAYY 4x150 SE | 29 | 31 | 0.0095376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3276-18_0_2_line_33 | NAYY 4x150 SE | 30 | 58 | 0.0077768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3276-18_0_2_line_34 | NAYY 4x150 SE | 30 | 55 | 0.015276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3276-18_0_2_line_35 | NAYY 4x150 SE | 31 | 63 | 0.014727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3276-18_0_2_line_36 | NAYY 4x150 SE | 32 | 34 | 0.01254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3276-18_0_2_line_37 | NAYY 4x150 SE | 33 | 35 | 0.0078842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3276-18_0_2_line_38 | NAYY 4x150 SE | 34 | 36 | 0.0020706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3276-18_0_2_line_39 | NAYY 4x150 SE | 35 | 37 | 0.012602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3276-18_0_2_line_40 | NAYY 4x150 SE | 36 | 52 | 0.0073262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3276-18_0_2_line_41 | NAYY 4x150 SE | 37 | 38 | 0.0016287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3276-18_0_2_line_42 | NAYY 4x150 SE | 38 | 39 | 0.010943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3276-18_0_2_line_43 | NAYY 4x150 SE | 39 | 40 | 0.0071372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3276-18_0_2_line_44 | NAYY 4x150 SE | 40 | 42 | 0.045249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3276-18_0_2_line_45 | NAYY 4x150 SE | 42 | 45 | 0.003096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3276-18_0_2_line_46 | NAYY 4x150 SE | 43 | 44 | 0.0051177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3276-18_0_2_line_47 | NAYY 4x150 SE | 44 | 46 | 0.0078769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3276-18_0_2_line_48 | NAYY 4x150 SE | 46 | 47 | 0.010819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3276-18_0_2_line_49 | NAYY 4x150 SE | 47 | 48 | 0.008543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3276-18_0_2_line_50 | NAYY 4x150 SE | 47 | 49 | 0.01953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3276-18_0_2_line_51 | NAYY 4x150 SE | 48 | 50 | 0.016305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3276-18_0_2_line_52 | NAYY 4x150 SE | 49 | 51 | 0.0092754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3276-18_0_2_line_53 | NAYY 4x150 SE | 51 | 54 | 0.001984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3276-18_0_2_line_54 | NAYY 4x150 SE | 52 | 53 | 0.0075066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3276-18_0_2_line_55 | NAYY 4x150 SE | 53 | 55 | 0.012354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3276-18_0_2_line_56 | NAYY 4x150 SE | 53 | 54 | 0.0092744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3276-18_0_2_line_57 | NAYY 4x150 SE | 56 | 57 | 0.0079881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3276-18_0_2_line_58 | NAYY 4x150 SE | 57 | 59 | 0.013067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3276-18_0_2_line_59 | NAYY 4x150 SE | 57 | 60 | 0.008972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3276-18_0_2_line_60 | NAYY 4x150 SE | 58 | 67 | 0.013104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3276-18_0_2_line_61 | NAYY 4x150 SE | 59 | 61 | 0.0076364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3276-18_0_2_line_62 | NAYY 4x150 SE | 60 | 87 | 0.012214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3276-18_0_2_line_63 | NAYY 4x150 SE | 60 | 72 | 0.010261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3276-18_0_2_line_64 | NAYY 4x150 SE | 61 | 62 | 0.0085496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3276-18_0_2_line_65 | NAYY 4x150 SE | 62 | 92 | 0.010111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3276-18_0_2_line_66 | NAYY 4x150 SE | 63 | 64 | 0.0113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3276-18_0_2_line_67 | NAYY 4x150 SE | 64 | 65 | 0.020408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3276-18_0_2_line_68 | NAYY 4x150 SE | 64 | 66 | 0.0058886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3276-18_0_2_line_69 | NAYY 4x150 SE | 67 | 81 | 0.015714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3276-18_0_2_line_70 | NAYY 4x150 SE | 68 | 69 | 0.010432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3276-18_0_2_line_71 | NAYY 4x150 SE | 68 | 70 | 0.0096808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3276-18_0_2_line_72 | NAYY 4x150 SE | 69 | 71 | 0.0040926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3276-18_0_2_line_73 | NAYY 4x150 SE | 71 | 72 | 0.0064505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3276-18_0_2_line_74 | NAYY 4x150 SE | 73 | 74 | 0.0066687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3276-18_0_2_line_75 | NAYY 4x150 SE | 74 | 78 | 0.0096494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3276-18_0_2_line_76 | NAYY 4x150 SE | 74 | 75 | 0.014091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3276-18_0_2_line_77 | NAYY 4x150 SE | 75 | 76 | 0.0051849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3276-18_0_2_line_78 | NAYY 4x150 SE | 76 | 77 | 0.0062972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3276-18_0_2_line_79 | NAYY 4x150 SE | 77 | 79 | 0.0029735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3276-18_0_2_line_80 | NAYY 4x150 SE | 78 | 80 | 0.0025486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3276-18_0_2_line_81 | NAYY 4x150 SE | 79 | 81 | 0.011359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3276-18_0_2_line_82 | NAYY 4x150 SE | 80 | 82 | 0.0067562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3276-18_0_2_line_83 | NAYY 4x150 SE | 81 | 87 | 0.0093882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3276-18_0_2_line_84 | NAYY 4x150 SE | 82 | 83 | 0.0065673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3276-18_0_2_line_85 | NAYY 4x150 SE | 83 | 84 | 0.0052731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3276-18_0_2_line_86 | NAYY 4x150 SE | 84 | 85 | 0.010159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3276-18_0_2_line_87 | NAYY 4x150 SE | 85 | 86 | 0.0085178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3276-18_0_2_line_88 | NAYY 4x150 SE | 86 | 90 | 0.0054519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3276-18_0_2_line_89 | NAYY 4x150 SE | 88 | 89 | 0.010347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3276-18_0_2_line_90 | NAYY 4x150 SE | 88 | 90 | 0.0069869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3276-18_0_2_line_91 | NAYY 4x150 SE | 89 | 91 | 0.054419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3276-18_0_2_line_92 | NAYY 4x150 SE | 92 | 93 | 0.0032681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3276-18_0_2_line_93 | NAYY 4x150 SE | 93 | 94 | 0.040907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3276-18_0_2_line_94 | NAYY 4x150 SE | 94 | 95 | 0.028925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3276-18_0_2_trafo_41 | 0.25 MVA 20/0.4 kV | 96 | 34 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2754689.5979 | 1216526.7858 | 2754683.5903 | 1216515.6818
1 | 2754698.3491 | 1216538.4901 | 2754689.5979 | 1216526.7858
2 | 2754679.9435 | 1216508.9413 | 2754683.5903 | 1216515.6818
3 | 2754698.3491 | 1216538.4901 | 2754695.827 | 1216543.4625 | 2754695.8118 | 1216543.6878
4 | 2754698.3491 | 1216538.4901 | 2754704.1321 | 1216538.9962
5 | 2754679.9435 | 1216508.9413 | 2754679.0221 | 1216507.2382 | 2754677.6375 | 1216500.9328
6 | 2754706.7247 | 1216542.0236 | 2754704.1321 | 1216538.9962
7 | 2754677.6375 | 1216500.9328 | 2754676.6763 | 1216496.5557
8 | 2754706.7247 | 1216542.0236 | 2754709.7135 | 1216545.5136 | 2754713.7556 | 1216552.3313
9 | 2754675.2852 | 1216490.2204 | 2754676.6763 | 1216496.5557
10 | 2754714.4122 | 1216553.4388 | 2754713.7556 | 1216552.3313
11 | 2754714.4122 | 1216553.4388 | 2754722.9662 | 1216567.8666 | 2754725.9747 | 1216573.6866
12 | 2754673.1918 | 1216481.6122 | 2754674.2057 | 1216485.3046 | 2754675.2852 | 1216490.2204
13 | 2754672.1326 | 1216477.7551 | 2754673.1918 | 1216481.6122
14 | 2754672.1326 | 1216477.7551 | 2754669.875 | 1216469.5336
15 | 2754670.2496 | 1216456.8653 | 2754669.875 | 1216469.5336 | 2754669.875 | 1216469.5336
16 | 2754670.2496 | 1216456.8653 | 2754666.0267 | 1216450.841
17 | 2754670.2496 | 1216456.8653 | 2754675.1124 | 1216451.5645 | 2754678.5599 | 1216448.7939
18 | 2754745.1707 | 1216464.0757 | 2754746.0444 | 1216468.4763
19 | 2754746.0444 | 1216468.4763 | 2754746.0444 | 1216468.4763 | 2754746.2422 | 1216468.6216
20 | 2754745.1707 | 1216464.0757 | 2754744.7882 | 1216462.1491 | 2754745.1756 | 1216454.8415 | 2754747.1674 | 1216449.4902
21 | 2754747.1674 | 1216449.4902 | 2754748.2463 | 1216446.5915 | 2754749.8159 | 1216441.1496 | 2754749.9635 | 1216435.4706 | 2754747.6299 | 1216431.1394 | 2754742.9078 | 1216428.6813 | 2754736.3762 | 1216428.9119 | 2754731.22 | 1216429.4007
22 | 2754724.2625 | 1216428.4971 | 2754728.2732 | 1216429.6801 | 2754731.22 | 1216429.4007
23 | 2754724.2625 | 1216428.4971 | 2754718.1543 | 1216451.9041
24 | 2754724.2625 | 1216428.4971 | 2754715.9146 | 1216418.2268
25 | 2754678.5599 | 1216448.7939 | 2754679.0515 | 1216448.3988
26 | 2754679.0515 | 1216448.3988 | 2754684.2841 | 1216444.1935
27 | 2754688.58 | 1216440.741 | 2754684.2841 | 1216444.1935
28 | 2754692.2436 | 1216437.7967 | 2754688.58 | 1216440.741
29 | 2754692.2436 | 1216437.7967 | 2754686.718 | 1216431.4944
30 | 2754692.2436 | 1216437.7967 | 2754700.6796 | 1216431.8847
31 | 2754653.9482 | 1216439.5601 | 2754646.2997 | 1216433.0669
32 | 2754653.9482 | 1216439.5601 | 2754646.5632 | 1216445.5956
33 | 2754646.2997 | 1216433.0669 | 2754640.6771 | 1216427.6944
34 | 2754646.2997 | 1216433.0669 | 2754652.6702 | 1216426.1705 | 2754656.4888 | 1216421.6897
35 | 2754646.5632 | 1216445.5956 | 2754635.1604 | 1216454.9149
36 | 2754686.718 | 1216431.4944 | 2754682.6151 | 1216426.8147 | 2754677.6881 | 1216422.863
37 | 2754700.6796 | 1216431.8847 | 2754703.1692 | 1216430.14 | 2754706.7081 | 1216426.8321
38 | 2754676.0729 | 1216421.5676 | 2754677.6881 | 1216422.863
39 | 2754715.9146 | 1216418.2268 | 2754706.7081 | 1216426.8321
40 | 2754676.0729 | 1216421.5676 | 2754670.3577 | 1216416.9838
41 | 2754715.9146 | 1216418.2268 | 2754717.0722 | 1216417.0811
42 | 2754724.8502 | 1216409.3841 | 2754717.0722 | 1216417.0811
43 | 2754724.8502 | 1216409.3841 | 2754730.1272 | 1216404.5786
44 | 2754761.8511 | 1216372.378 | 2754752.5073 | 1216382.8893 | 2754743.112 | 1216392.7543 | 2754730.1272 | 1216404.5786
45 | 2754761.8511 | 1216372.378 | 2754763.8419 | 1216370.007
46 | 2754706.0353 | 1216389.388 | 2754709.9982 | 1216392.6263
47 | 2754706.0353 | 1216389.388 | 2754699.9359 | 1216384.4039 | 2754699.9359 | 1216384.4039
48 | 2754689.6371 | 1216381.0892 | 2754699.9359 | 1216384.4039
49 | 2754681.0709 | 1216381.267 | 2754689.6371 | 1216381.0892
50 | 2754689.6371 | 1216381.0892 | 2754677.3844 | 1216396.2974
51 | 2754681.0709 | 1216381.267 | 2754688.0058 | 1216367.5569 | 2754687.1463 | 1216367.1756
52 | 2754677.3844 | 1216396.2974 | 2754671.5652 | 1216403.5202
53 | 2754670.3205 | 1216405.0651 | 2754671.5652 | 1216403.5202
54 | 2754664.5019 | 1216412.2872 | 2754670.3577 | 1216416.9838
55 | 2754664.5019 | 1216412.2872 | 2754656.4888 | 1216421.6897
56 | 2754664.5019 | 1216412.2872 | 2754670.3205 | 1216405.0651
57 | 2754643.0241 | 1216392.4566 | 2754648.7291 | 1216398.0479
58 | 2754643.0241 | 1216392.4566 | 2754652.2031 | 1216383.1558
59 | 2754636.163 | 1216386.6511 | 2754643.0241 | 1216392.4566
60 | 2754640.6771 | 1216427.6944 | 2754638.7386 | 1216425.8421 | 2754632.79 | 1216417.2837
61 | 2754657.5672 | 1216377.7206 | 2754652.2031 | 1216383.1558
62 | 2754636.163 | 1216386.6511 | 2754629.185 | 1216396.6751
63 | 2754636.163 | 1216386.6511 | 2754631.7335 | 1216382.577 | 2754628.234 | 1216380.1778
64 | 2754657.5672 | 1216377.7206 | 2754660.1834 | 1216373.8072 | 2754662.1187 | 1216370.488
65 | 2754662.1187 | 1216370.488 | 2754667.2118 | 1216361.7533
66 | 2754626.4106 | 1216462.0659 | 2754635.1604 | 1216454.9149
67 | 2754626.4106 | 1216462.0659 | 2754630.1591 | 1216482.1256
68 | 2754626.4106 | 1216462.0659 | 2754624.0165 | 1216459.7684 | 2754622.089 | 1216458.0679
69 | 2754623.8212 | 1216404.3802 | 2754632.79 | 1216417.2837
70 | 2754610.6497 | 1216368.768 | 2754616.813 | 1216372.3474 | 2754619.5384 | 1216374.216
71 | 2754610.6497 | 1216368.768 | 2754603.1023 | 1216364.3847 | 2754602.2004 | 1216364.0773
72 | 2754619.5384 | 1216374.216 | 2754622.9139 | 1216376.5302
73 | 2754628.234 | 1216380.1778 | 2754622.9139 | 1216376.5302
74 | 2754589.0549 | 1216386.9517 | 2754587.345 | 1216380.5059
75 | 2754589.0549 | 1216386.9517 | 2754587.7654 | 1216393.9023 | 2754588.0143 | 1216396.4705
76 | 2754589.0549 | 1216386.9517 | 2754602.7238 | 1216390.376 | 2754602.7238 | 1216390.376
77 | 2754602.7238 | 1216390.376 | 2754607.5021 | 1216392.3889
78 | 2754613.3054 | 1216394.8336 | 2754607.5021 | 1216392.3889
79 | 2754613.3054 | 1216394.8336 | 2754615.1305 | 1216395.6025 | 2754615.8242 | 1216396.313
80 | 2754588.0143 | 1216396.4705 | 2754588.2603 | 1216399.0072
81 | 2754623.8212 | 1216404.3802 | 2754618.1719 | 1216398.7175 | 2754615.8242 | 1216396.313
82 | 2754588.9122 | 1216405.7319 | 2754588.2603 | 1216399.0072
83 | 2754623.8212 | 1216404.3802 | 2754629.185 | 1216396.6751
84 | 2754588.9122 | 1216405.7319 | 2754589.2634 | 1216409.355 | 2754589.9959 | 1216412.1891
85 | 2754591.3154 | 1216417.2944 | 2754589.9959 | 1216412.1891
86 | 2754591.3154 | 1216417.2944 | 2754593.7023 | 1216426.53 | 2754593.8729 | 1216427.1265
87 | 2754593.8729 | 1216427.1265 | 2754596.2149 | 1216435.316
88 | 2754597.7139 | 1216440.5578 | 2754596.2149 | 1216435.316
89 | 2754590.7299 | 1216440.6613 | 2754580.4093 | 1216441.3993
90 | 2754597.7139 | 1216440.5578 | 2754591.8258 | 1216440.5829 | 2754590.7299 | 1216440.6613
91 | 2754580.4093 | 1216441.3993 | 2754545.9886 | 1216483.5497
92 | 2754668.8579 | 1216358.93 | 2754667.2118 | 1216361.7533
93 | 2754668.8579 | 1216358.93 | 2754674.9808 | 1216344.0199 | 2754685.264 | 1216321.4644
94 | 2754696.6036 | 1216294.8602 | 2754689.4571 | 1216312.2671 | 2754685.264 | 1216321.4644

## bus_geodata
| x | y | coords
0 | 2754689.5979 | 1216526.7858
1 | 2754683.5903 | 1216515.6818
2 | 2754698.3491 | 1216538.4901
3 | 2754679.9435 | 1216508.9413
4 | 2754695.8118 | 1216543.6878
5 | 2754704.1321 | 1216538.9962
6 | 2754677.6375 | 1216500.9328
7 | 2754706.7247 | 1216542.0236
8 | 2754676.6763 | 1216496.5557
9 | 2754713.7556 | 1216552.3313
10 | 2754714.4122 | 1216553.4388
11 | 2754725.9747 | 1216573.6866
12 | 2754675.2852 | 1216490.2204
13 | 2754673.1918 | 1216481.6122
14 | 2754672.1326 | 1216477.7551
15 | 2754669.875 | 1216469.5336
16 | 2754670.2496 | 1216456.8653
17 | 2754746.0444 | 1216468.4763
18 | 2754745.1707 | 1216464.0757
19 | 2754746.2422 | 1216468.6216
20 | 2754747.1674 | 1216449.4902
21 | 2754731.22 | 1216429.4007
22 | 2754724.2625 | 1216428.4971
23 | 2754678.5599 | 1216448.7939
24 | 2754679.0515 | 1216448.3988
25 | 2754684.2841 | 1216444.1935
26 | 2754666.0267 | 1216450.841
27 | 2754688.58 | 1216440.741
28 | 2754692.2436 | 1216437.7967
29 | 2754653.9482 | 1216439.5601
30 | 2754646.2997 | 1216433.0669
31 | 2754646.5632 | 1216445.5956
32 | 2754686.718 | 1216431.4944
33 | 2754700.6796 | 1216431.8847
34 | 2754677.6881 | 1216422.863
35 | 2754706.7081 | 1216426.8321
36 | 2754676.0729 | 1216421.5676
37 | 2754715.9146 | 1216418.2268
38 | 2754717.0722 | 1216417.0811
39 | 2754724.8502 | 1216409.3841
40 | 2754730.1272 | 1216404.5786
41 | 2754718.1543 | 1216451.9041
42 | 2754761.8511 | 1216372.378
43 | 2754709.9982 | 1216392.6263
44 | 2754706.0353 | 1216389.388
45 | 2754763.8419 | 1216370.007
46 | 2754699.9359 | 1216384.4039
47 | 2754689.6371 | 1216381.0892
48 | 2754681.0709 | 1216381.267
49 | 2754677.3844 | 1216396.2974
50 | 2754687.1463 | 1216367.1756
51 | 2754671.5652 | 1216403.5202
52 | 2754670.3577 | 1216416.9838
53 | 2754664.5019 | 1216412.2872
54 | 2754670.3205 | 1216405.0651
55 | 2754656.4888 | 1216421.6897
56 | 2754648.7291 | 1216398.0479
57 | 2754643.0241 | 1216392.4566
58 | 2754640.6771 | 1216427.6944
59 | 2754652.2031 | 1216383.1558
60 | 2754636.163 | 1216386.6511
61 | 2754657.5672 | 1216377.7206
62 | 2754662.1187 | 1216370.488
63 | 2754635.1604 | 1216454.9149
64 | 2754626.4106 | 1216462.0659
65 | 2754630.1591 | 1216482.1256
66 | 2754622.089 | 1216458.0679
67 | 2754632.79 | 1216417.2837
68 | 2754610.6497 | 1216368.768
69 | 2754619.5384 | 1216374.216
70 | 2754602.2004 | 1216364.0773
71 | 2754622.9139 | 1216376.5302
72 | 2754628.234 | 1216380.1778
73 | 2754587.345 | 1216380.5059
74 | 2754589.0549 | 1216386.9517
75 | 2754602.7238 | 1216390.376
76 | 2754607.5021 | 1216392.3889
77 | 2754613.3054 | 1216394.8336
78 | 2754588.0143 | 1216396.4705
79 | 2754615.8242 | 1216396.313
80 | 2754588.2603 | 1216399.0072
81 | 2754623.8212 | 1216404.3802
82 | 2754588.9122 | 1216405.7319
83 | 2754589.9959 | 1216412.1891
84 | 2754591.3154 | 1216417.2944
85 | 2754593.8729 | 1216427.1265
86 | 2754596.2149 | 1216435.316
87 | 2754629.185 | 1216396.6751
88 | 2754590.7299 | 1216440.6613
89 | 2754580.4093 | 1216441.3993
90 | 2754597.7139 | 1216440.5578
91 | 2754545.9886 | 1216483.5497
92 | 2754667.2118 | 1216361.7533
93 | 2754668.8579 | 1216358.93
94 | 2754685.264 | 1216321.4644
95 | 2754696.6036 | 1216294.8602
96 | 2754677.6881 | 1216422.863

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1