## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3276-1_1_2_node_7 | 0.4 | n |  | TRUE
1 | bus_LV_3276-1_1_2_node_8 | 0.4 | n |  | TRUE
2 | bus_LV_3276-1_1_2_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_3276-1_1_2_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_3276-1_1_2_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_3276-1_1_2_node_59 | 0.4 | n |  | TRUE
6 | bus_LV_3276-1_1_2_node_43 | 0.4 | n |  | TRUE
7 | bus_LV_3276-1_1_2_node_158 | 0.4 | n |  | TRUE
8 | bus_LV_3276-1_1_2_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_3276-1_1_2_node_157 | 0.4 | n |  | TRUE
10 | bus_LV_3276-1_1_2_node_159 | 0.4 | n |  | TRUE
11 | bus_LV_3276-1_1_2_node_160 | 0.4 | n |  | TRUE
12 | bus_LV_3276-1_1_2_node_163 | 0.4 | n |  | TRUE
13 | bus_LV_3276-1_1_2_node_162 | 0.4 | n |  | TRUE
14 | bus_LV_3276-1_1_2_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_3276-1_1_2_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_3276-1_1_2_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_3276-1_1_2_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_3276-1_1_2_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_3276-1_1_2_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_3276-1_1_2_node_52 | 0.4 | n |  | TRUE
21 | bus_LV_3276-1_1_2_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_3276-1_1_2_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_3276-1_1_2_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_3276-1_1_2_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_3276-1_1_2_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_3276-1_1_2_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_3276-1_1_2_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_3276-1_1_2_node_169 | 0.4 | n |  | TRUE
29 | bus_LV_3276-1_1_2_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_3276-1_1_2_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_3276-1_1_2_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_3276-1_1_2_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_3276-1_1_2_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_3276-1_1_2_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_3276-1_1_2_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_3276-1_1_2_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_3276-1_1_2_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_3276-1_1_2_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_3276-1_1_2_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_3276-1_1_2_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_3276-1_1_2_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_3276-1_1_2_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_3276-1_1_2_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_3276-1_1_2_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_3276-1_1_2_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_3276-1_1_2_node_62 | 0.4 | n |  | TRUE
47 | bus_LV_3276-1_1_2_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_3276-1_1_2_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_3276-1_1_2_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_3276-1_1_2_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_3276-1_1_2_node_61 | 0.4 | n |  | TRUE
52 | bus_LV_3276-1_1_2_node_67 | 0.4 | n |  | TRUE
53 | bus_LV_3276-1_1_2_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_3276-1_1_2_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_3276-1_1_2_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_3276-1_1_2_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_3276-1_1_2_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_3276-1_1_2_node_58 | 0.4 | n |  | TRUE
59 | bus_MV_0_node_40 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3276-1_1_2_load_7 | 0 | 0.00028594 | 7.1663e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3276-1_1_2_load_8 | 1 | 0.0017277 | 0.000433 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3276-1_1_2_load_9 | 2 | 0.0017188 | 0.00043077 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3276-1_1_2_load_10 | 3 | 0.00065307 | 0.00016368 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3276-1_1_2_load_11 | 4 | 0.00045363 | 0.00011369 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3276-1_1_2_load_28 | 8 | 0.00040153 | 0.00010063 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3276-1_1_2_load_157 | 9 | 0.00053334 | 0.00013367 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3276-1_1_2_load_159 | 10 | 0.00042734 | 0.0001071 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3276-1_1_2_load_160 | 11 | 0.00062141 | 0.00015574 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3276-1_1_2_load_162 | 13 | 0.00055648 | 0.00013947 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3276-1_1_2_load_16 | 14 | 0.0017552 | 0.0004399 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3276-1_1_2_load_17 | 15 | 0.00097123 | 0.00024341 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3276-1_1_2_load_19 | 17 | 0.0045989 | 0.0011526 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3276-1_1_2_load_20 | 18 | 0.0022878 | 0.00057337 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3276-1_1_2_load_32 | 21 | 0.0010094 | 0.00025299 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3276-1_1_2_load_23 | 22 | 0.0013242 | 0.00033189 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3276-1_1_2_load_169 | 28 | 0.00083356 | 0.00020891 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3276-1_1_2_load_29 | 29 | 0.0012364 | 0.00030987 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3276-1_1_2_load_33 | 30 | 0.00053311 | 0.00013361 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3276-1_1_2_load_42 | 33 | 0.00070044 | 0.00017555 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3276-1_1_2_load_49 | 34 | 0.0010407 | 0.00026083 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3276-1_1_2_load_36 | 35 | 0.00084055 | 0.00021066 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3276-1_1_2_load_37 | 36 | 0.0007324 | 0.00018356 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3276-1_1_2_load_38 | 37 | 0.00060222 | 0.00015093 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3276-1_1_2_load_39 | 38 | 0.0011819 | 0.00029622 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3276-1_1_2_load_40 | 39 | 0.0010166 | 0.00025477 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3276-1_1_2_load_41 | 41 | 0.00093608 | 0.0002346 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3276-1_1_2_load_44 | 42 | 0.0017797 | 0.00044604 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3276-1_1_2_load_45 | 43 | 0.00068086 | 0.00017064 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3276-1_1_2_load_60 | 47 | 0.00090823 | 0.00022762 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3276-1_1_2_load_57 | 48 | 0.0023908 | 0.00059919 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3276-1_1_2_load_50 | 49 | 0.00083712 | 0.0002098 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3276-1_1_2_load_51 | 50 | 0.0012993 | 0.00032562 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3276-1_1_2_load_61 | 51 | 0.0013735 | 0.00034424 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3276-1_1_2_load_67 | 52 | 0.00095464 | 0.00023926 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3276-1_1_2_load_53 | 53 | 0.011489 | 0.0028794 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3276-1_1_2_load_54 | 54 | 0.002999 | 0.00075161 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3276-1_1_2_load_55 | 55 | 0.0011335 | 0.00028408 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3276-1_1_2_load_56 | 56 | 0.0019828 | 0.00049694 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3276-1_1_2_load_65 | 57 | 0.001392 | 0.00034887 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3276-1_1_2_load_58 | 58 | 0.001339 | 0.00033559 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3276-1_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.016862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3276-1_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.061653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3276-1_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.14225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3276-1_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.022333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3276-1_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.053411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3276-1_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.018547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3276-1_1_2_line_6 | NAYY 4x150 SE | 5 | 58 | 0.040137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3276-1_1_2_line_7 | NAYY 4x150 SE | 6 | 42 | 0.014096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3276-1_1_2_line_8 | NAYY 4x150 SE | 6 | 43 | 0.11395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3276-1_1_2_line_9 | NAYY 4x150 SE | 6 | 41 | 0.11881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3276-1_1_2_line_10 | NAYY 4x150 SE | 7 | 8 | 0.044953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3276-1_1_2_line_11 | NAYY 4x150 SE | 7 | 9 | 0.060666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3276-1_1_2_line_12 | NAYY 4x150 SE | 7 | 10 | 0.090953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3276-1_1_2_line_13 | NAYY 4x150 SE | 7 | 11 | 0.12912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3276-1_1_2_line_14 | NAYY 4x150 SE | 8 | 24 | 0.18246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3276-1_1_2_line_15 | NAYY 4x150 SE | 11 | 12 | 0.071732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3276-1_1_2_line_16 | NAYY 4x150 SE | 12 | 13 | 0.033045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3276-1_1_2_line_17 | NAYY 4x150 SE | 14 | 15 | 0.25889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3276-1_1_2_line_18 | NAYY 4x150 SE | 14 | 16 | 0.011405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3276-1_1_2_line_19 | NAYY 4x150 SE | 15 | 17 | 0.13292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3276-1_1_2_line_20 | NAYY 4x150 SE | 16 | 18 | 0.064429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3276-1_1_2_line_21 | NAYY 4x150 SE | 16 | 19 | 0.048316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3276-1_1_2_line_22 | NAYY 4x150 SE | 17 | 20 | 0.019089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3276-1_1_2_line_23 | NAYY 4x150 SE | 19 | 21 | 0.015145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3276-1_1_2_line_24 | NAYY 4x150 SE | 20 | 39 | 0.20324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3276-1_1_2_line_25 | NAYY 4x150 SE | 21 | 25 | 0.16163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3276-1_1_2_line_26 | NAYY 4x150 SE | 22 | 23 | 0.17064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3276-1_1_2_line_27 | NAYY 4x150 SE | 22 | 24 | 0.17633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3276-1_1_2_line_28 | NAYY 4x150 SE | 23 | 25 | 0.093976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3276-1_1_2_line_29 | NAYY 4x150 SE | 24 | 26 | 0.18126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3276-1_1_2_line_30 | NAYY 4x150 SE | 25 | 27 | 0.006949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3276-1_1_2_line_31 | NAYY 4x150 SE | 26 | 28 | 0.17113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3276-1_1_2_line_32 | NAYY 4x150 SE | 27 | 29 | 0.15711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3276-1_1_2_line_33 | NAYY 4x150 SE | 30 | 31 | 0.1335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3276-1_1_2_line_34 | NAYY 4x150 SE | 31 | 32 | 0.090841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3276-1_1_2_line_35 | NAYY 4x150 SE | 32 | 33 | 0.13882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3276-1_1_2_line_36 | NAYY 4x150 SE | 32 | 34 | 0.16691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3276-1_1_2_line_37 | NAYY 4x150 SE | 33 | 41 | 0.031009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3276-1_1_2_line_38 | NAYY 4x150 SE | 34 | 49 | 0.046717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3276-1_1_2_line_39 | NAYY 4x150 SE | 35 | 36 | 0.0026533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3276-1_1_2_line_40 | NAYY 4x150 SE | 35 | 37 | 0.028334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3276-1_1_2_line_41 | NAYY 4x150 SE | 36 | 38 | 0.026691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3276-1_1_2_line_42 | NAYY 4x150 SE | 37 | 39 | 0.016861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3276-1_1_2_line_43 | NAYY 4x150 SE | 38 | 40 | 0.024628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3276-1_1_2_line_44 | NAYY 4x150 SE | 40 | 44 | 0.1028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3276-1_1_2_line_45 | NAYY 4x150 SE | 40 | 45 | 0.041417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3276-1_1_2_line_46 | NAYY 4x150 SE | 44 | 46 | 0.13077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3276-1_1_2_line_47 | NAYY 4x150 SE | 44 | 47 | 0.082318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3276-1_1_2_line_48 | NAYY 4x150 SE | 45 | 48 | 0.084069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3276-1_1_2_line_49 | NAYY 4x150 SE | 46 | 51 | 0.082911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3276-1_1_2_line_50 | NAYY 4x150 SE | 48 | 55 | 0.016829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3276-1_1_2_line_51 | NAYY 4x150 SE | 49 | 50 | 0.0003897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3276-1_1_2_line_52 | NAYY 4x150 SE | 49 | 51 | 0.21659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3276-1_1_2_line_53 | NAYY 4x150 SE | 50 | 52 | 0.10223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3276-1_1_2_line_54 | NAYY 4x150 SE | 53 | 54 | 0.037392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3276-1_1_2_line_55 | NAYY 4x150 SE | 53 | 55 | 0.01399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3276-1_1_2_line_56 | NAYY 4x150 SE | 54 | 56 | 0.013287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3276-1_1_2_line_57 | NAYY 4x150 SE | 56 | 57 | 0.018897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3276-1_1_2_trafo_40 | 0.25 MVA 20/0.4 kV | 59 | 39 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2754051.7493 | 1217781.5935 | 2754043.8417 | 1217772.2473 | 2754041.8392 | 1217768.0844
1 | 2754051.7493 | 1217781.5935 | 2754051.7493 | 1217781.5935 | 2754057.1389 | 1217794.9114 | 2754068.4926 | 1217811.6756 | 2754073.3046 | 1217822.3652 | 2754076.8815 | 1217833.8235 | 2754076.9663 | 1217837.1346
2 | 2753975.6478 | 1217671.0158 | 2753976.1654 | 1217671.3966 | 2753982.9194 | 1217678.0771 | 2753988.4359 | 1217685.3262 | 2753991.1535 | 1217690.6679 | 2753991.7975 | 1217697.1904 | 2753991.0063 | 1217702.8194 | 2753988.1814 | 1217708.6739 | 2753986.3899 | 1217717.1575 | 2753986.243 | 1217722.8366 | 2753988.6766 | 1217731.2292 | 2753993.8567 | 1217735.6226 | 2754000.5133 | 1217738.4304 | 2754011.7295 | 1217737.9087 | 2754021.1427 | 1217736.3283 | 2754028.0252 | 1217738.3302 | 2754031.3533 | 1217741.7971 | 2754033.5183 | 1217750.2941 | 2754039.5893 | 1217763.4072 | 2754041.8392 | 1217768.0844
3 | 2754076.9663 | 1217837.1346 | 2754077.1838 | 1217845.6197 | 2754074.5089 | 1217854.4807 | 2754071.5187 | 1217857.9616
4 | 2753926.9671 | 1217653.6542 | 2753937.8485 | 1217656.3933 | 2753941.9296 | 1217656.2986 | 2753951.1066 | 1217655.9242 | 2753957.1461 | 1217658.5159 | 2753965.5742 | 1217663.6049 | 2753975.6478 | 1217671.0158
5 | 2754055.6191 | 1217866.8591 | 2754063.8183 | 1217863.7571 | 2754069.0509 | 1217860.8342 | 2754071.5187 | 1217857.9616
6 | 2753926.9671 | 1217653.6542 | 2753920.4867 | 1217648.7268 | 2753916.4454 | 1217642.5836 | 2753916.0715 | 1217637.9475 | 2753919.0294 | 1217633.4088 | 2753927.0356 | 1217632.2033 | 2753933.5114 | 1217632.0658
7 | 2754055.6191 | 1217866.8591 | 2754064.9443 | 1217877.4302
8 | 2754055.6191 | 1217866.8591 | 2754069.2041 | 1217871.9371 | 2754086.7834 | 1217873.5152 | 2754111.5352 | 1217867.9391 | 2754132.7898 | 1217860.7379 | 2754166.4168 | 1217865.6296
9 | 2754055.6191 | 1217866.8591 | 2754040.2307 | 1217870.1309 | 2754024.1094 | 1217871.2041 | 2753938.3067 | 1217885.1239
10 | 2754199.2548 | 1217370.8833 | 2754188.9089 | 1217374.1408 | 2754185.9878 | 1217377.2458 | 2754178.9707 | 1217377.787 | 2754161.1494 | 1217374.056 | 2754156.6465 | 1217373.1275
11 | 2754199.2548 | 1217370.8833 | 2754193.9517 | 1217361.2597 | 2754192.4268 | 1217355.6152 | 2754185.5888 | 1217316.681 | 2754185.3786 | 1217312.3849
12 | 2754199.2548 | 1217370.8833 | 2754205.7048 | 1217363.4991 | 2754213.6531 | 1217352.5171 | 2754221.7119 | 1217344.8966 | 2754232.9794 | 1217335.6799 | 2754237.3171 | 1217334.48 | 2754244.0855 | 1217332.9871 | 2754248.3363 | 1217335.1435 | 2754265.624 | 1217338.9499 | 2754273.6554 | 1217338.5062
13 | 2754199.2548 | 1217370.8833 | 2754214.8641 | 1217387.58 | 2754230.5879 | 1217402.7895 | 2754236.4975 | 1217416.2656 | 2754242.0977 | 1217427.6096 | 2754254.5129 | 1217448.5609 | 2754256.7092 | 1217460.2394 | 2754261.865 | 1217480.378
14 | 2754089.2123 | 1217247.2484 | 2754090.6444 | 1217252.668 | 2754086.6276 | 1217264.6527 | 2754085.6789 | 1217273.1358 | 2754082.5237 | 1217290.5699 | 2754082.5136 | 1217306.5173 | 2754080.6819 | 1217332.9826 | 2754078.9004 | 1217342.534 | 2754080.1342 | 1217343.578 | 2754085.3405 | 1217343.1567 | 2754101.9763 | 1217348.9698 | 2754113.073 | 1217353.0937 | 2754124.4068 | 1217358.9143 | 2754130.96 | 1217362.2089 | 2754136.9763 | 1217362.1867 | 2754145.3159 | 1217363.3702 | 2754156.6465 | 1217373.1275
15 | 2754286.2723 | 1217547.5276 | 2754280.9852 | 1217536.1249 | 2754272.2847 | 1217504.0264 | 2754262.8686 | 1217484.2982 | 2754261.865 | 1217480.378
16 | 2754286.2723 | 1217547.5276 | 2754272.7438 | 1217551.9703 | 2754266.478 | 1217557.2351 | 2754264.5293 | 1217561.7998 | 2754265.4403 | 1217567.384
17 | 2753797.0797 | 1217130.6068 | 2753797.6976 | 1217113.1539 | 2753795.1812 | 1217081.1826 | 2753790.6151 | 1217070.0436 | 2753768.8536 | 1217052.3663 | 2753765.9391 | 1217044.0392 | 2753766.4646 | 1217036.3348 | 2753794.735 | 1216986.108 | 2753800.1151 | 1216974.8479 | 2753800.9991 | 1216967.9756 | 2753799.7007 | 1216962.6596 | 2753788.7854 | 1216950.3002 | 2753781.6583 | 1216939.4955 | 2753779.6347 | 1216929.0228 | 2753780.4125 | 1216910.6709 | 2753776.1575 | 1216899.7161
18 | 2753770.722 | 1216889.7021 | 2753775.7044 | 1216898.5496 | 2753776.1575 | 1216899.7161
19 | 2753752.2731 | 1217253.9367 | 2753758.0165 | 1217235.8401 | 2753763.2846 | 1217201.2561 | 2753766.4105 | 1217190.2158 | 2753779.8819 | 1217169.467 | 2753792.3484 | 1217145.2781 | 2753796.9955 | 1217132.9869 | 2753797.0797 | 1217130.6068
20 | 2753770.722 | 1216889.7021 | 2753758.9825 | 1216886.3073 | 2753750.2601 | 1216883.7355 | 2753726.6272 | 1216867.9006 | 2753712.5592 | 1216863.7488
21 | 2753770.722 | 1216889.7021 | 2753774.0995 | 1216879.5134 | 2753784.8829 | 1216871.3954 | 2753799.5518 | 1216872.2525 | 2753807.5403 | 1216877.3521
22 | 2753746.4987 | 1217272.1311 | 2753752.2731 | 1217253.9367
23 | 2753807.5403 | 1216877.3521 | 2753808.6719 | 1216875.3017 | 2753807.2398 | 1216869.2815 | 2753804.2166 | 1216863.3983
24 | 2753746.4987 | 1217272.1311 | 2753738.0384 | 1217292.6757 | 2753736.6431 | 1217305.5291 | 2753736.9154 | 1217312.3422 | 2753739.3412 | 1217325.4721 | 2753739.9144 | 1217346.5169 | 2753734.1869 | 1217370.068 | 2753729.7081 | 1217389.0918 | 2753726.6422 | 1217400.7565 | 2753722.6324 | 1217411.6184 | 2753698.9985 | 1217437.6878 | 2753687.8635 | 1217459.2469
25 | 2753953.0336 | 1216922.7268 | 2753933.6633 | 1216910.3932 | 2753913.5362 | 1216903.534 | 2753877.9212 | 1216887.8337 | 2753829.9127 | 1216866.6977 | 2753811.6347 | 1216863.234 | 2753804.2166 | 1216863.3983
26 | 2753951.7126 | 1217014.0747 | 2753983.6692 | 1217024.3427 | 2754089.2911 | 1217099.7846 | 2754091.9049 | 1217106.5748
27 | 2754089.2123 | 1217247.2484 | 2754089.6684 | 1217242.2446 | 2754090.6993 | 1217234.1083 | 2754085.6963 | 1217229.0189 | 2754083.4262 | 1217220.1745 | 2754064.0021 | 1217222.0073 | 2754062.2269 | 1217217.8132 | 2754065.7795 | 1217210.2649 | 2754068.8804 | 1217199.6244 | 2754068.2615 | 1217187.1416 | 2754068.7863 | 1217172.1417 | 2754072.6191 | 1217164.3338 | 2754083.6024 | 1217155.2429 | 2754092.0707 | 1217145.0082 | 2754095.9404 | 1217130.4952 | 2754095.3836 | 1217115.6119 | 2754091.9049 | 1217106.5748
28 | 2753951.7126 | 1217014.0747 | 2753952.1192 | 1217008.925 | 2753952.6208 | 1216999.8075 | 2753948.1695 | 1216990.4063 | 2753946.239 | 1216979.5801 | 2753950.0433 | 1216964.6427 | 2753955.5974 | 1216942.5553 | 2753954.6903 | 1216928.5749 | 2753953.0336 | 1216922.7268
29 | 2754198.8026 | 1217114.3856 | 2754189.7216 | 1217123.0473 | 2754171.1481 | 1217131.0295 | 2754159.2787 | 1217144.1232 | 2754149.5157 | 1217175.6101 | 2754136.2442 | 1217202.6689 | 2754122.3047 | 1217228.2536 | 2754110.7375 | 1217238.7751 | 2754089.2123 | 1217247.2484
30 | 2753951.5073 | 1216915.948 | 2753953.0336 | 1216922.7268
31 | 2754198.8026 | 1217114.3856 | 2754368.7872 | 1217094.5902
32 | 2753951.5073 | 1216915.948 | 2753964.0825 | 1216926.9716 | 2753983.8599 | 1216932.076 | 2754001.2885 | 1216932.5378 | 2754017.1009 | 1216932.9356 | 2754032.5416 | 1216934.1913 | 2754054.2133 | 1216937.7101 | 2754072.0324 | 1216941.8745 | 2754081.0887 | 1216949.4376 | 2754091.0846 | 1216952.0984 | 2754097.6018 | 1216958.0416
33 | 2753720.6018 | 1218015.9752 | 2753725.5999 | 1218035.0657 | 2753726.7274 | 1218049.341 | 2753731.8894 | 1218062.9641 | 2753741.0632 | 1218070.0405 | 2753753.5448 | 1218076.9576 | 2753770.4738 | 1218085.1685 | 2753789.8911 | 1218099.3601 | 2753798.5747 | 1218112.9882
34 | 2753782.1081 | 1217949.9361 | 2753763.8974 | 1217976.6346 | 2753734.2028 | 1218006.0171 | 2753720.6018 | 1218015.9752
35 | 2753782.1081 | 1217949.9361 | 2753871.4223 | 1217914.9768 | 2753909.2831 | 1217894.7905
36 | 2753782.1081 | 1217949.9361 | 2753795.5539 | 1217918.3547 | 2753817.614 | 1217900.2411 | 2753840.3079 | 1217889.0502 | 2753857.058 | 1217887.4479 | 2753859.3333 | 1217878.1649 | 2753851.3898 | 1217826.4152
37 | 2753938.3067 | 1217885.1239 | 2753922.6492 | 1217887.6641 | 2753909.2831 | 1217894.7905
38 | 2753851.3898 | 1217826.4152 | 2753849.5694 | 1217814.5557 | 2753848.1966 | 1217796.8488 | 2753851.8825 | 1217780.2957
39 | 2753665.9312 | 1217498.6493 | 2753664.3262 | 1217500.7621
40 | 2753665.9312 | 1217498.6493 | 2753670.8724 | 1217492.1447 | 2753680.1263 | 1217474.2275
41 | 2753648.1049 | 1217521.9569 | 2753651.1691 | 1217518.0821 | 2753664.3262 | 1217500.7621
42 | 2753687.8635 | 1217459.2469 | 2753680.1263 | 1217474.2275
43 | 2753632.8281 | 1217541.2745 | 2753648.1049 | 1217521.9569
44 | 2753598.3021 | 1217636.8815 | 2753601.6994 | 1217627.3716 | 2753615.4877 | 1217594.5754 | 2753624.5898 | 1217580.6197 | 2753626.6848 | 1217565.9494 | 2753632.9167 | 1217546.6706 | 2753632.8281 | 1217541.2745
45 | 2753602.9499 | 1217569.4741 | 2753618.448 | 1217558.7306 | 2753632.8281 | 1217541.2745
46 | 2753598.3021 | 1217636.8815 | 2753585.9895 | 1217671.3617 | 2753608.5147 | 1217745.9203 | 2753618.0946 | 1217759.0679
47 | 2753598.3021 | 1217636.8815 | 2753606.8764 | 1217637.4919 | 2753617.1718 | 1217625.8579 | 2753633.2155 | 1217616.6299 | 2753642.8988 | 1217603.7013 | 2753653.0735 | 1217592.3312 | 2753655.4881 | 1217598.8326 | 2753656.8202 | 1217598.867
48 | 2753602.9499 | 1217569.4741 | 2753601.5737 | 1217560.108 | 2753607.8688 | 1217542.4989 | 2753611.201 | 1217530.5074 | 2753609.5455 | 1217516.074 | 2753604.6556 | 1217493.639 | 2753604.3614 | 1217487.6801
49 | 2753618.0946 | 1217759.0679 | 2753636.7389 | 1217715.2648 | 2753656.7947 | 1217686.2099
50 | 2753604.3614 | 1217487.6801 | 2753603.7776 | 1217475.8559 | 2753601.4996 | 1217471.4155 | 2753601.4996 | 1217471.4155
51 | 2753852.2542 | 1217780.1786 | 2753851.8825 | 1217780.2957 | 2753851.8825 | 1217780.2957
52 | 2753656.7947 | 1217686.2099 | 2753851.8825 | 1217780.2957
53 | 2753946.208 | 1217791.9199 | 2753925.4283 | 1217789.859 | 2753922.8667 | 1217788.4694 | 2753916.5004 | 1217776.7834 | 2753907.6395 | 1217774.6304 | 2753864.4099 | 1217776.349 | 2753852.2542 | 1217780.1786
54 | 2753588.7835 | 1217465.5825 | 2753568.1496 | 1217484.3232 | 2753560.0699 | 1217489.353
55 | 2753588.7835 | 1217465.5825 | 2753588.7835 | 1217465.5825 | 2753601.4996 | 1217471.4155
56 | 2753548.892 | 1217496.5322 | 2753553.483 | 1217493.4534 | 2753560.0699 | 1217489.353
57 | 2753548.892 | 1217496.5322 | 2753533.197 | 1217507.0574

## bus_geodata
| x | y | coords
0 | 2754051.7493 | 1217781.5935
1 | 2754041.8392 | 1217768.0844
2 | 2754076.9663 | 1217837.1346
3 | 2753975.6478 | 1217671.0158
4 | 2754071.5187 | 1217857.9616
5 | 2753926.9671 | 1217653.6542
6 | 2754055.6191 | 1217866.8591
7 | 2754199.2548 | 1217370.8833
8 | 2754156.6465 | 1217373.1275
9 | 2754185.3786 | 1217312.3849
10 | 2754273.6554 | 1217338.5062
11 | 2754261.865 | 1217480.378
12 | 2754286.2723 | 1217547.5276
13 | 2754265.4403 | 1217567.384
14 | 2753776.1575 | 1216899.7161
15 | 2753797.0797 | 1217130.6068
16 | 2753770.722 | 1216889.7021
17 | 2753752.2731 | 1217253.9367
18 | 2753712.5592 | 1216863.7488
19 | 2753807.5403 | 1216877.3521
20 | 2753746.4987 | 1217272.1311
21 | 2753804.2166 | 1216863.3983
22 | 2754091.9049 | 1217106.5748
23 | 2753951.7126 | 1217014.0747
24 | 2754089.2123 | 1217247.2484
25 | 2753953.0336 | 1216922.7268
26 | 2754198.8026 | 1217114.3856
27 | 2753951.5073 | 1216915.948
28 | 2754368.7872 | 1217094.5902
29 | 2754097.6018 | 1216958.0416
30 | 2753798.5747 | 1218112.9882
31 | 2753720.6018 | 1218015.9752
32 | 2753782.1081 | 1217949.9361
33 | 2753909.2831 | 1217894.7905
34 | 2753851.3898 | 1217826.4152
35 | 2753665.9312 | 1217498.6493
36 | 2753664.3262 | 1217500.7621
37 | 2753680.1263 | 1217474.2275
38 | 2753648.1049 | 1217521.9569
39 | 2753687.8635 | 1217459.2469
40 | 2753632.8281 | 1217541.2745
41 | 2753938.3067 | 1217885.1239
42 | 2754064.9443 | 1217877.4302
43 | 2754166.4168 | 1217865.6296
44 | 2753598.3021 | 1217636.8815
45 | 2753602.9499 | 1217569.4741
46 | 2753618.0946 | 1217759.0679
47 | 2753656.8202 | 1217598.867
48 | 2753604.3614 | 1217487.6801
49 | 2753851.8825 | 1217780.2957
50 | 2753852.2542 | 1217780.1786
51 | 2753656.7947 | 1217686.2099
52 | 2753946.208 | 1217791.9199
53 | 2753588.7835 | 1217465.5825
54 | 2753560.0699 | 1217489.353
55 | 2753601.4996 | 1217471.4155
56 | 2753548.892 | 1217496.5322
57 | 2753533.197 | 1217507.0574
58 | 2753933.5114 | 1217632.0658
59 | 2753687.8635 | 1217459.2469

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1