## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3291-17_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3291-17_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3291-17_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3291-17_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_3291-17_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_3291-17_0_3_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_3291-17_0_3_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_3291-17_0_3_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_3291-17_0_3_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_3291-17_0_3_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_3291-17_0_3_node_49 | 0.4 | n |  | TRUE
11 | bus_LV_3291-17_0_3_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_3291-17_0_3_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_3291-17_0_3_node_63 | 0.4 | n |  | TRUE
14 | bus_LV_3291-17_0_3_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_3291-17_0_3_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_3291-17_0_3_node_65 | 0.4 | n |  | TRUE
17 | bus_LV_3291-17_0_3_node_64 | 0.4 | n |  | TRUE
18 | bus_LV_3291-17_0_3_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_3291-17_0_3_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_3291-17_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_3291-17_0_3_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_3291-17_0_3_node_59 | 0.4 | n |  | TRUE
23 | bus_LV_3291-17_0_3_node_58 | 0.4 | n |  | TRUE
24 | bus_LV_3291-17_0_3_node_7 | 0.4 | n |  | TRUE
25 | bus_LV_3291-17_0_3_node_8 | 0.4 | n |  | TRUE
26 | bus_LV_3291-17_0_3_node_9 | 0.4 | n |  | TRUE
27 | bus_LV_3291-17_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_3291-17_0_3_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_3291-17_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_3291-17_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_3291-17_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_3291-17_0_3_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_3291-17_0_3_node_62 | 0.4 | n |  | TRUE
34 | bus_LV_3291-17_0_3_node_61 | 0.4 | n |  | TRUE
35 | bus_LV_3291-17_0_3_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_3291-17_0_3_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_3291-17_0_3_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_3291-17_0_3_node_80 | 0.4 | n |  | TRUE
39 | bus_LV_3291-17_0_3_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_3291-17_0_3_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_3291-17_0_3_node_82 | 0.4 | n |  | TRUE
42 | bus_LV_3291-17_0_3_node_81 | 0.4 | n |  | TRUE
43 | bus_LV_3291-17_0_3_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_3291-17_0_3_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_3291-17_0_3_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_3291-17_0_3_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_3291-17_0_3_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_3291-17_0_3_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_3291-17_0_3_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_3291-17_0_3_node_57 | 0.4 | n |  | TRUE
51 | bus_MV_149_0_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3291-17_0_3_load_0 | 0 | 0.0026855 | 0.00067305 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3291-17_0_3_load_4 | 3 | 0.0029946 | 0.00075051 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3291-17_0_3_load_5 | 4 | 0.0039403 | 0.00098754 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3291-17_0_3_load_21 | 5 | 0.0028985 | 0.00072644 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3291-17_0_3_load_12 | 6 | 0.0018579 | 0.00046564 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3291-17_0_3_load_11 | 7 | 0.0010471 | 0.00026244 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3291-17_0_3_load_49 | 10 | 0.012276 | 0.0030767 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3291-17_0_3_load_63 | 13 | 0.0036744 | 0.00092088 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3291-17_0_3_load_65 | 16 | 0.0028083 | 0.00070384 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3291-17_0_3_load_64 | 17 | 0.0035849 | 0.00089845 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3291-17_0_3_load_28 | 19 | 0.0028774 | 0.00072113 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3291-17_0_3_load_13 | 20 | 0.0059969 | 0.001503 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3291-17_0_3_load_10 | 21 | 0.0031926 | 0.00080015 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3291-17_0_3_load_59 | 22 | 0.0027464 | 0.0006883 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3291-17_0_3_load_7 | 24 | 0.0065963 | 0.0016532 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3291-17_0_3_load_8 | 25 | 0.00268 | 0.00067166 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3291-17_0_3_load_9 | 26 | 0.0064704 | 0.0016216 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3291-17_0_3_load_15 | 27 | 0.0032249 | 0.00080823 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3291-17_0_3_load_14 | 28 | 0.0068132 | 0.0017076 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3291-17_0_3_load_16 | 29 | 0.0031332 | 0.00078527 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3291-17_0_3_load_17 | 30 | 0.0094196 | 0.0023608 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3291-17_0_3_load_62 | 33 | 0.0034379 | 0.00086163 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3291-17_0_3_load_61 | 34 | 0.0033065 | 0.00082869 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3291-17_0_3_load_60 | 36 | 0.0021703 | 0.00054392 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3291-17_0_3_load_80 | 38 | 0.0018466 | 0.0004628 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3291-17_0_3_load_46 | 39 | 0.0013128 | 0.00032902 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3291-17_0_3_load_47 | 40 | 0.0025882 | 0.00064866 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3291-17_0_3_load_82 | 41 | 0.001361 | 0.00034111 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3291-17_0_3_load_81 | 42 | 0.00098017 | 0.00024565 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3291-17_0_3_load_50 | 43 | 0.0042947 | 0.0010764 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3291-17_0_3_load_51 | 44 | 0.0030618 | 0.00076735 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3291-17_0_3_load_52 | 45 | 0.0050685 | 0.0012703 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3291-17_0_3_load_53 | 46 | 0.0032877 | 0.00082397 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3291-17_0_3_load_54 | 47 | 0.003089 | 0.00077417 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3291-17_0_3_load_55 | 48 | 0.0035678 | 0.00089417 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3291-17_0_3_load_56 | 49 | 0.0019989 | 0.00050097 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3291-17_0_3_load_57 | 50 | 0.0030173 | 0.00075622 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3291-17_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0076494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3291-17_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.054289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3291-17_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.036375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3291-17_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.016501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3291-17_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.032502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3291-17_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.011026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3291-17_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.012135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3291-17_0_3_line_7 | NAYY 4x150 SE | 5 | 18 | 0.015434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3291-17_0_3_line_8 | NAYY 4x150 SE | 6 | 20 | 0.0081512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3291-17_0_3_line_9 | NAYY 4x150 SE | 7 | 21 | 0.015531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3291-17_0_3_line_10 | NAYY 4x150 SE | 8 | 9 | 0.025644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3291-17_0_3_line_11 | NAYY 4x150 SE | 8 | 10 | 0.03003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3291-17_0_3_line_12 | NAYY 4x150 SE | 9 | 37 | 0.063928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3291-17_0_3_line_13 | NAYY 4x150 SE | 9 | 38 | 0.015216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3291-17_0_3_line_14 | NAYY 4x150 SE | 10 | 12 | 0.065874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3291-17_0_3_line_15 | NAYY 4x150 SE | 11 | 12 | 0.12517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3291-17_0_3_line_16 | NAYY 4x150 SE | 11 | 13 | 0.075525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3291-17_0_3_line_17 | NAYY 4x150 SE | 12 | 14 | 0.13479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3291-17_0_3_line_18 | NAYY 4x150 SE | 13 | 35 | 0.030286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_3291-17_0_3_line_19 | NAYY 4x150 SE | 14 | 39 | 0.027533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3291-17_0_3_line_20 | NAYY 4x150 SE | 15 | 16 | 0.00448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3291-17_0_3_line_21 | NAYY 4x150 SE | 15 | 17 | 0.02649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3291-17_0_3_line_22 | NAYY 4x150 SE | 17 | 19 | 0.065187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3291-17_0_3_line_23 | NAYY 4x150 SE | 18 | 19 | 0.037006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3291-17_0_3_line_24 | NAYY 4x150 SE | 20 | 27 | 0.014898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3291-17_0_3_line_25 | NAYY 4x150 SE | 21 | 25 | 0.0034647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3291-17_0_3_line_26 | NAYY 4x150 SE | 22 | 23 | 0.0017165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3291-17_0_3_line_27 | NAYY 4x150 SE | 23 | 36 | 0.023279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3291-17_0_3_line_28 | NAYY 4x150 SE | 23 | 50 | 0.037199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3291-17_0_3_line_29 | NAYY 4x150 SE | 24 | 25 | 0.037246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3291-17_0_3_line_30 | NAYY 4x150 SE | 24 | 26 | 0.025369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3291-17_0_3_line_31 | NAYY 4x150 SE | 27 | 28 | 0.0054727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3291-17_0_3_line_32 | NAYY 4x150 SE | 28 | 29 | 0.012011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3291-17_0_3_line_33 | NAYY 4x150 SE | 29 | 30 | 0.020774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3291-17_0_3_line_34 | NAYY 4x150 SE | 30 | 31 | 0.018357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3291-17_0_3_line_35 | NAYY 4x150 SE | 31 | 32 | 0.009268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3291-17_0_3_line_36 | NAYY 4x150 SE | 32 | 33 | 0.004143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_3291-17_0_3_line_37 | NAYY 4x150 SE | 32 | 34 | 0.020467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3291-17_0_3_line_38 | NAYY 4x150 SE | 33 | 35 | 0.0062022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_3291-17_0_3_line_39 | NAYY 4x150 SE | 34 | 36 | 0.010455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3291-17_0_3_line_40 | NAYY 4x150 SE | 37 | 40 | 0.01576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3291-17_0_3_line_41 | NAYY 4x150 SE | 38 | 42 | 0.018137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3291-17_0_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.017771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3291-17_0_3_line_43 | NAYY 4x150 SE | 43 | 44 | 0.014598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3291-17_0_3_line_44 | NAYY 4x150 SE | 43 | 45 | 0.0082377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3291-17_0_3_line_45 | NAYY 4x150 SE | 44 | 46 | 0.0048061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3291-17_0_3_line_46 | NAYY 4x150 SE | 46 | 47 | 0.010193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3291-17_0_3_line_47 | NAYY 4x150 SE | 47 | 48 | 0.010571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3291-17_0_3_line_48 | NAYY 4x150 SE | 48 | 49 | 0.0036566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3291-17_0_3_line_49 | NAYY 4x150 SE | 49 | 50 | 0.022156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3291-17_0_3_trafo_63 | 0.25 MVA 20/0.4 kV | 51 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2757248.3396 | 1208164.2396 | 2757241.987 | 1208159.9784
1 | 2757248.3396 | 1208164.2396 | 2757200.4617 | 1208190.0793
2 | 2757248.3396 | 1208164.2396 | 2757276.6747 | 1208141.4307
3 | 2757248.3396 | 1208164.2396 | 2757258.5141 | 1208171.9034 | 2757261.7395 | 1208173.8413
4 | 2757200.4617 | 1208190.0793 | 2757217.9736 | 1208217.4602
5 | 2757276.6747 | 1208141.4307 | 2757285.264 | 1208134.5166
6 | 2757272.1418 | 1208180.0912 | 2757261.7395 | 1208173.8413
7 | 2757226.2894 | 1208230.4624 | 2757217.9736 | 1208217.4602
8 | 2757291.5708 | 1208129.354 | 2757290.1167 | 1208130.6102 | 2757285.264 | 1208134.5166
9 | 2757285.4545 | 1208188.0898 | 2757272.1418 | 1208180.0912
10 | 2757665.8879 | 1208165.2439 | 2757676.3505 | 1208152.4977 | 2757681.2488 | 1208144.7646
11 | 2757665.8879 | 1208165.2439 | 2757640.6258 | 1208149.0067
12 | 2757681.2488 | 1208144.7646 | 2757665.822 | 1208134.0698 | 2757648.2368 | 1208129.9127 | 2757640.2902 | 1208126.333 | 2757636.2804 | 1208123.4801 | 2757635.1648 | 1208119.6361 | 2757636.2234 | 1208115.8495 | 2757637.8087 | 1208113.7228 | 2757640.3823 | 1208112.2005
13 | 2757681.2488 | 1208144.7646 | 2757689.3863 | 1208131.907
14 | 2757585.2113 | 1208113.3892 | 2757640.6258 | 1208149.0067
15 | 2757465.5215 | 1208097.2606 | 2757507.201 | 1208097.3492 | 2757513.6855 | 1208096.6642 | 2757523.2776 | 1208093.8259 | 2757533.5386 | 1208091.2944 | 2757542.9477 | 1208093.3668 | 2757585.2113 | 1208113.3892
16 | 2757465.5215 | 1208097.2606 | 2757461.6148 | 1208097.1241 | 2757457.3057 | 1208097.2439 | 2757441.0776 | 1208096.137 | 2757390.0416 | 1208095.5773
17 | 2757585.2113 | 1208113.3892 | 2757594.1235 | 1208095.6865 | 2757608.2567 | 1208076.1755 | 2757621.4649 | 1208055.6837 | 2757636.8077 | 1208026.1068 | 2757640.6733 | 1208011.6849 | 2757647.1511 | 1207994.5628
18 | 2757360.0717 | 1208092.1196 | 2757363.7766 | 1208092.9847 | 2757377.6412 | 1208095.4413 | 2757390.0416 | 1208095.5773
19 | 2757647.1511 | 1207994.5628 | 2757636.2571 | 1207994.8421 | 2757620.5856 | 1207997.7086 | 2757619.9206 | 1207997.9382
20 | 2757339.0402 | 1208280.2779 | 2757342.8531 | 1208277.9096
21 | 2757339.0402 | 1208280.2779 | 2757325.115 | 1208260.2374 | 2757323.2768 | 1208259.2503
22 | 2757323.2768 | 1208259.2503 | 2757293.9479 | 1208243.501 | 2757262.6271 | 1208237.4651
23 | 2757226.2894 | 1208230.4624 | 2757262.6271 | 1208237.4651
24 | 2757291.5708 | 1208129.354 | 2757302.8445 | 1208119.6143
25 | 2757285.4545 | 1208188.0898 | 2757288.4244 | 1208189.8742 | 2757288.4244 | 1208189.8742
26 | 2757316.1744 | 1208047.7673 | 2757315.0634 | 1208046.4589
27 | 2757316.1744 | 1208047.7673 | 2757329.354 | 1208063.5065 | 2757331.4069 | 1208065.3374
28 | 2757316.1744 | 1208047.7673 | 2757343.7025 | 1208022.7477
29 | 2757317.5848 | 1208172.2686 | 2757308.2804 | 1208184.9486 | 2757304.2262 | 1208188.1001 | 2757299.951 | 1208190.1115 | 2757294.3396 | 1208190.8643 | 2757288.4244 | 1208189.8742
30 | 2757332.593 | 1208151.8153 | 2757317.5848 | 1208172.2686
31 | 2757302.8445 | 1208119.6143 | 2757306.9857 | 1208116.0365
32 | 2757316.0793 | 1208108.1907 | 2757316.0484 | 1208108.2069 | 2757306.9857 | 1208116.0365
33 | 2757316.0793 | 1208108.1907 | 2757326.5399 | 1208102.7007 | 2757335.0456 | 1208099.8829
34 | 2757352.4026 | 1208094.4529 | 2757348.346 | 1208096.8258 | 2757336.8316 | 1208099.2912 | 2757335.0456 | 1208099.8829
35 | 2757352.4026 | 1208094.4529 | 2757350.8914 | 1208091.7551 | 2757351.3901 | 1208088.7099 | 2757353.6891 | 1208086.6353
36 | 2757353.6891 | 1208086.6353 | 2757355.7224 | 1208086.2664 | 2757357.7239 | 1208086.8196
37 | 2757353.6891 | 1208086.6353 | 2757350.8122 | 1208082.6448 | 2757339.2093 | 1208072.2963
38 | 2757360.0717 | 1208092.1196 | 2757360.1338 | 1208090.0527 | 2757359.2936 | 1208088.1622 | 2757357.7239 | 1208086.8196
39 | 2757339.2093 | 1208072.2963 | 2757331.4069 | 1208065.3374
40 | 2757640.3823 | 1208112.2005 | 2757634.4933 | 1208105.8949 | 2757631.4997 | 1208099.4212
41 | 2757689.3863 | 1208131.907 | 2757699.0859 | 1208116.5813
42 | 2757708.5897 | 1208101.5648 | 2757699.0859 | 1208116.5813
43 | 2757392.5296 | 1207978.37 | 2757381.7265 | 1207988.1886
44 | 2757398.6256 | 1207972.8294 | 2757392.5296 | 1207978.37
45 | 2757381.7265 | 1207988.1886 | 2757378.1699 | 1207991.4211
46 | 2757378.1699 | 1207991.4211 | 2757370.6267 | 1207998.277
47 | 2757362.804 | 1208005.3869 | 2757370.6267 | 1207998.277
48 | 2757360.098 | 1208007.8462 | 2757362.804 | 1208005.3869
49 | 2757360.098 | 1208007.8462 | 2757343.7025 | 1208022.7477

## bus_geodata
| x | y | coords
0 | 2757241.987 | 1208159.9784
1 | 2757248.3396 | 1208164.2396
2 | 2757200.4618 | 1208190.0793
3 | 2757276.6747 | 1208141.4307
4 | 2757261.7395 | 1208173.8413
5 | 2757217.9736 | 1208217.4602
6 | 2757285.264 | 1208134.5166
7 | 2757272.1418 | 1208180.0912
8 | 2757665.8879 | 1208165.2439
9 | 2757681.2488 | 1208144.7646
10 | 2757640.6258 | 1208149.0067
11 | 2757465.5215 | 1208097.2606
12 | 2757585.2113 | 1208113.3892
13 | 2757390.0416 | 1208095.5773
14 | 2757647.1511 | 1207994.5628
15 | 2757339.0402 | 1208280.2779
16 | 2757342.8531 | 1208277.9096
17 | 2757323.2768 | 1208259.2503
18 | 2757226.2894 | 1208230.4624
19 | 2757262.6271 | 1208237.4651
20 | 2757291.5708 | 1208129.354
21 | 2757285.4545 | 1208188.0898
22 | 2757315.0634 | 1208046.4589
23 | 2757316.1744 | 1208047.7673
24 | 2757317.5848 | 1208172.2686
25 | 2757288.4244 | 1208189.8742
26 | 2757332.593 | 1208151.8153
27 | 2757302.8445 | 1208119.6143
28 | 2757306.9857 | 1208116.0365
29 | 2757316.0793 | 1208108.1907
30 | 2757335.0456 | 1208099.8829
31 | 2757352.4026 | 1208094.4529
32 | 2757353.6891 | 1208086.6353
33 | 2757357.7239 | 1208086.8196
34 | 2757339.2093 | 1208072.2963
35 | 2757360.0717 | 1208092.1196
36 | 2757331.4069 | 1208065.3374
37 | 2757640.3823 | 1208112.2005
38 | 2757689.3863 | 1208131.907
39 | 2757619.9206 | 1207997.9382
40 | 2757631.4997 | 1208099.4212
41 | 2757708.5897 | 1208101.5648
42 | 2757699.0859 | 1208116.5813
43 | 2757392.5296 | 1207978.37
44 | 2757381.7265 | 1207988.1886
45 | 2757398.6256 | 1207972.8294
46 | 2757378.1699 | 1207991.4211
47 | 2757370.6267 | 1207998.277
48 | 2757362.804 | 1208005.3869
49 | 2757360.098 | 1208007.8462
50 | 2757343.7025 | 1208022.7477
51 | 2757360.0717 | 1208092.1196

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98621 | -0.096672 | 0.0026855 | 0.00067305
1 | 0.98624 | -0.096461 | 0 | 0
2 | 0.98528 | -0.10326 | 0 | 0
3 | 0.98828 | -0.082004 | 0.0029946 | 0.00075051
4 | 0.98567 | -0.10052 | 0.0039403 | 0.00098754
5 | 0.98471 | -0.10733 | 0.0028985 | 0.00072644
6 | 0.98895 | -0.077296 | 0.0018579 | 0.00046564
7 | 0.98532 | -0.10301 | 0.0010471 | 0.00026244
8 | 0.99203 | -0.055912 | 0 | 0
9 | 0.99178 | -0.057678 | 0 | 0
10 | 0.99233 | -0.053844 | 0.012276 | 0.0030767
11 | 0.99779 | -0.015426 | 0 | 0
12 | 0.99413 | -0.041133 | 0 | 0
13 | 1 | 0 | -0.13375 | -0.033478
14 | 0.99388 | -0.042933 | 0 | 0
15 | 0.98329 | -0.11742 | 0 | 0
16 | 0.98328 | -0.11755 | 0.0028083 | 0.00070384
17 | 0.9834 | -0.11665 | 0.0035849 | 0.00089845
18 | 0.9845 | -0.10881 | 0 | 0
19 | 0.98401 | -0.11234 | 0.0028774 | 0.00072113
20 | 0.98947 | -0.073665 | 0.0059969 | 0.001503
21 | 0.98489 | -0.10604 | 0.0031926 | 0.00080015
22 | 0.99421 | -0.040437 | 0.0027464 | 0.0006883
23 | 0.99421 | -0.040389 | 0 | 0
24 | 0.98411 | -0.11161 | 0.0065963 | 0.0016532
25 | 0.98481 | -0.1066 | 0.00268 | 0.00067166
26 | 0.98387 | -0.1133 | 0.0064704 | 0.0016216
27 | 0.99053 | -0.066129 | 0.0032249 | 0.00080823
28 | 0.99095 | -0.063186 | 0.0068132 | 0.0017076
29 | 0.99199 | -0.055904 | 0.0031332 | 0.00078527
30 | 0.99387 | -0.042689 | 0.0094196 | 0.0023608
31 | 0.99579 | -0.029311 | 0 | 0
32 | 0.99675 | -0.022576 | 0 | 0
33 | 0.99708 | -0.020332 | 0.0034379 | 0.00086163
34 | 0.99571 | -0.029908 | 0.0033065 | 0.00082869
35 | 0.99757 | -0.016868 | 0 | 0
36 | 0.99522 | -0.033311 | 0.0021703 | 0.00054392
37 | 0.99155 | -0.05936 | 0 | 0
38 | 0.99169 | -0.058325 | 0.0018466 | 0.0004628
39 | 0.99382 | -0.043298 | 0.0013128 | 0.00032902
40 | 0.99149 | -0.059775 | 0.0025882 | 0.00064866
41 | 0.9916 | -0.059003 | 0.001361 | 0.00034111
42 | 0.99163 | -0.058757 | 0.00098017 | 0.00024565
43 | 0.99106 | -0.062636 | 0.0042947 | 0.0010764
44 | 0.99125 | -0.061247 | 0.0030618 | 0.00076735
45 | 0.991 | -0.06306 | 0.0050685 | 0.0012703
46 | 0.99134 | -0.06064 | 0.0032877 | 0.00082397
47 | 0.99157 | -0.059014 | 0.003089 | 0.00077417
48 | 0.99185 | -0.056996 | 0.0035678 | 0.00089417
49 | 0.99197 | -0.056167 | 0.0019989 | 0.00050097
50 | 0.99275 | -0.050694 | 0.0030173 | 0.00075622
51 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0026855 | -0.00067305 | 0.0026856 | 0.00067298 | 7.8366e-08 | -6.7468e-08 | 0.0040519 | 0.0040519 | 0.0040519 | 0.98621 | -0.096672 | 0.98624 | -0.096461 | 1.5007
1 | 0.012198 | 0.003058 | -0.012187 | -0.0030543 | 1.1475e-05 | 3.7213e-06 | 0.018404 | 0.018405 | 0.018405 | 0.98624 | -0.096461 | 0.98528 | -0.10326 | 6.8165
2 | -0.03885 | -0.0097416 | 0.038928 | 0.0097712 | 7.7992e-05 | 2.9532e-05 | 0.058618 | 0.058618 | 0.058618 | 0.98624 | -0.096461 | 0.98828 | -0.082004 | 21.7105
3 | 0.023967 | 0.0060106 | -0.023953 | -0.0060057 | 1.3465e-05 | 4.9683e-06 | 0.036162 | 0.036162 | 0.036162 | 0.98624 | -0.096461 | 0.98567 | -0.10052 | 13.3934
4 | 0.012187 | 0.0030543 | -0.01218 | -0.0030521 | 6.8699e-06 | 2.2286e-06 | 0.018405 | 0.018405 | 0.018405 | 0.98528 | -0.10326 | 0.98471 | -0.10733 | 6.8166
5 | -0.041923 | -0.010522 | 0.04195 | 0.010532 | 2.7419e-05 | 1.0404e-05 | 0.063127 | 0.063127 | 0.063127 | 0.98828 | -0.082004 | 0.98895 | -0.077296 | 23.3804
6 | 0.020013 | 0.0050181 | -0.020006 | -0.0050156 | 6.9127e-06 | 2.5041e-06 | 0.030214 | 0.030214 | 0.030214 | 0.98567 | -0.10052 | 0.98532 | -0.10301 | 11.1902
7 | 0.0092812 | 0.0023256 | -0.0092793 | -0.0023251 | 1.8943e-06 | 5.3229e-07 | 0.014025 | 0.014025 | 0.014025 | 0.98471 | -0.10733 | 0.9845 | -0.10881 | 5.1944
8 | -0.043808 | -0.010998 | 0.04383 | 0.011006 | 2.2104e-05 | 8.397e-06 | 0.065922 | 0.065922 | 0.065922 | 0.98895 | -0.077296 | 0.98947 | -0.073665 | 24.4157
9 | 0.018959 | 0.0047532 | -0.018951 | -0.0047503 | 7.9449e-06 | 2.858e-06 | 0.028632 | 0.028632 | 0.028632 | 0.98532 | -0.10301 | 0.98489 | -0.10604 | 10.6046
10 | 0.0067789 | 0.0016973 | -0.0067773 | -0.001697 | 1.6543e-06 | 3.0526e-07 | 0.010168 | 0.010168 | 0.010168 | 0.99203 | -0.055912 | 0.99178 | -0.057678 | 3.7658
11 | -0.0067789 | -0.0016973 | 0.0067809 | 0.0016977 | 1.9372e-06 | 3.5724e-07 | 0.010168 | 0.010167 | 0.010168 | 0.99203 | -0.055912 | 0.99233 | -0.053844 | 3.7658
12 | 0.0025889 | 0.00064792 | -0.0025883 | -0.00064851 | 6.018e-07 | -5.933e-07 | 0.0038839 | 0.0038842 | 0.0038842 | 0.99178 | -0.057678 | 0.99155 | -0.05936 | 1.4386
13 | 0.0041884 | 0.0010491 | -0.004188 | -0.0010492 | 3.7492e-07 | -5.2142e-08 | 0.0062838 | 0.0062838 | 0.0062838 | 0.99178 | -0.057678 | 0.99169 | -0.058325 | 2.3274
14 | -0.019057 | -0.0047744 | 0.019091 | 0.0047865 | 3.3566e-05 | 1.2057e-05 | 0.028576 | 0.028576 | 0.028576 | 0.99233 | -0.053844 | 0.99413 | -0.041133 | 10.5837
15 | 0.020477 | 0.0051399 | -0.020404 | -0.0051135 | 7.2852e-05 | 2.6391e-05 | 0.03054 | 0.03054 | 0.03054 | 0.99779 | -0.015426 | 0.99413 | -0.041133 | 11.3113
16 | -0.020477 | -0.0051399 | 0.020521 | 0.0051558 | 4.3955e-05 | 1.5917e-05 | 0.03054 | 0.03054 | 0.03054 | 0.99779 | -0.015426 | 1 | 0 | 11.3111
17 | 0.0013132 | 0.00032706 | -0.0013129 | -0.00032869 | 3.2482e-07 | -1.6223e-06 | 0.0019649 | 0.0019655 | 0.0019655 | 0.99413 | -0.041133 | 0.99388 | -0.042933 | 0.72795
18 | 0.11243 | 0.028323 | -0.11216 | -0.028222 | 0.00026462 | 0.00010098 | 0.16734 | 0.16734 | 0.16734 | 1 | 0 | 0.99757 | -0.016868 | 30.9897
19 | 0.0013129 | 0.00032869 | -0.0013128 | -0.00032902 | 6.6373e-08 | -3.3125e-07 | 0.0019655 | 0.0019656 | 0.0019656 | 0.99388 | -0.042933 | 0.99382 | -0.043298 | 0.728
20 | 0.0028084 | 0.0007038 | -0.0028083 | -0.00070384 | 5.0492e-08 | -3.7406e-08 | 0.0042499 | 0.0042499 | 0.0042499 | 0.98329 | -0.11742 | 0.98328 | -0.11755 | 1.574
21 | -0.0028084 | -0.0007038 | 0.0028087 | 0.00070358 | 2.9855e-07 | -2.2123e-07 | 0.0042499 | 0.0042498 | 0.0042499 | 0.98329 | -0.11742 | 0.9834 | -0.11665 | 1.574
22 | -0.0063936 | -0.001602 | 0.0063974 | 0.0016027 | 3.8068e-06 | 6.3659e-07 | 0.0096742 | 0.0096739 | 0.0096742 | 0.9834 | -0.11665 | 0.98401 | -0.11234 | 3.583
23 | 0.0092793 | 0.0023251 | -0.0092747 | -0.0023238 | 4.5422e-06 | 1.2767e-06 | 0.014025 | 0.014025 | 0.014025 | 0.9845 | -0.10881 | 0.98401 | -0.11234 | 5.1944
24 | -0.049827 | -0.012509 | 0.04988 | 0.012529 | 5.221e-05 | 1.9889e-05 | 0.074941 | 0.074941 | 0.074941 | 0.98947 | -0.073665 | 0.99053 | -0.066129 | 27.7559
25 | 0.015758 | 0.0039502 | -0.015757 | -0.0039498 | 1.2255e-06 | 4.2728e-07 | 0.023809 | 0.023809 | 0.023809 | 0.98489 | -0.10604 | 0.98481 | -0.1066 | 8.8181
26 | -0.0027464 | -0.0006883 | 0.0027464 | 0.00068829 | 1.8097e-08 | -1.5299e-08 | 0.0041105 | 0.0041104 | 0.0041105 | 0.99421 | -0.040437 | 0.99421 | -0.040389 | 1.5224
27 | -0.030204 | -0.0075781 | 0.030234 | 0.0075893 | 2.969e-05 | 1.1117e-05 | 0.045209 | 0.045209 | 0.045209 | 0.99421 | -0.040389 | 0.99522 | -0.033311 | 16.7441
28 | 0.027458 | 0.0068898 | -0.027419 | -0.0068753 | 3.9208e-05 | 1.4598e-05 | 0.041099 | 0.041099 | 0.041099 | 0.99421 | -0.040389 | 0.99275 | -0.050694 | 15.2218
29 | -0.013068 | -0.0032751 | 0.013077 | 0.0032781 | 9.0746e-06 | 3.0166e-06 | 0.01976 | 0.01976 | 0.01976 | 0.98411 | -0.11161 | 0.98481 | -0.1066 | 7.3184
30 | 0.0064719 | 0.0016219 | -0.0064704 | -0.0016216 | 1.5159e-06 | 2.608e-07 | 0.0097857 | 0.0097858 | 0.0097858 | 0.98411 | -0.11161 | 0.98387 | -0.1133 | 3.6244
31 | -0.053105 | -0.013337 | 0.053126 | 0.013345 | 2.1739e-05 | 8.2906e-06 | 0.079785 | 0.079785 | 0.079785 | 0.99053 | -0.066129 | 0.99095 | -0.063186 | 29.5501
32 | -0.059939 | -0.015053 | 0.06 | 0.015076 | 6.0731e-05 | 2.3203e-05 | 0.090016 | 0.090016 | 0.090016 | 0.99095 | -0.063186 | 0.99199 | -0.055904 | 33.3393
33 | -0.063133 | -0.015862 | 0.06325 | 0.015906 | 0.00011629 | 4.4459e-05 | 0.094716 | 0.094716 | 0.094716 | 0.99199 | -0.055904 | 0.99387 | -0.042689 | 35.08
34 | -0.072669 | -0.018267 | 0.072805 | 0.018319 | 0.00013564 | 5.193e-05 | 0.10882 | 0.10882 | 0.10882 | 0.99387 | -0.042689 | 0.99579 | -0.029311 | 40.3033
35 | -0.072805 | -0.018319 | 0.072874 | 0.018345 | 6.8482e-05 | 2.6219e-05 | 0.10882 | 0.10882 | 0.10882 | 0.99579 | -0.029311 | 0.99675 | -0.022576 | 40.3033
36 | -0.10864 | -0.027326 | 0.10867 | 0.027339 | 3.4013e-05 | 1.2974e-05 | 0.16221 | 0.16221 | 0.16221 | 0.99675 | -0.022576 | 0.99708 | -0.020332 | 30.0396
37 | 0.035763 | 0.0089814 | -0.035726 | -0.0089676 | 3.6411e-05 | 1.3738e-05 | 0.053395 | 0.053395 | 0.053395 | 0.99675 | -0.022576 | 0.99571 | -0.029908 | 19.776
38 | -0.11211 | -0.028201 | 0.11216 | 0.028222 | 5.4191e-05 | 2.0681e-05 | 0.16734 | 0.16734 | 0.16734 | 0.99708 | -0.020332 | 0.99757 | -0.016868 | 30.9897
39 | 0.03242 | 0.0081389 | -0.032404 | -0.0081332 | 1.5316e-05 | 5.755e-06 | 0.048454 | 0.048454 | 0.048454 | 0.99571 | -0.029908 | 0.99522 | -0.033311 | 17.9459
40 | 0.0025883 | 0.00064851 | -0.0025882 | -0.00064866 | 1.4838e-07 | -1.462e-07 | 0.0038842 | 0.0038843 | 0.0038843 | 0.99155 | -0.05936 | 0.99149 | -0.059775 | 1.4386
41 | 0.0023414 | 0.00058637 | -0.0023413 | -0.00058655 | 1.3968e-07 | -1.8027e-07 | 0.0035131 | 0.0035132 | 0.0035132 | 0.99169 | -0.058325 | 0.99163 | -0.058757 | 1.3012
42 | -0.001361 | -0.00034111 | 0.0013611 | 0.0003409 | 4.6257e-08 | -2.1146e-07 | 0.0020424 | 0.0020423 | 0.0020424 | 0.9916 | -0.059003 | 0.99163 | -0.058757 | 0.75645
43 | -0.0093636 | -0.0023467 | 0.0093654 | 0.0023472 | 1.8005e-06 | 5.0434e-07 | 0.014059 | 0.014059 | 0.014059 | 0.99106 | -0.062636 | 0.99125 | -0.061247 | 5.207
44 | 0.0050688 | 0.0012703 | -0.0050685 | -0.0012703 | 2.9773e-07 | 8.3694e-09 | 0.0076105 | 0.0076106 | 0.0076106 | 0.99106 | -0.062636 | 0.991 | -0.06306 | 2.8187
45 | -0.012427 | -0.0031145 | 0.012428 | 0.0031149 | 1.0437e-06 | 3.3945e-07 | 0.018655 | 0.018655 | 0.018655 | 0.99125 | -0.061247 | 0.99134 | -0.06064 | 6.9092
46 | -0.015716 | -0.0039388 | 0.015719 | 0.0039401 | 3.5395e-06 | 1.2299e-06 | 0.02359 | 0.02359 | 0.02359 | 0.99134 | -0.06064 | 0.99157 | -0.059014 | 8.737
47 | -0.018808 | -0.0047142 | 0.018814 | 0.0047161 | 5.255e-06 | 1.8848e-06 | 0.028225 | 0.028225 | 0.028225 | 0.99157 | -0.059014 | 0.99185 | -0.056996 | 10.4538
48 | -0.022381 | -0.0056103 | 0.022384 | 0.0056112 | 2.5726e-06 | 9.4225e-07 | 0.033578 | 0.033578 | 0.033578 | 0.99185 | -0.056996 | 0.99197 | -0.056167 | 12.4362
49 | -0.024383 | -0.0061122 | 0.024401 | 0.006119 | 1.8495e-05 | 6.8274e-06 | 0.036576 | 0.036576 | 0.036576 | 0.99197 | -0.056167 | 0.99275 | -0.050694 | 13.5467

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.13742 | 0.034399

## res_load
| p_mw | q_mvar
0 | 0.0026855 | 0.00067305
1 | 0.0029946 | 0.00075051
2 | 0.0039403 | 0.00098754
3 | 0.0028985 | 0.00072644
4 | 0.0018579 | 0.00046564
5 | 0.0010471 | 0.00026244
6 | 0.012276 | 0.0030767
7 | 0.0036744 | 0.00092088
8 | 0.0028083 | 0.00070384
9 | 0.0035849 | 0.00089845
10 | 0.0028774 | 0.00072113
11 | 0.0059969 | 0.001503
12 | 0.0031926 | 0.00080015
13 | 0.0027464 | 0.0006883
14 | 0.0065963 | 0.0016532
15 | 0.00268 | 0.00067166
16 | 0.0064704 | 0.0016216
17 | 0.0032249 | 0.00080823
18 | 0.0068132 | 0.0017076
19 | 0.0031332 | 0.00078527
20 | 0.0094196 | 0.0023608
21 | 0.0034379 | 0.00086163
22 | 0.0033065 | 0.00082869
23 | 0.0021703 | 0.00054392
24 | 0.0018466 | 0.0004628
25 | 0.0013128 | 0.00032902
26 | 0.0025882 | 0.00064866
27 | 0.001361 | 0.00034111
28 | 0.00098017 | 0.00024565
29 | 0.0042947 | 0.0010764
30 | 0.0030618 | 0.00076735
31 | 0.0050685 | 0.0012703
32 | 0.0032877 | 0.00082397
33 | 0.003089 | 0.00077417
34 | 0.0035678 | 0.00089417
35 | 0.0019989 | 0.00050097
36 | 0.0030173 | 0.00075622

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1