## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3291-6_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3291-6_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3291-6_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3291-6_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3291-6_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3291-6_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3291-6_0_6_node_104 | 0.4 | n |  | TRUE
7 | bus_LV_3291-6_0_6_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_3291-6_0_6_node_70 | 0.4 | n |  | TRUE
9 | bus_LV_3291-6_0_6_node_134 | 0.4 | n |  | TRUE
10 | bus_LV_3291-6_0_6_node_135 | 0.4 | n |  | TRUE
11 | bus_LV_3291-6_0_6_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_3291-6_0_6_node_123 | 0.4 | n |  | TRUE
13 | bus_LV_3291-6_0_6_node_145 | 0.4 | n |  | TRUE
14 | bus_LV_3291-6_0_6_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_3291-6_0_6_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_3291-6_0_6_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_3291-6_0_6_node_141 | 0.4 | n |  | TRUE
18 | bus_LV_3291-6_0_6_node_133 | 0.4 | n |  | TRUE
19 | bus_LV_3291-6_0_6_node_142 | 0.4 | n |  | TRUE
20 | bus_LV_3291-6_0_6_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_3291-6_0_6_node_71 | 0.4 | n |  | TRUE
22 | bus_LV_3291-6_0_6_node_73 | 0.4 | n |  | TRUE
23 | bus_LV_3291-6_0_6_node_105 | 0.4 | n |  | TRUE
24 | bus_LV_3291-6_0_6_node_101 | 0.4 | n |  | TRUE
25 | bus_LV_3291-6_0_6_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_3291-6_0_6_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_3291-6_0_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_3291-6_0_6_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_3291-6_0_6_node_92 | 0.4 | n |  | TRUE
30 | bus_LV_3291-6_0_6_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_3291-6_0_6_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_3291-6_0_6_node_93 | 0.4 | n |  | TRUE
33 | bus_LV_3291-6_0_6_node_143 | 0.4 | n |  | TRUE
34 | bus_LV_3291-6_0_6_node_127 | 0.4 | n |  | TRUE
35 | bus_LV_3291-6_0_6_node_122 | 0.4 | n |  | TRUE
36 | bus_LV_3291-6_0_6_node_146 | 0.4 | n |  | TRUE
37 | bus_LV_3291-6_0_6_node_158 | 0.4 | n |  | TRUE
38 | bus_LV_3291-6_0_6_node_102 | 0.4 | n |  | TRUE
39 | bus_LV_3291-6_0_6_node_74 | 0.4 | n |  | TRUE
40 | bus_LV_3291-6_0_6_node_75 | 0.4 | n |  | TRUE
41 | bus_LV_3291-6_0_6_node_76 | 0.4 | n |  | TRUE
42 | bus_LV_3291-6_0_6_node_77 | 0.4 | n |  | TRUE
43 | bus_LV_3291-6_0_6_node_78 | 0.4 | n |  | TRUE
44 | bus_LV_3291-6_0_6_node_139 | 0.4 | n |  | TRUE
45 | bus_LV_3291-6_0_6_node_82 | 0.4 | n |  | TRUE
46 | bus_LV_3291-6_0_6_node_148 | 0.4 | n |  | TRUE
47 | bus_LV_3291-6_0_6_node_84 | 0.4 | n |  | TRUE
48 | bus_LV_3291-6_0_6_node_87 | 0.4 | n |  | TRUE
49 | bus_LV_3291-6_0_6_node_80 | 0.4 | n |  | TRUE
50 | bus_LV_3291-6_0_6_node_79 | 0.4 | n |  | TRUE
51 | bus_LV_3291-6_0_6_node_83 | 0.4 | n |  | TRUE
52 | bus_LV_3291-6_0_6_node_81 | 0.4 | n |  | TRUE
53 | bus_LV_3291-6_0_6_node_85 | 0.4 | n |  | TRUE
54 | bus_LV_3291-6_0_6_node_86 | 0.4 | n |  | TRUE
55 | bus_LV_3291-6_0_6_node_110 | 0.4 | n |  | TRUE
56 | bus_LV_3291-6_0_6_node_107 | 0.4 | n |  | TRUE
57 | bus_LV_3291-6_0_6_node_136 | 0.4 | n |  | TRUE
58 | bus_LV_3291-6_0_6_node_111 | 0.4 | n |  | TRUE
59 | bus_LV_3291-6_0_6_node_140 | 0.4 | n |  | TRUE
60 | bus_LV_3291-6_0_6_node_106 | 0.4 | n |  | TRUE
61 | bus_LV_3291-6_0_6_node_108 | 0.4 | n |  | TRUE
62 | bus_LV_3291-6_0_6_node_137 | 0.4 | n |  | TRUE
63 | bus_LV_3291-6_0_6_node_112 | 0.4 | n |  | TRUE
64 | bus_LV_3291-6_0_6_node_103 | 0.4 | n |  | TRUE
65 | bus_LV_3291-6_0_6_node_94 | 0.4 | n |  | TRUE
66 | bus_LV_3291-6_0_6_node_109 | 0.4 | n |  | TRUE
67 | bus_LV_3291-6_0_6_node_113 | 0.4 | n |  | TRUE
68 | bus_LV_3291-6_0_6_node_114 | 0.4 | n |  | TRUE
69 | bus_LV_3291-6_0_6_node_115 | 0.4 | n |  | TRUE
70 | bus_LV_3291-6_0_6_node_116 | 0.4 | n |  | TRUE
71 | bus_LV_3291-6_0_6_node_117 | 0.4 | n |  | TRUE
72 | bus_LV_3291-6_0_6_node_118 | 0.4 | n |  | TRUE
73 | bus_LV_3291-6_0_6_node_119 | 0.4 | n |  | TRUE
74 | bus_LV_3291-6_0_6_node_120 | 0.4 | n |  | TRUE
75 | bus_LV_3291-6_0_6_node_124 | 0.4 | n |  | TRUE
76 | bus_LV_3291-6_0_6_node_121 | 0.4 | n |  | TRUE
77 | bus_LV_3291-6_0_6_node_125 | 0.4 | n |  | TRUE
78 | bus_LV_3291-6_0_6_node_126 | 0.4 | n |  | TRUE
79 | bus_LV_3291-6_0_6_node_129 | 0.4 | n |  | TRUE
80 | bus_LV_3291-6_0_6_node_130 | 0.4 | n |  | TRUE
81 | bus_LV_3291-6_0_6_node_128 | 0.4 | n |  | TRUE
82 | bus_LV_3291-6_0_6_node_131 | 0.4 | n |  | TRUE
83 | bus_LV_3291-6_0_6_node_132 | 0.4 | n |  | TRUE
84 | bus_LV_3291-6_0_6_node_138 | 0.4 | n |  | TRUE
85 | bus_LV_3291-6_0_6_node_147 | 0.4 | n |  | TRUE
86 | bus_LV_3291-6_0_6_node_144 | 0.4 | n |  | TRUE
87 | bus_LV_3291-6_0_6_node_150 | 0.4 | n |  | TRUE
88 | bus_LV_3291-6_0_6_node_149 | 0.4 | n |  | TRUE
89 | bus_MV_149_0_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3291-6_0_6_load_0 | 0 | 0.0051724 | 0.0012963 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3291-6_0_6_load_1 | 1 | 0.0011078 | 0.00027765 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3291-6_0_6_load_3 | 3 | 0.0021016 | 0.00052671 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3291-6_0_6_load_5 | 5 | 0.0019589 | 0.00049095 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3291-6_0_6_load_70 | 8 | 0.0028272 | 0.00070856 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3291-6_0_6_load_134 | 9 | 0.0020548 | 0.00051498 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3291-6_0_6_load_135 | 10 | 0.0011141 | 0.00027921 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3291-6_0_6_load_145 | 13 | 0.0064812 | 0.0016243 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3291-6_0_6_load_141 | 17 | 0.0019458 | 0.00048766 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3291-6_0_6_load_133 | 18 | 0.0018018 | 0.00045158 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3291-6_0_6_load_142 | 19 | 0.0015024 | 0.00037653 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3291-6_0_6_load_71 | 21 | 0.0031692 | 0.00079429 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3291-6_0_6_load_101 | 24 | 0.0027306 | 0.00068436 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3291-6_0_6_load_28 | 25 | 0.00043554 | 0.00010916 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3291-6_0_6_load_20 | 28 | 0.00018554 | 4.65e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3291-6_0_6_load_92 | 29 | 0.019422 | 0.0048677 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3291-6_0_6_load_18 | 30 | 0.0022422 | 0.00056195 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3291-6_0_6_load_19 | 31 | 0.0028188 | 0.00070645 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3291-6_0_6_load_143 | 33 | 0.00042194 | 0.00010575 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3291-6_0_6_load_127 | 34 | 0.0012225 | 0.00030639 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3291-6_0_6_load_122 | 35 | 0.0013324 | 0.00033392 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3291-6_0_6_load_146 | 36 | 0.001371 | 0.00034359 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3291-6_0_6_load_158 | 37 | 0.011558 | 0.0028967 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3291-6_0_6_load_102 | 38 | 0.0068001 | 0.0017043 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3291-6_0_6_load_74 | 39 | 0.0043622 | 0.0010933 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3291-6_0_6_load_75 | 40 | 0.00061866 | 0.00015505 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3291-6_0_6_load_78 | 43 | 0.0019132 | 0.0004795 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3291-6_0_6_load_148 | 46 | 0.00048465 | 0.00012147 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3291-6_0_6_load_79 | 50 | 0.00034036 | 8.5302e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3291-6_0_6_load_86 | 54 | 0.00064135 | 0.00016074 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3291-6_0_6_load_110 | 55 | 0.00043313 | 0.00010855 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3291-6_0_6_load_107 | 56 | 0.001195 | 0.0002995 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3291-6_0_6_load_136 | 57 | 0.00042775 | 0.0001072 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3291-6_0_6_load_111 | 58 | 0.00068269 | 0.0001711 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3291-6_0_6_load_140 | 59 | 0.00043347 | 0.00010864 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3291-6_0_6_load_106 | 60 | 0.0028225 | 0.00070739 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3291-6_0_6_load_108 | 61 | 0.0020364 | 0.00051036 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3291-6_0_6_load_137 | 62 | 0.00047067 | 0.00011796 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3291-6_0_6_load_103 | 64 | 0.01124 | 0.002817 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3291-6_0_6_load_94 | 65 | 0.0049081 | 0.0012301 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3291-6_0_6_load_109 | 66 | 0.0048384 | 0.0012126 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3291-6_0_6_load_113 | 67 | 0.0010323 | 0.00025872 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3291-6_0_6_load_114 | 68 | 0.0012882 | 0.00032285 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3291-6_0_6_load_115 | 69 | 0.0017703 | 0.00044367 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3291-6_0_6_load_116 | 70 | 0.0014179 | 0.00035535 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3291-6_0_6_load_118 | 72 | 0.0017307 | 0.00043376 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3291-6_0_6_load_119 | 73 | 0.0011344 | 0.0002843 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3291-6_0_6_load_120 | 74 | 0.0015073 | 0.00037778 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3291-6_0_6_load_124 | 75 | 0.0020597 | 0.0005162 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3291-6_0_6_load_121 | 76 | 0.0033566 | 0.00084125 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3291-6_0_6_load_125 | 77 | 0.00097453 | 0.00024424 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3291-6_0_6_load_126 | 78 | 0.00097401 | 0.00024411 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3291-6_0_6_load_129 | 79 | 0.0037232 | 0.00093313 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3291-6_0_6_load_130 | 80 | 0.0028581 | 0.00071631 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3291-6_0_6_load_128 | 81 | 0.0011586 | 0.00029038 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3291-6_0_6_load_131 | 82 | 0.0040479 | 0.0010145 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3291-6_0_6_load_132 | 83 | 0.0022846 | 0.00057257 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3291-6_0_6_load_147 | 85 | 0.00054695 | 0.00013708 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3291-6_0_6_load_144 | 86 | 0.00038225 | 9.58e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3291-6_0_6_load_150 | 87 | 0.00039683 | 9.9455e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3291-6_0_6_load_149 | 88 | 0.00084084 | 0.00021073 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3291-6_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.13668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3291-6_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.028403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3291-6_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.024138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3291-6_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.039749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3291-6_0_6_line_4 | NAYY 4x150 SE | 2 | 5 | 0.047923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3291-6_0_6_line_5 | NAYY 4x150 SE | 3 | 6 | 0.044822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3291-6_0_6_line_6 | NAYY 4x150 SE | 4 | 7 | 0.49832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_3291-6_0_6_line_7 | NAYY 4x150 SE | 4 | 8 | 0.043059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_3291-6_0_6_line_8 | NAYY 4x150 SE | 5 | 9 | 0.0090765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3291-6_0_6_line_9 | NAYY 4x150 SE | 6 | 10 | 0.1112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3291-6_0_6_line_10 | NAYY 4x150 SE | 7 | 25 | 0.13634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_3291-6_0_6_line_11 | NAYY 4x150 SE | 8 | 21 | 0.031659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_3291-6_0_6_line_12 | NAYY 4x150 SE | 11 | 12 | 0.040364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_3291-6_0_6_line_13 | NAYY 4x150 SE | 11 | 13 | 0.026984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3291-6_0_6_line_14 | NAYY 4x150 SE | 11 | 14 | 0.042439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_3291-6_0_6_line_15 | NAYY 4x150 SE | 12 | 34 | 0.017978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3291-6_0_6_line_16 | NAYY 4x150 SE | 12 | 35 | 0.028636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_3291-6_0_6_line_17 | NAYY 4x150 SE | 13 | 36 | 0.032153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3291-6_0_6_line_18 | NAYY 4x150 SE | 14 | 18 | 0.040214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_3291-6_0_6_line_19 | NAYY 4x150 SE | 15 | 16 | 0.061081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3291-6_0_6_line_20 | NAYY 4x150 SE | 15 | 17 | 0.076245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3291-6_0_6_line_21 | NAYY 4x150 SE | 16 | 19 | 0.072387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3291-6_0_6_line_22 | NAYY 4x150 SE | 18 | 20 | 0.023526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_3291-6_0_6_line_23 | NAYY 4x150 SE | 19 | 33 | 0.04431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3291-6_0_6_line_24 | NAYY 4x150 SE | 20 | 21 | 0.012368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_3291-6_0_6_line_25 | NAYY 4x150 SE | 22 | 23 | 0.95951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_3291-6_0_6_line_26 | NAYY 4x150 SE | 22 | 24 | 0.068956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_3291-6_0_6_line_27 | NAYY 4x150 SE | 23 | 37 | 0.090967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3291-6_0_6_line_28 | NAYY 4x150 SE | 24 | 38 | 0.044256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_3291-6_0_6_line_29 | NAYY 4x150 SE | 25 | 26 | 0.050508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_3291-6_0_6_line_30 | NAYY 4x150 SE | 26 | 27 | 0.76505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_3291-6_0_6_line_31 | NAYY 4x150 SE | 26 | 28 | 0.071905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3291-6_0_6_line_32 | NAYY 4x150 SE | 27 | 29 | 0.11677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3291-6_0_6_line_33 | NAYY 4x150 SE | 28 | 31 | 0.087333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3291-6_0_6_line_34 | NAYY 4x150 SE | 29 | 32 | 0.039035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3291-6_0_6_line_35 | NAYY 4x150 SE | 30 | 31 | 0.029747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3291-6_0_6_line_36 | NAYY 4x150 SE | 32 | 65 | 0.0435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3291-6_0_6_line_37 | NAYY 4x150 SE | 33 | 86 | 0.020613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3291-6_0_6_line_38 | NAYY 4x150 SE | 34 | 78 | 0.022676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3291-6_0_6_line_39 | NAYY 4x150 SE | 35 | 68 | 0.023849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_3291-6_0_6_line_40 | NAYY 4x150 SE | 38 | 64 | 0.0095224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_3291-6_0_6_line_41 | NAYY 4x150 SE | 39 | 40 | 0.028043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3291-6_0_6_line_42 | NAYY 4x150 SE | 39 | 41 | 0.023458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3291-6_0_6_line_43 | NAYY 4x150 SE | 40 | 42 | 0.028686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3291-6_0_6_line_44 | NAYY 4x150 SE | 41 | 43 | 0.013394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3291-6_0_6_line_45 | NAYY 4x150 SE | 42 | 44 | 0.003727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3291-6_0_6_line_46 | NAYY 4x150 SE | 43 | 45 | 0.020181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3291-6_0_6_line_47 | NAYY 4x150 SE | 44 | 46 | 0.027416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3291-6_0_6_line_48 | NAYY 4x150 SE | 44 | 47 | 0.02826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3291-6_0_6_line_49 | NAYY 4x150 SE | 45 | 48 | 0.009981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_3291-6_0_6_line_50 | NAYY 4x150 SE | 45 | 49 | 0.030832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_3291-6_0_6_line_51 | NAYY 4x150 SE | 46 | 88 | 0.025177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3291-6_0_6_line_52 | NAYY 4x150 SE | 47 | 57 | 0.016939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3291-6_0_6_line_53 | NAYY 4x150 SE | 48 | 60 | 0.027972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_3291-6_0_6_line_54 | NAYY 4x150 SE | 49 | 51 | 0.012483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_3291-6_0_6_line_55 | NAYY 4x150 SE | 49 | 50 | 0.035861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3291-6_0_6_line_56 | NAYY 4x150 SE | 51 | 55 | 0.020041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_3291-6_0_6_line_57 | NAYY 4x150 SE | 51 | 56 | 0.036557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3291-6_0_6_line_58 | NAYY 4x150 SE | 52 | 53 | 0.026404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3291-6_0_6_line_59 | NAYY 4x150 SE | 52 | 54 | 0.042525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3291-6_0_6_line_60 | NAYY 4x150 SE | 53 | 58 | 0.013475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_3291-6_0_6_line_61 | NAYY 4x150 SE | 53 | 55 | 0.028692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_3291-6_0_6_line_62 | NAYY 4x150 SE | 54 | 59 | 0.028027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3291-6_0_6_line_63 | NAYY 4x150 SE | 56 | 61 | 0.0051312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3291-6_0_6_line_64 | NAYY 4x150 SE | 57 | 62 | 0.008453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3291-6_0_6_line_65 | NAYY 4x150 SE | 58 | 63 | 0.023138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_3291-6_0_6_line_66 | NAYY 4x150 SE | 60 | 64 | 0.029332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_3291-6_0_6_line_67 | NAYY 4x150 SE | 61 | 66 | 0.020473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3291-6_0_6_line_68 | NAYY 4x150 SE | 62 | 84 | 0.040319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3291-6_0_6_line_69 | NAYY 4x150 SE | 63 | 67 | 0.041027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3291-6_0_6_line_70 | NAYY 4x150 SE | 63 | 68 | 0.023233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_3291-6_0_6_line_71 | NAYY 4x150 SE | 67 | 69 | 0.02048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3291-6_0_6_line_72 | NAYY 4x150 SE | 69 | 70 | 0.0026329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3291-6_0_6_line_73 | NAYY 4x150 SE | 70 | 71 | 0.01862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3291-6_0_6_line_74 | NAYY 4x150 SE | 71 | 72 | 0.01004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3291-6_0_6_line_75 | NAYY 4x150 SE | 71 | 73 | 0.032626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3291-6_0_6_line_76 | NAYY 4x150 SE | 72 | 74 | 0.020601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3291-6_0_6_line_77 | NAYY 4x150 SE | 73 | 75 | 0.024873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3291-6_0_6_line_78 | NAYY 4x150 SE | 74 | 76 | 0.00021666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3291-6_0_6_line_79 | NAYY 4x150 SE | 75 | 77 | 0.0023438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3291-6_0_6_line_80 | NAYY 4x150 SE | 77 | 79 | 0.020634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3291-6_0_6_line_81 | NAYY 4x150 SE | 78 | 81 | 0.0087798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3291-6_0_6_line_82 | NAYY 4x150 SE | 79 | 80 | 0.002799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3291-6_0_6_line_83 | NAYY 4x150 SE | 80 | 82 | 0.024142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3291-6_0_6_line_84 | NAYY 4x150 SE | 82 | 83 | 0.0029551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3291-6_0_6_line_85 | NAYY 4x150 SE | 84 | 85 | 0.016855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3291-6_0_6_line_86 | NAYY 4x150 SE | 84 | 86 | 0.036416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3291-6_0_6_line_87 | NAYY 4x150 SE | 85 | 87 | 0.0035739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3291-6_0_6_trafo_70 | 0.25 MVA 20/0.4 kV | 89 | 8 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33
0 | 2756103.5115 | 1208953.539 | 2756094.1402 | 1208939.868 | 2756096.9792 | 1208928.4655 | 2756091.3398 | 1208904.4633 | 2756082.554 | 1208869.0242 | 2756072.6155 | 1208832.5763 | 2756070.4413 | 1208823.4181
1 | 2756119.5707 | 1208976.9663 | 2756103.5115 | 1208953.539
2 | 2756065.7466 | 1208799.9955 | 2756067.9459 | 1208804.3513 | 2756069.4434 | 1208819.2148 | 2756070.4413 | 1208823.4181
3 | 2756119.5707 | 1208976.9663 | 2756144.3819 | 1209008.0764
4 | 2756119.5707 | 1208976.9663 | 2756160.6596 | 1208952.3013
5 | 2756034.5408 | 1208769.647 | 2756050.261 | 1208777.8875 | 2756063.0067 | 1208794.569 | 2756065.7466 | 1208799.9955
6 | 2755899.9311 | 1209434.7989 | 2755934.1624 | 1209351.9973 | 2755940.8562 | 1209339.7613 | 2755958.0874 | 1209307.9166 | 2755972.9369 | 1209286.2965 | 2755992.7221 | 1209261.5027 | 2756043.6333 | 1209210.188 | 2756050.724 | 1209180.18 | 2756063.5689 | 1209140.1469 | 2756071.5436 | 1209119.0922 | 2756073.1939 | 1209114.7426 | 2756100.9001 | 1209070.1164 | 2756139.8983 | 1209014.8874 | 2756144.3819 | 1209008.0764
7 | 2756144.3819 | 1209008.0764 | 2756157.2646 | 1208991.0316 | 2756171.5526 | 1208980.7407 | 2756175.2376 | 1208978.9765
8 | 2756168.4416 | 1208947.6298 | 2756160.6596 | 1208952.3013
9 | 2756034.5408 | 1208769.647 | 2756006.7314 | 1208822.2557 | 2755955.4887 | 1208815.466
10 | 2755899.9311 | 1209434.7989 | 2755879.3495 | 1209486.5963 | 2755862.5644 | 1209518.5753 | 2755845.7333 | 1209543.5913 | 2755836.8766 | 1209554.8687
11 | 2756175.2376 | 1208978.9765 | 2756187.3437 | 1208973.1806 | 2756204.9005 | 1208968.2462
12 | 2756294.813 | 1208864.3971 | 2756286.4455 | 1208903.8798
13 | 2756286.4455 | 1208903.8798 | 2756260.1773 | 1208897.706
14 | 2756272.4307 | 1208943.4925 | 2756278.1235 | 1208934.9562 | 2756281.2573 | 1208924.5067 | 2756286.4455 | 1208903.8798
15 | 2756294.813 | 1208864.3971 | 2756277.4859 | 1208859.6033
16 | 2756294.813 | 1208864.3971 | 2756296.9762 | 1208855.29 | 2756301.1654 | 1208836.4747
17 | 2756228.8768 | 1208890.3494 | 2756260.1773 | 1208897.706
18 | 2756272.4307 | 1208943.4925 | 2756268.0129 | 1208942.2758 | 2756261.0984 | 1208953.894 | 2756239.6391 | 1208959.2264
19 | 2756353.9333 | 1209006.7391 | 2756294.2499 | 1208992.9635
20 | 2756294.2499 | 1208992.9635 | 2756310.5475 | 1208918.4809
21 | 2756353.9333 | 1209006.7391 | 2756369.6969 | 1208936.089
22 | 2756216.8071 | 1208964.8999 | 2756239.6391 | 1208959.2264
23 | 2756369.6969 | 1208936.089 | 2756373.2838 | 1208920.0132 | 2756379.6792 | 1208892.9193
24 | 2756216.8071 | 1208964.8999 | 2756204.9005 | 1208968.2462
25 | 2756108.6161 | 1208518.8053 | 2756107.681 | 1208506.8702 | 2756108.7172 | 1208476.0032 | 2756116.5202 | 1208442.6554 | 2756136.1138 | 1208405.2569 | 2756150.8456 | 1208395.7894 | 2756180.1458 | 1208388.038 | 2756198.9537 | 1208382.9812 | 2756157.6428 | 1208387.7934 | 2756135.2024 | 1208392.9999 | 2756125.9271 | 1208396.8607 | 2756080.8516 | 1208450.474 | 2756063.0576 | 1208472.317 | 2756046.6171 | 1208487.2115 | 2756021.5213 | 1208512.8115 | 2756015.3585 | 1208519.5453 | 2756008.4057 | 1208532.6308 | 2755995.7225 | 1208557.7327 | 2755989.5187 | 1208577.0878 | 2755960.7644 | 1208605.8953 | 2755929.704 | 1208618.7619 | 2755872.7648 | 1208633.3987 | 2755920.7018 | 1208637.7992 | 2755914.2993 | 1208665.3453 | 2755929.4381 | 1208660.0583 | 2755952.5909 | 1208650.5436 | 2755968.8177 | 1208645.8301 | 2755976.1863 | 1208646.7902 | 2755985.0507 | 1208651.059 | 2756004.9823 | 1208646.0421 | 2756022.827 | 1208642.2941 | 2756057.0835 | 1208645.3703 | 2756113.4672 | 1208655.1646 | 2756165.4262 | 1208671.2493
26 | 2756165.4262 | 1208671.2493 | 2756188.7568 | 1208670.0587 | 2756217.3882 | 1208664.8479 | 2756233.8624 | 1208664.0562
27 | 2756108.6161 | 1208518.8053 | 2756116.4386 | 1208525.9718 | 2756124.5792 | 1208526.7966 | 2756133.5885 | 1208525.5311 | 2756148.5289 | 1208523.776 | 2756150.6224 | 1208519.6493 | 2756151.038 | 1208511.6197 | 2756154.868 | 1208501.3107 | 2756157.6309 | 1208491.6633 | 2756158.1534 | 1208477.2308
28 | 2756233.8624 | 1208664.0562 | 2756264.1146 | 1208662.6024 | 2756277.953 | 1208660.6952
29 | 2755803.4728 | 1209592.6315 | 2755820.8801 | 1209575.2371 | 2755836.8766 | 1209554.8687
30 | 2755783.8641 | 1209937.6045 | 2755670.0994 | 1209800.7026 | 2755636.1511 | 1209758.98 | 2755627.4457 | 1209754.7937 | 2755614.4039 | 1209754.4532 | 2755600.3027 | 1209761.4807 | 2755573.8318 | 1209791.9621 | 2755560.5653 | 1209801.6915 | 2755550.3195 | 1209806.9958 | 2755537.6015 | 1209809.1107 | 2755526.7911 | 1209809.2401 | 2755519.0226 | 1209804.7114 | 2755508.7885 | 1209795.5699 | 2755500.914 | 1209775.5691 | 2755560.1224 | 1209755.7058 | 2755618.9245 | 1209729.8604 | 2755654.7926 | 1209713.7927 | 2755685.9075 | 1209695.9774 | 2755711.6262 | 1209676.8647 | 2755734.1781 | 1209657.2913 | 2755803.4728 | 1209592.6315
31 | 2755803.4728 | 1209592.6315 | 2755759.0188 | 1209536.1139
32 | 2755783.8641 | 1209937.6045 | 2755881.4563 | 1209873.4857
33 | 2755705.0274 | 1209467.4706 | 2755759.0188 | 1209536.1139
34 | 2755914.0804 | 1209852.0514 | 2755881.4563 | 1209873.4857
35 | 2755686.637 | 1209444.0895 | 2755705.0274 | 1209467.4706
36 | 2755889.6826 | 1209815.993 | 2755914.0804 | 1209852.0514
37 | 2756384.4145 | 1208872.858 | 2756379.6792 | 1208892.9193
38 | 2756277.4859 | 1208859.6033 | 2756255.6308 | 1208853.5567
39 | 2756301.1654 | 1208836.4747 | 2756306.3485 | 1208813.196
40 | 2756277.953 | 1208660.6952 | 2756287.3863 | 1208659.3952
41 | 2756380.302 | 1208696.258 | 2756381.4717 | 1208701.4774 | 2756385.7103 | 1208723.7725
42 | 2756373.7887 | 1208673.9293 | 2756376.1668 | 1208677.8062 | 2756380.302 | 1208696.258
43 | 2756404.7927 | 1208741.5464 | 2756396.8734 | 1208736.6456 | 2756389.7023 | 1208733.3771 | 2756386.4955 | 1208731.5136 | 2756385.8234 | 1208724.3674 | 2756385.7103 | 1208723.7725
44 | 2756373.7887 | 1208673.9293 | 2756367.0125 | 1208670.9714 | 2756361.1482 | 1208669.7013
45 | 2756407.0889 | 1208744.487 | 2756404.7927 | 1208741.5464
46 | 2756341.4242 | 1208665.4295 | 2756361.1482 | 1208669.7013
47 | 2756407.0889 | 1208744.487 | 2756410.3201 | 1208748.6087 | 2756430.4202 | 1208757.984
48 | 2756407.0889 | 1208744.487 | 2756402.0542 | 1208772.291
49 | 2756344.0952 | 1208655.8131 | 2756341.4242 | 1208665.4295
50 | 2756341.4242 | 1208665.4295 | 2756333.5078 | 1208695.2264
51 | 2756452.2455 | 1208770.4492 | 2756438.0344 | 1208761.5354 | 2756430.4202 | 1208757.984
52 | 2756402.0542 | 1208772.291 | 2756399.4159 | 1208789.0234
53 | 2756344.0952 | 1208655.8131 | 2756335.5828 | 1208653.7994 | 2756321.0375 | 1208656.165 | 2756316.562 | 1208656.5041
54 | 2756330.5806 | 1208707.3606 | 2756333.5078 | 1208695.2264
55 | 2756333.5078 | 1208695.2264 | 2756342.3942 | 1208697.4834 | 2756352.7788 | 1208705.8407 | 2756355.343 | 1208710.1673 | 2756355.4179 | 1208714.562 | 2756354.5323 | 1208718.3993
56 | 2756330.5806 | 1208707.3606 | 2756325.9279 | 1208726.8539
57 | 2756330.5806 | 1208707.3606 | 2756326.9526 | 1208706.765 | 2756294.7661 | 1208713.4868
58 | 2756345.0986 | 1208760.5772 | 2756319.2667 | 1208754.762
59 | 2756345.0986 | 1208760.5772 | 2756336.0088 | 1208802.1189
60 | 2756319.2667 | 1208754.762 | 2756316.4159 | 1208767.9321
61 | 2756319.2667 | 1208754.762 | 2756325.9279 | 1208726.8539
62 | 2756330.0179 | 1208829.4983 | 2756336.0088 | 1208802.1189
63 | 2756294.7661 | 1208713.4868 | 2756289.7433 | 1208714.5358
64 | 2756399.4159 | 1208789.0234 | 2756398.0993 | 1208797.3732
65 | 2756311.5207 | 1208790.5466 | 2756316.4159 | 1208767.9321
66 | 2756287.3863 | 1208659.3952 | 2756298.3546 | 1208657.8836 | 2756316.562 | 1208656.5041
67 | 2756269.5407 | 1208717.6601 | 2756279.3555 | 1208716.7052 | 2756289.7433 | 1208714.5358
68 | 2756391.4385 | 1208837.1372 | 2756396.0504 | 1208810.3676 | 2756398.0993 | 1208797.3732
69 | 2756311.5207 | 1208790.5466 | 2756276.9493 | 1208783.5573 | 2756271.354 | 1208784.9096
70 | 2756311.5207 | 1208790.5466 | 2756308.8049 | 1208802.1636 | 2756306.3485 | 1208813.196
71 | 2756271.354 | 1208784.9096 | 2756251.4473 | 1208789.7211
72 | 2756248.8881 | 1208790.3397 | 2756251.4473 | 1208789.7211
73 | 2756230.7891 | 1208794.7143 | 2756248.8881 | 1208790.3397
74 | 2756230.7891 | 1208794.7143 | 2756220.9462 | 1208796.6962
75 | 2756230.7891 | 1208794.7143 | 2756212.3583 | 1208821.6352
76 | 2756220.9462 | 1208796.6962 | 2756200.7502 | 1208800.7629
77 | 2756212.3583 | 1208821.6352 | 2756198.3073 | 1208842.1588
78 | 2756200.7502 | 1208800.7629 | 2756200.5378 | 1208800.8057
79 | 2756196.9832 | 1208844.0928 | 2756198.3073 | 1208842.1588
80 | 2756196.9832 | 1208844.0928 | 2756185.3267 | 1208861.1187
81 | 2756247.1689 | 1208851.2156 | 2756255.6308 | 1208853.5567
82 | 2756185.3267 | 1208861.1187 | 2756183.7455 | 1208863.4283
83 | 2756183.7455 | 1208863.4283 | 2756173.7719 | 1208877.9962 | 2756168.4546 | 1208881.7124
84 | 2756166.0324 | 1208883.4052 | 2756168.4546 | 1208881.7124
85 | 2756391.4385 | 1208837.1372 | 2756396.9569 | 1208838.1605 | 2756408.0159 | 1208840.1815
86 | 2756391.4385 | 1208837.1372 | 2756388.353 | 1208855.0168 | 2756385.9057 | 1208866.5407 | 2756384.4145 | 1208872.858
87 | 2756408.0159 | 1208840.1815 | 2756411.5315 | 1208840.824

## bus_geodata
| x | y | coords
0 | 2756103.5115 | 1208953.539
1 | 2756070.4413 | 1208823.4181
2 | 2756119.5707 | 1208976.9663
3 | 2756065.7466 | 1208799.9955
4 | 2756144.3819 | 1209008.0764
5 | 2756160.6596 | 1208952.3013
6 | 2756034.5408 | 1208769.647
7 | 2755899.9311 | 1209434.7989
8 | 2756175.2376 | 1208978.9765
9 | 2756168.4416 | 1208947.6298
10 | 2755955.4887 | 1208815.466
11 | 2756286.4455 | 1208903.8798
12 | 2756294.813 | 1208864.3971
13 | 2756260.1773 | 1208897.706
14 | 2756272.4307 | 1208943.4925
15 | 2756294.2499 | 1208992.9635
16 | 2756353.9333 | 1209006.7391
17 | 2756310.5475 | 1208918.4809
18 | 2756239.6391 | 1208959.2264
19 | 2756369.6969 | 1208936.089
20 | 2756216.8071 | 1208964.8999
21 | 2756204.9005 | 1208968.2462
22 | 2756165.4262 | 1208671.2493
23 | 2756108.6161 | 1208518.8053
24 | 2756233.8624 | 1208664.0562
25 | 2755836.8766 | 1209554.8687
26 | 2755803.4728 | 1209592.6315
27 | 2755783.8641 | 1209937.6045
28 | 2755759.0188 | 1209536.1139
29 | 2755881.4563 | 1209873.4857
30 | 2755686.637 | 1209444.0895
31 | 2755705.0274 | 1209467.4706
32 | 2755914.0804 | 1209852.0514
33 | 2756379.6792 | 1208892.9193
34 | 2756277.4859 | 1208859.6033
35 | 2756301.1654 | 1208836.4747
36 | 2756228.8768 | 1208890.3494
37 | 2756158.1534 | 1208477.2308
38 | 2756277.953 | 1208660.6952
39 | 2756380.302 | 1208696.258
40 | 2756385.7103 | 1208723.7725
41 | 2756373.7887 | 1208673.9293
42 | 2756404.7927 | 1208741.5464
43 | 2756361.1482 | 1208669.7013
44 | 2756407.0889 | 1208744.487
45 | 2756341.4242 | 1208665.4295
46 | 2756430.4202 | 1208757.984
47 | 2756402.0542 | 1208772.291
48 | 2756344.0952 | 1208655.8131
49 | 2756333.5078 | 1208695.2264
50 | 2756354.5323 | 1208718.3993
51 | 2756330.5806 | 1208707.3606
52 | 2756345.0986 | 1208760.5772
53 | 2756319.2667 | 1208754.762
54 | 2756336.0088 | 1208802.1189
55 | 2756325.9279 | 1208726.8539
56 | 2756294.7661 | 1208713.4868
57 | 2756399.4159 | 1208789.0234
58 | 2756316.4159 | 1208767.9321
59 | 2756330.0179 | 1208829.4983
60 | 2756316.562 | 1208656.5041
61 | 2756289.7433 | 1208714.5358
62 | 2756398.0993 | 1208797.3732
63 | 2756311.5207 | 1208790.5466
64 | 2756287.3863 | 1208659.3952
65 | 2755889.6826 | 1209815.993
66 | 2756269.5407 | 1208717.6601
67 | 2756271.354 | 1208784.9096
68 | 2756306.3485 | 1208813.196
69 | 2756251.4473 | 1208789.7211
70 | 2756248.8881 | 1208790.3397
71 | 2756230.7891 | 1208794.7143
72 | 2756220.9462 | 1208796.6962
73 | 2756212.3583 | 1208821.6352
74 | 2756200.7502 | 1208800.7629
75 | 2756198.3073 | 1208842.1588
76 | 2756200.5378 | 1208800.8057
77 | 2756196.9832 | 1208844.0928
78 | 2756255.6308 | 1208853.5567
79 | 2756185.3267 | 1208861.1187
80 | 2756183.7455 | 1208863.4283
81 | 2756247.1689 | 1208851.2156
82 | 2756168.4546 | 1208881.7124
83 | 2756166.0324 | 1208883.4052
84 | 2756391.4385 | 1208837.1372
85 | 2756408.0159 | 1208840.1815
86 | 2756384.4145 | 1208872.858
87 | 2756411.5315 | 1208840.824
88 | 2756452.2455 | 1208770.4492
89 | 2756144.3819 | 1209008.0764

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1