## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3291-6_1_3_node_6 | 0.4 | n |  | TRUE
1 | bus_LV_3291-6_1_3_node_7 | 0.4 | n |  | TRUE
2 | bus_LV_3291-6_1_3_node_8 | 0.4 | n |  | TRUE
3 | bus_LV_3291-6_1_3_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_3291-6_1_3_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_3291-6_1_3_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_3291-6_1_3_node_69 | 0.4 | n |  | TRUE
7 | bus_LV_3291-6_1_3_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_3291-6_1_3_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_3291-6_1_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_3291-6_1_3_node_60 | 0.4 | n |  | TRUE
11 | bus_LV_3291-6_1_3_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_3291-6_1_3_node_89 | 0.4 | n |  | TRUE
13 | bus_LV_3291-6_1_3_node_88 | 0.4 | n |  | TRUE
14 | bus_LV_3291-6_1_3_node_157 | 0.4 | n |  | TRUE
15 | bus_LV_3291-6_1_3_node_98 | 0.4 | n |  | TRUE
16 | bus_LV_3291-6_1_3_node_151 | 0.4 | n |  | TRUE
17 | bus_LV_3291-6_1_3_node_152 | 0.4 | n |  | TRUE
18 | bus_LV_3291-6_1_3_node_153 | 0.4 | n |  | TRUE
19 | bus_LV_3291-6_1_3_node_154 | 0.4 | n |  | TRUE
20 | bus_LV_3291-6_1_3_node_155 | 0.4 | n |  | TRUE
21 | bus_LV_3291-6_1_3_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_3291-6_1_3_node_156 | 0.4 | n |  | TRUE
23 | bus_LV_3291-6_1_3_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_3291-6_1_3_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_3291-6_1_3_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_3291-6_1_3_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_3291-6_1_3_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_3291-6_1_3_node_159 | 0.4 | n |  | TRUE
29 | bus_LV_3291-6_1_3_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_3291-6_1_3_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_3291-6_1_3_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_3291-6_1_3_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_3291-6_1_3_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_3291-6_1_3_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_3291-6_1_3_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_3291-6_1_3_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_3291-6_1_3_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_3291-6_1_3_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_3291-6_1_3_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_3291-6_1_3_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_3291-6_1_3_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_3291-6_1_3_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_3291-6_1_3_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_3291-6_1_3_node_99 | 0.4 | n |  | TRUE
45 | bus_LV_3291-6_1_3_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_3291-6_1_3_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_3291-6_1_3_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_3291-6_1_3_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_3291-6_1_3_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_3291-6_1_3_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_3291-6_1_3_node_61 | 0.4 | n |  | TRUE
52 | bus_LV_3291-6_1_3_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_3291-6_1_3_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_3291-6_1_3_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_3291-6_1_3_node_95 | 0.4 | n |  | TRUE
56 | bus_LV_3291-6_1_3_node_63 | 0.4 | n |  | TRUE
57 | bus_LV_3291-6_1_3_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_3291-6_1_3_node_91 | 0.4 | n |  | TRUE
59 | bus_LV_3291-6_1_3_node_90 | 0.4 | n |  | TRUE
60 | bus_LV_3291-6_1_3_node_97 | 0.4 | n |  | TRUE
61 | bus_LV_3291-6_1_3_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_3291-6_1_3_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_3291-6_1_3_node_96 | 0.4 | n |  | TRUE
64 | bus_MV_0_node_9 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3291-6_1_3_load_6 | 0 | 0.0028261 | 0.0007083 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3291-6_1_3_load_7 | 1 | 0.0012159 | 0.00030473 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3291-6_1_3_load_10 | 4 | 0.005217 | 0.0013075 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3291-6_1_3_load_11 | 5 | 0.00031406 | 7.8711e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3291-6_1_3_load_33 | 7 | 0.00098025 | 0.00024567 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3291-6_1_3_load_89 | 12 | 0.0018316 | 0.00045904 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3291-6_1_3_load_88 | 13 | 0.00012028 | 3.0146e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3291-6_1_3_load_157 | 14 | 0.0002987 | 7.4861e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3291-6_1_3_load_151 | 16 | 0.00027093 | 6.7902e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3291-6_1_3_load_155 | 20 | 0.00067216 | 0.00016846 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3291-6_1_3_load_156 | 22 | 0.00029042 | 7.2785e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3291-6_1_3_load_29 | 24 | 0.0017184 | 0.00043067 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3291-6_1_3_load_31 | 26 | 0.00068934 | 0.00017276 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3291-6_1_3_load_45 | 27 | 0.00066258 | 0.00016606 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3291-6_1_3_load_159 | 28 | 0.0019942 | 0.0004998 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3291-6_1_3_load_34 | 29 | 0.00056879 | 0.00014255 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3291-6_1_3_load_35 | 30 | 0.0010059 | 0.0002521 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3291-6_1_3_load_36 | 31 | 0.00043037 | 0.00010786 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3291-6_1_3_load_37 | 33 | 0.00061917 | 0.00015518 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3291-6_1_3_load_44 | 36 | 0.00020693 | 5.1863e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3291-6_1_3_load_49 | 37 | 0.00012448 | 3.1198e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3291-6_1_3_load_50 | 40 | 0.00012405 | 3.1089e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3291-6_1_3_load_51 | 41 | 0.00015471 | 3.8774e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3291-6_1_3_load_99 | 44 | 0.00015121 | 3.7898e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3291-6_1_3_load_56 | 45 | 0.00013346 | 3.3447e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3291-6_1_3_load_54 | 46 | 0.00015221 | 3.8146e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3291-6_1_3_load_57 | 49 | 0.00032899 | 8.2453e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3291-6_1_3_load_59 | 50 | 6.773e-05 | 1.6975e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3291-6_1_3_load_95 | 55 | 0.000109 | 2.7318e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3291-6_1_3_load_91 | 58 | 0.00084936 | 0.00021287 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3291-6_1_3_load_90 | 59 | 0.00033061 | 8.2859e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3291-6_1_3_load_97 | 60 | 0.00012626 | 3.1645e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3291-6_1_3_load_67 | 61 | 0.0015249 | 0.00038219 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3291-6_1_3_load_68 | 62 | 9.0154e-05 | 2.2595e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3291-6_1_3_load_96 | 63 | 0.00080279 | 0.0002012 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3291-6_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.13137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3291-6_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.030931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3291-6_1_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.012964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3291-6_1_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.11742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3291-6_1_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.17377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3291-6_1_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.35912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3291-6_1_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.69026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3291-6_1_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.019478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3291-6_1_3_line_8 | NAYY 4x150 SE | 6 | 61 | 0.087286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3291-6_1_3_line_9 | NAYY 4x150 SE | 7 | 29 | 0.029214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3291-6_1_3_line_10 | NAYY 4x150 SE | 8 | 9 | 0.2474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3291-6_1_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.19045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3291-6_1_3_line_12 | NAYY 4x150 SE | 10 | 50 | 0.061296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3291-6_1_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.023618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3291-6_1_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.027872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3291-6_1_3_line_15 | NAYY 4x150 SE | 13 | 56 | 0.029408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3291-6_1_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.010679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3291-6_1_3_line_17 | NAYY 4x150 SE | 15 | 53 | 0.30161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3291-6_1_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.1403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3291-6_1_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.054164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3291-6_1_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.16167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3291-6_1_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.063969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3291-6_1_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.20642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3291-6_1_3_line_23 | NAYY 4x150 SE | 19 | 22 | 0.20554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3291-6_1_3_line_24 | NAYY 4x150 SE | 19 | 23 | 0.37121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3291-6_1_3_line_25 | NAYY 4x150 SE | 21 | 28 | 0.050509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3291-6_1_3_line_26 | NAYY 4x150 SE | 21 | 25 | 0.017206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3291-6_1_3_line_27 | NAYY 4x150 SE | 23 | 37 | 0.20115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3291-6_1_3_line_28 | NAYY 4x150 SE | 24 | 25 | 0.242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3291-6_1_3_line_29 | NAYY 4x150 SE | 25 | 26 | 0.13766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3291-6_1_3_line_30 | NAYY 4x150 SE | 26 | 27 | 0.0022039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3291-6_1_3_line_31 | NAYY 4x150 SE | 27 | 32 | 0.17384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3291-6_1_3_line_32 | NAYY 4x150 SE | 29 | 30 | 0.16661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3291-6_1_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.0051904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3291-6_1_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.12161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3291-6_1_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.26009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3291-6_1_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.17456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3291-6_1_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.047795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3291-6_1_3_line_38 | NAYY 4x150 SE | 35 | 41 | 0.069478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3291-6_1_3_line_39 | NAYY 4x150 SE | 35 | 40 | 0.1131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3291-6_1_3_line_40 | NAYY 4x150 SE | 36 | 42 | 0.3231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3291-6_1_3_line_41 | NAYY 4x150 SE | 37 | 42 | 0.099906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3291-6_1_3_line_42 | NAYY 4x150 SE | 38 | 39 | 0.097885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3291-6_1_3_line_43 | NAYY 4x150 SE | 38 | 40 | 0.2461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3291-6_1_3_line_44 | NAYY 4x150 SE | 39 | 45 | 0.1891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3291-6_1_3_line_45 | NAYY 4x150 SE | 39 | 46 | 0.18638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3291-6_1_3_line_46 | NAYY 4x150 SE | 42 | 43 | 0.13516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3291-6_1_3_line_47 | NAYY 4x150 SE | 43 | 44 | 0.19792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3291-6_1_3_line_48 | NAYY 4x150 SE | 44 | 47 | 0.27791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3291-6_1_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.48137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3291-6_1_3_line_50 | NAYY 4x150 SE | 48 | 49 | 0.090709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3291-6_1_3_line_51 | NAYY 4x150 SE | 50 | 51 | 0.12153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3291-6_1_3_line_52 | NAYY 4x150 SE | 51 | 52 | 0.003071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3291-6_1_3_line_53 | NAYY 4x150 SE | 52 | 60 | 0.33506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3291-6_1_3_line_54 | NAYY 4x150 SE | 53 | 54 | 0.38713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3291-6_1_3_line_55 | NAYY 4x150 SE | 53 | 55 | 0.17458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3291-6_1_3_line_56 | NAYY 4x150 SE | 54 | 59 | 0.068341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3291-6_1_3_line_57 | NAYY 4x150 SE | 54 | 56 | 0.028902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3291-6_1_3_line_58 | NAYY 4x150 SE | 55 | 63 | 0.0084211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3291-6_1_3_line_59 | NAYY 4x150 SE | 56 | 57 | 0.047793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3291-6_1_3_line_60 | NAYY 4x150 SE | 57 | 58 | 0.014503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3291-6_1_3_line_61 | NAYY 4x150 SE | 60 | 63 | 0.023047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3291-6_1_3_line_62 | NAYY 4x150 SE | 61 | 62 | 0.028764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3291-6_1_3_trafo_9 | 0.25 MVA 20/0.4 kV | 64 | 3 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32
0 | 2755088.6243 | 1209189.14 | 2755076.6028 | 1209175.6953 | 2755067.7772 | 1209169.0712 | 2754975.0161 | 1209135.3318 | 2754971.8131 | 1209133.6943
1 | 2755109.2415 | 1209212.1981 | 2755088.6243 | 1209189.14
2 | 2754960.7992 | 1209126.8885 | 2754968.5531 | 1209132.0277 | 2754971.8131 | 1209133.6943
3 | 2755109.2415 | 1209212.1981 | 2755212.632 | 1209156.0141
4 | 2755109.2415 | 1209212.1981 | 2755225.9969 | 1209340.8975
5 | 2754679.7451 | 1209302.286 | 2754678.5506 | 1209289.9886 | 2754677.5445 | 1209284.7913 | 2754678.5419 | 1209270.9716 | 2754683.0169 | 1209269.1081 | 2754694.1579 | 1209264.4817 | 2754707.9091 | 1209254.2291 | 2754743.6493 | 1209240.4546 | 2754769.3901 | 1209230.9915 | 2754817.9856 | 1209212.4911 | 2754838.9975 | 1209196.2219 | 2754855.2624 | 1209185.8458 | 2754867.8553 | 1209176.5755 | 2754886.7126 | 1209171.8162 | 2754900.6823 | 1209167.2303 | 2754911.1436 | 1209164.188 | 2754923.5614 | 1209154.6352 | 2754936.5737 | 1209135.9676 | 2754938.8234 | 1209133.6906 | 2754947.8801 | 1209138.1631 | 2754952.8064 | 1209135.622 | 2754957.495 | 1209131.985 | 2754960.7992 | 1209126.8885
6 | 2754960.7992 | 1209126.8885 | 2755005.8969 | 1208438.1054
7 | 2755239.0841 | 1209355.3234 | 2755225.9969 | 1209340.8975
8 | 2754679.7451 | 1209302.286 | 2754646.9928 | 1209315.2487 | 2754668.0145 | 1209362.8775
9 | 2755005.8969 | 1208438.1054 | 2755016.1617 | 1208425.016 | 2755025.1978 | 1208416.2639
10 | 2755011.8057 | 1209450.1663 | 2755063.7043 | 1209428.0394 | 2755158.3908 | 1209376.4881 | 2755194.6457 | 1209363.1189 | 2755239.0841 | 1209355.3234
11 | 2754838.9661 | 1209528.9713 | 2754842.5771 | 1209526.9855 | 2754854.8062 | 1209520.2746 | 2754931.8394 | 1209477.981 | 2754939.5726 | 1209473.3666 | 2754964.1959 | 1209463.8531 | 2755011.8057 | 1209450.1663
12 | 2754838.9661 | 1209528.9713 | 2754785.2353 | 1209558.4704
13 | 2755338.0781 | 1209801.7959 | 2755351.9921 | 1209820.9084
14 | 2755351.9921 | 1209820.9084 | 2755325.4172 | 1209829.3126
15 | 2755297.3778 | 1209838.18 | 2755325.4172 | 1209829.3126
16 | 2754858.0914 | 1210292.6781 | 2754848.6669 | 1210297.7492
17 | 2754858.0914 | 1210292.6781 | 2754866.279 | 1210286.6297 | 2754866.1437 | 1210276.9065 | 2754824.6146 | 1210166.2306 | 2754961.7606 | 1210077.2227
18 | 2754739.3405 | 1208301.713 | 2754753.5032 | 1208297.6766 | 2754772.0919 | 1208289.0064 | 2754793.1332 | 1208288.1291 | 2754799.8082 | 1208290.3375 | 2754815.1359 | 1208320.8397 | 2754828.5445 | 1208354.6396 | 2754826.1687 | 1208360.6575
19 | 2754837.6876 | 1208410.9154 | 2754833.3388 | 1208407.5997 | 2754829.493 | 1208400.438 | 2754827.3254 | 1208381.9655 | 2754824.229 | 1208365.5707 | 2754826.1687 | 1208360.6575
20 | 2754739.3405 | 1208301.713 | 2754768.2132 | 1208265.5185 | 2754809.7448 | 1208222.5798 | 2754843.2714 | 1208177.9878
21 | 2754837.6876 | 1208410.9154 | 2754843.8511 | 1208411.4313 | 2754852.7927 | 1208404.8575 | 2754860.8988 | 1208395.3038 | 2754869.485 | 1208384.8396 | 2754871.8488 | 1208380.2301 | 2754873.0506 | 1208371.1533 | 2754875.7032 | 1208365.3837
22 | 2754843.2714 | 1208177.9878 | 2754845.8635 | 1208173.9626 | 2754879.346 | 1208154.8144 | 2754902.6977 | 1208142.6207 | 2754923.8698 | 1208130.5817 | 2754925.5632 | 1208130.1141 | 2754938.4041 | 1208122.2182 | 2754958.5748 | 1208117.9826 | 2754968.8798 | 1208122.1983 | 2754981.5787 | 1208130.6021 | 2754997.7034 | 1208143.0095 | 2755019.0335 | 1208161.4797
23 | 2754843.2714 | 1208177.9878 | 2754817.3033 | 1208194.273 | 2754793.9613 | 1208216.9543 | 2754777.5624 | 1208226.5376 | 2754764.2312 | 1208234.2876 | 2754744.0424 | 1208240.414 | 2754681.149 | 1208257.8993 | 2754659.6612 | 1208256.2882
24 | 2754843.2714 | 1208177.9878 | 2754845.8635 | 1208173.9626 | 2754930.6946 | 1208075.1988 | 2754951.28 | 1208028.9478 | 2754983.901 | 1207975.0805 | 2754999.2198 | 1207958.7972 | 2755036.4694 | 1207930.8843 | 2755051.9786 | 1207907.2885 | 2755060.4119 | 1207888.9914 | 2755059.6822 | 1207883.7011
25 | 2754970.4052 | 1208175.6184 | 2755019.0335 | 1208161.4797
26 | 2755019.0335 | 1208161.4797 | 2755030.218 | 1208174.5818
27 | 2755059.6822 | 1207883.7011 | 2755075.4338 | 1207876.5373 | 2755076.8293 | 1207881.0887 | 2755093.0891 | 1207875.7397 | 2755130.0863 | 1207857.8631 | 2755148.7238 | 1207828.9663 | 2755156.7099 | 1207799.2143 | 2755166.4139 | 1207797.5984 | 2755176.6292 | 1207798.8428 | 2755192.3131 | 1207798.9729 | 2755197.4468 | 1207793.7684 | 2755202.6375 | 1207785.2069 | 2755203.7766 | 1207782.9267
28 | 2755030.218 | 1208174.5818 | 2755035.9102 | 1208171.5826 | 2755037.7943 | 1208165.8264 | 2755038.5096 | 1208157.9158 | 2755042.2588 | 1208147.1369 | 2755044.9156 | 1208139.1656 | 2755046.4717 | 1208122.3244 | 2755047.336 | 1208112.7829 | 2755050.6808 | 1208105.8525 | 2755059.3112 | 1208099.5712 | 2755070.7317 | 1208095.6978 | 2755084.0719 | 1208092.8974 | 2755095.5401 | 1208087.1904 | 2755108.8592 | 1208073.5021 | 2755120.2188 | 1208060.2745 | 2755133.7227 | 1208047.0916 | 2755145.6349 | 1208036.3139 | 2755156.5636 | 1208027.9572 | 2755164.8077 | 1208020.7429 | 2755171.0317 | 1208009.0054 | 2755174.5259 | 1208000.7935
29 | 2755030.218 | 1208174.5818 | 2755042.9691 | 1208189.4595 | 2755055.9777 | 1208198.8168 | 2755083.6901 | 1208201.4835 | 2755100.3976 | 1208200.2388 | 2755112.1996 | 1208199.2446 | 2755124.5819 | 1208202.2579 | 2755135.2998 | 1208208.72 | 2755149.144 | 1208223.6274
30 | 2755149.144 | 1208223.6274 | 2755150.6437 | 1208225.2423
31 | 2755267.3358 | 1208333.9084 | 2755258.866 | 1208332.2755 | 2755238.4848 | 1208327.3744 | 2755218.7385 | 1208312.9815 | 2755212.4782 | 1208310.6277 | 2755208.015 | 1208288.9146 | 2755205.8394 | 1208273.4221 | 2755197.6791 | 1208264.8579 | 2755188.5396 | 1208264.1085 | 2755176.8505 | 1208253.4619 | 2755150.6437 | 1208225.2423
32 | 2755025.1978 | 1208416.2639 | 2755034.1643 | 1208407.5793 | 2755042.5397 | 1208395.2859 | 2755048.1367 | 1208383.9435 | 2755052.8621 | 1208375.114 | 2755053.758 | 1208364.0608 | 2755058.5331 | 1208360.9266 | 2755065.0588 | 1208365.0664 | 2755077.3654 | 1208366.2984 | 2755083.0023 | 1208365.4218 | 2755090.0647 | 1208360.6233 | 2755100.4262 | 1208358.2571 | 2755115.2201 | 1208358.3305 | 2755124.4873 | 1208362.9421 | 2755132.2425 | 1208366.6024 | 2755146.2782 | 1208364.5321 | 2755153.0102 | 1208362.9818
33 | 2755153.0102 | 1208362.9818 | 2755158.0683 | 1208361.8171
34 | 2755267.3358 | 1208333.9084 | 2755256.6725 | 1208340.5591 | 2755241.6734 | 1208340.7692 | 2755228.4664 | 1208342.5606 | 2755200.2483 | 1208336.844 | 2755190.9765 | 1208336.5026 | 2755181.1206 | 1208346.622 | 2755175.533 | 1208353.7942 | 2755164.5457 | 1208360.3254 | 2755158.0683 | 1208361.8171
35 | 2754986.3874 | 1207839.8811 | 2754975.9792 | 1207855.1355 | 2754960.8502 | 1207864.1062 | 2754917.4947 | 1207875.7912 | 2754894.8941 | 1207905.3085 | 2754874.6261 | 1207931.4279 | 2754870.9328 | 1207971.4118 | 2754869.0941 | 1207987.4338 | 2754854.0356 | 1208017.1472 | 2754846.3559 | 1208034.8562
36 | 2754986.3874 | 1207839.8811 | 2754972.7099 | 1207840.1262 | 2754970.557 | 1207836.6117 | 2754975.3306 | 1207818.0303 | 2754978.5362 | 1207796.5501 | 2754977.6232 | 1207761.1285 | 2754972.8288 | 1207741.2753 | 2754964.962 | 1207722.2543 | 2754954.8823 | 1207713.4404 | 2754941.8887 | 1207710.7786 | 2754929.2609 | 1207713.3642
37 | 2754986.3874 | 1207839.8811 | 2754995.9434 | 1207833.4124 | 2755021.88 | 1207823.9776 | 2755030.4396 | 1207822.6852
38 | 2754929.2609 | 1207713.3642 | 2754928.6015 | 1207712.3907 | 2754923.0332 | 1207704.1611 | 2754922.6743 | 1207703.6291 | 2754964.3212 | 1207688.063 | 2754977.6588 | 1207686.5635
39 | 2754929.2609 | 1207713.3642 | 2754922.7796 | 1207739.4079 | 2754900.8381 | 1207762.2698 | 2754890.4858 | 1207771.2758 | 2754871.9325 | 1207767.6801 | 2754857.3553 | 1207781.1805 | 2754856.1562 | 1207782.8889
40 | 2755217.82 | 1207686.2142 | 2755193.4658 | 1207707.3107 | 2755185.1437 | 1207710.1969 | 2755178.7961 | 1207707.663 | 2755170.3731 | 1207693.3759 | 2755163.9274 | 1207675.3146 | 2755160.3179 | 1207659.6514 | 2755149.0306 | 1207667.1424 | 2755090.2358 | 1207720.4061 | 2755075.9236 | 1207747.3914 | 2755073.0923 | 1207758.8502 | 2755068.5653 | 1207765.5941 | 2755065.7805 | 1207798.9624 | 2755058.1044 | 1207810.6622 | 2755056.1388 | 1207816.3273 | 2755042.6165 | 1207820.8467 | 2755030.4396 | 1207822.6852
41 | 2755217.82 | 1207686.2142 | 2755207.5475 | 1207715.5174 | 2755209.332 | 1207740.7862 | 2755210.5955 | 1207756.8443 | 2755209.1305 | 1207772.2087 | 2755203.7766 | 1207782.9267
42 | 2754653.5925 | 1207858.4661 | 2754646.405 | 1207856.3447 | 2754623.9883 | 1207855.0518 | 2754613.5943 | 1207850.7231 | 2754602.5494 | 1207835.9908 | 2754589.5367 | 1207822.3306 | 2754572.1199 | 1207813.3383
43 | 2754653.5925 | 1207858.4661 | 2754655.1616 | 1207853.1132 | 2754658.652 | 1207852.2918 | 2754669.4747 | 1207855.9309 | 2754673.9567 | 1207852.077 | 2754689.528 | 1207853.6041 | 2754695.3296 | 1207858.1251 | 2754703.7333 | 1207860.5784 | 2754728.8678 | 1207863.2655 | 2754755.7259 | 1207858.1684 | 2754770.7879 | 1207859.6825 | 2754796.8774 | 1207853.131 | 2754809.0011 | 1207845.9168 | 2754813.8776 | 1207842.696 | 2754817.6817 | 1207837.7013 | 2754856.1562 | 1207782.8889
44 | 2754572.1199 | 1207813.3383 | 2754574.7896 | 1207788.9971 | 2754584.4757 | 1207773.6789 | 2754592.144 | 1207768.9955 | 2754599.9271 | 1207748.1454 | 2754596.5305 | 1207725.6821 | 2754598.5774 | 1207713.6356 | 2754597.0943 | 1207703.9331 | 2754599.051 | 1207667.7741 | 2754603.9303 | 1207656.813 | 2754613.6972 | 1207649.8376 | 2754616.8769 | 1207645.4494 | 2754618.4318 | 1207640.8351
45 | 2754572.1199 | 1207813.3383 | 2754576.0969 | 1207856.5572 | 2754577.0241 | 1207887.7086 | 2754574.8201 | 1207925.4849 | 2754559.8019 | 1207961.917 | 2754557.7881 | 1207976.5111 | 2754548.7644 | 1207994.1708
46 | 2755200.3146 | 1207556.967 | 2755198.7004 | 1207563.7421 | 2755204.287 | 1207581.7811 | 2755205.8868 | 1207606.8448 | 2755207.4905 | 1207626.4928 | 2755217.1031 | 1207654.1227 | 2755222.746 | 1207664.7344 | 2755222.528 | 1207680.7095 | 2755217.82 | 1207686.2142
47 | 2755200.3146 | 1207556.967 | 2755210.9566 | 1207570.1887 | 2755240.9953 | 1207592.9121 | 2755253.7847 | 1207615.4091 | 2755258.8475 | 1207627.5515 | 2755268.2361 | 1207636.8928 | 2755280.7182 | 1207655.1114 | 2755297.4857 | 1207682.3049 | 2755307.8094 | 1207694.5844 | 2755324.2632 | 1207707.5239
48 | 2755423.4468 | 1207945.4828 | 2755415.4662 | 1207927.3924 | 2755402.5857 | 1207912.8219 | 2755396.853 | 1207891.3759 | 2755385.1381 | 1207877.6143 | 2755363.7618 | 1207861.4992 | 2755343.3597 | 1207844.4865 | 2755341.5263 | 1207828.7137 | 2755343.6631 | 1207814.1453 | 2755351.3047 | 1207790.0673 | 2755344.6954 | 1207753.4852 | 2755342.2616 | 1207734.7608 | 2755337.5087 | 1207722.4151 | 2755324.2632 | 1207707.5239
49 | 2755552.4981 | 1207696.8464 | 2755546.4652 | 1207694.7985 | 2755533.8254 | 1207692.5783 | 2755521.727 | 1207690.8949 | 2755503.9413 | 1207696.0806 | 2755487.4523 | 1207694.4274 | 2755463.7115 | 1207689.3268 | 2755454.7243 | 1207689.7042 | 2755439.6109 | 1207686.0629 | 2755422.7632 | 1207678.9068 | 2755410.0169 | 1207670.8456 | 2755397.8127 | 1207665.3341 | 2755387.4465 | 1207679.5102 | 2755387.0811 | 1207693.5353 | 2755392.6175 | 1207707.9255 | 2755389.8611 | 1207727.5822 | 2755381.1562 | 1207740.7784 | 2755374.6958 | 1207761.562 | 2755373.2161 | 1207779.228 | 2755376.9046 | 1207794.1706 | 2755383.7045 | 1207807.3704 | 2755384.2322 | 1207818.3605 | 2755378.9476 | 1207825.5515 | 2755369.9307 | 1207834.6693 | 2755372.2198 | 1207840.8344 | 2755387.8754 | 1207850.8063 | 2755399.035 | 1207861.0614 | 2755409.7228 | 1207873.9511 | 2755415.5794 | 1207891.8082 | 2755419.8624 | 1207907.5782 | 2755424.5719 | 1207922.7475 | 2755428.5169 | 1207943.6021 | 2755423.4468 | 1207945.4828
50 | 2755552.4981 | 1207696.8464 | 2755525.6045 | 1207671.7345 | 2755520.4531 | 1207669.1425 | 2755496.0912 | 1207668.3071 | 2755479.3915 | 1207651.3905
51 | 2754678.7006 | 1209616.9597 | 2754785.2353 | 1209558.4704
52 | 2754678.7006 | 1209616.9597 | 2754676.0004 | 1209618.4355
53 | 2754676.0004 | 1209618.4355 | 2754720.606 | 1209706.9591 | 2754853.1865 | 1209902.1163
54 | 2754961.7606 | 1210077.2227 | 2755118.4411 | 1209960.7125 | 2755188.662 | 1209907.402 | 2755222.6594 | 1209882.4753 | 2755244.42 | 1209865.7376 | 2755259.8667 | 1209859.2893 | 2755263.5583 | 1209858.2956 | 2755266.7871 | 1209859.3027 | 2755270.1764 | 1209859.4021 | 2755273.4533 | 1209858.5644 | 2755276.38 | 1209856.8612
55 | 2754961.7606 | 1210077.2227 | 2754870.2041 | 1209928.5772
56 | 2755276.38 | 1209856.8612 | 2755284.2703 | 1209865.1851 | 2755307.7841 | 1209892.0987 | 2755312.5093 | 1209900.7627 | 2755304.06 | 1209908.2118
57 | 2755276.38 | 1209856.8612 | 2755278.5273 | 1209854.7152 | 2755280.0709 | 1209852.0975 | 2755280.9298 | 1209849.195 | 2755284.0388 | 1209846.9184 | 2755297.3778 | 1209838.18
58 | 2754870.2041 | 1209928.5772 | 2754865.7878 | 1209921.4071
59 | 2755254.1485 | 1209825.0879 | 2755263.2503 | 1209832.7426 | 2755266.7238 | 1209835.1574 | 2755269.7012 | 1209835.0125 | 2755272.6218 | 1209835.589 | 2755275.3193 | 1209836.8492 | 2755277.636 | 1209838.7111 | 2755281.0223 | 1209838.3434 | 2755297.3778 | 1209838.18
60 | 2755254.1485 | 1209825.0879 | 2755246.4029 | 1209812.8264
61 | 2754865.7878 | 1209921.4071 | 2754860.8921 | 1209913.4588 | 2754853.1865 | 1209902.1163
62 | 2754668.0145 | 1209362.8775 | 2754672.2361 | 1209372.4424 | 2754681.9242 | 1209387.9776

## bus_geodata
| x | y | coords
0 | 2755088.6243 | 1209189.14
1 | 2754971.8131 | 1209133.6943
2 | 2755109.2415 | 1209212.1981
3 | 2754960.7992 | 1209126.8885
4 | 2755212.632 | 1209156.0141
5 | 2755225.9969 | 1209340.8975
6 | 2754679.7451 | 1209302.286
7 | 2755005.8969 | 1208438.1054
8 | 2755239.0841 | 1209355.3234
9 | 2755011.8057 | 1209450.1663
10 | 2754838.9661 | 1209528.9713
11 | 2755351.9921 | 1209820.9084
12 | 2755338.0781 | 1209801.7959
13 | 2755325.4172 | 1209829.3126
14 | 2754848.6669 | 1210297.7492
15 | 2754858.0914 | 1210292.6781
16 | 2754826.1687 | 1208360.6575
17 | 2754739.3405 | 1208301.713
18 | 2754837.6876 | 1208410.9154
19 | 2754843.2714 | 1208177.9878
20 | 2754875.7032 | 1208365.3837
21 | 2755019.0335 | 1208161.4797
22 | 2754659.6612 | 1208256.2882
23 | 2755059.6822 | 1207883.7011
24 | 2755174.5259 | 1208000.7935
25 | 2755030.218 | 1208174.5818
26 | 2755149.144 | 1208223.6274
27 | 2755150.6437 | 1208225.2423
28 | 2754970.4052 | 1208175.6184
29 | 2755025.1978 | 1208416.2639
30 | 2755153.0102 | 1208362.9818
31 | 2755158.0683 | 1208361.8171
32 | 2755267.3358 | 1208333.9084
33 | 2754846.3559 | 1208034.8562
34 | 2754986.3874 | 1207839.8811
35 | 2754929.2609 | 1207713.3642
36 | 2755030.4396 | 1207822.6852
37 | 2755203.7766 | 1207782.9267
38 | 2754653.5925 | 1207858.4661
39 | 2754572.1199 | 1207813.3383
40 | 2754856.1562 | 1207782.8889
41 | 2754977.6588 | 1207686.5635
42 | 2755217.82 | 1207686.2142
43 | 2755200.3146 | 1207556.967
44 | 2755324.2632 | 1207707.5239
45 | 2754618.4318 | 1207640.8351
46 | 2754548.7644 | 1207994.1708
47 | 2755423.4468 | 1207945.4828
48 | 2755552.4981 | 1207696.8464
49 | 2755479.3915 | 1207651.3905
50 | 2754785.2353 | 1209558.4704
51 | 2754678.7006 | 1209616.9597
52 | 2754676.0004 | 1209618.4355
53 | 2754961.7606 | 1210077.2227
54 | 2755276.38 | 1209856.8612
55 | 2754870.2041 | 1209928.5772
56 | 2755297.3778 | 1209838.18
57 | 2755254.1485 | 1209825.0879
58 | 2755246.4029 | 1209812.8264
59 | 2755304.06 | 1209908.2118
60 | 2754853.1865 | 1209902.1163
61 | 2754668.0145 | 1209362.8775
62 | 2754681.9242 | 1209387.9776
63 | 2754865.7878 | 1209921.4071
64 | 2754960.7992 | 1209126.8885

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1