## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3292-1_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_3292-1_1_2_node_129 | 0.4 | n |  | TRUE
2 | bus_LV_3292-1_1_2_node_147 | 0.4 | n |  | TRUE
3 | bus_LV_3292-1_1_2_node_132 | 0.4 | n |  | TRUE
4 | bus_LV_3292-1_1_2_node_133 | 0.4 | n |  | TRUE
5 | bus_LV_3292-1_1_2_node_134 | 0.4 | n |  | TRUE
6 | bus_LV_3292-1_1_2_node_135 | 0.4 | n |  | TRUE
7 | bus_LV_3292-1_1_2_node_136 | 0.4 | n |  | TRUE
8 | bus_LV_3292-1_1_2_node_182 | 0.4 | n |  | TRUE
9 | bus_LV_3292-1_1_2_node_139 | 0.4 | n |  | TRUE
10 | bus_LV_3292-1_1_2_node_141 | 0.4 | n |  | TRUE
11 | bus_LV_3292-1_1_2_node_140 | 0.4 | n |  | TRUE
12 | bus_LV_3292-1_1_2_node_144 | 0.4 | n |  | TRUE
13 | bus_LV_3292-1_1_2_node_142 | 0.4 | n |  | TRUE
14 | bus_LV_3292-1_1_2_node_143 | 0.4 | n |  | TRUE
15 | bus_LV_3292-1_1_2_node_176 | 0.4 | n |  | TRUE
16 | bus_LV_3292-1_1_2_node_145 | 0.4 | n |  | TRUE
17 | bus_LV_3292-1_1_2_node_146 | 0.4 | n |  | TRUE
18 | bus_LV_3292-1_1_2_node_171 | 0.4 | n |  | TRUE
19 | bus_LV_3292-1_1_2_node_157 | 0.4 | n |  | TRUE
20 | bus_LV_3292-1_1_2_node_148 | 0.4 | n |  | TRUE
21 | bus_LV_3292-1_1_2_node_153 | 0.4 | n |  | TRUE
22 | bus_LV_3292-1_1_2_node_149 | 0.4 | n |  | TRUE
23 | bus_LV_3292-1_1_2_node_150 | 0.4 | n |  | TRUE
24 | bus_LV_3292-1_1_2_node_163 | 0.4 | n |  | TRUE
25 | bus_LV_3292-1_1_2_node_205 | 0.4 | n |  | TRUE
26 | bus_LV_3292-1_1_2_node_151 | 0.4 | n |  | TRUE
27 | bus_LV_3292-1_1_2_node_152 | 0.4 | n |  | TRUE
28 | bus_LV_3292-1_1_2_node_154 | 0.4 | n |  | TRUE
29 | bus_LV_3292-1_1_2_node_155 | 0.4 | n |  | TRUE
30 | bus_LV_3292-1_1_2_node_156 | 0.4 | n |  | TRUE
31 | bus_LV_3292-1_1_2_node_158 | 0.4 | n |  | TRUE
32 | bus_LV_3292-1_1_2_node_159 | 0.4 | n |  | TRUE
33 | bus_LV_3292-1_1_2_node_160 | 0.4 | n |  | TRUE
34 | bus_LV_3292-1_1_2_node_161 | 0.4 | n |  | TRUE
35 | bus_LV_3292-1_1_2_node_162 | 0.4 | n |  | TRUE
36 | bus_LV_3292-1_1_2_node_164 | 0.4 | n |  | TRUE
37 | bus_LV_3292-1_1_2_node_166 | 0.4 | n |  | TRUE
38 | bus_LV_3292-1_1_2_node_167 | 0.4 | n |  | TRUE
39 | bus_LV_3292-1_1_2_node_165 | 0.4 | n |  | TRUE
40 | bus_LV_3292-1_1_2_node_189 | 0.4 | n |  | TRUE
41 | bus_LV_3292-1_1_2_node_187 | 0.4 | n |  | TRUE
42 | bus_LV_3292-1_1_2_node_168 | 0.4 | n |  | TRUE
43 | bus_LV_3292-1_1_2_node_169 | 0.4 | n |  | TRUE
44 | bus_LV_3292-1_1_2_node_170 | 0.4 | n |  | TRUE
45 | bus_LV_3292-1_1_2_node_174 | 0.4 | n |  | TRUE
46 | bus_LV_3292-1_1_2_node_172 | 0.4 | n |  | TRUE
47 | bus_LV_3292-1_1_2_node_193 | 0.4 | n |  | TRUE
48 | bus_LV_3292-1_1_2_node_173 | 0.4 | n |  | TRUE
49 | bus_LV_3292-1_1_2_node_186 | 0.4 | n |  | TRUE
50 | bus_LV_3292-1_1_2_node_175 | 0.4 | n |  | TRUE
51 | bus_LV_3292-1_1_2_node_177 | 0.4 | n |  | TRUE
52 | bus_LV_3292-1_1_2_node_178 | 0.4 | n |  | TRUE
53 | bus_LV_3292-1_1_2_node_179 | 0.4 | n |  | TRUE
54 | bus_LV_3292-1_1_2_node_180 | 0.4 | n |  | TRUE
55 | bus_LV_3292-1_1_2_node_181 | 0.4 | n |  | TRUE
56 | bus_LV_3292-1_1_2_node_183 | 0.4 | n |  | TRUE
57 | bus_LV_3292-1_1_2_node_184 | 0.4 | n |  | TRUE
58 | bus_LV_3292-1_1_2_node_185 | 0.4 | n |  | TRUE
59 | bus_LV_3292-1_1_2_node_210 | 0.4 | n |  | TRUE
60 | bus_LV_3292-1_1_2_node_211 | 0.4 | n |  | TRUE
61 | bus_LV_3292-1_1_2_node_220 | 0.4 | n |  | TRUE
62 | bus_LV_3292-1_1_2_node_206 | 0.4 | n |  | TRUE
63 | bus_LV_3292-1_1_2_node_227 | 0.4 | n |  | TRUE
64 | bus_LV_3292-1_1_2_node_188 | 0.4 | n |  | TRUE
65 | bus_LV_3292-1_1_2_node_190 | 0.4 | n |  | TRUE
66 | bus_LV_3292-1_1_2_node_191 | 0.4 | n |  | TRUE
67 | bus_LV_3292-1_1_2_node_192 | 0.4 | n |  | TRUE
68 | bus_LV_3292-1_1_2_node_196 | 0.4 | n |  | TRUE
69 | bus_LV_3292-1_1_2_node_237 | 0.4 | n |  | TRUE
70 | bus_LV_3292-1_1_2_node_194 | 0.4 | n |  | TRUE
71 | bus_LV_3292-1_1_2_node_195 | 0.4 | n |  | TRUE
72 | bus_LV_3292-1_1_2_node_197 | 0.4 | n |  | TRUE
73 | bus_LV_3292-1_1_2_node_198 | 0.4 | n |  | TRUE
74 | bus_LV_3292-1_1_2_node_199 | 0.4 | n |  | TRUE
75 | bus_LV_3292-1_1_2_node_201 | 0.4 | n |  | TRUE
76 | bus_LV_3292-1_1_2_node_200 | 0.4 | n |  | TRUE
77 | bus_LV_3292-1_1_2_node_202 | 0.4 | n |  | TRUE
78 | bus_LV_3292-1_1_2_node_203 | 0.4 | n |  | TRUE
79 | bus_LV_3292-1_1_2_node_207 | 0.4 | n |  | TRUE
80 | bus_LV_3292-1_1_2_node_208 | 0.4 | n |  | TRUE
81 | bus_LV_3292-1_1_2_node_209 | 0.4 | n |  | TRUE
82 | bus_LV_3292-1_1_2_node_212 | 0.4 | n |  | TRUE
83 | bus_LV_3292-1_1_2_node_226 | 0.4 | n |  | TRUE
84 | bus_LV_3292-1_1_2_node_225 | 0.4 | n |  | TRUE
85 | bus_LV_3292-1_1_2_node_213 | 0.4 | n |  | TRUE
86 | bus_LV_3292-1_1_2_node_214 | 0.4 | n |  | TRUE
87 | bus_LV_3292-1_1_2_node_215 | 0.4 | n |  | TRUE
88 | bus_LV_3292-1_1_2_node_216 | 0.4 | n |  | TRUE
89 | bus_LV_3292-1_1_2_node_217 | 0.4 | n |  | TRUE
90 | bus_LV_3292-1_1_2_node_218 | 0.4 | n |  | TRUE
91 | bus_LV_3292-1_1_2_node_228 | 0.4 | n |  | TRUE
92 | bus_LV_3292-1_1_2_node_235 | 0.4 | n |  | TRUE
93 | bus_LV_3292-1_1_2_node_236 | 0.4 | n |  | TRUE
94 | bus_LV_3292-1_1_2_node_238 | 0.4 | n |  | TRUE
95 | bus_LV_3292-1_1_2_node_239 | 0.4 | n |  | TRUE
96 | bus_MV_0_node_156 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3292-1_1_2_load_128 | 0 | 0.0013245 | 0.00033196 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3292-1_1_2_load_129 | 1 | 0.0017531 | 0.00043938 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3292-1_1_2_load_147 | 2 | 0.0018474 | 0.00046299 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3292-1_1_2_load_132 | 3 | 0.0017216 | 0.00043148 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3292-1_1_2_load_135 | 6 | 0.0011084 | 0.0002778 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3292-1_1_2_load_136 | 7 | 0.00034421 | 8.6266e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3292-1_1_2_load_139 | 9 | 0.0016195 | 0.00040587 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3292-1_1_2_load_140 | 11 | 0.0046549 | 0.0011666 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3292-1_1_2_load_142 | 13 | 0.0017694 | 0.00044345 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3292-1_1_2_load_143 | 14 | 0.00011323 | 2.8378e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3292-1_1_2_load_176 | 15 | 0.00012021 | 3.0127e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3292-1_1_2_load_145 | 16 | 0.00014996 | 3.7583e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3292-1_1_2_load_146 | 17 | 0.0020986 | 0.00052597 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3292-1_1_2_load_171 | 18 | 0.0001912 | 4.7919e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3292-1_1_2_load_157 | 19 | 0.0016444 | 0.00041213 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3292-1_1_2_load_148 | 20 | 0.0014724 | 0.00036902 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3292-1_1_2_load_153 | 21 | 0.0014944 | 0.00037453 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3292-1_1_2_load_149 | 22 | 0.00024475 | 6.134e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3292-1_1_2_load_150 | 23 | 0.0005255 | 0.0001317 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3292-1_1_2_load_163 | 24 | 0.0010933 | 0.000274 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3292-1_1_2_load_205 | 25 | 0.0014315 | 0.00035876 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3292-1_1_2_load_151 | 26 | 0.001393 | 0.00034911 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3292-1_1_2_load_152 | 27 | 0.0013749 | 0.00034458 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3292-1_1_2_load_155 | 29 | 0.0034521 | 0.00086518 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3292-1_1_2_load_156 | 30 | 0.0010575 | 0.00026503 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3292-1_1_2_load_158 | 31 | 0.00035315 | 8.8509e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3292-1_1_2_load_161 | 34 | 0.00034081 | 8.5416e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3292-1_1_2_load_162 | 35 | 0.00021865 | 5.4798e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3292-1_1_2_load_167 | 38 | 0.0003954 | 9.9096e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3292-1_1_2_load_165 | 39 | 0.00029136 | 7.3021e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3292-1_1_2_load_189 | 40 | 0.00031488 | 7.8917e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3292-1_1_2_load_187 | 41 | 0.00053645 | 0.00013445 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3292-1_1_2_load_169 | 43 | 0.00032901 | 8.2457e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3292-1_1_2_load_170 | 44 | 0.0005523 | 0.00013842 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3292-1_1_2_load_174 | 45 | 0.00051237 | 0.00012841 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3292-1_1_2_load_172 | 46 | 0.00094372 | 0.00023652 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3292-1_1_2_load_193 | 47 | 0.0022511 | 0.00056419 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3292-1_1_2_load_173 | 48 | 0.0001011 | 2.5338e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3292-1_1_2_load_186 | 49 | 0.00021862 | 5.4791e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3292-1_1_2_load_175 | 50 | 0.00011866 | 2.9738e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3292-1_1_2_load_178 | 52 | 0.00015427 | 3.8664e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3292-1_1_2_load_179 | 53 | 0.0005633 | 0.00014118 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3292-1_1_2_load_180 | 54 | 0.00021693 | 5.4369e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3292-1_1_2_load_181 | 55 | 0.00012183 | 3.0534e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3292-1_1_2_load_185 | 58 | 0.00024237 | 6.0743e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3292-1_1_2_load_210 | 59 | 0.00020125 | 5.0438e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3292-1_1_2_load_211 | 60 | 0.00039129 | 9.8067e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3292-1_1_2_load_220 | 61 | 0.00022233 | 5.5721e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3292-1_1_2_load_206 | 62 | 0.00018251 | 4.5741e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3292-1_1_2_load_227 | 63 | 0.00028255 | 7.0815e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3292-1_1_2_load_190 | 65 | 0.00035725 | 8.9535e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3292-1_1_2_load_191 | 66 | 0.0012409 | 0.000311 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3292-1_1_2_load_192 | 67 | 0.00048323 | 0.00012111 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3292-1_1_2_load_196 | 68 | 0.00078301 | 0.00019624 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3292-1_1_2_load_237 | 69 | 0.00039142 | 9.8099e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3292-1_1_2_load_194 | 70 | 0.00081957 | 0.0002054 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3292-1_1_2_load_198 | 73 | 0.00038492 | 9.647e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3292-1_1_2_load_199 | 74 | 0.00047239 | 0.00011839 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3292-1_1_2_load_201 | 75 | 0.00020213 | 5.0659e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3292-1_1_2_load_200 | 76 | 0.00023399 | 5.8644e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3292-1_1_2_load_202 | 77 | 0.00030897 | 7.7436e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3292-1_1_2_load_203 | 78 | 0.00025363 | 6.3566e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3292-1_1_2_load_208 | 80 | 0.00020951 | 5.2508e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3292-1_1_2_load_209 | 81 | 9.8581e-05 | 2.4707e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3292-1_1_2_load_212 | 82 | 0.00012875 | 3.2269e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3292-1_1_2_load_226 | 83 | 0.00090466 | 0.00022673 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3292-1_1_2_load_225 | 84 | 0.00016194 | 4.0586e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3292-1_1_2_load_213 | 85 | 0.0002659 | 6.664e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3292-1_1_2_load_215 | 87 | 0.0001302 | 3.2632e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3292-1_1_2_load_216 | 88 | 0.00034301 | 8.5966e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3292-1_1_2_load_217 | 89 | 0.00019673 | 4.9306e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3292-1_1_2_load_218 | 90 | 0.00011038 | 2.7664e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3292-1_1_2_load_228 | 91 | 0.00026368 | 6.6084e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3292-1_1_2_load_235 | 92 | 0.00031729 | 7.9522e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3292-1_1_2_load_238 | 94 | 0.00030844 | 7.7304e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3292-1_1_2_load_239 | 95 | 0.00028339 | 7.1023e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3292-1_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.020941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3292-1_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.085455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3292-1_1_2_line_2 | NAYY 4x150 SE | 2 | 10 | 0.17107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3292-1_1_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.13034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3292-1_1_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.14766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3292-1_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.087842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3292-1_1_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.073767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3292-1_1_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.075645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3292-1_1_2_line_8 | NAYY 4x150 SE | 8 | 56 | 0.19887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3292-1_1_2_line_9 | NAYY 4x150 SE | 8 | 55 | 0.11072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3292-1_1_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.023287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3292-1_1_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.093944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3292-1_1_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.021577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3292-1_1_2_line_13 | NAYY 4x150 SE | 12 | 17 | 0.17699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3292-1_1_2_line_14 | NAYY 4x150 SE | 13 | 14 | 0.050231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3292-1_1_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.11699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3292-1_1_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.01013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3292-1_1_2_line_17 | NAYY 4x150 SE | 15 | 50 | 0.005524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3292-1_1_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.071599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3292-1_1_2_line_19 | NAYY 4x150 SE | 17 | 19 | 0.0091268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3292-1_1_2_line_20 | NAYY 4x150 SE | 18 | 46 | 0.065062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3292-1_1_2_line_21 | NAYY 4x150 SE | 18 | 48 | 0.034855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3292-1_1_2_line_22 | NAYY 4x150 SE | 19 | 29 | 0.08438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3292-1_1_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.099846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3292-1_1_2_line_24 | NAYY 4x150 SE | 21 | 26 | 0.036895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3292-1_1_2_line_25 | NAYY 4x150 SE | 22 | 23 | 0.030038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3292-1_1_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.0088723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3292-1_1_2_line_27 | NAYY 4x150 SE | 23 | 25 | 0.15348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3292-1_1_2_line_28 | NAYY 4x150 SE | 24 | 33 | 0.06406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3292-1_1_2_line_29 | NAYY 4x150 SE | 25 | 78 | 0.11672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3292-1_1_2_line_30 | NAYY 4x150 SE | 26 | 27 | 0.0044671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3292-1_1_2_line_31 | NAYY 4x150 SE | 27 | 28 | 0.072966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3292-1_1_2_line_32 | NAYY 4x150 SE | 28 | 29 | 0.010071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3292-1_1_2_line_33 | NAYY 4x150 SE | 28 | 30 | 0.020495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3292-1_1_2_line_34 | NAYY 4x150 SE | 30 | 31 | 0.054712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3292-1_1_2_line_35 | NAYY 4x150 SE | 31 | 32 | 0.082925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3292-1_1_2_line_36 | NAYY 4x150 SE | 32 | 33 | 0.007929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3292-1_1_2_line_37 | NAYY 4x150 SE | 32 | 34 | 0.056582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3292-1_1_2_line_38 | NAYY 4x150 SE | 33 | 35 | 0.041745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3292-1_1_2_line_39 | NAYY 4x150 SE | 34 | 36 | 0.065375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3292-1_1_2_line_40 | NAYY 4x150 SE | 36 | 37 | 0.14951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3292-1_1_2_line_41 | NAYY 4x150 SE | 36 | 38 | 0.12447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3292-1_1_2_line_42 | NAYY 4x150 SE | 37 | 42 | 0.063094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3292-1_1_2_line_43 | NAYY 4x150 SE | 37 | 43 | 0.063549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3292-1_1_2_line_44 | NAYY 4x150 SE | 38 | 44 | 0.0033442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3292-1_1_2_line_45 | NAYY 4x150 SE | 39 | 40 | 0.099564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3292-1_1_2_line_46 | NAYY 4x150 SE | 39 | 41 | 0.018016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3292-1_1_2_line_47 | NAYY 4x150 SE | 41 | 64 | 0.018609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3292-1_1_2_line_48 | NAYY 4x150 SE | 42 | 45 | 0.18793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3292-1_1_2_line_49 | NAYY 4x150 SE | 42 | 46 | 0.22811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3292-1_1_2_line_50 | NAYY 4x150 SE | 43 | 47 | 0.078092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3292-1_1_2_line_51 | NAYY 4x150 SE | 45 | 49 | 0.082512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3292-1_1_2_line_52 | NAYY 4x150 SE | 49 | 63 | 0.019572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3292-1_1_2_line_53 | NAYY 4x150 SE | 50 | 51 | 0.097792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3292-1_1_2_line_54 | NAYY 4x150 SE | 51 | 52 | 0.031578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3292-1_1_2_line_55 | NAYY 4x150 SE | 51 | 53 | 0.031085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3292-1_1_2_line_56 | NAYY 4x150 SE | 51 | 54 | 0.094272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3292-1_1_2_line_57 | NAYY 4x150 SE | 54 | 55 | 0.0038265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3292-1_1_2_line_58 | NAYY 4x150 SE | 56 | 57 | 0.069017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3292-1_1_2_line_59 | NAYY 4x150 SE | 56 | 58 | 0.18391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3292-1_1_2_line_60 | NAYY 4x150 SE | 57 | 59 | 0.039003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3292-1_1_2_line_61 | NAYY 4x150 SE | 57 | 60 | 0.14579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3292-1_1_2_line_62 | NAYY 4x150 SE | 57 | 61 | 0.12255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3292-1_1_2_line_63 | NAYY 4x150 SE | 58 | 62 | 0.020914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3292-1_1_2_line_64 | NAYY 4x150 SE | 59 | 83 | 0.02151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3292-1_1_2_line_65 | NAYY 4x150 SE | 60 | 84 | 0.1175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3292-1_1_2_line_66 | NAYY 4x150 SE | 61 | 90 | 0.10111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3292-1_1_2_line_67 | NAYY 4x150 SE | 62 | 79 | 0.0097119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3292-1_1_2_line_68 | NAYY 4x150 SE | 63 | 91 | 0.0085519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3292-1_1_2_line_69 | NAYY 4x150 SE | 64 | 65 | 0.033035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3292-1_1_2_line_70 | NAYY 4x150 SE | 64 | 66 | 0.078882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3292-1_1_2_line_71 | NAYY 4x150 SE | 65 | 67 | 0.0080208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3292-1_1_2_line_72 | NAYY 4x150 SE | 66 | 68 | 0.11819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3292-1_1_2_line_73 | NAYY 4x150 SE | 66 | 69 | 0.32926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3292-1_1_2_line_74 | NAYY 4x150 SE | 68 | 71 | 0.084465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3292-1_1_2_line_75 | NAYY 4x150 SE | 69 | 93 | 0.016464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3292-1_1_2_line_76 | NAYY 4x150 SE | 70 | 71 | 0.11786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3292-1_1_2_line_77 | NAYY 4x150 SE | 71 | 72 | 0.006141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3292-1_1_2_line_78 | NAYY 4x150 SE | 72 | 73 | 0.010269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3292-1_1_2_line_79 | NAYY 4x150 SE | 72 | 74 | 0.019443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3292-1_1_2_line_80 | NAYY 4x150 SE | 73 | 75 | 0.13366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3292-1_1_2_line_81 | NAYY 4x150 SE | 74 | 76 | 0.016274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3292-1_1_2_line_82 | NAYY 4x150 SE | 75 | 77 | 0.021899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3292-1_1_2_line_83 | NAYY 4x150 SE | 77 | 78 | 0.012722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3292-1_1_2_line_84 | NAYY 4x150 SE | 79 | 80 | 0.021333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3292-1_1_2_line_85 | NAYY 4x150 SE | 79 | 81 | 0.11757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3292-1_1_2_line_86 | NAYY 4x150 SE | 81 | 82 | 0.13091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3292-1_1_2_line_87 | NAYY 4x150 SE | 85 | 86 | 0.16583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3292-1_1_2_line_88 | NAYY 4x150 SE | 86 | 87 | 0.16231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3292-1_1_2_line_89 | NAYY 4x150 SE | 86 | 88 | 0.23289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3292-1_1_2_line_90 | NAYY 4x150 SE | 87 | 89 | 0.0094565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3292-1_1_2_line_91 | NAYY 4x150 SE | 88 | 90 | 0.12546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3292-1_1_2_line_92 | NAYY 4x150 SE | 92 | 93 | 0.0079859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3292-1_1_2_line_93 | NAYY 4x150 SE | 93 | 94 | 0.086815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3292-1_1_2_line_94 | NAYY 4x150 SE | 94 | 95 | 0.025248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3292-1_1_2_trafo_156 | 0.25 MVA 20/0.4 kV | 96 | 30 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2743394.9428 | 1217404.8845 | 2743399.6472 | 1217394.3442 | 2743400.6482 | 1217384.9987
1 | 2743336.1335 | 1217328.9593 | 2743400.6482 | 1217384.9987
2 | 2743189.8229 | 1217240.3122 | 2743336.1335 | 1217328.9593
3 | 2743007.2368 | 1217234.7235 | 2743008.8665 | 1217219.3606 | 2743026.9953 | 1217198.5112 | 2743041.935 | 1217183.3234 | 2743066.8143 | 1217163.8151 | 2743090.2863 | 1217146.297 | 2743091.3623 | 1217141.3592
4 | 2743007.2368 | 1217234.7235 | 2742998.7599 | 1217248.6764 | 2742987.2995 | 1217263.5252 | 2742949.964 | 1217303.3302 | 2742898.0361 | 1217329.6628
5 | 2743007.2368 | 1217234.7235 | 2743019.2498 | 1217217.1078 | 2743036.4867 | 1217203.3542 | 2743052.0879 | 1217196.9899 | 2743068.8623 | 1217193.9566 | 2743079.3894 | 1217192.9801
6 | 2742898.0361 | 1217329.6628 | 2742839.655 | 1217358.7659 | 2742833.4658 | 1217364.6409
7 | 2742777.402 | 1217415.3891 | 2742804.107 | 1217392.5094 | 2742833.4658 | 1217364.6409
8 | 2742777.402 | 1217415.3891 | 2742762.0857 | 1217424.7968 | 2742748.6887 | 1217433.0274 | 2742642.5833 | 1217508.4622 | 2742620.3273 | 1217535.8862
9 | 2742777.402 | 1217415.3891 | 2742774.8299 | 1217424.4685 | 2742721.1518 | 1217470.6666 | 2742712.3806 | 1217499.8342
10 | 2743189.8229 | 1217240.3122 | 2743196.9844 | 1217218.1534
11 | 2743189.8229 | 1217240.3122 | 2743179.439 | 1217258.0668 | 2743165.653 | 1217269.8012 | 2743146.8425 | 1217281.715 | 2743134.0883 | 1217293.1852 | 2743127.8791 | 1217307.893
12 | 2743189.8229 | 1217240.3122 | 2743180.7772 | 1217237.1589 | 2743172.4979 | 1217245.8422
13 | 2743127.8791 | 1217307.893 | 2743127.3233 | 1217309.2141 | 2743121.1759 | 1217329.8841 | 2743115.1883 | 1217342.6401 | 2743104.1688 | 1217355.8868 | 2743095.2603 | 1217370.0961 | 2743077.5593 | 1217408.237 | 2743073.1958 | 1217424.8464 | 2743071.235 | 1217441.3357 | 2743072.5365 | 1217463.0299 | 2743072.3568 | 1217471.3646
14 | 2742903.509 | 1217527.8293 | 2742882.4951 | 1217573.4536
15 | 2742786.5417 | 1217529.9056 | 2742903.509 | 1217527.8293
16 | 2742882.032 | 1217583.5733 | 2742882.4951 | 1217573.4536
17 | 2742786.5417 | 1217529.9056 | 2742782.0104 | 1217533.065
18 | 2742822.3838 | 1217623.1773 | 2742882.032 | 1217583.5733
19 | 2743072.16 | 1217480.4893 | 2743072.3568 | 1217471.3646
20 | 2742822.3838 | 1217623.1773 | 2742826.5208 | 1217624.8445 | 2742841.533 | 1217659.7563 | 2742839.8006 | 1217682.2893
21 | 2742802.7058 | 1217651.7078 | 2742809.8278 | 1217638.1558 | 2742822.3838 | 1217623.1773
22 | 2743072.16 | 1217480.4893 | 2743072.0703 | 1217484.6482 | 2743069.4801 | 1217503.9469 | 2743063.0892 | 1217533.1851 | 2743055.4865 | 1217553.7535 | 2743051.0389 | 1217561.4526
23 | 2743123.9955 | 1217495.0594 | 2743222.3623 | 1217477.9349
24 | 2743123.9955 | 1217495.0594 | 2743109.8435 | 1217505.6175 | 2743106.6116 | 1217509.8991 | 2743103.2204 | 1217523.3528
25 | 2743053.7275 | 1217653.1915 | 2743050.7848 | 1217658.7302 | 2743045.7254 | 1217681.9519
26 | 2743043.8367 | 1217690.6208 | 2743045.7254 | 1217681.9519
27 | 2743045.7254 | 1217681.9519 | 2743194.8056 | 1217718.4401
28 | 2743014.1644 | 1217722.5947 | 2743015.4033 | 1217727.2951 | 2743022.731 | 1217731.4412 | 2743027.6169 | 1217731.0136 | 2743032.4004 | 1217729.4715 | 2743037.162 | 1217721.2566 | 2743043.8367 | 1217690.6208
29 | 2743167.8753 | 1217832.0075 | 2743194.8056 | 1217718.4401
30 | 2743103.2204 | 1217523.3528 | 2743102.1286 | 1217527.6844 | 2743102.1286 | 1217527.6844
31 | 2743046.0013 | 1217570.1732 | 2743056.0254 | 1217567.9897 | 2743067.8333 | 1217550.992 | 2743095.2169 | 1217535.9255 | 2743102.1286 | 1217527.6844
32 | 2743046.0013 | 1217570.1732 | 2743051.0389 | 1217561.4526
33 | 2743046.0013 | 1217570.1732 | 2743032.2372 | 1217585.3581
34 | 2743032.2372 | 1217585.3581 | 2743019.4145 | 1217599.5045 | 2743012.2881 | 1217609.4198 | 2743008.1787 | 1217624.3116 | 2743007.6911 | 1217632.2571
35 | 2743012.1386 | 1217714.9284 | 2743009.6831 | 1217696.3759 | 2743008.9375 | 1217681.8901 | 2743006.9713 | 1217643.9105 | 2743007.4925 | 1217635.4936 | 2743007.6911 | 1217632.2571
36 | 2743012.1386 | 1217714.9284 | 2743014.1644 | 1217722.5947
37 | 2743012.1386 | 1217714.9284 | 2743002.8391 | 1217717.3073 | 2742984.2117 | 1217733.6854 | 2742967.4841 | 1217748.2497
38 | 2743014.1644 | 1217722.5947 | 2742999.4434 | 1217730.3147 | 2742985.5668 | 1217751.2574
39 | 2742913.878 | 1217785.0421 | 2742940.2259 | 1217765.2905 | 2742957.0407 | 1217757.3426 | 2742967.4841 | 1217748.2497
40 | 2742913.878 | 1217785.0421 | 2742863.9736 | 1217801.2816 | 2742772.7094 | 1217835.3345
41 | 2742913.878 | 1217785.0421 | 2742901.5491 | 1217813.0259 | 2742892.6932 | 1217822.8775 | 2742833.6603 | 1217877.8185
42 | 2742772.7094 | 1217835.3345 | 2742761.1999 | 1217839.6291 | 2742731.3756 | 1217855.8619 | 2742715.919 | 1217862.9311
43 | 2742772.7094 | 1217835.3345 | 2742761.6388 | 1217853.6294 | 2742757.5885 | 1217888.8957 | 2742758.0951 | 1217895.5437
44 | 2742831.2122 | 1217880.0968 | 2742833.6603 | 1217877.8185
45 | 2742894.8796 | 1217895.0582 | 2742904.3876 | 1217897.8997 | 2742937.418 | 1217871.1802 | 2742979.0491 | 1217849.0313
46 | 2742894.8796 | 1217895.0582 | 2742890.1616 | 1217907.1665 | 2742890.412 | 1217912.1812
47 | 2742898.2137 | 1217927.3212 | 2742890.8642 | 1217921.2398 | 2742890.412 | 1217912.1812
48 | 2742715.919 | 1217862.9311 | 2742694.6347 | 1217872.663 | 2742669.8817 | 1217888.0279 | 2742629.9726 | 1217929.3188 | 2742616.2396 | 1217945.9265 | 2742610.0702 | 1217956.1988 | 2742608.1748 | 1217976.9933 | 2742601.5436 | 1217992.281 | 2742596.5892 | 1217997.0671
49 | 2742715.919 | 1217862.9311 | 2742717.0354 | 1217852.7936 | 2742751.0152 | 1217824.4611 | 2742786.1924 | 1217795.6126 | 2742809.7827 | 1217763.5283 | 2742837.4818 | 1217712.4486 | 2742839.8006 | 1217682.2893
50 | 2742800.5706 | 1217955.7381 | 2742767.9592 | 1217928.9228 | 2742759.6508 | 1217915.9571 | 2742758.0951 | 1217895.5437
51 | 2742596.5892 | 1217997.0671 | 2742590.3104 | 1218003.1326 | 2742558.0087 | 1218013.4686 | 2742526.7877 | 1218029.7356 | 2742522.1586 | 1218030.294
52 | 2742522.1586 | 1218030.294 | 2742518.4026 | 1218030.747 | 2742509.1934 | 1218030.0151 | 2742503.0946 | 1218027.6238
53 | 2742709.2185 | 1217594.6531 | 2742712.9389 | 1217594.3753 | 2742715.9514 | 1217592.5792 | 2742719.1426 | 1217588.3965 | 2742725.6953 | 1217575.4647 | 2742730.3035 | 1217569.5144 | 2742735.5807 | 1217565.4373 | 2742782.0104 | 1217533.065
54 | 2742709.2185 | 1217594.6531 | 2742724.2533 | 1217611.2273 | 2742725.1393 | 1217620.3855
55 | 2742709.2185 | 1217594.6531 | 2742709.1884 | 1217601.6138 | 2742701.8561 | 1217622.6784 | 2742701.6477 | 1217624.4862
56 | 2742709.2185 | 1217594.6531 | 2742706.4176 | 1217591.7391 | 2742702.5672 | 1217578.1131 | 2742701.449 | 1217565.8314 | 2742700.9222 | 1217548.5151 | 2742702.1137 | 1217533.9757 | 2742711.2787 | 1217503.4986
57 | 2742711.2787 | 1217503.4986 | 2742712.3806 | 1217499.8342
58 | 2742620.3273 | 1217535.8862 | 2742576.8016 | 1217589.5348
59 | 2742620.3273 | 1217535.8862 | 2742635.0486 | 1217499.6187 | 2742665.1066 | 1217457.5246 | 2742680.7983 | 1217428.3198 | 2742686.94 | 1217413.2096 | 2742704.7546 | 1217386.7024 | 2742706.6215 | 1217375.2144
60 | 2742576.8016 | 1217589.5348 | 2742576.8659 | 1217610.3207 | 2742576.8427 | 1217628.5377
61 | 2742576.8016 | 1217589.5348 | 2742534.709 | 1217641.4054 | 2742491.6411 | 1217698.8355 | 2742487.7631 | 1217704.9117
62 | 2742576.8016 | 1217589.5348 | 2742456.0118 | 1217568.862
63 | 2742706.6215 | 1217375.2144 | 2742709.9762 | 1217354.5709
64 | 2742578.3622 | 1217649.9569 | 2742576.8317 | 1217637.1205 | 2742576.8427 | 1217628.5377
65 | 2742487.7631 | 1217704.9117 | 2742453.0584 | 1217759.2868 | 2742431.8479 | 1217771.3345 | 2742404.394 | 1217779.3494
66 | 2742456.0118 | 1217568.862 | 2742451.3941 | 1217563.1578 | 2742436.7639 | 1217560.4281 | 2742371.2608 | 1217589.0205 | 2742364.0784 | 1217590.8503
67 | 2742711.534 | 1217344.9848 | 2742709.9762 | 1217354.5709
68 | 2742503.0946 | 1218027.6238 | 2742495.1328 | 1218024.502
69 | 2742898.2137 | 1217927.3212 | 2742901.0574 | 1217939.1995 | 2742901.9168 | 1217954.3331 | 2742899.1854 | 1217959.294
70 | 2742898.2137 | 1217927.3212 | 2742919.5113 | 1217939.8204 | 2742929.1146 | 1217953.2399 | 2742935.8355 | 1217985.184 | 2742935.6894 | 1217990.2244
71 | 2742892.1309 | 1217955.4771 | 2742899.1854 | 1217959.294
72 | 2742935.6894 | 1217990.2244 | 2743048.1235 | 1217953.7849
73 | 2742935.6894 | 1217990.2244 | 2742809.3995 | 1218294.3053
74 | 2743121.7036 | 1217993.5523 | 2743112.2892 | 1217983.3508 | 2743108.272 | 1217980.8188 | 2743091.03 | 1217973.6987 | 2743059.433 | 1217957.8154 | 2743048.1235 | 1217953.7849
75 | 2742805.8158 | 1218308.5316 | 2742804.9746 | 1218304.975 | 2742805.0594 | 1218301.4407 | 2742805.5296 | 1218297.9824 | 2742806.2812 | 1218295.7763 | 2742807.5293 | 1218295.0278 | 2742809.3995 | 1218294.3053
76 | 2743121.7036 | 1217993.5523 | 2743123.2245 | 1217997.57 | 2743125.3901 | 1218010.155 | 2743124.4149 | 1218015.9699 | 2743120.1694 | 1218022.3067 | 2743113.6066 | 1218026.7973 | 2743102.739 | 1218029.9835 | 2743090.8215 | 1218036.0914 | 2743084.6361 | 1218040.0463 | 2743078.2137 | 1218045.3299 | 2743072.1595 | 1218053.9364 | 2743062.2345 | 1218073.8373 | 2743060.3868 | 1218079.7409
77 | 2743121.7036 | 1217993.5523 | 2743119.5331 | 1217987.8064
78 | 2743119.5331 | 1217987.8064 | 2743115.9024 | 1217978.201
79 | 2743119.5331 | 1217987.8064 | 2743125.8203 | 1217985.6222 | 2743137.3701 | 1217984.076 | 2743138.453 | 1217983.7383
80 | 2743115.9024 | 1217978.201 | 2743106.5525 | 1217953.4653 | 2743103.4344 | 1217929.3253 | 2743108.6847 | 1217915.94 | 2743145.5556 | 1217858.2073
81 | 2743153.989 | 1217978.893 | 2743138.453 | 1217983.7383
82 | 2743145.5556 | 1217858.2073 | 2743152.7097 | 1217847.0052 | 2743158.8295 | 1217840.9531
83 | 2743167.8753 | 1217832.0075 | 2743158.8295 | 1217840.9531
84 | 2742711.534 | 1217344.9848 | 2742705.6579 | 1217342.353 | 2742695.7079 | 1217353.4797
85 | 2742711.534 | 1217344.9848 | 2742717.4635 | 1217312.4324 | 2742742.6403 | 1217265.551 | 2742743.3858 | 1217260.4312 | 2742741.3042 | 1217256.022 | 2742732.2487 | 1217256.1163 | 2742721.8682 | 1217262.4457
86 | 2742626.8048 | 1217341.8649 | 2742631.9987 | 1217320.6601 | 2742643.2719 | 1217306.2954 | 2742658.7094 | 1217294.3659 | 2742699.8776 | 1217270.7536 | 2742712.5944 | 1217268.1003 | 2742721.8682 | 1217262.4457
87 | 2742467.364 | 1217322.9241 | 2742469.3794 | 1217313.2863 | 2742483.8471 | 1217274.8996 | 2742500.2445 | 1217252.05 | 2742517.9788 | 1217226.9749 | 2742536.0825 | 1217192.8233 | 2742543.5984 | 1217177.0489
88 | 2742467.364 | 1217322.9241 | 2742470.5979 | 1217343.619 | 2742469.758 | 1217357.4552 | 2742465.0176 | 1217378.4597 | 2742461.6336 | 1217385.3069 | 2742458.9003 | 1217393.5263 | 2742461.1068 | 1217400.3404 | 2742464.6021 | 1217403.1263 | 2742469.6599 | 1217404.0925 | 2742482.6343 | 1217400.1771 | 2742499.2858 | 1217391.4456 | 2742516.0019 | 1217380.0245 | 2742521.392 | 1217374.4042 | 2742522.217 | 1217368.1741 | 2742519.9863 | 1217362.3714
89 | 2742467.364 | 1217322.9241 | 2742463.9762 | 1217340.4025 | 2742456.7493 | 1217359.9463 | 2742420.745 | 1217398.5742 | 2742402.7035 | 1217406.9947 | 2742393.6377 | 1217409.7582 | 2742365.9813 | 1217418.1824 | 2742355.7368 | 1217424.1873 | 2742315.4069 | 1217472.8877 | 2742309.2164 | 1217478.0215
90 | 2742513.7153 | 1217355.2932 | 2742519.9863 | 1217362.3714
91 | 2742309.2164 | 1217478.0215 | 2742364.0784 | 1217590.8503
92 | 2742805.8158 | 1218308.5316 | 2742812.3665 | 1218308.9556 | 2742813.7854 | 1218308.872
93 | 2742805.8158 | 1218308.5316 | 2742800.1759 | 1218309.0747 | 2742776.7789 | 1218318.9335 | 2742726.6694 | 1218316.6867 | 2742721.0836 | 1218316.2868
94 | 2742721.0836 | 1218316.2868 | 2742695.8998 | 1218314.4836

## bus_geodata
| x | y | coords
0 | 2743400.6482 | 1217384.9987
1 | 2743394.9428 | 1217404.8845
2 | 2743336.1335 | 1217328.9593
3 | 2743091.3623 | 1217141.3592
4 | 2743007.2368 | 1217234.7235
5 | 2742898.0361 | 1217329.6628
6 | 2743079.3894 | 1217192.9801
7 | 2742833.4658 | 1217364.6409
8 | 2742777.402 | 1217415.3891
9 | 2743196.9844 | 1217218.1534
10 | 2743189.8229 | 1217240.3122
11 | 2743172.4979 | 1217245.8422
12 | 2743127.8791 | 1217307.893
13 | 2742903.509 | 1217527.8293
14 | 2742882.4951 | 1217573.4536
15 | 2742786.5417 | 1217529.9056
16 | 2742882.032 | 1217583.5733
17 | 2743072.3568 | 1217471.3646
18 | 2742822.3838 | 1217623.1773
19 | 2743072.16 | 1217480.4893
20 | 2743222.3623 | 1217477.9349
21 | 2743123.9955 | 1217495.0594
22 | 2743053.7275 | 1217653.1915
23 | 2743045.7254 | 1217681.9519
24 | 2743043.8367 | 1217690.6208
25 | 2743194.8056 | 1217718.4401
26 | 2743103.2204 | 1217523.3528
27 | 2743102.1286 | 1217527.6844
28 | 2743046.0013 | 1217570.1732
29 | 2743051.0389 | 1217561.4526
30 | 2743032.2372 | 1217585.3581
31 | 2743007.6911 | 1217632.2571
32 | 2743012.1386 | 1217714.9284
33 | 2743014.1644 | 1217722.5947
34 | 2742967.4841 | 1217748.2497
35 | 2742985.5668 | 1217751.2574
36 | 2742913.878 | 1217785.0421
37 | 2742772.7093 | 1217835.3345
38 | 2742833.6603 | 1217877.8185
39 | 2742894.8796 | 1217895.0582
40 | 2742979.0491 | 1217849.0313
41 | 2742890.412 | 1217912.1812
42 | 2742715.919 | 1217862.9311
43 | 2742758.0951 | 1217895.5437
44 | 2742831.2122 | 1217880.0968
45 | 2742596.5892 | 1217997.0671
46 | 2742839.8006 | 1217682.2893
47 | 2742800.5706 | 1217955.7381
48 | 2742802.7058 | 1217651.7078
49 | 2742522.1586 | 1218030.294
50 | 2742782.0104 | 1217533.065
51 | 2742709.2185 | 1217594.6531
52 | 2742725.1393 | 1217620.3855
53 | 2742701.6477 | 1217624.4862
54 | 2742711.2787 | 1217503.4986
55 | 2742712.3806 | 1217499.8342
56 | 2742620.3273 | 1217535.8862
57 | 2742576.8016 | 1217589.5348
58 | 2742706.6215 | 1217375.2144
59 | 2742576.8427 | 1217628.5377
60 | 2742487.7631 | 1217704.9117
61 | 2742456.0118 | 1217568.862
62 | 2742709.9762 | 1217354.5709
63 | 2742503.0946 | 1218027.6238
64 | 2742898.2137 | 1217927.3212
65 | 2742899.1854 | 1217959.294
66 | 2742935.6894 | 1217990.2244
67 | 2742892.1309 | 1217955.4771
68 | 2743048.1235 | 1217953.7849
69 | 2742809.3995 | 1218294.3053
70 | 2743060.3868 | 1218079.7409
71 | 2743121.7036 | 1217993.5523
72 | 2743119.5331 | 1217987.8064
73 | 2743115.9024 | 1217978.201
74 | 2743138.453 | 1217983.7383
75 | 2743145.5556 | 1217858.2073
76 | 2743153.989 | 1217978.893
77 | 2743158.8296 | 1217840.9531
78 | 2743167.8753 | 1217832.0075
79 | 2742711.534 | 1217344.9848
80 | 2742695.7079 | 1217353.4797
81 | 2742721.8682 | 1217262.4457
82 | 2742626.8048 | 1217341.8649
83 | 2742578.3622 | 1217649.9569
84 | 2742404.3941 | 1217779.3494
85 | 2742543.5984 | 1217177.0489
86 | 2742467.364 | 1217322.9241
87 | 2742519.9863 | 1217362.3714
88 | 2742309.2164 | 1217478.0215
89 | 2742513.7153 | 1217355.2932
90 | 2742364.0784 | 1217590.8503
91 | 2742495.1328 | 1218024.502
92 | 2742813.7854 | 1218308.872
93 | 2742805.8158 | 1218308.5316
94 | 2742721.0836 | 1218316.2868
95 | 2742695.8998 | 1218314.4836
96 | 2743032.2372 | 1217585.3581

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1