## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3292-2_1_2_node_6 | 0.4 | n |  | TRUE
1 | bus_LV_3292-2_1_2_node_7 | 0.4 | n |  | TRUE
2 | bus_LV_3292-2_1_2_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_3292-2_1_2_node_27 | 0.4 | n |  | TRUE
4 | bus_LV_3292-2_1_2_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_3292-2_1_2_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_3292-2_1_2_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_3292-2_1_2_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_3292-2_1_2_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_3292-2_1_2_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_3292-2_1_2_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_3292-2_1_2_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_3292-2_1_2_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_3292-2_1_2_node_90 | 0.4 | n |  | TRUE
14 | bus_LV_3292-2_1_2_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_3292-2_1_2_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_3292-2_1_2_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_3292-2_1_2_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_3292-2_1_2_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_3292-2_1_2_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_3292-2_1_2_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_3292-2_1_2_node_51 | 0.4 | n |  | TRUE
22 | bus_LV_3292-2_1_2_node_44 | 0.4 | n |  | TRUE
23 | bus_LV_3292-2_1_2_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_3292-2_1_2_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_3292-2_1_2_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_3292-2_1_2_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_3292-2_1_2_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_3292-2_1_2_node_52 | 0.4 | n |  | TRUE
29 | bus_LV_3292-2_1_2_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_3292-2_1_2_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_3292-2_1_2_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_3292-2_1_2_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_3292-2_1_2_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_3292-2_1_2_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_3292-2_1_2_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_3292-2_1_2_node_61 | 0.4 | n |  | TRUE
37 | bus_LV_3292-2_1_2_node_66 | 0.4 | n |  | TRUE
38 | bus_LV_3292-2_1_2_node_62 | 0.4 | n |  | TRUE
39 | bus_LV_3292-2_1_2_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_3292-2_1_2_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_3292-2_1_2_node_88 | 0.4 | n |  | TRUE
42 | bus_LV_3292-2_1_2_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_3292-2_1_2_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_3292-2_1_2_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_3292-2_1_2_node_59 | 0.4 | n |  | TRUE
46 | bus_LV_3292-2_1_2_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_3292-2_1_2_node_106 | 0.4 | n |  | TRUE
48 | bus_LV_3292-2_1_2_node_73 | 0.4 | n |  | TRUE
49 | bus_LV_3292-2_1_2_node_104 | 0.4 | n |  | TRUE
50 | bus_LV_3292-2_1_2_node_71 | 0.4 | n |  | TRUE
51 | bus_LV_3292-2_1_2_node_114 | 0.4 | n |  | TRUE
52 | bus_LV_3292-2_1_2_node_113 | 0.4 | n |  | TRUE
53 | bus_LV_3292-2_1_2_node_68 | 0.4 | n |  | TRUE
54 | bus_LV_3292-2_1_2_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_3292-2_1_2_node_70 | 0.4 | n |  | TRUE
56 | bus_LV_3292-2_1_2_node_69 | 0.4 | n |  | TRUE
57 | bus_LV_3292-2_1_2_node_89 | 0.4 | n |  | TRUE
58 | bus_LV_3292-2_1_2_node_91 | 0.4 | n |  | TRUE
59 | bus_LV_3292-2_1_2_node_112 | 0.4 | n |  | TRUE
60 | bus_LV_3292-2_1_2_node_98 | 0.4 | n |  | TRUE
61 | bus_LV_3292-2_1_2_node_99 | 0.4 | n |  | TRUE
62 | bus_LV_3292-2_1_2_node_100 | 0.4 | n |  | TRUE
63 | bus_LV_3292-2_1_2_node_101 | 0.4 | n |  | TRUE
64 | bus_LV_3292-2_1_2_node_102 | 0.4 | n |  | TRUE
65 | bus_LV_3292-2_1_2_node_103 | 0.4 | n |  | TRUE
66 | bus_MV_150_0_node_62 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3292-2_1_2_load_6 | 0 | 0.002669 | 0.00066891 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3292-2_1_2_load_7 | 1 | 0.0024499 | 0.00061401 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3292-2_1_2_load_9 | 2 | 0.0018653 | 0.00046748 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3292-2_1_2_load_11 | 5 | 0.0051585 | 0.0012928 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3292-2_1_2_load_12 | 6 | 0.0011193 | 0.00028051 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3292-2_1_2_load_14 | 8 | 0.0017608 | 0.0004413 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3292-2_1_2_load_24 | 9 | 0.0017531 | 0.00043937 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3292-2_1_2_load_25 | 10 | 0.013024 | 0.0032641 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3292-2_1_2_load_55 | 12 | 0.0016934 | 0.00042441 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3292-2_1_2_load_90 | 13 | 0.0019233 | 0.00048201 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3292-2_1_2_load_28 | 14 | 0.0003651 | 9.1502e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3292-2_1_2_load_29 | 15 | 0.00027697 | 6.9414e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3292-2_1_2_load_31 | 17 | 0.00023054 | 5.778e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3292-2_1_2_load_54 | 20 | 0.0057673 | 0.0014454 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3292-2_1_2_load_51 | 21 | 0.0011197 | 0.00028062 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3292-2_1_2_load_36 | 23 | 0.00051809 | 0.00012985 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3292-2_1_2_load_39 | 25 | 0.0007994 | 0.00020035 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3292-2_1_2_load_34 | 26 | 0.00024109 | 6.0423e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3292-2_1_2_load_40 | 27 | 0.00043639 | 0.00010937 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3292-2_1_2_load_52 | 28 | 0.0011404 | 0.00028582 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3292-2_1_2_load_35 | 29 | 0.00036051 | 9.0353e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3292-2_1_2_load_41 | 30 | 0.00033232 | 8.3288e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3292-2_1_2_load_43 | 31 | 0.0042921 | 0.0010757 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3292-2_1_2_load_46 | 33 | 0.0032656 | 0.00081842 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3292-2_1_2_load_48 | 34 | 0.012043 | 0.0030182 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3292-2_1_2_load_49 | 35 | 0.0023292 | 0.00058374 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3292-2_1_2_load_61 | 36 | 0.00087521 | 0.00021935 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3292-2_1_2_load_66 | 37 | 0.0015085 | 0.00037807 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3292-2_1_2_load_62 | 38 | 0.00084076 | 0.00021072 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3292-2_1_2_load_67 | 39 | 0.0010773 | 0.00026999 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3292-2_1_2_load_53 | 40 | 0.0018141 | 0.00045466 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3292-2_1_2_load_88 | 41 | 0.001594 | 0.00039949 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3292-2_1_2_load_56 | 42 | 0.0064494 | 0.0016164 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3292-2_1_2_load_57 | 43 | 0.0032743 | 0.00082061 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3292-2_1_2_load_58 | 44 | 0.0024231 | 0.00060727 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3292-2_1_2_load_59 | 45 | 0.0017127 | 0.00042924 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3292-2_1_2_load_60 | 46 | 0.0021236 | 0.00053222 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3292-2_1_2_load_106 | 47 | 0.0018397 | 0.00046108 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3292-2_1_2_load_73 | 48 | 0.00083593 | 0.0002095 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3292-2_1_2_load_104 | 49 | 0.0033531 | 0.00084036 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3292-2_1_2_load_71 | 50 | 0.00093087 | 0.0002333 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3292-2_1_2_load_114 | 51 | 0.0035149 | 0.00088093 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3292-2_1_2_load_113 | 52 | 0.00097468 | 0.00024428 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3292-2_1_2_load_68 | 53 | 0.0011717 | 0.00029366 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3292-2_1_2_load_72 | 54 | 0.0012561 | 0.00031481 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3292-2_1_2_load_70 | 55 | 0.0011244 | 0.0002818 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3292-2_1_2_load_69 | 56 | 0.00097511 | 0.00024439 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3292-2_1_2_load_89 | 57 | 0.0010635 | 0.00026653 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3292-2_1_2_load_91 | 58 | 0.0009457 | 0.00023702 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3292-2_1_2_load_112 | 59 | 0.0012334 | 0.00030911 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3292-2_1_2_load_98 | 60 | 0.0015846 | 0.00039713 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3292-2_1_2_load_99 | 61 | 0.0031281 | 0.00078399 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3292-2_1_2_load_100 | 62 | 0.012488 | 0.0031299 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3292-2_1_2_load_101 | 63 | 0.0036912 | 0.00092509 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3292-2_1_2_load_102 | 64 | 0.0015569 | 0.00039019 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3292-2_1_2_load_103 | 65 | 0.0016386 | 0.00041067 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3292-2_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.014694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3292-2_1_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.01465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3292-2_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.2031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3292-2_1_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.069517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3292-2_1_2_line_4 | NAYY 4x150 SE | 4 | 9 | 0.029288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3292-2_1_2_line_5 | NAYY 4x150 SE | 4 | 7 | 0.012048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3292-2_1_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.01535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3292-2_1_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.030955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3292-2_1_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.027339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3292-2_1_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.012009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3292-2_1_2_line_10 | NAYY 4x150 SE | 10 | 11 | 0.020146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3292-2_1_2_line_11 | NAYY 4x150 SE | 11 | 12 | 0.052164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3292-2_1_2_line_12 | NAYY 4x150 SE | 12 | 13 | 0.002375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3292-2_1_2_line_13 | NAYY 4x150 SE | 13 | 41 | 0.012156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3292-2_1_2_line_14 | NAYY 4x150 SE | 14 | 15 | 0.020238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3292-2_1_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.063923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3292-2_1_2_line_16 | NAYY 4x150 SE | 16 | 17 | 0.011722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3292-2_1_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.037132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3292-2_1_2_line_18 | NAYY 4x150 SE | 17 | 23 | 0.027946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3292-2_1_2_line_19 | NAYY 4x150 SE | 18 | 26 | 0.02076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3292-2_1_2_line_20 | NAYY 4x150 SE | 18 | 24 | 0.15615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3292-2_1_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.043017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3292-2_1_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.019797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3292-2_1_2_line_23 | NAYY 4x150 SE | 19 | 22 | 0.043138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3292-2_1_2_line_24 | NAYY 4x150 SE | 21 | 28 | 0.020672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3292-2_1_2_line_25 | NAYY 4x150 SE | 21 | 24 | 0.17107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3292-2_1_2_line_26 | NAYY 4x150 SE | 22 | 33 | 0.019466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3292-2_1_2_line_27 | NAYY 4x150 SE | 22 | 31 | 0.009535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3292-2_1_2_line_28 | NAYY 4x150 SE | 24 | 25 | 0.11221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3292-2_1_2_line_29 | NAYY 4x150 SE | 25 | 27 | 0.080439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3292-2_1_2_line_30 | NAYY 4x150 SE | 26 | 29 | 0.037908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3292-2_1_2_line_31 | NAYY 4x150 SE | 27 | 30 | 0.034265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3292-2_1_2_line_32 | NAYY 4x150 SE | 28 | 40 | 0.022648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3292-2_1_2_line_33 | NAYY 4x150 SE | 31 | 32 | 0.0077875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3292-2_1_2_line_34 | NAYY 4x150 SE | 32 | 34 | 0.011866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3292-2_1_2_line_35 | NAYY 4x150 SE | 32 | 35 | 0.029801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3292-2_1_2_line_36 | NAYY 4x150 SE | 34 | 36 | 0.044776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3292-2_1_2_line_37 | NAYY 4x150 SE | 35 | 37 | 0.027074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3292-2_1_2_line_38 | NAYY 4x150 SE | 36 | 38 | 0.0083989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3292-2_1_2_line_39 | NAYY 4x150 SE | 37 | 39 | 0.0018796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3292-2_1_2_line_40 | NAYY 4x150 SE | 38 | 51 | 0.00048516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3292-2_1_2_line_41 | NAYY 4x150 SE | 39 | 53 | 0.017793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3292-2_1_2_line_42 | NAYY 4x150 SE | 41 | 57 | 0.016454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3292-2_1_2_line_43 | NAYY 4x150 SE | 42 | 43 | 0.020122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3292-2_1_2_line_44 | NAYY 4x150 SE | 42 | 44 | 0.0018427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3292-2_1_2_line_45 | NAYY 4x150 SE | 43 | 45 | 0.00038857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3292-2_1_2_line_46 | NAYY 4x150 SE | 44 | 46 | 0.019345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3292-2_1_2_line_47 | NAYY 4x150 SE | 45 | 47 | 0.022377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3292-2_1_2_line_48 | NAYY 4x150 SE | 46 | 48 | 0.0028091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3292-2_1_2_line_49 | NAYY 4x150 SE | 47 | 49 | 0.0046174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3292-2_1_2_line_50 | NAYY 4x150 SE | 48 | 50 | 0.017474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3292-2_1_2_line_51 | NAYY 4x150 SE | 49 | 65 | 0.018112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3292-2_1_2_line_52 | NAYY 4x150 SE | 50 | 56 | 0.0079029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3292-2_1_2_line_53 | NAYY 4x150 SE | 51 | 52 | 0.017657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3292-2_1_2_line_54 | NAYY 4x150 SE | 52 | 59 | 0.0069234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3292-2_1_2_line_55 | NAYY 4x150 SE | 53 | 54 | 0.017312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3292-2_1_2_line_56 | NAYY 4x150 SE | 54 | 55 | 0.01056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3292-2_1_2_line_57 | NAYY 4x150 SE | 55 | 56 | 0.010945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3292-2_1_2_line_58 | NAYY 4x150 SE | 57 | 58 | 0.0080512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3292-2_1_2_line_59 | NAYY 4x150 SE | 58 | 59 | 0.0011978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3292-2_1_2_line_60 | NAYY 4x150 SE | 60 | 61 | 0.038734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3292-2_1_2_line_61 | NAYY 4x150 SE | 60 | 62 | 0.0024688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3292-2_1_2_line_62 | NAYY 4x150 SE | 61 | 63 | 0.015728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3292-2_1_2_line_63 | NAYY 4x150 SE | 62 | 64 | 0.047408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3292-2_1_2_line_64 | NAYY 4x150 SE | 63 | 65 | 0.0063942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3292-2_1_2_trafo_66 | 0.25 MVA 20/0.4 kV | 66 | 37 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2740946.648 | 1216994.366 | 2740946.648 | 1216994.366 | 2740949.5748 | 1216998.105 | 2740958.1089 | 1217003.2127
1 | 2740958.1089 | 1217003.2127 | 2740967.0244 | 1217008.5487 | 2740970.7423 | 1217010.6273
2 | 2741132.9369 | 1217075.6875 | 2741118.652 | 1217056.0771 | 2741106.0997 | 1217049.8858 | 2741094.4484 | 1217041.5696 | 2741083.2884 | 1217014.1156 | 2741081.252 | 1217009.6636 | 2741077.1233 | 1217007.9311 | 2741056.306 | 1217008.8502 | 2741042.6415 | 1217006.9586 | 2741029.1367 | 1217006.661 | 2741020.531 | 1217010.5273 | 2741011.1477 | 1217017.4 | 2741006.0991 | 1217018.5927 | 2741002.5314 | 1217018.1857 | 2740991.5224 | 1217012.8874 | 2740987.0073 | 1217010.79 | 2740981.6513 | 1217010.5297 | 2740975.0283 | 1217011.1736 | 2740970.7423 | 1217010.6273
3 | 2741132.9369 | 1217075.6875 | 2741085.7032 | 1217115.4361 | 2741077.9213 | 1217115.6298
4 | 2741077.9213 | 1217115.6298 | 2741072.1717 | 1217111.1455 | 2741052.3733 | 1217101.5609
5 | 2741066.8494 | 1217119.7267 | 2741073.539 | 1217115.9485 | 2741077.9213 | 1217115.6298
6 | 2741066.4552 | 1217164.5279 | 2741063.5612 | 1217149.4528
7 | 2741066.8494 | 1217119.7267 | 2741065.0228 | 1217122.4525 | 2741062.4838 | 1217129.9209 | 2741061.4872 | 1217138.6491 | 2741063.5612 | 1217149.4528
8 | 2741066.4552 | 1217164.5279 | 2741071.466 | 1217190.6292 | 2741071.5691 | 1217191.3833
9 | 2741041.5639 | 1217096.328 | 2741052.3733 | 1217101.5609
10 | 2741023.4312 | 1217087.5498 | 2741041.5639 | 1217096.328
11 | 2741023.4312 | 1217087.5498 | 2741015.0731 | 1217087.3741 | 2741004.8858 | 1217087.1551 | 2740999.0175 | 1217087.0384 | 2740990.7644 | 1217089.4897 | 2740983.6651 | 1217098.7073 | 2740981.2887 | 1217104.4448 | 2740981.0675 | 1217105.7165
12 | 2740981.0675 | 1217105.7165 | 2740980.6604 | 1217108.0564
13 | 2740981.331 | 1217119.9812 | 2740981.331 | 1217119.9812 | 2740979.8205 | 1217112.8839 | 2740980.6604 | 1217108.0564
14 | 2741063.407 | 1217577.9404 | 2741069.7402 | 1217584.688 | 2741062.1835 | 1217592.6585
15 | 2741063.7214 | 1217516.5769 | 2741065.1084 | 1217557.0884 | 2741059.4068 | 1217573.6786 | 2741063.407 | 1217577.9404
16 | 2741063.7214 | 1217516.5769 | 2741075.3484 | 1217518.0633
17 | 2741027.937 | 1217523.2689 | 2741050.5404 | 1217515.4862 | 2741060.8638 | 1217516.3423 | 2741063.7214 | 1217516.5769
18 | 2741103.0688 | 1217521.6073 | 2741075.3484 | 1217518.0633
19 | 2741027.937 | 1217523.2689 | 2741034.9229 | 1217537.1015 | 2741034.7171 | 1217542.3609
20 | 2740994.2426 | 1217449.7206 | 2740988.7928 | 1217457.287 | 2740972.0412 | 1217466.821 | 2740960.0242 | 1217478.7913 | 2740956.1924 | 1217496.2932 | 2740958.8345 | 1217509.8005 | 2740965.0703 | 1217520.3569 | 2740976.796 | 1217528.063 | 2740987.2215 | 1217531.0232 | 2740995.9003 | 1217531.7403 | 2741008.4768 | 1217530.1365 | 2741027.937 | 1217523.2689
21 | 2741005.925 | 1217276.1282 | 2741013.974 | 1217272.9826 | 2741021.7873 | 1217269.2088 | 2741040.3915 | 1217251.4814
22 | 2741005.925 | 1217276.1282 | 2740992.5248 | 1217279.4584 | 2740986.5692 | 1217278.8242
23 | 2741005.925 | 1217276.1282 | 2741016.9425 | 1217252.5022 | 2741011.715 | 1217236.2426
24 | 2740986.5692 | 1217278.8242 | 2740978.8279 | 1217277.9998 | 2740966.0037 | 1217276.7284
25 | 2740986.5692 | 1217278.8242 | 2740994.2426 | 1217449.7206
26 | 2741011.715 | 1217236.2426 | 2741023.1772 | 1217220.5092
27 | 2741011.715 | 1217236.2426 | 2741005.8692 | 1217228.7098
28 | 2740994.2426 | 1217449.7206 | 2740970.1201 | 1217451.7295 | 2740944.4286 | 1217460.0288 | 2740932.1058 | 1217468.8782 | 2740923.3503 | 1217479.747 | 2740919.6978 | 1217492.5603 | 2740922.2674 | 1217510.9359
29 | 2740922.2674 | 1217510.9359 | 2740926.4334 | 1217540.727 | 2740922.7891 | 1217553.5183 | 2740914.6372 | 1217557.4955 | 2740887.9344 | 1217565.8769
30 | 2741027.1569 | 1217578.6528 | 2741033.8069 | 1217565.6214 | 2741034.7171 | 1217542.3609
31 | 2740887.9344 | 1217565.8769 | 2740861.2314 | 1217574.2582 | 2740854.9606 | 1217574.5435
32 | 2740943.4659 | 1217274.4938 | 2740966.0037 | 1217276.7284
33 | 2741001.0948 | 1217222.5576 | 2741005.8692 | 1217228.7098
34 | 2741001.0948 | 1217222.5576 | 2740998.3377 | 1217211.0159
35 | 2741001.0948 | 1217222.5576 | 2740978.947 | 1217202.6189
36 | 2740998.3377 | 1217211.0159 | 2740998.3377 | 1217211.0159 | 2740991.8447 | 1217201.3653 | 2740992.578 | 1217194.1321 | 2741001.3797 | 1217189.036 | 2741004.3283 | 1217182.5447 | 2741002.0417 | 1217174.2811
37 | 2740957.0134 | 1217186.8771 | 2740972.5762 | 1217196.8835 | 2740978.947 | 1217202.6189
38 | 2740999.8018 | 1217166.1863 | 2741002.0417 | 1217174.2811
39 | 2740957.0134 | 1217186.8771 | 2740955.4324 | 1217185.8605
40 | 2740999.6724 | 1217165.7187 | 2740999.8018 | 1217166.1863
41 | 2740955.4324 | 1217185.8605 | 2740946.6468 | 1217180.2117 | 2740944.7893 | 1217173.1024
42 | 2740981.331 | 1217119.9812 | 2740986.2617 | 1217123.7677 | 2740989.6389 | 1217133.4313
43 | 2740908.4152 | 1217099.5952 | 2740908.4152 | 1217099.5952 | 2740904.6918 | 1217105.7679 | 2740904.5611 | 1217118.681
44 | 2740908.4152 | 1217099.5952 | 2740910.1456 | 1217100.2285
45 | 2740904.5611 | 1217118.681 | 2740904.5572 | 1217119.0695
46 | 2740927.5142 | 1217108.3653 | 2740927.5142 | 1217108.3653 | 2740922.6766 | 1217104.8145 | 2740910.1456 | 1217100.2285
47 | 2740904.5572 | 1217119.0695 | 2740904.4251 | 1217132.1283 | 2740906.0333 | 1217141.3065
48 | 2740927.5142 | 1217108.3653 | 2740928.2487 | 1217111.0767
49 | 2740906.8302 | 1217145.8546 | 2740906.0333 | 1217141.3065
50 | 2740928.2487 | 1217111.0767 | 2740932.8176 | 1217127.9429
51 | 2740906.8302 | 1217145.8546 | 2740909.9562 | 1217163.6949
52 | 2740934.884 | 1217135.571 | 2740932.8176 | 1217127.9429
53 | 2740999.6724 | 1217165.7187 | 2740994.9636 | 1217148.7016
54 | 2740992.6902 | 1217142.1624 | 2740994.9183 | 1217148.5378 | 2740994.9636 | 1217148.7016
55 | 2740940.413 | 1217156.3529 | 2740944.7893 | 1217173.1024
56 | 2740940.413 | 1217156.3529 | 2740937.7434 | 1217146.1358
57 | 2740934.884 | 1217135.571 | 2740937.677 | 1217145.8817 | 2740937.7434 | 1217146.1358
58 | 2740989.6389 | 1217133.4313 | 2740992.2951 | 1217141.0316
59 | 2740992.6902 | 1217142.1624 | 2740992.2951 | 1217141.0316
60 | 2740913.8427 | 1217224.3052 | 2740913.6571 | 1217198.3914 | 2740912.8304 | 1217185.5984
61 | 2740913.8427 | 1217224.3052 | 2740913.8604 | 1217226.7739
62 | 2740911.0597 | 1217169.9931 | 2740912.2673 | 1217176.8848 | 2740912.8304 | 1217185.5984
63 | 2740913.8604 | 1217226.7739 | 2740914.0047 | 1217246.9294 | 2740907.3779 | 1217260.2618 | 2740895.7757 | 1217264.5331
64 | 2740911.0597 | 1217169.9931 | 2740909.9562 | 1217163.6949

## bus_geodata
| x | y | coords
0 | 2740946.648 | 1216994.366
1 | 2740958.1089 | 1217003.2127
2 | 2740970.7423 | 1217010.6273
3 | 2741132.9369 | 1217075.6875
4 | 2741077.9213 | 1217115.6298
5 | 2741063.5612 | 1217149.4528
6 | 2741066.4552 | 1217164.5279
7 | 2741066.8494 | 1217119.7267
8 | 2741071.5691 | 1217191.3833
9 | 2741052.3733 | 1217101.5609
10 | 2741041.5639 | 1217096.328
11 | 2741023.4312 | 1217087.5498
12 | 2740981.0675 | 1217105.7165
13 | 2740980.6604 | 1217108.0564
14 | 2741063.407 | 1217577.9404
15 | 2741062.1835 | 1217592.6585
16 | 2741063.7214 | 1217516.5769
17 | 2741075.3484 | 1217518.0633
18 | 2741027.937 | 1217523.2689
19 | 2741005.925 | 1217276.1282
20 | 2741040.3915 | 1217251.4814
21 | 2740986.5692 | 1217278.8242
22 | 2741011.715 | 1217236.2426
23 | 2741103.0688 | 1217521.6073
24 | 2740994.2426 | 1217449.7206
25 | 2740922.2674 | 1217510.9359
26 | 2741034.7171 | 1217542.3609
27 | 2740887.9344 | 1217565.8769
28 | 2740966.0037 | 1217276.7284
29 | 2741027.1569 | 1217578.6528
30 | 2740854.9606 | 1217574.5435
31 | 2741005.8692 | 1217228.7098
32 | 2741001.0948 | 1217222.5576
33 | 2741023.1772 | 1217220.5092
34 | 2740998.3377 | 1217211.0159
35 | 2740978.947 | 1217202.6189
36 | 2741002.0417 | 1217174.2811
37 | 2740957.0134 | 1217186.8771
38 | 2740999.8018 | 1217166.1863
39 | 2740955.4324 | 1217185.8605
40 | 2740943.4659 | 1217274.4938
41 | 2740981.331 | 1217119.9812
42 | 2740908.4152 | 1217099.5952
43 | 2740904.5611 | 1217118.681
44 | 2740910.1456 | 1217100.2285
45 | 2740904.5572 | 1217119.0695
46 | 2740927.5142 | 1217108.3653
47 | 2740906.0333 | 1217141.3065
48 | 2740928.2487 | 1217111.0767
49 | 2740906.8302 | 1217145.8546
50 | 2740932.8176 | 1217127.9429
51 | 2740999.6724 | 1217165.7187
52 | 2740994.9636 | 1217148.7015
53 | 2740944.7893 | 1217173.1024
54 | 2740940.413 | 1217156.3529
55 | 2740937.7434 | 1217146.1358
56 | 2740934.884 | 1217135.571
57 | 2740989.6389 | 1217133.4313
58 | 2740992.2951 | 1217141.0316
59 | 2740992.6902 | 1217142.1624
60 | 2740913.8427 | 1217224.3052
61 | 2740912.8304 | 1217185.5984
62 | 2740913.8604 | 1217226.7739
63 | 2740911.0597 | 1217169.9931
64 | 2740895.7757 | 1217264.5331
65 | 2740909.9562 | 1217163.6949
66 | 2741001.0948 | 1217222.5576

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1