## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3292-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3292-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3292-7_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3292-7_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3292-7_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3292-7_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3292-7_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3292-7_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3292-7_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_3292-7_0_4_node_142 | 0.4 | n |  | TRUE
10 | bus_LV_3292-7_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_3292-7_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_3292-7_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_3292-7_0_4_node_167 | 0.4 | n |  | TRUE
14 | bus_LV_3292-7_0_4_node_166 | 0.4 | n |  | TRUE
15 | bus_LV_3292-7_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_3292-7_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_3292-7_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_3292-7_0_4_node_150 | 0.4 | n |  | TRUE
19 | bus_LV_3292-7_0_4_node_147 | 0.4 | n |  | TRUE
20 | bus_LV_3292-7_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_3292-7_0_4_node_149 | 0.4 | n |  | TRUE
22 | bus_LV_3292-7_0_4_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_3292-7_0_4_node_183 | 0.4 | n |  | TRUE
24 | bus_LV_3292-7_0_4_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_3292-7_0_4_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_3292-7_0_4_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_3292-7_0_4_node_162 | 0.4 | n |  | TRUE
28 | bus_LV_3292-7_0_4_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_3292-7_0_4_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_3292-7_0_4_node_171 | 0.4 | n |  | TRUE
31 | bus_LV_3292-7_0_4_node_141 | 0.4 | n |  | TRUE
32 | bus_LV_3292-7_0_4_node_144 | 0.4 | n |  | TRUE
33 | bus_LV_3292-7_0_4_node_145 | 0.4 | n |  | TRUE
34 | bus_LV_3292-7_0_4_node_146 | 0.4 | n |  | TRUE
35 | bus_LV_3292-7_0_4_node_148 | 0.4 | n |  | TRUE
36 | bus_LV_3292-7_0_4_node_201 | 0.4 | n |  | TRUE
37 | bus_LV_3292-7_0_4_node_151 | 0.4 | n |  | TRUE
38 | bus_LV_3292-7_0_4_node_152 | 0.4 | n |  | TRUE
39 | bus_LV_3292-7_0_4_node_155 | 0.4 | n |  | TRUE
40 | bus_LV_3292-7_0_4_node_153 | 0.4 | n |  | TRUE
41 | bus_LV_3292-7_0_4_node_154 | 0.4 | n |  | TRUE
42 | bus_LV_3292-7_0_4_node_202 | 0.4 | n |  | TRUE
43 | bus_LV_3292-7_0_4_node_156 | 0.4 | n |  | TRUE
44 | bus_LV_3292-7_0_4_node_157 | 0.4 | n |  | TRUE
45 | bus_LV_3292-7_0_4_node_158 | 0.4 | n |  | TRUE
46 | bus_LV_3292-7_0_4_node_159 | 0.4 | n |  | TRUE
47 | bus_LV_3292-7_0_4_node_160 | 0.4 | n |  | TRUE
48 | bus_LV_3292-7_0_4_node_161 | 0.4 | n |  | TRUE
49 | bus_LV_3292-7_0_4_node_163 | 0.4 | n |  | TRUE
50 | bus_LV_3292-7_0_4_node_165 | 0.4 | n |  | TRUE
51 | bus_LV_3292-7_0_4_node_164 | 0.4 | n |  | TRUE
52 | bus_LV_3292-7_0_4_node_170 | 0.4 | n |  | TRUE
53 | bus_LV_3292-7_0_4_node_168 | 0.4 | n |  | TRUE
54 | bus_LV_3292-7_0_4_node_169 | 0.4 | n |  | TRUE
55 | bus_LV_3292-7_0_4_node_172 | 0.4 | n |  | TRUE
56 | bus_LV_3292-7_0_4_node_173 | 0.4 | n |  | TRUE
57 | bus_LV_3292-7_0_4_node_174 | 0.4 | n |  | TRUE
58 | bus_LV_3292-7_0_4_node_185 | 0.4 | n |  | TRUE
59 | bus_LV_3292-7_0_4_node_175 | 0.4 | n |  | TRUE
60 | bus_LV_3292-7_0_4_node_176 | 0.4 | n |  | TRUE
61 | bus_LV_3292-7_0_4_node_177 | 0.4 | n |  | TRUE
62 | bus_LV_3292-7_0_4_node_178 | 0.4 | n |  | TRUE
63 | bus_LV_3292-7_0_4_node_179 | 0.4 | n |  | TRUE
64 | bus_LV_3292-7_0_4_node_180 | 0.4 | n |  | TRUE
65 | bus_LV_3292-7_0_4_node_181 | 0.4 | n |  | TRUE
66 | bus_LV_3292-7_0_4_node_193 | 0.4 | n |  | TRUE
67 | bus_LV_3292-7_0_4_node_182 | 0.4 | n |  | TRUE
68 | bus_LV_3292-7_0_4_node_184 | 0.4 | n |  | TRUE
69 | bus_LV_3292-7_0_4_node_200 | 0.4 | n |  | TRUE
70 | bus_LV_3292-7_0_4_node_186 | 0.4 | n |  | TRUE
71 | bus_LV_3292-7_0_4_node_187 | 0.4 | n |  | TRUE
72 | bus_LV_3292-7_0_4_node_188 | 0.4 | n |  | TRUE
73 | bus_LV_3292-7_0_4_node_189 | 0.4 | n |  | TRUE
74 | bus_LV_3292-7_0_4_node_190 | 0.4 | n |  | TRUE
75 | bus_LV_3292-7_0_4_node_191 | 0.4 | n |  | TRUE
76 | bus_LV_3292-7_0_4_node_192 | 0.4 | n |  | TRUE
77 | bus_LV_3292-7_0_4_node_194 | 0.4 | n |  | TRUE
78 | bus_LV_3292-7_0_4_node_195 | 0.4 | n |  | TRUE
79 | bus_LV_3292-7_0_4_node_196 | 0.4 | n |  | TRUE
80 | bus_LV_3292-7_0_4_node_197 | 0.4 | n |  | TRUE
81 | bus_LV_3292-7_0_4_node_198 | 0.4 | n |  | TRUE
82 | bus_LV_3292-7_0_4_node_199 | 0.4 | n |  | TRUE
83 | bus_MV_150_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3292-7_0_4_load_0 | 0 | 0.00034569 | 8.6639e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3292-7_0_4_load_3 | 3 | 0.00071461 | 0.0001791 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3292-7_0_4_load_4 | 4 | 0.00102 | 0.00025564 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3292-7_0_4_load_5 | 5 | 0.00062734 | 0.00015723 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3292-7_0_4_load_6 | 6 | 0.00035854 | 8.9859e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3292-7_0_4_load_142 | 9 | 0.0051905 | 0.0013009 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3292-7_0_4_load_9 | 10 | 0.00052501 | 0.00013158 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3292-7_0_4_load_10 | 11 | 0.00076469 | 0.00019165 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3292-7_0_4_load_11 | 12 | 0.00039799 | 9.9745e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3292-7_0_4_load_167 | 13 | 0.0013011 | 0.00032609 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3292-7_0_4_load_166 | 14 | 0.00064067 | 0.00016057 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3292-7_0_4_load_12 | 15 | 0.00017533 | 4.3941e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3292-7_0_4_load_14 | 17 | 0.00035014 | 8.7754e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3292-7_0_4_load_15 | 20 | 0.0002391 | 5.9925e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3292-7_0_4_load_149 | 21 | 0.00030909 | 7.7465e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3292-7_0_4_load_20 | 22 | 0.0011415 | 0.00028608 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3292-7_0_4_load_40 | 24 | 0.00076613 | 0.00019201 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3292-7_0_4_load_41 | 25 | 0.0013006 | 0.00032597 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3292-7_0_4_load_42 | 26 | 0.00015855 | 3.9736e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3292-7_0_4_load_162 | 27 | 0.00041673 | 0.00010444 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3292-7_0_4_load_43 | 28 | 0.00042245 | 0.00010588 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3292-7_0_4_load_44 | 29 | 0.0003099 | 7.7667e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3292-7_0_4_load_171 | 30 | 0.00051543 | 0.00012918 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3292-7_0_4_load_141 | 31 | 0.0004868 | 0.000122 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3292-7_0_4_load_144 | 32 | 0.00039621 | 9.9301e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3292-7_0_4_load_145 | 33 | 0.00038328 | 9.606e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3292-7_0_4_load_146 | 34 | 0.00067958 | 0.00017032 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3292-7_0_4_load_148 | 35 | 0.00062447 | 0.00015651 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3292-7_0_4_load_201 | 36 | 0.00021501 | 5.3887e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3292-7_0_4_load_152 | 38 | 0.0011729 | 0.00029395 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3292-7_0_4_load_153 | 40 | 0.0012145 | 0.00030438 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3292-7_0_4_load_154 | 41 | 0.00070778 | 0.00017739 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3292-7_0_4_load_202 | 42 | 0.00066309 | 0.00016619 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3292-7_0_4_load_156 | 43 | 0.0013115 | 0.0003287 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3292-7_0_4_load_157 | 44 | 0.00041 | 0.00010276 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3292-7_0_4_load_158 | 45 | 0.00040751 | 0.00010213 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3292-7_0_4_load_159 | 46 | 0.00045886 | 0.000115 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3292-7_0_4_load_161 | 48 | 0.00046261 | 0.00011594 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3292-7_0_4_load_163 | 49 | 0.00046702 | 0.00011705 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3292-7_0_4_load_165 | 50 | 0.00089408 | 0.00022408 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3292-7_0_4_load_164 | 51 | 0.00048434 | 0.00012139 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3292-7_0_4_load_170 | 52 | 0.00064249 | 0.00016102 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3292-7_0_4_load_168 | 53 | 0.00029018 | 7.2725e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3292-7_0_4_load_169 | 54 | 0.00036495 | 9.1466e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3292-7_0_4_load_172 | 55 | 0.00068428 | 0.0001715 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3292-7_0_4_load_173 | 56 | 0.00043416 | 0.00010881 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3292-7_0_4_load_174 | 57 | 0.0005177 | 0.00012975 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3292-7_0_4_load_185 | 58 | 0.00084502 | 0.00021178 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3292-7_0_4_load_175 | 59 | 0.00071597 | 0.00017944 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3292-7_0_4_load_177 | 61 | 0.0032044 | 0.00080311 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3292-7_0_4_load_178 | 62 | 0.0024436 | 0.00061242 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3292-7_0_4_load_179 | 63 | 0.0025851 | 0.00064789 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3292-7_0_4_load_180 | 64 | 0.00062967 | 0.00015781 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3292-7_0_4_load_181 | 65 | 0.0012793 | 0.00032061 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3292-7_0_4_load_193 | 66 | 0.001342 | 0.00033633 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3292-7_0_4_load_182 | 67 | 0.002854 | 0.00071528 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3292-7_0_4_load_184 | 68 | 0.0021486 | 0.00053849 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3292-7_0_4_load_200 | 69 | 0.0012619 | 0.00031627 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3292-7_0_4_load_186 | 70 | 0.0017403 | 0.00043615 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3292-7_0_4_load_187 | 71 | 0.0016607 | 0.00041622 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3292-7_0_4_load_188 | 72 | 0.0026335 | 0.00066002 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3292-7_0_4_load_189 | 73 | 0.0017755 | 0.00044498 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3292-7_0_4_load_190 | 74 | 0.0051267 | 0.0012849 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3292-7_0_4_load_191 | 75 | 0.0030132 | 0.00075517 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3292-7_0_4_load_192 | 76 | 0.00058832 | 0.00014745 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3292-7_0_4_load_194 | 77 | 0.00075024 | 0.00018803 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3292-7_0_4_load_195 | 78 | 0.0016618 | 0.00041649 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3292-7_0_4_load_196 | 79 | 0.0024756 | 0.00062043 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3292-7_0_4_load_197 | 80 | 0.0012313 | 0.00030859 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3292-7_0_4_load_198 | 81 | 0.002198 | 0.00055086 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3292-7_0_4_load_199 | 82 | 0.0021353 | 0.00053514 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 72 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3292-7_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.036957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3292-7_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.13075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3292-7_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.022193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3292-7_0_4_line_3 | NAYY 4x150 SE | 1 | 4 | 0.14404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_3292-7_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.029427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3292-7_0_4_line_5 | NAYY 4x150 SE | 2 | 6 | 0.032876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3292-7_0_4_line_6 | NAYY 4x150 SE | 3 | 7 | 0.008087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3292-7_0_4_line_7 | NAYY 4x150 SE | 4 | 8 | 0.009082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_3292-7_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.23477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3292-7_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.076075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3292-7_0_4_line_10 | NAYY 4x150 SE | 7 | 11 | 0.030883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3292-7_0_4_line_11 | NAYY 4x150 SE | 7 | 12 | 0.2456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3292-7_0_4_line_12 | NAYY 4x150 SE | 8 | 13 | 0.28505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3292-7_0_4_line_13 | NAYY 4x150 SE | 8 | 14 | 0.0094837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_3292-7_0_4_line_14 | NAYY 4x150 SE | 9 | 31 | 0.010378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3292-7_0_4_line_15 | NAYY 4x150 SE | 11 | 15 | 0.20603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3292-7_0_4_line_16 | NAYY 4x150 SE | 12 | 16 | 0.087617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3292-7_0_4_line_17 | NAYY 4x150 SE | 14 | 50 | 0.0079693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_3292-7_0_4_line_18 | NAYY 4x150 SE | 15 | 17 | 0.0057437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3292-7_0_4_line_19 | NAYY 4x150 SE | 16 | 18 | 0.025426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3292-7_0_4_line_20 | NAYY 4x150 SE | 16 | 19 | 0.061982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3292-7_0_4_line_21 | NAYY 4x150 SE | 17 | 20 | 0.073294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3292-7_0_4_line_22 | NAYY 4x150 SE | 18 | 37 | 0.095734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3292-7_0_4_line_23 | NAYY 4x150 SE | 18 | 38 | 0.079606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3292-7_0_4_line_24 | NAYY 4x150 SE | 19 | 35 | 0.096527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3292-7_0_4_line_25 | NAYY 4x150 SE | 19 | 33 | 0.020371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3292-7_0_4_line_26 | NAYY 4x150 SE | 20 | 21 | 0.01052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3292-7_0_4_line_27 | NAYY 4x150 SE | 21 | 36 | 0.15564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3292-7_0_4_line_28 | NAYY 4x150 SE | 22 | 23 | 0.022318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3292-7_0_4_line_29 | NAYY 4x150 SE | 23 | 68 | 0.039718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3292-7_0_4_line_30 | NAYY 4x150 SE | 23 | 67 | 0.011543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3292-7_0_4_line_31 | NAYY 4x150 SE | 24 | 25 | 0.019285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_3292-7_0_4_line_32 | NAYY 4x150 SE | 24 | 26 | 0.11321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_3292-7_0_4_line_33 | NAYY 4x150 SE | 25 | 27 | 0.1907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_3292-7_0_4_line_34 | NAYY 4x150 SE | 26 | 28 | 0.015186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_3292-7_0_4_line_35 | NAYY 4x150 SE | 27 | 47 | 0.12505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_3292-7_0_4_line_36 | NAYY 4x150 SE | 28 | 29 | 0.04738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_3292-7_0_4_line_37 | NAYY 4x150 SE | 29 | 30 | 0.20206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_3292-7_0_4_line_38 | NAYY 4x150 SE | 30 | 56 | 0.031157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3292-7_0_4_line_39 | NAYY 4x150 SE | 30 | 54 | 0.03646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_3292-7_0_4_line_40 | NAYY 4x150 SE | 32 | 33 | 0.11623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3292-7_0_4_line_41 | NAYY 4x150 SE | 32 | 34 | 0.065183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3292-7_0_4_line_42 | NAYY 4x150 SE | 37 | 39 | 0.11642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3292-7_0_4_line_43 | NAYY 4x150 SE | 37 | 40 | 0.082074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3292-7_0_4_line_44 | NAYY 4x150 SE | 39 | 43 | 0.092772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3292-7_0_4_line_45 | NAYY 4x150 SE | 40 | 41 | 0.0080819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3292-7_0_4_line_46 | NAYY 4x150 SE | 41 | 42 | 0.11969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3292-7_0_4_line_47 | NAYY 4x150 SE | 44 | 45 | 0.01899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_3292-7_0_4_line_48 | NAYY 4x150 SE | 44 | 46 | 0.15224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_3292-7_0_4_line_49 | NAYY 4x150 SE | 45 | 47 | 0.09667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_3292-7_0_4_line_50 | NAYY 4x150 SE | 46 | 48 | 0.035481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_3292-7_0_4_line_51 | NAYY 4x150 SE | 48 | 49 | 0.091954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_3292-7_0_4_line_52 | NAYY 4x150 SE | 49 | 50 | 0.015944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_3292-7_0_4_line_53 | NAYY 4x150 SE | 51 | 52 | 0.010715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3292-7_0_4_line_54 | NAYY 4x150 SE | 52 | 55 | 0.015894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_3292-7_0_4_line_55 | NAYY 4x150 SE | 52 | 53 | 0.012024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_3292-7_0_4_line_56 | NAYY 4x150 SE | 53 | 54 | 0.012961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_3292-7_0_4_line_57 | NAYY 4x150 SE | 55 | 57 | 0.011801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_3292-7_0_4_line_58 | NAYY 4x150 SE | 56 | 58 | 0.023151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3292-7_0_4_line_59 | NAYY 4x150 SE | 57 | 59 | 0.02572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_3292-7_0_4_line_60 | NAYY 4x150 SE | 58 | 70 | 0.0059047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3292-7_0_4_line_61 | NAYY 4x150 SE | 59 | 60 | 0.026351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_3292-7_0_4_line_62 | NAYY 4x150 SE | 60 | 61 | 0.018651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3292-7_0_4_line_63 | NAYY 4x150 SE | 60 | 62 | 0.033753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_3292-7_0_4_line_64 | NAYY 4x150 SE | 61 | 63 | 0.0099769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3292-7_0_4_line_65 | NAYY 4x150 SE | 62 | 64 | 0.022611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_3292-7_0_4_line_66 | NAYY 4x150 SE | 63 | 65 | 0.022828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3292-7_0_4_line_67 | NAYY 4x150 SE | 64 | 66 | 0.075306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_3292-7_0_4_line_68 | NAYY 4x150 SE | 65 | 67 | 0.0048819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3292-7_0_4_line_69 | NAYY 4x150 SE | 66 | 75 | 0.043474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_3292-7_0_4_line_70 | NAYY 4x150 SE | 68 | 69 | 0.068181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3292-7_0_4_line_71 | NAYY 4x150 SE | 69 | 82 | 0.012966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3292-7_0_4_line_72 | NAYY 4x150 SE | 71 | 72 | 0.0090049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_3292-7_0_4_line_73 | NAYY 4x150 SE | 71 | 73 | 0.014213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
74 | LV_3292-7_0_4_line_74 | NAYY 4x150 SE | 72 | 74 | 0.024509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3292-7_0_4_line_75 | NAYY 4x150 SE | 73 | 75 | 0.00046832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_3292-7_0_4_line_76 | NAYY 4x150 SE | 74 | 76 | 0.0066015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3292-7_0_4_line_77 | NAYY 4x150 SE | 76 | 77 | 0.013567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3292-7_0_4_line_78 | NAYY 4x150 SE | 77 | 78 | 0.012149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3292-7_0_4_line_79 | NAYY 4x150 SE | 79 | 80 | 0.029776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3292-7_0_4_line_80 | NAYY 4x150 SE | 79 | 81 | 0.016262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3292-7_0_4_line_81 | NAYY 4x150 SE | 80 | 82 | 0.024211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3292-7_0_4_trafo_188 | 0.25 MVA 20/0.4 kV | 83 | 72 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2743817.0674 | 1216972.9088 | 2743824.6083 | 1216989.3159 | 2743830.6541 | 1216994.6663 | 2743840.1119 | 1216999.9354
1 | 2743955.1125 | 1217007.8268 | 2743948.6692 | 1217004.1569 | 2743939.5616 | 1217005.7606 | 2743930.0946 | 1217011.2366 | 2743921.8184 | 1217018.354 | 2743904.6033 | 1217028.5804 | 2743897.9855 | 1217029.9328 | 2743891.5617 | 1217028.5988 | 2743840.1119 | 1216999.9354
2 | 2743817.0674 | 1216972.9088 | 2743819.5624 | 1216963.0049 | 2743819.6565 | 1216957.2245 | 2743815.2034 | 1216952.9133
3 | 2743817.0674 | 1216972.9088 | 2743771.3912 | 1217107.4551 | 2743770.6283 | 1217109.2542
4 | 2743955.1125 | 1217007.8268 | 2743979.9443 | 1217002.0661 | 2743983.8165 | 1217002.7693
5 | 2743955.1125 | 1217007.8268 | 2743964.2112 | 1217026.3847 | 2743964.2638 | 1217032.6913 | 2743963.06 | 1217037.2439 | 2743962.6623 | 1217038.3675
6 | 2743807.118 | 1216953.0739 | 2743815.2034 | 1216952.9133
7 | 2743767.0825 | 1217117.6154 | 2743770.6283 | 1217109.2542
8 | 2743983.8165 | 1217002.7693 | 2743972.791 | 1216768.26
9 | 2743938.7956 | 1217110.3538 | 2743941.2168 | 1217095.9666 | 2743947.3267 | 1217081.6908 | 2743962.6623 | 1217038.3675
10 | 2743807.118 | 1216953.0739 | 2743781.1983 | 1216939.4036 | 2743779.7353 | 1216938.8084
11 | 2743807.118 | 1216953.0739 | 2743801.3791 | 1216961.4315 | 2743794.4015 | 1216969.5034 | 2743778.3224 | 1216987.4197 | 2743763.2211 | 1216999.1321 | 2743738.9677 | 1217022.1668 | 2743700.6138 | 1217067.7031 | 2743668.862 | 1217093.6709 | 2743630.7253 | 1217122.1633
12 | 2743767.0825 | 1217117.6154 | 2743749.5466 | 1217132.6609 | 2743703.6769 | 1217189.4144 | 2743682.7863 | 1217230.5014 | 2743652.4255 | 1217263.3865 | 2743637.0793 | 1217292.219 | 2743597.9456 | 1217344.9989
13 | 2743767.0825 | 1217117.6154 | 2743763.3808 | 1217126.3469
14 | 2743972.791 | 1216768.26 | 2743980.3429 | 1216761.1416
15 | 2743779.7353 | 1216938.8084 | 2743770.7659 | 1216935.1594 | 2743745.5912 | 1216923.976 | 2743729.2122 | 1216919.3882 | 2743724.4276 | 1216916.537 | 2743704.9472 | 1216906.0695 | 2743694.9096 | 1216879.7939 | 2743692.2743 | 1216859.6354 | 2743687.6315 | 1216792.0323 | 2743688.2571 | 1216784.1675
16 | 2743574.7034 | 1217188.2049 | 2743577.8466 | 1217182.8983 | 2743595.4629 | 1217153.7868 | 2743621.913 | 1217128.7471 | 2743630.7253 | 1217122.1633
17 | 2743763.3808 | 1217126.3469 | 2743760.2701 | 1217133.684
18 | 2743688.7126 | 1216778.4419 | 2743688.2571 | 1216784.1675
19 | 2743574.7034 | 1217188.2049 | 2743559.1193 | 1217208.3245
20 | 2743574.7034 | 1217188.2049 | 2743578.9979 | 1217168.2246 | 2743596.9076 | 1217130.7241
21 | 2743688.7126 | 1216778.4419 | 2743689.1033 | 1216773.5298 | 2743683.9572 | 1216758.5819 | 2743671.2676 | 1216741.15 | 2743657.6781 | 1216729.2233 | 2743647.5217 | 1216721.2448
22 | 2743559.1193 | 1217208.3245 | 2743526.6592 | 1217234.7431 | 2743500.1243 | 1217249.7836 | 2743477.1715 | 1217255.1689
23 | 2743559.1193 | 1217208.3245 | 2743549.5169 | 1217233.9373 | 2743539.1289 | 1217265.9923 | 2743527.8946 | 1217280.7617
24 | 2743653.0421 | 1217052.699 | 2743627.5532 | 1217080.0637 | 2743596.9076 | 1217130.7241
25 | 2743596.9076 | 1217130.7241 | 2743602.5343 | 1217111.1458
26 | 2743639.1321 | 1216714.9064 | 2743641.5839 | 1216716.5802 | 2743647.5217 | 1216721.2448
27 | 2743639.1321 | 1216714.9064 | 2743503.2916 | 1216790.868
28 | 2744001.2661 | 1217236.304 | 2744012.9874 | 1217239.3565 | 2744019.5958 | 1217245.9218 | 2744020.2195 | 1217246.5567
29 | 2744001.2661 | 1217236.304 | 2744017.2136 | 1217216.2944 | 2744026.6081 | 1217205.7381
30 | 2744001.2661 | 1217236.304 | 2743994.0817 | 1217245.3382
31 | 2743865.6023 | 1217586.2161 | 2743876.7217 | 1217594.3471 | 2743881.5087 | 1217597.0761
32 | 2743983.6964 | 1217561.5167 | 2743978.7901 | 1217563.0631 | 2743961.6223 | 1217564.7943 | 2743955.5278 | 1217566.5152 | 2743949.3306 | 1217569.9685 | 2743933.8349 | 1217586.7308 | 2743928.9461 | 1217590.7273 | 2743923.0333 | 1217592.4748 | 2743894.2791 | 1217596.9176 | 2743886.336 | 1217598.138 | 2743881.5087 | 1217597.0761
33 | 2743718.1477 | 1217465.2826 | 2743865.6023 | 1217586.2161
34 | 2743997.9199 | 1217556.2667 | 2743992.1598 | 1217558.8492 | 2743983.6964 | 1217561.5167
35 | 2743601.1598 | 1217496.7283 | 2743603.3234 | 1217499.2826 | 2743610.6052 | 1217501.2376 | 2743636.2823 | 1217492.7602 | 2743675.1282 | 1217485.2457 | 2743694.9136 | 1217477.961 | 2743717.2297 | 1217465.8888 | 2743718.1477 | 1217465.2826
36 | 2743997.9199 | 1217556.2667 | 2744003.7151 | 1217553.6684 | 2744015.3268 | 1217546.465 | 2744027.3126 | 1217537.3024 | 2744030.8137 | 1217535.1073 | 2744033.6497 | 1217534.9758 | 2744038.5254 | 1217537.0703
37 | 2743986.476 | 1217341.8318 | 2744038.5254 | 1217537.0703
38 | 2744016.2977 | 1217333.537 | 2744009.6089 | 1217336.9696 | 2743986.476 | 1217341.8318
39 | 2743950.796 | 1217349.3313 | 2743986.476 | 1217341.8318
40 | 2743636.0962 | 1216999.9187 | 2743629.3171 | 1217017.9531 | 2743602.5343 | 1217111.1458
41 | 2743661.1641 | 1216939.8762 | 2743652.9757 | 1216955.014 | 2743636.0962 | 1216999.9187
42 | 2743477.1715 | 1217255.1689 | 2743415.1572 | 1217269.7221 | 2743387.9624 | 1217277.808 | 2743368.0118 | 1217292.2626
43 | 2743477.1715 | 1217255.1689 | 2743482.7873 | 1217247.4753 | 2743500.2382 | 1217232.4493 | 2743510.2077 | 1217210.504 | 2743511.218 | 1217190.6446 | 2743513.4386 | 1217185.5787
44 | 2743422.8724 | 1217221.5333 | 2743414.2825 | 1217223.1057 | 2743372.0126 | 1217277.8243 | 2743368.0118 | 1217292.2626
45 | 2743516.6831 | 1217178.1767 | 2743513.4386 | 1217185.5787
46 | 2743516.6831 | 1217178.1767 | 2743464.5715 | 1217070.4301
47 | 2743668.6813 | 1217433.4662 | 2743676.5095 | 1217416.1648
48 | 2743718.5328 | 1217270.013 | 2743717.0089 | 1217278.6788 | 2743692.1201 | 1217371.5248 | 2743678.9933 | 1217410.6751 | 2743676.5095 | 1217416.1648
49 | 2743601.1598 | 1217496.7283 | 2743600.6215 | 1217491.9668 | 2743604.712 | 1217485.7935 | 2743635.3811 | 1217469.0404 | 2743655.0444 | 1217453.2787 | 2743664.5045 | 1217442.6977 | 2743668.6813 | 1217433.4662
50 | 2743718.5328 | 1217270.013 | 2743724.6779 | 1217235.0687
51 | 2743724.6779 | 1217235.0687 | 2743728.726 | 1217212.0489 | 2743734.6663 | 1217194.0767 | 2743754.0468 | 1217148.3633
52 | 2743754.0468 | 1217148.3633 | 2743760.2701 | 1217133.684
53 | 2743925.9666 | 1217352.0286 | 2743915.2982 | 1217353.031
54 | 2743925.9666 | 1217352.0286 | 2743925.5248 | 1217347.3695 | 2743926.4489 | 1217344.9564 | 2743932.4872 | 1217338.7902
55 | 2743925.9666 | 1217352.0286 | 2743933.4349 | 1217351.2972 | 2743937.9332 | 1217350.8549
56 | 2743937.9332 | 1217350.8549 | 2743947.6864 | 1217349.8958 | 2743950.2492 | 1217349.4462 | 2743950.796 | 1217349.3313
57 | 2743932.4872 | 1217338.7902 | 2743936.6189 | 1217334.5709 | 2743940.0857 | 1217330.3399 | 2743940.2773 | 1217329.9601
58 | 2744016.2977 | 1217333.537 | 2744026.6201 | 1217328.2398 | 2744035.9962 | 1217321.4978
59 | 2743951.8563 | 1217306.9944 | 2743940.2773 | 1217329.9601
60 | 2744035.9962 | 1217321.4978 | 2744040.7901 | 1217318.0507
61 | 2743952.6862 | 1217282.8814 | 2743955.3334 | 1217286.7931 | 2743956.9891 | 1217291.1925 | 2743957.0667 | 1217295.2089 | 2743955.2748 | 1217300.2143 | 2743951.8563 | 1217306.9944
62 | 2743952.6862 | 1217282.8814 | 2743959.4588 | 1217275.1161 | 2743966.2873 | 1217270.315
63 | 2743952.6862 | 1217282.8814 | 2743948.4892 | 1217282.7577 | 2743943.7379 | 1217283.5659 | 2743924.5784 | 1217299.2094
64 | 2743974.4487 | 1217264.5767 | 2743966.2873 | 1217270.315
65 | 2743924.5784 | 1217299.2094 | 2743919.4638 | 1217303.3855 | 2743905.5395 | 1217311.283
66 | 2743991.0494 | 1217249.1642 | 2743985.9491 | 1217255.6839 | 2743979.8873 | 1217260.7529 | 2743974.4487 | 1217264.5767
67 | 2743905.5395 | 1217311.283 | 2743903.0463 | 1217312.697 | 2743892.1153 | 1217316.5475 | 2743886.3886 | 1217316.8651 | 2743882.2219 | 1217315.1741 | 2743880.5513 | 1217311.0747 | 2743881.1947 | 1217306.7644 | 2743884.7469 | 1217295.5405 | 2743901.1187 | 1217278.3767 | 2743904.4849 | 1217273.0031
68 | 2743991.0494 | 1217249.1642 | 2743991.6782 | 1217248.3605 | 2743994.0817 | 1217245.3382
69 | 2743926.3384 | 1217235.4241 | 2743906.5538 | 1217269.7005 | 2743904.4849 | 1217273.0031
70 | 2744077.3022 | 1217160.4633 | 2744041.221 | 1217189.3182 | 2744026.6081 | 1217205.7381
71 | 2744077.3022 | 1217160.4633 | 2744079.2566 | 1217158.9004 | 2744086.5918 | 1217151.438 | 2744086.5918 | 1217151.438
72 | 2743933.8236 | 1217222.8094 | 2743939.4971 | 1217215.8166
73 | 2743933.8236 | 1217222.8094 | 2743933.117 | 1217223.6803 | 2743926.5725 | 1217235.0185
74 | 2743939.4971 | 1217215.8166 | 2743939.4971 | 1217215.8166 | 2743956.8565 | 1217198.5157
75 | 2743926.5725 | 1217235.0185 | 2743926.3384 | 1217235.4241
76 | 2743961.6545 | 1217194.0064 | 2743960.8603 | 1217194.5254 | 2743956.8565 | 1217198.5157
77 | 2743961.6545 | 1217194.0064 | 2743971.0005 | 1217187.898 | 2743973.3609 | 1217187.4521
78 | 2743985.299 | 1217185.1967 | 2743973.3609 | 1217187.4521
79 | 2744042.0527 | 1217162.1315 | 2744047.1069 | 1217157.9335 | 2744062.3158 | 1217153.7086 | 2744069.1369 | 1217150.7859
80 | 2744029.5434 | 1217172.5216 | 2744042.0527 | 1217162.1315
81 | 2744086.5918 | 1217151.438 | 2744087.6093 | 1217148.9382 | 2744086.2163 | 1217145.9242 | 2744082.8435 | 1217145.3199 | 2744077.8418 | 1217147.056 | 2744069.1369 | 1217150.7859

## bus_geodata
| x | y | coords
0 | 2743840.1119 | 1216999.9354
1 | 2743817.0674 | 1216972.9088
2 | 2743955.1125 | 1217007.8268
3 | 2743815.2034 | 1216952.9133
4 | 2743770.6283 | 1217109.2542
5 | 2743983.8165 | 1217002.7693
6 | 2743962.6623 | 1217038.3675
7 | 2743807.118 | 1216953.0739
8 | 2743767.0825 | 1217117.6154
9 | 2743972.791 | 1216768.26
10 | 2743938.7956 | 1217110.3538
11 | 2743779.7353 | 1216938.8084
12 | 2743630.7253 | 1217122.1633
13 | 2743597.9456 | 1217344.9989
14 | 2743763.3808 | 1217126.3469
15 | 2743688.2571 | 1216784.1675
16 | 2743574.7034 | 1217188.2049
17 | 2743688.7126 | 1216778.4419
18 | 2743559.1193 | 1217208.3245
19 | 2743596.9076 | 1217130.7241
20 | 2743647.5217 | 1216721.2448
21 | 2743639.1321 | 1216714.9064
22 | 2744020.2195 | 1217246.5567
23 | 2744001.2661 | 1217236.304
24 | 2743881.5087 | 1217597.0761
25 | 2743865.6023 | 1217586.2161
26 | 2743983.6964 | 1217561.5167
27 | 2743718.1477 | 1217465.2826
28 | 2743997.9199 | 1217556.2667
29 | 2744038.5254 | 1217537.0703
30 | 2743986.476 | 1217341.8318
31 | 2743980.3429 | 1216761.1416
32 | 2743636.0962 | 1216999.9187
33 | 2743602.5343 | 1217111.1458
34 | 2743661.1641 | 1216939.8762
35 | 2743653.0421 | 1217052.699
36 | 2743503.2916 | 1216790.868
37 | 2743477.1715 | 1217255.1689
38 | 2743527.8946 | 1217280.7617
39 | 2743368.0118 | 1217292.2626
40 | 2743513.4386 | 1217185.5787
41 | 2743516.6831 | 1217178.1767
42 | 2743464.5714 | 1217070.4301
43 | 2743422.8724 | 1217221.5333
44 | 2743676.5095 | 1217416.1648
45 | 2743668.6813 | 1217433.4662
46 | 2743718.5328 | 1217270.013
47 | 2743601.1598 | 1217496.7283
48 | 2743724.6779 | 1217235.0687
49 | 2743754.0468 | 1217148.3633
50 | 2743760.2701 | 1217133.684
51 | 2743915.2982 | 1217353.031
52 | 2743925.9666 | 1217352.0286
53 | 2743937.9332 | 1217350.8549
54 | 2743950.796 | 1217349.3313
55 | 2743932.4872 | 1217338.7902
56 | 2744016.2977 | 1217333.537
57 | 2743940.2773 | 1217329.9601
58 | 2744035.9962 | 1217321.4978
59 | 2743951.8563 | 1217306.9944
60 | 2743952.6862 | 1217282.8814
61 | 2743966.2873 | 1217270.315
62 | 2743924.5784 | 1217299.2094
63 | 2743974.4487 | 1217264.5767
64 | 2743905.5395 | 1217311.283
65 | 2743991.0494 | 1217249.1642
66 | 2743904.4849 | 1217273.0031
67 | 2743994.0817 | 1217245.3382
68 | 2744026.6081 | 1217205.7381
69 | 2744077.3022 | 1217160.4633
70 | 2744040.7901 | 1217318.0507
71 | 2743933.8236 | 1217222.8094
72 | 2743939.4971 | 1217215.8165
73 | 2743926.5725 | 1217235.0185
74 | 2743956.8565 | 1217198.5157
75 | 2743926.3384 | 1217235.4241
76 | 2743961.6545 | 1217194.0064
77 | 2743973.3609 | 1217187.4521
78 | 2743985.299 | 1217185.1967
79 | 2744042.0527 | 1217162.1315
80 | 2744069.1369 | 1217150.7859
81 | 2744029.5434 | 1217172.5216
82 | 2744086.5918 | 1217151.438
83 | 2743985.299 | 1217185.1967

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1