## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3294-12_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3294-12_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3294-12_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_3294-12_0_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_3294-12_0_3_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_3294-12_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_3294-12_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_3294-12_0_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_3294-12_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_3294-12_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3294-12_0_3_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_3294-12_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_3294-12_0_3_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_3294-12_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_3294-12_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_3294-12_0_3_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_3294-12_0_3_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_3294-12_0_3_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_3294-12_0_3_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_3294-12_0_3_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_3294-12_0_3_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_3294-12_0_3_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_3294-12_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_3294-12_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_3294-12_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_3294-12_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_3294-12_0_3_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_3294-12_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_3294-12_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_3294-12_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_3294-12_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_3294-12_0_3_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_3294-12_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_3294-12_0_3_node_62 | 0.4 | n |  | TRUE
34 | bus_LV_3294-12_0_3_node_63 | 0.4 | n |  | TRUE
35 | bus_LV_3294-12_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_3294-12_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_3294-12_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_3294-12_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_3294-12_0_3_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_3294-12_0_3_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_3294-12_0_3_node_64 | 0.4 | n |  | TRUE
42 | bus_LV_3294-12_0_3_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_3294-12_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_3294-12_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_3294-12_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_3294-12_0_3_node_108 | 0.4 | n |  | TRUE
47 | bus_LV_3294-12_0_3_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_3294-12_0_3_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_3294-12_0_3_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_3294-12_0_3_node_65 | 0.4 | n |  | TRUE
51 | bus_LV_3294-12_0_3_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_3294-12_0_3_node_69 | 0.4 | n |  | TRUE
53 | bus_LV_3294-12_0_3_node_68 | 0.4 | n |  | TRUE
54 | bus_LV_3294-12_0_3_node_71 | 0.4 | n |  | TRUE
55 | bus_LV_3294-12_0_3_node_106 | 0.4 | n |  | TRUE
56 | bus_LV_3294-12_0_3_node_70 | 0.4 | n |  | TRUE
57 | bus_LV_3294-12_0_3_node_75 | 0.4 | n |  | TRUE
58 | bus_LV_3294-12_0_3_node_72 | 0.4 | n |  | TRUE
59 | bus_LV_3294-12_0_3_node_80 | 0.4 | n |  | TRUE
60 | bus_LV_3294-12_0_3_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_3294-12_0_3_node_74 | 0.4 | n |  | TRUE
62 | bus_LV_3294-12_0_3_node_77 | 0.4 | n |  | TRUE
63 | bus_LV_3294-12_0_3_node_105 | 0.4 | n |  | TRUE
64 | bus_LV_3294-12_0_3_node_76 | 0.4 | n |  | TRUE
65 | bus_LV_3294-12_0_3_node_78 | 0.4 | n |  | TRUE
66 | bus_LV_3294-12_0_3_node_79 | 0.4 | n |  | TRUE
67 | bus_LV_3294-12_0_3_node_81 | 0.4 | n |  | TRUE
68 | bus_LV_3294-12_0_3_node_85 | 0.4 | n |  | TRUE
69 | bus_LV_3294-12_0_3_node_82 | 0.4 | n |  | TRUE
70 | bus_LV_3294-12_0_3_node_83 | 0.4 | n |  | TRUE
71 | bus_LV_3294-12_0_3_node_84 | 0.4 | n |  | TRUE
72 | bus_LV_3294-12_0_3_node_86 | 0.4 | n |  | TRUE
73 | bus_LV_3294-12_0_3_node_87 | 0.4 | n |  | TRUE
74 | bus_LV_3294-12_0_3_node_92 | 0.4 | n |  | TRUE
75 | bus_LV_3294-12_0_3_node_88 | 0.4 | n |  | TRUE
76 | bus_LV_3294-12_0_3_node_89 | 0.4 | n |  | TRUE
77 | bus_LV_3294-12_0_3_node_90 | 0.4 | n |  | TRUE
78 | bus_LV_3294-12_0_3_node_97 | 0.4 | n |  | TRUE
79 | bus_LV_3294-12_0_3_node_91 | 0.4 | n |  | TRUE
80 | bus_LV_3294-12_0_3_node_93 | 0.4 | n |  | TRUE
81 | bus_LV_3294-12_0_3_node_94 | 0.4 | n |  | TRUE
82 | bus_LV_3294-12_0_3_node_95 | 0.4 | n |  | TRUE
83 | bus_LV_3294-12_0_3_node_96 | 0.4 | n |  | TRUE
84 | bus_LV_3294-12_0_3_node_98 | 0.4 | n |  | TRUE
85 | bus_LV_3294-12_0_3_node_99 | 0.4 | n |  | TRUE
86 | bus_LV_3294-12_0_3_node_100 | 0.4 | n |  | TRUE
87 | bus_LV_3294-12_0_3_node_101 | 0.4 | n |  | TRUE
88 | bus_LV_3294-12_0_3_node_102 | 0.4 | n |  | TRUE
89 | bus_LV_3294-12_0_3_node_103 | 0.4 | n |  | TRUE
90 | bus_LV_3294-12_0_3_node_104 | 0.4 | n |  | TRUE
91 | bus_LV_3294-12_0_3_node_107 | 0.4 | n |  | TRUE
92 | bus_LV_3294-12_0_3_node_109 | 0.4 | n |  | TRUE
93 | bus_LV_3294-12_0_3_node_39 | 0.4 | n |  | TRUE
94 | bus_LV_3294-12_0_3_node_47 | 0.4 | n |  | TRUE
95 | bus_LV_3294-12_0_3_node_45 | 0.4 | n |  | TRUE
96 | bus_LV_3294-12_0_3_node_48 | 0.4 | n |  | TRUE
97 | bus_LV_3294-12_0_3_node_46 | 0.4 | n |  | TRUE
98 | bus_LV_3294-12_0_3_node_42 | 0.4 | n |  | TRUE
99 | bus_LV_3294-12_0_3_node_110 | 0.4 | n |  | TRUE
100 | bus_LV_3294-12_0_3_node_43 | 0.4 | n |  | TRUE
101 | bus_LV_3294-12_0_3_node_44 | 0.4 | n |  | TRUE
102 | bus_LV_3294-12_0_3_node_52 | 0.4 | n |  | TRUE
103 | bus_LV_3294-12_0_3_node_53 | 0.4 | n |  | TRUE
104 | bus_LV_3294-12_0_3_node_50 | 0.4 | n |  | TRUE
105 | bus_LV_3294-12_0_3_node_49 | 0.4 | n |  | TRUE
106 | bus_LV_3294-12_0_3_node_51 | 0.4 | n |  | TRUE
107 | bus_LV_3294-12_0_3_node_55 | 0.4 | n |  | TRUE
108 | bus_LV_3294-12_0_3_node_54 | 0.4 | n |  | TRUE
109 | bus_LV_3294-12_0_3_node_56 | 0.4 | n |  | TRUE
110 | bus_LV_3294-12_0_3_node_57 | 0.4 | n |  | TRUE
111 | bus_MV_149_0_node_93 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3294-12_0_3_load_0 | 0 | 0.0061291 | 0.0015361 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3294-12_0_3_load_5 | 3 | 0.0042591 | 0.0010674 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3294-12_0_3_load_2 | 4 | 0.0020158 | 0.00050521 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3294-12_0_3_load_3 | 5 | 0.0024816 | 0.00062195 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3294-12_0_3_load_7 | 8 | 0.0050288 | 0.0012603 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3294-12_0_3_load_13 | 10 | 0.0063466 | 0.0015906 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3294-12_0_3_load_10 | 11 | 0.0016996 | 0.00042597 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3294-12_0_3_load_15 | 12 | 0.0016254 | 0.00040736 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3294-12_0_3_load_11 | 13 | 0.0019231 | 0.00048198 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3294-12_0_3_load_12 | 14 | 0.0014586 | 0.00036557 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3294-12_0_3_load_14 | 15 | 0.0011595 | 0.00029059 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3294-12_0_3_load_17 | 16 | 0.00049243 | 0.00012341 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3294-12_0_3_load_16 | 17 | 0.0012272 | 0.00030756 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3294-12_0_3_load_40 | 18 | 0.00092295 | 0.00023131 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3294-12_0_3_load_37 | 19 | 0.0013819 | 0.00034635 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3294-12_0_3_load_38 | 20 | 0.0024016 | 0.0006019 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3294-12_0_3_load_41 | 21 | 0.0017077 | 0.00042799 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3294-12_0_3_load_18 | 22 | 0.00087046 | 0.00021816 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3294-12_0_3_load_19 | 23 | 0.0020858 | 0.00052275 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3294-12_0_3_load_20 | 24 | 0.0009281 | 0.0002326 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3294-12_0_3_load_22 | 26 | 0.001196 | 0.00029976 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3294-12_0_3_load_23 | 27 | 0.0038746 | 0.00097107 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3294-12_0_3_load_24 | 28 | 0.002163 | 0.0005421 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3294-12_0_3_load_25 | 29 | 0.0027249 | 0.00068292 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3294-12_0_3_load_26 | 30 | 0.0032982 | 0.0008266 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3294-12_0_3_load_27 | 31 | 0.0013795 | 0.00034574 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3294-12_0_3_load_30 | 32 | 0.0034267 | 0.0008588 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3294-12_0_3_load_62 | 33 | 0.0012831 | 0.00032158 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3294-12_0_3_load_63 | 34 | 0.0017156 | 0.00042997 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3294-12_0_3_load_28 | 35 | 0.0025274 | 0.00063343 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3294-12_0_3_load_31 | 36 | 0.004331 | 0.0010855 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3294-12_0_3_load_29 | 37 | 0.0019549 | 0.00048995 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3294-12_0_3_load_32 | 38 | 0.0024463 | 0.0006131 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3294-12_0_3_load_59 | 39 | 0.00093339 | 0.00023393 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3294-12_0_3_load_58 | 40 | 0.0037559 | 0.00094132 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3294-12_0_3_load_64 | 41 | 0.0016831 | 0.00042183 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3294-12_0_3_load_33 | 42 | 0.0017968 | 0.00045032 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3294-12_0_3_load_36 | 45 | 0.0028805 | 0.00072191 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3294-12_0_3_load_108 | 46 | 0.002043 | 0.00051203 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3294-12_0_3_load_60 | 47 | 0.0013929 | 0.0003491 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3294-12_0_3_load_65 | 50 | 0.0030958 | 0.00077588 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3294-12_0_3_load_67 | 51 | 0.0031937 | 0.00080042 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3294-12_0_3_load_106 | 55 | 0.00095695 | 0.00023984 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3294-12_0_3_load_75 | 57 | 0.0036147 | 0.00090594 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3294-12_0_3_load_72 | 58 | 0.00094285 | 0.0002363 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3294-12_0_3_load_80 | 59 | 0.0013661 | 0.00034238 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3294-12_0_3_load_73 | 60 | 0.00038545 | 9.6603e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3294-12_0_3_load_74 | 61 | 0.00021841 | 5.4739e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3294-12_0_3_load_105 | 63 | 0.00039611 | 9.9275e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3294-12_0_3_load_76 | 64 | 0.00090254 | 0.0002262 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3294-12_0_3_load_78 | 65 | 0.0014279 | 0.00035787 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3294-12_0_3_load_81 | 67 | 0.0012718 | 0.00031875 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3294-12_0_3_load_85 | 68 | 0.00028904 | 7.244e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3294-12_0_3_load_82 | 69 | 0.00051417 | 0.00012886 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3294-12_0_3_load_83 | 70 | 0.001321 | 0.00033108 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3294-12_0_3_load_84 | 71 | 0.00136 | 0.00034085 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3294-12_0_3_load_87 | 73 | 0.00053067 | 0.000133 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3294-12_0_3_load_88 | 75 | 0.0056756 | 0.0014224 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3294-12_0_3_load_89 | 76 | 0.014224 | 0.0035649 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3294-12_0_3_load_97 | 78 | 0.0020723 | 0.00051938 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3294-12_0_3_load_93 | 80 | 0.0015922 | 0.00039903 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3294-12_0_3_load_94 | 81 | 0.00068872 | 0.00017261 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3294-12_0_3_load_95 | 82 | 0.00055464 | 0.00013901 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3294-12_0_3_load_96 | 83 | 0.00046045 | 0.0001154 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3294-12_0_3_load_100 | 86 | 0.00038263 | 9.5897e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3294-12_0_3_load_102 | 88 | 0.00020612 | 5.1659e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3294-12_0_3_load_103 | 89 | 0.00018625 | 4.6679e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3294-12_0_3_load_104 | 90 | 0.00047634 | 0.00011938 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3294-12_0_3_load_107 | 91 | 0.0024956 | 0.00062546 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3294-12_0_3_load_109 | 92 | 0.00069149 | 0.0001733 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3294-12_0_3_load_39 | 93 | 0.0033909 | 0.00084984 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3294-12_0_3_load_47 | 94 | 0.001767 | 0.00044286 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3294-12_0_3_load_46 | 97 | 0.0015932 | 0.00039931 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3294-12_0_3_load_42 | 98 | 0.0011091 | 0.00027797 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3294-12_0_3_load_110 | 99 | 0.0015841 | 0.00039701 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3294-12_0_3_load_44 | 101 | 0.0006627 | 0.00016609 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3294-12_0_3_load_53 | 103 | 0.0020269 | 0.00050799 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3294-12_0_3_load_50 | 104 | 0.0023903 | 0.00059908 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3294-12_0_3_load_49 | 105 | 0.003163 | 0.00079273 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3294-12_0_3_load_51 | 106 | 0.0019685 | 0.00049336 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3294-12_0_3_load_55 | 107 | 0.0015397 | 0.00038588 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3294-12_0_3_load_54 | 108 | 0.0011267 | 0.00028237 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3294-12_0_3_load_56 | 109 | 0.0026451 | 0.00066292 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3294-12_0_3_load_57 | 110 | 0.0081294 | 0.0020374 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3294-12_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.042213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3294-12_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.015676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3294-12_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.064112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3294-12_0_3_line_3 | NAYY 4x150 SE | 3 | 9 | 0.02602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3294-12_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.032428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3294-12_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.011913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3294-12_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.012985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3294-12_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.033622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3294-12_0_3_line_8 | NAYY 4x150 SE | 7 | 10 | 0.019424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3294-12_0_3_line_9 | NAYY 4x150 SE | 7 | 11 | 0.032609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3294-12_0_3_line_10 | NAYY 4x150 SE | 8 | 9 | 0.032318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3294-12_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.031552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3294-12_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.0034739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3294-12_0_3_line_13 | NAYY 4x150 SE | 12 | 17 | 0.030394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3294-12_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.02365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3294-12_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.00084686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3294-12_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.021511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3294-12_0_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.0058128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3294-12_0_3_line_18 | NAYY 4x150 SE | 17 | 19 | 0.01747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3294-12_0_3_line_19 | NAYY 4x150 SE | 18 | 21 | 0.053054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3294-12_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.027649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3294-12_0_3_line_21 | NAYY 4x150 SE | 20 | 44 | 0.01074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3294-12_0_3_line_22 | NAYY 4x150 SE | 21 | 98 | 0.023023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3294-12_0_3_line_23 | NAYY 4x150 SE | 21 | 99 | 0.24391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3294-12_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.00416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3294-12_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.020493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3294-12_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.032635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3294-12_0_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.031193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3294-12_0_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.018961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3294-12_0_3_line_29 | NAYY 4x150 SE | 25 | 28 | 0.016692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_3294-12_0_3_line_30 | NAYY 4x150 SE | 25 | 29 | 0.019471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_3294-12_0_3_line_31 | NAYY 4x150 SE | 26 | 30 | 0.0044327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3294-12_0_3_line_32 | NAYY 4x150 SE | 28 | 31 | 0.0050504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_3294-12_0_3_line_33 | NAYY 4x150 SE | 29 | 32 | 0.028009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_3294-12_0_3_line_34 | NAYY 4x150 SE | 31 | 35 | 0.02172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_3294-12_0_3_line_35 | NAYY 4x150 SE | 32 | 36 | 0.028362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_3294-12_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.048735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3294-12_0_3_line_37 | NAYY 4x150 SE | 34 | 41 | 0.021362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3294-12_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.0070438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_3294-12_0_3_line_39 | NAYY 4x150 SE | 36 | 43 | 0.015046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_3294-12_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.045846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_3294-12_0_3_line_41 | NAYY 4x150 SE | 38 | 42 | 0.022787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_3294-12_0_3_line_42 | NAYY 4x150 SE | 39 | 40 | 0.014042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3294-12_0_3_line_43 | NAYY 4x150 SE | 40 | 47 | 0.032332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3294-12_0_3_line_44 | NAYY 4x150 SE | 41 | 50 | 0.036661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3294-12_0_3_line_45 | NAYY 4x150 SE | 42 | 46 | 0.079719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3294-12_0_3_line_46 | NAYY 4x150 SE | 43 | 44 | 0.035353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3294-12_0_3_line_47 | NAYY 4x150 SE | 43 | 45 | 0.010491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3294-12_0_3_line_48 | NAYY 4x150 SE | 44 | 93 | 0.016154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3294-12_0_3_line_49 | NAYY 4x150 SE | 45 | 94 | 0.011213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3294-12_0_3_line_50 | NAYY 4x150 SE | 46 | 48 | 0.020283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3294-12_0_3_line_51 | NAYY 4x150 SE | 46 | 91 | 0.0034681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3294-12_0_3_line_52 | NAYY 4x150 SE | 47 | 48 | 0.012472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3294-12_0_3_line_53 | NAYY 4x150 SE | 48 | 49 | 0.019825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3294-12_0_3_line_54 | NAYY 4x150 SE | 49 | 51 | 0.022749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3294-12_0_3_line_55 | NAYY 4x150 SE | 49 | 50 | 0.01429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3294-12_0_3_line_56 | NAYY 4x150 SE | 51 | 52 | 0.016473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3294-12_0_3_line_57 | NAYY 4x150 SE | 52 | 56 | 0.002781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3294-12_0_3_line_58 | NAYY 4x150 SE | 52 | 54 | 0.003403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3294-12_0_3_line_59 | NAYY 4x150 SE | 53 | 54 | 0.011941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3294-12_0_3_line_60 | NAYY 4x150 SE | 53 | 55 | 0.0048481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3294-12_0_3_line_61 | NAYY 4x150 SE | 56 | 57 | 0.029852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3294-12_0_3_line_62 | NAYY 4x150 SE | 56 | 58 | 0.012321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3294-12_0_3_line_63 | NAYY 4x150 SE | 58 | 59 | 0.04945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3294-12_0_3_line_64 | NAYY 4x150 SE | 59 | 65 | 0.022885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3294-12_0_3_line_65 | NAYY 4x150 SE | 60 | 61 | 0.026078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3294-12_0_3_line_66 | NAYY 4x150 SE | 60 | 62 | 0.12326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3294-12_0_3_line_67 | NAYY 4x150 SE | 61 | 63 | 0.012916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3294-12_0_3_line_68 | NAYY 4x150 SE | 62 | 64 | 0.036199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3294-12_0_3_line_69 | NAYY 4x150 SE | 63 | 90 | 0.0213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3294-12_0_3_line_70 | NAYY 4x150 SE | 65 | 66 | 0.013464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3294-12_0_3_line_71 | NAYY 4x150 SE | 66 | 67 | 0.030583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3294-12_0_3_line_72 | NAYY 4x150 SE | 66 | 68 | 0.053652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3294-12_0_3_line_73 | NAYY 4x150 SE | 67 | 69 | 0.014496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3294-12_0_3_line_74 | NAYY 4x150 SE | 68 | 72 | 0.0091554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3294-12_0_3_line_75 | NAYY 4x150 SE | 69 | 70 | 0.028402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3294-12_0_3_line_76 | NAYY 4x150 SE | 70 | 71 | 0.0064857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3294-12_0_3_line_77 | NAYY 4x150 SE | 72 | 73 | 0.010486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3294-12_0_3_line_78 | NAYY 4x150 SE | 73 | 74 | 0.012415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3294-12_0_3_line_79 | NAYY 4x150 SE | 74 | 77 | 0.018853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3294-12_0_3_line_80 | NAYY 4x150 SE | 75 | 76 | 0.029178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3294-12_0_3_line_81 | NAYY 4x150 SE | 75 | 77 | 0.024592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3294-12_0_3_line_82 | NAYY 4x150 SE | 75 | 78 | 0.041956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3294-12_0_3_line_83 | NAYY 4x150 SE | 76 | 79 | 0.0021057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3294-12_0_3_line_84 | NAYY 4x150 SE | 78 | 82 | 0.061772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3294-12_0_3_line_85 | NAYY 4x150 SE | 79 | 80 | 0.079711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3294-12_0_3_line_86 | NAYY 4x150 SE | 81 | 82 | 0.0056876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3294-12_0_3_line_87 | NAYY 4x150 SE | 81 | 83 | 0.014293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3294-12_0_3_line_88 | NAYY 4x150 SE | 83 | 84 | 0.0068108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3294-12_0_3_line_89 | NAYY 4x150 SE | 84 | 85 | 0.010078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3294-12_0_3_line_90 | NAYY 4x150 SE | 85 | 86 | 0.017489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3294-12_0_3_line_91 | NAYY 4x150 SE | 86 | 87 | 0.0046756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3294-12_0_3_line_92 | NAYY 4x150 SE | 87 | 88 | 0.0076562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3294-12_0_3_line_93 | NAYY 4x150 SE | 87 | 89 | 0.026885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3294-12_0_3_line_94 | NAYY 4x150 SE | 88 | 90 | 0.013535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3294-12_0_3_line_95 | NAYY 4x150 SE | 91 | 92 | 0.016014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3294-12_0_3_line_96 | NAYY 4x150 SE | 93 | 95 | 0.013763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3294-12_0_3_line_97 | NAYY 4x150 SE | 94 | 96 | 0.012064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3294-12_0_3_line_98 | NAYY 4x150 SE | 95 | 97 | 0.033273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_3294-12_0_3_line_99 | NAYY 4x150 SE | 96 | 104 | 0.022169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_3294-12_0_3_line_100 | NAYY 4x150 SE | 96 | 105 | 0.029852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_3294-12_0_3_line_101 | NAYY 4x150 SE | 97 | 102 | 0.0012629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_3294-12_0_3_line_102 | NAYY 4x150 SE | 98 | 100 | 0.017647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_3294-12_0_3_line_103 | NAYY 4x150 SE | 100 | 101 | 0.023897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_3294-12_0_3_line_104 | NAYY 4x150 SE | 102 | 103 | 0.016186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_3294-12_0_3_line_105 | NAYY 4x150 SE | 103 | 107 | 0.0079671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_3294-12_0_3_line_106 | NAYY 4x150 SE | 104 | 106 | 0.0035765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_3294-12_0_3_line_107 | NAYY 4x150 SE | 107 | 108 | 0.0083522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_3294-12_0_3_line_108 | NAYY 4x150 SE | 108 | 109 | 0.013063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_3294-12_0_3_line_109 | NAYY 4x150 SE | 109 | 110 | 0.010089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3294-12_0_3_trafo_33 | 0.25 MVA 20/0.4 kV | 111 | 42 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2756926.2634 | 1206473.9021 | 2756937.1113 | 1206480.393 | 2756943.5923 | 1206484.8228 | 2756951.129 | 1206505.1945
1 | 2756926.2634 | 1206473.9021 | 2756927.5138 | 1206480.7521 | 2756928.4045 | 1206489.4166
2 | 2756928.4045 | 1206489.4166 | 2756934.6475 | 1206508.0973 | 2756948.721 | 1206550.2249
3 | 2756954.2024 | 1206575.5491 | 2756953.9491 | 1206569.8485 | 2756949.5949 | 1206552.8411 | 2756948.721 | 1206550.2249
4 | 2756981.8094 | 1206585.5821 | 2756982.1443 | 1206587.9836 | 2756980.6706 | 1206605.238 | 2756979.1975 | 1206614.6632 | 2756979.3358 | 1206617.8064
5 | 2756976.9823 | 1206629.1512 | 2756979.5832 | 1206623.4256 | 2756979.3358 | 1206617.8064
6 | 2756984.6581 | 1206639.6401 | 2756976.9823 | 1206629.1512
7 | 2756976.9823 | 1206629.1512 | 2756972.8615 | 1206630.4663 | 2756968.0949 | 1206629.4289 | 2756965.2918 | 1206627.2199 | 2756962.9848 | 1206622.0658 | 2756959.5773 | 1206607.2498
8 | 2756984.6581 | 1206639.6401 | 2756989.8512 | 1206643.8471 | 2756992.4854 | 1206652.4685 | 2756991.4457 | 1206656.0461
9 | 2756984.6581 | 1206639.6401 | 2756976.0988 | 1206639.0145 | 2756966.7124 | 1206639.1679 | 2756958.2961 | 1206648.7218 | 2756957.7223 | 1206650.5406
10 | 2756954.2024 | 1206575.5491 | 2756954.5268 | 1206586.6453 | 2756956.935 | 1206595.7611 | 2756959.5773 | 1206607.2498
11 | 2756981.9515 | 1206686.1342 | 2756989.7912 | 1206661.7392 | 2756991.4457 | 1206656.0461
12 | 2756957.7223 | 1206650.5406 | 2756956.6772 | 1206653.8535
13 | 2756981.9515 | 1206686.1342 | 2756972.6524 | 1206715.0705
14 | 2756956.6772 | 1206653.8535 | 2756949.5618 | 1206676.4076
15 | 2756949.307 | 1206677.2152 | 2756949.5618 | 1206676.4076
16 | 2756942.8351 | 1206697.7296 | 2756949.307 | 1206677.2152
17 | 2756941.0862 | 1206703.2731 | 2756942.8351 | 1206697.7296
18 | 2756982.7734 | 1206724.2375 | 2756971.1183 | 1206719.8444 | 2756972.6524 | 1206715.0705
19 | 2756941.0862 | 1206703.2731 | 2756940.4807 | 1206705.1926 | 2756931.1192 | 1206735.062 | 2756928.1888 | 1206754.5826
20 | 2756982.7734 | 1206724.2375 | 2756988.5005 | 1206726.3962 | 2757008.7958 | 1206733.5783
21 | 2757018.9206 | 1206737.1613 | 2757008.7958 | 1206733.5783
22 | 2756928.1888 | 1206754.5826 | 2756924.7711 | 1206777.3502
23 | 2756928.1888 | 1206754.5826 | 2756688.3517 | 1206710.2082
24 | 2757045.3736 | 1206595.619 | 2757046.7468 | 1206599.5458
25 | 2757045.3736 | 1206595.619 | 2757042.3751 | 1206587.0445 | 2757036.521 | 1206577.2512
26 | 2757064.8767 | 1206624.314 | 2757057.0599 | 1206620.6273 | 2757054.3461 | 1206618.2094 | 2757052.1945 | 1206615.5393 | 2757050.2394 | 1206611.184 | 2757047.6897 | 1206602.2423 | 2757046.7468 | 1206599.5458
27 | 2757036.521 | 1206577.2512 | 2757020.5164 | 1206550.4772
28 | 2757064.8767 | 1206624.314 | 2757069.8479 | 1206606.0165
29 | 2757064.8767 | 1206624.314 | 2757068.5512 | 1206628.3921 | 2757069.8046 | 1206630.4936 | 2757072.7933 | 1206638.7237
30 | 2757064.8767 | 1206624.314 | 2757056.5193 | 1206641.9003
31 | 2757018.2421 | 1206546.6725 | 2757020.5164 | 1206550.4772
32 | 2757072.7933 | 1206638.7237 | 2757074.5172 | 1206643.4707
33 | 2757056.5193 | 1206641.9003 | 2757051.6814 | 1206652.0805 | 2757048.9672 | 1206659.7938 | 2757047.2243 | 1206666.4539 | 2757046.9195 | 1206668.1027
34 | 2757074.5172 | 1206643.4707 | 2757077.0911 | 1206650.5587 | 2757078.1685 | 1206655.3024 | 2757078.6016 | 1206659.6621 | 2757078.5103 | 1206663.7078 | 2757078.4339 | 1206664.5912
35 | 2757046.9195 | 1206668.1027 | 2757046.1419 | 1206672.3084 | 2757045.2228 | 1206681.4924 | 2757044.1712 | 1206696.3102
36 | 2757156.7381 | 1206600.4443 | 2757158.9109 | 1206608.5411 | 2757160.5768 | 1206618.6718 | 2757164.4367 | 1206633.62 | 2757168.0949 | 1206641.49 | 2757170.8747 | 1206646.7711
37 | 2757170.8747 | 1206646.7711 | 2757174.298 | 1206653.2749 | 2757179.7364 | 1206664.339 | 2757180.4848 | 1206665.8477
38 | 2757078.4339 | 1206664.5912 | 2757077.827 | 1206671.6088
39 | 2757043.106 | 1206711.3188 | 2757044.1712 | 1206696.3102
40 | 2757077.827 | 1206671.6088 | 2757076.8254 | 1206683.1919 | 2757077.1432 | 1206688.1714 | 2757078.101 | 1206691.3883 | 2757079.441 | 1206693.3809 | 2757082.7095 | 1206696.6921 | 2757095.3361 | 1206710.6478
41 | 2757095.3361 | 1206710.6478 | 2757109.5501 | 1206726.358 | 2757110.5621 | 1206727.5982
42 | 2757174.1268 | 1206661.8858 | 2757168.1052 | 1206649.2007
43 | 2757174.1268 | 1206661.8858 | 2757185.7025 | 1206686.2712 | 2757188.3038 | 1206690.9327 | 2757188.3038 | 1206690.9327
44 | 2757180.4848 | 1206665.8477 | 2757189.7149 | 1206684.453 | 2757197.5611 | 1206694.8132 | 2757199.6299 | 1206696.8402
45 | 2757110.5621 | 1206727.5982 | 2757189.8348 | 1206719.176
46 | 2757043.106 | 1206711.3188 | 2757018.9206 | 1206737.1613
47 | 2757043.106 | 1206711.3188 | 2757047.9178 | 1206719.0189 | 2757048.4841 | 1206720.3117
48 | 2757018.9206 | 1206737.1613 | 2757012.641 | 1206752.0443
49 | 2757048.4841 | 1206720.3117 | 2757052.9831 | 1206730.583
50 | 2757196.7142 | 1206700.0956 | 2757189.8348 | 1206719.176 | 2757189.8348 | 1206719.176
51 | 2757190.486 | 1206722.5824 | 2757189.8348 | 1206719.176
52 | 2757196.7142 | 1206700.0956 | 2757193.7194 | 1206697.3699 | 2757190.8338 | 1206694.2578 | 2757188.3038 | 1206690.9327
53 | 2757211.7171 | 1206704.2388 | 2757210.1166 | 1206708.089 | 2757205.3057 | 1206705.8492 | 2757200.9174 | 1206703.1646 | 2757196.7142 | 1206700.0956
54 | 2757211.7171 | 1206704.2388 | 2757215.2486 | 1206705.9444 | 2757224.7316 | 1206708.185 | 2757233.6775 | 1206709.7608
55 | 2757211.7171 | 1206704.2388 | 2757211.1761 | 1206703.9799 | 2757202.1453 | 1206699.3046 | 2757199.6299 | 1206696.8402
56 | 2757249.9005 | 1206712.6185 | 2757233.6775 | 1206709.7608
57 | 2757251.0102 | 1206710.0677 | 2757249.9005 | 1206712.6185
58 | 2757249.5298 | 1206716.0006 | 2757249.9005 | 1206712.6185
59 | 2757249.5298 | 1206716.0006 | 2757237.7009 | 1206714.1319
60 | 2757237.7009 | 1206714.1319 | 2757237.4753 | 1206716.9173 | 2757237.7353 | 1206718.0251 | 2757238.2479 | 1206718.7838
61 | 2757251.0102 | 1206710.0677 | 2757262.2921 | 1206682.4299
62 | 2757251.0102 | 1206710.0677 | 2757258.3745 | 1206710.1284 | 2757263.2358 | 1206711.0964
63 | 2757263.2358 | 1206711.0964 | 2757278.8363 | 1206758.0211
64 | 2757278.8363 | 1206758.0211 | 2757282.0334 | 1206766.3461 | 2757283.0671 | 1206767.8302 | 2757284.4966 | 1206769.0245 | 2757285.989 | 1206769.8535 | 2757288.2801 | 1206770.4032 | 2757294.3953 | 1206771.606
65 | 2757429.6137 | 1206745.9746 | 2757410.2565 | 1206740.7025 | 2757404.3055 | 1206739.8257
66 | 2757404.3055 | 1206739.8257 | 2757406.9417 | 1206616.5933
67 | 2757442.0749 | 1206749.3721 | 2757433.5863 | 1206747.0566 | 2757429.6137 | 1206745.9746
68 | 2757406.9417 | 1206616.5933 | 2757404.9323 | 1206614.305 | 2757401.4562 | 1206607.9076 | 2757398.2784 | 1206605.1992 | 2757394.6285 | 1206603.6572 | 2757392.5692 | 1206604.4147 | 2757390.2884 | 1206605.778 | 2757388.0233 | 1206610.3001 | 2757384.9644 | 1206617.5036
69 | 2757463.0124 | 1206752.6436 | 2757451.3705 | 1206751.9077 | 2757442.0749 | 1206749.3721
70 | 2757307.6063 | 1206774.2046 | 2757294.3953 | 1206771.606
71 | 2757307.6063 | 1206774.2046 | 2757306.4032 | 1206778.2766 | 2757305.2095 | 1206780.8363 | 2757303.3979 | 1206783.4576 | 2757300.5374 | 1206786.6072 | 2757297.615 | 1206788.9323 | 2757294.2224 | 1206790.6222 | 2757289.6267 | 1206791.7688 | 2757285.8698 | 1206792.4048
72 | 2757359.9729 | 1206785.8775 | 2757307.6063 | 1206774.2046
73 | 2757285.8698 | 1206792.4048 | 2757280.6457 | 1206793.2891 | 2757277.7167 | 1206794.4241 | 2757275.2184 | 1206796.2488 | 2757273.1907 | 1206798.4084 | 2757273.1907 | 1206798.4084
74 | 2757366.9585 | 1206791.7955 | 2757359.9729 | 1206785.8775
75 | 2757273.1907 | 1206798.4084 | 2757271.859 | 1206801.009 | 2757271.5351 | 1206803.7696 | 2757271.8807 | 1206806.5367 | 2757272.7442 | 1206808.1275 | 2757274.0511 | 1206809.352 | 2757276.0802 | 1206810.3174 | 2757289.6937 | 1206813.8502
76 | 2757295.9715 | 1206815.4793 | 2757289.6937 | 1206813.8502
77 | 2757366.9585 | 1206791.7955 | 2757375.4254 | 1206797.9818
78 | 2757385.4501 | 1206805.3061 | 2757375.4254 | 1206797.9818
79 | 2757400.4966 | 1206816.7241 | 2757385.4501 | 1206805.3061
80 | 2757411.8473 | 1206837.9858 | 2757412.0026 | 1206838.8917 | 2757412.5918 | 1206844.8236 | 2757413.061 | 1206851.5531 | 2757412.9173 | 1206860.4572 | 2757412.7704 | 1206865.4467 | 2757412.4962 | 1206867.0792
81 | 2757400.4966 | 1206816.7241 | 2757406.4687 | 1206823.6878 | 2757408.7788 | 1206827.5521 | 2757410.5204 | 1206831.913 | 2757411.4355 | 1206835.5849 | 2757411.8473 | 1206837.9858
82 | 2757411.8473 | 1206837.9858 | 2757451.4996 | 1206824.2757
83 | 2757412.1475 | 1206869.1558 | 2757412.4962 | 1206867.0792
84 | 2757491.6444 | 1206798.6556 | 2757487.3785 | 1206808.9416 | 2757481.4437 | 1206825.0661 | 2757480.3497 | 1206827.8842 | 2757477.307 | 1206826.981 | 2757471.7333 | 1206823.3752 | 2757467.0357 | 1206822.039 | 2757457.8691 | 1206822.809 | 2757451.4996 | 1206824.2757
85 | 2757412.1475 | 1206869.1558 | 2757472.7336 | 1206920.9553
86 | 2757493.8233 | 1206793.4019 | 2757491.6444 | 1206798.6556
87 | 2757493.8233 | 1206793.4019 | 2757494.1398 | 1206792.6388 | 2757499.9026 | 1206783.0267 | 2757501.2824 | 1206781.2375
88 | 2757505.4416 | 1206775.8442 | 2757501.2824 | 1206781.2375
89 | 2757503.1335 | 1206766.1413 | 2757504.927 | 1206770.5481 | 2757505.4416 | 1206775.8442
90 | 2757503.1335 | 1206766.1413 | 2757499.9207 | 1206764.1881 | 2757488.1 | 1206757.2062
91 | 2757484.0742 | 1206754.8284 | 2757488.1 | 1206757.2062
92 | 2757484.0742 | 1206754.8284 | 2757476.4954 | 1206753.742
93 | 2757484.0742 | 1206754.8284 | 2757487.0375 | 1206746.3435 | 2757487.1521 | 1206728.4462
94 | 2757463.0124 | 1206752.6436 | 2757473.4234 | 1206753.3017 | 2757476.4954 | 1206753.742
95 | 2757193.4928 | 1206738.3115 | 2757190.486 | 1206722.5824
96 | 2757007.291 | 1206764.7244 | 2757012.641 | 1206752.0443
97 | 2757057.8232 | 1206741.6329 | 2757052.9831 | 1206730.583
98 | 2757007.291 | 1206764.7244 | 2757011.6276 | 1206767.0627 | 2757015.0608 | 1206769.9 | 2757031.4497 | 1206787.2845
99 | 2757057.8232 | 1206741.6329 | 2757059.5569 | 1206746.3049 | 2757061.1215 | 1206750.75 | 2757061.9549 | 1206754.0638 | 2757062.4044 | 1206757.512 | 2757062.4944 | 1206760.7395 | 2757062.2723 | 1206763.0794
100 | 2757057.8232 | 1206741.6329 | 2757080.0098 | 1206751.5365 | 2757081.6914 | 1206751.8255 | 2757083.7802 | 1206751.6803 | 2757085.4698 | 1206751.2054
101 | 2757032.316 | 1206788.2034 | 2757031.4497 | 1206787.2845
102 | 2756922.1514 | 1206794.8017 | 2756924.7711 | 1206777.3502
103 | 2756922.1514 | 1206794.8017 | 2756930.0262 | 1206798.5898 | 2756936.3181 | 1206800.9351 | 2756941.9544 | 1206802.1732 | 2756944.6177 | 1206802.3983
104 | 2757032.316 | 1206788.2034 | 2757019.8341 | 1206798.5089
105 | 2757013.6904 | 1206803.5813 | 2757019.8341 | 1206798.5089
106 | 2757062.2723 | 1206763.0794 | 2757062.1785 | 1206764.0675 | 2757061.6672 | 1206766.6004
107 | 2757007.2497 | 1206808.8989 | 2757013.6904 | 1206803.5813
108 | 2757007.2497 | 1206808.8989 | 2756997.1761 | 1206817.216
109 | 2756989.3958 | 1206823.6396 | 2756997.1761 | 1206817.216

## bus_geodata
| x | y | coords
0 | 2756951.129 | 1206505.1945
1 | 2756926.2634 | 1206473.9021
2 | 2756928.4045 | 1206489.4166
3 | 2756948.721 | 1206550.2249
4 | 2756981.8094 | 1206585.5821
5 | 2756979.3358 | 1206617.8064
6 | 2756976.9823 | 1206629.1512
7 | 2756984.6581 | 1206639.6401
8 | 2756959.5773 | 1206607.2498
9 | 2756954.2024 | 1206575.5491
10 | 2756991.4457 | 1206656.0461
11 | 2756957.7223 | 1206650.5406
12 | 2756981.9515 | 1206686.1342
13 | 2756956.6772 | 1206653.8535
14 | 2756949.5618 | 1206676.4076
15 | 2756949.307 | 1206677.2152
16 | 2756942.8351 | 1206697.7296
17 | 2756972.6524 | 1206715.0705
18 | 2756941.0862 | 1206703.2731
19 | 2756982.7734 | 1206724.2375
20 | 2757008.7958 | 1206733.5783
21 | 2756928.1888 | 1206754.5826
22 | 2757045.3736 | 1206595.619
23 | 2757046.7468 | 1206599.5458
24 | 2757036.521 | 1206577.2512
25 | 2757064.8767 | 1206624.314
26 | 2757020.5164 | 1206550.4772
27 | 2757069.8479 | 1206606.0165
28 | 2757072.7933 | 1206638.7237
29 | 2757056.5193 | 1206641.9003
30 | 2757018.2421 | 1206546.6725
31 | 2757074.5172 | 1206643.4707
32 | 2757046.9195 | 1206668.1027
33 | 2757156.7381 | 1206600.4443
34 | 2757170.8747 | 1206646.7711
35 | 2757078.4339 | 1206664.5912
36 | 2757044.1712 | 1206696.3102
37 | 2757077.827 | 1206671.6088
38 | 2757095.3361 | 1206710.6478
39 | 2757168.1052 | 1206649.2007
40 | 2757174.1268 | 1206661.8858
41 | 2757180.4848 | 1206665.8477
42 | 2757110.5621 | 1206727.5982
43 | 2757043.106 | 1206711.3188
44 | 2757018.9206 | 1206737.1613
45 | 2757048.4841 | 1206720.3117
46 | 2757189.8348 | 1206719.176
47 | 2757188.3038 | 1206690.9327
48 | 2757196.7142 | 1206700.0956
49 | 2757211.7171 | 1206704.2388
50 | 2757199.6299 | 1206696.8402
51 | 2757233.6775 | 1206709.7608
52 | 2757249.9005 | 1206712.6185
53 | 2757237.7009 | 1206714.1319
54 | 2757249.5298 | 1206716.0006
55 | 2757238.2479 | 1206718.7838
56 | 2757251.0102 | 1206710.0677
57 | 2757262.2921 | 1206682.4299
58 | 2757263.2358 | 1206711.0964
59 | 2757278.8363 | 1206758.0211
60 | 2757404.3055 | 1206739.8257
61 | 2757429.6137 | 1206745.9746
62 | 2757406.9417 | 1206616.5933
63 | 2757442.0749 | 1206749.3721
64 | 2757384.9644 | 1206617.5036
65 | 2757294.3953 | 1206771.606
66 | 2757307.6063 | 1206774.2046
67 | 2757285.8698 | 1206792.4048
68 | 2757359.9729 | 1206785.8775
69 | 2757273.1907 | 1206798.4084
70 | 2757289.6937 | 1206813.8502
71 | 2757295.9715 | 1206815.4793
72 | 2757366.9585 | 1206791.7955
73 | 2757375.4254 | 1206797.9817
74 | 2757385.4501 | 1206805.3061
75 | 2757411.8473 | 1206837.9858
76 | 2757412.4962 | 1206867.0792
77 | 2757400.4966 | 1206816.7241
78 | 2757451.4996 | 1206824.2757
79 | 2757412.1475 | 1206869.1558
80 | 2757472.7336 | 1206920.9553
81 | 2757493.8233 | 1206793.4019
82 | 2757491.6444 | 1206798.6556
83 | 2757501.2824 | 1206781.2375
84 | 2757505.4416 | 1206775.8442
85 | 2757503.1335 | 1206766.1413
86 | 2757488.1 | 1206757.2062
87 | 2757484.0742 | 1206754.8284
88 | 2757476.4954 | 1206753.742
89 | 2757487.1521 | 1206728.4462
90 | 2757463.0124 | 1206752.6436
91 | 2757190.486 | 1206722.5824
92 | 2757193.4928 | 1206738.3115
93 | 2757012.641 | 1206752.0443
94 | 2757052.9831 | 1206730.583
95 | 2757007.291 | 1206764.7244
96 | 2757057.8232 | 1206741.6329
97 | 2757031.4497 | 1206787.2845
98 | 2756924.7711 | 1206777.3502
99 | 2756688.3517 | 1206710.2082
100 | 2756922.1514 | 1206794.8017
101 | 2756944.6177 | 1206802.3983
102 | 2757032.316 | 1206788.2034
103 | 2757019.8341 | 1206798.5089
104 | 2757062.2723 | 1206763.0794
105 | 2757085.4698 | 1206751.2054
106 | 2757061.6672 | 1206766.6004
107 | 2757013.6904 | 1206803.5813
108 | 2757007.2497 | 1206808.8989
109 | 2756997.1761 | 1206817.216
110 | 2756989.3958 | 1206823.6396
111 | 2757064.8767 | 1206624.314

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1