## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3294-1_1_2_node_27 | 0.4 | n |  | TRUE
1 | bus_LV_3294-1_1_2_node_28 | 0.4 | n |  | TRUE
2 | bus_LV_3294-1_1_2_node_156 | 0.4 | n |  | TRUE
3 | bus_LV_3294-1_1_2_node_29 | 0.4 | n |  | TRUE
4 | bus_LV_3294-1_1_2_node_30 | 0.4 | n |  | TRUE
5 | bus_LV_3294-1_1_2_node_31 | 0.4 | n |  | TRUE
6 | bus_LV_3294-1_1_2_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_3294-1_1_2_node_146 | 0.4 | n |  | TRUE
8 | bus_LV_3294-1_1_2_node_128 | 0.4 | n |  | TRUE
9 | bus_LV_3294-1_1_2_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_3294-1_1_2_node_147 | 0.4 | n |  | TRUE
11 | bus_LV_3294-1_1_2_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_3294-1_1_2_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_3294-1_1_2_node_36 | 0.4 | n |  | TRUE
14 | bus_LV_3294-1_1_2_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_3294-1_1_2_node_38 | 0.4 | n |  | TRUE
16 | bus_LV_3294-1_1_2_node_39 | 0.4 | n |  | TRUE
17 | bus_LV_3294-1_1_2_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_3294-1_1_2_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_3294-1_1_2_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_3294-1_1_2_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_3294-1_1_2_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_3294-1_1_2_node_144 | 0.4 | n |  | TRUE
23 | bus_LV_3294-1_1_2_node_44 | 0.4 | n |  | TRUE
24 | bus_LV_3294-1_1_2_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_3294-1_1_2_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_3294-1_1_2_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_3294-1_1_2_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_3294-1_1_2_node_120 | 0.4 | n |  | TRUE
29 | bus_LV_3294-1_1_2_node_121 | 0.4 | n |  | TRUE
30 | bus_LV_3294-1_1_2_node_122 | 0.4 | n |  | TRUE
31 | bus_LV_3294-1_1_2_node_167 | 0.4 | n |  | TRUE
32 | bus_LV_3294-1_1_2_node_123 | 0.4 | n |  | TRUE
33 | bus_LV_3294-1_1_2_node_124 | 0.4 | n |  | TRUE
34 | bus_LV_3294-1_1_2_node_125 | 0.4 | n |  | TRUE
35 | bus_LV_3294-1_1_2_node_126 | 0.4 | n |  | TRUE
36 | bus_LV_3294-1_1_2_node_127 | 0.4 | n |  | TRUE
37 | bus_LV_3294-1_1_2_node_129 | 0.4 | n |  | TRUE
38 | bus_LV_3294-1_1_2_node_130 | 0.4 | n |  | TRUE
39 | bus_LV_3294-1_1_2_node_131 | 0.4 | n |  | TRUE
40 | bus_LV_3294-1_1_2_node_137 | 0.4 | n |  | TRUE
41 | bus_LV_3294-1_1_2_node_145 | 0.4 | n |  | TRUE
42 | bus_LV_3294-1_1_2_node_132 | 0.4 | n |  | TRUE
43 | bus_LV_3294-1_1_2_node_133 | 0.4 | n |  | TRUE
44 | bus_LV_3294-1_1_2_node_134 | 0.4 | n |  | TRUE
45 | bus_LV_3294-1_1_2_node_135 | 0.4 | n |  | TRUE
46 | bus_LV_3294-1_1_2_node_136 | 0.4 | n |  | TRUE
47 | bus_LV_3294-1_1_2_node_139 | 0.4 | n |  | TRUE
48 | bus_LV_3294-1_1_2_node_138 | 0.4 | n |  | TRUE
49 | bus_LV_3294-1_1_2_node_141 | 0.4 | n |  | TRUE
50 | bus_LV_3294-1_1_2_node_140 | 0.4 | n |  | TRUE
51 | bus_LV_3294-1_1_2_node_142 | 0.4 | n |  | TRUE
52 | bus_LV_3294-1_1_2_node_143 | 0.4 | n |  | TRUE
53 | bus_LV_3294-1_1_2_node_148 | 0.4 | n |  | TRUE
54 | bus_LV_3294-1_1_2_node_149 | 0.4 | n |  | TRUE
55 | bus_LV_3294-1_1_2_node_150 | 0.4 | n |  | TRUE
56 | bus_LV_3294-1_1_2_node_151 | 0.4 | n |  | TRUE
57 | bus_LV_3294-1_1_2_node_152 | 0.4 | n |  | TRUE
58 | bus_LV_3294-1_1_2_node_153 | 0.4 | n |  | TRUE
59 | bus_LV_3294-1_1_2_node_154 | 0.4 | n |  | TRUE
60 | bus_LV_3294-1_1_2_node_155 | 0.4 | n |  | TRUE
61 | bus_LV_3294-1_1_2_node_162 | 0.4 | n |  | TRUE
62 | bus_LV_3294-1_1_2_node_157 | 0.4 | n |  | TRUE
63 | bus_LV_3294-1_1_2_node_159 | 0.4 | n |  | TRUE
64 | bus_LV_3294-1_1_2_node_186 | 0.4 | n |  | TRUE
65 | bus_LV_3294-1_1_2_node_163 | 0.4 | n |  | TRUE
66 | bus_LV_3294-1_1_2_node_166 | 0.4 | n |  | TRUE
67 | bus_LV_3294-1_1_2_node_168 | 0.4 | n |  | TRUE
68 | bus_LV_3294-1_1_2_node_169 | 0.4 | n |  | TRUE
69 | bus_LV_3294-1_1_2_node_170 | 0.4 | n |  | TRUE
70 | bus_LV_3294-1_1_2_node_175 | 0.4 | n |  | TRUE
71 | bus_LV_3294-1_1_2_node_171 | 0.4 | n |  | TRUE
72 | bus_LV_3294-1_1_2_node_173 | 0.4 | n |  | TRUE
73 | bus_LV_3294-1_1_2_node_176 | 0.4 | n |  | TRUE
74 | bus_LV_3294-1_1_2_node_172 | 0.4 | n |  | TRUE
75 | bus_LV_3294-1_1_2_node_197 | 0.4 | n |  | TRUE
76 | bus_LV_3294-1_1_2_node_174 | 0.4 | n |  | TRUE
77 | bus_LV_3294-1_1_2_node_177 | 0.4 | n |  | TRUE
78 | bus_LV_3294-1_1_2_node_178 | 0.4 | n |  | TRUE
79 | bus_LV_3294-1_1_2_node_179 | 0.4 | n |  | TRUE
80 | bus_LV_3294-1_1_2_node_180 | 0.4 | n |  | TRUE
81 | bus_LV_3294-1_1_2_node_181 | 0.4 | n |  | TRUE
82 | bus_LV_3294-1_1_2_node_182 | 0.4 | n |  | TRUE
83 | bus_LV_3294-1_1_2_node_183 | 0.4 | n |  | TRUE
84 | bus_LV_3294-1_1_2_node_184 | 0.4 | n |  | TRUE
85 | bus_LV_3294-1_1_2_node_185 | 0.4 | n |  | TRUE
86 | bus_LV_3294-1_1_2_node_187 | 0.4 | n |  | TRUE
87 | bus_LV_3294-1_1_2_node_188 | 0.4 | n |  | TRUE
88 | bus_LV_3294-1_1_2_node_189 | 0.4 | n |  | TRUE
89 | bus_LV_3294-1_1_2_node_190 | 0.4 | n |  | TRUE
90 | bus_LV_3294-1_1_2_node_191 | 0.4 | n |  | TRUE
91 | bus_LV_3294-1_1_2_node_192 | 0.4 | n |  | TRUE
92 | bus_LV_3294-1_1_2_node_193 | 0.4 | n |  | TRUE
93 | bus_LV_3294-1_1_2_node_194 | 0.4 | n |  | TRUE
94 | bus_LV_3294-1_1_2_node_195 | 0.4 | n |  | TRUE
95 | bus_LV_3294-1_1_2_node_196 | 0.4 | n |  | TRUE
96 | bus_MV_0_node_163 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3294-1_1_2_load_27 | 0 | 0.0012806 | 0.00032096 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3294-1_1_2_load_28 | 1 | 0.0010115 | 0.0002535 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3294-1_1_2_load_156 | 2 | 0.00032703 | 8.1962e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3294-1_1_2_load_29 | 3 | 0.00030906 | 7.7458e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3294-1_1_2_load_31 | 5 | 0.00022853 | 5.7276e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3294-1_1_2_load_32 | 6 | 0.00028774 | 7.2113e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3294-1_1_2_load_146 | 7 | 0.00024967 | 6.2574e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3294-1_1_2_load_33 | 9 | 0.00032543 | 8.1562e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3294-1_1_2_load_147 | 10 | 0.00028171 | 7.0603e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3294-1_1_2_load_35 | 12 | 0.00054077 | 0.00013553 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3294-1_1_2_load_36 | 13 | 0.00031659 | 7.9345e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3294-1_1_2_load_37 | 14 | 0.00041131 | 0.00010309 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3294-1_1_2_load_39 | 16 | 0.00026696 | 6.6905e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3294-1_1_2_load_42 | 17 | 0.00021188 | 5.3102e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3294-1_1_2_load_40 | 18 | 0.00017077 | 4.2799e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3294-1_1_2_load_41 | 19 | 0.0001939 | 4.8596e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3294-1_1_2_load_49 | 20 | 0.00027036 | 6.7759e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3294-1_1_2_load_43 | 21 | 0.00059229 | 0.00014844 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3294-1_1_2_load_144 | 22 | 0.00018597 | 4.6608e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3294-1_1_2_load_44 | 23 | 0.00054023 | 0.0001354 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3294-1_1_2_load_46 | 25 | 0.00042967 | 0.00010769 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3294-1_1_2_load_47 | 26 | 0.0002633 | 6.5989e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3294-1_1_2_load_48 | 27 | 0.00030877 | 7.7384e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3294-1_1_2_load_120 | 28 | 0.00019807 | 4.964e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3294-1_1_2_load_121 | 29 | 0.00019949 | 4.9996e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3294-1_1_2_load_122 | 30 | 0.0002281 | 5.7167e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3294-1_1_2_load_167 | 31 | 0.00027392 | 6.8652e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3294-1_1_2_load_123 | 32 | 0.00019077 | 4.7812e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3294-1_1_2_load_124 | 33 | 0.00029308 | 7.3453e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3294-1_1_2_load_126 | 35 | 0.00037548 | 9.4104e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3294-1_1_2_load_127 | 36 | 0.0001543 | 3.8672e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3294-1_1_2_load_129 | 37 | 0.00019406 | 4.8637e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3294-1_1_2_load_130 | 38 | 0.0001786 | 4.4761e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3294-1_1_2_load_145 | 41 | 0.00030586 | 7.6656e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3294-1_1_2_load_132 | 42 | 0.00017658 | 4.4255e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3294-1_1_2_load_134 | 44 | 0.00016466 | 4.1268e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3294-1_1_2_load_135 | 45 | 0.00037206 | 9.3247e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3294-1_1_2_load_136 | 46 | 0.0002527 | 6.3333e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3294-1_1_2_load_139 | 47 | 0.0002996 | 7.5087e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3294-1_1_2_load_138 | 48 | 0.0003496 | 8.7618e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3294-1_1_2_load_141 | 49 | 0.00015352 | 3.8477e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3294-1_1_2_load_140 | 50 | 0.00047362 | 0.0001187 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3294-1_1_2_load_142 | 51 | 0.00021647 | 5.4252e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3294-1_1_2_load_143 | 52 | 0.00046876 | 0.00011748 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3294-1_1_2_load_148 | 53 | 0.00024502 | 6.1409e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3294-1_1_2_load_149 | 54 | 0.00017094 | 4.2843e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3294-1_1_2_load_150 | 55 | 0.00060703 | 0.00015214 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3294-1_1_2_load_151 | 56 | 0.00074465 | 0.00018663 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3294-1_1_2_load_152 | 57 | 0.00030763 | 7.71e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3294-1_1_2_load_153 | 58 | 0.00044958 | 0.00011268 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3294-1_1_2_load_154 | 59 | 0.0006271 | 0.00015717 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3294-1_1_2_load_155 | 60 | 0.0014817 | 0.00037135 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3294-1_1_2_load_162 | 61 | 0.00016057 | 4.0241e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3294-1_1_2_load_157 | 62 | 0.00016959 | 4.2504e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3294-1_1_2_load_186 | 64 | 0.00084078 | 0.00021072 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3294-1_1_2_load_163 | 65 | 0.00027519 | 6.8969e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3294-1_1_2_load_166 | 66 | 0.00018239 | 4.5712e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3294-1_1_2_load_168 | 67 | 0.00051719 | 0.00012962 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3294-1_1_2_load_169 | 68 | 0.00035488 | 8.894e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3294-1_1_2_load_170 | 69 | 0.00049456 | 0.00012395 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3294-1_1_2_load_175 | 70 | 0.00072731 | 0.00018228 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3294-1_1_2_load_171 | 71 | 0.00023798 | 5.9643e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3294-1_1_2_load_173 | 72 | 0.00030752 | 7.7072e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3294-1_1_2_load_176 | 73 | 0.00055515 | 0.00013913 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3294-1_1_2_load_172 | 74 | 0.00055243 | 0.00013845 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3294-1_1_2_load_197 | 75 | 0.00014423 | 3.6148e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3294-1_1_2_load_174 | 76 | 0.00029285 | 7.3396e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3294-1_1_2_load_177 | 77 | 0.0012118 | 0.0003037 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3294-1_1_2_load_178 | 78 | 0.00047148 | 0.00011817 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3294-1_1_2_load_179 | 79 | 0.00061774 | 0.00015482 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3294-1_1_2_load_180 | 80 | 0.00074857 | 0.00018761 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3294-1_1_2_load_181 | 81 | 0.00075596 | 0.00018946 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3294-1_1_2_load_182 | 82 | 0.0010413 | 0.00026097 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3294-1_1_2_load_183 | 83 | 0.00081492 | 0.00020424 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3294-1_1_2_load_184 | 84 | 0.00070518 | 0.00017673 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3294-1_1_2_load_185 | 85 | 0.001246 | 0.00031228 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3294-1_1_2_load_187 | 86 | 0.0004338 | 0.00010872 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3294-1_1_2_load_188 | 87 | 0.00043619 | 0.00010932 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3294-1_1_2_load_189 | 88 | 0.0013422 | 0.00033638 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3294-1_1_2_load_190 | 89 | 0.00055576 | 0.00013929 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3294-1_1_2_load_191 | 90 | 0.00031445 | 7.8809e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3294-1_1_2_load_192 | 91 | 0.00035412 | 8.875e-05 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3294-1_1_2_load_193 | 92 | 0.00047918 | 0.00012009 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3294-1_1_2_load_194 | 93 | 0.00013544 | 3.3945e-05 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3294-1_1_2_load_195 | 94 | 0.00019115 | 4.7908e-05 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3294-1_1_2_load_196 | 95 | 0.0010016 | 0.00025102 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 65 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3294-1_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.13806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3294-1_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.2591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3294-1_1_2_line_2 | NAYY 4x150 SE | 2 | 61 | 0.27842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3294-1_1_2_line_3 | NAYY 4x150 SE | 2 | 60 | 0.022722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3294-1_1_2_line_4 | NAYY 4x150 SE | 3 | 4 | 0.0048987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3294-1_1_2_line_5 | NAYY 4x150 SE | 4 | 5 | 0.0031066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3294-1_1_2_line_6 | NAYY 4x150 SE | 4 | 6 | 0.049481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3294-1_1_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.01692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3294-1_1_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.046243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3294-1_1_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.049551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3294-1_1_2_line_10 | NAYY 4x150 SE | 8 | 39 | 0.050999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3294-1_1_2_line_11 | NAYY 4x150 SE | 9 | 10 | 0.28166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3294-1_1_2_line_12 | NAYY 4x150 SE | 10 | 53 | 0.014418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3294-1_1_2_line_13 | NAYY 4x150 SE | 11 | 12 | 0.06662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3294-1_1_2_line_14 | NAYY 4x150 SE | 11 | 13 | 0.091493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3294-1_1_2_line_15 | NAYY 4x150 SE | 12 | 14 | 0.05026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3294-1_1_2_line_16 | NAYY 4x150 SE | 13 | 15 | 0.14323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3294-1_1_2_line_17 | NAYY 4x150 SE | 14 | 16 | 0.072597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3294-1_1_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.20471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3294-1_1_2_line_19 | NAYY 4x150 SE | 16 | 18 | 0.008417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3294-1_1_2_line_20 | NAYY 4x150 SE | 17 | 21 | 0.02254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3294-1_1_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.0046377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3294-1_1_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.0050636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3294-1_1_2_line_23 | NAYY 4x150 SE | 20 | 26 | 0.0023168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3294-1_1_2_line_24 | NAYY 4x150 SE | 21 | 22 | 0.031146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3294-1_1_2_line_25 | NAYY 4x150 SE | 22 | 52 | 0.0086742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3294-1_1_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.013076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3294-1_1_2_line_27 | NAYY 4x150 SE | 24 | 25 | 0.027708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3294-1_1_2_line_28 | NAYY 4x150 SE | 24 | 26 | 0.031026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3294-1_1_2_line_29 | NAYY 4x150 SE | 25 | 27 | 0.019388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3294-1_1_2_line_30 | NAYY 4x150 SE | 28 | 29 | 0.11538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3294-1_1_2_line_31 | NAYY 4x150 SE | 29 | 30 | 0.0018769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3294-1_1_2_line_32 | NAYY 4x150 SE | 30 | 31 | 0.30367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3294-1_1_2_line_33 | NAYY 4x150 SE | 31 | 67 | 0.16021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3294-1_1_2_line_34 | NAYY 4x150 SE | 32 | 33 | 0.16795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3294-1_1_2_line_35 | NAYY 4x150 SE | 32 | 34 | 0.040257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3294-1_1_2_line_36 | NAYY 4x150 SE | 33 | 35 | 0.23718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3294-1_1_2_line_37 | NAYY 4x150 SE | 34 | 36 | 0.082896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3294-1_1_2_line_38 | NAYY 4x150 SE | 35 | 37 | 0.14511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3294-1_1_2_line_39 | NAYY 4x150 SE | 36 | 38 | 0.086056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3294-1_1_2_line_40 | NAYY 4x150 SE | 38 | 40 | 0.014324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3294-1_1_2_line_41 | NAYY 4x150 SE | 39 | 41 | 0.014312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3294-1_1_2_line_42 | NAYY 4x150 SE | 40 | 48 | 0.012939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3294-1_1_2_line_43 | NAYY 4x150 SE | 40 | 45 | 0.063066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3294-1_1_2_line_44 | NAYY 4x150 SE | 41 | 49 | 0.017395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3294-1_1_2_line_45 | NAYY 4x150 SE | 42 | 43 | 0.10318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3294-1_1_2_line_46 | NAYY 4x150 SE | 43 | 44 | 0.027782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3294-1_1_2_line_47 | NAYY 4x150 SE | 43 | 45 | 0.043692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3294-1_1_2_line_48 | NAYY 4x150 SE | 44 | 46 | 0.019081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3294-1_1_2_line_49 | NAYY 4x150 SE | 46 | 47 | 0.01731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3294-1_1_2_line_50 | NAYY 4x150 SE | 47 | 50 | 0.015451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3294-1_1_2_line_51 | NAYY 4x150 SE | 48 | 49 | 0.066437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3294-1_1_2_line_52 | NAYY 4x150 SE | 50 | 51 | 0.011033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3294-1_1_2_line_53 | NAYY 4x150 SE | 51 | 52 | 0.0085253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3294-1_1_2_line_54 | NAYY 4x150 SE | 53 | 54 | 0.056448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3294-1_1_2_line_55 | NAYY 4x150 SE | 54 | 55 | 0.0105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3294-1_1_2_line_56 | NAYY 4x150 SE | 55 | 56 | 0.0043619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3294-1_1_2_line_57 | NAYY 4x150 SE | 56 | 57 | 0.0099983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3294-1_1_2_line_58 | NAYY 4x150 SE | 57 | 58 | 0.016777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3294-1_1_2_line_59 | NAYY 4x150 SE | 58 | 59 | 0.0070999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3294-1_1_2_line_60 | NAYY 4x150 SE | 59 | 60 | 0.040144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3294-1_1_2_line_61 | NAYY 4x150 SE | 61 | 66 | 0.033093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3294-1_1_2_line_62 | NAYY 4x150 SE | 61 | 63 | 0.12808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3294-1_1_2_line_63 | NAYY 4x150 SE | 62 | 63 | 0.1715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3294-1_1_2_line_64 | NAYY 4x150 SE | 62 | 64 | 0.19631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3294-1_1_2_line_65 | NAYY 4x150 SE | 63 | 65 | 0.18719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_3294-1_1_2_line_66 | NAYY 4x150 SE | 64 | 86 | 0.020818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3294-1_1_2_line_67 | NAYY 4x150 SE | 64 | 85 | 0.011858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3294-1_1_2_line_68 | NAYY 4x150 SE | 67 | 68 | 0.016334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3294-1_1_2_line_69 | NAYY 4x150 SE | 68 | 69 | 0.049422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3294-1_1_2_line_70 | NAYY 4x150 SE | 69 | 70 | 0.020488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3294-1_1_2_line_71 | NAYY 4x150 SE | 70 | 73 | 0.026223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3294-1_1_2_line_72 | NAYY 4x150 SE | 71 | 72 | 0.01703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3294-1_1_2_line_73 | NAYY 4x150 SE | 71 | 73 | 0.15737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3294-1_1_2_line_74 | NAYY 4x150 SE | 72 | 76 | 0.19908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3294-1_1_2_line_75 | NAYY 4x150 SE | 73 | 77 | 0.02017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3294-1_1_2_line_76 | NAYY 4x150 SE | 74 | 75 | 0.082007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3294-1_1_2_line_77 | NAYY 4x150 SE | 75 | 95 | 0.032419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3294-1_1_2_line_78 | NAYY 4x150 SE | 77 | 78 | 0.018991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3294-1_1_2_line_79 | NAYY 4x150 SE | 78 | 79 | 0.020606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3294-1_1_2_line_80 | NAYY 4x150 SE | 79 | 80 | 0.0082523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3294-1_1_2_line_81 | NAYY 4x150 SE | 80 | 81 | 0.014759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3294-1_1_2_line_82 | NAYY 4x150 SE | 81 | 82 | 0.0077246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3294-1_1_2_line_83 | NAYY 4x150 SE | 82 | 83 | 0.021423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3294-1_1_2_line_84 | NAYY 4x150 SE | 83 | 84 | 0.0017912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3294-1_1_2_line_85 | NAYY 4x150 SE | 84 | 85 | 0.016868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3294-1_1_2_line_86 | NAYY 4x150 SE | 86 | 87 | 0.0014848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3294-1_1_2_line_87 | NAYY 4x150 SE | 87 | 88 | 0.013104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3294-1_1_2_line_88 | NAYY 4x150 SE | 88 | 89 | 0.0045366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3294-1_1_2_line_89 | NAYY 4x150 SE | 89 | 90 | 0.0009793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3294-1_1_2_line_90 | NAYY 4x150 SE | 90 | 91 | 0.013666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3294-1_1_2_line_91 | NAYY 4x150 SE | 91 | 92 | 0.0060164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3294-1_1_2_line_92 | NAYY 4x150 SE | 92 | 93 | 0.010736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3294-1_1_2_line_93 | NAYY 4x150 SE | 93 | 94 | 0.01051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3294-1_1_2_line_94 | NAYY 4x150 SE | 94 | 95 | 0.0067208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3294-1_1_2_trafo_163 | 0.25 MVA 20/0.4 kV | 96 | 65 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2755808.4342 | 1202025.9775 | 2755811.7801 | 1202015.2112 | 2755826.4579 | 1201969.5761 | 2755841.9991 | 1201929.6687 | 2755861.5825 | 1201899.4351
1 | 2755693.2721 | 1202258.0804 | 2755808.4342 | 1202025.9775
2 | 2755693.2721 | 1202258.0804 | 2755426.0125 | 1202180.0414
3 | 2755696.7916 | 1202280.5287 | 2755693.2721 | 1202258.0804
4 | 2755735.864 | 1202504.7166 | 2755739.7786 | 1202501.7716
5 | 2755735.864 | 1202504.7166 | 2755736.0295 | 1202501.6144
6 | 2755735.864 | 1202504.7166 | 2755733.7744 | 1202543.9521 | 2755734.9329 | 1202554.0756
7 | 2755736.0295 | 1202501.6144 | 2755736.9308 | 1202484.7187
8 | 2755743.7356 | 1202599.3492 | 2755741.1123 | 1202591.6185 | 2755736.695 | 1202569.4728 | 2755734.9329 | 1202554.0756
9 | 2755736.9308 | 1202484.7187 | 2755738.0997 | 1202462.8048 | 2755736.2648 | 1202443.2398 | 2755734.0371 | 1202435.6027
10 | 2755743.7356 | 1202599.3492 | 2755752.9943 | 1202628.5495 | 2755759.3807 | 1202647.8886
11 | 2755734.0371 | 1202435.6027 | 2756015.5338 | 1202426.0107
12 | 2755734.0371 | 1202435.6027 | 2755729.9998 | 1202421.7615
13 | 2756037.3099 | 1202736.6077 | 2756030.6958 | 1202745.2426 | 2756001.7249 | 1202765.8708 | 2755987.1473 | 1202779.8228
14 | 2756037.3099 | 1202736.6077 | 2756010.8106 | 1202748.0257 | 2755980.2029 | 1202755.244 | 2755957.5439 | 1202757.2431 | 2755949.3797 | 1202755.0857
15 | 2755942.2385 | 1202797.2548 | 2755947.968 | 1202794.4369 | 2755958.5034 | 1202793.6668 | 2755972.7346 | 1202792.2037 | 2755985.0983 | 1202781.784 | 2755987.1473 | 1202779.8228
16 | 2755831.6689 | 1202819.7912 | 2755859.8339 | 1202787.4197 | 2755867.1307 | 1202779.7478 | 2755887.6771 | 1202767.9624 | 2755929.9423 | 1202749.9495 | 2755949.3797 | 1202755.0857
17 | 2755942.2385 | 1202797.2548 | 2755932.7882 | 1202801.9028 | 2755917.9497 | 1202816.7063 | 2755904.9175 | 1202832.6135 | 2755895.0335 | 1202850.6212
18 | 2755831.6689 | 1202819.7912 | 2755790.7853 | 1202832.7474 | 2755778.3119 | 1202825.5047 | 2755778.1703 | 1202768.4954 | 2755766.3022 | 1202753.5173 | 2755773.5284 | 1202727.2493 | 2755785.2686 | 1202699.8647 | 2755773.1514 | 1202707.3551
19 | 2755895.0335 | 1202850.6212 | 2755894.4287 | 1202851.7232 | 2755891.5162 | 1202858.264
20 | 2755753.748 | 1202718.8232 | 2755770.7344 | 1202708.8492 | 2755773.1514 | 1202707.3551
21 | 2755889.6297 | 1202862.5006 | 2755891.5162 | 1202858.264
22 | 2755888.0806 | 1202867.3115 | 2755889.1226 | 1202863.6397 | 2755889.6297 | 1202862.5006
23 | 2755887.4482 | 1202869.5403 | 2755888.0806 | 1202867.3115
24 | 2755735.7941 | 1202742.5527 | 2755738.6823 | 1202732.0339 | 2755747.5051 | 1202722.4889 | 2755753.748 | 1202718.8232
25 | 2755735.7941 | 1202742.5527 | 2755733.4974 | 1202750.9174
26 | 2755877.6847 | 1202898.9723 | 2755878.1602 | 1202912.0398
27 | 2755877.6847 | 1202898.9723 | 2755886.1912 | 1202889.586 | 2755893.4709 | 1202881.9804 | 2755896.7184 | 1202878.8466
28 | 2755877.6847 | 1202898.9723 | 2755879.9351 | 1202893.2704 | 2755885.3573 | 1202876.9086 | 2755887.4482 | 1202869.5403
29 | 2755905.479 | 1202861.8427 | 2755901.3201 | 1202871.2313 | 2755899.4854 | 1202876.1767 | 2755896.7184 | 1202878.8466
30 | 2754906.6328 | 1202756.9913 | 2754904.0619 | 1202763.0626 | 2754899.4415 | 1202781.4922 | 2754895.1501 | 1202799.8637 | 2754885.1704 | 1202816.4972 | 2754868.1042 | 1202832.4577 | 2754847.0402 | 1202850.7832 | 2754846.8911 | 1202850.9674
31 | 2754906.6328 | 1202756.9913 | 2754907.3646 | 1202755.263
32 | 2754964.7882 | 1202457.0685 | 2754907.3646 | 1202755.263
33 | 2754964.7882 | 1202457.0685 | 2754965.1053 | 1202455.0765 | 2754968.8284 | 1202421.655 | 2754973.5203 | 1202406.9416 | 2754984.3983 | 1202399.1503 | 2755013.2681 | 1202399.3439 | 2755031.6056 | 1202399.8757 | 2755043.4805 | 1202398.2713 | 2755056.7532 | 1202394.4458 | 2755067.303 | 1202398.1228 | 2755077.814 | 1202402.9386
34 | 2755557.1833 | 1202726.1759 | 2755548.1603 | 1202749.4635 | 2755537.863 | 1202791.9438 | 2755533.3715 | 1202823.1764 | 2755529.5176 | 1202853.6139 | 2755530.2748 | 1202879.4896 | 2755527.991 | 1202890.3956
35 | 2755579.1109 | 1202692.842 | 2755572.5547 | 1202698.9878 | 2755558.3727 | 1202723.1063 | 2755557.1833 | 1202726.1759
36 | 2755527.991 | 1202890.3956 | 2755527.4746 | 1202892.8618 | 2755523.5239 | 1202903.3459 | 2755522.7739 | 1202916.3489 | 2755523.8107 | 1202939.385 | 2755523.049 | 1202950.208 | 2755519.9391 | 1202959.6909 | 2755505.6085 | 1202995.0933 | 2755503.5255 | 1203004.6141 | 2755507.3958 | 1203020.5955 | 2755508.5984 | 1203029.379 | 2755505.4603 | 1203032.3444 | 2755500.3971 | 1203030.5888 | 2755484.9025 | 1203021.8334 | 2755461.9841 | 1203083.5355 | 2755461.9841 | 1203083.5355
37 | 2755579.1109 | 1202692.842 | 2755588.9059 | 1202726.9047 | 2755595.7471 | 1202746.6335 | 2755612.8904 | 1202747.0804 | 2755622.0646 | 1202744.9291
38 | 2755461.9841 | 1203083.5355 | 2755449.7629 | 1203082.4054 | 2755453.5356 | 1203062.9643 | 2755426.7963 | 1203023.1781 | 2755417.4413 | 1203005.8306 | 2755402.0827 | 1202999.7369 | 2755392.1421 | 1203005.1719 | 2755390.1249 | 1203019.7767 | 2755390.1104 | 1203022.5662
39 | 2755622.0646 | 1202744.9291 | 2755628.5114 | 1202743.4174 | 2755646.3628 | 1202747.9531 | 2755698.5645 | 1202750.9382 | 2755706.5393 | 1202747.3902
40 | 2755719.6263 | 1202741.5678 | 2755706.5393 | 1202747.3902
41 | 2755759.3807 | 1202647.8886 | 2755763.5803 | 1202661.5702
42 | 2755719.6263 | 1202741.5678 | 2755724.2283 | 1202729.4749
43 | 2755719.6263 | 1202741.5678 | 2755702.2239 | 1202788.7111 | 2755700.8788 | 1202801.4539
44 | 2755763.8281 | 1202678.8695 | 2755764.1879 | 1202663.5499 | 2755763.5803 | 1202661.5702
45 | 2755720.1812 | 1202840.5469 | 2755727.7591 | 1202869.3697 | 2755728.4655 | 1202891.9079 | 2755727.3886 | 1202942.7243
46 | 2755720.1812 | 1202840.5469 | 2755722.096 | 1202834.5693 | 2755718.5218 | 1202822.143 | 2755715.2132 | 1202814.2321
47 | 2755720.1812 | 1202840.5469 | 2755716.9991 | 1202831.7673 | 2755705.6471 | 1202811.5982 | 2755700.8788 | 1202801.4539
48 | 2755715.2132 | 1202814.2321 | 2755712.8884 | 1202808.6732 | 2755709.2265 | 1202800.4817 | 2755709.6934 | 1202796.4255
49 | 2755709.6934 | 1202796.4255 | 2755710.6737 | 1202787.9084 | 2755715.6309 | 1202780.7138
50 | 2755715.6309 | 1202780.7138 | 2755724.3974 | 1202767.9905
51 | 2755724.2283 | 1202729.4749 | 2755725.7737 | 1202725.4138 | 2755733.1988 | 1202717.4893 | 2755749.745 | 1202706.3887 | 2755758.4005 | 1202693.9145 | 2755763.7768 | 1202681.0545 | 2755763.8281 | 1202678.8695
52 | 2755724.3974 | 1202767.9905 | 2755726.3828 | 1202765.109 | 2755730.521 | 1202758.8132
53 | 2755730.521 | 1202758.8132 | 2755731.9093 | 1202756.7012 | 2755733.4974 | 1202750.9174
54 | 2755729.9998 | 1202421.7615 | 2755714.1932 | 1202367.5714
55 | 2755711.2529 | 1202357.4912 | 2755714.1932 | 1202367.5714
56 | 2755711.2529 | 1202357.4912 | 2755710.0315 | 1202353.3038
57 | 2755707.4857 | 1202343.6458 | 2755707.9219 | 1202346.0714 | 2755710.0315 | 1202353.3038
58 | 2755704.5166 | 1202327.1335 | 2755707.4857 | 1202343.6458
59 | 2755703.2602 | 1202320.1457 | 2755704.5166 | 1202327.1335
60 | 2755703.2602 | 1202320.1457 | 2755701.2518 | 1202308.9762 | 2755696.7916 | 1202280.5287
61 | 2755435.2549 | 1202148.2652 | 2755426.0125 | 1202180.0414
62 | 2755390.8667 | 1202295.7175 | 2755395.16 | 1202296.6522 | 2755397.3341 | 1202296.2083 | 2755399.7877 | 1202291.468 | 2755404.4866 | 1202270.3829 | 2755420.672 | 1202236.0182 | 2755424.1749 | 1202222.8534 | 2755425.0235 | 1202202.8357 | 2755425.4025 | 1202182.1386 | 2755426.0125 | 1202180.0414
63 | 2755390.8667 | 1202295.7175 | 2755389.7929 | 1202292.2087 | 2755394.5513 | 1202269.1345 | 2755396.4611 | 1202240.5258 | 2755393.0503 | 1202224.701 | 2755378.8207 | 1202190.3676 | 2755373.7306 | 1202174.9884 | 2755374.1486 | 1202158.9297 | 2755376.3024 | 1202146.3969 | 2755377.4542 | 1202134.3275 | 2755375.7439 | 1202129.4781
64 | 2755194.929 | 1202205.9156 | 2755375.7439 | 1202129.4781
65 | 2755390.8667 | 1202295.7175 | 2755390.9776 | 1202304.3279 | 2755386.1818 | 1202315.9689 | 2755354.1453 | 1202346.4403 | 2755347.2693 | 1202355.2136 | 2755345.408 | 1202362.9497 | 2755345.8363 | 1202384.8245 | 2755349.0155 | 1202396.6731 | 2755361.4022 | 1202412.5646 | 2755365.7887 | 1202422.7876 | 2755365.1953 | 1202432.7142 | 2755355.7734 | 1202458.3445
66 | 2755194.929 | 1202205.9156 | 2755187.7695 | 1202186.3675
67 | 2755194.929 | 1202205.9156 | 2755196.4413 | 1202210.0447 | 2755197.6176 | 1202217.4125
68 | 2755077.814 | 1202402.9386 | 2755081.6609 | 1202404.7012 | 2755093.6029 | 1202406.6684
69 | 2755093.6029 | 1202406.6684 | 2755093.6029 | 1202406.6684 | 2755106.2139 | 1202401.0576 | 2755114.479 | 1202391.2636 | 2755120.9077 | 1202369.3852
70 | 2755120.9077 | 1202369.3852 | 2755126.6836 | 1202349.7286
71 | 2755126.6836 | 1202349.7286 | 2755132.9152 | 1202328.5208 | 2755134.5181 | 1202324.7267
72 | 2754988.9973 | 1202264.8071 | 2754972.902 | 1202270.3705
73 | 2755134.5181 | 1202324.7267 | 2754988.9973 | 1202264.8071
74 | 2754972.902 | 1202270.3705 | 2754971.8478 | 1202270.7348 | 2754905.619 | 1202307.227 | 2754882.2599 | 1202329.7077 | 2754877.6624 | 1202316.7217 | 2754895.5038 | 1202302.0492 | 2754893.2623 | 1202271.342 | 2754897.6209 | 1202249.5137
75 | 2755134.5181 | 1202324.7267 | 2755142.3679 | 1202306.1466 | 2755142.3679 | 1202306.1466
76 | 2755141.4768 | 1202099.2185 | 2755081.8743 | 1202155.5446
77 | 2755162.1467 | 1202124.1931 | 2755152.0258 | 1202112.0945 | 2755141.4768 | 1202099.2185
78 | 2755142.3679 | 1202306.1466 | 2755153.9733 | 1202291.1139
79 | 2755153.9733 | 1202291.1139 | 2755154.3614 | 1202290.6112 | 2755163.4998 | 1202280.9178 | 2755168.6711 | 1202276.7389
80 | 2755168.6711 | 1202276.7389 | 2755174.5526 | 1202271.9859 | 2755175.0636 | 1202271.5218
81 | 2755175.0636 | 1202271.5218 | 2755185.9881 | 1202261.5984
82 | 2755185.9881 | 1202261.5984 | 2755190.0493 | 1202257.9094 | 2755190.9876 | 1202255.8776
83 | 2755190.9876 | 1202255.8776 | 2755197.1339 | 1202242.5689 | 2755198.0461 | 1202235.8671
84 | 2755198.0461 | 1202235.8671 | 2755198.2877 | 1202234.0923
85 | 2755198.2877 | 1202234.0923 | 2755199.2048 | 1202227.3539 | 2755197.6176 | 1202217.4125
86 | 2755187.2589 | 1202184.9732 | 2755187.7695 | 1202186.3675
87 | 2755187.2589 | 1202184.9732 | 2755183.266 | 1202174.0711 | 2755182.8235 | 1202172.6448
88 | 2755182.8235 | 1202172.6448 | 2755181.4794 | 1202168.3119
89 | 2755181.1893 | 1202167.3766 | 2755181.4794 | 1202168.3119
90 | 2755181.1893 | 1202167.3766 | 2755177.1401 | 1202154.3238
91 | 2755177.1401 | 1202154.3238 | 2755176.3311 | 1202151.7159 | 2755175.2501 | 1202148.613
92 | 2755171.2998 | 1202138.6495 | 2755172.9297 | 1202141.9523 | 2755175.2501 | 1202148.613
93 | 2755171.2998 | 1202138.6495 | 2755167.0702 | 1202130.0787 | 2755166.459 | 1202129.348
94 | 2755166.459 | 1202129.348 | 2755162.1467 | 1202124.1931

## bus_geodata
| x | y | coords
0 | 2755808.4342 | 1202025.9775
1 | 2755861.5825 | 1201899.4351
2 | 2755693.2721 | 1202258.0804
3 | 2755739.7786 | 1202501.7716
4 | 2755735.864 | 1202504.7166
5 | 2755736.0295 | 1202501.6144
6 | 2755734.9329 | 1202554.0756
7 | 2755736.9308 | 1202484.7187
8 | 2755743.7356 | 1202599.3492
9 | 2756015.5338 | 1202426.0107
10 | 2755734.0371 | 1202435.6027
11 | 2756037.3099 | 1202736.6077
12 | 2755987.1473 | 1202779.8228
13 | 2755949.3797 | 1202755.0857
14 | 2755942.2385 | 1202797.2548
15 | 2755831.6689 | 1202819.7912
16 | 2755895.0335 | 1202850.6212
17 | 2755773.1514 | 1202707.3551
18 | 2755891.5162 | 1202858.264
19 | 2755889.6297 | 1202862.5006
20 | 2755888.0806 | 1202867.3115
21 | 2755753.748 | 1202718.8232
22 | 2755735.7941 | 1202742.5527
23 | 2755878.1602 | 1202912.0398
24 | 2755877.6847 | 1202898.9723
25 | 2755896.7184 | 1202878.8466
26 | 2755887.4482 | 1202869.5403
27 | 2755905.479 | 1202861.8427
28 | 2754846.8911 | 1202850.9674
29 | 2754906.6328 | 1202756.9913
30 | 2754907.3646 | 1202755.263
31 | 2754964.7882 | 1202457.0685
32 | 2755557.1833 | 1202726.1759
33 | 2755527.991 | 1202890.3956
34 | 2755579.1109 | 1202692.842
35 | 2755461.9841 | 1203083.5355
36 | 2755622.0646 | 1202744.9291
37 | 2755390.1104 | 1203022.5662
38 | 2755706.5393 | 1202747.3902
39 | 2755759.3807 | 1202647.8886
40 | 2755719.6263 | 1202741.5678
41 | 2755763.5803 | 1202661.5702
42 | 2755727.3886 | 1202942.7243
43 | 2755720.1812 | 1202840.5469
44 | 2755715.2132 | 1202814.2321
45 | 2755700.8788 | 1202801.4539
46 | 2755709.6934 | 1202796.4255
47 | 2755715.6309 | 1202780.7138
48 | 2755724.2283 | 1202729.4749
49 | 2755763.8281 | 1202678.8695
50 | 2755724.3974 | 1202767.9905
51 | 2755730.521 | 1202758.8132
52 | 2755733.4974 | 1202750.9174
53 | 2755729.9998 | 1202421.7615
54 | 2755714.1932 | 1202367.5714
55 | 2755711.2529 | 1202357.4912
56 | 2755710.0315 | 1202353.3038
57 | 2755707.4857 | 1202343.6458
58 | 2755704.5166 | 1202327.1335
59 | 2755703.2602 | 1202320.1457
60 | 2755696.7916 | 1202280.5287
61 | 2755426.0125 | 1202180.0414
62 | 2755375.7439 | 1202129.4781
63 | 2755390.8667 | 1202295.7175
64 | 2755194.929 | 1202205.9156
65 | 2755355.7734 | 1202458.3445
66 | 2755435.2549 | 1202148.2652
67 | 2755077.814 | 1202402.9386
68 | 2755093.6029 | 1202406.6684
69 | 2755120.9077 | 1202369.3852
70 | 2755126.6836 | 1202349.7286
71 | 2754988.9973 | 1202264.8071
72 | 2754972.902 | 1202270.3705
73 | 2755134.5181 | 1202324.7267
74 | 2755081.8743 | 1202155.5446
75 | 2755141.4768 | 1202099.2185
76 | 2754897.6209 | 1202249.5137
77 | 2755142.3679 | 1202306.1466
78 | 2755153.9733 | 1202291.1139
79 | 2755168.6711 | 1202276.7389
80 | 2755175.0636 | 1202271.5218
81 | 2755185.9881 | 1202261.5984
82 | 2755190.9876 | 1202255.8776
83 | 2755198.0461 | 1202235.8671
84 | 2755198.2877 | 1202234.0923
85 | 2755197.6176 | 1202217.4125
86 | 2755187.7695 | 1202186.3675
87 | 2755187.2589 | 1202184.9732
88 | 2755182.8235 | 1202172.6448
89 | 2755181.4794 | 1202168.3119
90 | 2755181.1893 | 1202167.3766
91 | 2755177.1401 | 1202154.3238
92 | 2755175.2501 | 1202148.613
93 | 2755171.2998 | 1202138.6495
94 | 2755166.459 | 1202129.348
95 | 2755162.1467 | 1202124.1931
96 | 2755355.7734 | 1202458.3445

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1