## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3294-1_2_3_node_50 | 0.4 | n |  | TRUE
1 | bus_LV_3294-1_2_3_node_51 | 0.4 | n |  | TRUE
2 | bus_LV_3294-1_2_3_node_52 | 0.4 | n |  | TRUE
3 | bus_LV_3294-1_2_3_node_53 | 0.4 | n |  | TRUE
4 | bus_LV_3294-1_2_3_node_54 | 0.4 | n |  | TRUE
5 | bus_LV_3294-1_2_3_node_55 | 0.4 | n |  | TRUE
6 | bus_LV_3294-1_2_3_node_56 | 0.4 | n |  | TRUE
7 | bus_LV_3294-1_2_3_node_57 | 0.4 | n |  | TRUE
8 | bus_LV_3294-1_2_3_node_58 | 0.4 | n |  | TRUE
9 | bus_LV_3294-1_2_3_node_95 | 0.4 | n |  | TRUE
10 | bus_LV_3294-1_2_3_node_59 | 0.4 | n |  | TRUE
11 | bus_LV_3294-1_2_3_node_96 | 0.4 | n |  | TRUE
12 | bus_LV_3294-1_2_3_node_60 | 0.4 | n |  | TRUE
13 | bus_LV_3294-1_2_3_node_61 | 0.4 | n |  | TRUE
14 | bus_LV_3294-1_2_3_node_86 | 0.4 | n |  | TRUE
15 | bus_LV_3294-1_2_3_node_70 | 0.4 | n |  | TRUE
16 | bus_LV_3294-1_2_3_node_211 | 0.4 | n |  | TRUE
17 | bus_LV_3294-1_2_3_node_92 | 0.4 | n |  | TRUE
18 | bus_LV_3294-1_2_3_node_208 | 0.4 | n |  | TRUE
19 | bus_LV_3294-1_2_3_node_72 | 0.4 | n |  | TRUE
20 | bus_LV_3294-1_2_3_node_74 | 0.4 | n |  | TRUE
21 | bus_LV_3294-1_2_3_node_75 | 0.4 | n |  | TRUE
22 | bus_LV_3294-1_2_3_node_76 | 0.4 | n |  | TRUE
23 | bus_LV_3294-1_2_3_node_78 | 0.4 | n |  | TRUE
24 | bus_LV_3294-1_2_3_node_105 | 0.4 | n |  | TRUE
25 | bus_LV_3294-1_2_3_node_79 | 0.4 | n |  | TRUE
26 | bus_LV_3294-1_2_3_node_80 | 0.4 | n |  | TRUE
27 | bus_LV_3294-1_2_3_node_82 | 0.4 | n |  | TRUE
28 | bus_LV_3294-1_2_3_node_83 | 0.4 | n |  | TRUE
29 | bus_LV_3294-1_2_3_node_81 | 0.4 | n |  | TRUE
30 | bus_LV_3294-1_2_3_node_109 | 0.4 | n |  | TRUE
31 | bus_LV_3294-1_2_3_node_84 | 0.4 | n |  | TRUE
32 | bus_LV_3294-1_2_3_node_85 | 0.4 | n |  | TRUE
33 | bus_LV_3294-1_2_3_node_101 | 0.4 | n |  | TRUE
34 | bus_LV_3294-1_2_3_node_90 | 0.4 | n |  | TRUE
35 | bus_LV_3294-1_2_3_node_91 | 0.4 | n |  | TRUE
36 | bus_LV_3294-1_2_3_node_93 | 0.4 | n |  | TRUE
37 | bus_LV_3294-1_2_3_node_94 | 0.4 | n |  | TRUE
38 | bus_LV_3294-1_2_3_node_102 | 0.4 | n |  | TRUE
39 | bus_LV_3294-1_2_3_node_103 | 0.4 | n |  | TRUE
40 | bus_LV_3294-1_2_3_node_104 | 0.4 | n |  | TRUE
41 | bus_LV_3294-1_2_3_node_106 | 0.4 | n |  | TRUE
42 | bus_LV_3294-1_2_3_node_107 | 0.4 | n |  | TRUE
43 | bus_LV_3294-1_2_3_node_110 | 0.4 | n |  | TRUE
44 | bus_LV_3294-1_2_3_node_108 | 0.4 | n |  | TRUE
45 | bus_LV_3294-1_2_3_node_118 | 0.4 | n |  | TRUE
46 | bus_LV_3294-1_2_3_node_111 | 0.4 | n |  | TRUE
47 | bus_LV_3294-1_2_3_node_112 | 0.4 | n |  | TRUE
48 | bus_LV_3294-1_2_3_node_113 | 0.4 | n |  | TRUE
49 | bus_LV_3294-1_2_3_node_114 | 0.4 | n |  | TRUE
50 | bus_LV_3294-1_2_3_node_115 | 0.4 | n |  | TRUE
51 | bus_LV_3294-1_2_3_node_116 | 0.4 | n |  | TRUE
52 | bus_LV_3294-1_2_3_node_117 | 0.4 | n |  | TRUE
53 | bus_LV_3294-1_2_3_node_119 | 0.4 | n |  | TRUE
54 | bus_MV_149_0_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3294-1_2_3_load_50 | 0 | 0.00030683 | 7.6899e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3294-1_2_3_load_51 | 1 | 0.0012689 | 0.00031801 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3294-1_2_3_load_53 | 3 | 0.001138 | 0.0002852 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3294-1_2_3_load_54 | 4 | 0.0011391 | 0.00028549 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3294-1_2_3_load_55 | 5 | 0.00084416 | 0.00021157 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3294-1_2_3_load_56 | 6 | 0.0023878 | 0.00059844 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3294-1_2_3_load_57 | 7 | 0.00097044 | 0.00024321 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3294-1_2_3_load_58 | 8 | 0.00074719 | 0.00018726 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3294-1_2_3_load_95 | 9 | 0.0017608 | 0.0004413 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3294-1_2_3_load_96 | 11 | 0.0027123 | 0.00067976 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3294-1_2_3_load_60 | 12 | 0.001817 | 0.00045539 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3294-1_2_3_load_61 | 13 | 0.011771 | 0.0029501 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3294-1_2_3_load_86 | 14 | 0.023872 | 0.005983 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3294-1_2_3_load_211 | 16 | 0.0021354 | 0.00053517 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3294-1_2_3_load_208 | 18 | 0.00054259 | 0.00013599 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3294-1_2_3_load_72 | 19 | 0.00099084 | 0.00024833 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3294-1_2_3_load_76 | 22 | 0.0056468 | 0.0014152 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3294-1_2_3_load_78 | 23 | 0.00052989 | 0.0001328 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3294-1_2_3_load_105 | 24 | 0.0012547 | 0.00031445 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3294-1_2_3_load_79 | 25 | 0.0010956 | 0.00027457 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3294-1_2_3_load_82 | 27 | 0.0016275 | 0.00040788 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3294-1_2_3_load_83 | 28 | 0.0015125 | 0.00037907 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3294-1_2_3_load_81 | 29 | 0.0062122 | 0.0015569 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3294-1_2_3_load_84 | 31 | 0.0026562 | 0.00066572 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3294-1_2_3_load_101 | 33 | 0.0022198 | 0.00055635 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3294-1_2_3_load_90 | 34 | 0.0023279 | 0.00058342 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3294-1_2_3_load_91 | 35 | 0.00076543 | 0.00019183 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3294-1_2_3_load_93 | 36 | 0.0017178 | 0.00043053 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3294-1_2_3_load_94 | 37 | 0.0019092 | 0.0004785 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3294-1_2_3_load_102 | 38 | 0.0024433 | 0.00061236 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3294-1_2_3_load_103 | 39 | 0.0027469 | 0.00068844 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3294-1_2_3_load_104 | 40 | 0.0028673 | 0.00071861 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3294-1_2_3_load_106 | 41 | 0.0004265 | 0.00010689 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3294-1_2_3_load_107 | 42 | 0.00019438 | 4.8716e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3294-1_2_3_load_110 | 43 | 0.0010161 | 0.00025465 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3294-1_2_3_load_108 | 44 | 0.00015784 | 3.9557e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3294-1_2_3_load_118 | 45 | 0.00016977 | 4.2548e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3294-1_2_3_load_111 | 46 | 0.00022311 | 5.5916e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3294-1_2_3_load_112 | 47 | 0.00032037 | 8.0292e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3294-1_2_3_load_113 | 48 | 0.00019124 | 4.7929e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3294-1_2_3_load_114 | 49 | 0.00030395 | 7.6178e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3294-1_2_3_load_115 | 50 | 0.00027842 | 6.9778e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3294-1_2_3_load_116 | 51 | 0.00038712 | 9.7022e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3294-1_2_3_load_117 | 52 | 0.00024458 | 6.1299e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3294-1_2_3_load_119 | 53 | 0.0002475 | 6.2029e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3294-1_2_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0083059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3294-1_2_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.025958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3294-1_2_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0048235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3294-1_2_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.013676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3294-1_2_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.031119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3294-1_2_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.043412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3294-1_2_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.022204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3294-1_2_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.03116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3294-1_2_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.015046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3294-1_2_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.026466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3294-1_2_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.036408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3294-1_2_3_line_11 | NAYY 4x150 SE | 9 | 36 | 0.025004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3294-1_2_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.013275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3294-1_2_3_line_13 | NAYY 4x150 SE | 11 | 32 | 0.057669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3294-1_2_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.072755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_3294-1_2_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.037432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_3294-1_2_3_line_16 | NAYY 4x150 SE | 14 | 29 | 0.18965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_3294-1_2_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.074601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3294-1_2_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.025341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3294-1_2_3_line_19 | NAYY 4x150 SE | 15 | 18 | 0.27861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3294-1_2_3_line_20 | NAYY 4x150 SE | 17 | 37 | 0.023666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3294-1_2_3_line_21 | NAYY 4x150 SE | 17 | 34 | 0.038285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3294-1_2_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.054786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3294-1_2_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.005027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3294-1_2_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.076185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3294-1_2_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.068724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3294-1_2_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.4 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3294-1_2_3_line_27 | NAYY 4x150 SE | 24 | 41 | 0.026939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3294-1_2_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.035709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3294-1_2_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.023879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3294-1_2_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.022257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3294-1_2_3_line_31 | NAYY 4x150 SE | 27 | 31 | 0.016085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3294-1_2_3_line_32 | NAYY 4x150 SE | 28 | 32 | 0.032751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3294-1_2_3_line_33 | NAYY 4x150 SE | 29 | 30 | 0.3756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3294-1_2_3_line_34 | NAYY 4x150 SE | 30 | 44 | 0.076621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3294-1_2_3_line_35 | NAYY 4x150 SE | 31 | 33 | 0.049744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3294-1_2_3_line_36 | NAYY 4x150 SE | 33 | 38 | 0.0074154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3294-1_2_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.0090637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3294-1_2_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.023664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3294-1_2_3_line_39 | NAYY 4x150 SE | 38 | 39 | 0.011063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3294-1_2_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.020591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3294-1_2_3_line_41 | NAYY 4x150 SE | 41 | 42 | 0.057097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3294-1_2_3_line_42 | NAYY 4x150 SE | 42 | 43 | 0.014951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3294-1_2_3_line_43 | NAYY 4x150 SE | 43 | 46 | 0.0135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3294-1_2_3_line_44 | NAYY 4x150 SE | 44 | 45 | 0.28662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3294-1_2_3_line_45 | NAYY 4x150 SE | 45 | 53 | 0.016926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3294-1_2_3_line_46 | NAYY 4x150 SE | 45 | 52 | 0.12451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3294-1_2_3_line_47 | NAYY 4x150 SE | 46 | 47 | 0.0080616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3294-1_2_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.00020938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3294-1_2_3_line_49 | NAYY 4x150 SE | 48 | 49 | 0.0057508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3294-1_2_3_line_50 | NAYY 4x150 SE | 49 | 50 | 0.014879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3294-1_2_3_line_51 | NAYY 4x150 SE | 50 | 51 | 0.0016784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3294-1_2_3_line_52 | NAYY 4x150 SE | 51 | 52 | 0.049027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3294-1_2_3_trafo_60 | 0.25 MVA 20/0.4 kV | 54 | 12 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2755158.2598 | 1203753.9149 | 2755163.6442 | 1203760.2392
1 | 2755141.4325 | 1203734.1501 | 2755158.2598 | 1203753.9149
2 | 2755163.6442 | 1203760.2392 | 2755166.771 | 1203763.9119
3 | 2755141.4325 | 1203734.1501 | 2755132.8457 | 1203723.5053
4 | 2755141.4325 | 1203734.1501 | 2755133.5401 | 1203751.0488 | 2755136.6104 | 1203763.1331
5 | 2755192.7497 | 1203798.4769 | 2755186.0004 | 1203786.4981 | 2755166.771 | 1203763.9119
6 | 2755118.9054 | 1203706.2233 | 2755119.1663 | 1203706.5476 | 2755132.8457 | 1203723.5053
7 | 2755143.7326 | 1203793.424 | 2755143.4921 | 1203790.2194 | 2755136.6104 | 1203763.1331
8 | 2755192.7497 | 1203798.4769 | 2755195.0239 | 1203802.5132 | 2755198.3642 | 1203812.3765
9 | 2755102.3149 | 1203685.6028 | 2755118.9054 | 1203706.2233
10 | 2755145.7423 | 1203829.705 | 2755146.2119 | 1203826.4551 | 2755143.7326 | 1203793.424
11 | 2755206.1466 | 1203836.1362 | 2755203.5503 | 1203827.6902 | 2755198.3642 | 1203812.3765
12 | 2755102.3149 | 1203685.6028 | 2755094.2125 | 1203690.3744 | 2755090.3406 | 1203690.4254
13 | 2755137.4953 | 1203886.7816 | 2755145.7423 | 1203829.705
14 | 2755090.3406 | 1203690.4254 | 2755089.1024 | 1203690.4418 | 2755079.6408 | 1203685.1137 | 2755056.4167 | 1203667.4064 | 2755041.065 | 1203661.1024 | 2755027.3518 | 1203655.3838
15 | 2754992.8032 | 1203640.9767 | 2755027.3518 | 1203655.3838
16 | 2754992.8032 | 1203640.9767 | 2754805.9111 | 1203673.2001
17 | 2755206.9427 | 1203930.2572 | 2755200.9386 | 1203930.1678 | 2755197.5552 | 1203927.9557 | 2755194.622 | 1203923.0641 | 2755194.1366 | 1203913.0427 | 2755192.4032 | 1203901.2429 | 2755187.4594 | 1203894.6308 | 2755179.1207 | 1203890.3438 | 2755169.861 | 1203889.2689 | 2755167.1078 | 1203891.5105 | 2755165.0903 | 1203897.6635
18 | 2755206.9427 | 1203930.2572 | 2755205.1466 | 1203927.0188 | 2755204.9359 | 1203920.4854 | 2755206.0813 | 1203913.0308 | 2755207.175 | 1203909.3226 | 2755207.9768 | 1203905.7181
19 | 2755206.9427 | 1203930.2572 | 2755105.8052 | 1204189.8578
20 | 2755207.9768 | 1203905.7181 | 2755203.0649 | 1203898.4619 | 2755203.4525 | 1203883.5589
21 | 2755207.9768 | 1203905.7181 | 2755210.5219 | 1203894.2075 | 2755212.8669 | 1203881.902 | 2755213.286 | 1203867.939
22 | 2755302.768 | 1203529.5964 | 2755299.3341 | 1203529.6071 | 2755282.9224 | 1203532.4385 | 2755277.7538 | 1203534.7506 | 2755275.8462 | 1203537.548 | 2755275.6927 | 1203543.4491 | 2755276.3003 | 1203551.4052 | 2755276.2094 | 1203562.8018 | 2755276.1997 | 1203563.1721
23 | 2755302.768 | 1203529.5964 | 2755305.8671 | 1203529.577 | 2755307.7169 | 1203530.17
24 | 2755302.768 | 1203529.5964 | 2755304.8904 | 1203524.1023 | 2755304.3491 | 1203519.4508 | 2755300.766 | 1203516.7108 | 2755294.1241 | 1203516.538 | 2755276.4071 | 1203520.3808 | 2755260.2406 | 1203522.2734 | 2755249.2037 | 1203518.6723 | 2755246.117 | 1203510.8147
25 | 2755307.7169 | 1203530.17 | 2755312.564 | 1203531.7307 | 2755326.8118 | 1203541.254 | 2755335.6 | 1203548.4666 | 2755359.7341 | 1203563.0848 | 2755366.161 | 1203565.6206
26 | 2755246.117 | 1203510.8147 | 2754981.2494 | 1203211.078
27 | 2754981.2494 | 1203211.078 | 2754980.9848 | 1203202.464 | 2754979.7422 | 1203184.185
28 | 2755102.6379 | 1203846.8859 | 2755089.6561 | 1203841.0993 | 2755072.3248 | 1203828.3826
29 | 2755102.6379 | 1203846.8859 | 2755097.0085 | 1203834.7179 | 2755094.5382 | 1203824.5414
30 | 2755102.6379 | 1203846.8859 | 2755115.8006 | 1203860.0614 | 2755117.5531 | 1203863.2436
31 | 2755094.5382 | 1203824.5414 | 2755090.7438 | 1203808.9104
32 | 2755137.4953 | 1203886.7816 | 2755132.6527 | 1203886.5223 | 2755126.7051 | 1203879.862 | 2755117.5531 | 1203863.2436
33 | 2754805.9111 | 1203673.2001 | 2754666.6644 | 1203324.3688
34 | 2754666.6644 | 1203324.3688 | 2754670.8305 | 1203306.0941 | 2754680.6605 | 1203269.6278 | 2754686.3048 | 1203262.768 | 2754696.9919 | 1203259.3306 | 2754696.9919 | 1203259.3306
35 | 2755090.7438 | 1203808.9104 | 2755090.7438 | 1203808.9104 | 2755085.8361 | 1203785.3735 | 2755079.6106 | 1203765.6724 | 2755077.2125 | 1203761.2403
36 | 2755077.2125 | 1203761.2403 | 2755073.6837 | 1203754.7183
37 | 2755212.2076 | 1203858.9556 | 2755213.3229 | 1203866.7117 | 2755213.286 | 1203867.939
38 | 2755212.2076 | 1203858.9556 | 2755211.3695 | 1203853.1268 | 2755206.1466 | 1203836.1362
39 | 2755073.6837 | 1203754.7183 | 2755072.0124 | 1203751.6295 | 2755066.2169 | 1203746.7889
40 | 2755050.851 | 1203733.0972 | 2755058.4213 | 1203740.2778 | 2755066.2169 | 1203746.7889
41 | 2754979.7422 | 1203184.185 | 2754978.7756 | 1203169.9672 | 2754976.8502 | 1203145.5959 | 2754973.7531 | 1203127.4597
42 | 2754971.2364 | 1203112.7225 | 2754973.7531 | 1203127.4597
43 | 2754971.2364 | 1203112.7225 | 2754968.964 | 1203099.4156
44 | 2754824.2295 | 1203002.4979 | 2754696.9919 | 1203259.3306
45 | 2754824.2295 | 1203002.4979 | 2754811.0357 | 1202991.8956
46 | 2754942.7148 | 1203029.098 | 2754933.4428 | 1203027.1553 | 2754904.9914 | 1203028.5632 | 2754888.173 | 1203028.5382 | 2754861.8328 | 1203022.817 | 2754825.7512 | 1203003.7207 | 2754824.2295 | 1203002.4979
47 | 2754967.607 | 1203091.469 | 2754968.964 | 1203099.4156
48 | 2754967.5717 | 1203091.2626 | 2754967.607 | 1203091.469
49 | 2754966.6037 | 1203085.5939 | 2754967.5717 | 1203091.2626
50 | 2754966.6037 | 1203085.5939 | 2754965.9256 | 1203081.6232 | 2754964.0993 | 1203070.9273
51 | 2754963.8168 | 1203069.2728 | 2754964.0993 | 1203070.9273
52 | 2754963.8168 | 1203069.2728 | 2754960.9094 | 1203052.2452 | 2754954.6461 | 1203035.7127 | 2754948.3458 | 1203030.2779 | 2754942.7148 | 1203029.098

## bus_geodata
| x | y | coords
0 | 2755158.2598 | 1203753.9149
1 | 2755163.6442 | 1203760.2392
2 | 2755141.4325 | 1203734.1501
3 | 2755166.771 | 1203763.9119
4 | 2755132.8457 | 1203723.5053
5 | 2755136.6104 | 1203763.1331
6 | 2755192.7497 | 1203798.4769
7 | 2755118.9054 | 1203706.2233
8 | 2755143.7326 | 1203793.424
9 | 2755198.3642 | 1203812.3765
10 | 2755102.3149 | 1203685.6028
11 | 2755145.7423 | 1203829.705
12 | 2755090.3406 | 1203690.4254
13 | 2755027.3518 | 1203655.3838
14 | 2754992.8032 | 1203640.9767
15 | 2755206.9427 | 1203930.2572
16 | 2755165.0903 | 1203897.6635
17 | 2755207.9768 | 1203905.7181
18 | 2755105.8052 | 1204189.8578
19 | 2755276.1997 | 1203563.1721
20 | 2755302.768 | 1203529.5964
21 | 2755307.7169 | 1203530.17
22 | 2755246.117 | 1203510.8147
23 | 2755366.161 | 1203565.6206
24 | 2754981.2494 | 1203211.078
25 | 2755072.3248 | 1203828.3826
26 | 2755102.6379 | 1203846.8859
27 | 2755094.5382 | 1203824.5414
28 | 2755117.5531 | 1203863.2436
29 | 2754805.9111 | 1203673.2001
30 | 2754666.6644 | 1203324.3688
31 | 2755090.7438 | 1203808.9104
32 | 2755137.4953 | 1203886.7816
33 | 2755077.2125 | 1203761.2403
34 | 2755213.286 | 1203867.939
35 | 2755212.2076 | 1203858.9556
36 | 2755206.1466 | 1203836.1362
37 | 2755203.4525 | 1203883.5589
38 | 2755073.6837 | 1203754.7183
39 | 2755066.2169 | 1203746.7889
40 | 2755050.851 | 1203733.0972
41 | 2754979.7422 | 1203184.185
42 | 2754973.7531 | 1203127.4597
43 | 2754971.2364 | 1203112.7225
44 | 2754696.9919 | 1203259.3306
45 | 2754824.2295 | 1203002.4979
46 | 2754968.964 | 1203099.4156
47 | 2754967.607 | 1203091.469
48 | 2754967.5717 | 1203091.2626
49 | 2754966.6037 | 1203085.5939
50 | 2754964.0993 | 1203070.9273
51 | 2754963.8168 | 1203069.2728
52 | 2754942.7148 | 1203029.098
53 | 2754811.0357 | 1202991.8956
54 | 2755102.3149 | 1203685.6028

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1