## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3294-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3294-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3294-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3294-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3294-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3294-3_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3294-3_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3294-3_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3294-3_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_3294-3_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_3294-3_0_4_node_115 | 0.4 | n |  | TRUE
11 | bus_LV_3294-3_0_4_node_91 | 0.4 | n |  | TRUE
12 | bus_LV_3294-3_0_4_node_95 | 0.4 | n |  | TRUE
13 | bus_LV_3294-3_0_4_node_99 | 0.4 | n |  | TRUE
14 | bus_LV_3294-3_0_4_node_92 | 0.4 | n |  | TRUE
15 | bus_LV_3294-3_0_4_node_116 | 0.4 | n |  | TRUE
16 | bus_LV_3294-3_0_4_node_93 | 0.4 | n |  | TRUE
17 | bus_LV_3294-3_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_3294-3_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_3294-3_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_3294-3_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_3294-3_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_3294-3_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_3294-3_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_3294-3_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_3294-3_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_3294-3_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_3294-3_0_4_node_100 | 0.4 | n |  | TRUE
28 | bus_LV_3294-3_0_4_node_101 | 0.4 | n |  | TRUE
29 | bus_LV_3294-3_0_4_node_72 | 0.4 | n |  | TRUE
30 | bus_LV_3294-3_0_4_node_73 | 0.4 | n |  | TRUE
31 | bus_LV_3294-3_0_4_node_75 | 0.4 | n |  | TRUE
32 | bus_LV_3294-3_0_4_node_98 | 0.4 | n |  | TRUE
33 | bus_LV_3294-3_0_4_node_97 | 0.4 | n |  | TRUE
34 | bus_LV_3294-3_0_4_node_78 | 0.4 | n |  | TRUE
35 | bus_LV_3294-3_0_4_node_79 | 0.4 | n |  | TRUE
36 | bus_LV_3294-3_0_4_node_77 | 0.4 | n |  | TRUE
37 | bus_LV_3294-3_0_4_node_76 | 0.4 | n |  | TRUE
38 | bus_LV_3294-3_0_4_node_80 | 0.4 | n |  | TRUE
39 | bus_LV_3294-3_0_4_node_81 | 0.4 | n |  | TRUE
40 | bus_LV_3294-3_0_4_node_82 | 0.4 | n |  | TRUE
41 | bus_LV_3294-3_0_4_node_83 | 0.4 | n |  | TRUE
42 | bus_LV_3294-3_0_4_node_133 | 0.4 | n |  | TRUE
43 | bus_LV_3294-3_0_4_node_131 | 0.4 | n |  | TRUE
44 | bus_LV_3294-3_0_4_node_130 | 0.4 | n |  | TRUE
45 | bus_LV_3294-3_0_4_node_134 | 0.4 | n |  | TRUE
46 | bus_LV_3294-3_0_4_node_132 | 0.4 | n |  | TRUE
47 | bus_LV_3294-3_0_4_node_126 | 0.4 | n |  | TRUE
48 | bus_LV_3294-3_0_4_node_84 | 0.4 | n |  | TRUE
49 | bus_LV_3294-3_0_4_node_85 | 0.4 | n |  | TRUE
50 | bus_LV_3294-3_0_4_node_86 | 0.4 | n |  | TRUE
51 | bus_LV_3294-3_0_4_node_87 | 0.4 | n |  | TRUE
52 | bus_LV_3294-3_0_4_node_88 | 0.4 | n |  | TRUE
53 | bus_LV_3294-3_0_4_node_89 | 0.4 | n |  | TRUE
54 | bus_LV_3294-3_0_4_node_90 | 0.4 | n |  | TRUE
55 | bus_LV_3294-3_0_4_node_114 | 0.4 | n |  | TRUE
56 | bus_LV_3294-3_0_4_node_117 | 0.4 | n |  | TRUE
57 | bus_LV_3294-3_0_4_node_94 | 0.4 | n |  | TRUE
58 | bus_LV_3294-3_0_4_node_96 | 0.4 | n |  | TRUE
59 | bus_LV_3294-3_0_4_node_102 | 0.4 | n |  | TRUE
60 | bus_LV_3294-3_0_4_node_103 | 0.4 | n |  | TRUE
61 | bus_LV_3294-3_0_4_node_142 | 0.4 | n |  | TRUE
62 | bus_LV_3294-3_0_4_node_143 | 0.4 | n |  | TRUE
63 | bus_LV_3294-3_0_4_node_104 | 0.4 | n |  | TRUE
64 | bus_LV_3294-3_0_4_node_141 | 0.4 | n |  | TRUE
65 | bus_LV_3294-3_0_4_node_105 | 0.4 | n |  | TRUE
66 | bus_LV_3294-3_0_4_node_106 | 0.4 | n |  | TRUE
67 | bus_LV_3294-3_0_4_node_107 | 0.4 | n |  | TRUE
68 | bus_LV_3294-3_0_4_node_108 | 0.4 | n |  | TRUE
69 | bus_LV_3294-3_0_4_node_109 | 0.4 | n |  | TRUE
70 | bus_LV_3294-3_0_4_node_110 | 0.4 | n |  | TRUE
71 | bus_LV_3294-3_0_4_node_127 | 0.4 | n |  | TRUE
72 | bus_LV_3294-3_0_4_node_111 | 0.4 | n |  | TRUE
73 | bus_LV_3294-3_0_4_node_128 | 0.4 | n |  | TRUE
74 | bus_LV_3294-3_0_4_node_112 | 0.4 | n |  | TRUE
75 | bus_LV_3294-3_0_4_node_123 | 0.4 | n |  | TRUE
76 | bus_LV_3294-3_0_4_node_125 | 0.4 | n |  | TRUE
77 | bus_LV_3294-3_0_4_node_122 | 0.4 | n |  | TRUE
78 | bus_LV_3294-3_0_4_node_113 | 0.4 | n |  | TRUE
79 | bus_LV_3294-3_0_4_node_118 | 0.4 | n |  | TRUE
80 | bus_LV_3294-3_0_4_node_119 | 0.4 | n |  | TRUE
81 | bus_LV_3294-3_0_4_node_120 | 0.4 | n |  | TRUE
82 | bus_LV_3294-3_0_4_node_121 | 0.4 | n |  | TRUE
83 | bus_LV_3294-3_0_4_node_124 | 0.4 | n |  | TRUE
84 | bus_LV_3294-3_0_4_node_129 | 0.4 | n |  | TRUE
85 | bus_LV_3294-3_0_4_node_144 | 0.4 | n |  | TRUE
86 | bus_LV_3294-3_0_4_node_145 | 0.4 | n |  | TRUE
87 | bus_LV_3294-3_0_4_node_135 | 0.4 | n |  | TRUE
88 | bus_LV_3294-3_0_4_node_136 | 0.4 | n |  | TRUE
89 | bus_LV_3294-3_0_4_node_137 | 0.4 | n |  | TRUE
90 | bus_LV_3294-3_0_4_node_138 | 0.4 | n |  | TRUE
91 | bus_LV_3294-3_0_4_node_139 | 0.4 | n |  | TRUE
92 | bus_LV_3294-3_0_4_node_140 | 0.4 | n |  | TRUE
93 | bus_LV_3294-3_0_4_node_146 | 0.4 | n |  | TRUE
94 | bus_MV_149_0_node_101 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3294-3_0_4_load_0 | 0 | 0.00026773 | 6.71e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3294-3_0_4_load_1 | 1 | 0.0012712 | 0.0003186 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3294-3_0_4_load_3 | 3 | 0.00052055 | 0.00013046 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3294-3_0_4_load_4 | 4 | 0.00038463 | 9.6398e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3294-3_0_4_load_6 | 6 | 0.00055034 | 0.00013793 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3294-3_0_4_load_7 | 7 | 0.0010949 | 0.00027442 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3294-3_0_4_load_8 | 8 | 0.0004505 | 0.00011291 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3294-3_0_4_load_9 | 9 | 0.00050336 | 0.00012615 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3294-3_0_4_load_115 | 10 | 0.0012994 | 0.00032565 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3294-3_0_4_load_91 | 11 | 0.0029546 | 0.0007405 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3294-3_0_4_load_95 | 12 | 0.00042057 | 0.0001054 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3294-3_0_4_load_99 | 13 | 0.00093515 | 0.00023437 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3294-3_0_4_load_92 | 14 | 0.00042218 | 0.00010581 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3294-3_0_4_load_116 | 15 | 0.0018383 | 0.00046073 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3294-3_0_4_load_93 | 16 | 0.0018296 | 0.00045855 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3294-3_0_4_load_10 | 17 | 0.0013042 | 0.00032686 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3294-3_0_4_load_11 | 18 | 0.0040701 | 0.0010201 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3294-3_0_4_load_16 | 23 | 0.0029272 | 0.00073363 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3294-3_0_4_load_17 | 24 | 0.0010919 | 0.00027365 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3294-3_0_4_load_18 | 25 | 0.00067451 | 0.00016905 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3294-3_0_4_load_19 | 26 | 0.0012504 | 0.00031337 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3294-3_0_4_load_100 | 27 | 0.000897 | 0.00022481 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3294-3_0_4_load_72 | 29 | 0.00053438 | 0.00013393 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3294-3_0_4_load_73 | 30 | 0.00060141 | 0.00015073 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3294-3_0_4_load_75 | 31 | 0.00038102 | 9.5493e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3294-3_0_4_load_98 | 32 | 0.0013759 | 0.00034484 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3294-3_0_4_load_97 | 33 | 0.00047468 | 0.00011897 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3294-3_0_4_load_78 | 34 | 0.00032087 | 8.0417e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3294-3_0_4_load_79 | 35 | 0.00042666 | 0.00010693 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3294-3_0_4_load_77 | 36 | 0.0003435 | 8.6089e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3294-3_0_4_load_76 | 37 | 0.00041072 | 0.00010294 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3294-3_0_4_load_80 | 38 | 0.0016887 | 0.00042324 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3294-3_0_4_load_82 | 40 | 0.0012372 | 0.00031006 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3294-3_0_4_load_133 | 42 | 0.00051635 | 0.00012941 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3294-3_0_4_load_131 | 43 | 0.001284 | 0.00032179 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3294-3_0_4_load_130 | 44 | 0.0007603 | 0.00019055 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3294-3_0_4_load_134 | 45 | 0.00062564 | 0.0001568 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3294-3_0_4_load_132 | 46 | 0.0013763 | 0.00034494 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3294-3_0_4_load_126 | 47 | 0.0013613 | 0.00034118 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3294-3_0_4_load_84 | 48 | 0.00056376 | 0.00014129 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3294-3_0_4_load_85 | 49 | 0.0012508 | 0.00031349 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3294-3_0_4_load_86 | 50 | 0.00079942 | 0.00020035 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3294-3_0_4_load_87 | 51 | 0.00043019 | 0.00010782 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3294-3_0_4_load_88 | 52 | 0.0020659 | 0.00051776 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3294-3_0_4_load_89 | 53 | 0.00035174 | 8.8154e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3294-3_0_4_load_90 | 54 | 0.00043183 | 0.00010823 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3294-3_0_4_load_114 | 55 | 0.00056586 | 0.00014182 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3294-3_0_4_load_117 | 56 | 0.0056294 | 0.0014109 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3294-3_0_4_load_94 | 57 | 0.00065895 | 0.00016515 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3294-3_0_4_load_96 | 58 | 0.00080752 | 0.00020238 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3294-3_0_4_load_102 | 59 | 0.00095433 | 0.00023918 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3294-3_0_4_load_143 | 62 | 0.00053179 | 0.00013328 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3294-3_0_4_load_104 | 63 | 0.00096695 | 0.00024234 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3294-3_0_4_load_141 | 64 | 0.00084153 | 0.00021091 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3294-3_0_4_load_107 | 67 | 0.001458 | 0.00036541 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3294-3_0_4_load_108 | 68 | 0.0010554 | 0.00026451 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3294-3_0_4_load_109 | 69 | 0.0028974 | 0.00072617 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3294-3_0_4_load_110 | 70 | 0.00080611 | 0.00020203 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3294-3_0_4_load_127 | 71 | 0.0014193 | 0.0003557 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3294-3_0_4_load_111 | 72 | 0.0031623 | 0.00079255 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3294-3_0_4_load_128 | 73 | 0.0021405 | 0.00053647 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3294-3_0_4_load_112 | 74 | 0.00081522 | 0.00020431 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3294-3_0_4_load_125 | 76 | 0.0012706 | 0.00031845 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3294-3_0_4_load_113 | 78 | 0.0017813 | 0.00044643 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3294-3_0_4_load_118 | 79 | 0.00092793 | 0.00023256 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3294-3_0_4_load_119 | 80 | 0.0017213 | 0.00043139 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3294-3_0_4_load_120 | 81 | 0.0023097 | 0.00057885 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3294-3_0_4_load_121 | 82 | 0.0014188 | 0.00035558 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3294-3_0_4_load_124 | 83 | 0.0016045 | 0.00040212 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3294-3_0_4_load_129 | 84 | 0.00043138 | 0.00010812 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3294-3_0_4_load_144 | 85 | 0.0011567 | 0.00028991 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3294-3_0_4_load_145 | 86 | 0.0011885 | 0.00029788 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3294-3_0_4_load_135 | 87 | 0.00053491 | 0.00013406 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3294-3_0_4_load_136 | 88 | 0.00051331 | 0.00012865 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3294-3_0_4_load_137 | 89 | 0.00030171 | 7.5617e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3294-3_0_4_load_138 | 90 | 0.0023643 | 0.00059254 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3294-3_0_4_load_139 | 91 | 0.0020473 | 0.0005131 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3294-3_0_4_load_140 | 92 | 0.0035679 | 0.00089421 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3294-3_0_4_load_146 | 93 | 0.0008638 | 0.00021649 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3294-3_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.039594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3294-3_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.022899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3294-3_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.027313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3294-3_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.026553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3294-3_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.077885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3294-3_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.019761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3294-3_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.079211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3294-3_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.066233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3294-3_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.057723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3294-3_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.029151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3294-3_0_4_line_10 | NAYY 4x150 SE | 7 | 11 | 0.030684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3294-3_0_4_line_11 | NAYY 4x150 SE | 8 | 12 | 0.057004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3294-3_0_4_line_12 | NAYY 4x150 SE | 8 | 13 | 0.15246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3294-3_0_4_line_13 | NAYY 4x150 SE | 9 | 14 | 0.027853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3294-3_0_4_line_14 | NAYY 4x150 SE | 10 | 15 | 0.019849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3294-3_0_4_line_15 | NAYY 4x150 SE | 14 | 16 | 0.0041302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3294-3_0_4_line_16 | NAYY 4x150 SE | 15 | 54 | 0.0097018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3294-3_0_4_line_17 | NAYY 4x150 SE | 16 | 57 | 0.014076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3294-3_0_4_line_18 | NAYY 4x150 SE | 17 | 18 | 0.02239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3294-3_0_4_line_19 | NAYY 4x150 SE | 17 | 19 | 0.1279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3294-3_0_4_line_20 | NAYY 4x150 SE | 18 | 20 | 0.29418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3294-3_0_4_line_21 | NAYY 4x150 SE | 19 | 21 | 0.09676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3294-3_0_4_line_22 | NAYY 4x150 SE | 20 | 22 | 0.052434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3294-3_0_4_line_23 | NAYY 4x150 SE | 20 | 23 | 0.083376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3294-3_0_4_line_24 | NAYY 4x150 SE | 21 | 24 | 0.17498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3294-3_0_4_line_25 | NAYY 4x150 SE | 22 | 25 | 0.029209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3294-3_0_4_line_26 | NAYY 4x150 SE | 22 | 26 | 0.013847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3294-3_0_4_line_27 | NAYY 4x150 SE | 23 | 27 | 0.41644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3294-3_0_4_line_28 | NAYY 4x150 SE | 27 | 28 | 0.11999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_3294-3_0_4_line_29 | NAYY 4x150 SE | 28 | 59 | 0.029102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_3294-3_0_4_line_30 | NAYY 4x150 SE | 29 | 30 | 0.0070225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3294-3_0_4_line_31 | NAYY 4x150 SE | 30 | 31 | 0.018632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3294-3_0_4_line_32 | NAYY 4x150 SE | 31 | 37 | 0.23637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3294-3_0_4_line_33 | NAYY 4x150 SE | 32 | 33 | 0.011069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3294-3_0_4_line_34 | NAYY 4x150 SE | 33 | 58 | 0.0064195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3294-3_0_4_line_35 | NAYY 4x150 SE | 34 | 35 | 0.2157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3294-3_0_4_line_36 | NAYY 4x150 SE | 34 | 36 | 0.27513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3294-3_0_4_line_37 | NAYY 4x150 SE | 35 | 38 | 0.10153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_3294-3_0_4_line_38 | NAYY 4x150 SE | 36 | 37 | 0.0093806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3294-3_0_4_line_39 | NAYY 4x150 SE | 38 | 39 | 0.014605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_3294-3_0_4_line_40 | NAYY 4x150 SE | 39 | 40 | 0.03315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3294-3_0_4_line_41 | NAYY 4x150 SE | 39 | 41 | 0.012605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_3294-3_0_4_line_42 | NAYY 4x150 SE | 40 | 42 | 0.014822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3294-3_0_4_line_43 | NAYY 4x150 SE | 41 | 43 | 0.031887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3294-3_0_4_line_44 | NAYY 4x150 SE | 41 | 44 | 0.0036856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_3294-3_0_4_line_45 | NAYY 4x150 SE | 42 | 45 | 0.0036953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3294-3_0_4_line_46 | NAYY 4x150 SE | 43 | 46 | 0.036189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3294-3_0_4_line_47 | NAYY 4x150 SE | 44 | 47 | 0.031118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
48 | LV_3294-3_0_4_line_48 | NAYY 4x150 SE | 46 | 87 | 0.0053762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3294-3_0_4_line_49 | NAYY 4x150 SE | 47 | 83 | 0.020116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_3294-3_0_4_line_50 | NAYY 4x150 SE | 48 | 49 | 0.0027757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3294-3_0_4_line_51 | NAYY 4x150 SE | 48 | 50 | 0.0081834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3294-3_0_4_line_52 | NAYY 4x150 SE | 49 | 51 | 0.007083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3294-3_0_4_line_53 | NAYY 4x150 SE | 50 | 52 | 0.01409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3294-3_0_4_line_54 | NAYY 4x150 SE | 51 | 53 | 0.00045001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3294-3_0_4_line_55 | NAYY 4x150 SE | 52 | 54 | 0.008217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3294-3_0_4_line_56 | NAYY 4x150 SE | 53 | 55 | 0.001178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3294-3_0_4_line_57 | NAYY 4x150 SE | 55 | 56 | 0.025353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3294-3_0_4_line_58 | NAYY 4x150 SE | 56 | 79 | 0.011184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3294-3_0_4_line_59 | NAYY 4x150 SE | 57 | 58 | 0.011714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3294-3_0_4_line_60 | NAYY 4x150 SE | 59 | 60 | 0.0063672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_3294-3_0_4_line_61 | NAYY 4x150 SE | 60 | 63 | 0.17453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_3294-3_0_4_line_62 | NAYY 4x150 SE | 61 | 62 | 0.035526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_3294-3_0_4_line_63 | NAYY 4x150 SE | 61 | 63 | 0.2213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_3294-3_0_4_line_64 | NAYY 4x150 SE | 61 | 64 | 0.09945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3294-3_0_4_line_65 | NAYY 4x150 SE | 62 | 93 | 0.028604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_3294-3_0_4_line_66 | NAYY 4x150 SE | 64 | 91 | 0.08166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3294-3_0_4_line_67 | NAYY 4x150 SE | 65 | 66 | 0.04204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3294-3_0_4_line_68 | NAYY 4x150 SE | 65 | 67 | 0.02685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3294-3_0_4_line_69 | NAYY 4x150 SE | 66 | 68 | 0.038905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
70 | LV_3294-3_0_4_line_70 | NAYY 4x150 SE | 66 | 69 | 0.017194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_3294-3_0_4_line_71 | NAYY 4x150 SE | 67 | 70 | 0.018064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3294-3_0_4_line_72 | NAYY 4x150 SE | 68 | 71 | 0.021737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
73 | LV_3294-3_0_4_line_73 | NAYY 4x150 SE | 69 | 72 | 0.01589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
74 | LV_3294-3_0_4_line_74 | NAYY 4x150 SE | 71 | 73 | 0.024103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_3294-3_0_4_line_75 | NAYY 4x150 SE | 72 | 74 | 0.021009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
76 | LV_3294-3_0_4_line_76 | NAYY 4x150 SE | 73 | 84 | 0.016903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_3294-3_0_4_line_77 | NAYY 4x150 SE | 74 | 78 | 0.01992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
78 | LV_3294-3_0_4_line_78 | NAYY 4x150 SE | 75 | 76 | 0.0063564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
79 | LV_3294-3_0_4_line_79 | NAYY 4x150 SE | 75 | 77 | 0.009804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
80 | LV_3294-3_0_4_line_80 | NAYY 4x150 SE | 76 | 78 | 0.019484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
81 | LV_3294-3_0_4_line_81 | NAYY 4x150 SE | 77 | 83 | 0.018982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
82 | LV_3294-3_0_4_line_82 | NAYY 4x150 SE | 77 | 82 | 0.032736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3294-3_0_4_line_83 | NAYY 4x150 SE | 79 | 80 | 0.0033371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3294-3_0_4_line_84 | NAYY 4x150 SE | 80 | 81 | 0.053423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3294-3_0_4_line_85 | NAYY 4x150 SE | 81 | 82 | 0.015901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3294-3_0_4_line_86 | NAYY 4x150 SE | 84 | 85 | 0.017774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
87 | LV_3294-3_0_4_line_87 | NAYY 4x150 SE | 85 | 86 | 0.020509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
88 | LV_3294-3_0_4_line_88 | NAYY 4x150 SE | 86 | 93 | 0.022034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
89 | LV_3294-3_0_4_line_89 | NAYY 4x150 SE | 87 | 88 | 0.0034779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3294-3_0_4_line_90 | NAYY 4x150 SE | 88 | 89 | 0.0012886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3294-3_0_4_line_91 | NAYY 4x150 SE | 90 | 91 | 0.027026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3294-3_0_4_line_92 | NAYY 4x150 SE | 90 | 92 | 0.0065032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3294-3_0_4_trafo_79 | 0.25 MVA 20/0.4 kV | 94 | 35 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2757422.8467 | 1205423.5128 | 2757438.6343 | 1205419.0067 | 2757461.0854 | 1205413.2561
1 | 2757400.8275 | 1205429.7975 | 2757422.8467 | 1205423.5128
2 | 2757461.0854 | 1205413.2561 | 2757474.8869 | 1205409.721 | 2757487.3179 | 1205405.6972
3 | 2757400.8275 | 1205429.7975 | 2757393.1145 | 1205422.9881 | 2757377.4871 | 1205418.4815
4 | 2757327.8774 | 1205457.4664 | 2757388.3276 | 1205433.3601 | 2757400.8275 | 1205429.7975
5 | 2757487.3179 | 1205405.6972 | 2757497.886 | 1205402.2765 | 2757505.967 | 1205399.181
6 | 2757300.7885 | 1205404.3895 | 2757311.182 | 1205402.5111 | 2757323.2909 | 1205407.7124 | 2757340.0978 | 1205412.8376 | 2757369.8119 | 1205416.268 | 2757377.4871 | 1205418.4815
7 | 2757327.8774 | 1205457.4664 | 2757347.1716 | 1205462.0677 | 2757348.8131 | 1205465.3361 | 2757362.2994 | 1205492.182 | 2757371.4592 | 1205500.9757
8 | 2757327.8774 | 1205457.4664 | 2757313.0512 | 1205462.091 | 2757291.7116 | 1205467.2335 | 2757271.5572 | 1205469.1176
9 | 2757505.967 | 1205399.181 | 2757517.9306 | 1205394.5983 | 2757530.4959 | 1205384.1528
10 | 2757280.0826 | 1205390.6104 | 2757281.3104 | 1205397.2529 | 2757285.8048 | 1205404.9003 | 2757296.4148 | 1205405.18 | 2757300.7885 | 1205404.3895
11 | 2757425.8558 | 1205517.227 | 2757421.7299 | 1205514.5016 | 2757397.8084 | 1205508.1765 | 2757371.4592 | 1205500.9757
12 | 2757371.4592 | 1205500.9757 | 2757349.9583 | 1205651.91
13 | 2757271.5572 | 1205469.1176 | 2757253.4792 | 1205470.8076 | 2757243.8041 | 1205471.4426
14 | 2757530.4959 | 1205384.1528 | 2757536.6537 | 1205379.0339 | 2757544.3203 | 1205370.0096
15 | 2757239.6982 | 1205471.8426 | 2757240.907 | 1205471.6328 | 2757243.8041 | 1205471.4426
16 | 2757550.6018 | 1205362.6157 | 2757544.3203 | 1205370.0096
17 | 2757239.6982 | 1205471.8426 | 2757225.8297 | 1205474.2501
18 | 2757890.7481 | 1203683.1652 | 2757890.7481 | 1203683.1652 | 2757885.4242 | 1203704.8326 | 2757885.4101 | 1203704.9097
19 | 2757950.6371 | 1203570.2704 | 2757934.5916 | 1203599.7723 | 2757897.3617 | 1203666.8477 | 2757890.7481 | 1203683.1652
20 | 2757874.1588 | 1203998.8739 | 2757885.4101 | 1203704.9097
21 | 2757937.6798 | 1203476.1664 | 2757942.7468 | 1203498.7426 | 2757949.852 | 1203522.2625 | 2757955.0324 | 1203544.864 | 2757953.3507 | 1203560.3666 | 2757950.6371 | 1203570.2704
22 | 2757874.1588 | 1203998.8739 | 2757868.5822 | 1204001.3287 | 2757868.1079 | 1204005.442 | 2757869.7986 | 1204016.6411 | 2757875.5019 | 1204039.6123 | 2757875.9127 | 1204046.8184
23 | 2757874.1588 | 1203998.8739 | 2757877.4092 | 1204010.6814 | 2757883.4346 | 1204027.5223 | 2757893.4492 | 1204054.7112 | 2757901.2916 | 1204077.3942 | 2757901.3845 | 1204077.6456
24 | 2757937.6798 | 1203476.1664 | 2757913.1345 | 1203470.101 | 2757882.1012 | 1203468.1123 | 2757871.3696 | 1203472.299 | 2757869.2069 | 1203476.9238 | 2757867.487 | 1203495.606 | 2757858.8022 | 1203522.8674 | 2757853.763 | 1203528.0166 | 2757847.8439 | 1203527.86 | 2757837.3525 | 1203520.9544 | 2757814.191 | 1203503.16
25 | 2757875.9127 | 1204046.8184 | 2757859.6686 | 1204048.2015 | 2757859.1376 | 1204044.6732 | 2757854.3151 | 1204044.8125 | 2757854.0628 | 1204040.2462
26 | 2757875.9127 | 1204046.8184 | 2757876.1144 | 1204050.4159 | 2757876.5769 | 1204060.6489
27 | 2757901.3845 | 1204077.6456 | 2757894.0478 | 1204494.0215
28 | 2757866.7039 | 1204610.4319 | 2757875.7437 | 1204587.8285 | 2757884.6274 | 1204546.9603 | 2757892.208 | 1204500.1079 | 2757894.0478 | 1204494.0215
29 | 2757866.7039 | 1204610.4319 | 2757856.4094 | 1204637.6521
30 | 2756933.3718 | 1204738.1036 | 2756933.3718 | 1204738.1036 | 2756934.4147 | 1204745.0483
31 | 2756934.4147 | 1204745.0483 | 2756934.4147 | 1204745.0483 | 2756945.6155 | 1204759.9372
32 | 2756945.6155 | 1204759.9372 | 2757141.0077 | 1204892.9467
33 | 2757207.9453 | 1205477.2433 | 2757203.4843 | 1205477.9865 | 2757197.2412 | 1205479.9574
34 | 2757207.9453 | 1205477.2433 | 2757214.2775 | 1205476.1883
35 | 2757623.8457 | 1205006.8631 | 2757414.0785 | 1204956.6008
36 | 2757414.0785 | 1204956.6008 | 2757147.9867 | 1204886.6786
37 | 2757623.8457 | 1205006.8631 | 2757622.4958 | 1205073.7385 | 2757632.5282 | 1205106.8959
38 | 2757147.9867 | 1204886.6786 | 2757141.0077 | 1204892.9467
39 | 2757636.4866 | 1205120.9497 | 2757635.0122 | 1205115.1056 | 2757632.5282 | 1205106.8959
40 | 2757636.4866 | 1205120.9497 | 2757607.5325 | 1205104.8078
41 | 2757640.3789 | 1205132.9409 | 2757636.4866 | 1205120.9497
42 | 2757594.5868 | 1205097.5905 | 2757607.5325 | 1205104.8078
43 | 2757640.3789 | 1205132.9409 | 2757618.7102 | 1205134.348 | 2757609.4042 | 1205138.4559
44 | 2757640.3789 | 1205132.9409 | 2757642.8319 | 1205135.6917
45 | 2757594.5868 | 1205097.5905 | 2757591.3592 | 1205095.7911
46 | 2757609.4042 | 1205138.4559 | 2757605.8262 | 1205140.0353 | 2757594.4419 | 1205148.0197 | 2757584.0539 | 1205163.1742
47 | 2757644.4681 | 1205165.8824 | 2757645.8107 | 1205146.2962 | 2757645.0508 | 1205138.18 | 2757642.8319 | 1205135.6917
48 | 2757584.0539 | 1205163.1742 | 2757581.0142 | 1205167.6086
49 | 2757644.4681 | 1205165.8824 | 2757643.9281 | 1205173.7598 | 2757643.8737 | 1205185.9797
50 | 2757568.3105 | 1205337.8111 | 2757569.9008 | 1205335.5361
51 | 2757568.3105 | 1205337.8111 | 2757563.6219 | 1205344.5182
52 | 2757569.9008 | 1205335.5361 | 2757573.9589 | 1205329.7309
53 | 2757555.5495 | 1205356.0661 | 2757563.6219 | 1205344.5182
54 | 2757574.2167 | 1205329.362 | 2757573.9589 | 1205329.7309
55 | 2757550.6018 | 1205362.6157 | 2757552.6861 | 1205360.1623 | 2757555.5495 | 1205356.0661
56 | 2757574.2167 | 1205329.362 | 2757574.8917 | 1205328.3965
57 | 2757574.8917 | 1205328.3965 | 2757588.6763 | 1205308.6772 | 2757589.4352 | 1205307.6298
58 | 2757589.4352 | 1205307.6298 | 2757595.9978 | 1205298.573
59 | 2757214.2775 | 1205476.1883 | 2757223.8873 | 1205474.5873 | 2757225.8297 | 1205474.2501
60 | 2757854.157 | 1204643.6076 | 2757856.4094 | 1204637.6521
61 | 2757854.157 | 1204643.6076 | 2757851.8114 | 1204651.9975 | 2757841.4314 | 1204680.0926 | 2757847.3029 | 1204703.3018 | 2757849.5876 | 1204720.8111 | 2757847.0552 | 1204736.2579 | 2757838.2705 | 1204764.1951 | 2757823.5296 | 1204811.2696
62 | 2757906.796 | 1205016.3088 | 2757900.3307 | 1205024.4784 | 2757881.5926 | 1205041.1897
63 | 2757906.796 | 1205016.3088 | 2757823.5296 | 1204811.2696
64 | 2757906.796 | 1205016.3088 | 2757914.989 | 1205023.0981 | 2757928.3891 | 1205041.3576 | 2757932.1397 | 1205054.0792 | 2757929.7202 | 1205063.5348 | 2757901.5011 | 1205096.1621
65 | 2757860.2452 | 1205060.2281 | 2757881.5926 | 1205041.1897
66 | 2757856.0434 | 1205158.665 | 2757881.2037 | 1205142.6781 | 2757890.9124 | 1205130.7241 | 2757895.0306 | 1205109.4251 | 2757901.5011 | 1205096.1621 | 2757901.5011 | 1205096.1621
67 | 2757744.6519 | 1205171.9068 | 2757746.115 | 1205155.4307 | 2757741.841 | 1205143.207 | 2757735.5444 | 1205132.3421
68 | 2757735.5444 | 1205132.3421 | 2757713.7419 | 1205148.0129
69 | 2757744.6519 | 1205171.9068 | 2757773.406 | 1205145.7006
70 | 2757744.6519 | 1205171.9068 | 2757730.2122 | 1205181.2407
71 | 2757713.7419 | 1205148.0129 | 2757713.7112 | 1205148.035 | 2757699.473 | 1205159.09
72 | 2757788.3037 | 1205130.0053 | 2757783.547 | 1205136.4583 | 2757773.406 | 1205145.7006
73 | 2757716.8678 | 1205189.8667 | 2757716.8678 | 1205189.8667 | 2757730.2122 | 1205181.2407
74 | 2757788.3037 | 1205130.0053 | 2757802.6054 | 1205110.6041
75 | 2757696.0386 | 1205192.6115 | 2757716.8678 | 1205189.8667
76 | 2757802.6054 | 1205110.6041 | 2757812.635 | 1205096.9981
77 | 2757676.2891 | 1205195.214 | 2757696.0386 | 1205192.6115
78 | 2757650.5898 | 1205197.8905 | 2757656.9149 | 1205197.2606
79 | 2757650.5898 | 1205197.8905 | 2757643.7812 | 1205204.9615
80 | 2757656.9149 | 1205197.2606 | 2757672.6521 | 1205195.6932 | 2757676.2891 | 1205195.214
81 | 2757643.7812 | 1205204.9615 | 2757643.8305 | 1205193.8752 | 2757643.871 | 1205186.5809 | 2757643.8737 | 1205185.9797
82 | 2757643.7812 | 1205204.9615 | 2757633.3781 | 1205227.0844 | 2757630.44 | 1205234.8357
83 | 2757595.9978 | 1205298.573 | 2757596.6149 | 1205297.7214 | 2757597.7839 | 1205295.7577
84 | 2757597.7839 | 1205295.7577 | 2757624.1086 | 1205251.5393 | 2757624.8039 | 1205249.7047
85 | 2757624.8039 | 1205249.7047 | 2757630.44 | 1205234.8357
86 | 2757812.635 | 1205096.9981 | 2757814.3202 | 1205094.712 | 2757826.4323 | 1205085.9765
87 | 2757826.4323 | 1205085.9765 | 2757843.0663 | 1205073.9796
88 | 2757843.0663 | 1205073.9796 | 2757852.264 | 1205067.346 | 2757860.2452 | 1205060.2281
89 | 2757579.0478 | 1205170.4772 | 2757581.0142 | 1205167.6086
90 | 2757579.0478 | 1205170.4772 | 2757578.3192 | 1205171.5401
91 | 2757833.444 | 1205173.4837 | 2757847.9849 | 1205163.7854 | 2757856.0434 | 1205158.665
92 | 2757828.0338 | 1205177.0922 | 2757833.444 | 1205173.4837

## bus_geodata
| x | y | coords
0 | 2757422.8467 | 1205423.5128
1 | 2757461.0854 | 1205413.2561
2 | 2757400.8275 | 1205429.7975
3 | 2757487.3179 | 1205405.6972
4 | 2757377.4871 | 1205418.4814
5 | 2757327.8774 | 1205457.4664
6 | 2757505.967 | 1205399.181
7 | 2757300.7885 | 1205404.3895
8 | 2757371.4592 | 1205500.9757
9 | 2757271.5572 | 1205469.1176
10 | 2757530.4959 | 1205384.1528
11 | 2757280.0826 | 1205390.6104
12 | 2757425.8558 | 1205517.227
13 | 2757349.9583 | 1205651.91
14 | 2757243.8041 | 1205471.4426
15 | 2757544.3203 | 1205370.0096
16 | 2757239.6983 | 1205471.8426
17 | 2757890.7481 | 1203683.1652
18 | 2757885.4101 | 1203704.9097
19 | 2757950.6371 | 1203570.2704
20 | 2757874.1588 | 1203998.8739
21 | 2757937.6798 | 1203476.1664
22 | 2757875.9127 | 1204046.8184
23 | 2757901.3845 | 1204077.6456
24 | 2757814.191 | 1203503.16
25 | 2757854.0628 | 1204040.2462
26 | 2757876.5769 | 1204060.6489
27 | 2757894.0478 | 1204494.0215
28 | 2757866.7039 | 1204610.4319
29 | 2756933.3718 | 1204738.1036
30 | 2756934.4147 | 1204745.0483
31 | 2756945.6155 | 1204759.9372
32 | 2757197.2412 | 1205479.9574
33 | 2757207.9453 | 1205477.2433
34 | 2757414.0785 | 1204956.6008
35 | 2757623.8457 | 1205006.8631
36 | 2757147.9867 | 1204886.6786
37 | 2757141.0077 | 1204892.9467
38 | 2757632.5282 | 1205106.8959
39 | 2757636.4866 | 1205120.9497
40 | 2757607.5325 | 1205104.8078
41 | 2757640.3789 | 1205132.9409
42 | 2757594.5868 | 1205097.5905
43 | 2757609.4042 | 1205138.4559
44 | 2757642.8319 | 1205135.6917
45 | 2757591.3592 | 1205095.7911
46 | 2757584.0539 | 1205163.1742
47 | 2757644.4681 | 1205165.8824
48 | 2757568.3105 | 1205337.8111
49 | 2757569.9008 | 1205335.5361
50 | 2757563.6219 | 1205344.5182
51 | 2757573.9589 | 1205329.7309
52 | 2757555.5495 | 1205356.0661
53 | 2757574.2167 | 1205329.362
54 | 2757550.6018 | 1205362.6157
55 | 2757574.8917 | 1205328.3965
56 | 2757589.4352 | 1205307.6298
57 | 2757225.8297 | 1205474.2501
58 | 2757214.2775 | 1205476.1883
59 | 2757856.4094 | 1204637.6521
60 | 2757854.157 | 1204643.6076
61 | 2757906.796 | 1205016.3088
62 | 2757881.5926 | 1205041.1897
63 | 2757823.5296 | 1204811.2696
64 | 2757901.5011 | 1205096.1621
65 | 2757735.5444 | 1205132.3421
66 | 2757744.6519 | 1205171.9068
67 | 2757713.7419 | 1205148.0129
68 | 2757773.406 | 1205145.7006
69 | 2757730.2122 | 1205181.2407
70 | 2757699.473 | 1205159.09
71 | 2757788.3037 | 1205130.0053
72 | 2757716.8678 | 1205189.8667
73 | 2757802.6054 | 1205110.6041
74 | 2757696.0386 | 1205192.6115
75 | 2757650.5898 | 1205197.8905
76 | 2757656.9149 | 1205197.2606
77 | 2757643.7811 | 1205204.9615
78 | 2757676.2891 | 1205195.214
79 | 2757595.9978 | 1205298.573
80 | 2757597.7839 | 1205295.7577
81 | 2757624.8039 | 1205249.7047
82 | 2757630.44 | 1205234.8357
83 | 2757643.8737 | 1205185.9797
84 | 2757812.635 | 1205096.9981
85 | 2757826.4323 | 1205085.9765
86 | 2757843.0663 | 1205073.9796
87 | 2757581.0142 | 1205167.6086
88 | 2757579.0478 | 1205170.4772
89 | 2757578.3192 | 1205171.5401
90 | 2757833.444 | 1205173.4837
91 | 2757856.0434 | 1205158.665
92 | 2757828.0338 | 1205177.0922
93 | 2757860.2452 | 1205060.2281
94 | 2757636.4866 | 1205120.9497

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1