## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3294-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3294-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3294-5_0_3_node_21 | 0.4 | n |  | TRUE
3 | bus_LV_3294-5_0_3_node_22 | 0.4 | n |  | TRUE
4 | bus_LV_3294-5_0_3_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_3294-5_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_3294-5_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3294-5_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_3294-5_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_3294-5_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_3294-5_0_3_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_3294-5_0_3_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_3294-5_0_3_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_3294-5_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_3294-5_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3294-5_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3294-5_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_3294-5_0_3_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_3294-5_0_3_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_3294-5_0_3_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_3294-5_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_3294-5_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_3294-5_0_3_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_3294-5_0_3_node_23 | 0.4 | n |  | TRUE
24 | bus_MV_149_0_node_103 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3294-5_0_3_load_0 | 0 | 0.00030613 | 7.6722e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3294-5_0_3_load_21 | 2 | 0.0066175 | 0.0016585 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3294-5_0_3_load_2 | 4 | 0.011723 | 0.0029382 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3294-5_0_3_load_3 | 5 | 0.001294 | 0.0003243 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3294-5_0_3_load_8 | 9 | 0.0010416 | 0.00026106 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3294-5_0_3_load_14 | 10 | 0.015841 | 0.0039701 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3294-5_0_3_load_10 | 13 | 0.02041 | 0.0051151 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3294-5_0_3_load_9 | 14 | 0.038603 | 0.0096748 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3294-5_0_3_load_11 | 15 | 0.016579 | 0.004155 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3294-5_0_3_load_13 | 16 | 0.0085462 | 0.0021419 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3294-5_0_3_load_18 | 17 | 0.012873 | 0.0032264 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3294-5_0_3_load_25 | 18 | 0.0005495 | 0.00013772 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3294-5_0_3_load_16 | 19 | 0.0093088 | 0.002333 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3294-5_0_3_load_15 | 20 | 0.0086204 | 0.0021605 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3294-5_0_3_load_17 | 21 | 0.0069806 | 0.0017495 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3294-5_0_3_load_19 | 22 | 0.0066083 | 0.0016562 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3294-5_0_3_load_23 | 23 | 0.029423 | 0.007374 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3294-5_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.37505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3294-5_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.48831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3294-5_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.038776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3294-5_0_3_line_3 | NAYY 4x150 SE | 3 | 23 | 0.097574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3294-5_0_3_line_4 | NAYY 4x150 SE | 3 | 22 | 0.11133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3294-5_0_3_line_5 | NAYY 4x150 SE | 4 | 5 | 0.038534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3294-5_0_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.0091387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3294-5_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.69547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3294-5_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.58551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_3294-5_0_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.028091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3294-5_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.18056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_3294-5_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.061877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_3294-5_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.51974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3294-5_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.011203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_3294-5_0_3_line_14 | NAYY 4x150 SE | 12 | 18 | 0.73168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3294-5_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.038997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_3294-5_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.031032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_3294-5_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.011613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_3294-5_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.009707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3294-5_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.0028425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3294-5_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.0078248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3294-5_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.05287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3294-5_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.086789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3294-5_0_3_trafo_13 | 0.25 MVA 20/0.4 kV | 24 | 16 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56
0 | 2756043.4265 | 1203256.6803 | 2756036.0413 | 1203226.9723 | 2755972.9449 | 1203148.3777 | 2755937.6491 | 1203123.8347 | 2755896.4441 | 1203075.1165 | 2755882.0066 | 1203017.7449 | 2755879.1816 | 1202940.1075
1 | 2755981.8485 | 1203741.0871 | 2756043.4265 | 1203256.6803
2 | 2756008.6112 | 1203768.9328 | 2755987.2415 | 1203748.8348 | 2755981.8485 | 1203741.0871
3 | 2756008.6112 | 1203768.9328 | 2756005.6458 | 1203785.1029 | 2756006.3726 | 1203796.0315 | 2755985.8687 | 1203820.8735 | 2755974.049 | 1203825.1241 | 2755958.7481 | 1203826.2478 | 2755953.0155 | 1203834.5241
4 | 2756008.6112 | 1203768.9328 | 2756031.7342 | 1203790.0998 | 2756033.8643 | 1203805.8805 | 2756039.35 | 1203819.9806 | 2756046.1385 | 1203852.3865 | 2756046.341 | 1203868.2058
5 | 2755909.0283 | 1204542.2145 | 2755907.8038 | 1204551.1563 | 2755914.4868 | 1204552.0427 | 2755911.3064 | 1204574.5868
6 | 2755910.2683 | 1204533.1604 | 2755909.0283 | 1204542.2145
7 | 2755778.8649 | 1204170.0119 | 2755817.365 | 1204185.8968 | 2755826.7555 | 1204223.6305 | 2755833.0462 | 1204280.656 | 2755833.4009 | 1204341.4076 | 2755818.4999 | 1204407.7328 | 2755829.9929 | 1204430.2303 | 2755831.59 | 1204448.0654 | 2755835.3224 | 1204453.512 | 2755841.1728 | 1204473.46 | 2755842.8613 | 1204488.0836 | 2755837.9331 | 1204496.9518 | 2755828.2503 | 1204503.0823 | 2755825.1258 | 1204507.5936 | 2755827.1877 | 1204512.5852 | 2755833.7756 | 1204515.9489 | 2755836.1161 | 1204522.8049 | 2755833.71 | 1204529.2478 | 2755832.0009 | 1204539.3121 | 2755841.1848 | 1204572.6811 | 2755842.7941 | 1204584.5113 | 2755839.1185 | 1204590.8877 | 2755840.8076 | 1204593.2449 | 2755845.9594 | 1204590.0988 | 2755849.8346 | 1204583.9501 | 2755855.3858 | 1204575.999 | 2755858.0137 | 1204566.3146 | 2755857.7243 | 1204550.5821 | 2755861.0047 | 1204544.1843 | 2755863.745 | 1204546.2243 | 2755867.3682 | 1204554.6818 | 2755872.5044 | 1204560.2875 | 2755876.0769 | 1204571.5573 | 2755875.3517 | 1204578.6335 | 2755873.2926 | 1204590.4346 | 2755873.8146 | 1204592.0163 | 2755878.2887 | 1204588.5856 | 2755891.1661 | 1204567.6811 | 2755892.6303 | 1204550.9712 | 2755906.9 | 1204509.9965 | 2755910.2683 | 1204533.1604
8 | 2755971.1785 | 1204124.5795 | 2755964.556 | 1204127.4758 | 2755962.8811 | 1204120.7818 | 2755958.4796 | 1204121.4229 | 2755955.8701 | 1204103.8838 | 2755955.5356 | 1204111.4373 | 2755953.4004 | 1204122.3578 | 2755949.3396 | 1204109.0845 | 2755945.1606 | 1204118.3947 | 2755940.7868 | 1204111.5634 | 2755946.229 | 1204105.7671 | 2755938.5975 | 1204106.2015 | 2755935.3515 | 1204110.6874 | 2755934.2503 | 1204127.1954 | 2755927.3626 | 1204121.8887 | 2755923.078 | 1204112.2239 | 2755922.6215 | 1204098.8113 | 2755920.5779 | 1204091.9519 | 2755914.193 | 1204093.6201 | 2755914.4834 | 1204101.7348 | 2755913.7148 | 1204116.2942 | 2755913.152 | 1204138.7104 | 2755910.9917 | 1204143.8919 | 2755906.3669 | 1204144.3382 | 2755898.3688 | 1204146.2756 | 2755892.3161 | 1204152.423 | 2755890.1899 | 1204166.5022 | 2755893.117 | 1204182.6706 | 2755894.7285 | 1204190.9199 | 2755891.4229 | 1204208.1822 | 2755891.2071 | 1204212.9474 | 2755885.9248 | 1204210.2961 | 2755883.4887 | 1204203.015 | 2755879.3841 | 1204194.6227 | 2755879.3336 | 1204184.0231 | 2755860.4462 | 1204150.245 | 2755839.1723 | 1204131.4734 | 2755831.7281 | 1204130.2781 | 2755814.4971 | 1204134.7992 | 2755807.2253 | 1204133.1191 | 2755795.5669 | 1204128.0105 | 2755790.245 | 1204128.0384 | 2755789.9901 | 1204131.6794 | 2755796.5364 | 1204135.4869 | 2755806.8755 | 1204140.3942 | 2755812.0644 | 1204145.1671 | 2755810.4924 | 1204147.9396 | 2755805.2083 | 1204146.8119 | 2755795.844 | 1204142.7641 | 2755792.4756 | 1204144.6557 | 2755794.6487 | 1204150.3507 | 2755803.7893 | 1204156.5501 | 2755817.6158 | 1204161.7154 | 2755819.4026 | 1204163.2522 | 2755816.5026 | 1204166.1569 | 2755803.4264 | 1204170.4529 | 2755778.8649 | 1204170.0119
9 | 2755778.8649 | 1204170.0119 | 2755761.9124 | 1204169.7028 | 2755751.3714 | 1204166.1137
10 | 2755971.1785 | 1204124.5795 | 2756003.9837 | 1204125.348 | 2756020.432 | 1204107.3841 | 2756065.6563 | 1204111.825 | 2756073.949 | 1204125.9875 | 2756074.8462 | 1204150.1878 | 2756094.4187 | 1204156.5605 | 2756096.847 | 1204152.1979 | 2756099.1224 | 1204140.6777
11 | 2756121.2422 | 1204083.0523 | 2756100.8482 | 1204131.9401 | 2756099.1224 | 1204140.6777
12 | 2756121.2422 | 1204083.0523 | 2756617.4639 | 1204237.6129
13 | 2756121.2422 | 1204083.0523 | 2756116.7591 | 1204072.7849
14 | 2756617.4639 | 1204237.6129 | 2756624.847 | 1204267.5218 | 2756628.6201 | 1204294.8894 | 2756640.6167 | 1204335.5066 | 2756640.5841 | 1204368.0678 | 2756642.1103 | 1204387.6474 | 2756654.3762 | 1204402.6268 | 2756651.8328 | 1204437.1684 | 2756630.8121 | 1204454.121 | 2756622.6917 | 1204489.7284 | 2756619.6152 | 1204513.5577 | 2756625.2423 | 1204523.3472 | 2756634.2534 | 1204500.2075 | 2756659.981 | 1204484.6018 | 2756688.5664 | 1204484.5294 | 2756707.4527 | 1204465.0855 | 2756715.2555 | 1204432.3168 | 2756728.5945 | 1204422.08 | 2756736.3567 | 1204405.3577 | 2756737.4791 | 1204441.4525 | 2756750.982 | 1204486.9916 | 2756754.4597 | 1204541.2197 | 2756765.3692 | 1204576.5151 | 2756755.0238 | 1204597.4065 | 2756754.2863 | 1204625.4786 | 2756760.1326 | 1204644.8826
15 | 2756101.1543 | 1204037.0462 | 2756116.7591 | 1204072.7849
16 | 2756101.1543 | 1204037.0462 | 2756097.3753 | 1204028.3914 | 2756091.5089 | 1204011.9792 | 2756087.7534 | 1204010.1918
17 | 2756077.2678 | 1204005.2011 | 2756077.2678 | 1204005.2011 | 2756087.7534 | 1204010.1918
18 | 2756075.0802 | 1203995.7438 | 2756077.2678 | 1204005.2011
19 | 2756075.0802 | 1203995.7438 | 2756074.4396 | 1203992.9744
20 | 2756074.9856 | 1203985.3462 | 2756074.9856 | 1203985.3462 | 2756073.8412 | 1203990.3874 | 2756074.4396 | 1203992.9744
21 | 2756084.6141 | 1203944.3984 | 2756087.0991 | 1203950.6433 | 2756094.8479 | 1203965.8147 | 2756090.2472 | 1203976.1035 | 2756074.9856 | 1203985.3462
22 | 2756046.341 | 1203868.2058 | 2756046.3887 | 1203871.9325 | 2756063.1703 | 1203911.706 | 2756077.3057 | 1203926.0324 | 2756084.6141 | 1203944.3984

## bus_geodata
| x | y | coords
0 | 2755879.1816 | 1202940.1075
1 | 2756043.4265 | 1203256.6803
2 | 2755981.8485 | 1203741.0871
3 | 2756008.6112 | 1203768.9328
4 | 2755911.3064 | 1204574.5868
5 | 2755909.0283 | 1204542.2146
6 | 2755910.2683 | 1204533.1604
7 | 2755778.8649 | 1204170.0119
8 | 2755971.1785 | 1204124.5795
9 | 2755751.3714 | 1204166.1137
10 | 2756099.1224 | 1204140.6777
11 | 2756121.2422 | 1204083.0523
12 | 2756617.4639 | 1204237.6129
13 | 2756116.7591 | 1204072.7849
14 | 2756101.1543 | 1204037.0462
15 | 2756087.7534 | 1204010.1918
16 | 2756077.2678 | 1204005.2011
17 | 2756075.0802 | 1203995.7438
18 | 2756760.1326 | 1204644.8826
19 | 2756074.4396 | 1203992.9744
20 | 2756074.9856 | 1203985.3462
21 | 2756084.6141 | 1203944.3984
22 | 2756046.341 | 1203868.2058
23 | 2755953.0155 | 1203834.5241
24 | 2756121.2422 | 1204083.0523

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1