## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3295-10_1_2_node_12 | 0.4 | n |  | TRUE
1 | bus_LV_3295-10_1_2_node_13 | 0.4 | n |  | TRUE
2 | bus_LV_3295-10_1_2_node_14 | 0.4 | n |  | TRUE
3 | bus_LV_3295-10_1_2_node_128 | 0.4 | n |  | TRUE
4 | bus_LV_3295-10_1_2_node_124 | 0.4 | n |  | TRUE
5 | bus_LV_3295-10_1_2_node_37 | 0.4 | n |  | TRUE
6 | bus_LV_3295-10_1_2_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_3295-10_1_2_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_3295-10_1_2_node_40 | 0.4 | n |  | TRUE
9 | bus_LV_3295-10_1_2_node_41 | 0.4 | n |  | TRUE
10 | bus_LV_3295-10_1_2_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_3295-10_1_2_node_43 | 0.4 | n |  | TRUE
12 | bus_LV_3295-10_1_2_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_3295-10_1_2_node_118 | 0.4 | n |  | TRUE
14 | bus_LV_3295-10_1_2_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_3295-10_1_2_node_60 | 0.4 | n |  | TRUE
16 | bus_LV_3295-10_1_2_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_3295-10_1_2_node_117 | 0.4 | n |  | TRUE
18 | bus_LV_3295-10_1_2_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_3295-10_1_2_node_61 | 0.4 | n |  | TRUE
20 | bus_LV_3295-10_1_2_node_47 | 0.4 | n |  | TRUE
21 | bus_LV_3295-10_1_2_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_3295-10_1_2_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_3295-10_1_2_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_3295-10_1_2_node_49 | 0.4 | n |  | TRUE
25 | bus_LV_3295-10_1_2_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_3295-10_1_2_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_3295-10_1_2_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_3295-10_1_2_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_3295-10_1_2_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_3295-10_1_2_node_57 | 0.4 | n |  | TRUE
31 | bus_LV_3295-10_1_2_node_106 | 0.4 | n |  | TRUE
32 | bus_LV_3295-10_1_2_node_103 | 0.4 | n |  | TRUE
33 | bus_LV_3295-10_1_2_node_135 | 0.4 | n |  | TRUE
34 | bus_LV_3295-10_1_2_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_3295-10_1_2_node_130 | 0.4 | n |  | TRUE
36 | bus_LV_3295-10_1_2_node_107 | 0.4 | n |  | TRUE
37 | bus_LV_3295-10_1_2_node_104 | 0.4 | n |  | TRUE
38 | bus_LV_3295-10_1_2_node_133 | 0.4 | n |  | TRUE
39 | bus_LV_3295-10_1_2_node_131 | 0.4 | n |  | TRUE
40 | bus_LV_3295-10_1_2_node_120 | 0.4 | n |  | TRUE
41 | bus_LV_3295-10_1_2_node_121 | 0.4 | n |  | TRUE
42 | bus_LV_3295-10_1_2_node_62 | 0.4 | n |  | TRUE
43 | bus_LV_3295-10_1_2_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_3295-10_1_2_node_63 | 0.4 | n |  | TRUE
45 | bus_LV_3295-10_1_2_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_3295-10_1_2_node_66 | 0.4 | n |  | TRUE
47 | bus_LV_3295-10_1_2_node_67 | 0.4 | n |  | TRUE
48 | bus_LV_3295-10_1_2_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_3295-10_1_2_node_69 | 0.4 | n |  | TRUE
50 | bus_LV_3295-10_1_2_node_70 | 0.4 | n |  | TRUE
51 | bus_LV_3295-10_1_2_node_119 | 0.4 | n |  | TRUE
52 | bus_LV_3295-10_1_2_node_71 | 0.4 | n |  | TRUE
53 | bus_LV_3295-10_1_2_node_72 | 0.4 | n |  | TRUE
54 | bus_LV_3295-10_1_2_node_88 | 0.4 | n |  | TRUE
55 | bus_LV_3295-10_1_2_node_114 | 0.4 | n |  | TRUE
56 | bus_LV_3295-10_1_2_node_102 | 0.4 | n |  | TRUE
57 | bus_LV_3295-10_1_2_node_101 | 0.4 | n |  | TRUE
58 | bus_LV_3295-10_1_2_node_98 | 0.4 | n |  | TRUE
59 | bus_LV_3295-10_1_2_node_87 | 0.4 | n |  | TRUE
60 | bus_LV_3295-10_1_2_node_115 | 0.4 | n |  | TRUE
61 | bus_LV_3295-10_1_2_node_99 | 0.4 | n |  | TRUE
62 | bus_LV_3295-10_1_2_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_3295-10_1_2_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_3295-10_1_2_node_76 | 0.4 | n |  | TRUE
65 | bus_LV_3295-10_1_2_node_77 | 0.4 | n |  | TRUE
66 | bus_LV_3295-10_1_2_node_89 | 0.4 | n |  | TRUE
67 | bus_LV_3295-10_1_2_node_83 | 0.4 | n |  | TRUE
68 | bus_LV_3295-10_1_2_node_147 | 0.4 | n |  | TRUE
69 | bus_LV_3295-10_1_2_node_95 | 0.4 | n |  | TRUE
70 | bus_LV_3295-10_1_2_node_86 | 0.4 | n |  | TRUE
71 | bus_LV_3295-10_1_2_node_90 | 0.4 | n |  | TRUE
72 | bus_LV_3295-10_1_2_node_91 | 0.4 | n |  | TRUE
73 | bus_LV_3295-10_1_2_node_92 | 0.4 | n |  | TRUE
74 | bus_LV_3295-10_1_2_node_93 | 0.4 | n |  | TRUE
75 | bus_LV_3295-10_1_2_node_94 | 0.4 | n |  | TRUE
76 | bus_LV_3295-10_1_2_node_96 | 0.4 | n |  | TRUE
77 | bus_LV_3295-10_1_2_node_97 | 0.4 | n |  | TRUE
78 | bus_LV_3295-10_1_2_node_112 | 0.4 | n |  | TRUE
79 | bus_LV_3295-10_1_2_node_146 | 0.4 | n |  | TRUE
80 | bus_LV_3295-10_1_2_node_100 | 0.4 | n |  | TRUE
81 | bus_LV_3295-10_1_2_node_110 | 0.4 | n |  | TRUE
82 | bus_LV_3295-10_1_2_node_145 | 0.4 | n |  | TRUE
83 | bus_LV_3295-10_1_2_node_105 | 0.4 | n |  | TRUE
84 | bus_LV_3295-10_1_2_node_108 | 0.4 | n |  | TRUE
85 | bus_LV_3295-10_1_2_node_109 | 0.4 | n |  | TRUE
86 | bus_LV_3295-10_1_2_node_111 | 0.4 | n |  | TRUE
87 | bus_LV_3295-10_1_2_node_113 | 0.4 | n |  | TRUE
88 | bus_LV_3295-10_1_2_node_116 | 0.4 | n |  | TRUE
89 | bus_LV_3295-10_1_2_node_122 | 0.4 | n |  | TRUE
90 | bus_LV_3295-10_1_2_node_151 | 0.4 | n |  | TRUE
91 | bus_LV_3295-10_1_2_node_125 | 0.4 | n |  | TRUE
92 | bus_LV_3295-10_1_2_node_129 | 0.4 | n |  | TRUE
93 | bus_LV_3295-10_1_2_node_127 | 0.4 | n |  | TRUE
94 | bus_LV_3295-10_1_2_node_141 | 0.4 | n |  | TRUE
95 | bus_LV_3295-10_1_2_node_140 | 0.4 | n |  | TRUE
96 | bus_LV_3295-10_1_2_node_137 | 0.4 | n |  | TRUE
97 | bus_LV_3295-10_1_2_node_138 | 0.4 | n |  | TRUE
98 | bus_LV_3295-10_1_2_node_132 | 0.4 | n |  | TRUE
99 | bus_LV_3295-10_1_2_node_134 | 0.4 | n |  | TRUE
100 | bus_LV_3295-10_1_2_node_136 | 0.4 | n |  | TRUE
101 | bus_LV_3295-10_1_2_node_139 | 0.4 | n |  | TRUE
102 | bus_LV_3295-10_1_2_node_142 | 0.4 | n |  | TRUE
103 | bus_LV_3295-10_1_2_node_148 | 0.4 | n |  | TRUE
104 | bus_LV_3295-10_1_2_node_149 | 0.4 | n |  | TRUE
105 | bus_LV_3295-10_1_2_node_143 | 0.4 | n |  | TRUE
106 | bus_LV_3295-10_1_2_node_144 | 0.4 | n |  | TRUE
107 | bus_MV_150_0_node_85 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3295-10_1_2_load_13 | 1 | 0.00038463 | 9.6397e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3295-10_1_2_load_128 | 3 | 0.00043173 | 0.0001082 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3295-10_1_2_load_37 | 5 | 0.00091951 | 0.00023045 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3295-10_1_2_load_38 | 6 | 0.0012167 | 0.00030494 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3295-10_1_2_load_39 | 7 | 0.0012423 | 0.00031135 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3295-10_1_2_load_40 | 8 | 0.0013556 | 0.00033975 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3295-10_1_2_load_42 | 10 | 0.001044 | 0.00026164 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3295-10_1_2_load_43 | 11 | 0.00068621 | 0.00017198 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3295-10_1_2_load_118 | 13 | 0.00071483 | 0.00017915 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3295-10_1_2_load_59 | 14 | 0.00068602 | 0.00017193 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3295-10_1_2_load_60 | 15 | 0.0010361 | 0.00025968 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3295-10_1_2_load_50 | 16 | 0.0004232 | 0.00010607 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3295-10_1_2_load_117 | 17 | 0.0014219 | 0.00035635 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3295-10_1_2_load_51 | 18 | 0.00061712 | 0.00015467 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3295-10_1_2_load_61 | 19 | 0.0013732 | 0.00034415 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3295-10_1_2_load_45 | 21 | 0.00061686 | 0.0001546 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3295-10_1_2_load_46 | 22 | 0.0018881 | 0.0004732 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3295-10_1_2_load_48 | 23 | 0.0021116 | 0.00052921 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3295-10_1_2_load_49 | 24 | 0.0013782 | 0.0003454 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3295-10_1_2_load_52 | 25 | 0.0014504 | 0.0003635 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3295-10_1_2_load_55 | 28 | 0.0023175 | 0.00058081 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3295-10_1_2_load_57 | 30 | 0.0020899 | 0.00052379 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3295-10_1_2_load_106 | 31 | 0.0010244 | 0.00025673 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3295-10_1_2_load_103 | 32 | 0.0019421 | 0.00048674 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3295-10_1_2_load_135 | 33 | 0.0014391 | 0.00036066 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3295-10_1_2_load_58 | 34 | 0.0026248 | 0.00065783 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3295-10_1_2_load_107 | 36 | 0.0021509 | 0.00053908 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3295-10_1_2_load_104 | 37 | 0.0017767 | 0.00044528 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3295-10_1_2_load_133 | 38 | 0.0015609 | 0.0003912 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3295-10_1_2_load_131 | 39 | 0.0031051 | 0.00077822 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3295-10_1_2_load_120 | 40 | 0.00053902 | 0.00013509 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3295-10_1_2_load_62 | 42 | 0.001338 | 0.00033532 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3295-10_1_2_load_65 | 45 | 0.0040277 | 0.0010094 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3295-10_1_2_load_67 | 47 | 0.0010112 | 0.00025342 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3295-10_1_2_load_68 | 48 | 0.00046131 | 0.00011562 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3295-10_1_2_load_70 | 50 | 0.0010379 | 0.00026011 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3295-10_1_2_load_119 | 51 | 0.00043215 | 0.00010831 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3295-10_1_2_load_71 | 52 | 0.00057523 | 0.00014417 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3295-10_1_2_load_88 | 54 | 0.00050897 | 0.00012756 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3295-10_1_2_load_114 | 55 | 0.00089971 | 0.00022549 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3295-10_1_2_load_102 | 56 | 0.00056825 | 0.00014242 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3295-10_1_2_load_101 | 57 | 0.000282 | 7.0675e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3295-10_1_2_load_98 | 58 | 0.0016958 | 0.00042502 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3295-10_1_2_load_115 | 60 | 0.0013824 | 0.00034647 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3295-10_1_2_load_99 | 61 | 0.0072931 | 0.0018278 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3295-10_1_2_load_73 | 62 | 0.00064401 | 0.0001614 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3295-10_1_2_load_74 | 63 | 0.00080007 | 0.00020052 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3295-10_1_2_load_77 | 65 | 0.00021911 | 5.4914e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3295-10_1_2_load_89 | 66 | 0.0019531 | 0.0004895 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3295-10_1_2_load_83 | 67 | 0.0020472 | 0.00051308 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3295-10_1_2_load_147 | 68 | 0.0038434 | 0.00096326 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3295-10_1_2_load_86 | 70 | 0.00076686 | 0.00019219 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3295-10_1_2_load_90 | 71 | 0.0061512 | 0.0015416 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3295-10_1_2_load_96 | 76 | 0.0017554 | 0.00043993 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3295-10_1_2_load_112 | 78 | 0.0010163 | 0.0002547 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3295-10_1_2_load_146 | 79 | 0.0013153 | 0.00032966 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3295-10_1_2_load_100 | 80 | 0.0040622 | 0.0010181 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3295-10_1_2_load_110 | 81 | 0.0010457 | 0.00026207 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3295-10_1_2_load_105 | 83 | 0.0014731 | 0.00036918 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3295-10_1_2_load_108 | 84 | 0.0018092 | 0.00045343 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3295-10_1_2_load_109 | 85 | 0.001462 | 0.00036641 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3295-10_1_2_load_111 | 86 | 0.0019476 | 0.00048813 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3295-10_1_2_load_113 | 87 | 0.0013663 | 0.00034242 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3295-10_1_2_load_116 | 88 | 0.0010988 | 0.00027537 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3295-10_1_2_load_151 | 90 | 0.00082067 | 0.00020568 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3295-10_1_2_load_125 | 91 | 0.00053948 | 0.00013521 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3295-10_1_2_load_129 | 92 | 0.00049934 | 0.00012515 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3295-10_1_2_load_127 | 93 | 0.0019416 | 0.0004866 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3295-10_1_2_load_141 | 94 | 0.00057688 | 0.00014458 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3295-10_1_2_load_137 | 96 | 0.0034201 | 0.00085715 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3295-10_1_2_load_138 | 97 | 0.0011198 | 0.00028064 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3295-10_1_2_load_132 | 98 | 0.0013048 | 0.00032702 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3295-10_1_2_load_134 | 99 | 0.0016543 | 0.00041462 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3295-10_1_2_load_136 | 100 | 0.00166 | 0.00041603 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3295-10_1_2_load_139 | 101 | 0.0016309 | 0.00040874 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3295-10_1_2_load_148 | 103 | 0.0020954 | 0.00052515 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3295-10_1_2_load_149 | 104 | 0.0025291 | 0.00063386 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3295-10_1_2_load_143 | 105 | 0.0010991 | 0.00027545 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3295-10_1_2_load_144 | 106 | 0.0014033 | 0.0003517 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3295-10_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.05113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3295-10_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.14199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3295-10_1_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.040068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3295-10_1_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.018129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3295-10_1_2_line_4 | NAYY 4x150 SE | 4 | 92 | 0.015756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3295-10_1_2_line_5 | NAYY 4x150 SE | 4 | 89 | 0.038515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3295-10_1_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.018278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3295-10_1_2_line_7 | NAYY 4x150 SE | 5 | 7 | 8.3355e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3295-10_1_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.0091629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3295-10_1_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.032174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3295-10_1_2_line_10 | NAYY 4x150 SE | 8 | 10 | 0.0023939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3295-10_1_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.027674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3295-10_1_2_line_12 | NAYY 4x150 SE | 9 | 12 | 0.004016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3295-10_1_2_line_13 | NAYY 4x150 SE | 10 | 13 | 0.021099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3295-10_1_2_line_14 | NAYY 4x150 SE | 11 | 14 | 5.7246e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3295-10_1_2_line_15 | NAYY 4x150 SE | 12 | 15 | 0.017654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3295-10_1_2_line_16 | NAYY 4x150 SE | 12 | 16 | 0.017802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3295-10_1_2_line_17 | NAYY 4x150 SE | 13 | 17 | 0.0033756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3295-10_1_2_line_18 | NAYY 4x150 SE | 14 | 18 | 0.0006792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3295-10_1_2_line_19 | NAYY 4x150 SE | 15 | 19 | 0.019444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3295-10_1_2_line_20 | NAYY 4x150 SE | 16 | 20 | 0.015111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3295-10_1_2_line_21 | NAYY 4x150 SE | 17 | 88 | 0.0063608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3295-10_1_2_line_22 | NAYY 4x150 SE | 19 | 40 | 0.024334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3295-10_1_2_line_23 | NAYY 4x150 SE | 20 | 24 | 0.023109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3295-10_1_2_line_24 | NAYY 4x150 SE | 20 | 21 | 0.0083183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3295-10_1_2_line_25 | NAYY 4x150 SE | 21 | 22 | 0.023735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3295-10_1_2_line_26 | NAYY 4x150 SE | 22 | 23 | 0.019201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3295-10_1_2_line_27 | NAYY 4x150 SE | 24 | 25 | 0.011968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3295-10_1_2_line_28 | NAYY 4x150 SE | 25 | 26 | 0.018599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3295-10_1_2_line_29 | NAYY 4x150 SE | 26 | 27 | 0.029338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3295-10_1_2_line_30 | NAYY 4x150 SE | 26 | 28 | 0.014395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3295-10_1_2_line_31 | NAYY 4x150 SE | 27 | 29 | 0.004674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3295-10_1_2_line_32 | NAYY 4x150 SE | 27 | 30 | 0.032415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3295-10_1_2_line_33 | NAYY 4x150 SE | 29 | 31 | 0.0095375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3295-10_1_2_line_34 | NAYY 4x150 SE | 29 | 32 | 0.01397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3295-10_1_2_line_35 | NAYY 4x150 SE | 30 | 33 | 0.013573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3295-10_1_2_line_36 | NAYY 4x150 SE | 31 | 36 | 0.005425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3295-10_1_2_line_37 | NAYY 4x150 SE | 32 | 37 | 0.020696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3295-10_1_2_line_38 | NAYY 4x150 SE | 33 | 38 | 0.018856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3295-10_1_2_line_39 | NAYY 4x150 SE | 34 | 35 | 0.01304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3295-10_1_2_line_40 | NAYY 4x150 SE | 35 | 39 | 0.028148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3295-10_1_2_line_41 | NAYY 4x150 SE | 36 | 81 | 0.012873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3295-10_1_2_line_42 | NAYY 4x150 SE | 37 | 83 | 0.011323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3295-10_1_2_line_43 | NAYY 4x150 SE | 38 | 99 | 0.012599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3295-10_1_2_line_44 | NAYY 4x150 SE | 38 | 98 | 0.013179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3295-10_1_2_line_45 | NAYY 4x150 SE | 39 | 96 | 0.039685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3295-10_1_2_line_46 | NAYY 4x150 SE | 40 | 41 | 0.037079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3295-10_1_2_line_47 | NAYY 4x150 SE | 41 | 89 | 0.018501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3295-10_1_2_line_48 | NAYY 4x150 SE | 41 | 90 | 0.094362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3295-10_1_2_line_49 | NAYY 4x150 SE | 42 | 43 | 0.12864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3295-10_1_2_line_50 | NAYY 4x150 SE | 43 | 47 | 0.053887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3295-10_1_2_line_51 | NAYY 4x150 SE | 43 | 48 | 0.057766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3295-10_1_2_line_52 | NAYY 4x150 SE | 44 | 45 | 0.031385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3295-10_1_2_line_53 | NAYY 4x150 SE | 44 | 46 | 0.03085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3295-10_1_2_line_54 | NAYY 4x150 SE | 46 | 49 | 0.017261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3295-10_1_2_line_55 | NAYY 4x150 SE | 46 | 50 | 0.092816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3295-10_1_2_line_56 | NAYY 4x150 SE | 46 | 51 | 0.042451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3295-10_1_2_line_57 | NAYY 4x150 SE | 47 | 52 | 0.031829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3295-10_1_2_line_58 | NAYY 4x150 SE | 48 | 53 | 0.012874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3295-10_1_2_line_59 | NAYY 4x150 SE | 49 | 54 | 0.064236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3295-10_1_2_line_60 | NAYY 4x150 SE | 50 | 55 | 0.011698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3295-10_1_2_line_61 | NAYY 4x150 SE | 52 | 56 | 0.0067522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3295-10_1_2_line_62 | NAYY 4x150 SE | 53 | 57 | 0.017014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3295-10_1_2_line_63 | NAYY 4x150 SE | 53 | 58 | 0.037124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3295-10_1_2_line_64 | NAYY 4x150 SE | 54 | 59 | 0.02489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3295-10_1_2_line_65 | NAYY 4x150 SE | 55 | 60 | 0.0032036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3295-10_1_2_line_66 | NAYY 4x150 SE | 58 | 61 | 0.0054353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3295-10_1_2_line_67 | NAYY 4x150 SE | 59 | 66 | 0.05768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3295-10_1_2_line_68 | NAYY 4x150 SE | 59 | 65 | 0.21386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3295-10_1_2_line_69 | NAYY 4x150 SE | 60 | 88 | 0.0097327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3295-10_1_2_line_70 | NAYY 4x150 SE | 61 | 80 | 0.058854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3295-10_1_2_line_71 | NAYY 4x150 SE | 62 | 63 | 0.18115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3295-10_1_2_line_72 | NAYY 4x150 SE | 62 | 64 | 0.24537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3295-10_1_2_line_73 | NAYY 4x150 SE | 64 | 65 | 0.071134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3295-10_1_2_line_74 | NAYY 4x150 SE | 66 | 70 | 0.10152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3295-10_1_2_line_75 | NAYY 4x150 SE | 67 | 68 | 0.045816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3295-10_1_2_line_76 | NAYY 4x150 SE | 68 | 69 | 0.035043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3295-10_1_2_line_77 | NAYY 4x150 SE | 69 | 73 | 0.013326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3295-10_1_2_line_78 | NAYY 4x150 SE | 71 | 72 | 0.022552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3295-10_1_2_line_79 | NAYY 4x150 SE | 71 | 73 | 0.022739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3295-10_1_2_line_80 | NAYY 4x150 SE | 72 | 74 | 0.009647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3295-10_1_2_line_81 | NAYY 4x150 SE | 72 | 75 | 0.013126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3295-10_1_2_line_82 | NAYY 4x150 SE | 74 | 76 | 0.064059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3295-10_1_2_line_83 | NAYY 4x150 SE | 74 | 77 | 0.038347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3295-10_1_2_line_84 | NAYY 4x150 SE | 75 | 78 | 0.017414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3295-10_1_2_line_85 | NAYY 4x150 SE | 76 | 79 | 0.035594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3295-10_1_2_line_86 | NAYY 4x150 SE | 77 | 80 | 0.026563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3295-10_1_2_line_87 | NAYY 4x150 SE | 78 | 81 | 0.061298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3295-10_1_2_line_88 | NAYY 4x150 SE | 79 | 82 | 0.012777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3295-10_1_2_line_89 | NAYY 4x150 SE | 81 | 84 | 0.040961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3295-10_1_2_line_90 | NAYY 4x150 SE | 82 | 105 | 0.046953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3295-10_1_2_line_91 | NAYY 4x150 SE | 84 | 85 | 0.0030485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3295-10_1_2_line_92 | NAYY 4x150 SE | 85 | 86 | 0.014722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3295-10_1_2_line_93 | NAYY 4x150 SE | 86 | 87 | 0.0060376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3295-10_1_2_line_94 | NAYY 4x150 SE | 89 | 91 | 0.024345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3295-10_1_2_line_95 | NAYY 4x150 SE | 91 | 93 | 0.015124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3295-10_1_2_line_96 | NAYY 4x150 SE | 92 | 94 | 0.010763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3295-10_1_2_line_97 | NAYY 4x150 SE | 94 | 95 | 0.0028463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3295-10_1_2_line_98 | NAYY 4x150 SE | 95 | 102 | 0.005244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_3295-10_1_2_line_99 | NAYY 4x150 SE | 95 | 101 | 0.015711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_3295-10_1_2_line_100 | NAYY 4x150 SE | 96 | 97 | 0.01594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_3295-10_1_2_line_101 | NAYY 4x150 SE | 97 | 101 | 0.016047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_3295-10_1_2_line_102 | NAYY 4x150 SE | 99 | 100 | 0.0054581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_3295-10_1_2_line_103 | NAYY 4x150 SE | 102 | 103 | 0.028593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_3295-10_1_2_line_104 | NAYY 4x150 SE | 102 | 104 | 0.011453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_3295-10_1_2_line_105 | NAYY 4x150 SE | 105 | 106 | 0.00035284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3295-10_1_2_trafo_52 | 0.25 MVA 20/0.4 kV | 107 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2738989.0898 | 1219748.0487 | 2738982.3552 | 1219732.4785 | 2738977.4528 | 1219728.8277 | 2738970.7372 | 1219727.4032 | 2738965.264 | 1219727.3866 | 2738960.6058 | 1219728.2342 | 2738953.9681 | 1219730.6258 | 2738950.8841 | 1219733.054
1 | 2738989.0898 | 1219748.0487 | 2739012.5918 | 1219738.0331 | 2739033.081 | 1219731.2277 | 2739042.8089 | 1219728.8194 | 2739056.9983 | 1219725.5367 | 2739081.5869 | 1219721.663 | 2739091.0506 | 1219720.8166 | 2739107.9522 | 1219719.3989 | 2739126.8017 | 1219717.7933
2 | 2739126.8017 | 1219717.7933 | 2739136.0294 | 1219700.4164 | 2739144.8758 | 1219692.205 | 2739151.9527 | 1219687.8247
3 | 2739165.0588 | 1219675.4512 | 2739155.3674 | 1219685.7112 | 2739151.9527 | 1219687.8247
4 | 2739165.0588 | 1219675.4512 | 2739179.8342 | 1219669.9792
5 | 2739165.0588 | 1219675.4512 | 2739168.8069 | 1219662.8837 | 2739166.559 | 1219640.8348 | 2739166.2623 | 1219637.6141
6 | 2739211.8209 | 1219541.1259 | 2739206.6698 | 1219537.4404 | 2739197.4141 | 1219529.8912
7 | 2739211.8209 | 1219541.1259 | 2739211.8887 | 1219541.1744
8 | 2739190.3135 | 1219524.0998 | 2739197.4141 | 1219529.8912
9 | 2739238.7209 | 1219558.6073 | 2739233.9538 | 1219556.9611 | 2739211.8887 | 1219541.1744
10 | 2739190.3135 | 1219524.0998 | 2739188.4584 | 1219522.5868
11 | 2739238.7209 | 1219558.6073 | 2739253.3706 | 1219535.1291
12 | 2739242.5238 | 1219559.9306 | 2739238.7209 | 1219558.6073
13 | 2739172.1082 | 1219509.2511 | 2739188.4584 | 1219522.5868
14 | 2739253.3706 | 1219535.1291 | 2739253.4009 | 1219535.0806
15 | 2739242.5238 | 1219559.9306 | 2739229.6957 | 1219572.0588
16 | 2739242.5238 | 1219559.9306 | 2739246.952 | 1219561.4576 | 2739254.6267 | 1219561.159 | 2739259.8516 | 1219559.6535
17 | 2739172.1082 | 1219509.2511 | 2739169.4923 | 1219507.1175
18 | 2739253.4009 | 1219535.0806 | 2739253.7605 | 1219534.5043
19 | 2739229.6957 | 1219572.0588 | 2739219.0393 | 1219582.1338 | 2739215.7048 | 1219585.5564
20 | 2739273.2563 | 1219552.754 | 2739261.4446 | 1219559.1945 | 2739259.8516 | 1219559.6535
21 | 2739169.4923 | 1219507.1175 | 2739164.5632 | 1219503.0972
22 | 2739215.7048 | 1219585.5564 | 2739211.8364 | 1219589.5273 | 2739195.4205 | 1219598.6697
23 | 2739273.2563 | 1219552.754 | 2739282.5208 | 1219549.0786 | 2739292.8885 | 1219548.2203 | 2739295.5309 | 1219548.9396
24 | 2739273.2563 | 1219552.754 | 2739275.722 | 1219544.8095
25 | 2739275.722 | 1219544.8095 | 2739282.7574 | 1219522.141
26 | 2739282.7574 | 1219522.141 | 2739284.7761 | 1219515.6365 | 2739280.9293 | 1219503.8589 | 2739280.9293 | 1219503.8589
27 | 2739307.0787 | 1219552.083 | 2739295.5309 | 1219548.9396
28 | 2739325.025 | 1219556.9681 | 2739307.0787 | 1219552.083
29 | 2739325.025 | 1219556.9681 | 2739353.6461 | 1219563.7765
30 | 2739325.025 | 1219556.9681 | 2739314.3182 | 1219566.5895
31 | 2739353.6461 | 1219563.7765 | 2739358.1562 | 1219565.0498
32 | 2739353.6461 | 1219563.7765 | 2739340.5551 | 1219575.2467 | 2739332.1971 | 1219587.7137
33 | 2739358.1562 | 1219565.0498 | 2739367.3378 | 1219567.6309
34 | 2739358.1562 | 1219565.0498 | 2739361.6966 | 1219551.536
35 | 2739332.1971 | 1219587.7137 | 2739330.5726 | 1219590.1369 | 2739326.4284 | 1219599.9535
36 | 2739367.3378 | 1219567.6309 | 2739372.5604 | 1219569.0991
37 | 2739361.6966 | 1219551.536 | 2739366.9416 | 1219531.5158
38 | 2739319.0952 | 1219617.3247 | 2739326.4284 | 1219599.9535
39 | 2739275.0141 | 1219593.7853 | 2739286.715 | 1219599.5414
40 | 2739275.0141 | 1219593.7853 | 2739262.7162 | 1219619.1049
41 | 2739384.9535 | 1219572.583 | 2739372.5604 | 1219569.0991
42 | 2739369.8112 | 1219520.5627 | 2739366.9416 | 1219531.5158
43 | 2739319.0952 | 1219617.3247 | 2739314.1987 | 1219628.9338
44 | 2739319.0952 | 1219617.3247 | 2739307.235 | 1219611.5788
45 | 2739262.7162 | 1219619.1049 | 2739262.2287 | 1219620.1086 | 2739250.1635 | 1219640.3102 | 2739236.3638 | 1219646.2893
46 | 2739164.5825 | 1219619.1927 | 2739187.6529 | 1219602.9958 | 2739195.4205 | 1219598.6697
47 | 2739164.5825 | 1219619.1927 | 2739166.2623 | 1219637.6141
48 | 2739164.5825 | 1219619.1927 | 2739078.5156 | 1219580.5058
49 | 2739367.4908 | 1219472.7793 | 2739347.613 | 1219474.816 | 2739295.8906 | 1219478.6541 | 2739240.1288 | 1219483.8105 | 2739239.3353 | 1219483.8284
50 | 2739367.4908 | 1219472.7793 | 2739368.5772 | 1219462.6962 | 2739371.5674 | 1219451.3899 | 2739374.8414 | 1219442.8816 | 2739379.9399 | 1219437.5074 | 2739387.1219 | 1219432.9716 | 2739393.6602 | 1219430.3828
51 | 2739367.4908 | 1219472.7793 | 2739379.9832 | 1219473.5944 | 2739413.0588 | 1219483.4211 | 2739422.187 | 1219489.0843
52 | 2739097.964 | 1219416.1882 | 2739127.9662 | 1219406.9764
53 | 2739071.7165 | 1219431.2214 | 2739079.2082 | 1219423.4898 | 2739085.9452 | 1219420.4445 | 2739094.6376 | 1219417.2114 | 2739097.964 | 1219416.1882
54 | 2739071.7165 | 1219431.2214 | 2739064.2607 | 1219415.6454
55 | 2739071.7165 | 1219431.2214 | 2739083.1037 | 1219440.028 | 2739118.6443 | 1219465.9018 | 2739139.2938 | 1219482.4869 | 2739145.4733 | 1219487.527
56 | 2739071.7165 | 1219431.2214 | 2739082.3914 | 1219472.3082
57 | 2739425.0804 | 1219428.0894 | 2739412.1428 | 1219427.23 | 2739397.4899 | 1219428.8663 | 2739393.6602 | 1219430.3828
58 | 2739430.4852 | 1219498.5305 | 2739426.0421 | 1219491.4761 | 2739422.187 | 1219489.0843
59 | 2739064.2607 | 1219415.6454 | 2739071.8433 | 1219393.9485 | 2739075.6508 | 1219383.0616 | 2739083.7811 | 1219354.4761
60 | 2739154.5385 | 1219494.9208 | 2739145.4733 | 1219487.527
61 | 2739431.8178 | 1219428.5369 | 2739425.0804 | 1219428.0894
62 | 2739430.4852 | 1219498.5305 | 2739438.1936 | 1219499.0669 | 2739445.7896 | 1219504.4094
63 | 2739430.4852 | 1219498.5305 | 2739437.5209 | 1219523.8943 | 2739442.22 | 1219533.6216
64 | 2739094.4563 | 1219332.3691 | 2739087.0406 | 1219343.016 | 2739083.7811 | 1219354.4761
65 | 2739154.5385 | 1219494.9208 | 2739157.021 | 1219496.9456
66 | 2739442.22 | 1219533.6216 | 2739444.5842 | 1219538.5157
67 | 2739094.4563 | 1219332.3691 | 2739058.3974 | 1219319.8724 | 2739039.531 | 1219314.8734
68 | 2739094.4563 | 1219332.3691 | 2739285.0838 | 1219235.4377
69 | 2739164.5632 | 1219503.0972 | 2739157.021 | 1219496.9456
70 | 2739444.5842 | 1219538.5157 | 2739470.185 | 1219591.5105
71 | 2739040.9119 | 1218953.1649 | 2739078.5066 | 1219130.3726
72 | 2739078.5066 | 1219130.3726 | 2739319.8959 | 1219174.3925
73 | 2739319.8959 | 1219174.3925 | 2739297.0014 | 1219203.4261 | 2739290.888 | 1219219.3966 | 2739285.0838 | 1219235.4377
74 | 2739039.531 | 1219314.8734 | 2738964.6618 | 1219383.4387
75 | 2739408.4836 | 1219679.3818 | 2739389.8416 | 1219685.7706 | 2739365.3331 | 1219694.7732
76 | 2739441.5592 | 1219667.8102 | 2739421.8453 | 1219674.5434 | 2739410.2524 | 1219678.7757 | 2739408.4836 | 1219679.3818
77 | 2739436.6711 | 1219655.452 | 2739438.8836 | 1219662.4431 | 2739441.5592 | 1219667.8102
78 | 2739451.7988 | 1219625.1028 | 2739437.3826 | 1219631.2372 | 2739430.9196 | 1219633.6101
79 | 2739436.6711 | 1219655.452 | 2739430.8742 | 1219637.1676 | 2739430.9196 | 1219633.6101
80 | 2739451.7988 | 1219625.1028 | 2739455.9446 | 1219633.8183
81 | 2739451.7988 | 1219625.1028 | 2739450.1197 | 1219621.2713 | 2739446.6536 | 1219613.0277
82 | 2739455.9446 | 1219633.8183 | 2739426.1864 | 1219647.7001 | 2739397.222 | 1219659.3559
83 | 2739481.7395 | 1219615.4289 | 2739484.8168 | 1219621.7952 | 2739455.9446 | 1219633.8183
84 | 2739446.6536 | 1219613.0277 | 2739439.1396 | 1219597.3181
85 | 2739364.1653 | 1219672.553 | 2739382.0269 | 1219665.4707 | 2739397.222 | 1219659.3559
86 | 2739481.7395 | 1219615.4289 | 2739470.185 | 1219591.5105
87 | 2739384.9535 | 1219572.583 | 2739411.8939 | 1219580.1642 | 2739424.3349 | 1219584.459 | 2739431.8112 | 1219588.4151 | 2739436.2667 | 1219592.3449 | 2739438.4609 | 1219595.8993 | 2739439.1396 | 1219597.3181
88 | 2739352.2875 | 1219677.2627 | 2739364.1653 | 1219672.553
89 | 2739384.9535 | 1219572.583 | 2739389.9891 | 1219566.3289 | 2739393.5308 | 1219560.9739 | 2739394.7236 | 1219556.398 | 2739394.4858 | 1219550.0204 | 2739390.231 | 1219536.2203 | 2739390.4479 | 1219535.2858
90 | 2739352.2875 | 1219677.2627 | 2739343.4813 | 1219671.4184 | 2739325.2637 | 1219674.5616 | 2739318.708 | 1219673.7632 | 2739310.648 | 1219665.8535
91 | 2739391.1368 | 1219532.3162 | 2739390.4479 | 1219535.2858
92 | 2739391.1368 | 1219532.3162 | 2739394.464 | 1219517.9752
93 | 2739395.8285 | 1219512.0938 | 2739394.464 | 1219517.9752
94 | 2739166.2623 | 1219637.6141 | 2739188.9458 | 1219628.7747
95 | 2739203.0376 | 1219623.2834 | 2739188.9458 | 1219628.7747
96 | 2739189.9278 | 1219666.2411 | 2739179.8342 | 1219669.9792
97 | 2739192.5969 | 1219665.2526 | 2739189.9278 | 1219666.2411
98 | 2739192.5969 | 1219665.2526 | 2739197.8559 | 1219665.3422
99 | 2739192.5969 | 1219665.2526 | 2739207.0128 | 1219659.0065
100 | 2739236.3638 | 1219646.2893 | 2739221.7374 | 1219652.6267
101 | 2739221.7374 | 1219652.6267 | 2739207.0128 | 1219659.0065
102 | 2739314.1987 | 1219628.9338 | 2739312.0776 | 1219633.9629
103 | 2739197.8559 | 1219665.3422 | 2739205.1246 | 1219662.9211 | 2739210.5449 | 1219660.9795 | 2739215.818 | 1219659.4903 | 2739219.0475 | 1219659.0321 | 2739225.4767 | 1219660.0499
104 | 2739200.9236 | 1219676.0229 | 2739199.5809 | 1219667.2174 | 2739197.8559 | 1219665.3422
105 | 2739310.648 | 1219665.8535 | 2739310.3962 | 1219665.6064

## bus_geodata
| x | y | coords
0 | 2738989.0898 | 1219748.0487
1 | 2738950.8841 | 1219733.054
2 | 2739126.8017 | 1219717.7933
3 | 2739151.9527 | 1219687.8247
4 | 2739165.0588 | 1219675.4512
5 | 2739211.8209 | 1219541.1259
6 | 2739197.4141 | 1219529.8912
7 | 2739211.8887 | 1219541.1744
8 | 2739190.3135 | 1219524.0998
9 | 2739238.7209 | 1219558.6073
10 | 2739188.4584 | 1219522.5868
11 | 2739253.3706 | 1219535.1291
12 | 2739242.5238 | 1219559.9306
13 | 2739172.1082 | 1219509.2511
14 | 2739253.4009 | 1219535.0806
15 | 2739229.6957 | 1219572.0588
16 | 2739259.8516 | 1219559.6535
17 | 2739169.4923 | 1219507.1175
18 | 2739253.7605 | 1219534.5043
19 | 2739215.7048 | 1219585.5564
20 | 2739273.2563 | 1219552.754
21 | 2739275.722 | 1219544.8095
22 | 2739282.7574 | 1219522.141
23 | 2739280.9293 | 1219503.8589
24 | 2739295.5309 | 1219548.9396
25 | 2739307.0787 | 1219552.083
26 | 2739325.025 | 1219556.9681
27 | 2739353.6461 | 1219563.7765
28 | 2739314.3182 | 1219566.5895
29 | 2739358.1562 | 1219565.0498
30 | 2739332.1971 | 1219587.7137
31 | 2739367.3378 | 1219567.6309
32 | 2739361.6966 | 1219551.536
33 | 2739326.4284 | 1219599.9535
34 | 2739286.715 | 1219599.5415
35 | 2739275.0141 | 1219593.7853
36 | 2739372.5604 | 1219569.0991
37 | 2739366.9416 | 1219531.5158
38 | 2739319.0952 | 1219617.3247
39 | 2739262.7162 | 1219619.1049
40 | 2739195.4205 | 1219598.6697
41 | 2739164.5825 | 1219619.1927
42 | 2739239.3353 | 1219483.8284
43 | 2739367.4908 | 1219472.7793
44 | 2739097.964 | 1219416.1882
45 | 2739127.9662 | 1219406.9764
46 | 2739071.7165 | 1219431.2214
47 | 2739393.6602 | 1219430.3828
48 | 2739422.187 | 1219489.0843
49 | 2739064.2607 | 1219415.6454
50 | 2739145.4733 | 1219487.527
51 | 2739082.3914 | 1219472.3082
52 | 2739425.0804 | 1219428.0894
53 | 2739430.4852 | 1219498.5305
54 | 2739083.7811 | 1219354.4761
55 | 2739154.5385 | 1219494.9208
56 | 2739431.8178 | 1219428.5369
57 | 2739445.7896 | 1219504.4094
58 | 2739442.22 | 1219533.6216
59 | 2739094.4563 | 1219332.3691
60 | 2739157.021 | 1219496.9456
61 | 2739444.5842 | 1219538.5157
62 | 2739078.5066 | 1219130.3726
63 | 2739040.9119 | 1218953.1649
64 | 2739319.8959 | 1219174.3925
65 | 2739285.0838 | 1219235.4377
66 | 2739039.531 | 1219314.8734
67 | 2739365.3331 | 1219694.7732
68 | 2739408.4836 | 1219679.3818
69 | 2739441.5592 | 1219667.8102
70 | 2738964.6618 | 1219383.4387
71 | 2739430.9196 | 1219633.6101
72 | 2739451.7988 | 1219625.1028
73 | 2739436.6711 | 1219655.452
74 | 2739455.9446 | 1219633.8183
75 | 2739446.6536 | 1219613.0277
76 | 2739397.222 | 1219659.3559
77 | 2739481.7395 | 1219615.4289
78 | 2739439.1396 | 1219597.3181
79 | 2739364.1653 | 1219672.553
80 | 2739470.185 | 1219591.5105
81 | 2739384.9535 | 1219572.583
82 | 2739352.2875 | 1219677.2627
83 | 2739369.8112 | 1219520.5627
84 | 2739390.4479 | 1219535.2858
85 | 2739391.1368 | 1219532.3162
86 | 2739394.464 | 1219517.9752
87 | 2739395.8285 | 1219512.0938
88 | 2739164.5632 | 1219503.0972
89 | 2739166.2623 | 1219637.6141
90 | 2739078.5156 | 1219580.5058
91 | 2739188.9458 | 1219628.7747
92 | 2739179.8342 | 1219669.9792
93 | 2739203.0376 | 1219623.2834
94 | 2739189.9278 | 1219666.2411
95 | 2739192.5969 | 1219665.2526
96 | 2739236.3638 | 1219646.2893
97 | 2739221.7374 | 1219652.6267
98 | 2739307.235 | 1219611.5788
99 | 2739314.1987 | 1219628.9338
100 | 2739312.0776 | 1219633.9629
101 | 2739207.0128 | 1219659.0065
102 | 2739197.8559 | 1219665.3422
103 | 2739225.4767 | 1219660.0499
104 | 2739200.9236 | 1219676.0229
105 | 2739310.648 | 1219665.8535
106 | 2739310.3962 | 1219665.6064
107 | 2739325.025 | 1219556.9681

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1