## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3295-11_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3295-11_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3295-11_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3295-11_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3295-11_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3295-11_0_4_node_38 | 0.4 | n |  | TRUE
6 | bus_LV_3295-11_0_4_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_3295-11_0_4_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_3295-11_0_4_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_3295-11_0_4_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_3295-11_0_4_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_3295-11_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_3295-11_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_3295-11_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_3295-11_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_3295-11_0_4_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_3295-11_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_3295-11_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_3295-11_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_3295-11_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_3295-11_0_4_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_3295-11_0_4_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_3295-11_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_3295-11_0_4_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_3295-11_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_3295-11_0_4_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_3295-11_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_3295-11_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_3295-11_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_3295-11_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_3295-11_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_3295-11_0_4_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_3295-11_0_4_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_3295-11_0_4_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_3295-11_0_4_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_3295-11_0_4_node_35 | 0.4 | n |  | TRUE
36 | bus_MV_150_0_node_204 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3295-11_0_4_load_0 | 0 | 0.0022433 | 0.00056223 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3295-11_0_4_load_38 | 5 | 0.046511 | 0.011657 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3295-11_0_4_load_31 | 7 | 0.0034452 | 0.00086344 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3295-11_0_4_load_39 | 8 | 0.0068443 | 0.0017153 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3295-11_0_4_load_34 | 9 | 0.0018729 | 0.0004694 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3295-11_0_4_load_5 | 11 | 0.027772 | 0.0069603 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3295-11_0_4_load_11 | 13 | 0.014356 | 0.0035981 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3295-11_0_4_load_15 | 18 | 0.0065452 | 0.0016404 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3295-11_0_4_load_25 | 20 | 0.024209 | 0.0060673 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3295-11_0_4_load_22 | 23 | 0.013575 | 0.0034023 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3295-11_0_4_load_19 | 24 | 0.012945 | 0.0032444 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3295-11_0_4_load_36 | 25 | 0.0086771 | 0.0021747 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3295-11_0_4_load_18 | 29 | 0.0096582 | 0.0024206 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3295-11_0_4_load_26 | 30 | 0.0096533 | 0.0024193 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3295-11_0_4_load_29 | 31 | 0.010472 | 0.0026245 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3295-11_0_4_load_37 | 34 | 0.00012166 | 3.049e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3295-11_0_4_load_35 | 35 | 0.0028576 | 0.00071619 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3295-11_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_3295-11_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.011258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_3295-11_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.10528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_3295-11_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.10431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_3295-11_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.13376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3295-11_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.033786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3295-11_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.022971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_3295-11_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.084106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3295-11_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.041672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3295-11_0_4_line_9 | NAYY 4x150 SE | 7 | 10 | 0.0090077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_3295-11_0_4_line_10 | NAYY 4x150 SE | 10 | 27 | 0.069048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_3295-11_0_4_line_11 | NAYY 4x150 SE | 11 | 12 | 0.020617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3295-11_0_4_line_12 | NAYY 4x150 SE | 12 | 13 | 0.02636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3295-11_0_4_line_13 | NAYY 4x150 SE | 13 | 14 | 0.026599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3295-11_0_4_line_14 | NAYY 4x150 SE | 14 | 15 | 0.040678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3295-11_0_4_line_15 | NAYY 4x150 SE | 15 | 27 | 0.04304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_3295-11_0_4_line_16 | NAYY 4x150 SE | 15 | 23 | 0.028084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_3295-11_0_4_line_17 | NAYY 4x150 SE | 16 | 17 | 0.06478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3295-11_0_4_line_18 | NAYY 4x150 SE | 16 | 18 | 0.044043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3295-11_0_4_line_19 | NAYY 4x150 SE | 17 | 25 | 0.008182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3295-11_0_4_line_20 | NAYY 4x150 SE | 17 | 26 | 0.017057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3295-11_0_4_line_21 | NAYY 4x150 SE | 18 | 28 | 0.014431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3295-11_0_4_line_22 | NAYY 4x150 SE | 19 | 20 | 0.043813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3295-11_0_4_line_23 | NAYY 4x150 SE | 19 | 21 | 0.06636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3295-11_0_4_line_24 | NAYY 4x150 SE | 20 | 29 | 0.0070252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3295-11_0_4_line_25 | NAYY 4x150 SE | 21 | 30 | 0.051074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3295-11_0_4_line_26 | NAYY 4x150 SE | 22 | 23 | 0.014991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_3295-11_0_4_line_27 | NAYY 4x150 SE | 22 | 24 | 0.01017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_3295-11_0_4_line_28 | NAYY 4x150 SE | 24 | 26 | 0.0524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_3295-11_0_4_line_29 | NAYY 4x150 SE | 27 | 35 | 0.007503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3295-11_0_4_line_30 | NAYY 4x150 SE | 28 | 33 | 0.029332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3295-11_0_4_line_31 | NAYY 4x150 SE | 28 | 29 | 0.014177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3295-11_0_4_line_32 | NAYY 4x150 SE | 31 | 32 | 0.0021546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3295-11_0_4_line_33 | NAYY 4x150 SE | 32 | 33 | 0.015364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3295-11_0_4_line_34 | NAYY 4x150 SE | 33 | 34 | 0.018509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3295-11_0_4_trafo_20 | 0.25 MVA 20/0.4 kV | 36 | 26 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2737857.2353 | 1219677.4567 | 2737853.6457 | 1219687.8934
1 | 2737864.4266 | 1219691.1345 | 2737853.6457 | 1219687.8934
2 | 2737857.2353 | 1219677.4567 | 2737840.0876 | 1219671.1546 | 2737834.2111 | 1219669.217 | 2737822.4323 | 1219666.1197 | 2737810.7972 | 1219663.704 | 2737811.3728 | 1219658.8466 | 2737813.5598 | 1219644.7187 | 2737813.5814 | 1219643.129 | 2737813.3853 | 1219641.4342 | 2737812.6382 | 1219637.6359 | 2737812.5289 | 1219635.7985 | 2737812.7653 | 1219632.8015 | 2737813.9048 | 1219624.2429 | 2737815.5382 | 1219615.3399 | 2737816.4223 | 1219612.2355 | 2737817.3681 | 1219610.0778 | 2737818.4398 | 1219608.0565
3 | 2737808.2995 | 1219720.1046 | 2737813.0828 | 1219716.1453 | 2737834.331 | 1219723.3762 | 2737854.2425 | 1219731.288 | 2737863.6383 | 1219734.0189 | 2737869.8337 | 1219713.6674 | 2737864.4266 | 1219691.1345
4 | 2737885.6095 | 1219661.5333 | 2737873.7021 | 1219653.8291 | 2737871.947 | 1219652.2538 | 2737870.4372 | 1219650.573 | 2737867.8111 | 1219646.2864 | 2737865.2536 | 1219639.3659 | 2737864.745 | 1219636.7408 | 2737864.6035 | 1219634.0019 | 2737864.8165 | 1219623.8205 | 2737864.6215 | 1219619.4568 | 2737864.2862 | 1219615.5791 | 2737861.7571 | 1219602.8433 | 2737859.7112 | 1219594.1553 | 2737858.1115 | 1219590.7821 | 2737856.1222 | 1219588.5009 | 2737853.1403 | 1219586.4635 | 2737850.5635 | 1219585.2918 | 2737846.7341 | 1219584.4469 | 2737843.3549 | 1219584.1574 | 2737839.898 | 1219584.6 | 2737836.1155 | 1219585.9914 | 2737832.5035 | 1219587.8872 | 2737830.1073 | 1219589.7333 | 2737827.6911 | 1219592.4463 | 2737818.4398 | 1219608.0565
5 | 2737808.2995 | 1219720.1046 | 2737806.0539 | 1219718.7293 | 2737803.543 | 1219717.3367 | 2737799.8199 | 1219715.8382 | 2737776.7964 | 1219707.8991
6 | 2737808.2995 | 1219720.1046 | 2737811.9481 | 1219722.858 | 2737815.7133 | 1219726.4703 | 2737820.1576 | 1219731.5774 | 2737823.1871 | 1219735.8177 | 2737823.8914 | 1219736.7902
7 | 2737885.6095 | 1219661.5333 | 2737968.9174 | 1219673.094
8 | 2737768.1047 | 1219748.5432 | 2737773.5513 | 1219728.3856 | 2737776.3442 | 1219714.9723 | 2737776.7964 | 1219707.8991
9 | 2737829.1751 | 1219744.0854 | 2737823.8914 | 1219736.7902
10 | 2737829.1751 | 1219744.0854 | 2737830.4622 | 1219755.3802 | 2737838.6454 | 1219791.1328 | 2737838.1821 | 1219795.4034 | 2737836.5298 | 1219799.224 | 2737834.6237 | 1219800.8924 | 2737825.5221 | 1219805.1298
11 | 2737890.0241 | 1219876.9938 | 2737891.937 | 1219888.1363 | 2737893.5382 | 1219897.3094
12 | 2737890.0241 | 1219876.9938 | 2737880.3781 | 1219874.9132 | 2737873.4196 | 1219874.7965 | 2737865.3355 | 1219876.7332 | 2737864.1939 | 1219877.162
13 | 2737838.9085 | 1219885.3289 | 2737852.0873 | 1219881.7086 | 2737864.1939 | 1219877.162
14 | 2737834.6222 | 1219844.8847 | 2737835.9267 | 1219858.7043 | 2737838.9085 | 1219885.3289
15 | 2737825.5221 | 1219805.1298 | 2737823.21 | 1219807.6117 | 2737822.6819 | 1219811.4027 | 2737823.0997 | 1219815.3267 | 2737830.5623 | 1219830.0673 | 2737834.6222 | 1219844.8847
16 | 2737834.6222 | 1219844.8847 | 2737854.5072 | 1219838.5173 | 2737861.5867 | 1219837.1837
17 | 2737919.8651 | 1219840.3205 | 2737919.8228 | 1219847.0585 | 2737919.3514 | 1219857.9011 | 2737922.3814 | 1219875.2191 | 2737923.0554 | 1219878.8933 | 2737927.9171 | 1219904.305
18 | 2737927.9171 | 1219904.305 | 2737948.6881 | 1219900.6495 | 2737954.3019 | 1219899.5008 | 2737971.2654 | 1219896.5231
19 | 2737911.7291 | 1219839.2535 | 2737919.8651 | 1219840.3205
20 | 2737926.2028 | 1219824.643 | 2737923.8974 | 1219827.8145 | 2737919.8651 | 1219840.3205
21 | 2737985.5782 | 1219894.9102 | 2737978.3656 | 1219895.2768 | 2737971.2654 | 1219896.5231
22 | 2737978.1206 | 1219959.2247 | 2737980.9893 | 1219948.4488 | 2737982.4538 | 1219942.2553 | 2737984.6821 | 1219924.7256 | 2737984.9412 | 1219916.1027
23 | 2737978.1206 | 1219959.2247 | 2737995.5968 | 1219967.3586 | 2738002.7331 | 1219968.3136 | 2738010.5141 | 1219966.3477 | 2738027.9242 | 1219965.8729 | 2738042.3498 | 1219963.483
24 | 2737984.9412 | 1219916.1027 | 2737985.1523 | 1219909.0807
25 | 2738042.3498 | 1219963.483 | 2738041.8352 | 1219960.4685 | 2738042.1102 | 1219956.1379 | 2738043.6911 | 1219949.836 | 2738045.554 | 1219945.4532 | 2738046.7409 | 1219942.3893 | 2738047.0974 | 1219939.7842 | 2738046.6316 | 1219937.2825 | 2738042.6487 | 1219930.629 | 2738038.0308 | 1219920.9139 | 2738036.409 | 1219915.715
26 | 2737876.4695 | 1219835.5453 | 2737865.967 | 1219836.3585 | 2737861.5867 | 1219837.1837
27 | 2737876.4695 | 1219835.5453 | 2737875.9113 | 1219833.7531 | 2737877.6874 | 1219827.211 | 2737878.5195 | 1219825.9464
28 | 2737926.2028 | 1219824.643 | 2737906.7742 | 1219818.5103 | 2737895.2264 | 1219816.2744 | 2737885.8907 | 1219818.4935 | 2737881.2912 | 1219821.7342 | 2737878.5195 | 1219825.9464
29 | 2737825.5221 | 1219805.1298 | 2737823.2354 | 1219804.8767 | 2737821.8782 | 1219804.4783 | 2737820.1723 | 1219803.7271 | 2737818.5812 | 1219802.6115
30 | 2737985.5782 | 1219894.9102 | 2737983.1521 | 1219882.3324 | 2737981.0728 | 1219872.4759 | 2737978.9748 | 1219866.3778
31 | 2737985.5782 | 1219894.9102 | 2737985.1523 | 1219909.0807
32 | 2737973.9672 | 1219851.8496 | 2737973.2659 | 1219849.8123
33 | 2737978.9748 | 1219866.3778 | 2737973.9672 | 1219851.8496
34 | 2737978.9748 | 1219866.3778 | 2737982.0043 | 1219865.3693 | 2737997.3652 | 1219865.87

## bus_geodata
| x | y | coords
0 | 2737853.6457 | 1219687.8934
1 | 2737857.2353 | 1219677.4567
2 | 2737864.4266 | 1219691.1345
3 | 2737818.4398 | 1219608.0565
4 | 2737808.2995 | 1219720.1046
5 | 2737885.6095 | 1219661.5333
6 | 2737776.7964 | 1219707.8991
7 | 2737823.8914 | 1219736.7902
8 | 2737968.9174 | 1219673.094
9 | 2737768.1047 | 1219748.5432
10 | 2737829.1751 | 1219744.0854
11 | 2737893.5382 | 1219897.3094
12 | 2737890.024 | 1219876.9938
13 | 2737864.1939 | 1219877.162
14 | 2737838.9085 | 1219885.3289
15 | 2737834.6222 | 1219844.8847
16 | 2737927.9171 | 1219904.305
17 | 2737919.8651 | 1219840.3205
18 | 2737971.2654 | 1219896.5231
19 | 2737978.1206 | 1219959.2247
20 | 2737984.9412 | 1219916.1027
21 | 2738042.3498 | 1219963.483
22 | 2737876.4695 | 1219835.5453
23 | 2737861.5867 | 1219837.1836
24 | 2737878.5195 | 1219825.9464
25 | 2737911.7291 | 1219839.2535
26 | 2737926.2028 | 1219824.643
27 | 2737825.5221 | 1219805.1298
28 | 2737985.5782 | 1219894.9102
29 | 2737985.1523 | 1219909.0807
30 | 2738036.409 | 1219915.715
31 | 2737973.2659 | 1219849.8123
32 | 2737973.9672 | 1219851.8496
33 | 2737978.9748 | 1219866.3778
34 | 2737997.3652 | 1219865.87
35 | 2737818.5812 | 1219802.6115
36 | 2737919.8651 | 1219840.3205

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1