## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3295-12_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3295-12_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3295-12_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3295-12_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3295-12_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3295-12_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3295-12_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_3295-12_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3295-12_0_3_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_3295-12_0_3_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_3295-12_0_3_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_3295-12_0_3_node_59 | 0.4 | n |  | TRUE
12 | bus_LV_3295-12_0_3_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_3295-12_0_3_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_3295-12_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_3295-12_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_3295-12_0_3_node_52 | 0.4 | n |  | TRUE
17 | bus_LV_3295-12_0_3_node_51 | 0.4 | n |  | TRUE
18 | bus_LV_3295-12_0_3_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_3295-12_0_3_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_3295-12_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_3295-12_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_3295-12_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_3295-12_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_3295-12_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_3295-12_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_3295-12_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_3295-12_0_3_node_56 | 0.4 | n |  | TRUE
28 | bus_LV_3295-12_0_3_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_3295-12_0_3_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_3295-12_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_3295-12_0_3_node_60 | 0.4 | n |  | TRUE
32 | bus_LV_3295-12_0_3_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_3295-12_0_3_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_3295-12_0_3_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_3295-12_0_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_3295-12_0_3_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_3295-12_0_3_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_3295-12_0_3_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_3295-12_0_3_node_53 | 0.4 | n |  | TRUE
40 | bus_LV_3295-12_0_3_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_3295-12_0_3_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_3295-12_0_3_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_3295-12_0_3_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_3295-12_0_3_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_3295-12_0_3_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_3295-12_0_3_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_3295-12_0_3_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_3295-12_0_3_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_3295-12_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_3295-12_0_3_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_3295-12_0_3_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_3295-12_0_3_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_3295-12_0_3_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_3295-12_0_3_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_3295-12_0_3_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_3295-12_0_3_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_3295-12_0_3_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_3295-12_0_3_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_3295-12_0_3_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_3295-12_0_3_node_58 | 0.4 | n |  | TRUE
61 | bus_MV_150_0_node_88 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3295-12_0_3_load_0 | 0 | 0.010816 | 0.0027108 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3295-12_0_3_load_3 | 3 | 0.0076134 | 0.0019081 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3295-12_0_3_load_4 | 4 | 0.036477 | 0.009142 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3295-12_0_3_load_9 | 6 | 0.013971 | 0.0035015 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3295-12_0_3_load_7 | 7 | 0.010186 | 0.0025529 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3295-12_0_3_load_30 | 8 | 0.00068864 | 0.00017259 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3295-12_0_3_load_28 | 10 | 0.00020853 | 5.2263e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3295-12_0_3_load_59 | 11 | 0.022954 | 0.0057528 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3295-12_0_3_load_19 | 12 | 0.021412 | 0.0053664 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3295-12_0_3_load_24 | 13 | 0.0074821 | 0.0018752 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3295-12_0_3_load_8 | 14 | 0.010184 | 0.0025523 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3295-12_0_3_load_10 | 15 | 0.023874 | 0.0059833 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3295-12_0_3_load_52 | 16 | 0.00070506 | 0.00017671 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3295-12_0_3_load_51 | 17 | 0.0001552 | 3.8897e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3295-12_0_3_load_20 | 18 | 0.023307 | 0.0058414 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3295-12_0_3_load_11 | 20 | 0.00023634 | 5.9232e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3295-12_0_3_load_14 | 23 | 0.00030749 | 7.7064e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3295-12_0_3_load_16 | 24 | 0.0001691 | 4.2382e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3295-12_0_3_load_17 | 25 | 0.00014525 | 3.6403e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3295-12_0_3_load_56 | 27 | 0.00032554 | 8.1587e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3295-12_0_3_load_55 | 29 | 0.00015757 | 3.9492e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3295-12_0_3_load_60 | 31 | 0.0002592 | 6.4961e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3295-12_0_3_load_39 | 33 | 0.00027947 | 7.0041e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3295-12_0_3_load_35 | 34 | 0.00022316 | 5.593e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3295-12_0_3_load_22 | 35 | 0.0025375 | 0.00063595 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3295-12_0_3_load_23 | 36 | 0.00087411 | 0.00021907 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3295-12_0_3_load_47 | 37 | 0.00081759 | 0.00020491 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3295-12_0_3_load_46 | 38 | 0.00077623 | 0.00019454 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3295-12_0_3_load_54 | 40 | 0.00012113 | 3.0359e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3295-12_0_3_load_26 | 41 | 0.00022195 | 5.5626e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3295-12_0_3_load_27 | 42 | 0.00013414 | 3.3619e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3295-12_0_3_load_29 | 43 | 0.00016337 | 4.0945e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3295-12_0_3_load_32 | 44 | 0.00022307 | 5.5906e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3295-12_0_3_load_31 | 45 | 0.00010791 | 2.7045e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3295-12_0_3_load_33 | 46 | 0.00010495 | 2.6302e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3295-12_0_3_load_34 | 47 | 0.00013976 | 3.5028e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3295-12_0_3_load_40 | 48 | 0.00016607 | 4.162e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3295-12_0_3_load_38 | 51 | 0.0002297 | 5.7569e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3295-12_0_3_load_61 | 52 | 0.0011025 | 0.00027631 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3295-12_0_3_load_48 | 54 | 0.00013942 | 3.4942e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3295-12_0_3_load_42 | 55 | 0.00018967 | 4.7536e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3295-12_0_3_load_49 | 56 | 0.00017915 | 4.49e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3295-12_0_3_load_43 | 57 | 0.00027597 | 6.9165e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3295-12_0_3_load_45 | 58 | 0.012121 | 0.0030377 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3295-12_0_3_load_50 | 59 | 0.00014436 | 3.6179e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3295-12_0_3_load_58 | 60 | 0.00020167 | 5.0543e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3295-12_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.021455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3295-12_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.051104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3295-12_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.012276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3295-12_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.02137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3295-12_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.001841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3295-12_0_3_line_5 | NAYY 4x150 SE | 3 | 11 | 0.0064228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3295-12_0_3_line_6 | NAYY 4x150 SE | 4 | 6 | 0.098094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3295-12_0_3_line_7 | NAYY 4x150 SE | 5 | 12 | 0.084961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3295-12_0_3_line_8 | NAYY 4x150 SE | 6 | 7 | 0.00048548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_3295-12_0_3_line_9 | NAYY 4x150 SE | 7 | 14 | 0.011723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3295-12_0_3_line_10 | NAYY 4x150 SE | 8 | 9 | 0.1068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3295-12_0_3_line_11 | NAYY 4x150 SE | 8 | 10 | 0.092974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3295-12_0_3_line_12 | NAYY 4x150 SE | 9 | 13 | 0.10141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3295-12_0_3_line_13 | NAYY 4x150 SE | 10 | 41 | 0.020164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3295-12_0_3_line_14 | NAYY 4x150 SE | 13 | 35 | 0.03594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3295-12_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.0064696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3295-12_0_3_line_16 | NAYY 4x150 SE | 15 | 18 | 0.012565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3295-12_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.048166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3295-12_0_3_line_18 | NAYY 4x150 SE | 17 | 39 | 0.0076803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3295-12_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.023617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3295-12_0_3_line_20 | NAYY 4x150 SE | 19 | 35 | 0.043513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3295-12_0_3_line_21 | NAYY 4x150 SE | 19 | 36 | 0.025048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3295-12_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.0075445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3295-12_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.017274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3295-12_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.17882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3295-12_0_3_line_25 | NAYY 4x150 SE | 22 | 26 | 0.026386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3295-12_0_3_line_26 | NAYY 4x150 SE | 23 | 27 | 0.30468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3295-12_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.046382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3295-12_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.25104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3295-12_0_3_line_29 | NAYY 4x150 SE | 25 | 30 | 0.12119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3295-12_0_3_line_30 | NAYY 4x150 SE | 27 | 28 | 0.022482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3295-12_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.081431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3295-12_0_3_line_32 | NAYY 4x150 SE | 28 | 60 | 0.14483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3295-12_0_3_line_33 | NAYY 4x150 SE | 29 | 55 | 0.060162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3295-12_0_3_line_34 | NAYY 4x150 SE | 30 | 31 | 0.051875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3295-12_0_3_line_35 | NAYY 4x150 SE | 30 | 32 | 0.017611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3295-12_0_3_line_36 | NAYY 4x150 SE | 32 | 33 | 0.096272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3295-12_0_3_line_37 | NAYY 4x150 SE | 32 | 34 | 0.07244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3295-12_0_3_line_38 | NAYY 4x150 SE | 34 | 50 | 0.062658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3295-12_0_3_line_39 | NAYY 4x150 SE | 36 | 37 | 0.0043459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3295-12_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.0075835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3295-12_0_3_line_41 | NAYY 4x150 SE | 38 | 58 | 0.024278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3295-12_0_3_line_42 | NAYY 4x150 SE | 39 | 40 | 0.019325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3295-12_0_3_line_43 | NAYY 4x150 SE | 40 | 59 | 0.022685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3295-12_0_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.0022727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3295-12_0_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.016062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3295-12_0_3_line_46 | NAYY 4x150 SE | 43 | 44 | 0.024847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3295-12_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.035111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3295-12_0_3_line_48 | NAYY 4x150 SE | 45 | 46 | 0.01555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3295-12_0_3_line_49 | NAYY 4x150 SE | 46 | 47 | 0.006819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3295-12_0_3_line_50 | NAYY 4x150 SE | 47 | 48 | 0.019788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3295-12_0_3_line_51 | NAYY 4x150 SE | 48 | 49 | 0.024012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3295-12_0_3_line_52 | NAYY 4x150 SE | 49 | 53 | 0.030481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3295-12_0_3_line_53 | NAYY 4x150 SE | 49 | 54 | 0.0072415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3295-12_0_3_line_54 | NAYY 4x150 SE | 50 | 51 | 0.14247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3295-12_0_3_line_55 | NAYY 4x150 SE | 51 | 52 | 0.013424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3295-12_0_3_line_56 | NAYY 4x150 SE | 53 | 55 | 0.027336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3295-12_0_3_line_57 | NAYY 4x150 SE | 54 | 56 | 0.011331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3295-12_0_3_line_58 | NAYY 4x150 SE | 55 | 57 | 0.014807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3295-12_0_3_line_59 | NAYY 4x150 SE | 56 | 59 | 0.017741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3295-12_0_3_trafo_7 | 0.25 MVA 20/0.4 kV | 61 | 7 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2740086.544 | 1217513.1129 | 2740069.1639 | 1217512.6373 | 2740065.2202 | 1217511.6379
1 | 2740015.6835 | 1217499.0803 | 2740017.0725 | 1217499.4355 | 2740065.2202 | 1217511.6379
2 | 2740086.544 | 1217513.1129 | 2740091.2646 | 1217524.4454
3 | 2740105.7893 | 1217503.713 | 2740086.544 | 1217513.1129
4 | 2740013.8942 | 1217498.6268 | 2740015.6835 | 1217499.0803
5 | 2740091.2646 | 1217524.4454 | 2740093.7343 | 1217530.3744
6 | 2740189.6033 | 1217554.6791 | 2740105.7893 | 1217503.713
7 | 2740013.8942 | 1217498.6268 | 2740015.6461 | 1217508.7431 | 2740021.0274 | 1217516.6317 | 2740028.6325 | 1217525.2177 | 2740039.537 | 1217530.7563 | 2740048.6405 | 1217537.6316 | 2740052.8103 | 1217550.2068 | 2740037.8679 | 1217557.8591
8 | 2740189.6033 | 1217554.6791 | 2740189.7129 | 1217555.1521
9 | 2740189.7129 | 1217555.1521 | 2740192.3603 | 1217566.5723
10 | 2740045.7314 | 1217765.2881 | 2740067.6917 | 1217660.7718
11 | 2740045.7314 | 1217765.2881 | 2740089.404 | 1217757.597 | 2740097.415 | 1217765.3808 | 2740093.5435 | 1217775.6429 | 2740071.6271 | 1217790.5254
12 | 2740067.6917 | 1217660.7718 | 2740120.9524 | 1217651.6496 | 2740137.4629 | 1217648.4017 | 2740167.4333 | 1217642.5129
13 | 2740055.3219 | 1217802.3295 | 2740058.4371 | 1217799.4822 | 2740071.6271 | 1217790.5254
14 | 2740201.5902 | 1217633.7572 | 2740193.1506 | 1217639.1037 | 2740170.5677 | 1217641.897 | 2740167.4333 | 1217642.5129
15 | 2740192.3603 | 1217566.5723 | 2740193.8214 | 1217572.8748 | 2740193.8214 | 1217572.8748
16 | 2740201.3354 | 1217582.9458 | 2740193.8214 | 1217572.8748
17 | 2740269.0662 | 1217761.8045 | 2740228.9439 | 1217783.1894 | 2740226.2435 | 1217783.1837
18 | 2740218.5632 | 1217783.1673 | 2740226.2435 | 1217783.1837
19 | 2740215.4584 | 1217601.8749 | 2740201.3354 | 1217582.9458
20 | 2740215.4584 | 1217601.8749 | 2740221.2125 | 1217621.3267 | 2740201.5902 | 1217633.7572
21 | 2740215.4584 | 1217601.8749 | 2740226.0472 | 1217615.3243 | 2740230.0341 | 1217617.2642 | 2740233.4873 | 1217616.7116
22 | 2739888.1207 | 1218297.3786 | 2739880.6231 | 1218298.2174
23 | 2739888.1207 | 1218297.3786 | 2739905.2608 | 1218299.8943
24 | 2739888.1207 | 1218297.3786 | 2739906.453 | 1218119.4987
25 | 2739905.2608 | 1218299.8943 | 2739914.7049 | 1218298.6928 | 2739925.6572 | 1218297.2932 | 2739931.4679 | 1218296.896
26 | 2740172.6276 | 1217971.2444 | 2739906.453 | 1218119.4987
27 | 2740222.6389 | 1218330.1244 | 2740188.8948 | 1218342.3296 | 2740178.3984 | 1218342.119
28 | 2740178.3984 | 1218342.119 | 2739931.4679 | 1218296.896
29 | 2740327.4084 | 1218272.6534 | 2740311.1457 | 1218280.2768 | 2740257.9831 | 1218316.0777 | 2740238.4094 | 1218318.886 | 2740222.6389 | 1218330.1244
30 | 2740188.5148 | 1217979.8483 | 2740184.1115 | 1217970.4479 | 2740178.466 | 1217968.9694 | 2740172.6276 | 1217971.2444
31 | 2740136.8874 | 1217898.0762 | 2740172.6276 | 1217971.2444
32 | 2740188.5148 | 1217979.8483 | 2740228.8364 | 1217972.1906 | 2740265.8984 | 1217968.1594 | 2740289.0867 | 1217972.8203 | 2740304.4725 | 1217972.7937 | 2740326.8811 | 1217964.4587 | 2740330.4419 | 1217964.5689
33 | 2740151.7321 | 1217839.774 | 2740136.8874 | 1217898.0762
34 | 2740300.7527 | 1218316.585 | 2740310.2512 | 1218294.0674 | 2740318.8739 | 1218282.2938 | 2740327.4084 | 1218272.6534
35 | 2740343.3946 | 1218265.168 | 2740327.4084 | 1218272.6534
36 | 2740343.3946 | 1218265.168 | 2740327.1986 | 1218257.7136 | 2740307.1561 | 1218252.3705 | 2740285.3701 | 1218252.0572 | 2740268.3048 | 1218250.2318 | 2740250.1036 | 1218244.732
37 | 2740343.3946 | 1218265.168 | 2740372.4265 | 1218251.5625 | 2740406.2315 | 1218241.317 | 2740409.8001 | 1218237.7379
38 | 2740428.6377 | 1218179.604 | 2740418.0611 | 1218229.4524 | 2740409.8001 | 1218237.7379
39 | 2740235.8141 | 1217613.0411 | 2740233.4873 | 1217616.7116 | 2740233.4873 | 1217616.7116
40 | 2740233.6156 | 1217605.7832 | 2740235.8141 | 1217613.0411 | 2740235.8141 | 1217613.0411
41 | 2740226.3761 | 1217583.3867 | 2740225.7342 | 1217589.9177 | 2740233.6156 | 1217605.7832 | 2740233.6156 | 1217605.7832
42 | 2740218.5632 | 1217783.1673 | 2740206.4714 | 1217791.9569 | 2740202.9317 | 1217794.5307
43 | 2740182.7053 | 1217804.2664 | 2740195.7163 | 1217799.7771 | 2740202.9317 | 1217794.5307
44 | 2740055.3219 | 1217802.3295 | 2740053.6443 | 1217803.8628
45 | 2740053.6443 | 1217803.8628 | 2740041.7883 | 1217814.6991
46 | 2740047.6173 | 1217824.415 | 2740037.5112 | 1217826.1351 | 2740035.4492 | 1217820.493 | 2740041.7883 | 1217814.6991
47 | 2740082.2655 | 1217818.855 | 2740079.6447 | 1217818.9637 | 2740047.6173 | 1217824.415
48 | 2740082.2655 | 1217818.855 | 2740097.8021 | 1217818.2101
49 | 2740104.6152 | 1217817.9272 | 2740097.8021 | 1217818.2101
50 | 2740104.6152 | 1217817.9272 | 2740124.386 | 1217817.1066
51 | 2740148.3775 | 1217816.1107 | 2740124.386 | 1217817.1066
52 | 2740148.3775 | 1217816.1107 | 2740125.381 | 1217836.1868
53 | 2740148.3775 | 1217816.1107 | 2740155.223 | 1217813.7488
54 | 2740428.6377 | 1218179.604 | 2740407.4058 | 1218174.4549 | 2740396.2738 | 1218171.5457 | 2740370.8175 | 1218155.2211 | 2740363.8758 | 1218154.9463 | 2740355.3905 | 1218156.3698 | 2740346.8161 | 1218161.2497 | 2740327.6536 | 1218170.7509 | 2740310.4446 | 1218175.0159 | 2740296.1673 | 1218173.6283
55 | 2740282.8064 | 1218172.3296 | 2740296.1673 | 1218173.6283
56 | 2740125.381 | 1217836.1868 | 2740139.2045 | 1217841.2495 | 2740151.7321 | 1217839.774
57 | 2740155.223 | 1217813.7488 | 2740165.9342 | 1217810.053
58 | 2740151.7321 | 1217839.774 | 2740166.4378 | 1217838.0419
59 | 2740182.7053 | 1217804.2664 | 2740165.9342 | 1217810.053

## bus_geodata
| x | y | coords
0 | 2740065.2202 | 1217511.6379
1 | 2740086.544 | 1217513.1129
2 | 2740015.6835 | 1217499.0803
3 | 2740091.2646 | 1217524.4454
4 | 2740105.7893 | 1217503.713
5 | 2740013.8942 | 1217498.6268
6 | 2740189.6033 | 1217554.6791
7 | 2740189.7129 | 1217555.1521
8 | 2740045.7314 | 1217765.2881
9 | 2740067.6917 | 1217660.7718
10 | 2740071.6271 | 1217790.5254
11 | 2740093.7343 | 1217530.3744
12 | 2740037.8679 | 1217557.8591
13 | 2740167.4333 | 1217642.5129
14 | 2740192.3603 | 1217566.5723
15 | 2740193.8214 | 1217572.8748
16 | 2740269.0662 | 1217761.8045
17 | 2740226.2435 | 1217783.1836
18 | 2740201.3354 | 1217582.9458
19 | 2740215.4584 | 1217601.8749
20 | 2739880.6231 | 1218298.2174
21 | 2739888.1207 | 1218297.3786
22 | 2739905.2608 | 1218299.8943
23 | 2739906.453 | 1218119.4987
24 | 2740178.3984 | 1218342.119
25 | 2740222.6389 | 1218330.1244
26 | 2739931.4679 | 1218296.896
27 | 2740172.6276 | 1217971.2444
28 | 2740188.5148 | 1217979.8483
29 | 2740136.8874 | 1217898.0762
30 | 2740327.4084 | 1218272.6534
31 | 2740300.7527 | 1218316.585
32 | 2740343.3946 | 1218265.168
33 | 2740250.1036 | 1218244.732
34 | 2740409.8001 | 1218237.7379
35 | 2740201.5902 | 1217633.7572
36 | 2740233.4873 | 1217616.7116
37 | 2740235.8141 | 1217613.0411
38 | 2740233.6156 | 1217605.7832
39 | 2740218.5632 | 1217783.1673
40 | 2740202.9317 | 1217794.5307
41 | 2740055.3219 | 1217802.3295
42 | 2740053.6443 | 1217803.8628
43 | 2740041.7883 | 1217814.6991
44 | 2740047.6173 | 1217824.415
45 | 2740082.2655 | 1217818.855
46 | 2740097.8021 | 1217818.2101
47 | 2740104.6152 | 1217817.9272
48 | 2740124.386 | 1217817.1066
49 | 2740148.3775 | 1217816.1107
50 | 2740428.6377 | 1218179.604
51 | 2740296.1673 | 1218173.6283
52 | 2740282.8064 | 1218172.3296
53 | 2740125.381 | 1217836.1868
54 | 2740155.223 | 1217813.7488
55 | 2740151.7321 | 1217839.774
56 | 2740165.9342 | 1217810.053
57 | 2740166.4378 | 1217838.0419
58 | 2740226.376 | 1217583.3867
59 | 2740182.7053 | 1217804.2664
60 | 2740330.4419 | 1217964.5689
61 | 2740215.4584 | 1217601.8749

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1