## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3295-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3295-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3295-2_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3295-2_0_3_node_69 | 0.4 | n |  | TRUE
4 | bus_LV_3295-2_0_3_node_153 | 0.4 | n |  | TRUE
5 | bus_LV_3295-2_0_3_node_113 | 0.4 | n |  | TRUE
6 | bus_LV_3295-2_0_3_node_216 | 0.4 | n |  | TRUE
7 | bus_LV_3295-2_0_3_node_197 | 0.4 | n |  | TRUE
8 | bus_LV_3295-2_0_3_node_196 | 0.4 | n |  | TRUE
9 | bus_LV_3295-2_0_3_node_101 | 0.4 | n |  | TRUE
10 | bus_LV_3295-2_0_3_node_107 | 0.4 | n |  | TRUE
11 | bus_LV_3295-2_0_3_node_70 | 0.4 | n |  | TRUE
12 | bus_LV_3295-2_0_3_node_72 | 0.4 | n |  | TRUE
13 | bus_LV_3295-2_0_3_node_71 | 0.4 | n |  | TRUE
14 | bus_LV_3295-2_0_3_node_74 | 0.4 | n |  | TRUE
15 | bus_LV_3295-2_0_3_node_73 | 0.4 | n |  | TRUE
16 | bus_LV_3295-2_0_3_node_75 | 0.4 | n |  | TRUE
17 | bus_LV_3295-2_0_3_node_87 | 0.4 | n |  | TRUE
18 | bus_LV_3295-2_0_3_node_76 | 0.4 | n |  | TRUE
19 | bus_LV_3295-2_0_3_node_77 | 0.4 | n |  | TRUE
20 | bus_LV_3295-2_0_3_node_78 | 0.4 | n |  | TRUE
21 | bus_LV_3295-2_0_3_node_85 | 0.4 | n |  | TRUE
22 | bus_LV_3295-2_0_3_node_79 | 0.4 | n |  | TRUE
23 | bus_LV_3295-2_0_3_node_80 | 0.4 | n |  | TRUE
24 | bus_LV_3295-2_0_3_node_81 | 0.4 | n |  | TRUE
25 | bus_LV_3295-2_0_3_node_82 | 0.4 | n |  | TRUE
26 | bus_LV_3295-2_0_3_node_84 | 0.4 | n |  | TRUE
27 | bus_LV_3295-2_0_3_node_86 | 0.4 | n |  | TRUE
28 | bus_LV_3295-2_0_3_node_89 | 0.4 | n |  | TRUE
29 | bus_LV_3295-2_0_3_node_100 | 0.4 | n |  | TRUE
30 | bus_LV_3295-2_0_3_node_202 | 0.4 | n |  | TRUE
31 | bus_LV_3295-2_0_3_node_98 | 0.4 | n |  | TRUE
32 | bus_LV_3295-2_0_3_node_88 | 0.4 | n |  | TRUE
33 | bus_LV_3295-2_0_3_node_90 | 0.4 | n |  | TRUE
34 | bus_LV_3295-2_0_3_node_91 | 0.4 | n |  | TRUE
35 | bus_LV_3295-2_0_3_node_92 | 0.4 | n |  | TRUE
36 | bus_LV_3295-2_0_3_node_93 | 0.4 | n |  | TRUE
37 | bus_LV_3295-2_0_3_node_94 | 0.4 | n |  | TRUE
38 | bus_LV_3295-2_0_3_node_95 | 0.4 | n |  | TRUE
39 | bus_LV_3295-2_0_3_node_96 | 0.4 | n |  | TRUE
40 | bus_LV_3295-2_0_3_node_97 | 0.4 | n |  | TRUE
41 | bus_LV_3295-2_0_3_node_198 | 0.4 | n |  | TRUE
42 | bus_LV_3295-2_0_3_node_99 | 0.4 | n |  | TRUE
43 | bus_LV_3295-2_0_3_node_102 | 0.4 | n |  | TRUE
44 | bus_LV_3295-2_0_3_node_103 | 0.4 | n |  | TRUE
45 | bus_LV_3295-2_0_3_node_104 | 0.4 | n |  | TRUE
46 | bus_LV_3295-2_0_3_node_105 | 0.4 | n |  | TRUE
47 | bus_LV_3295-2_0_3_node_106 | 0.4 | n |  | TRUE
48 | bus_LV_3295-2_0_3_node_108 | 0.4 | n |  | TRUE
49 | bus_LV_3295-2_0_3_node_114 | 0.4 | n |  | TRUE
50 | bus_LV_3295-2_0_3_node_109 | 0.4 | n |  | TRUE
51 | bus_LV_3295-2_0_3_node_110 | 0.4 | n |  | TRUE
52 | bus_LV_3295-2_0_3_node_111 | 0.4 | n |  | TRUE
53 | bus_LV_3295-2_0_3_node_112 | 0.4 | n |  | TRUE
54 | bus_LV_3295-2_0_3_node_218 | 0.4 | n |  | TRUE
55 | bus_LV_3295-2_0_3_node_115 | 0.4 | n |  | TRUE
56 | bus_MV_150_0_node_190 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3295-2_0_3_load_0 | 0 | 0.003787 | 0.00094911 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3295-2_0_3_load_3 | 2 | 0.0025583 | 0.00064117 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3295-2_0_3_load_153 | 4 | 0.0027401 | 0.00068673 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3295-2_0_3_load_216 | 6 | 0.0037532 | 0.00094064 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3295-2_0_3_load_197 | 7 | 0.0019431 | 0.00048699 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3295-2_0_3_load_101 | 9 | 0.0010405 | 0.00026078 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3295-2_0_3_load_107 | 10 | 0.0011969 | 0.00029996 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3295-2_0_3_load_70 | 11 | 0.0099944 | 0.0025048 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3295-2_0_3_load_72 | 12 | 0.0026069 | 0.00065335 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3295-2_0_3_load_71 | 13 | 0.0011302 | 0.00028326 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3295-2_0_3_load_87 | 17 | 0.0085241 | 0.0021363 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3295-2_0_3_load_76 | 18 | 0.02433 | 0.0060976 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3295-2_0_3_load_77 | 19 | 0.011291 | 0.0028299 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3295-2_0_3_load_79 | 22 | 0.0034391 | 0.00086191 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3295-2_0_3_load_80 | 23 | 0.00080912 | 0.00020278 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3295-2_0_3_load_89 | 28 | 0.0012585 | 0.00031541 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3295-2_0_3_load_100 | 29 | 0.0025937 | 0.00065004 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3295-2_0_3_load_202 | 30 | 0.0020996 | 0.00052621 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3295-2_0_3_load_98 | 31 | 0.0038826 | 0.00097307 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3295-2_0_3_load_88 | 32 | 0.0043797 | 0.0010976 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3295-2_0_3_load_90 | 33 | 0.0011451 | 0.00028698 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3295-2_0_3_load_91 | 34 | 0.0008682 | 0.00021759 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3295-2_0_3_load_92 | 35 | 0.00086819 | 0.00021759 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3295-2_0_3_load_93 | 36 | 0.0011569 | 0.00028996 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3295-2_0_3_load_94 | 37 | 0.0012565 | 0.0003149 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3295-2_0_3_load_95 | 38 | 0.0010803 | 0.00027074 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3295-2_0_3_load_96 | 39 | 0.0032474 | 0.00081387 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3295-2_0_3_load_97 | 40 | 0.0011271 | 0.00028247 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3295-2_0_3_load_198 | 41 | 0.0020445 | 0.00051241 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3295-2_0_3_load_99 | 42 | 0.0039024 | 0.00097803 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3295-2_0_3_load_102 | 43 | 0.00096276 | 0.00024129 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3295-2_0_3_load_103 | 44 | 0.00085471 | 0.00021421 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3295-2_0_3_load_104 | 45 | 0.0010541 | 0.00026417 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3295-2_0_3_load_105 | 46 | 0.0012583 | 0.00031535 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3295-2_0_3_load_106 | 47 | 0.00087166 | 0.00021846 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3295-2_0_3_load_108 | 48 | 0.0012588 | 0.00031549 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3295-2_0_3_load_114 | 49 | 0.0019672 | 0.00049302 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3295-2_0_3_load_109 | 50 | 0.0011196 | 0.00028061 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3295-2_0_3_load_110 | 51 | 0.0016976 | 0.00042545 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3295-2_0_3_load_111 | 52 | 0.00097586 | 0.00024457 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3295-2_0_3_load_218 | 54 | 0.00079325 | 0.00019881 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3295-2_0_3_load_115 | 55 | 0.0022671 | 0.00056818 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3295-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.032087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3295-2_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.024161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3295-2_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.027305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3295-2_0_3_line_3 | NAYY 4x150 SE | 3 | 11 | 0.03284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3295-2_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.014739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3295-2_0_3_line_5 | NAYY 4x150 SE | 5 | 54 | 0.56692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3295-2_0_3_line_6 | NAYY 4x150 SE | 5 | 53 | 0.095923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3295-2_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.01784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3295-2_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.019399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3295-2_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.015024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3295-2_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.010505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3295-2_0_3_line_11 | NAYY 4x150 SE | 9 | 27 | 0.046336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3295-2_0_3_line_12 | NAYY 4x150 SE | 10 | 36 | 0.004213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3295-2_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.0027247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3295-2_0_3_line_14 | NAYY 4x150 SE | 12 | 15 | 0.041733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3295-2_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.034652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3295-2_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.064594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3295-2_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.074315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3295-2_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.025853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3295-2_0_3_line_19 | NAYY 4x150 SE | 17 | 25 | 0.011102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3295-2_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.047153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3295-2_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.0086708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3295-2_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.015019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3295-2_0_3_line_23 | NAYY 4x150 SE | 21 | 29 | 0.028459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3295-2_0_3_line_24 | NAYY 4x150 SE | 21 | 30 | 0.015869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3295-2_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.00076129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3295-2_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.0053636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3295-2_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.053104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3295-2_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.005848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3295-2_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.060166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3295-2_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.0078337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3295-2_0_3_line_31 | NAYY 4x150 SE | 27 | 31 | 0.0066483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3295-2_0_3_line_32 | NAYY 4x150 SE | 28 | 32 | 0.013002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3295-2_0_3_line_33 | NAYY 4x150 SE | 29 | 42 | 0.035138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3295-2_0_3_line_34 | NAYY 4x150 SE | 30 | 55 | 0.11422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3295-2_0_3_line_35 | NAYY 4x150 SE | 31 | 42 | 0.019718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3295-2_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.0045668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3295-2_0_3_line_37 | NAYY 4x150 SE | 33 | 35 | 0.0024769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3295-2_0_3_line_38 | NAYY 4x150 SE | 34 | 36 | 0.003186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3295-2_0_3_line_39 | NAYY 4x150 SE | 35 | 37 | 0.0029915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3295-2_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.0092799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3295-2_0_3_line_41 | NAYY 4x150 SE | 38 | 39 | 0.017596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3295-2_0_3_line_42 | NAYY 4x150 SE | 39 | 40 | 0.00035833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3295-2_0_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.015327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3295-2_0_3_line_44 | NAYY 4x150 SE | 43 | 44 | 0.0049052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3295-2_0_3_line_45 | NAYY 4x150 SE | 43 | 45 | 0.015528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3295-2_0_3_line_46 | NAYY 4x150 SE | 44 | 46 | 0.012222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3295-2_0_3_line_47 | NAYY 4x150 SE | 45 | 47 | 0.003321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3295-2_0_3_line_48 | NAYY 4x150 SE | 46 | 48 | 0.0014834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3295-2_0_3_line_49 | NAYY 4x150 SE | 47 | 49 | 0.0084584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3295-2_0_3_line_50 | NAYY 4x150 SE | 48 | 50 | 0.0071886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3295-2_0_3_line_51 | NAYY 4x150 SE | 49 | 55 | 0.018742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3295-2_0_3_line_52 | NAYY 4x150 SE | 50 | 51 | 0.013903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3295-2_0_3_line_53 | NAYY 4x150 SE | 51 | 52 | 0.025616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3295-2_0_3_line_54 | NAYY 4x150 SE | 52 | 53 | 0.13631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3295-2_0_3_trafo_86 | 0.25 MVA 20/0.4 kV | 56 | 27 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2739691.4272 | 1217273.8819 | 2739675.8748 | 1217278.0208 | 2739668.3134 | 1217281.7801 | 2739663.2285 | 1217287.3599
1 | 2739691.4272 | 1217273.8819 | 2739695.8176 | 1217282.5921 | 2739703.4301 | 1217287.9862 | 2739708.3453 | 1217289.2574
2 | 2739734.7808 | 1217296.0946 | 2739708.3453 | 1217289.2574
3 | 2739734.7808 | 1217296.0946 | 2739752.3372 | 1217323.8476
4 | 2739673.4876 | 1217646.2519 | 2739659.3458 | 1217642.0989
5 | 2739673.4876 | 1217646.2519 | 2739508.8228 | 1218188.7283
6 | 2739763.1508 | 1217643.4406 | 2739735.8473 | 1217634.793 | 2739730.8225 | 1217633.3851 | 2739718.3553 | 1217629.712 | 2739713.9651 | 1217630.0649 | 2739709.1317 | 1217631.8308 | 2739705.0576 | 1217636.8395 | 2739699.4111 | 1217640.5658 | 2739673.4876 | 1217646.2519
7 | 2739848.6628 | 1217530.8965 | 2739864.5795 | 1217522.8378
8 | 2739880.8475 | 1217512.8144 | 2739878.5531 | 1217515.763 | 2739864.5795 | 1217522.8378
9 | 2739880.8475 | 1217512.8144 | 2739890.0555 | 1217500.9432
10 | 2739880.8475 | 1217512.8144 | 2739889.5895 | 1217518.6393
11 | 2739926.8706 | 1217475.9416 | 2739914.8924 | 1217477.6285 | 2739896.1976 | 1217493.0247 | 2739890.0555 | 1217500.9432
12 | 2739889.5895 | 1217518.6393 | 2739893.0955 | 1217520.9754 | 2739893.0955 | 1217520.9754
13 | 2739753.7938 | 1217326.1502 | 2739752.3372 | 1217323.8476
14 | 2739776.1044 | 1217361.4185 | 2739753.7938 | 1217326.1502
15 | 2739826.8922 | 1217359.6973 | 2739805.5514 | 1217332.396
16 | 2739826.8922 | 1217359.6973 | 2739824.5312 | 1217360.9541 | 2739822.7489 | 1217363.4366 | 2739822.5502 | 1217366.4011 | 2739823.2929 | 1217369.3766 | 2739858.0845 | 1217409.1264
17 | 2739776.1044 | 1217361.4185 | 2739795.7018 | 1217381.6619 | 2739799.602 | 1217385.6901 | 2739823.2929 | 1217369.3766 | 2739822.5502 | 1217366.4011 | 2739822.7489 | 1217363.4366 | 2739824.5312 | 1217360.9541 | 2739826.8922 | 1217359.6973
18 | 2739858.0845 | 1217409.1264 | 2739875.1127 | 1217428.5788
19 | 2739882.425 | 1217436.9321 | 2739875.1127 | 1217428.5788
20 | 2739998.9311 | 1217443.7029 | 2739995.1897 | 1217459.1875 | 2739996.4959 | 1217468.5594 | 2740000.5083 | 1217475.5596 | 2740012.9884 | 1217481.1912
21 | 2740018.7265 | 1217486.2633 | 2740018.5513 | 1217483.7014 | 2740012.9884 | 1217481.1912
22 | 2740013.8942 | 1217498.6268 | 2740015.6835 | 1217499.0803 | 2740018.7265 | 1217486.2633
23 | 2740013.8942 | 1217498.6268 | 2739986.3071 | 1217491.6375
24 | 2740013.8942 | 1217498.6268 | 2740015.6461 | 1217508.7431 | 2740018.8032 | 1217513.3713
25 | 2739867.6094 | 1217483.883 | 2739867.0283 | 1217484.3748
26 | 2739862.934 | 1217487.8396 | 2739867.0283 | 1217484.3748
27 | 2739882.425 | 1217436.9321 | 2739883.9829 | 1217459.521 | 2739881.2316 | 1217470.599 | 2739871.9223 | 1217480.2331 | 2739867.6094 | 1217483.883
28 | 2739862.934 | 1217487.8396 | 2739857.243 | 1217489.2517
29 | 2739882.425 | 1217436.9321 | 2739903.1982 | 1217460.762 | 2739916.3222 | 1217472.0462 | 2739920.1093 | 1217473.4474 | 2739926.8706 | 1217475.9416
30 | 2739857.243 | 1217489.2517 | 2739850.2836 | 1217492.8482
31 | 2739926.8706 | 1217475.9416 | 2739932.3216 | 1217477.9602 | 2739933.1315 | 1217478.1654
32 | 2739850.2836 | 1217492.8482 | 2739847.0336 | 1217494.5277 | 2739850.3505 | 1217503.2624
33 | 2739986.3071 | 1217491.6375 | 2739952.2452 | 1217483.0079
34 | 2739995.0593 | 1217567.7549 | 2739998.8545 | 1217568.51 | 2740020.1944 | 1217566.91 | 2740052.8103 | 1217550.2068 | 2740048.6405 | 1217537.6316 | 2740039.537 | 1217530.7563 | 2740028.6325 | 1217525.2177 | 2740021.0274 | 1217516.6317 | 2740018.8032 | 1217513.3713
35 | 2739933.1315 | 1217478.1654 | 2739952.2452 | 1217483.0079
36 | 2739900.5737 | 1217518.9305 | 2739896.1686 | 1217520.1351
37 | 2739902.9629 | 1217518.2772 | 2739900.5737 | 1217518.9305
38 | 2739893.0955 | 1217520.9754 | 2739896.1686 | 1217520.1351
39 | 2739905.8485 | 1217517.4882 | 2739902.9629 | 1217518.2772
40 | 2739905.8485 | 1217517.4882 | 2739909.4985 | 1217516.4901 | 2739914.8701 | 1217517.6518
41 | 2739932.069 | 1217521.3713 | 2739914.8701 | 1217517.6518
42 | 2739932.4192 | 1217521.4471 | 2739932.069 | 1217521.3713
43 | 2739947.3997 | 1217524.6869 | 2739932.4192 | 1217521.4471
44 | 2739949.7347 | 1217571.9078 | 2739945.2694 | 1217573.938
45 | 2739964.7929 | 1217568.5635 | 2739953.0693 | 1217570.3918 | 2739949.7347 | 1217571.9078
46 | 2739934.1429 | 1217578.9965 | 2739945.2694 | 1217573.938
47 | 2739964.7929 | 1217568.5635 | 2739968.0743 | 1217568.0518
48 | 2739934.1429 | 1217578.9965 | 2739932.7925 | 1217579.6105
49 | 2739976.4317 | 1217566.7485 | 2739976.4317 | 1217566.7485 | 2739968.0743 | 1217568.0518
50 | 2739926.2485 | 1217582.5857 | 2739932.7925 | 1217579.6105
51 | 2739995.0593 | 1217567.7549 | 2739989.2848 | 1217566.6058 | 2739976.4317 | 1217566.7485
52 | 2739926.2485 | 1217582.5857 | 2739917.8807 | 1217586.3901 | 2739913.6595 | 1217588.4812
53 | 2739913.6595 | 1217588.4812 | 2739890.7055 | 1217599.8524
54 | 2739763.1508 | 1217643.4406 | 2739772.1066 | 1217643.9955 | 2739808.0205 | 1217628.7696 | 2739844.5038 | 1217620.3519 | 2739862.7946 | 1217615.3436 | 2739886.9765 | 1217601.6997 | 2739890.7055 | 1217599.8524

## bus_geodata
| x | y | coords
0 | 2739663.2285 | 1217287.3599
1 | 2739691.4272 | 1217273.8819
2 | 2739708.3453 | 1217289.2574
3 | 2739734.7808 | 1217296.0946
4 | 2739659.3458 | 1217642.0989
5 | 2739673.4876 | 1217646.2519
6 | 2739848.6628 | 1217530.8965
7 | 2739864.5795 | 1217522.8378
8 | 2739880.8475 | 1217512.8144
9 | 2739890.0555 | 1217500.9432
10 | 2739889.5895 | 1217518.6393
11 | 2739752.3372 | 1217323.8476
12 | 2739753.7938 | 1217326.1502
13 | 2739805.5514 | 1217332.396
14 | 2739826.8922 | 1217359.6973
15 | 2739776.1044 | 1217361.4185
16 | 2739858.0845 | 1217409.1263
17 | 2739875.1127 | 1217428.5788
18 | 2739998.9311 | 1217443.7029
19 | 2740012.9884 | 1217481.1912
20 | 2740018.7265 | 1217486.2633
21 | 2740013.8942 | 1217498.6268
22 | 2739867.0283 | 1217484.3748
23 | 2739867.6094 | 1217483.883
24 | 2739862.934 | 1217487.8396
25 | 2739882.425 | 1217436.9321
26 | 2739857.243 | 1217489.2517
27 | 2739926.8706 | 1217475.9416
28 | 2739850.2836 | 1217492.8482
29 | 2739986.3071 | 1217491.6375
30 | 2740018.8032 | 1217513.3713
31 | 2739933.1315 | 1217478.1654
32 | 2739850.3505 | 1217503.2624
33 | 2739900.5737 | 1217518.9305
34 | 2739896.1686 | 1217520.1351
35 | 2739902.9629 | 1217518.2772
36 | 2739893.0955 | 1217520.9754
37 | 2739905.8485 | 1217517.4882
38 | 2739914.8701 | 1217517.6518
39 | 2739932.069 | 1217521.3713
40 | 2739932.4192 | 1217521.4471
41 | 2739947.3997 | 1217524.6869
42 | 2739952.2452 | 1217483.0079
43 | 2739949.7347 | 1217571.9078
44 | 2739945.2694 | 1217573.938
45 | 2739964.7929 | 1217568.5635
46 | 2739934.1429 | 1217578.9965
47 | 2739968.0743 | 1217568.0518
48 | 2739932.7925 | 1217579.6105
49 | 2739976.4317 | 1217566.7485
50 | 2739926.2485 | 1217582.5857
51 | 2739913.6595 | 1217588.4812
52 | 2739890.7055 | 1217599.8524
53 | 2739763.1508 | 1217643.4406
54 | 2739508.8228 | 1218188.7283
55 | 2739995.0593 | 1217567.7549
56 | 2739920.1093 | 1217473.4474

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1