## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3295-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3295-7_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_3295-7_0_3_node_16 | 0.4 | n |  | TRUE
3 | bus_LV_3295-7_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3295-7_0_3_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_3295-7_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3295-7_0_3_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_3295-7_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_3295-7_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_3295-7_0_3_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_3295-7_0_3_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_3295-7_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_3295-7_0_3_node_48 | 0.4 | n |  | TRUE
13 | bus_LV_3295-7_0_3_node_47 | 0.4 | n |  | TRUE
14 | bus_LV_3295-7_0_3_node_67 | 0.4 | n |  | TRUE
15 | bus_LV_3295-7_0_3_node_49 | 0.4 | n |  | TRUE
16 | bus_LV_3295-7_0_3_node_59 | 0.4 | n |  | TRUE
17 | bus_LV_3295-7_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_3295-7_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_3295-7_0_3_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_3295-7_0_3_node_79 | 0.4 | n |  | TRUE
21 | bus_LV_3295-7_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_3295-7_0_3_node_83 | 0.4 | n |  | TRUE
23 | bus_LV_3295-7_0_3_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_3295-7_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_3295-7_0_3_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_3295-7_0_3_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_3295-7_0_3_node_80 | 0.4 | n |  | TRUE
28 | bus_LV_3295-7_0_3_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_3295-7_0_3_node_66 | 0.4 | n |  | TRUE
30 | bus_LV_3295-7_0_3_node_64 | 0.4 | n |  | TRUE
31 | bus_LV_3295-7_0_3_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_3295-7_0_3_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_3295-7_0_3_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_3295-7_0_3_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_3295-7_0_3_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_3295-7_0_3_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_3295-7_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_3295-7_0_3_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_3295-7_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_3295-7_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_3295-7_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_3295-7_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_3295-7_0_3_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_3295-7_0_3_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_3295-7_0_3_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_3295-7_0_3_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_3295-7_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_3295-7_0_3_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_3295-7_0_3_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_3295-7_0_3_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_3295-7_0_3_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_3295-7_0_3_node_69 | 0.4 | n |  | TRUE
53 | bus_LV_3295-7_0_3_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_3295-7_0_3_node_84 | 0.4 | n |  | TRUE
55 | bus_LV_3295-7_0_3_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_3295-7_0_3_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_3295-7_0_3_node_74 | 0.4 | n |  | TRUE
58 | bus_LV_3295-7_0_3_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_3295-7_0_3_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_3295-7_0_3_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_3295-7_0_3_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_3295-7_0_3_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_3295-7_0_3_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_3295-7_0_3_node_71 | 0.4 | n |  | TRUE
65 | bus_LV_3295-7_0_3_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_3295-7_0_3_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_3295-7_0_3_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_3295-7_0_3_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_3295-7_0_3_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_3295-7_0_3_node_82 | 0.4 | n |  | TRUE
71 | bus_LV_3295-7_0_3_node_78 | 0.4 | n |  | TRUE
72 | bus_LV_3295-7_0_3_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_3295-7_0_3_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_3295-7_0_3_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_3295-7_0_3_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_3295-7_0_3_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_3295-7_0_3_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_3295-7_0_3_node_81 | 0.4 | n |  | TRUE
79 | bus_MV_152_0_node_10 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3295-7_0_3_load_0 | 0 | 0.0037287 | 0.00093449 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3295-7_0_3_load_16 | 2 | 0.00071033 | 0.00017803 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3295-7_0_3_load_21 | 6 | 0.0013521 | 0.00033887 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3295-7_0_3_load_17 | 9 | 0.0092113 | 0.0023086 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3295-7_0_3_load_18 | 10 | 0.0009788 | 0.00024531 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3295-7_0_3_load_48 | 12 | 0.0016789 | 0.00042078 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3295-7_0_3_load_47 | 13 | 0.0032664 | 0.00081864 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3295-7_0_3_load_67 | 14 | 0.0017681 | 0.00044314 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3295-7_0_3_load_49 | 15 | 0.0033785 | 0.00084673 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3295-7_0_3_load_59 | 16 | 0.0033982 | 0.00085168 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3295-7_0_3_load_41 | 19 | 0.0037879 | 0.00094935 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3295-7_0_3_load_79 | 20 | 0.0072698 | 0.001822 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3295-7_0_3_load_83 | 22 | 0.0042084 | 0.0010547 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3295-7_0_3_load_19 | 24 | 0.0016243 | 0.00040708 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3295-7_0_3_load_60 | 25 | 0.0032865 | 0.00082367 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3295-7_0_3_load_80 | 27 | 0.021731 | 0.0054463 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3295-7_0_3_load_66 | 29 | 0.0041994 | 0.0010525 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3295-7_0_3_load_40 | 31 | 0.0050804 | 0.0012733 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3295-7_0_3_load_45 | 32 | 0.0058291 | 0.0014609 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3295-7_0_3_load_44 | 33 | 0.002589 | 0.00064886 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3295-7_0_3_load_20 | 35 | 0.0011996 | 0.00030066 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3295-7_0_3_load_22 | 36 | 0.0017396 | 0.00043599 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3295-7_0_3_load_23 | 37 | 0.00083051 | 0.00020814 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3295-7_0_3_load_24 | 38 | 0.0032183 | 0.00080657 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3295-7_0_3_load_25 | 39 | 0.0047752 | 0.0011968 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3295-7_0_3_load_29 | 43 | 0.0071626 | 0.0017951 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3295-7_0_3_load_68 | 46 | 0.0034924 | 0.00087528 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3295-7_0_3_load_43 | 47 | 0.0045774 | 0.0011472 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3295-7_0_3_load_30 | 49 | 0.0031708 | 0.00079468 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3295-7_0_3_load_42 | 50 | 0.0027276 | 0.00068361 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3295-7_0_3_load_36 | 51 | 0.0033513 | 0.00083992 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3295-7_0_3_load_69 | 52 | 0.0026511 | 0.00066442 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3295-7_0_3_load_46 | 53 | 0.013964 | 0.0034996 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3295-7_0_3_load_84 | 54 | 0.0072921 | 0.0018276 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3295-7_0_3_load_35 | 55 | 0.0060636 | 0.0015197 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3295-7_0_3_load_75 | 56 | 0.0017387 | 0.00043576 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3295-7_0_3_load_74 | 57 | 0.001901 | 0.00047644 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3295-7_0_3_load_50 | 59 | 0.0029734 | 0.0007452 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3295-7_0_3_load_51 | 60 | 0.0059822 | 0.0014993 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3295-7_0_3_load_53 | 62 | 0.0014609 | 0.00036614 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3295-7_0_3_load_54 | 63 | 0.0048585 | 0.0012177 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3295-7_0_3_load_71 | 64 | 0.0014598 | 0.00036585 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3295-7_0_3_load_55 | 66 | 0.0024017 | 0.00060192 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3295-7_0_3_load_73 | 69 | 0.0018508 | 0.00046385 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3295-7_0_3_load_82 | 70 | 0.0028255 | 0.00070814 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3295-7_0_3_load_78 | 71 | 0.0036078 | 0.00090419 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3295-7_0_3_load_62 | 72 | 0.0028232 | 0.00070757 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3295-7_0_3_load_63 | 73 | 0.0041054 | 0.0010289 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3295-7_0_3_load_65 | 74 | 0.0039238 | 0.00098341 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3295-7_0_3_load_77 | 75 | 0.0031227 | 0.00078261 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3295-7_0_3_load_76 | 76 | 0.0036428 | 0.00091296 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3295-7_0_3_load_70 | 77 | 0.0025718 | 0.00064454 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3295-7_0_3_load_81 | 78 | 0.0040076 | 0.0010044 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3295-7_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.013932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3295-7_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.041106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3295-7_0_3_line_2 | NAYY 4x150 SE | 2 | 10 | 0.036045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3295-7_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.068112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3295-7_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.066706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3295-7_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.033281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3295-7_0_3_line_6 | NAYY 4x150 SE | 4 | 16 | 0.0089586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3295-7_0_3_line_7 | NAYY 4x150 SE | 5 | 10 | 0.033687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3295-7_0_3_line_8 | NAYY 4x150 SE | 6 | 24 | 0.006214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3295-7_0_3_line_9 | NAYY 4x150 SE | 7 | 8 | 0.06732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3295-7_0_3_line_10 | NAYY 4x150 SE | 7 | 9 | 0.06858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3295-7_0_3_line_11 | NAYY 4x150 SE | 8 | 14 | 0.027689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3295-7_0_3_line_12 | NAYY 4x150 SE | 8 | 15 | 0.0057038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3295-7_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.0099928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3295-7_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.032778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3295-7_0_3_line_15 | NAYY 4x150 SE | 12 | 25 | 0.0019285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3295-7_0_3_line_16 | NAYY 4x150 SE | 13 | 26 | 0.014696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3295-7_0_3_line_17 | NAYY 4x150 SE | 14 | 27 | 0.0083086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3295-7_0_3_line_18 | NAYY 4x150 SE | 15 | 26 | 0.046353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3295-7_0_3_line_19 | NAYY 4x150 SE | 16 | 28 | 0.013921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3295-7_0_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.038566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3295-7_0_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.011111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3295-7_0_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.020793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3295-7_0_3_line_23 | NAYY 4x150 SE | 19 | 31 | 0.024251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3295-7_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.007277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3295-7_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.013189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3295-7_0_3_line_26 | NAYY 4x150 SE | 23 | 34 | 0.005066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3295-7_0_3_line_27 | NAYY 4x150 SE | 24 | 35 | 0.0074726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3295-7_0_3_line_28 | NAYY 4x150 SE | 25 | 58 | 0.012242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3295-7_0_3_line_29 | NAYY 4x150 SE | 28 | 67 | 0.019809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3295-7_0_3_line_30 | NAYY 4x150 SE | 28 | 66 | 0.013258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3295-7_0_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.011872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3295-7_0_3_line_32 | NAYY 4x150 SE | 30 | 72 | 0.022183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3295-7_0_3_line_33 | NAYY 4x150 SE | 31 | 41 | 0.018362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3295-7_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.020447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3295-7_0_3_line_35 | NAYY 4x150 SE | 33 | 47 | 0.0033951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3295-7_0_3_line_36 | NAYY 4x150 SE | 34 | 48 | 0.018829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3295-7_0_3_line_37 | NAYY 4x150 SE | 34 | 53 | 0.027639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3295-7_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.011014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3295-7_0_3_line_39 | NAYY 4x150 SE | 36 | 37 | 0.011595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3295-7_0_3_line_40 | NAYY 4x150 SE | 38 | 39 | 0.019075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3295-7_0_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.009535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3295-7_0_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.012506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3295-7_0_3_line_43 | NAYY 4x150 SE | 40 | 42 | 0.016505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3295-7_0_3_line_44 | NAYY 4x150 SE | 40 | 43 | 0.0169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3295-7_0_3_line_45 | NAYY 4x150 SE | 42 | 44 | 0.03411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3295-7_0_3_line_46 | NAYY 4x150 SE | 42 | 45 | 0.03446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3295-7_0_3_line_47 | NAYY 4x150 SE | 42 | 46 | 0.017697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3295-7_0_3_line_48 | NAYY 4x150 SE | 43 | 47 | 0.022189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3295-7_0_3_line_49 | NAYY 4x150 SE | 44 | 48 | 0.01668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3295-7_0_3_line_50 | NAYY 4x150 SE | 44 | 49 | 0.0028137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3295-7_0_3_line_51 | NAYY 4x150 SE | 45 | 50 | 0.011575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_3295-7_0_3_line_52 | NAYY 4x150 SE | 45 | 51 | 0.024556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3295-7_0_3_line_53 | NAYY 4x150 SE | 46 | 52 | 0.00033341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3295-7_0_3_line_54 | NAYY 4x150 SE | 48 | 54 | 0.023097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3295-7_0_3_line_55 | NAYY 4x150 SE | 50 | 56 | 0.018648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_3295-7_0_3_line_56 | NAYY 4x150 SE | 51 | 55 | 0.018719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3295-7_0_3_line_57 | NAYY 4x150 SE | 52 | 77 | 0.0085204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3295-7_0_3_line_58 | NAYY 4x150 SE | 56 | 57 | 0.016852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_3295-7_0_3_line_59 | NAYY 4x150 SE | 57 | 69 | 0.016667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3295-7_0_3_line_60 | NAYY 4x150 SE | 58 | 68 | 0.00371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3295-7_0_3_line_61 | NAYY 4x150 SE | 58 | 66 | 0.034344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3295-7_0_3_line_62 | NAYY 4x150 SE | 59 | 60 | 0.018042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3295-7_0_3_line_63 | NAYY 4x150 SE | 59 | 61 | 0.019149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3295-7_0_3_line_64 | NAYY 4x150 SE | 61 | 62 | 0.0056073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3295-7_0_3_line_65 | NAYY 4x150 SE | 61 | 63 | 0.00918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3295-7_0_3_line_66 | NAYY 4x150 SE | 62 | 64 | 0.0086898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3295-7_0_3_line_67 | NAYY 4x150 SE | 64 | 65 | 0.011747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3295-7_0_3_line_68 | NAYY 4x150 SE | 65 | 78 | 0.01261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3295-7_0_3_line_69 | NAYY 4x150 SE | 65 | 70 | 0.029697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3295-7_0_3_line_70 | NAYY 4x150 SE | 67 | 69 | 0.035407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3295-7_0_3_line_71 | NAYY 4x150 SE | 68 | 70 | 0.014018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3295-7_0_3_line_72 | NAYY 4x150 SE | 68 | 71 | 0.020266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3295-7_0_3_line_73 | NAYY 4x150 SE | 72 | 73 | 0.00076267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3295-7_0_3_line_74 | NAYY 4x150 SE | 73 | 74 | 0.015844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3295-7_0_3_line_75 | NAYY 4x150 SE | 74 | 75 | 0.0078539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3295-7_0_3_line_76 | NAYY 4x150 SE | 75 | 76 | 0.0072224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3295-7_0_3_line_77 | NAYY 4x150 SE | 76 | 77 | 0.0090748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3295-7_0_3_trafo_74 | 0.25 MVA 20/0.4 kV | 79 | 57 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2735092.6345 | 1219427.8951 | 2735102.5708 | 1219433.6362 | 2735104.699 | 1219434.8633
1 | 2735092.6345 | 1219427.8951 | 2735062.2914 | 1219455.6266
2 | 2735030.1445 | 1219471.2423 | 2735057.7405 | 1219459.7858 | 2735062.2914 | 1219455.6266
3 | 2734992.3005 | 1219526.391 | 2734989.0068 | 1219527.3505 | 2734990.8004 | 1219535.6313 | 2734994.9174 | 1219538.2045 | 2734992.9203 | 1219541.5732 | 2734990.8337 | 1219544.8731 | 2734993.5493 | 1219546.9808 | 2735011.5603 | 1219563.8807 | 2735012.2443 | 1219564.5189 | 2735008.0208 | 1219568.3152 | 2735003.5255 | 1219567.0234 | 2735000.9255 | 1219570.2004
4 | 2734992.3005 | 1219526.391 | 2734989.2125 | 1219522.9627 | 2734971.7832 | 1219505.1753 | 2734973.3397 | 1219502.4861 | 2734980.1611 | 1219490.5864 | 2734985.9382 | 1219487.9151 | 2734997.9518 | 1219480.7258
5 | 2734992.3005 | 1219526.391 | 2735006.9695 | 1219522.6203 | 2735020.5921 | 1219518.7925 | 2735024.458 | 1219517.8254
6 | 2735000.9255 | 1219570.2004 | 2734997.5586 | 1219570.3687 | 2734992.114 | 1219571.6243
7 | 2734997.9518 | 1219480.7258 | 2735017.7889 | 1219476.3717 | 2735030.1445 | 1219471.2423
8 | 2735030.6116 | 1219517.4456 | 2735026.3794 | 1219517.3447 | 2735024.458 | 1219517.8254
9 | 2735072.6712 | 1219564.2662 | 2735071.8447 | 1219565.8933 | 2735069.3179 | 1219570.8623 | 2735065.5124 | 1219578.3155 | 2735062.0726 | 1219585.3767 | 2735059.3852 | 1219590.0641 | 2735054.4931 | 1219596.8922 | 2735050.4147 | 1219602.3264 | 2735047.7369 | 1219605.2459 | 2735044.4054 | 1219608.2062 | 2735053.6744 | 1219619.5924
10 | 2735072.6712 | 1219564.2662 | 2735078.7648 | 1219551.9942 | 2735083.9583 | 1219544.2612 | 2735089.3506 | 1219539.4795 | 2735098.8435 | 1219535.3135 | 2735114.3259 | 1219531.8284 | 2735126.4417 | 1219531.5177
11 | 2735053.6744 | 1219619.5924 | 2735076.0187 | 1219603.2403
12 | 2735053.6744 | 1219619.5924 | 2735051.5227 | 1219624.4254 | 2735051.2735 | 1219624.7552
13 | 2735012.3927 | 1219615.5422 | 2735002.6712 | 1219617.8547
14 | 2735012.3927 | 1219615.5422 | 2735019.9455 | 1219647.4387
15 | 2735000.795 | 1219618.301 | 2735002.6712 | 1219617.8547
16 | 2735023.3318 | 1219661.7394 | 2735019.9455 | 1219647.4387
17 | 2735082.7236 | 1219598.3334 | 2735076.0187 | 1219603.2403
18 | 2735023.3318 | 1219661.7394 | 2735051.2735 | 1219624.7552
19 | 2734978.5487 | 1219574.7527 | 2734992.114 | 1219571.6243
20 | 2734810.7596 | 1219758.483 | 2734823.3509 | 1219731.7903 | 2734827.2709 | 1219723.6167
21 | 2734827.2709 | 1219723.6167 | 2734838.3632 | 1219724.2677
22 | 2734810.7596 | 1219758.483 | 2734831.5528 | 1219758.4526
23 | 2734862.573 | 1219725.6885 | 2734838.3632 | 1219724.2677
24 | 2734829.1509 | 1219633.9185 | 2734830.8371 | 1219626.8397
25 | 2734843.2847 | 1219631.3029 | 2734830.8371 | 1219626.8397
26 | 2734843.2847 | 1219631.3029 | 2734845.3275 | 1219629.2586 | 2734845.3996 | 1219627.0806
27 | 2735030.6116 | 1219517.4456 | 2735036.0004 | 1219517.5741 | 2735037.9725 | 1219518.2425
28 | 2734988.9051 | 1219621.2146 | 2734994.7231 | 1219619.7453 | 2735000.795 | 1219618.301
29 | 2734958.877 | 1219577.5204 | 2734978.5487 | 1219574.7527
30 | 2734978.5487 | 1219574.7527 | 2734981.433 | 1219587.6929
31 | 2734910.6022 | 1219579.2062 | 2734898.7571 | 1219578.4013
32 | 2734910.6022 | 1219579.2062 | 2734905.3841 | 1219600.7664
33 | 2734880.3295 | 1219722.4946 | 2734875.1346 | 1219724.9457 | 2734866.1552 | 1219725.8988 | 2734862.573 | 1219725.6885
34 | 2734823.7806 | 1219677.9899 | 2734844.1789 | 1219679.4019
35 | 2734847.5658 | 1219679.6364 | 2734844.1789 | 1219679.4019
36 | 2734864.2835 | 1219627.2416 | 2734845.3996 | 1219627.0806
37 | 2734845.3996 | 1219627.0806 | 2734845.6642 | 1219599.4432
38 | 2735037.9725 | 1219518.2425 | 2735048.4037 | 1219521.7779
39 | 2735059.3849 | 1219525.4996 | 2735048.4037 | 1219521.7779
40 | 2734885.77 | 1219691.8381 | 2734884.1875 | 1219710.8474
41 | 2734886.561 | 1219682.3359 | 2734885.77 | 1219691.8381
42 | 2734880.3295 | 1219722.4946 | 2734883.0898 | 1219717.9311 | 2734884.0681 | 1219712.282 | 2734884.1875 | 1219710.8474
43 | 2734886.561 | 1219682.3359 | 2734888.6855 | 1219665.9705
44 | 2734886.561 | 1219682.3359 | 2734869.7018 | 1219681.1688
45 | 2734862.8949 | 1219643.6348 | 2734876.7315 | 1219656.8145 | 2734888.6855 | 1219665.9705
46 | 2734888.6855 | 1219665.9705 | 2734923.0238 | 1219669.8846
47 | 2734888.6855 | 1219665.9705 | 2734893.0913 | 1219648.831
48 | 2734847.5658 | 1219679.6364 | 2734869.7018 | 1219681.1688
49 | 2734862.8949 | 1219643.6348 | 2734864.1718 | 1219640.8837 | 2734864.3568 | 1219628.7 | 2734864.2835 | 1219627.2416
50 | 2734862.8949 | 1219643.6348 | 2734860.7439 | 1219641.8208
51 | 2734923.0238 | 1219669.8846 | 2734927.4153 | 1219659.1754
52 | 2734923.0238 | 1219669.8846 | 2734925.016 | 1219672.0871 | 2734920.2585 | 1219684.3784 | 2734919.5159 | 1219692.7522
53 | 2734893.0913 | 1219648.831 | 2734893.1743 | 1219648.5081
54 | 2734864.2835 | 1219627.2416 | 2734875.4322 | 1219627.383 | 2734877.2353 | 1219619.5062 | 2734875.6919 | 1219615.9238
55 | 2734934.4907 | 1219641.9213 | 2734927.4153 | 1219659.1754
56 | 2734917.8625 | 1219711.3983 | 2734919.5159 | 1219692.7522
57 | 2734895.2955 | 1219640.256 | 2734893.1743 | 1219648.5081
58 | 2734934.4907 | 1219641.9213 | 2734940.6362 | 1219626.2299
59 | 2734946.7144 | 1219610.7102 | 2734940.6362 | 1219626.2299
60 | 2734988.9051 | 1219621.2146 | 2734989.7112 | 1219624.8359
61 | 2734988.9051 | 1219621.2146 | 2734981.433 | 1219587.6929
62 | 2734945.5095 | 1219670.8948 | 2734959.9627 | 1219681.6942
63 | 2734975.8983 | 1219682.2593 | 2734967.4116 | 1219687.26 | 2734959.9627 | 1219681.6942
64 | 2734975.8983 | 1219682.2593 | 2734980.7286 | 1219679.4115
65 | 2734980.1393 | 1219690.4065 | 2734975.8983 | 1219682.2593
66 | 2734980.7286 | 1219679.4115 | 2734988.2143 | 1219674.9982
67 | 2734997.0976 | 1219667.6831 | 2734994.5338 | 1219671.2725 | 2734988.2143 | 1219674.9982
68 | 2734997.0976 | 1219667.6831 | 2735008.4259 | 1219673.2889
69 | 2734997.0976 | 1219667.6831 | 2734997.7263 | 1219663.7274 | 2734992.5406 | 1219638.565
70 | 2734958.877 | 1219577.5204 | 2734957.9876 | 1219581.9262 | 2734946.7144 | 1219610.7102
71 | 2734989.7112 | 1219624.8359 | 2734992.5406 | 1219638.565
72 | 2734989.7112 | 1219624.8359 | 2734970.2821 | 1219630.6001
73 | 2734905.2047 | 1219601.5077 | 2734905.3841 | 1219600.7664
74 | 2734905.2047 | 1219601.5077 | 2734904.3789 | 1219604.9198 | 2734901.3083 | 1219616.8653
75 | 2734899.3529 | 1219624.472 | 2734901.3083 | 1219616.8653
76 | 2734897.5548 | 1219631.467 | 2734899.3529 | 1219624.472
77 | 2734897.5548 | 1219631.467 | 2734895.2955 | 1219640.256

## bus_geodata
| x | y | coords
0 | 2735104.699 | 1219434.8633
1 | 2735092.6345 | 1219427.8951
2 | 2735062.2914 | 1219455.6266
3 | 2734992.3005 | 1219526.391
4 | 2735000.9255 | 1219570.2004
5 | 2734997.9518 | 1219480.7258
6 | 2735024.458 | 1219517.8254
7 | 2735072.6712 | 1219564.2662
8 | 2735053.6744 | 1219619.5924
9 | 2735126.4417 | 1219531.5177
10 | 2735030.1445 | 1219471.2423
11 | 2735012.3927 | 1219615.5422
12 | 2735002.6712 | 1219617.8547
13 | 2735019.9455 | 1219647.4387
14 | 2735076.0187 | 1219603.2402
15 | 2735051.2735 | 1219624.7552
16 | 2734992.114 | 1219571.6243
17 | 2734827.2709 | 1219723.6167
18 | 2734810.7596 | 1219758.483
19 | 2734838.3632 | 1219724.2677
20 | 2734831.5528 | 1219758.4526
21 | 2734830.8371 | 1219626.8397
22 | 2734829.1509 | 1219633.9185
23 | 2734843.2847 | 1219631.3029
24 | 2735030.6116 | 1219517.4456
25 | 2735000.795 | 1219618.301
26 | 2735023.3318 | 1219661.7394
27 | 2735082.7236 | 1219598.3334
28 | 2734978.5487 | 1219574.7527
29 | 2734898.7571 | 1219578.4013
30 | 2734910.6022 | 1219579.2062
31 | 2734862.573 | 1219725.6885
32 | 2734823.7806 | 1219677.9899
33 | 2734844.1789 | 1219679.4019
34 | 2734845.3996 | 1219627.0806
35 | 2735037.9725 | 1219518.2425
36 | 2735048.4037 | 1219521.7779
37 | 2735059.3849 | 1219525.4996
38 | 2734885.77 | 1219691.8381
39 | 2734884.1875 | 1219710.8474
40 | 2734886.561 | 1219682.3359
41 | 2734880.3295 | 1219722.4946
42 | 2734888.6855 | 1219665.9705
43 | 2734869.7018 | 1219681.1688
44 | 2734862.8949 | 1219643.6348
45 | 2734923.0238 | 1219669.8846
46 | 2734893.0913 | 1219648.831
47 | 2734847.5658 | 1219679.6364
48 | 2734864.2835 | 1219627.2416
49 | 2734860.7439 | 1219641.8208
50 | 2734927.4153 | 1219659.1754
51 | 2734919.5159 | 1219692.7522
52 | 2734893.1743 | 1219648.5081
53 | 2734845.6642 | 1219599.4432
54 | 2734875.6919 | 1219615.9238
55 | 2734917.8625 | 1219711.3983
56 | 2734934.4907 | 1219641.9213
57 | 2734940.6362 | 1219626.2299
58 | 2734988.9051 | 1219621.2146
59 | 2734959.9627 | 1219681.6942
60 | 2734945.5095 | 1219670.8948
61 | 2734975.8983 | 1219682.2593
62 | 2734980.7286 | 1219679.4115
63 | 2734980.1393 | 1219690.4065
64 | 2734988.2143 | 1219674.9982
65 | 2734997.0976 | 1219667.6831
66 | 2734981.433 | 1219587.6929
67 | 2734958.877 | 1219577.5204
68 | 2734989.7112 | 1219624.8359
69 | 2734946.7144 | 1219610.7102
70 | 2734992.5406 | 1219638.565
71 | 2734970.2821 | 1219630.6001
72 | 2734905.3841 | 1219600.7664
73 | 2734905.2047 | 1219601.5077
74 | 2734901.3083 | 1219616.8653
75 | 2734899.3529 | 1219624.472
76 | 2734897.5548 | 1219631.467
77 | 2734895.2955 | 1219640.256
78 | 2735008.4259 | 1219673.2889
79 | 2734934.4907 | 1219641.9213

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1