## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3298-11_1_2_node_40 | 0.4 | n |  | TRUE
1 | bus_LV_3298-11_1_2_node_41 | 0.4 | n |  | TRUE
2 | bus_LV_3298-11_1_2_node_43 | 0.4 | n |  | TRUE
3 | bus_LV_3298-11_1_2_node_42 | 0.4 | n |  | TRUE
4 | bus_LV_3298-11_1_2_node_44 | 0.4 | n |  | TRUE
5 | bus_LV_3298-11_1_2_node_45 | 0.4 | n |  | TRUE
6 | bus_LV_3298-11_1_2_node_46 | 0.4 | n |  | TRUE
7 | bus_LV_3298-11_1_2_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_3298-11_1_2_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_3298-11_1_2_node_49 | 0.4 | n |  | TRUE
10 | bus_LV_3298-11_1_2_node_50 | 0.4 | n |  | TRUE
11 | bus_LV_3298-11_1_2_node_124 | 0.4 | n |  | TRUE
12 | bus_LV_3298-11_1_2_node_117 | 0.4 | n |  | TRUE
13 | bus_LV_3298-11_1_2_node_142 | 0.4 | n |  | TRUE
14 | bus_LV_3298-11_1_2_node_122 | 0.4 | n |  | TRUE
15 | bus_LV_3298-11_1_2_node_110 | 0.4 | n |  | TRUE
16 | bus_LV_3298-11_1_2_node_123 | 0.4 | n |  | TRUE
17 | bus_LV_3298-11_1_2_node_116 | 0.4 | n |  | TRUE
18 | bus_LV_3298-11_1_2_node_141 | 0.4 | n |  | TRUE
19 | bus_LV_3298-11_1_2_node_121 | 0.4 | n |  | TRUE
20 | bus_LV_3298-11_1_2_node_107 | 0.4 | n |  | TRUE
21 | bus_LV_3298-11_1_2_node_51 | 0.4 | n |  | TRUE
22 | bus_LV_3298-11_1_2_node_52 | 0.4 | n |  | TRUE
23 | bus_LV_3298-11_1_2_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_3298-11_1_2_node_53 | 0.4 | n |  | TRUE
25 | bus_LV_3298-11_1_2_node_55 | 0.4 | n |  | TRUE
26 | bus_LV_3298-11_1_2_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_3298-11_1_2_node_57 | 0.4 | n |  | TRUE
28 | bus_LV_3298-11_1_2_node_58 | 0.4 | n |  | TRUE
29 | bus_LV_3298-11_1_2_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_3298-11_1_2_node_97 | 0.4 | n |  | TRUE
31 | bus_LV_3298-11_1_2_node_62 | 0.4 | n |  | TRUE
32 | bus_LV_3298-11_1_2_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_3298-11_1_2_node_61 | 0.4 | n |  | TRUE
34 | bus_LV_3298-11_1_2_node_147 | 0.4 | n |  | TRUE
35 | bus_LV_3298-11_1_2_node_87 | 0.4 | n |  | TRUE
36 | bus_LV_3298-11_1_2_node_85 | 0.4 | n |  | TRUE
37 | bus_LV_3298-11_1_2_node_73 | 0.4 | n |  | TRUE
38 | bus_LV_3298-11_1_2_node_88 | 0.4 | n |  | TRUE
39 | bus_LV_3298-11_1_2_node_148 | 0.4 | n |  | TRUE
40 | bus_LV_3298-11_1_2_node_86 | 0.4 | n |  | TRUE
41 | bus_LV_3298-11_1_2_node_74 | 0.4 | n |  | TRUE
42 | bus_LV_3298-11_1_2_node_75 | 0.4 | n |  | TRUE
43 | bus_LV_3298-11_1_2_node_140 | 0.4 | n |  | TRUE
44 | bus_LV_3298-11_1_2_node_138 | 0.4 | n |  | TRUE
45 | bus_LV_3298-11_1_2_node_100 | 0.4 | n |  | TRUE
46 | bus_LV_3298-11_1_2_node_101 | 0.4 | n |  | TRUE
47 | bus_LV_3298-11_1_2_node_137 | 0.4 | n |  | TRUE
48 | bus_LV_3298-11_1_2_node_99 | 0.4 | n |  | TRUE
49 | bus_LV_3298-11_1_2_node_95 | 0.4 | n |  | TRUE
50 | bus_LV_3298-11_1_2_node_89 | 0.4 | n |  | TRUE
51 | bus_LV_3298-11_1_2_node_90 | 0.4 | n |  | TRUE
52 | bus_LV_3298-11_1_2_node_91 | 0.4 | n |  | TRUE
53 | bus_LV_3298-11_1_2_node_92 | 0.4 | n |  | TRUE
54 | bus_LV_3298-11_1_2_node_94 | 0.4 | n |  | TRUE
55 | bus_LV_3298-11_1_2_node_93 | 0.4 | n |  | TRUE
56 | bus_LV_3298-11_1_2_node_96 | 0.4 | n |  | TRUE
57 | bus_LV_3298-11_1_2_node_98 | 0.4 | n |  | TRUE
58 | bus_LV_3298-11_1_2_node_119 | 0.4 | n |  | TRUE
59 | bus_LV_3298-11_1_2_node_115 | 0.4 | n |  | TRUE
60 | bus_LV_3298-11_1_2_node_120 | 0.4 | n |  | TRUE
61 | bus_LV_3298-11_1_2_node_102 | 0.4 | n |  | TRUE
62 | bus_LV_3298-11_1_2_node_103 | 0.4 | n |  | TRUE
63 | bus_LV_3298-11_1_2_node_145 | 0.4 | n |  | TRUE
64 | bus_LV_3298-11_1_2_node_151 | 0.4 | n |  | TRUE
65 | bus_LV_3298-11_1_2_node_104 | 0.4 | n |  | TRUE
66 | bus_LV_3298-11_1_2_node_105 | 0.4 | n |  | TRUE
67 | bus_LV_3298-11_1_2_node_106 | 0.4 | n |  | TRUE
68 | bus_LV_3298-11_1_2_node_108 | 0.4 | n |  | TRUE
69 | bus_LV_3298-11_1_2_node_109 | 0.4 | n |  | TRUE
70 | bus_LV_3298-11_1_2_node_112 | 0.4 | n |  | TRUE
71 | bus_LV_3298-11_1_2_node_111 | 0.4 | n |  | TRUE
72 | bus_LV_3298-11_1_2_node_113 | 0.4 | n |  | TRUE
73 | bus_LV_3298-11_1_2_node_130 | 0.4 | n |  | TRUE
74 | bus_LV_3298-11_1_2_node_114 | 0.4 | n |  | TRUE
75 | bus_LV_3298-11_1_2_node_132 | 0.4 | n |  | TRUE
76 | bus_LV_3298-11_1_2_node_128 | 0.4 | n |  | TRUE
77 | bus_LV_3298-11_1_2_node_118 | 0.4 | n |  | TRUE
78 | bus_LV_3298-11_1_2_node_125 | 0.4 | n |  | TRUE
79 | bus_LV_3298-11_1_2_node_126 | 0.4 | n |  | TRUE
80 | bus_LV_3298-11_1_2_node_127 | 0.4 | n |  | TRUE
81 | bus_LV_3298-11_1_2_node_134 | 0.4 | n |  | TRUE
82 | bus_LV_3298-11_1_2_node_129 | 0.4 | n |  | TRUE
83 | bus_LV_3298-11_1_2_node_131 | 0.4 | n |  | TRUE
84 | bus_LV_3298-11_1_2_node_133 | 0.4 | n |  | TRUE
85 | bus_LV_3298-11_1_2_node_135 | 0.4 | n |  | TRUE
86 | bus_LV_3298-11_1_2_node_136 | 0.4 | n |  | TRUE
87 | bus_LV_3298-11_1_2_node_149 | 0.4 | n |  | TRUE
88 | bus_LV_3298-11_1_2_node_150 | 0.4 | n |  | TRUE
89 | bus_LV_3298-11_1_2_node_139 | 0.4 | n |  | TRUE
90 | bus_LV_3298-11_1_2_node_146 | 0.4 | n |  | TRUE
91 | bus_LV_3298-11_1_2_node_154 | 0.4 | n |  | TRUE
92 | bus_LV_3298-11_1_2_node_152 | 0.4 | n |  | TRUE
93 | bus_LV_3298-11_1_2_node_155 | 0.4 | n |  | TRUE
94 | bus_LV_3298-11_1_2_node_153 | 0.4 | n |  | TRUE
95 | bus_MV_0_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3298-11_1_2_load_40 | 0 | 6.0294e-05 | 1.5111e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3298-11_1_2_load_41 | 1 | 0.00041098 | 0.000103 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3298-11_1_2_load_42 | 3 | 6.9388e-05 | 1.739e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3298-11_1_2_load_46 | 6 | 7.745e-05 | 1.9411e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3298-11_1_2_load_48 | 8 | 6.6437e-05 | 1.6651e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3298-11_1_2_load_49 | 9 | 0.00043 | 0.00010777 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3298-11_1_2_load_50 | 10 | 8.0148e-05 | 2.0087e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3298-11_1_2_load_124 | 11 | 7.9126e-05 | 1.9831e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3298-11_1_2_load_117 | 12 | 6.3946e-05 | 1.6026e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3298-11_1_2_load_142 | 13 | 9.993e-05 | 2.5045e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3298-11_1_2_load_122 | 14 | 6.3861e-05 | 1.6005e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3298-11_1_2_load_110 | 15 | 6.3346e-05 | 1.5876e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3298-11_1_2_load_123 | 16 | 6.5003e-05 | 1.6291e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3298-11_1_2_load_141 | 18 | 5.8762e-05 | 1.4727e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3298-11_1_2_load_121 | 19 | 7.1543e-05 | 1.793e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3298-11_1_2_load_107 | 20 | 6.0393e-05 | 1.5136e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3298-11_1_2_load_51 | 21 | 0.0015025 | 0.00037655 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3298-11_1_2_load_52 | 22 | 0.00025718 | 6.4456e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3298-11_1_2_load_56 | 26 | 0.00027706 | 6.9437e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3298-11_1_2_load_57 | 27 | 0.0012127 | 0.00030394 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3298-11_1_2_load_58 | 28 | 0.0054271 | 0.0013602 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3298-11_1_2_load_59 | 29 | 0.0014079 | 0.00035286 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3298-11_1_2_load_147 | 34 | 0.00099527 | 0.00024944 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3298-11_1_2_load_87 | 35 | 0.0034091 | 0.00085441 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3298-11_1_2_load_85 | 36 | 0.0044721 | 0.0011208 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3298-11_1_2_load_148 | 39 | 0.0009694 | 0.00024295 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3298-11_1_2_load_86 | 40 | 0.0011546 | 0.00028937 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3298-11_1_2_load_75 | 42 | 6.1056e-05 | 1.5302e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3298-11_1_2_load_140 | 43 | 0.0077139 | 0.0019333 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3298-11_1_2_load_100 | 45 | 0.0056977 | 0.001428 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3298-11_1_2_load_101 | 46 | 0.0065133 | 0.0016324 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3298-11_1_2_load_137 | 47 | 7.0296e-05 | 1.7618e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3298-11_1_2_load_99 | 48 | 0.0010045 | 0.00025175 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3298-11_1_2_load_95 | 49 | 0.0011951 | 0.00029953 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3298-11_1_2_load_89 | 50 | 0.0001205 | 3.0199e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3298-11_1_2_load_90 | 51 | 7.2684e-05 | 1.8216e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3298-11_1_2_load_92 | 53 | 0.00072091 | 0.00018068 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3298-11_1_2_load_93 | 55 | 9.8022e-05 | 2.4567e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3298-11_1_2_load_96 | 56 | 5.9086e-05 | 1.4808e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3298-11_1_2_load_98 | 57 | 0.00041152 | 0.00010314 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3298-11_1_2_load_119 | 58 | 7.2477e-05 | 1.8165e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3298-11_1_2_load_115 | 59 | 0.00014282 | 3.5794e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3298-11_1_2_load_120 | 60 | 0.00011349 | 2.8443e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3298-11_1_2_load_102 | 61 | 0.00057813 | 0.00014489 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3298-11_1_2_load_103 | 62 | 0.00070265 | 0.0001761 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3298-11_1_2_load_145 | 63 | 0.00058733 | 0.0001472 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3298-11_1_2_load_151 | 64 | 7.0293e-05 | 1.7617e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3298-11_1_2_load_104 | 65 | 8.8192e-05 | 2.2103e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3298-11_1_2_load_105 | 66 | 6.7619e-05 | 1.6947e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3298-11_1_2_load_108 | 68 | 7.0195e-05 | 1.7593e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3298-11_1_2_load_109 | 69 | 7.1087e-05 | 1.7816e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3298-11_1_2_load_112 | 70 | 5.8623e-05 | 1.4692e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3298-11_1_2_load_111 | 71 | 7.4274e-05 | 1.8615e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3298-11_1_2_load_113 | 72 | 6.9934e-05 | 1.7527e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3298-11_1_2_load_114 | 74 | 0.00014456 | 3.6229e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3298-11_1_2_load_132 | 75 | 7.5964e-05 | 1.9038e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3298-11_1_2_load_128 | 76 | 8.5354e-05 | 2.1392e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3298-11_1_2_load_118 | 77 | 7.7057e-05 | 1.9312e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3298-11_1_2_load_125 | 78 | 7.0305e-05 | 1.762e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3298-11_1_2_load_127 | 80 | 0.00010543 | 2.6422e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3298-11_1_2_load_134 | 81 | 7.6793e-05 | 1.9246e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3298-11_1_2_load_129 | 82 | 6.7201e-05 | 1.6842e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3298-11_1_2_load_131 | 83 | 6.7557e-05 | 1.6931e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3298-11_1_2_load_133 | 84 | 7.5306e-05 | 1.8873e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3298-11_1_2_load_135 | 85 | 9.4429e-05 | 2.3666e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3298-11_1_2_load_149 | 87 | 0.00013188 | 3.3053e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3298-11_1_2_load_150 | 88 | 0.00019808 | 4.9645e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3298-11_1_2_load_146 | 90 | 0.00040714 | 0.00010204 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3298-11_1_2_load_154 | 91 | 0.00040727 | 0.00010207 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3298-11_1_2_load_152 | 92 | 0.00051387 | 0.00012879 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3298-11_1_2_load_155 | 93 | 0.00048982 | 0.00012276 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3298-11_1_2_load_153 | 94 | 0.00040714 | 0.00010204 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 71 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3298-11_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3298-11_1_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.016597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3298-11_1_2_line_2 | NAYY 4x150 SE | 2 | 6 | 0.024245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3298-11_1_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.01228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3298-11_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.014502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3298-11_1_2_line_5 | NAYY 4x150 SE | 4 | 7 | 0.024517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3298-11_1_2_line_6 | NAYY 4x150 SE | 4 | 8 | 0.009965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3298-11_1_2_line_7 | NAYY 4x150 SE | 5 | 9 | 0.003907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3298-11_1_2_line_8 | NAYY 4x150 SE | 5 | 10 | 0.01384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3298-11_1_2_line_9 | NAYY 4x150 SE | 6 | 11 | 0.0045652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3298-11_1_2_line_10 | NAYY 4x150 SE | 7 | 12 | 0.0026616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3298-11_1_2_line_11 | NAYY 4x150 SE | 7 | 13 | 0.050925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3298-11_1_2_line_12 | NAYY 4x150 SE | 8 | 14 | 0.0097719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3298-11_1_2_line_13 | NAYY 4x150 SE | 10 | 15 | 0.010116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3298-11_1_2_line_14 | NAYY 4x150 SE | 11 | 16 | 0.025332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3298-11_1_2_line_15 | NAYY 4x150 SE | 12 | 17 | 0.019725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3298-11_1_2_line_16 | NAYY 4x150 SE | 13 | 18 | 0.010851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3298-11_1_2_line_17 | NAYY 4x150 SE | 14 | 19 | 0.0097199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3298-11_1_2_line_18 | NAYY 4x150 SE | 15 | 20 | 0.01068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3298-11_1_2_line_19 | NAYY 4x150 SE | 16 | 78 | 0.0087223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3298-11_1_2_line_20 | NAYY 4x150 SE | 17 | 59 | 0.011173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_3298-11_1_2_line_21 | NAYY 4x150 SE | 17 | 77 | 0.0021894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_3298-11_1_2_line_22 | NAYY 4x150 SE | 19 | 60 | 0.009072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3298-11_1_2_line_23 | NAYY 4x150 SE | 20 | 66 | 0.0015899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3298-11_1_2_line_24 | NAYY 4x150 SE | 21 | 22 | 0.072666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3298-11_1_2_line_25 | NAYY 4x150 SE | 22 | 23 | 0.010882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3298-11_1_2_line_26 | NAYY 4x150 SE | 23 | 28 | 0.026321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_3298-11_1_2_line_27 | NAYY 4x150 SE | 23 | 27 | 0.01905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_3298-11_1_2_line_28 | NAYY 4x150 SE | 24 | 25 | 0.042344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_3298-11_1_2_line_29 | NAYY 4x150 SE | 24 | 26 | 0.045446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3298-11_1_2_line_30 | NAYY 4x150 SE | 24 | 27 | 0.038446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_3298-11_1_2_line_31 | NAYY 4x150 SE | 25 | 29 | 0.040462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_3298-11_1_2_line_32 | NAYY 4x150 SE | 28 | 30 | 0.040587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_3298-11_1_2_line_33 | NAYY 4x150 SE | 29 | 31 | 0.0955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_3298-11_1_2_line_34 | NAYY 4x150 SE | 30 | 38 | 0.049034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_3298-11_1_2_line_35 | NAYY 4x150 SE | 31 | 37 | 0.11813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3298-11_1_2_line_36 | NAYY 4x150 SE | 32 | 33 | 0.066596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3298-11_1_2_line_37 | NAYY 4x150 SE | 32 | 34 | 0.034495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3298-11_1_2_line_38 | NAYY 4x150 SE | 33 | 35 | 0.0044445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3298-11_1_2_line_39 | NAYY 4x150 SE | 33 | 36 | 0.010868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3298-11_1_2_line_40 | NAYY 4x150 SE | 34 | 39 | 0.0087188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3298-11_1_2_line_41 | NAYY 4x150 SE | 35 | 38 | 0.008141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3298-11_1_2_line_42 | NAYY 4x150 SE | 36 | 40 | 0.014106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3298-11_1_2_line_43 | NAYY 4x150 SE | 37 | 41 | 0.0324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3298-11_1_2_line_44 | NAYY 4x150 SE | 37 | 42 | 0.084756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3298-11_1_2_line_45 | NAYY 4x150 SE | 38 | 48 | 0.028155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_3298-11_1_2_line_46 | NAYY 4x150 SE | 41 | 45 | 0.032863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3298-11_1_2_line_47 | NAYY 4x150 SE | 43 | 44 | 0.20232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3298-11_1_2_line_48 | NAYY 4x150 SE | 44 | 89 | 0.15909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3298-11_1_2_line_49 | NAYY 4x150 SE | 44 | 47 | 0.12326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3298-11_1_2_line_50 | NAYY 4x150 SE | 45 | 46 | 0.096625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3298-11_1_2_line_51 | NAYY 4x150 SE | 46 | 61 | 0.035261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3298-11_1_2_line_52 | NAYY 4x150 SE | 48 | 49 | 0.0096297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_3298-11_1_2_line_53 | NAYY 4x150 SE | 49 | 53 | 0.0073292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_3298-11_1_2_line_54 | NAYY 4x150 SE | 50 | 51 | 0.005327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_3298-11_1_2_line_55 | NAYY 4x150 SE | 50 | 52 | 0.0063079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_3298-11_1_2_line_56 | NAYY 4x150 SE | 51 | 53 | 0.010942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_3298-11_1_2_line_57 | NAYY 4x150 SE | 52 | 54 | 0.019521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_3298-11_1_2_line_58 | NAYY 4x150 SE | 54 | 57 | 0.010205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_3298-11_1_2_line_59 | NAYY 4x150 SE | 55 | 56 | 0.011912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3298-11_1_2_line_60 | NAYY 4x150 SE | 56 | 58 | 0.0091537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3298-11_1_2_line_61 | NAYY 4x150 SE | 57 | 59 | 0.03665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_3298-11_1_2_line_62 | NAYY 4x150 SE | 58 | 60 | 0.019881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3298-11_1_2_line_63 | NAYY 4x150 SE | 61 | 62 | 0.0054489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3298-11_1_2_line_64 | NAYY 4x150 SE | 62 | 63 | 0.0084148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3298-11_1_2_line_65 | NAYY 4x150 SE | 63 | 64 | 0.0085499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3298-11_1_2_line_66 | NAYY 4x150 SE | 64 | 92 | 0.0014965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3298-11_1_2_line_67 | NAYY 4x150 SE | 65 | 66 | 0.0044229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3298-11_1_2_line_68 | NAYY 4x150 SE | 65 | 67 | 0.0089953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3298-11_1_2_line_69 | NAYY 4x150 SE | 67 | 68 | 0.018769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3298-11_1_2_line_70 | NAYY 4x150 SE | 67 | 69 | 0.017906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3298-11_1_2_line_71 | NAYY 4x150 SE | 69 | 70 | 0.01254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3298-11_1_2_line_72 | NAYY 4x150 SE | 70 | 73 | 0.0070257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3298-11_1_2_line_73 | NAYY 4x150 SE | 71 | 72 | 0.0052204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_3298-11_1_2_line_74 | NAYY 4x150 SE | 72 | 74 | 0.030914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_3298-11_1_2_line_75 | NAYY 4x150 SE | 73 | 75 | 0.018996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3298-11_1_2_line_76 | NAYY 4x150 SE | 73 | 76 | 0.0089393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3298-11_1_2_line_77 | NAYY 4x150 SE | 74 | 77 | 0.00034247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
78 | LV_3298-11_1_2_line_78 | NAYY 4x150 SE | 75 | 81 | 0.0094618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3298-11_1_2_line_79 | NAYY 4x150 SE | 76 | 82 | 0.0049886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3298-11_1_2_line_80 | NAYY 4x150 SE | 78 | 79 | 0.029613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3298-11_1_2_line_81 | NAYY 4x150 SE | 79 | 80 | 0.011505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3298-11_1_2_line_82 | NAYY 4x150 SE | 80 | 81 | 0.01163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3298-11_1_2_line_83 | NAYY 4x150 SE | 82 | 83 | 0.0027866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3298-11_1_2_line_84 | NAYY 4x150 SE | 83 | 84 | 0.01743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3298-11_1_2_line_85 | NAYY 4x150 SE | 84 | 85 | 0.0010881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3298-11_1_2_line_86 | NAYY 4x150 SE | 85 | 86 | 0.012944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3298-11_1_2_line_87 | NAYY 4x150 SE | 86 | 87 | 0.00757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3298-11_1_2_line_88 | NAYY 4x150 SE | 86 | 88 | 0.005189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3298-11_1_2_line_89 | NAYY 4x150 SE | 89 | 90 | 0.080801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3298-11_1_2_line_90 | NAYY 4x150 SE | 90 | 91 | 0.00036192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3298-11_1_2_line_91 | NAYY 4x150 SE | 91 | 93 | 0.00029204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3298-11_1_2_line_92 | NAYY 4x150 SE | 92 | 94 | 0.0039432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3298-11_1_2_line_93 | NAYY 4x150 SE | 93 | 94 | 0.00051776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3298-11_1_2_trafo_111 | 0.25 MVA 20/0.4 kV | 95 | 71 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2741213.0361 | 1220340.7085 | 2741201.6849 | 1220341.4835
1 | 2741185.2829 | 1220343.3324 | 2741187.6344 | 1220342.4429 | 2741201.6849 | 1220341.4835
2 | 2741185.2829 | 1220343.3324 | 2741182.9211 | 1220344.6553 | 2741180.0129 | 1220348.2116 | 2741178.7487 | 1220351.5845 | 2741177.9459 | 1220356.9479 | 2741177.7957 | 1220361.3592 | 2741178.3394 | 1220364.822
3 | 2741246.0739 | 1220327.5379 | 2741255.964 | 1220320.2217
4 | 2741251.9228 | 1220340.8101 | 2741248.2141 | 1220332.0369 | 2741246.0739 | 1220327.5379
5 | 2741279.2811 | 1220313.6024 | 2741259.5028 | 1220317.6034 | 2741255.964 | 1220320.2217
6 | 2741255.964 | 1220320.2217 | 2741253.5261 | 1220312.9132 | 2741253.2564 | 1220310.6687
7 | 2741251.9228 | 1220340.8101 | 2741255.8065 | 1220340.2906
8 | 2741251.9228 | 1220340.8101 | 2741251.6907 | 1220342.2725 | 2741251.6546 | 1220343.7952 | 2741255.0021 | 1220354.1016
9 | 2741178.3394 | 1220364.822 | 2741179.0474 | 1220369.332
10 | 2741279.2811 | 1220313.6024 | 2741281.8902 | 1220313.076
11 | 2741279.2811 | 1220313.6024 | 2741276.0595 | 1220300.9374 | 2741276.106 | 1220285.8701 | 2741276.5034 | 1220284.1559 | 2741277.8384 | 1220281.6409 | 2741281.4305 | 1220278.3789 | 2741283.5601 | 1220276.6057 | 2741284.4575 | 1220275.2592 | 2741284.8539 | 1220273.5894 | 2741283.8496 | 1220266.4345
12 | 2741252.0905 | 1220300.9666 | 2741253.2564 | 1220310.6687
13 | 2741255.0021 | 1220354.1016 | 2741258.1269 | 1220363.7226
14 | 2741183.0315 | 1220394.3474 | 2741182.8075 | 1220393.2829 | 2741179.0474 | 1220369.332
15 | 2741301.2255 | 1220309.1747 | 2741281.8902 | 1220313.076
16 | 2741282.3414 | 1220255.6887 | 2741283.8496 | 1220266.4345
17 | 2741251.2859 | 1220291.2813 | 2741251.3658 | 1220292.6336 | 2741251.9541 | 1220299.8315 | 2741252.0905 | 1220300.9666
18 | 2741266.4314 | 1220369.2459 | 2741260.9588 | 1220367.5583 | 2741259.5086 | 1220366.612 | 2741258.5305 | 1220364.9651 | 2741258.1269 | 1220363.7226
19 | 2741183.0315 | 1220394.3474 | 2741184.827 | 1220402.8829
20 | 2741301.2255 | 1220309.1747 | 2741300.2526 | 1220298.0441
21 | 2741301.2255 | 1220309.1747 | 2741301.3935 | 1220311.3576
22 | 2741250.9539 | 1220282.2192 | 2741250.9488 | 1220285.5733 | 2741251.2859 | 1220291.2813
23 | 2741266.4314 | 1220369.2459 | 2741266.4674 | 1220369.257 | 2741267.8792 | 1220369.9022
24 | 2741379.7457 | 1220257.6073 | 2741367.1405 | 1220202.0028 | 2741365.7241 | 1220186.4164
25 | 2741364.7392 | 1220175.5789 | 2741365.7241 | 1220186.4164
26 | 2741364.7392 | 1220175.5789 | 2741351.4607 | 1220169.8923 | 2741339.6032 | 1220170.5507
27 | 2741364.7392 | 1220175.5789 | 2741380.8955 | 1220185.6714
28 | 2741436.0875 | 1220170.1901 | 2741413.5022 | 1220206.04
29 | 2741413.5022 | 1220206.04 | 2741451.9961 | 1220230.197
30 | 2741413.5022 | 1220206.04 | 2741380.8955 | 1220185.6714
31 | 2741436.0875 | 1220170.1901 | 2741470.3239 | 1220191.7541
32 | 2741323.2657 | 1220206.7213 | 2741333.1978 | 1220176.8649 | 2741339.1164 | 1220170.5777 | 2741339.6032 | 1220170.5507
33 | 2741551.2502 | 1220242.4427 | 2741547.7435 | 1220240.1908 | 2741530.2537 | 1220228.6988 | 2741498.8751 | 1220209.7372 | 2741470.3239 | 1220191.7541
34 | 2741297.2895 | 1220165.4477 | 2741313.6124 | 1220193.1808 | 2741320.4641 | 1220204.8199 | 2741323.2657 | 1220206.7213
35 | 2741551.2502 | 1220242.4427 | 2741549.4406 | 1220244.4792 | 2741547.4117 | 1220246.1658 | 2741452.3106 | 1220307.181
36 | 2741300.1614 | 1220153.1943 | 2741303.0901 | 1220148.4598 | 2741304.4422 | 1220145.5449 | 2741320.4737 | 1220111.0625 | 2741321.2819 | 1220109.3135 | 2741325.3059 | 1220100.6572 | 2741318.7235 | 1220095.5745
37 | 2741318.7235 | 1220095.5745 | 2741288.0338 | 1220079.8257
38 | 2741300.1614 | 1220153.1943 | 2741299.1472 | 1220157.5215
39 | 2741300.1614 | 1220153.1943 | 2741289.2942 | 1220153.0461
40 | 2741288.0338 | 1220079.8257 | 2741280.2768 | 1220075.8451
41 | 2741297.2895 | 1220165.4477 | 2741299.1472 | 1220157.5215
42 | 2741289.2942 | 1220153.0461 | 2741275.1899 | 1220152.8537
43 | 2741452.3106 | 1220307.181 | 2741453.4172 | 1220313.9575 | 2741446.374 | 1220338.5001
44 | 2741452.3106 | 1220307.181 | 2741382.2861 | 1220354.9329
45 | 2741297.2895 | 1220165.4477 | 2741293.4328 | 1220180.8138 | 2741293.0385 | 1220193.1196
46 | 2741446.374 | 1220338.5001 | 2741436.828 | 1220369.9461
47 | 2741212.2244 | 1220566.5835 | 2741205.5897 | 1220576.201 | 2741194.6891 | 1220626.4521 | 2741242.2418 | 1220746.4819 | 2741246.2992 | 1220755.7472
48 | 2741367.8292 | 1220601.5598 | 2741359.3543 | 1220598.8453 | 2741292.7391 | 1220585.0975 | 2741212.2244 | 1220566.5835
49 | 2741212.2244 | 1220566.5835 | 2741208.2043 | 1220539.2649 | 2741209.14 | 1220519.0254 | 2741214.9881 | 1220505.4524 | 2741238.5165 | 1220490.2195 | 2741251.2979 | 1220474.2868 | 2741257.0222 | 1220463.5632
50 | 2741436.828 | 1220369.9461 | 2741408.7603 | 1220462.4051
51 | 2741398.5176 | 1220496.1461 | 2741408.7603 | 1220462.4051
52 | 2741293.0385 | 1220193.1196 | 2741292.7301 | 1220202.7444
53 | 2741292.4916 | 1220210.0697 | 2741292.7004 | 1220203.6715 | 2741292.7301 | 1220202.7444
54 | 2741291.961 | 1220226.3303 | 2741292.1347 | 1220221.0061
55 | 2741292.1732 | 1220232.5947 | 2741291.8088 | 1220230.9958 | 2741291.961 | 1220226.3303
56 | 2741292.1347 | 1220221.0061 | 2741292.4916 | 1220210.0697
57 | 2741297.9398 | 1220251.2474 | 2741292.1732 | 1220232.5947
58 | 2741297.9398 | 1220251.2474 | 2741298.4302 | 1220261.4411
59 | 2741259.1448 | 1220243.784 | 2741259.1556 | 1220249.7151 | 2741259.0592 | 1220255.6957
60 | 2741256.3851 | 1220264.4175 | 2741256.3851 | 1220264.4175 | 2741257.413 | 1220261.7285 | 2741258.5597 | 1220258.5085 | 2741259.0592 | 1220255.6957 | 2741259.0592 | 1220255.6957
61 | 2741300.2526 | 1220298.0441 | 2741300.1151 | 1220296.4708 | 2741298.4302 | 1220261.4411
62 | 2741256.3851 | 1220264.4175 | 2741254.3044 | 1220266.3698 | 2741252.7219 | 1220267.4777 | 2741251.8848 | 1220268.5254 | 2741251.5452 | 1220270.0408 | 2741251.3484 | 1220272.8942 | 2741250.9612 | 1220277.3777 | 2741250.9539 | 1220282.2192
63 | 2741398.5176 | 1220496.1461 | 2741396.9348 | 1220501.3601
64 | 2741394.4905 | 1220509.412 | 2741396.9348 | 1220501.3601
65 | 2741394.4905 | 1220509.412 | 2741392.007 | 1220517.5932
66 | 2741392.007 | 1220517.5932 | 2741391.5723 | 1220519.0252
67 | 2741270.0581 | 1220373.7356 | 2741268.8633 | 1220371.2934 | 2741267.8792 | 1220369.9022 | 2741267.8792 | 1220369.9022
68 | 2741275.1586 | 1220381.1066 | 2741270.999 | 1220375.6588 | 2741270.0581 | 1220373.7356
69 | 2741275.1586 | 1220381.1066 | 2741291.1247 | 1220371.2392
70 | 2741275.1586 | 1220381.1066 | 2741259.9254 | 1220390.5174
71 | 2741259.9254 | 1220390.5174 | 2741249.2572 | 1220397.1082
72 | 2741243.2801 | 1220400.8007 | 2741249.2572 | 1220397.1082
73 | 2741304.1929 | 1220347.7266 | 2741303.7923 | 1220342.5216
74 | 2741301.4198 | 1220311.6991 | 2741303.7923 | 1220342.5216
75 | 2741243.2801 | 1220400.8007 | 2741226.9732 | 1220410.5433
76 | 2741243.2801 | 1220400.8007 | 2741238.316 | 1220397.2689 | 2741236.9312 | 1220394.7814
77 | 2741301.3935 | 1220311.3576 | 2741301.4198 | 1220311.6991
78 | 2741226.9732 | 1220410.5433 | 2741218.8507 | 1220415.3961
79 | 2741236.9312 | 1220394.7814 | 2741236.3648 | 1220393.7641 | 2741234.6229 | 1220391.9991 | 2741233.515 | 1220391.2375
80 | 2741198.9897 | 1220427.2621 | 2741194.2178 | 1220424.2687 | 2741189.758 | 1220419.6368 | 2741187.0301 | 1220413.3557 | 2741184.827 | 1220402.8829
81 | 2741198.9897 | 1220427.2621 | 2741208.8667 | 1220421.3611
82 | 2741208.8667 | 1220421.3611 | 2741218.8507 | 1220415.3961
83 | 2741231.2186 | 1220389.6591 | 2741233.515 | 1220391.2375
84 | 2741231.2186 | 1220389.6591 | 2741222.3064 | 1220383.5332 | 2741220.0524 | 1220381.9117 | 2741218.4312 | 1220379.5379 | 2741218.0565 | 1220378.6489
85 | 2741217.6339 | 1220377.6462 | 2741218.0565 | 1220378.6489
86 | 2741216.7421 | 1220364.9854 | 2741216.1902 | 1220368.7311 | 2741216.0976 | 1220372.6322 | 2741217.0299 | 1220376.2129 | 2741217.6339 | 1220377.6462
87 | 2741216.7421 | 1220364.9854 | 2741217.278 | 1220357.4362
88 | 2741216.7421 | 1220364.9854 | 2741219.6162 | 1220366.0656 | 2741221.7491 | 1220366.0717
89 | 2741367.8292 | 1220601.5598 | 2741371.9263 | 1220583.7419 | 2741390.0865 | 1220523.9196
90 | 2741390.0865 | 1220523.9196 | 2741390.1916 | 1220523.5732
91 | 2741390.1916 | 1220523.5732 | 2741390.2764 | 1220523.2938
92 | 2741390.4268 | 1220522.7984 | 2741391.5723 | 1220519.0252
93 | 2741390.2764 | 1220523.2938 | 2741390.4268 | 1220522.7984

## bus_geodata
| x | y | coords
0 | 2741213.0361 | 1220340.7085
1 | 2741201.6849 | 1220341.4835
2 | 2741185.2829 | 1220343.3324
3 | 2741246.0739 | 1220327.5379
4 | 2741255.964 | 1220320.2217
5 | 2741251.9228 | 1220340.8101
6 | 2741178.3394 | 1220364.822
7 | 2741279.2811 | 1220313.6024
8 | 2741253.2564 | 1220310.6687
9 | 2741255.8065 | 1220340.2906
10 | 2741255.0021 | 1220354.1016
11 | 2741179.0474 | 1220369.332
12 | 2741281.8902 | 1220313.076
13 | 2741283.8496 | 1220266.4345
14 | 2741252.0905 | 1220300.9666
15 | 2741258.1269 | 1220363.7226
16 | 2741183.0315 | 1220394.3474
17 | 2741301.2255 | 1220309.1747
18 | 2741282.3414 | 1220255.6887
19 | 2741251.2859 | 1220291.2813
20 | 2741266.4314 | 1220369.2459
21 | 2741379.7457 | 1220257.6073
22 | 2741365.7241 | 1220186.4163
23 | 2741364.7392 | 1220175.5789
24 | 2741413.5022 | 1220206.04
25 | 2741436.0875 | 1220170.1901
26 | 2741451.9961 | 1220230.197
27 | 2741380.8955 | 1220185.6714
28 | 2741339.6032 | 1220170.5507
29 | 2741470.3239 | 1220191.7541
30 | 2741323.2657 | 1220206.7213
31 | 2741551.2502 | 1220242.4427
32 | 2741318.7235 | 1220095.5745
33 | 2741300.1614 | 1220153.1943
34 | 2741288.0338 | 1220079.8257
35 | 2741299.1472 | 1220157.5215
36 | 2741289.2942 | 1220153.0461
37 | 2741452.3106 | 1220307.181
38 | 2741297.2895 | 1220165.4477
39 | 2741280.2768 | 1220075.8451
40 | 2741275.1899 | 1220152.8537
41 | 2741446.374 | 1220338.5001
42 | 2741382.2861 | 1220354.9329
43 | 2741246.2992 | 1220755.7472
44 | 2741212.2244 | 1220566.5835
45 | 2741436.828 | 1220369.9461
46 | 2741408.7603 | 1220462.4051
47 | 2741257.0222 | 1220463.5632
48 | 2741293.0385 | 1220193.1196
49 | 2741292.7301 | 1220202.7444
50 | 2741291.961 | 1220226.3303
51 | 2741292.1347 | 1220221.0061
52 | 2741292.1732 | 1220232.5947
53 | 2741292.4916 | 1220210.0697
54 | 2741297.9398 | 1220251.2474
55 | 2741259.1448 | 1220243.784
56 | 2741259.0592 | 1220255.6957
57 | 2741298.4302 | 1220261.4411
58 | 2741256.3851 | 1220264.4175
59 | 2741300.2526 | 1220298.0441
60 | 2741250.9539 | 1220282.2192
61 | 2741398.5176 | 1220496.1461
62 | 2741396.9348 | 1220501.36
63 | 2741394.4905 | 1220509.412
64 | 2741392.007 | 1220517.5933
65 | 2741270.0581 | 1220373.7356
66 | 2741267.8792 | 1220369.9022
67 | 2741275.1586 | 1220381.1066
68 | 2741291.1247 | 1220371.2392
69 | 2741259.9254 | 1220390.5174
70 | 2741249.2572 | 1220397.1082
71 | 2741304.1929 | 1220347.7266
72 | 2741303.7923 | 1220342.5216
73 | 2741243.2801 | 1220400.8007
74 | 2741301.4198 | 1220311.6991
75 | 2741226.9732 | 1220410.5433
76 | 2741236.9312 | 1220394.7814
77 | 2741301.3935 | 1220311.3576
78 | 2741184.827 | 1220402.8829
79 | 2741198.9897 | 1220427.2621
80 | 2741208.8667 | 1220421.3611
81 | 2741218.8507 | 1220415.3961
82 | 2741233.515 | 1220391.2375
83 | 2741231.2186 | 1220389.6591
84 | 2741218.0565 | 1220378.6489
85 | 2741217.6339 | 1220377.6462
86 | 2741216.7421 | 1220364.9854
87 | 2741217.278 | 1220357.4362
88 | 2741221.7491 | 1220366.0717
89 | 2741367.8292 | 1220601.5598
90 | 2741390.0865 | 1220523.9196
91 | 2741390.1916 | 1220523.5732
92 | 2741391.5723 | 1220519.0252
93 | 2741390.2765 | 1220523.2938
94 | 2741390.4268 | 1220522.7984
95 | 2741304.1929 | 1220347.7266

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1