## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3298-24_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3298-24_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3298-24_0_3_node_53 | 0.4 | n |  | TRUE
3 | bus_LV_3298-24_0_3_node_164 | 0.4 | n |  | TRUE
4 | bus_LV_3298-24_0_3_node_51 | 0.4 | n |  | TRUE
5 | bus_LV_3298-24_0_3_node_63 | 0.4 | n |  | TRUE
6 | bus_LV_3298-24_0_3_node_64 | 0.4 | n |  | TRUE
7 | bus_LV_3298-24_0_3_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_3298-24_0_3_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_3298-24_0_3_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_3298-24_0_3_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_3298-24_0_3_node_36 | 0.4 | n |  | TRUE
12 | bus_LV_3298-24_0_3_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_3298-24_0_3_node_56 | 0.4 | n |  | TRUE
14 | bus_LV_3298-24_0_3_node_52 | 0.4 | n |  | TRUE
15 | bus_LV_3298-24_0_3_node_57 | 0.4 | n |  | TRUE
16 | bus_LV_3298-24_0_3_node_55 | 0.4 | n |  | TRUE
17 | bus_LV_3298-24_0_3_node_105 | 0.4 | n |  | TRUE
18 | bus_LV_3298-24_0_3_node_145 | 0.4 | n |  | TRUE
19 | bus_LV_3298-24_0_3_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_3298-24_0_3_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_3298-24_0_3_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_3298-24_0_3_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_3298-24_0_3_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_3298-24_0_3_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_3298-24_0_3_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_3298-24_0_3_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_3298-24_0_3_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_3298-24_0_3_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_3298-24_0_3_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_3298-24_0_3_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_3298-24_0_3_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_3298-24_0_3_node_121 | 0.4 | n |  | TRUE
33 | bus_LV_3298-24_0_3_node_71 | 0.4 | n |  | TRUE
34 | bus_LV_3298-24_0_3_node_98 | 0.4 | n |  | TRUE
35 | bus_LV_3298-24_0_3_node_100 | 0.4 | n |  | TRUE
36 | bus_LV_3298-24_0_3_node_69 | 0.4 | n |  | TRUE
37 | bus_LV_3298-24_0_3_node_118 | 0.4 | n |  | TRUE
38 | bus_LV_3298-24_0_3_node_72 | 0.4 | n |  | TRUE
39 | bus_LV_3298-24_0_3_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_3298-24_0_3_node_90 | 0.4 | n |  | TRUE
41 | bus_LV_3298-24_0_3_node_89 | 0.4 | n |  | TRUE
42 | bus_LV_3298-24_0_3_node_144 | 0.4 | n |  | TRUE
43 | bus_LV_3298-24_0_3_node_58 | 0.4 | n |  | TRUE
44 | bus_LV_3298-24_0_3_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_3298-24_0_3_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_3298-24_0_3_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_3298-24_0_3_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_3298-24_0_3_node_143 | 0.4 | n |  | TRUE
49 | bus_LV_3298-24_0_3_node_142 | 0.4 | n |  | TRUE
50 | bus_LV_3298-24_0_3_node_65 | 0.4 | n |  | TRUE
51 | bus_LV_3298-24_0_3_node_68 | 0.4 | n |  | TRUE
52 | bus_LV_3298-24_0_3_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_3298-24_0_3_node_92 | 0.4 | n |  | TRUE
54 | bus_LV_3298-24_0_3_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_3298-24_0_3_node_113 | 0.4 | n |  | TRUE
56 | bus_LV_3298-24_0_3_node_93 | 0.4 | n |  | TRUE
57 | bus_LV_3298-24_0_3_node_70 | 0.4 | n |  | TRUE
58 | bus_LV_3298-24_0_3_node_95 | 0.4 | n |  | TRUE
59 | bus_LV_3298-24_0_3_node_162 | 0.4 | n |  | TRUE
60 | bus_LV_3298-24_0_3_node_163 | 0.4 | n |  | TRUE
61 | bus_LV_3298-24_0_3_node_112 | 0.4 | n |  | TRUE
62 | bus_LV_3298-24_0_3_node_94 | 0.4 | n |  | TRUE
63 | bus_LV_3298-24_0_3_node_96 | 0.4 | n |  | TRUE
64 | bus_LV_3298-24_0_3_node_86 | 0.4 | n |  | TRUE
65 | bus_LV_3298-24_0_3_node_84 | 0.4 | n |  | TRUE
66 | bus_LV_3298-24_0_3_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_3298-24_0_3_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_3298-24_0_3_node_75 | 0.4 | n |  | TRUE
69 | bus_LV_3298-24_0_3_node_77 | 0.4 | n |  | TRUE
70 | bus_LV_3298-24_0_3_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_3298-24_0_3_node_120 | 0.4 | n |  | TRUE
72 | bus_LV_3298-24_0_3_node_125 | 0.4 | n |  | TRUE
73 | bus_LV_3298-24_0_3_node_124 | 0.4 | n |  | TRUE
74 | bus_LV_3298-24_0_3_node_127 | 0.4 | n |  | TRUE
75 | bus_LV_3298-24_0_3_node_123 | 0.4 | n |  | TRUE
76 | bus_LV_3298-24_0_3_node_117 | 0.4 | n |  | TRUE
77 | bus_LV_3298-24_0_3_node_126 | 0.4 | n |  | TRUE
78 | bus_LV_3298-24_0_3_node_122 | 0.4 | n |  | TRUE
79 | bus_LV_3298-24_0_3_node_128 | 0.4 | n |  | TRUE
80 | bus_LV_3298-24_0_3_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_3298-24_0_3_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_3298-24_0_3_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_3298-24_0_3_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_3298-24_0_3_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_3298-24_0_3_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_3298-24_0_3_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_3298-24_0_3_node_88 | 0.4 | n |  | TRUE
88 | bus_LV_3298-24_0_3_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_3298-24_0_3_node_91 | 0.4 | n |  | TRUE
90 | bus_LV_3298-24_0_3_node_101 | 0.4 | n |  | TRUE
91 | bus_LV_3298-24_0_3_node_102 | 0.4 | n |  | TRUE
92 | bus_LV_3298-24_0_3_node_97 | 0.4 | n |  | TRUE
93 | bus_LV_3298-24_0_3_node_99 | 0.4 | n |  | TRUE
94 | bus_LV_3298-24_0_3_node_111 | 0.4 | n |  | TRUE
95 | bus_LV_3298-24_0_3_node_114 | 0.4 | n |  | TRUE
96 | bus_LV_3298-24_0_3_node_115 | 0.4 | n |  | TRUE
97 | bus_LV_3298-24_0_3_node_129 | 0.4 | n |  | TRUE
98 | bus_LV_3298-24_0_3_node_103 | 0.4 | n |  | TRUE
99 | bus_LV_3298-24_0_3_node_104 | 0.4 | n |  | TRUE
100 | bus_LV_3298-24_0_3_node_106 | 0.4 | n |  | TRUE
101 | bus_LV_3298-24_0_3_node_107 | 0.4 | n |  | TRUE
102 | bus_LV_3298-24_0_3_node_108 | 0.4 | n |  | TRUE
103 | bus_LV_3298-24_0_3_node_109 | 0.4 | n |  | TRUE
104 | bus_LV_3298-24_0_3_node_110 | 0.4 | n |  | TRUE
105 | bus_LV_3298-24_0_3_node_116 | 0.4 | n |  | TRUE
106 | bus_LV_3298-24_0_3_node_119 | 0.4 | n |  | TRUE
107 | bus_LV_3298-24_0_3_node_130 | 0.4 | n |  | TRUE
108 | bus_LV_3298-24_0_3_node_131 | 0.4 | n |  | TRUE
109 | bus_LV_3298-24_0_3_node_132 | 0.4 | n |  | TRUE
110 | bus_LV_3298-24_0_3_node_133 | 0.4 | n |  | TRUE
111 | bus_LV_3298-24_0_3_node_134 | 0.4 | n |  | TRUE
112 | bus_LV_3298-24_0_3_node_135 | 0.4 | n |  | TRUE
113 | bus_LV_3298-24_0_3_node_136 | 0.4 | n |  | TRUE
114 | bus_LV_3298-24_0_3_node_137 | 0.4 | n |  | TRUE
115 | bus_LV_3298-24_0_3_node_140 | 0.4 | n |  | TRUE
116 | bus_LV_3298-24_0_3_node_138 | 0.4 | n |  | TRUE
117 | bus_LV_3298-24_0_3_node_139 | 0.4 | n |  | TRUE
118 | bus_LV_3298-24_0_3_node_141 | 0.4 | n |  | TRUE
119 | bus_MV_150_0_node_136 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3298-24_0_3_load_0 | 0 | 0.0051261 | 0.0012847 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3298-24_0_3_load_1 | 1 | 0.0046268 | 0.0011596 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3298-24_0_3_load_164 | 3 | 0.0013992 | 0.00035068 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3298-24_0_3_load_63 | 5 | 0.00022539 | 5.6489e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3298-24_0_3_load_32 | 7 | 0.0021983 | 0.00055095 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3298-24_0_3_load_33 | 8 | 0.0017291 | 0.00043334 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3298-24_0_3_load_35 | 10 | 0.0018578 | 0.00046562 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3298-24_0_3_load_36 | 11 | 0.002535 | 0.00063533 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3298-24_0_3_load_56 | 13 | 0.0006997 | 0.00017536 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3298-24_0_3_load_57 | 15 | 0.00084927 | 0.00021285 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3298-24_0_3_load_105 | 17 | 0.0020336 | 0.00050967 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3298-24_0_3_load_145 | 18 | 0.0010919 | 0.00027366 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3298-24_0_3_load_54 | 19 | 0.0005798 | 0.00014531 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3298-24_0_3_load_50 | 20 | 0.001285 | 0.00032204 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3298-24_0_3_load_38 | 21 | 0.00021601 | 5.4138e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3298-24_0_3_load_41 | 24 | 0.00015498 | 3.8841e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3298-24_0_3_load_42 | 25 | 0.0004158 | 0.00010421 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3298-24_0_3_load_45 | 27 | 0.001873 | 0.00046942 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3298-24_0_3_load_46 | 28 | 0.0003933 | 9.857e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3298-24_0_3_load_43 | 29 | 0.001247 | 0.00031252 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3298-24_0_3_load_48 | 31 | 0.00081568 | 0.00020443 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3298-24_0_3_load_121 | 32 | 0.00018122 | 4.5418e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3298-24_0_3_load_71 | 33 | 0.0030964 | 0.00077603 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3298-24_0_3_load_72 | 38 | 0.00077646 | 0.0001946 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3298-24_0_3_load_49 | 39 | 0.00035839 | 8.982e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3298-24_0_3_load_144 | 42 | 0.00048305 | 0.00012106 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3298-24_0_3_load_58 | 43 | 0.00044579 | 0.00011172 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3298-24_0_3_load_60 | 45 | 0.00042338 | 0.00010611 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3298-24_0_3_load_61 | 46 | 0.0010604 | 0.00026575 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3298-24_0_3_load_62 | 47 | 0.00089537 | 0.0002244 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3298-24_0_3_load_143 | 48 | 0.00095427 | 0.00023916 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3298-24_0_3_load_142 | 49 | 0.00096385 | 0.00024156 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3298-24_0_3_load_92 | 53 | 0.00046017 | 0.00011533 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3298-24_0_3_load_67 | 54 | 0.00029711 | 7.4462e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3298-24_0_3_load_113 | 55 | 0.0002877 | 7.2106e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3298-24_0_3_load_93 | 56 | 0.0004523 | 0.00011336 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3298-24_0_3_load_95 | 58 | 0.00022799 | 5.714e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3298-24_0_3_load_162 | 59 | 0.00025679 | 6.4357e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3298-24_0_3_load_163 | 60 | 0.00025736 | 6.45e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3298-24_0_3_load_112 | 61 | 0.00033846 | 8.4826e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3298-24_0_3_load_94 | 62 | 0.00038409 | 9.6262e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3298-24_0_3_load_96 | 63 | 0.0004395 | 0.00011015 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3298-24_0_3_load_86 | 64 | 0.0020934 | 0.00052465 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3298-24_0_3_load_84 | 65 | 0.00051236 | 0.00012841 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3298-24_0_3_load_73 | 66 | 0.00083129 | 0.00020834 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3298-24_0_3_load_74 | 67 | 0.00051897 | 0.00013007 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3298-24_0_3_load_125 | 72 | 0.0018162 | 0.00045518 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3298-24_0_3_load_124 | 73 | 0.00067702 | 0.00016968 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3298-24_0_3_load_127 | 74 | 0.00037945 | 9.5098e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3298-24_0_3_load_123 | 75 | 0.00063135 | 0.00015823 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3298-24_0_3_load_126 | 77 | 0.0002971 | 7.446e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3298-24_0_3_load_122 | 78 | 0.00036149 | 9.0599e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3298-24_0_3_load_128 | 79 | 0.00037376 | 9.3674e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3298-24_0_3_load_78 | 80 | 0.0016513 | 0.00041387 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3298-24_0_3_load_79 | 81 | 0.0014318 | 0.00035885 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3298-24_0_3_load_81 | 83 | 0.0018074 | 0.00045298 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3298-24_0_3_load_82 | 84 | 0.00176 | 0.00044109 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3298-24_0_3_load_83 | 85 | 0.00082502 | 0.00020677 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3298-24_0_3_load_85 | 86 | 0.0007176 | 0.00017985 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3298-24_0_3_load_87 | 88 | 0.0022889 | 0.00057365 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3298-24_0_3_load_91 | 89 | 0.00072636 | 0.00018204 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3298-24_0_3_load_101 | 90 | 0.00097021 | 0.00024316 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3298-24_0_3_load_97 | 92 | 0.00041057 | 0.0001029 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3298-24_0_3_load_99 | 93 | 0.00018786 | 4.7081e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3298-24_0_3_load_111 | 94 | 0.0015971 | 0.00040027 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3298-24_0_3_load_114 | 95 | 0.00092617 | 0.00023212 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3298-24_0_3_load_115 | 96 | 0.00033494 | 8.3945e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3298-24_0_3_load_129 | 97 | 0.00021218 | 5.3178e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3298-24_0_3_load_104 | 99 | 0.0010447 | 0.00026181 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3298-24_0_3_load_106 | 100 | 0.0020748 | 0.00052 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3298-24_0_3_load_108 | 102 | 0.00052596 | 0.00013182 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3298-24_0_3_load_109 | 103 | 0.00059628 | 0.00014944 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3298-24_0_3_load_110 | 104 | 0.00044382 | 0.00011123 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3298-24_0_3_load_116 | 105 | 0.00078298 | 0.00019623 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3298-24_0_3_load_119 | 106 | 0.00069966 | 0.00017535 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3298-24_0_3_load_130 | 107 | 0.0012179 | 0.00030523 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3298-24_0_3_load_131 | 108 | 0.00055393 | 0.00013883 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3298-24_0_3_load_133 | 110 | 0.00069884 | 0.00017515 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3298-24_0_3_load_134 | 111 | 0.00058188 | 0.00014583 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3298-24_0_3_load_135 | 112 | 0.0011501 | 0.00028824 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3298-24_0_3_load_136 | 113 | 0.00050703 | 0.00012707 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3298-24_0_3_load_137 | 114 | 0.0039888 | 0.0009997 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3298-24_0_3_load_140 | 115 | 0.0013038 | 0.00032675 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3298-24_0_3_load_138 | 116 | 0.0018916 | 0.00047408 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3298-24_0_3_load_139 | 117 | 0.00070733 | 0.00017727 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3298-24_0_3_load_141 | 118 | 0.00077213 | 0.00019351 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3298-24_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.03087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3298-24_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.85635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3298-24_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.21472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3298-24_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.2741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_3298-24_0_3_line_4 | NAYY 4x150 SE | 4 | 39 | 0.112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_3298-24_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.011628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3298-24_0_3_line_6 | NAYY 4x150 SE | 6 | 50 | 0.062638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3298-24_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.048781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3298-24_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.048199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3298-24_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.020191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3298-24_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.074229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3298-24_0_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.019089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3298-24_0_3_line_12 | NAYY 4x150 SE | 12 | 13 | 0.03946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3298-24_0_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.047657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3298-24_0_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.0086041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3298-24_0_3_line_15 | NAYY 4x150 SE | 14 | 19 | 0.012526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_3298-24_0_3_line_16 | NAYY 4x150 SE | 14 | 20 | 0.025401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_3298-24_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.0027794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3298-24_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.026218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3298-24_0_3_line_19 | NAYY 4x150 SE | 17 | 40 | 0.019045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3298-24_0_3_line_20 | NAYY 4x150 SE | 18 | 42 | 0.01431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3298-24_0_3_line_21 | NAYY 4x150 SE | 19 | 40 | 0.024516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_3298-24_0_3_line_22 | NAYY 4x150 SE | 20 | 39 | 0.12248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_3298-24_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.1167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3298-24_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.11796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3298-24_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.0093211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3298-24_0_3_line_26 | NAYY 4x150 SE | 22 | 25 | 0.0033884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3298-24_0_3_line_27 | NAYY 4x150 SE | 23 | 26 | 0.20538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3298-24_0_3_line_28 | NAYY 4x150 SE | 24 | 27 | 0.0010263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3298-24_0_3_line_29 | NAYY 4x150 SE | 25 | 28 | 0.02922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3298-24_0_3_line_30 | NAYY 4x150 SE | 26 | 31 | 0.006106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3298-24_0_3_line_31 | NAYY 4x150 SE | 28 | 32 | 0.029517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3298-24_0_3_line_32 | NAYY 4x150 SE | 29 | 30 | 0.045043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3298-24_0_3_line_33 | NAYY 4x150 SE | 30 | 33 | 0.020855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3298-24_0_3_line_34 | NAYY 4x150 SE | 32 | 37 | 0.0055467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3298-24_0_3_line_35 | NAYY 4x150 SE | 33 | 38 | 0.010783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3298-24_0_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.020979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3298-24_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.066267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3298-24_0_3_line_38 | NAYY 4x150 SE | 35 | 95 | 0.053174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3298-24_0_3_line_39 | NAYY 4x150 SE | 35 | 96 | 0.03059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3298-24_0_3_line_40 | NAYY 4x150 SE | 36 | 57 | 0.19477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3298-24_0_3_line_41 | NAYY 4x150 SE | 36 | 58 | 0.019154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3298-24_0_3_line_42 | NAYY 4x150 SE | 36 | 51 | 0.21752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3298-24_0_3_line_43 | NAYY 4x150 SE | 37 | 78 | 0.019609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3298-24_0_3_line_44 | NAYY 4x150 SE | 37 | 105 | 0.036443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3298-24_0_3_line_45 | NAYY 4x150 SE | 38 | 64 | 0.014916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3298-24_0_3_line_46 | NAYY 4x150 SE | 40 | 41 | 0.04456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_3298-24_0_3_line_47 | NAYY 4x150 SE | 41 | 89 | 0.04738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3298-24_0_3_line_48 | NAYY 4x150 SE | 41 | 87 | 0.10247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_3298-24_0_3_line_49 | NAYY 4x150 SE | 42 | 114 | 0.048051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3298-24_0_3_line_50 | NAYY 4x150 SE | 43 | 44 | 0.065177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3298-24_0_3_line_51 | NAYY 4x150 SE | 44 | 45 | 0.07694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3298-24_0_3_line_52 | NAYY 4x150 SE | 44 | 46 | 0.14006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3298-24_0_3_line_53 | NAYY 4x150 SE | 45 | 47 | 0.014826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3298-24_0_3_line_54 | NAYY 4x150 SE | 47 | 48 | 0.025753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3298-24_0_3_line_55 | NAYY 4x150 SE | 48 | 49 | 0.020594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3298-24_0_3_line_56 | NAYY 4x150 SE | 49 | 118 | 0.025836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3298-24_0_3_line_57 | NAYY 4x150 SE | 50 | 51 | 0.18084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3298-24_0_3_line_58 | NAYY 4x150 SE | 51 | 56 | 0.086745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3298-24_0_3_line_59 | NAYY 4x150 SE | 51 | 52 | 0.18238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3298-24_0_3_line_60 | NAYY 4x150 SE | 52 | 53 | 0.057453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3298-24_0_3_line_61 | NAYY 4x150 SE | 54 | 55 | 0.045308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3298-24_0_3_line_62 | NAYY 4x150 SE | 55 | 61 | 0.027495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3298-24_0_3_line_63 | NAYY 4x150 SE | 56 | 62 | 0.0017388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3298-24_0_3_line_64 | NAYY 4x150 SE | 57 | 59 | 0.10777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3298-24_0_3_line_65 | NAYY 4x150 SE | 57 | 60 | 0.1477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3298-24_0_3_line_66 | NAYY 4x150 SE | 58 | 63 | 0.11009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3298-24_0_3_line_67 | NAYY 4x150 SE | 61 | 94 | 0.015514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3298-24_0_3_line_68 | NAYY 4x150 SE | 63 | 92 | 0.0034841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3298-24_0_3_line_69 | NAYY 4x150 SE | 64 | 65 | 0.00038114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_3298-24_0_3_line_70 | NAYY 4x150 SE | 65 | 84 | 0.011229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_3298-24_0_3_line_71 | NAYY 4x150 SE | 66 | 67 | 0.18358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3298-24_0_3_line_72 | NAYY 4x150 SE | 67 | 68 | 0.030499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3298-24_0_3_line_73 | NAYY 4x150 SE | 68 | 69 | 0.015987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3298-24_0_3_line_74 | NAYY 4x150 SE | 69 | 73 | 0.012518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3298-24_0_3_line_75 | NAYY 4x150 SE | 69 | 74 | 0.0092228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3298-24_0_3_line_76 | NAYY 4x150 SE | 70 | 71 | 0.011691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3298-24_0_3_line_77 | NAYY 4x150 SE | 70 | 72 | 0.016961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3298-24_0_3_line_78 | NAYY 4x150 SE | 71 | 75 | 0.024377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3298-24_0_3_line_79 | NAYY 4x150 SE | 71 | 76 | 0.006572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3298-24_0_3_line_80 | NAYY 4x150 SE | 72 | 77 | 0.022294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3298-24_0_3_line_81 | NAYY 4x150 SE | 73 | 78 | 0.0021122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3298-24_0_3_line_82 | NAYY 4x150 SE | 74 | 79 | 0.0013761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3298-24_0_3_line_83 | NAYY 4x150 SE | 75 | 104 | 0.013688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3298-24_0_3_line_84 | NAYY 4x150 SE | 76 | 106 | 0.01622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3298-24_0_3_line_85 | NAYY 4x150 SE | 76 | 105 | 0.047072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3298-24_0_3_line_86 | NAYY 4x150 SE | 79 | 97 | 0.021223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3298-24_0_3_line_87 | NAYY 4x150 SE | 80 | 81 | 0.013669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3298-24_0_3_line_88 | NAYY 4x150 SE | 80 | 82 | 0.011737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3298-24_0_3_line_89 | NAYY 4x150 SE | 81 | 83 | 0.058718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3298-24_0_3_line_90 | NAYY 4x150 SE | 82 | 84 | 0.013644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
91 | LV_3298-24_0_3_line_91 | NAYY 4x150 SE | 82 | 85 | 0.028491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
92 | LV_3298-24_0_3_line_92 | NAYY 4x150 SE | 85 | 86 | 0.0075395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
93 | LV_3298-24_0_3_line_93 | NAYY 4x150 SE | 86 | 87 | 0.015975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
94 | LV_3298-24_0_3_line_94 | NAYY 4x150 SE | 87 | 88 | 0.0072514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3298-24_0_3_line_95 | NAYY 4x150 SE | 89 | 90 | 0.024805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3298-24_0_3_line_96 | NAYY 4x150 SE | 90 | 91 | 0.068787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3298-24_0_3_line_97 | NAYY 4x150 SE | 91 | 98 | 0.033848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3298-24_0_3_line_98 | NAYY 4x150 SE | 91 | 99 | 0.10008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_3298-24_0_3_line_99 | NAYY 4x150 SE | 92 | 93 | 0.021807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_3298-24_0_3_line_100 | NAYY 4x150 SE | 93 | 94 | 0.0001078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_3298-24_0_3_line_101 | NAYY 4x150 SE | 96 | 97 | 0.023158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_3298-24_0_3_line_102 | NAYY 4x150 SE | 98 | 100 | 0.011182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_3298-24_0_3_line_103 | NAYY 4x150 SE | 99 | 101 | 0.022285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_3298-24_0_3_line_104 | NAYY 4x150 SE | 101 | 102 | 0.095415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_3298-24_0_3_line_105 | NAYY 4x150 SE | 101 | 103 | 0.048881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_3298-24_0_3_line_106 | NAYY 4x150 SE | 102 | 104 | 0.011269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_3298-24_0_3_line_107 | NAYY 4x150 SE | 107 | 108 | 0.0052545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_3298-24_0_3_line_108 | NAYY 4x150 SE | 107 | 109 | 0.025844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_3298-24_0_3_line_109 | NAYY 4x150 SE | 108 | 110 | 0.016851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_3298-24_0_3_line_110 | NAYY 4x150 SE | 109 | 111 | 0.031279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_3298-24_0_3_line_111 | NAYY 4x150 SE | 109 | 112 | 0.010475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_3298-24_0_3_line_112 | NAYY 4x150 SE | 111 | 113 | 0.0010265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_3298-24_0_3_line_113 | NAYY 4x150 SE | 112 | 114 | 0.035501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_3298-24_0_3_line_114 | NAYY 4x150 SE | 113 | 115 | 0.0055206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_3298-24_0_3_line_115 | NAYY 4x150 SE | 115 | 116 | 0.0097352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_3298-24_0_3_line_116 | NAYY 4x150 SE | 116 | 117 | 0.016399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_3298-24_0_3_line_117 | NAYY 4x150 SE | 117 | 118 | 0.031245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3298-24_0_3_trafo_86 | 0.25 MVA 20/0.4 kV | 119 | 64 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2740777.1297 | 1223576.8855 | 2740759.0293 | 1223575.3369 | 2740747.948 | 1223581.5491
1 | 2740367.619 | 1222814.2896 | 2740747.948 | 1223581.5491
2 | 2740367.619 | 1222814.2896 | 2740386.6729 | 1222815.2062 | 2740405.8153 | 1222814.9463 | 2740419.6996 | 1222812.1046 | 2740438.0553 | 1222800.1718 | 2740446.352 | 1222778.8159 | 2740447.2732 | 1222770.0079 | 2740452.0181 | 1222764.1147 | 2740459.4833 | 1222762.8787 | 2740469.3276 | 1222766.2916 | 2740482.3653 | 1222769.4241 | 2740496.3083 | 1222764.1041 | 2740505.093 | 1222752.3013 | 2740509.9131 | 1222743.2295 | 2740521.1278 | 1222733.597 | 2740529.581 | 1222720.73
3 | 2740367.619 | 1222814.2896 | 2740364.3235 | 1222807.3171 | 2740356.9813 | 1222807.5219 | 2740344.6407 | 1222813.1136 | 2740338.6194 | 1222809.7577 | 2740335.6293 | 1222798.5221 | 2740332.5634 | 1222781.8133 | 2740331.7249 | 1222765.5686 | 2740327.9902 | 1222750.8347 | 2740324.7998 | 1222739.4053 | 2740324.4324 | 1222729.2435 | 2740330.7928 | 1222718.8734 | 2740344.2549 | 1222708.8488 | 2740352.8314 | 1222699.1093 | 2740357.0436 | 1222684.5962 | 2740357.8663 | 1222666.7671 | 2740356.2309 | 1222649.8919 | 2740360.8834 | 1222633.7656 | 2740362.8142 | 1222612.0703 | 2740369.9241 | 1222586.9832
4 | 2740369.9241 | 1222586.9832 | 2740375.65 | 1222581.3245 | 2740379.7254 | 1222572.9356 | 2740383.2803 | 1222559.5969 | 2740389.614 | 1222546.1904 | 2740395.0963 | 1222537.9904 | 2740403.1475 | 1222524.1573 | 2740415.0354 | 1222512.6945 | 2740421.0432 | 1222507.6319 | 2740427.728 | 1222504.7537 | 2740433.066 | 1222498.174
5 | 2741316.4553 | 1222099.8321 | 2741320.0283 | 1222095.4131 | 2741323.8325 | 1222090.8439
6 | 2741280.9032 | 1222151.2437 | 2741287.3512 | 1222140.4763 | 2741298.2699 | 1222125.834 | 2741305.0777 | 1222118.4558 | 2741313.049 | 1222104.9001 | 2741316.4553 | 1222099.8321
7 | 2740357.8942 | 1222358.2395 | 2740358.39 | 1222359.2726 | 2740363.4195 | 1222367.3758 | 2740370.0737 | 1222374.4832 | 2740388.4275 | 1222390.3405 | 2740390.5623 | 1222393.8481
8 | 2740340.0709 | 1222314.5916 | 2740338.9533 | 1222316.9339 | 2740339.7528 | 1222321.3232 | 2740343.0492 | 1222327.306 | 2740357.8942 | 1222358.2395
9 | 2740394.4283 | 1222413.2349 | 2740394.2138 | 1222402.3872 | 2740392.321 | 1222396.7378 | 2740390.5623 | 1222393.8481
10 | 2740340.0709 | 1222314.5916 | 2740386.5225 | 1222343.4 | 2740403.1073 | 1222353.7879
11 | 2740419.3378 | 1222363.8356 | 2740411.3189 | 1222358.9312 | 2740403.1073 | 1222353.7879
12 | 2740419.3378 | 1222363.8356 | 2740417.9492 | 1222366.4051 | 2740417.3982 | 1222370.1397 | 2740418.9628 | 1222373.6129 | 2740422.0764 | 1222375.4434 | 2740433.2198 | 1222382.3566 | 2740434.5696 | 1222383.6784 | 2740435.2039 | 1222385.4171 | 2740434.641 | 1222387.728 | 2740432.0025 | 1222393.2398
13 | 2740463.8547 | 1222364.9532 | 2740448.1373 | 1222362.1467 | 2740443.3701 | 1222361.5782 | 2740440.2839 | 1222365.342 | 2740437.0239 | 1222366.8219 | 2740430.3731 | 1222367.6102 | 2740423.574 | 1222366.004 | 2740419.3378 | 1222363.8356
14 | 2740428.2874 | 1222401.0006 | 2740432.0025 | 1222393.2398
15 | 2740463.8547 | 1222364.9532 | 2740475.7686 | 1222361.0865
16 | 2740463.8547 | 1222364.9532 | 2740469.3921 | 1222369.5433 | 2740469.7278 | 1222372.9986 | 2740470.3894 | 1222383.5454 | 2740470.978 | 1222387.6728
17 | 2740496.5746 | 1222343.1398 | 2740497.3219 | 1222345.8168
18 | 2740496.5746 | 1222343.1398 | 2740498.3052 | 1222341.8351 | 2740496.6336 | 1222335.5013 | 2740484.8911 | 1222324.0701 | 2740484.3226 | 1222323.114
19 | 2740499.9851 | 1222364.5274 | 2740500.0343 | 1222361.804 | 2740499.709 | 1222354.3678 | 2740497.3219 | 1222345.8168
20 | 2740477.0087 | 1222310.8148 | 2740484.3226 | 1222323.114
21 | 2740499.9851 | 1222364.5274 | 2740486.2477 | 1222361.7453 | 2740475.7686 | 1222361.0865
22 | 2740470.978 | 1222387.6728 | 2740471.0274 | 1222388.0198 | 2740471.241 | 1222392.7956 | 2740469.8046 | 1222400.9242 | 2740468.4763 | 1222408.01 | 2740465.8128 | 1222413.7966 | 2740459.1603 | 1222420.7678 | 2740452.8425 | 1222424.1662 | 2740448.972 | 1222428.6898 | 2740444.325 | 1222435.8864 | 2740441.208 | 1222447.0668 | 2740435.9713 | 1222457.708 | 2740433.9211 | 1222467.0899 | 2740433.6258 | 1222475.1008 | 2740432.956 | 1222485.7942 | 2740433.066 | 1222498.174 | 2740433.066 | 1222498.174
23 | 2740956.3785 | 1222312.2575 | 2740952.5241 | 1222316.0807 | 2740946.6552 | 1222316.2085 | 2740939.1439 | 1222311.9938 | 2740924.3742 | 1222311.466 | 2740914.1307 | 1222313.9924 | 2740905.955 | 1222318.9254 | 2740899.7056 | 1222324.8715 | 2740892.2535 | 1222331.612 | 2740888.0794 | 1222345.0915 | 2740889.6127 | 1222359.1731 | 2740889.3794 | 1222369.988 | 2740888.3647 | 1222374.0072
24 | 2740860.2407 | 1222488.5556 | 2740867.3065 | 1222457.4183 | 2740888.3647 | 1222374.0072
25 | 2740956.3785 | 1222312.2575 | 2740959.1972 | 1222312.4355 | 2740964.7303 | 1222315.8403
26 | 2740956.3785 | 1222312.2575 | 2740953.3929 | 1222310.6552
27 | 2740860.2407 | 1222488.5556 | 2740858.054 | 1222500.7921 | 2740845.5793 | 1222555.9108 | 2740840.4828 | 1222566.0545 | 2740836.1399 | 1222606.5531 | 2740824.2205 | 1222638.2316 | 2740818.2222 | 1222655.3822 | 2740818.5103 | 1222674.3052 | 2740811.9501 | 1222676.7299 | 2740805.5031 | 1222676.9332
28 | 2740965.6044 | 1222316.3781 | 2740964.7303 | 1222315.8403
29 | 2740932.6931 | 1222290.3473 | 2740938.075 | 1222295.61 | 2740949.4848 | 1222308.5578 | 2740953.3929 | 1222310.6552
30 | 2740800.2901 | 1222673.7294 | 2740805.5031 | 1222676.9332
31 | 2740921.91 | 1222263.95 | 2740922.0295 | 1222268.8519 | 2740924.3576 | 1222278.5263 | 2740926.2624 | 1222283.0086 | 2740928.8562 | 1222286.5953 | 2740932.6931 | 1222290.3473
32 | 2740687.53 | 1222474.9275 | 2740727.4691 | 1222480.5983 | 2740732.0453 | 1222481.6861
33 | 2740687.53 | 1222474.9275 | 2740683.6656 | 1222470.8438 | 2740671.1942 | 1222466.2008 | 2740669.373 | 1222465.5784
34 | 2740921.1751 | 1222258.4672 | 2740921.8678 | 1222262.2201 | 2740921.91 | 1222263.95
35 | 2740659.1692 | 1222462.0911 | 2740669.373 | 1222465.5784
36 | 2741011.7361 | 1222259.1004 | 2741002.991 | 1222240.0215
37 | 2741011.7361 | 1222259.1004 | 2741040.3229 | 1222318.9175
38 | 2740975.7446 | 1222204.9464 | 2740992.333 | 1222206.8741 | 2741001.241 | 1222217.1605 | 2741002.991 | 1222240.0215
39 | 2741002.991 | 1222240.0215 | 2740998.8737 | 1222235.7203 | 2740993.9385 | 1222232.6342 | 2740989.5718 | 1222230.8515 | 2740983.2637 | 1222229.6567 | 2740975.5859 | 1222229.7492
40 | 2741040.3229 | 1222318.9175 | 2741043.1922 | 1222324.0009 | 2741046.0167 | 1222328.0936 | 2741048.0899 | 1222330.5892 | 2741053.4959 | 1222334.6208 | 2741063.2711 | 1222338.7225 | 2741074.1505 | 1222341.3825 | 2741080.898 | 1222341.6426 | 2741087.067 | 1222340.3765 | 2741091.9234 | 1222338.1453 | 2741088.9131 | 1222364.6077 | 2741096.8317 | 1222414.0376 | 2741106.0839 | 1222438.2665 | 2741108.0891 | 1222447.1438 | 2741106.9586 | 1222463.7757 | 2741106.831 | 1222469.1551
41 | 2741040.3229 | 1222318.9175 | 2741043.512 | 1222318.5149 | 2741048.528 | 1222312.4285 | 2741050.844 | 1222307.2456 | 2741050.8172 | 1222304.87
42 | 2741040.3229 | 1222318.9175 | 2741043.1922 | 1222324.0009 | 2741046.0167 | 1222328.0936 | 2741048.0899 | 1222330.5892 | 2741053.4959 | 1222334.6208 | 2741063.2711 | 1222338.7225 | 2741074.1505 | 1222341.3825 | 2741080.898 | 1222341.6426 | 2741087.067 | 1222340.3765 | 2741091.9234 | 1222338.1453 | 2741094.3747 | 1222334.6114 | 2741098.9407 | 1222326.0679 | 2741117.7801 | 1222289.3829 | 2741128.1467 | 1222276.8734 | 2741143.8664 | 1222265.8254 | 2741162.1609 | 1222259.487 | 2741183.6121 | 1222252.5118 | 2741206.1643 | 1222244.5508
43 | 2740921.1751 | 1222258.4672 | 2740923.2061 | 1222256.9807 | 2740925.3915 | 1222256.343 | 2740926.2609 | 1222248.7904 | 2740924.2624 | 1222241.8594
44 | 2740921.1751 | 1222258.4672 | 2740920.2082 | 1222256.9986 | 2740917.692 | 1222255.5823 | 2740913.3369 | 1222255.557 | 2740893.603 | 1222256.6799 | 2740885.9384 | 1222257.0965
45 | 2740659.1692 | 1222462.0911 | 2740652.1424 | 1222459.6896 | 2740645.6398 | 1222455.9713
46 | 2740501.0201 | 1222409.0676 | 2740500.957 | 1222403.3835 | 2740499.9851 | 1222364.5274
47 | 2740501.0201 | 1222409.0676 | 2740503.9374 | 1222417.2768 | 2740509.5798 | 1222421.9139 | 2740516.3509 | 1222423.0969 | 2740524.1745 | 1222422.4476 | 2740538.2201 | 1222419.5655 | 2740540.5194 | 1222419.4605
48 | 2740501.0201 | 1222409.0676 | 2740496.6487 | 1222416.1594 | 2740503.439 | 1222434.8467 | 2740502.532 | 1222435.6593 | 2740505.2229 | 1222437.3909 | 2740513.1805 | 1222440.7038 | 2740524.1811 | 1222442.4093 | 2740539.5558 | 1222441.4046 | 2740558.5693 | 1222437.0163 | 2740573.6502 | 1222433.9919
49 | 2740477.0087 | 1222310.8148 | 2740469.3306 | 1222297.9029 | 2740462.2991 | 1222265.6317
50 | 2740487.8974 | 1222021.5941 | 2740494.5306 | 1222022.8517 | 2740509.1666 | 1222033.2503 | 2740532.441 | 1222052.2157 | 2740537.9741 | 1222061.079
51 | 2740487.8974 | 1222021.5941 | 2740474.8086 | 1222088.3756 | 2740472.1948 | 1222096.8703
52 | 2740570.2333 | 1222006.2573 | 2740529.9342 | 1221986.1335 | 2740495.2154 | 1221970.3898 | 2740491.874 | 1221969.5213 | 2740490.1664 | 1221970.1705 | 2740489.5699 | 1221972.614 | 2740490.0236 | 1221976.5392 | 2740489.8994 | 1221986.6226 | 2740491.1445 | 1222000.4193 | 2740487.8974 | 1222021.5941
53 | 2740466.9658 | 1222110.7117 | 2740470.0085 | 1222103.9757 | 2740472.1948 | 1222096.8703
54 | 2740474.5333 | 1222130.5599 | 2740467.1841 | 1222126.2169 | 2740464.7389 | 1222123.7127 | 2740463.7211 | 1222120.5415 | 2740464.3573 | 1222118.021 | 2740465.3564 | 1222114.2747 | 2740466.9658 | 1222110.7117
55 | 2740474.5333 | 1222130.5599 | 2740477.0632 | 1222132.0549 | 2740490.1909 | 1222143.3298 | 2740490.4307 | 1222143.5859
56 | 2740503.8354 | 1222164.8479 | 2740503.8354 | 1222164.8479 | 2740503.0857 | 1222160.2818 | 2740500.45 | 1222154.2812 | 2740497.0599 | 1222150.6648 | 2740490.4307 | 1222143.5859
57 | 2741206.1643 | 1222244.5508 | 2741183.6121 | 1222252.5118 | 2741181.402 | 1222248.1112 | 2741176.6914 | 1222249.3116 | 2741174.7163 | 1222247.163 | 2741209.4031 | 1222224.7885 | 2741226.315 | 1222212.1231 | 2741246.3981 | 1222189.2688 | 2741257.9074 | 1222175.9526 | 2741270.6526 | 1222163.3219 | 2741280.9032 | 1222151.2437
58 | 2741206.1643 | 1222244.5508 | 2741207.2505 | 1222246.7451 | 2741227.39 | 1222255.0743 | 2741235.5201 | 1222259.7489 | 2741239.5987 | 1222263.1152 | 2741240.5719 | 1222267.8312 | 2741239.9676 | 1222271.2309 | 2741236.9783 | 1222275.041 | 2741231.1883 | 1222279.1961 | 2741221.711 | 1222283.9643 | 2741205.3813 | 1222288.6511
59 | 2741206.1643 | 1222244.5508 | 2741303.6161 | 1222213.547 | 2741362.9593 | 1222194.6726 | 2741372.9338 | 1222194.5427 | 2741380.5474 | 1222197.9597
60 | 2741380.5474 | 1222197.9597 | 2741377.798 | 1222188.7977 | 2741357.5432 | 1222172.2248 | 2741337.4747 | 1222163.9271
61 | 2741119.6486 | 1222194.3046 | 2741121.665 | 1222191.1798 | 2741123.5059 | 1222182.6717 | 2741120.7572 | 1222171.5415 | 2741113.764 | 1222162.4347 | 2741109.0734 | 1222158.6314 | 2741105.6377 | 1222156.7883
62 | 2741079.8952 | 1222161.2929 | 2741085.484 | 1222158.4834 | 2741091.7104 | 1222155.7619 | 2741098.143 | 1222154.5911 | 2741103.1088 | 1222155.4317 | 2741105.6377 | 1222156.7883
63 | 2741203.71 | 1222289.1308 | 2741205.3813 | 1222288.6511
64 | 2741106.831 | 1222469.1551 | 2741108.6762 | 1222470.7001 | 2741114.671 | 1222471.9766 | 2741118.8698 | 1222469.6297 | 2741125.1406 | 1222459.2694 | 2741127.7015 | 1222454.6372 | 2741132.0809 | 1222452.6727 | 2741139.9299 | 1222455.1164 | 2741159.3216 | 1222463.2719 | 2741173.8752 | 1222469.0552 | 2741180.6373 | 1222469.9719 | 2741189.1366 | 1222468.6723 | 2741200.1822 | 1222463.6744
65 | 2741106.831 | 1222469.1551 | 2741099.4105 | 1222473.2828 | 2741096.5372 | 1222475.7279 | 2741094.9127 | 1222484.0743 | 2741093.5359 | 1222490.614 | 2741094.2555 | 1222502.8304 | 2741096.4002 | 1222519.5844 | 2741094.1511 | 1222532.1864 | 2741087.2498 | 1222542.2648 | 2741081.2973 | 1222547.2058 | 2741070.882 | 1222548.9939 | 2741062.6536 | 1222548.1538 | 2741060.8128 | 1222543.862 | 2741061.4493 | 1222532.7009 | 2741060.632 | 1222524.2854 | 2741057.7815 | 1222515.5326 | 2741052.7736 | 1222511.9999
66 | 2741050.8172 | 1222304.87 | 2741050.7265 | 1222296.8339 | 2741048.7836 | 1222273.479 | 2741049.609 | 1222257.2291 | 2741059.0019 | 1222205.7632 | 2741061.7837 | 1222196.1283
67 | 2741069.2632 | 1222172.214 | 2741072.5134 | 1222167.1947 | 2741077.4352 | 1222162.5295 | 2741079.8952 | 1222161.2929
68 | 2741062.7501 | 1222192.7809 | 2741061.7837 | 1222196.1283
69 | 2740645.6398 | 1222455.9713 | 2740645.3089 | 1222455.7821
70 | 2740645.3089 | 1222455.7821 | 2740635.5609 | 1222450.208
71 | 2740851.6113 | 1222054.358 | 2740853.2102 | 1222069.4533 | 2740855.1159 | 1222077.4274 | 2740854.9879 | 1222083.1515 | 2740853.8884 | 1222088.8859 | 2740848.3619 | 1222106.2812 | 2740846.3072 | 1222151.4044 | 2740846.6371 | 1222163.7561 | 2740848.6092 | 1222175.0124 | 2740852.3294 | 1222186.4769 | 2740856.5555 | 1222195.162 | 2740868.1221 | 1222211.4384 | 2740871.7467 | 1222219.8869 | 2740879.9132 | 1222222.7159 | 2740881.5994 | 1222223.6237
72 | 2740908.454 | 1222238.0821 | 2740881.5994 | 1222223.6237
73 | 2740908.454 | 1222238.0821 | 2740914.4069 | 1222232.4848 | 2740917.2216 | 1222229.9493 | 2740920.839 | 1222228.1222
74 | 2740920.839 | 1222228.1222 | 2740922.3896 | 1222231.8621 | 2740922.4904 | 1222239.4599 | 2740923.0076 | 1222240.1603
75 | 2740920.839 | 1222228.1222 | 2740923.4364 | 1222227.3942 | 2740928.0424 | 1222227.0807 | 2740929.944 | 1222227.2438
76 | 2740845.4479 | 1222250.213 | 2740841.686 | 1222251.0914 | 2740834.2926 | 1222253.7522
77 | 2740845.4479 | 1222250.213 | 2740840.4163 | 1222239.9741 | 2740836.3945 | 1222236.145
78 | 2740834.2926 | 1222253.7522 | 2740827.3007 | 1222257.4011 | 2740815.8427 | 1222267.3163 | 2740814.8522 | 1222268.2154
79 | 2740834.2926 | 1222253.7522 | 2740838.9091 | 1222258.4432
80 | 2740826.4241 | 1222217.8132 | 2740827.2288 | 1222227.4182 | 2740836.3945 | 1222236.145
81 | 2740924.2624 | 1222241.8594 | 2740923.0076 | 1222240.1603
82 | 2740929.944 | 1222227.2438 | 2740931.3151 | 1222227.3614
83 | 2740804.7167 | 1222277.4153 | 2740814.8522 | 1222268.2154
84 | 2740838.9091 | 1222258.4432 | 2740849.1822 | 1222271.0191
85 | 2740838.9091 | 1222258.4432 | 2740846.8566 | 1222258.3422 | 2740861.4515 | 1222257.2865 | 2740883.6265 | 1222257.2221 | 2740885.9384 | 1222257.0965
86 | 2740931.3151 | 1222227.3614 | 2740952.4608 | 1222229.1753
87 | 2740627.3145 | 1222430.464 | 2740630.3079 | 1222417.127
88 | 2740624.7442 | 1222441.9162 | 2740627.3145 | 1222430.464
89 | 2740668.9305 | 1222392.8068 | 2740641.3229 | 1222389.9745 | 2740637.326 | 1222391.4925 | 2740634.9558 | 1222396.4185 | 2740630.3079 | 1222417.127
90 | 2740624.7442 | 1222441.9162 | 2740629.7625 | 1222445.9826 | 2740634.3308 | 1222449.5047 | 2740635.5609 | 1222450.208
91 | 2740624.7442 | 1222441.9162 | 2740620.2188 | 1222440.1078 | 2740613.0218 | 1222438.0027 | 2740599.4466 | 1222436.0694 | 2740597.0555 | 1222435.7917
92 | 2740589.5662 | 1222434.9221 | 2740597.0555 | 1222435.7917
93 | 2740573.6502 | 1222433.9919 | 2740579.4586 | 1222433.8512 | 2740586.582 | 1222434.5755 | 2740589.5662 | 1222434.9221
94 | 2740573.6502 | 1222433.9919 | 2740575.4718 | 1222435.5807 | 2740580.213 | 1222436.5252
95 | 2740540.5194 | 1222419.4605 | 2740558.6014 | 1222418.6347 | 2740564.8667 | 1222416.248
96 | 2740614.6582 | 1222370.05 | 2740585.7451 | 1222392.2752 | 2740580.3727 | 1222398.0533 | 2740571.441 | 1222411.5539 | 2740567.7823 | 1222415.1373 | 2740564.8667 | 1222416.248
97 | 2740614.6582 | 1222370.05 | 2740623.2851 | 1222368.1632 | 2740633.9266 | 1222361.3087 | 2740639.9761 | 1222359.3165 | 2740645.9841 | 1222358.4354
98 | 2740614.6582 | 1222370.05 | 2740616.9451 | 1222368.0022 | 2740631.7748 | 1222351.8609 | 2740646.4179 | 1222334.6254 | 2740652.0148 | 1222329.3086 | 2740657.7229 | 1222325.707 | 2740686.9365 | 1222314.5431 | 2740693.4869 | 1222312.9759
99 | 2741069.2046 | 1222172.3045 | 2741066.3221 | 1222176.7562 | 2741064.6821 | 1222182.2331 | 2741064.3592 | 1222187.2075 | 2741062.7501 | 1222192.7809
100 | 2741069.2632 | 1222172.214 | 2741069.2046 | 1222172.3045
101 | 2740975.5859 | 1222229.7492 | 2740961.1748 | 1222229.9229 | 2740952.4608 | 1222229.1753
102 | 2740654.1529 | 1222365.9793 | 2740650.8469 | 1222362.02 | 2740645.9841 | 1222358.4354
103 | 2740715.6722 | 1222313.9661 | 2740701.0849 | 1222312.4645 | 2740693.8736 | 1222312.8834 | 2740693.4869 | 1222312.9759
104 | 2740715.6722 | 1222313.9661 | 2740747.209 | 1222318.1594 | 2740761.491 | 1222316.5289 | 2740771.7402 | 1222313.1127 | 2740779.7392 | 1222308.9094 | 2740785.5077 | 1222304.0416 | 2740795.8099 | 1222286.5257 | 2740796.7326 | 1222285.3208
105 | 2740696.2276 | 1222270.1358 | 2740708.7745 | 1222301.1254 | 2740712.0902 | 1222306.9198 | 2740716.0693 | 1222310.6504 | 2740715.6722 | 1222313.9661
106 | 2740804.7167 | 1222277.4153 | 2740798.3861 | 1222283.1616 | 2740796.7326 | 1222285.3208
107 | 2740422.1954 | 1222206.3187 | 2740418.7332 | 1222202.3662
108 | 2740438.6738 | 1222226.1964 | 2740434.4051 | 1222220.2573 | 2740422.1954 | 1222206.3187
109 | 2740407.6299 | 1222189.6906 | 2740418.7332 | 1222202.3662
110 | 2740438.6738 | 1222226.1964 | 2740445.3202 | 1222220.4594 | 2740448.9672 | 1222219.6225 | 2740456.5083 | 1222220.3454 | 2740459.2873 | 1222219.955 | 2740460.8613 | 1222218.5354 | 2740464.5328 | 1222213.4711
111 | 2740438.6738 | 1222226.1964 | 2740443.8726 | 1222235.2898
112 | 2740465.1354 | 1222212.64 | 2740464.5328 | 1222213.4711
113 | 2740443.8726 | 1222235.2898 | 2740446.8651 | 1222240.524 | 2740462.2991 | 1222265.6317 | 2740462.2991 | 1222265.6317
114 | 2740465.1354 | 1222212.64 | 2740468.3757 | 1222208.1705 | 2740468.3757 | 1222208.1705
115 | 2740477.0259 | 1222203.7041 | 2740468.3757 | 1222208.1705
116 | 2740477.0259 | 1222203.7041 | 2740477.0259 | 1222203.7041 | 2740484.014 | 1222195.384 | 2740487.4726 | 1222191.0648
117 | 2740503.8354 | 1222164.8479 | 2740500.9969 | 1222173.2214 | 2740496.3367 | 1222180.0061 | 2740492.1068 | 1222185.2775 | 2740487.4726 | 1222191.0648

## bus_geodata
| x | y | coords
0 | 2740777.1297 | 1223576.8855
1 | 2740747.948 | 1223581.5491
2 | 2740367.619 | 1222814.2896
3 | 2740529.581 | 1222720.73
4 | 2740369.9241 | 1222586.9832
5 | 2741323.8325 | 1222090.8439
6 | 2741316.4553 | 1222099.8321
7 | 2740357.8942 | 1222358.2395
8 | 2740390.5623 | 1222393.8481
9 | 2740340.0709 | 1222314.5916
10 | 2740394.4283 | 1222413.2349
11 | 2740403.1073 | 1222353.7879
12 | 2740419.3378 | 1222363.8356
13 | 2740432.0025 | 1222393.2398
14 | 2740463.8547 | 1222364.9532
15 | 2740428.2874 | 1222401.0006
16 | 2740496.5746 | 1222343.1398
17 | 2740497.3219 | 1222345.8168
18 | 2740484.3226 | 1222323.114
19 | 2740475.7686 | 1222361.0865
20 | 2740470.978 | 1222387.6728
21 | 2740888.3647 | 1222374.0072
22 | 2740956.3785 | 1222312.2575
23 | 2740860.2407 | 1222488.5556
24 | 2740964.7303 | 1222315.8403
25 | 2740953.3929 | 1222310.6552
26 | 2740805.5031 | 1222676.9332
27 | 2740965.6044 | 1222316.3781
28 | 2740932.6931 | 1222290.3473
29 | 2740732.0453 | 1222481.6861
30 | 2740687.53 | 1222474.9275
31 | 2740800.2901 | 1222673.7294
32 | 2740921.91 | 1222263.95
33 | 2740669.373 | 1222465.5784
34 | 2741011.7361 | 1222259.1004
35 | 2741002.991 | 1222240.0215
36 | 2741040.3229 | 1222318.9175
37 | 2740921.1751 | 1222258.4672
38 | 2740659.1692 | 1222462.0911
39 | 2740433.066 | 1222498.174
40 | 2740499.9851 | 1222364.5274
41 | 2740501.0201 | 1222409.0676
42 | 2740477.0087 | 1222310.8148
43 | 2740537.9741 | 1222061.079
44 | 2740487.8974 | 1222021.5941
45 | 2740472.1948 | 1222096.8703
46 | 2740570.2333 | 1222006.2573
47 | 2740466.9658 | 1222110.7117
48 | 2740474.5333 | 1222130.5599
49 | 2740490.4307 | 1222143.5859
50 | 2741280.9032 | 1222151.2437
51 | 2741206.1643 | 1222244.5508
52 | 2741380.5474 | 1222197.9597
53 | 2741337.4747 | 1222163.9271
54 | 2741119.6486 | 1222194.3046
55 | 2741105.6377 | 1222156.7883
56 | 2741205.3813 | 1222288.6511
57 | 2741106.831 | 1222469.1551
58 | 2741050.8172 | 1222304.87
59 | 2741200.1822 | 1222463.6744
60 | 2741052.7736 | 1222511.9999
61 | 2741079.8952 | 1222161.2929
62 | 2741203.71 | 1222289.1308
63 | 2741061.7837 | 1222196.1283
64 | 2740645.6398 | 1222455.9713
65 | 2740645.3089 | 1222455.7821
66 | 2740851.6113 | 1222054.358
67 | 2740881.5994 | 1222223.6237
68 | 2740908.454 | 1222238.0821
69 | 2740920.839 | 1222228.1222
70 | 2740845.4479 | 1222250.213
71 | 2740834.2926 | 1222253.7522
72 | 2740836.3945 | 1222236.145
73 | 2740923.0076 | 1222240.1603
74 | 2740929.944 | 1222227.2438
75 | 2740814.8522 | 1222268.2154
76 | 2740838.9091 | 1222258.4432
77 | 2740826.4241 | 1222217.8132
78 | 2740924.2624 | 1222241.8594
79 | 2740931.3151 | 1222227.3614
80 | 2740627.3145 | 1222430.464
81 | 2740630.3079 | 1222417.127
82 | 2740624.7442 | 1222441.9162
83 | 2740668.9305 | 1222392.8068
84 | 2740635.5609 | 1222450.208
85 | 2740597.0555 | 1222435.7917
86 | 2740589.5662 | 1222434.9221
87 | 2740573.6502 | 1222433.9919
88 | 2740580.213 | 1222436.5252
89 | 2740540.5194 | 1222419.4605
90 | 2740564.8667 | 1222416.248
91 | 2740614.6582 | 1222370.05
92 | 2741062.7501 | 1222192.7809
93 | 2741069.2046 | 1222172.3045
94 | 2741069.2632 | 1222172.214
95 | 2740975.7446 | 1222204.9464
96 | 2740975.5859 | 1222229.7492
97 | 2740952.4608 | 1222229.1753
98 | 2740645.9841 | 1222358.4354
99 | 2740693.4869 | 1222312.9759
100 | 2740654.1529 | 1222365.9793
101 | 2740715.6722 | 1222313.9661
102 | 2740796.7326 | 1222285.3208
103 | 2740696.2276 | 1222270.1358
104 | 2740804.7167 | 1222277.4153
105 | 2740885.9384 | 1222257.0965
106 | 2740849.1822 | 1222271.0191
107 | 2740422.1954 | 1222206.3187
108 | 2740418.7332 | 1222202.3662
109 | 2740438.6738 | 1222226.1964
110 | 2740407.6299 | 1222189.6906
111 | 2740464.5328 | 1222213.4711
112 | 2740443.8726 | 1222235.2898
113 | 2740465.1354 | 1222212.64
114 | 2740462.2991 | 1222265.6317
115 | 2740468.3757 | 1222208.1705
116 | 2740477.0259 | 1222203.7041
117 | 2740487.4726 | 1222191.0648
118 | 2740503.8354 | 1222164.8479
119 | 2740624.7442 | 1222441.9162

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1