## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3298-28_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3298-28_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3298-28_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3298-28_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3298-28_0_3_node_29 | 0.4 | n |  | TRUE
5 | bus_LV_3298-28_0_3_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_3298-28_0_3_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_3298-28_0_3_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_3298-28_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_3298-28_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_3298-28_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3298-28_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3298-28_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_3298-28_0_3_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_3298-28_0_3_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_3298-28_0_3_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_3298-28_0_3_node_92 | 0.4 | n |  | TRUE
17 | bus_LV_3298-28_0_3_node_91 | 0.4 | n |  | TRUE
18 | bus_LV_3298-28_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_3298-28_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_3298-28_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_3298-28_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_3298-28_0_3_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_3298-28_0_3_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_3298-28_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_3298-28_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_3298-28_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_3298-28_0_3_node_77 | 0.4 | n |  | TRUE
28 | bus_LV_3298-28_0_3_node_73 | 0.4 | n |  | TRUE
29 | bus_LV_3298-28_0_3_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_3298-28_0_3_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_3298-28_0_3_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_3298-28_0_3_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_3298-28_0_3_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_3298-28_0_3_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_3298-28_0_3_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_3298-28_0_3_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_3298-28_0_3_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_3298-28_0_3_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_3298-28_0_3_node_78 | 0.4 | n |  | TRUE
40 | bus_LV_3298-28_0_3_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_3298-28_0_3_node_79 | 0.4 | n |  | TRUE
42 | bus_LV_3298-28_0_3_node_75 | 0.4 | n |  | TRUE
43 | bus_LV_3298-28_0_3_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_3298-28_0_3_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_3298-28_0_3_node_80 | 0.4 | n |  | TRUE
46 | bus_LV_3298-28_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_3298-28_0_3_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_3298-28_0_3_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_3298-28_0_3_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_3298-28_0_3_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_3298-28_0_3_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_3298-28_0_3_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_3298-28_0_3_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_3298-28_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_3298-28_0_3_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_3298-28_0_3_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_3298-28_0_3_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_3298-28_0_3_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_3298-28_0_3_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_3298-28_0_3_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_3298-28_0_3_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_3298-28_0_3_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_3298-28_0_3_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_3298-28_0_3_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_3298-28_0_3_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_3298-28_0_3_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_3298-28_0_3_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_3298-28_0_3_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_3298-28_0_3_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_3298-28_0_3_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_3298-28_0_3_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_3298-28_0_3_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_3298-28_0_3_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_3298-28_0_3_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_3298-28_0_3_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_3298-28_0_3_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_3298-28_0_3_node_84 | 0.4 | n |  | TRUE
78 | bus_LV_3298-28_0_3_node_85 | 0.4 | n |  | TRUE
79 | bus_LV_3298-28_0_3_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_3298-28_0_3_node_82 | 0.4 | n |  | TRUE
81 | bus_LV_3298-28_0_3_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_3298-28_0_3_node_86 | 0.4 | n |  | TRUE
83 | bus_LV_3298-28_0_3_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_3298-28_0_3_node_93 | 0.4 | n |  | TRUE
85 | bus_LV_3298-28_0_3_node_88 | 0.4 | n |  | TRUE
86 | bus_LV_3298-28_0_3_node_89 | 0.4 | n |  | TRUE
87 | bus_LV_3298-28_0_3_node_90 | 0.4 | n |  | TRUE
88 | bus_MV_150_0_node_144 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3298-28_0_3_load_0 | 0 | 0.00016346 | 4.0968e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3298-28_0_3_load_1 | 1 | 0.0044164 | 0.0011068 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3298-28_0_3_load_2 | 2 | 0.0025219 | 0.00063206 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3298-28_0_3_load_29 | 4 | 0.001465 | 0.00036715 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3298-28_0_3_load_23 | 7 | 0.0013527 | 0.00033902 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3298-28_0_3_load_4 | 8 | 0.00082253 | 0.00020615 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3298-28_0_3_load_5 | 9 | 0.00073976 | 0.0001854 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3298-28_0_3_load_7 | 11 | 0.00032481 | 8.1404e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3298-28_0_3_load_17 | 13 | 0.0022508 | 0.00056409 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3298-28_0_3_load_15 | 15 | 0.0010104 | 0.00025323 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3298-28_0_3_load_92 | 16 | 0.0033345 | 0.0008357 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3298-28_0_3_load_91 | 17 | 0.0035192 | 0.000882 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3298-28_0_3_load_14 | 18 | 0.00072514 | 0.00018174 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3298-28_0_3_load_10 | 19 | 0.00063377 | 0.00015884 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3298-28_0_3_load_21 | 22 | 0.0012801 | 0.00032082 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3298-28_0_3_load_13 | 24 | 0.00071009 | 0.00017796 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3298-28_0_3_load_19 | 25 | 0.0009403 | 0.00023566 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3298-28_0_3_load_20 | 26 | 0.00070191 | 0.00017592 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3298-28_0_3_load_77 | 27 | 0.0017065 | 0.00042768 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3298-28_0_3_load_73 | 28 | 0.0031431 | 0.00078774 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3298-28_0_3_load_30 | 29 | 0.0017825 | 0.00044674 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3298-28_0_3_load_32 | 31 | 0.0021276 | 0.00053323 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3298-28_0_3_load_33 | 32 | 0.0021123 | 0.00052939 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3298-28_0_3_load_34 | 33 | 0.001729 | 0.00043332 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3298-28_0_3_load_39 | 35 | 0.003512 | 0.00088019 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3298-28_0_3_load_35 | 36 | 0.0048383 | 0.0012126 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3298-28_0_3_load_36 | 37 | 0.0021314 | 0.00053419 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3298-28_0_3_load_78 | 39 | 0.0016624 | 0.00041665 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3298-28_0_3_load_79 | 41 | 0.0023243 | 0.00058251 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3298-28_0_3_load_75 | 42 | 0.001087 | 0.00027243 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3298-28_0_3_load_57 | 43 | 0.0029381 | 0.00073636 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3298-28_0_3_load_60 | 44 | 0.00086254 | 0.00021617 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3298-28_0_3_load_80 | 45 | 0.0028571 | 0.00071607 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3298-28_0_3_load_40 | 46 | 0.0033334 | 0.00083542 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3298-28_0_3_load_42 | 48 | 0.0041497 | 0.00104 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3298-28_0_3_load_43 | 49 | 0.002905 | 0.00072805 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3298-28_0_3_load_44 | 50 | 0.0035795 | 0.0008971 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3298-28_0_3_load_52 | 51 | 0.0024313 | 0.00060934 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3298-28_0_3_load_53 | 52 | 0.0026764 | 0.00067076 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3298-28_0_3_load_45 | 53 | 0.0034391 | 0.00086193 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3298-28_0_3_load_46 | 54 | 0.0025408 | 0.00063678 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3298-28_0_3_load_47 | 55 | 0.0028985 | 0.00072644 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3298-28_0_3_load_49 | 57 | 0.0054033 | 0.0013542 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3298-28_0_3_load_64 | 58 | 0.0021052 | 0.00052761 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3298-28_0_3_load_65 | 59 | 0.0048125 | 0.0012061 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3298-28_0_3_load_66 | 62 | 0.0041074 | 0.0010294 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3298-28_0_3_load_50 | 63 | 0.0020656 | 0.00051768 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3298-28_0_3_load_63 | 64 | 0.0043157 | 0.0010816 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3298-28_0_3_load_54 | 65 | 0.0038202 | 0.00095743 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3298-28_0_3_load_55 | 66 | 0.0028059 | 0.00070322 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3298-28_0_3_load_56 | 67 | 0.0013969 | 0.00035011 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3298-28_0_3_load_61 | 68 | 0.0016116 | 0.00040389 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3298-28_0_3_load_59 | 69 | 0.0019855 | 0.00049761 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3298-28_0_3_load_68 | 70 | 0.0022834 | 0.00057228 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3298-28_0_3_load_69 | 71 | 0.0025164 | 0.00063066 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3298-28_0_3_load_71 | 73 | 0.0065577 | 0.0016435 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3298-28_0_3_load_72 | 74 | 0.0035211 | 0.00088248 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3298-28_0_3_load_76 | 76 | 0.0021503 | 0.00053892 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3298-28_0_3_load_84 | 77 | 0.0011959 | 0.00029973 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3298-28_0_3_load_85 | 78 | 0.0019037 | 0.00047711 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3298-28_0_3_load_81 | 79 | 0.0021754 | 0.00054522 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3298-28_0_3_load_82 | 80 | 0.0031686 | 0.00079412 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3298-28_0_3_load_83 | 81 | 0.0020378 | 0.00051072 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3298-28_0_3_load_86 | 82 | 0.002321 | 0.00058171 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3298-28_0_3_load_87 | 83 | 0.00178 | 0.00044611 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3298-28_0_3_load_93 | 84 | 0.0040221 | 0.001008 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3298-28_0_3_load_88 | 85 | 0.0028068 | 0.00070346 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3298-28_0_3_load_89 | 86 | 0.0024204 | 0.0006066 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3298-28_0_3_load_90 | 87 | 0.0029538 | 0.0007403 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3298-28_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0076918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3298-28_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.036274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3298-28_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0075913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3298-28_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.030268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3298-28_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.004821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3298-28_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.022235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3298-28_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.010679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3298-28_0_3_line_7 | NAYY 4x150 SE | 6 | 29 | 0.018898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3298-28_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.0099671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3298-28_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.028791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3298-28_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.0099169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3298-28_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.007003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3298-28_0_3_line_12 | NAYY 4x150 SE | 12 | 15 | 0.046447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3298-28_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.10853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3298-28_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.044652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3298-28_0_3_line_15 | NAYY 4x150 SE | 14 | 25 | 0.025443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3298-28_0_3_line_16 | NAYY 4x150 SE | 14 | 26 | 0.020258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3298-28_0_3_line_17 | NAYY 4x150 SE | 15 | 18 | 0.0024516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3298-28_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.0054384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3298-28_0_3_line_19 | NAYY 4x150 SE | 17 | 87 | 0.026592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3298-28_0_3_line_20 | NAYY 4x150 SE | 18 | 24 | 0.074462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3298-28_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.027359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3298-28_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.004681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3298-28_0_3_line_23 | NAYY 4x150 SE | 21 | 24 | 0.052259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3298-28_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.040852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3298-28_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.039221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3298-28_0_3_line_26 | NAYY 4x150 SE | 26 | 27 | 0.0086933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3298-28_0_3_line_27 | NAYY 4x150 SE | 27 | 28 | 0.01949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3298-28_0_3_line_28 | NAYY 4x150 SE | 28 | 72 | 0.023941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3298-28_0_3_line_29 | NAYY 4x150 SE | 29 | 30 | 0.026241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3298-28_0_3_line_30 | NAYY 4x150 SE | 30 | 31 | 0.014026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3298-28_0_3_line_31 | NAYY 4x150 SE | 30 | 32 | 0.032911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3298-28_0_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.010351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3298-28_0_3_line_33 | NAYY 4x150 SE | 32 | 34 | 0.011766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3298-28_0_3_line_34 | NAYY 4x150 SE | 34 | 35 | 0.03541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3298-28_0_3_line_35 | NAYY 4x150 SE | 34 | 36 | 0.0043737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3298-28_0_3_line_36 | NAYY 4x150 SE | 35 | 41 | 0.022067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3298-28_0_3_line_37 | NAYY 4x150 SE | 36 | 37 | 0.037113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3298-28_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.0058097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3298-28_0_3_line_39 | NAYY 4x150 SE | 38 | 39 | 0.045586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_3298-28_0_3_line_40 | NAYY 4x150 SE | 38 | 40 | 0.007187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3298-28_0_3_line_41 | NAYY 4x150 SE | 39 | 42 | 0.011582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3298-28_0_3_line_42 | NAYY 4x150 SE | 40 | 43 | 0.018701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3298-28_0_3_line_43 | NAYY 4x150 SE | 40 | 44 | 0.013593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3298-28_0_3_line_44 | NAYY 4x150 SE | 41 | 45 | 0.0001939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3298-28_0_3_line_45 | NAYY 4x150 SE | 42 | 75 | 0.004364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3298-28_0_3_line_46 | NAYY 4x150 SE | 43 | 66 | 0.021536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3298-28_0_3_line_47 | NAYY 4x150 SE | 44 | 69 | 0.008387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3298-28_0_3_line_48 | NAYY 4x150 SE | 45 | 79 | 0.021166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3298-28_0_3_line_49 | NAYY 4x150 SE | 46 | 47 | 0.032758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3298-28_0_3_line_50 | NAYY 4x150 SE | 47 | 48 | 0.013288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3298-28_0_3_line_51 | NAYY 4x150 SE | 47 | 49 | 0.011441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3298-28_0_3_line_52 | NAYY 4x150 SE | 48 | 50 | 0.010424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3298-28_0_3_line_53 | NAYY 4x150 SE | 49 | 51 | 0.020145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3298-28_0_3_line_54 | NAYY 4x150 SE | 51 | 52 | 0.022346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3298-28_0_3_line_55 | NAYY 4x150 SE | 52 | 61 | 0.012767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3298-28_0_3_line_56 | NAYY 4x150 SE | 53 | 54 | 0.0080438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3298-28_0_3_line_57 | NAYY 4x150 SE | 53 | 55 | 0.013682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3298-28_0_3_line_58 | NAYY 4x150 SE | 54 | 56 | 0.027586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3298-28_0_3_line_59 | NAYY 4x150 SE | 55 | 57 | 0.0056519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3298-28_0_3_line_60 | NAYY 4x150 SE | 56 | 58 | 0.013882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3298-28_0_3_line_61 | NAYY 4x150 SE | 56 | 59 | 0.010402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3298-28_0_3_line_62 | NAYY 4x150 SE | 57 | 60 | 0.045337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3298-28_0_3_line_63 | NAYY 4x150 SE | 58 | 61 | 0.014459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3298-28_0_3_line_64 | NAYY 4x150 SE | 59 | 62 | 0.052624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3298-28_0_3_line_65 | NAYY 4x150 SE | 60 | 63 | 0.030253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3298-28_0_3_line_66 | NAYY 4x150 SE | 61 | 64 | 0.0052518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3298-28_0_3_line_67 | NAYY 4x150 SE | 64 | 68 | 0.027522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3298-28_0_3_line_68 | NAYY 4x150 SE | 65 | 66 | 0.0043107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3298-28_0_3_line_69 | NAYY 4x150 SE | 65 | 67 | 0.014171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3298-28_0_3_line_70 | NAYY 4x150 SE | 68 | 69 | 0.0026422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3298-28_0_3_line_71 | NAYY 4x150 SE | 70 | 71 | 0.02023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3298-28_0_3_line_72 | NAYY 4x150 SE | 70 | 72 | 0.036614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3298-28_0_3_line_73 | NAYY 4x150 SE | 71 | 73 | 0.039236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3298-28_0_3_line_74 | NAYY 4x150 SE | 72 | 74 | 0.015855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3298-28_0_3_line_75 | NAYY 4x150 SE | 74 | 75 | 0.0068465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3298-28_0_3_line_76 | NAYY 4x150 SE | 75 | 76 | 0.011279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3298-28_0_3_line_77 | NAYY 4x150 SE | 76 | 77 | 0.016447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3298-28_0_3_line_78 | NAYY 4x150 SE | 77 | 78 | 0.017805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3298-28_0_3_line_79 | NAYY 4x150 SE | 78 | 84 | 0.029354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3298-28_0_3_line_80 | NAYY 4x150 SE | 79 | 80 | 0.0018624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3298-28_0_3_line_81 | NAYY 4x150 SE | 80 | 81 | 0.018517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3298-28_0_3_line_82 | NAYY 4x150 SE | 81 | 82 | 0.0026443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3298-28_0_3_line_83 | NAYY 4x150 SE | 82 | 83 | 0.016236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3298-28_0_3_line_84 | NAYY 4x150 SE | 83 | 85 | 0.0052954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3298-28_0_3_line_85 | NAYY 4x150 SE | 85 | 86 | 0.016289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3298-28_0_3_line_86 | NAYY 4x150 SE | 86 | 87 | 0.00047405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3298-28_0_3_trafo_78 | 0.25 MVA 20/0.4 kV | 88 | 39 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2742908.3289 | 1220632.9104 | 2742902.9027 | 1220638.362
1 | 2742908.3289 | 1220632.9104 | 2742932.6276 | 1220608.4982 | 2742934.0333 | 1220607.3265
2 | 2742897.5474 | 1220643.7423 | 2742902.9027 | 1220638.362
3 | 2742897.5474 | 1220643.7423 | 2742889.9873 | 1220650.0553 | 2742882.0198 | 1220655.6356 | 2742872.6759 | 1220660.8305
4 | 2742901.0114 | 1220647.1061 | 2742897.5474 | 1220643.7423
5 | 2742901.0114 | 1220647.1061 | 2742915.0646 | 1220664.3692
6 | 2742901.0114 | 1220647.1061 | 2742892.4112 | 1220653.436
7 | 2742915.0646 | 1220664.3692 | 2742926.7201 | 1220679.2453
8 | 2743173.85 | 1220468.1455 | 2743183.8103 | 1220467.777
9 | 2743145.1546 | 1220470.1606 | 2743156.1333 | 1220468.801 | 2743173.85 | 1220468.1455
10 | 2743183.8103 | 1220467.777 | 2743189.2819 | 1220467.5745 | 2743193.7234 | 1220467.5912
11 | 2743146.7822 | 1220476.9722 | 2743145.1546 | 1220470.1606
12 | 2743146.7822 | 1220476.9722 | 2743158.3464 | 1220473.992 | 2743168.5894 | 1220472.9262 | 2743189.1873 | 1220471.8203 | 2743192.7663 | 1220471.7816
13 | 2743174.9068 | 1220581.7955 | 2743146.7822 | 1220476.9722
14 | 2743164.9122 | 1220625.1576 | 2743170.5873 | 1220608.5464 | 2743173.2964 | 1220592.4866 | 2743174.9068 | 1220581.7955
15 | 2743164.9122 | 1220625.1576 | 2743177.3084 | 1220620.3959 | 2743184.7236 | 1220620.1184 | 2743188.4226 | 1220620.6522 | 2743189.3769 | 1220620.9697
16 | 2743164.9122 | 1220625.1576 | 2743163.1632 | 1220626.5501 | 2743154.8305 | 1220634.0452 | 2743150.5383 | 1220639.3382
17 | 2743195.2177 | 1220471.7551 | 2743192.7663 | 1220471.7816
18 | 2743110.1936 | 1220592.852 | 2743114.2483 | 1220589.2276
19 | 2743110.1936 | 1220592.852 | 2743090.368 | 1220610.574
20 | 2743266.8528 | 1220454.9349 | 2743246.8504 | 1220463.8221 | 2743239.1941 | 1220466.5403 | 2743230.4565 | 1220468.7655 | 2743219.0615 | 1220470.7042 | 2743203.5378 | 1220471.6652 | 2743195.2177 | 1220471.7551
21 | 2743307.6031 | 1220425.5616 | 2743299.4971 | 1220433.3955 | 2743292.4291 | 1220438.1629 | 2743285.7051 | 1220441.6189
22 | 2743307.6031 | 1220425.5616 | 2743311.3379 | 1220428.3983
23 | 2743311.3379 | 1220428.3983 | 2743302.942 | 1220436.292 | 2743295.0147 | 1220441.7505 | 2743286.8573 | 1220446.0468 | 2743266.8528 | 1220454.9349
24 | 2743226.5834 | 1220619.9246 | 2743206.3677 | 1220584.4248
25 | 2743226.5834 | 1220619.9246 | 2743215.1348 | 1220625.6765 | 2743210.3375 | 1220625.9948 | 2743196.9245 | 1220623.4812 | 2743189.3769 | 1220620.9697
26 | 2743145.2535 | 1220646.2377 | 2743148.2672 | 1220642.1388 | 2743150.5383 | 1220639.3382
27 | 2743130.3839 | 1220658.418 | 2743137.04 | 1220654.791 | 2743142.8761 | 1220649.4711 | 2743145.2535 | 1220646.2377
28 | 2743110.0973 | 1220671.0354 | 2743116.7379 | 1220666.0351 | 2743125.4105 | 1220661.1281 | 2743130.3839 | 1220658.418
29 | 2742946.0892 | 1220696.5302 | 2742933.2779 | 1220687.6151 | 2742926.7201 | 1220679.2453
30 | 2742946.0892 | 1220696.5302 | 2742939.7092 | 1220709.0212
31 | 2742946.0892 | 1220696.5302 | 2742962.3087 | 1220701.0233 | 2742977.9557 | 1220704.7322
32 | 2742931.8499 | 1220715.7578 | 2742939.7092 | 1220709.0212
33 | 2742989.4045 | 1220707.4459 | 2742977.9557 | 1220704.7322
34 | 2742989.4045 | 1220707.4459 | 2742991.5352 | 1220703.7494 | 2743013.1538 | 1220681.3318
35 | 2742989.4045 | 1220707.4459 | 2742993.7365 | 1220708.0485
36 | 2743029.1776 | 1220666.1711 | 2743016.8584 | 1220677.4904 | 2743013.1538 | 1220681.3318
37 | 2742993.7365 | 1220708.0485 | 2743013.4697 | 1220710.7932 | 2743019.6955 | 1220711.0429 | 2743024.3102 | 1220710.7424 | 2743030.5832 | 1220709.8606
38 | 2743036.3364 | 1220709.0519 | 2743030.5832 | 1220709.8606
39 | 2743036.3364 | 1220709.0519 | 2743063.7671 | 1220701.2262 | 2743078.6652 | 1220692.9123
40 | 2743040.5533 | 1220714.8804 | 2743036.3364 | 1220709.0519
41 | 2743078.6652 | 1220692.9123 | 2743084.171 | 1220689.8398 | 2743088.1069 | 1220686.325
42 | 2743040.5533 | 1220714.8804 | 2743031.1755 | 1220731.0596
43 | 2743040.5533 | 1220714.8804 | 2743050.7568 | 1220723.8618
44 | 2743029.1776 | 1220666.1711 | 2743029.3203 | 1220666.0399
45 | 2743091.3619 | 1220683.4182 | 2743088.1069 | 1220686.325
46 | 2743031.1755 | 1220731.0596 | 2743020.3758 | 1220749.6921
47 | 2743057.0523 | 1220729.4033 | 2743050.7568 | 1220723.8618
48 | 2743044.9063 | 1220651.719 | 2743029.3203 | 1220666.0399
49 | 2743051.0831 | 1220810.8047 | 2743044.8443 | 1220811.0995 | 2743030.7487 | 1220801.6307 | 2743025.8932 | 1220800.2685 | 2743021.667 | 1220801.7794
50 | 2743051.0831 | 1220810.8047 | 2743051.42 | 1220820.788 | 2743050.426 | 1220823.9335 | 2743050.426 | 1220823.9335
51 | 2743051.0831 | 1220810.8047 | 2743054.728 | 1220801.2729 | 2743055.3499 | 1220800.2046
52 | 2743042.5699 | 1220830.7803 | 2743045.7856 | 1220828.1479 | 2743050.426 | 1220823.9335
53 | 2743055.3499 | 1220800.2046 | 2743065.4844 | 1220782.7949
54 | 2743065.4844 | 1220782.7949 | 2743076.7264 | 1220763.4828
55 | 2743083.6364 | 1220752.8034 | 2743081.6631 | 1220755.0023 | 2743076.7264 | 1220763.4828
56 | 2743089.609 | 1220801.895 | 2743089.2697 | 1220801.058 | 2743089.3429 | 1220798.0127 | 2743091.4347 | 1220794.4929
57 | 2743089.609 | 1220801.895 | 2743090.0436 | 1220802.9671 | 2743092.1589 | 1220804.3302 | 2743101.3332 | 1220808.3319
58 | 2743105.5279 | 1220770.7781 | 2743091.4347 | 1220794.4929
59 | 2743106.5137 | 1220810.5916 | 2743101.3332 | 1220808.3319
60 | 2743105.5279 | 1220770.7781 | 2743102.7421 | 1220768.8873 | 2743094.6975 | 1220762.1151
61 | 2743105.5279 | 1220770.7781 | 2743111.4985 | 1220772.801 | 2743115.4807 | 1220773.7682
62 | 2743106.5137 | 1220810.5916 | 2743133.5948 | 1220846.9513
63 | 2743083.6364 | 1220752.8034 | 2743094.6975 | 1220762.1151
64 | 2743166.2896 | 1220781.7735 | 2743162.5431 | 1220783.5925 | 2743158.0909 | 1220784.3973 | 2743151.8569 | 1220783.2243 | 2743136.4017 | 1220778.8491 | 2743115.4807 | 1220773.7682
65 | 2743133.5948 | 1220846.9513 | 2743130.2638 | 1220847.216 | 2743124.8105 | 1220848.6195 | 2743117.6244 | 1220851.6939 | 2743106.3535 | 1220859.0589
66 | 2743083.6364 | 1220752.8034 | 2743079.6942 | 1220749.3333
67 | 2743079.6942 | 1220749.3333 | 2743059.0356 | 1220731.1491
68 | 2743018.2141 | 1220753.4216 | 2743020.3758 | 1220749.6921
69 | 2743010.1612 | 1220765.0827 | 2743018.2141 | 1220753.4216 | 2743018.2141 | 1220753.4216
70 | 2743057.0523 | 1220729.4033 | 2743059.0356 | 1220731.1491
71 | 2743134.2768 | 1220698.354 | 2743136.5267 | 1220700.1177 | 2743152.4089 | 1220707.1541
72 | 2743110.0973 | 1220671.0354 | 2743119.4447 | 1220682.2585 | 2743129.1213 | 1220694.3125 | 2743134.2768 | 1220698.354
73 | 2743152.4089 | 1220707.1541 | 2743174.4023 | 1220716.898 | 2743188.8242 | 1220721.6376
74 | 2743110.0973 | 1220671.0354 | 2743098.5432 | 1220680.5549 | 2743097.7216 | 1220680.8825
75 | 2743091.3619 | 1220683.4182 | 2743097.7216 | 1220680.8825
76 | 2743091.3619 | 1220683.4182 | 2743095.1662 | 1220677.0485 | 2743098.1423 | 1220674.5911
77 | 2743098.1423 | 1220674.5911 | 2743105.8844 | 1220668.1984 | 2743111.1672 | 1220664.5735
78 | 2743126.0632 | 1220654.8414 | 2743123.7902 | 1220656.5408 | 2743115.6708 | 1220661.4833 | 2743111.1672 | 1220664.5735
79 | 2743146.3439 | 1220633.8865 | 2743143.1258 | 1220638.4566 | 2743133.2435 | 1220649.473 | 2743126.0632 | 1220654.8414
80 | 2743044.9063 | 1220651.719 | 2743046.2777 | 1220650.4588
81 | 2743059.9129 | 1220637.9303 | 2743046.2777 | 1220650.4588
82 | 2743059.9129 | 1220637.9303 | 2743061.86 | 1220636.1412
83 | 2743073.9224 | 1220625.2745 | 2743065.2393 | 1220633.0362 | 2743061.86 | 1220636.1412
84 | 2743073.9224 | 1220625.2745 | 2743077.8704 | 1220621.7454
85 | 2743077.8704 | 1220621.7454 | 2743090.0146 | 1220610.8899
86 | 2743090.0146 | 1220610.8899 | 2743090.368 | 1220610.574

## bus_geodata
| x | y | coords
0 | 2742908.3289 | 1220632.9104
1 | 2742902.9027 | 1220638.362
2 | 2742934.0333 | 1220607.3265
3 | 2742897.5474 | 1220643.7423
4 | 2742872.6759 | 1220660.8305
5 | 2742901.0114 | 1220647.1061
6 | 2742915.0646 | 1220664.3692
7 | 2742892.4112 | 1220653.436
8 | 2743173.85 | 1220468.1455
9 | 2743183.8103 | 1220467.777
10 | 2743145.1546 | 1220470.1606
11 | 2743193.7234 | 1220467.5912
12 | 2743146.7822 | 1220476.9722
13 | 2743174.9067 | 1220581.7955
14 | 2743164.9122 | 1220625.1576
15 | 2743192.7663 | 1220471.7816
16 | 2743114.2483 | 1220589.2276
17 | 2743110.1936 | 1220592.852
18 | 2743195.2177 | 1220471.7551
19 | 2743285.7051 | 1220441.6189
20 | 2743307.6031 | 1220425.5616
21 | 2743311.3379 | 1220428.3983
22 | 2743206.3677 | 1220584.4248
23 | 2743226.5834 | 1220619.9246
24 | 2743266.8528 | 1220454.9349
25 | 2743189.3769 | 1220620.9697
26 | 2743150.5383 | 1220639.3382
27 | 2743145.2535 | 1220646.2377
28 | 2743130.3839 | 1220658.418
29 | 2742926.7201 | 1220679.2453
30 | 2742946.0892 | 1220696.5302
31 | 2742939.7092 | 1220709.0212
32 | 2742977.9557 | 1220704.7322
33 | 2742931.8499 | 1220715.7578
34 | 2742989.4045 | 1220707.4459
35 | 2743013.1538 | 1220681.3318
36 | 2742993.7365 | 1220708.0485
37 | 2743030.5832 | 1220709.8606
38 | 2743036.3364 | 1220709.0519
39 | 2743078.6652 | 1220692.9123
40 | 2743040.5533 | 1220714.8804
41 | 2743029.1776 | 1220666.1711
42 | 2743088.1069 | 1220686.325
43 | 2743031.1755 | 1220731.0596
44 | 2743050.7568 | 1220723.8618
45 | 2743029.3203 | 1220666.0399
46 | 2743021.667 | 1220801.7794
47 | 2743051.0831 | 1220810.8047
48 | 2743050.426 | 1220823.9335
49 | 2743055.3499 | 1220800.2046
50 | 2743042.5699 | 1220830.7803
51 | 2743065.4844 | 1220782.7949
52 | 2743076.7264 | 1220763.4828
53 | 2743089.609 | 1220801.895
54 | 2743091.4347 | 1220794.4929
55 | 2743101.3332 | 1220808.3319
56 | 2743105.5279 | 1220770.7781
57 | 2743106.5137 | 1220810.5916
58 | 2743094.6975 | 1220762.1151
59 | 2743115.4807 | 1220773.7682
60 | 2743133.5948 | 1220846.9513
61 | 2743083.6364 | 1220752.8034
62 | 2743166.2896 | 1220781.7735
63 | 2743106.3535 | 1220859.0589
64 | 2743079.6942 | 1220749.3333
65 | 2743018.2141 | 1220753.4216
66 | 2743020.3758 | 1220749.6921
67 | 2743010.1612 | 1220765.0827
68 | 2743059.0356 | 1220731.1491
69 | 2743057.0523 | 1220729.4033
70 | 2743134.2768 | 1220698.354
71 | 2743152.4089 | 1220707.1541
72 | 2743110.0973 | 1220671.0354
73 | 2743188.8242 | 1220721.6376
74 | 2743097.7216 | 1220680.8825
75 | 2743091.3619 | 1220683.4182
76 | 2743098.1423 | 1220674.5911
77 | 2743111.1672 | 1220664.5735
78 | 2743126.0632 | 1220654.8414
79 | 2743044.9063 | 1220651.719
80 | 2743046.2777 | 1220650.4588
81 | 2743059.9129 | 1220637.9303
82 | 2743061.86 | 1220636.1412
83 | 2743073.9224 | 1220625.2745
84 | 2743146.3439 | 1220633.8865
85 | 2743077.8704 | 1220621.7454
86 | 2743090.0146 | 1220610.8899
87 | 2743090.368 | 1220610.574
88 | 2743091.3619 | 1220683.4182

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1